## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5477-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5477-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5477-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5477-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5477-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5477-7_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5477-7_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5477-7_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5477-7_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5477-7_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5477-7_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_5477-7_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5477-7_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5477-7_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5477-7_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5477-7_0_4_node_106 | 0.4 | n |  | TRUE
16 | bus_LV_5477-7_0_4_node_104 | 0.4 | n |  | TRUE
17 | bus_LV_5477-7_0_4_node_132 | 0.4 | n |  | TRUE
18 | bus_LV_5477-7_0_4_node_150 | 0.4 | n |  | TRUE
19 | bus_LV_5477-7_0_4_node_151 | 0.4 | n |  | TRUE
20 | bus_LV_5477-7_0_4_node_159 | 0.4 | n |  | TRUE
21 | bus_LV_5477-7_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5477-7_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5477-7_0_4_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_5477-7_0_4_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_5477-7_0_4_node_137 | 0.4 | n |  | TRUE
26 | bus_LV_5477-7_0_4_node_110 | 0.4 | n |  | TRUE
27 | bus_LV_5477-7_0_4_node_138 | 0.4 | n |  | TRUE
28 | bus_LV_5477-7_0_4_node_152 | 0.4 | n |  | TRUE
29 | bus_LV_5477-7_0_4_node_155 | 0.4 | n |  | TRUE
30 | bus_LV_5477-7_0_4_node_153 | 0.4 | n |  | TRUE
31 | bus_LV_5477-7_0_4_node_154 | 0.4 | n |  | TRUE
32 | bus_LV_5477-7_0_4_node_114 | 0.4 | n |  | TRUE
33 | bus_LV_5477-7_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_5477-7_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_5477-7_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_5477-7_0_4_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_5477-7_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_5477-7_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_5477-7_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_5477-7_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_5477-7_0_4_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_5477-7_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_5477-7_0_4_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_5477-7_0_4_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_5477-7_0_4_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_5477-7_0_4_node_109 | 0.4 | n |  | TRUE
47 | bus_LV_5477-7_0_4_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_5477-7_0_4_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_5477-7_0_4_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_5477-7_0_4_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_5477-7_0_4_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_5477-7_0_4_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_5477-7_0_4_node_113 | 0.4 | n |  | TRUE
54 | bus_LV_5477-7_0_4_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_5477-7_0_4_node_116 | 0.4 | n |  | TRUE
56 | bus_MV_315_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5477-7_0_4_load_0 | 0 | 0.0066667 | 0.0016708 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5477-7_0_4_load_1 | 1 | 0.014799 | 0.0037089 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5477-7_0_4_load_2 | 2 | 0.0084978 | 0.0021297 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5477-7_0_4_load_4 | 4 | 0.0057036 | 0.0014295 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5477-7_0_4_load_5 | 5 | 0.018861 | 0.0047271 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5477-7_0_4_load_6 | 6 | 0.0066691 | 0.0016714 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5477-7_0_4_load_8 | 9 | 0.0066668 | 0.0016709 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5477-7_0_4_load_14 | 10 | 0.003826 | 0.00095889 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5477-7_0_4_load_15 | 11 | 0.01935 | 0.0048497 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5477-7_0_4_load_9 | 12 | 0.011693 | 0.0029306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5477-7_0_4_load_106 | 15 | 0.014713 | 0.0036875 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5477-7_0_4_load_150 | 18 | 0.0076647 | 0.0019209 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5477-7_0_4_load_151 | 19 | 0.0023955 | 0.00060036 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5477-7_0_4_load_159 | 20 | 0.0014446 | 0.00036206 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5477-7_0_4_load_16 | 21 | 0.041279 | 0.010346 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5477-7_0_4_load_75 | 24 | 0.029089 | 0.0072904 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5477-7_0_4_load_137 | 25 | 0.0051166 | 0.0012823 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5477-7_0_4_load_152 | 28 | 0.0034764 | 0.00087126 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5477-7_0_4_load_155 | 29 | 0.0020588 | 0.000516 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5477-7_0_4_load_153 | 30 | 0.006514 | 0.0016326 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5477-7_0_4_load_51 | 33 | 0.01588 | 0.0039799 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5477-7_0_4_load_52 | 34 | 0.010985 | 0.0027532 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5477-7_0_4_load_54 | 36 | 0.01481 | 0.0037117 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5477-7_0_4_load_55 | 37 | 0.01501 | 0.0037619 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5477-7_0_4_load_59 | 39 | 0.0094598 | 0.0023709 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5477-7_0_4_load_62 | 40 | 0.0074854 | 0.001876 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5477-7_0_4_load_71 | 41 | 0.0030484 | 0.000764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5477-7_0_4_load_68 | 42 | 0.017899 | 0.0044858 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5477-7_0_4_load_72 | 44 | 0.0026869 | 0.00067339 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5477-7_0_4_load_74 | 47 | 0.002483 | 0.0006223 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5477-7_0_4_load_103 | 48 | 0.0025431 | 0.00063737 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5477-7_0_4_load_105 | 49 | 0.00589 | 0.0014762 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5477-7_0_4_load_107 | 50 | 0.010282 | 0.0025769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5477-7_0_4_load_111 | 51 | 0.0014156 | 0.00035478 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5477-7_0_4_load_116 | 55 | 0.0029921 | 0.00074988 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5477-7_0_4_line_0 |  | 0 | 1 | 0.0066429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5477-7_0_4_line_1 |  | 0 | 2 | 0.028882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5477-7_0_4_line_2 |  | 1 | 3 | 0.015372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5477-7_0_4_line_3 |  | 2 | 4 | 0.002797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5477-7_0_4_line_4 |  | 3 | 5 | 0.026995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5477-7_0_4_line_5 |  | 3 | 6 | 0.014937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5477-7_0_4_line_6 |  | 4 | 7 | 0.015664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5477-7_0_4_line_7 |  | 5 | 8 | 0.024928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5477-7_0_4_line_8 |  | 6 | 9 | 0.031205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5477-7_0_4_line_9 |  | 7 | 10 | 0.015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5477-7_0_4_line_10 |  | 7 | 11 | 0.033493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5477-7_0_4_line_11 |  | 8 | 15 | 0.033757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5477-7_0_4_line_12 |  | 8 | 16 | 0.008099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5477-7_0_4_line_13 |  | 9 | 12 | 0.0084091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5477-7_0_4_line_14 |  | 10 | 21 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5477-7_0_4_line_15 |  | 11 | 22 | 0.040279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5477-7_0_4_line_16 |  | 12 | 13 | 0.048237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5477-7_0_4_line_17 |  | 13 | 14 | 0.074277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5477-7_0_4_line_18 |  | 14 | 20 | 0.006098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5477-7_0_4_line_19 |  | 15 | 50 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5477-7_0_4_line_20 |  | 16 | 48 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5477-7_0_4_line_21 |  | 17 | 18 | 0.045521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5477-7_0_4_line_22 |  | 17 | 19 | 0.002436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5477-7_0_4_line_23 |  | 19 | 29 | 0.038946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5477-7_0_4_line_24 |  | 21 | 23 | 0.024794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5477-7_0_4_line_25 |  | 22 | 24 | 0.027948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5477-7_0_4_line_26 |  | 23 | 40 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5477-7_0_4_line_27 |  | 23 | 38 | 0.005073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5477-7_0_4_line_28 |  | 25 | 26 | 0.015095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5477-7_0_4_line_29 |  | 26 | 27 | 0.043147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5477-7_0_4_line_30 |  | 26 | 46 | 0.012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5477-7_0_4_line_31 |  | 27 | 28 | 0.0066325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5477-7_0_4_line_32 |  | 28 | 30 | 0.035584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5477-7_0_4_line_33 |  | 29 | 32 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5477-7_0_4_line_34 |  | 30 | 31 | 0.048117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5477-7_0_4_line_35 |  | 31 | 32 | 0.02084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5477-7_0_4_line_36 |  | 32 | 52 | 0.067153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5477-7_0_4_line_37 |  | 33 | 34 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5477-7_0_4_line_38 |  | 33 | 35 | 0.0059454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5477-7_0_4_line_39 |  | 34 | 36 | 0.009846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5477-7_0_4_line_40 |  | 35 | 37 | 0.0075808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5477-7_0_4_line_41 |  | 36 | 38 | 0.02275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5477-7_0_4_line_42 |  | 38 | 39 | 0.017106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5477-7_0_4_line_43 |  | 40 | 41 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5477-7_0_4_line_44 |  | 41 | 43 | 0.033773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5477-7_0_4_line_45 |  | 42 | 43 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5477-7_0_4_line_46 |  | 43 | 44 | 0.015494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5477-7_0_4_line_47 |  | 44 | 45 | 0.0037196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5477-7_0_4_line_48 |  | 45 | 46 | 0.021413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5477-7_0_4_line_49 |  | 46 | 47 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5477-7_0_4_line_50 |  | 48 | 49 | 0.041277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5477-7_0_4_line_51 |  | 51 | 52 | 0.048664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5477-7_0_4_line_52 |  | 51 | 53 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5477-7_0_4_line_53 |  | 53 | 54 | 0.004911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5477-7_0_4_line_54 |  | 54 | 55 | 0.010329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5477-7_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 56 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2528575.254 | 1162780.1192 | 2528572.9148 | 1162773.9018
1 | 2528575.254 | 1162780.1192 | 2528585.4244 | 1162807.1511
2 | 2528568.3122 | 1162759.3069 | 2528568.8476 | 1162763.0916 | 2528572.9148 | 1162773.9018
3 | 2528586.4094 | 1162809.7689 | 2528585.4244 | 1162807.1511
4 | 2528568.3122 | 1162759.3069 | 2528541.9918 | 1162765.3021
5 | 2528568.3122 | 1162759.3069 | 2528563.0812 | 1162745.3155
6 | 2528591.9252 | 1162824.4295 | 2528586.4094 | 1162809.7689
7 | 2528517.6866 | 1162770.8383 | 2528541.9918 | 1162765.3021
8 | 2528563.0812 | 1162745.3155 | 2528552.1536 | 1162716.0869
9 | 2528591.9252 | 1162824.4295 | 2528592.6322 | 1162829.1126 | 2528596.6684 | 1162839.6044
10 | 2528591.9252 | 1162824.4295 | 2528599.0234 | 1162821.5434 | 2528619.3209 | 1162814.7315 | 2528623.4615 | 1162813.1841
11 | 2528517.6866 | 1162770.8383 | 2528518.6305 | 1162774.8293 | 2528525.0485 | 1162803.7827
12 | 2528514.9836 | 1162763.244 | 2528515.8542 | 1162766.869 | 2528517.6866 | 1162770.8383
13 | 2528552.1536 | 1162716.0869 | 2528549.2088 | 1162708.2103
14 | 2528601.7942 | 1162852.9283 | 2528596.6684 | 1162839.6044
15 | 2528657.1728 | 1162810.09 | 2528652.7509 | 1162802.2382 | 2528623.4615 | 1162813.1841
16 | 2528532.3528 | 1162663.0138 | 2528538.8827 | 1162680.5905 | 2528549.2088 | 1162708.2103
17 | 2528480.0132 | 1162615.0211 | 2528489.8064 | 1162637.684 | 2528518.5541 | 1162653.3171 | 2528532.3528 | 1162663.0138
18 | 2528473.9023 | 1162615.2608 | 2528480.0132 | 1162615.0211
19 | 2528525.0485 | 1162803.7827 | 2528529.2042 | 1162822.5304
20 | 2528514.9836 | 1162763.244 | 2528510.3204 | 1162743.7273
21 | 2528334.6045 | 1162820.6049 | 2528358.4469 | 1162813.6385 | 2528378.4783 | 1162808.4913
22 | 2528334.6045 | 1162820.6049 | 2528335.3148 | 1162822.9349
23 | 2528335.3148 | 1162822.9349 | 2528340.5846 | 1162840.2223 | 2528342.5461 | 1162846.6581 | 2528348.9847 | 1162859.2534
24 | 2528610.6965 | 1162876.0687 | 2528601.7942 | 1162852.9283
25 | 2528657.1728 | 1162810.09 | 2528659.7089 | 1162814.618 | 2528666.5186 | 1162826.1325 | 2528660.5239 | 1162831.6179 | 2528660.0411 | 1162832.7768
26 | 2528610.6965 | 1162876.0687 | 2528595.0347 | 1162881.7087
27 | 2528610.6965 | 1162876.0687 | 2528612.5149 | 1162880.8053
28 | 2528493.5737 | 1162856.0625 | 2528507.0023 | 1162863.0288
29 | 2528469.2283 | 1162864.5352 | 2528477.9264 | 1162864.7761 | 2528478.9417 | 1162870.256 | 2528507.0023 | 1162863.0288
30 | 2528518.4043 | 1162867.0842 | 2528507.4852 | 1162863.0564 | 2528507.2544 | 1162862.9702 | 2528507.0023 | 1162863.0288
31 | 2528469.2283 | 1162864.5352 | 2528462.5981 | 1162864.3576
32 | 2528462.5981 | 1162864.3576 | 2528457.1659 | 1162864.212 | 2528427.1559 | 1162867.1167
33 | 2528358.5627 | 1162874.6606 | 2528350.3355 | 1162861.896 | 2528348.9847 | 1162859.2534
34 | 2528379.2756 | 1162871.8785 | 2528401.7486 | 1162869.5758 | 2528427.1559 | 1162867.1167
35 | 2528358.5627 | 1162874.6606 | 2528377.8983 | 1162872.0172 | 2528379.2756 | 1162871.8785
36 | 2528358.5627 | 1162874.6606 | 2528371.9581 | 1162887.8193 | 2528402.637 | 1162908.7096 | 2528411.9892 | 1162914.9793
37 | 2528628.5192 | 1162922.0174 | 2528623.6223 | 1162911.4507
38 | 2528631.0191 | 1162927.4117 | 2528628.5192 | 1162922.0174
39 | 2528620.2669 | 1162902.1941 | 2528623.6202 | 1162911.4462 | 2528623.6223 | 1162911.4507
40 | 2528631.0191 | 1162927.4117 | 2528634.1042 | 1162934.3363
41 | 2528612.5149 | 1162880.8053 | 2528620.2669 | 1162902.1941
42 | 2528612.5149 | 1162880.8053 | 2528596.4278 | 1162886.6222
43 | 2528578.5658 | 1162887.3356 | 2528580.557 | 1162886.9223 | 2528595.0347 | 1162881.7087
44 | 2528545.4451 | 1162893.8774 | 2528547.9626 | 1162893.625 | 2528563.423 | 1162890.4504 | 2528577.9434 | 1162887.4648 | 2528578.5658 | 1162887.3356
45 | 2528545.4451 | 1162893.8774 | 2528545.1873 | 1162904.3975 | 2528529.5518 | 1162908.7337
46 | 2528545.4451 | 1162893.8774 | 2528537.4964 | 1162880.5782
47 | 2528535.5881 | 1162877.3854 | 2528537.4964 | 1162880.5782
48 | 2528518.4043 | 1162867.0842 | 2528531.6094 | 1162870.729 | 2528535.5881 | 1162877.3854
49 | 2528518.4043 | 1162867.0842 | 2528509.7381 | 1162872.7461 | 2528507.7523 | 1162877.7504 | 2528508.1818 | 1162883.8216
50 | 2528500.7277 | 1162703.58 | 2528510.3204 | 1162743.7273
51 | 2528411.9892 | 1162914.9793 | 2528426.9997 | 1162924.1833 | 2528431.1733 | 1162927.2575 | 2528452.9026 | 1162941.301
52 | 2528465.1118 | 1162951.7113 | 2528455.9174 | 1162943.2494 | 2528452.9026 | 1162941.301
53 | 2528465.1118 | 1162951.7113 | 2528467.7278 | 1162955.8713
54 | 2528467.7278 | 1162955.8713 | 2528470.8764 | 1162954.5775 | 2528474.3988 | 1162954.4466 | 2528477.6291 | 1162955.5087

## bus_geodata
| x | y | coords
0 | 2528575.254 | 1162780.1192
1 | 2528572.9148 | 1162773.9018
2 | 2528585.4244 | 1162807.1511
3 | 2528568.3122 | 1162759.3069
4 | 2528586.4094 | 1162809.7689
5 | 2528541.9918 | 1162765.3021
6 | 2528563.0812 | 1162745.3155
7 | 2528591.9252 | 1162824.4295
8 | 2528517.6866 | 1162770.8383
9 | 2528552.1536 | 1162716.0869
10 | 2528596.6684 | 1162839.6044
11 | 2528623.4615 | 1162813.1841
12 | 2528549.2088 | 1162708.2103
13 | 2528532.3528 | 1162663.0138
14 | 2528480.0132 | 1162615.0211
15 | 2528525.0485 | 1162803.7827
16 | 2528514.9836 | 1162763.244
17 | 2528334.6045 | 1162820.6049
18 | 2528378.4783 | 1162808.4913
19 | 2528335.3148 | 1162822.9349
20 | 2528473.9023 | 1162615.2608
21 | 2528601.7942 | 1162852.9283
22 | 2528657.1728 | 1162810.09
23 | 2528610.6965 | 1162876.0687
24 | 2528660.041 | 1162832.7768
25 | 2528493.5737 | 1162856.0625
26 | 2528507.0023 | 1162863.0288
27 | 2528469.2283 | 1162864.5352
28 | 2528462.5981 | 1162864.3576
29 | 2528348.9847 | 1162859.2534
30 | 2528427.1559 | 1162867.1167
31 | 2528379.2756 | 1162871.8785
32 | 2528358.5627 | 1162874.6606
33 | 2528628.5192 | 1162922.0174
34 | 2528623.6223 | 1162911.4507
35 | 2528631.0191 | 1162927.4117
36 | 2528620.2669 | 1162902.1941
37 | 2528634.1042 | 1162934.3363
38 | 2528612.5149 | 1162880.8053
39 | 2528596.4278 | 1162886.6222
40 | 2528595.0347 | 1162881.7087
41 | 2528578.5658 | 1162887.3356
42 | 2528529.5518 | 1162908.7337
43 | 2528545.4451 | 1162893.8774
44 | 2528537.4964 | 1162880.5782
45 | 2528535.5881 | 1162877.3854
46 | 2528518.4043 | 1162867.0842
47 | 2528508.1818 | 1162883.8216
48 | 2528510.3204 | 1162743.7273
49 | 2528500.7277 | 1162703.58
50 | 2528529.2042 | 1162822.5304
51 | 2528452.9026 | 1162941.301
52 | 2528411.9892 | 1162914.9793
53 | 2528465.1118 | 1162951.7113
54 | 2528467.7278 | 1162955.8713
55 | 2528477.6291 | 1162955.5087
56 | 2528610.6965 | 1162876.0687

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1