## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5477-7_1_4_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_5477-7_1_4_node_136 | 0.4 | n |  | TRUE
2 | bus_LV_5477-7_1_4_node_135 | 0.4 | n |  | TRUE
3 | bus_LV_5477-7_1_4_node_86 | 0.4 | n |  | TRUE
4 | bus_LV_5477-7_1_4_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_5477-7_1_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_5477-7_1_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_5477-7_1_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_5477-7_1_4_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_5477-7_1_4_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_5477-7_1_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_5477-7_1_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_5477-7_1_4_node_142 | 0.4 | n |  | TRUE
13 | bus_LV_5477-7_1_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_5477-7_1_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_5477-7_1_4_node_143 | 0.4 | n |  | TRUE
16 | bus_LV_5477-7_1_4_node_144 | 0.4 | n |  | TRUE
17 | bus_LV_5477-7_1_4_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_5477-7_1_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_5477-7_1_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_5477-7_1_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_5477-7_1_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_5477-7_1_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5477-7_1_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5477-7_1_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5477-7_1_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5477-7_1_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5477-7_1_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5477-7_1_4_node_157 | 0.4 | n |  | TRUE
29 | bus_LV_5477-7_1_4_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_5477-7_1_4_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_5477-7_1_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_5477-7_1_4_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_5477-7_1_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_5477-7_1_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_5477-7_1_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5477-7_1_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_5477-7_1_4_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_5477-7_1_4_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_5477-7_1_4_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_5477-7_1_4_node_160 | 0.4 | n |  | TRUE
41 | bus_LV_5477-7_1_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_5477-7_1_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5477-7_1_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_5477-7_1_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_5477-7_1_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_5477-7_1_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_5477-7_1_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_5477-7_1_4_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_5477-7_1_4_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_5477-7_1_4_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_5477-7_1_4_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_5477-7_1_4_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_5477-7_1_4_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_5477-7_1_4_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_5477-7_1_4_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_5477-7_1_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_5477-7_1_4_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_5477-7_1_4_node_158 | 0.4 | n |  | TRUE
59 | bus_LV_5477-7_1_4_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_5477-7_1_4_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_5477-7_1_4_node_100 | 0.4 | n |  | TRUE
62 | bus_LV_5477-7_1_4_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_5477-7_1_4_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_5477-7_1_4_node_140 | 0.4 | n |  | TRUE
65 | bus_LV_5477-7_1_4_node_139 | 0.4 | n |  | TRUE
66 | bus_LV_5477-7_1_4_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_5477-7_1_4_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_5477-7_1_4_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_5477-7_1_4_node_98 | 0.4 | n |  | TRUE
70 | bus_LV_5477-7_1_4_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_5477-7_1_4_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_5477-7_1_4_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_5477-7_1_4_node_134 | 0.4 | n |  | TRUE
74 | bus_LV_5477-7_1_4_node_130 | 0.4 | n |  | TRUE
75 | bus_LV_5477-7_1_4_node_133 | 0.4 | n |  | TRUE
76 | bus_LV_5477-7_1_4_node_118 | 0.4 | n |  | TRUE
77 | bus_LV_5477-7_1_4_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_5477-7_1_4_node_121 | 0.4 | n |  | TRUE
79 | bus_LV_5477-7_1_4_node_122 | 0.4 | n |  | TRUE
80 | bus_LV_5477-7_1_4_node_128 | 0.4 | n |  | TRUE
81 | bus_LV_5477-7_1_4_node_126 | 0.4 | n |  | TRUE
82 | bus_LV_5477-7_1_4_node_124 | 0.4 | n |  | TRUE
83 | bus_LV_5477-7_1_4_node_123 | 0.4 | n |  | TRUE
84 | bus_LV_5477-7_1_4_node_125 | 0.4 | n |  | TRUE
85 | bus_LV_5477-7_1_4_node_127 | 0.4 | n |  | TRUE
86 | bus_LV_5477-7_1_4_node_129 | 0.4 | n |  | TRUE
87 | bus_LV_5477-7_1_4_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_5477-7_1_4_node_149 | 0.4 | n |  | TRUE
89 | bus_LV_5477-7_1_4_node_146 | 0.4 | n |  | TRUE
90 | bus_LV_5477-7_1_4_node_147 | 0.4 | n |  | TRUE
91 | bus_MV_315_1_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5477-7_1_4_load_136 | 1 | 0.001329 | 0.00033308 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5477-7_1_4_load_135 | 2 | 0.014226 | 0.0035653 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5477-7_1_4_load_86 | 3 | 0.00058173 | 0.0001458 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5477-7_1_4_load_18 | 4 | 0.0011214 | 0.00028105 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5477-7_1_4_load_19 | 5 | 0.0028484 | 0.00071388 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5477-7_1_4_load_21 | 7 | 0.0014766 | 0.00037006 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5477-7_1_4_load_36 | 10 | 0.0023705 | 0.00059411 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5477-7_1_4_load_25 | 11 | 0.0020148 | 0.00050496 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5477-7_1_4_load_142 | 12 | 0.0015872 | 0.00039778 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5477-7_1_4_load_24 | 14 | 0.0040957 | 0.0010265 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5477-7_1_4_load_143 | 15 | 0.0039843 | 0.00099855 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5477-7_1_4_load_141 | 17 | 0.0015264 | 0.00038255 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5477-7_1_4_load_26 | 18 | 0.002604 | 0.00065261 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5477-7_1_4_load_27 | 19 | 0.0021441 | 0.00053735 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5477-7_1_4_load_28 | 20 | 0.0019197 | 0.00048113 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5477-7_1_4_load_29 | 21 | 0.003267 | 0.00081878 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5477-7_1_4_load_32 | 24 | 0.0025147 | 0.00063023 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5477-7_1_4_load_33 | 25 | 0.002208 | 0.00055338 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5477-7_1_4_load_34 | 26 | 0.0019077 | 0.00047812 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5477-7_1_4_load_35 | 27 | 0.0019282 | 0.00048326 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5477-7_1_4_load_157 | 28 | 0.0018747 | 0.00046985 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5477-7_1_4_load_90 | 29 | 0.0033436 | 0.00083798 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5477-7_1_4_load_39 | 31 | 0.0089048 | 0.0022317 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5477-7_1_4_load_91 | 32 | 0.002315 | 0.0005802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5477-7_1_4_load_40 | 33 | 0.0025751 | 0.00064538 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5477-7_1_4_load_42 | 35 | 0.0043465 | 0.0010893 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5477-7_1_4_load_66 | 38 | 0.0060086 | 0.0015059 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5477-7_1_4_load_50 | 39 | 0.0019977 | 0.00050066 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5477-7_1_4_load_160 | 40 | 0.0051317 | 0.0012861 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5477-7_1_4_load_44 | 41 | 0.0019646 | 0.00049238 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5477-7_1_4_load_45 | 42 | 0.0020871 | 0.00052307 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5477-7_1_4_load_46 | 43 | 0.0031021 | 0.00077747 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5477-7_1_4_load_47 | 44 | 0.0040864 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5477-7_1_4_load_48 | 45 | 0.0020694 | 0.00051865 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5477-7_1_4_load_49 | 46 | 0.0022612 | 0.00056672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5477-7_1_4_load_67 | 47 | 0.0030174 | 0.00075622 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5477-7_1_4_load_96 | 48 | 0.0020113 | 0.00050407 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5477-7_1_4_load_94 | 49 | 0.0039278 | 0.00098441 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5477-7_1_4_load_78 | 50 | 0.0043002 | 0.0010777 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5477-7_1_4_load_79 | 51 | 0.0016039 | 0.00040197 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5477-7_1_4_load_81 | 53 | 0.001597 | 0.00040025 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5477-7_1_4_load_84 | 56 | 0.0076791 | 0.0019246 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5477-7_1_4_load_85 | 57 | 0.0017689 | 0.00044332 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5477-7_1_4_load_158 | 58 | 0.0012398 | 0.00031072 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5477-7_1_4_load_100 | 61 | 0.0010414 | 0.00026101 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5477-7_1_4_load_117 | 63 | 0.0022579 | 0.00056589 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5477-7_1_4_load_140 | 64 | 0.0013296 | 0.00033323 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5477-7_1_4_load_139 | 65 | 0.0033785 | 0.00084674 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5477-7_1_4_load_99 | 66 | 0.001132 | 0.00028369 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5477-7_1_4_load_92 | 67 | 0.0017113 | 0.0004289 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5477-7_1_4_load_93 | 68 | 0.0013437 | 0.00033675 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5477-7_1_4_load_98 | 69 | 0.00169 | 0.00042355 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5477-7_1_4_load_97 | 70 | 0.0021916 | 0.00054927 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5477-7_1_4_load_95 | 71 | 0.001997 | 0.00050049 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5477-7_1_4_load_101 | 72 | 0.0040185 | 0.0010071 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5477-7_1_4_load_134 | 73 | 0.012811 | 0.0032108 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5477-7_1_4_load_133 | 75 | 0.015181 | 0.0038048 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5477-7_1_4_load_120 | 77 | 0.002293 | 0.00057467 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5477-7_1_4_load_121 | 78 | 0.0017964 | 0.00045022 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5477-7_1_4_load_128 | 80 | 0.0051607 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5477-7_1_4_load_126 | 81 | 0.0066124 | 0.0016572 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5477-7_1_4_load_124 | 82 | 0.0061909 | 0.0015516 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5477-7_1_4_load_123 | 83 | 0.0066035 | 0.001655 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5477-7_1_4_load_125 | 84 | 0.003989 | 0.00099973 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5477-7_1_4_load_127 | 85 | 0.0075014 | 0.00188 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5477-7_1_4_load_129 | 86 | 0.0019739 | 0.0004947 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5477-7_1_4_load_149 | 88 | 0.0032619 | 0.00081751 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5477-7_1_4_load_146 | 89 | 0.0015895 | 0.00039836 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5477-7_1_4_load_147 | 90 | 0.0013156 | 0.00032972 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5477-7_1_4_line_0 |  | 0 | 1 | 0.016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5477-7_1_4_line_1 |  | 0 | 2 | 0.04088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5477-7_1_4_line_2 |  | 2 | 3 | 0.00098183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5477-7_1_4_line_3 |  | 3 | 54 | 0.010878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5477-7_1_4_line_4 |  | 4 | 5 | 0.0097551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5477-7_1_4_line_5 |  | 4 | 6 | 0.0034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5477-7_1_4_line_6 |  | 6 | 7 | 0.015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5477-7_1_4_line_7 |  | 6 | 8 | 0.27064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5477-7_1_4_line_8 |  | 8 | 9 | 0.056311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5477-7_1_4_line_9 |  | 8 | 10 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5477-7_1_4_line_10 |  | 9 | 64 | 0.056034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5477-7_1_4_line_11 |  | 9 | 65 | 0.027117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5477-7_1_4_line_12 |  | 9 | 59 | 0.080506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5477-7_1_4_line_13 |  | 10 | 25 | 0.024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5477-7_1_4_line_14 |  | 11 | 12 | 0.0090661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5477-7_1_4_line_15 |  | 11 | 13 | 0.0391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5477-7_1_4_line_16 |  | 12 | 17 | 0.029688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5477-7_1_4_line_17 |  | 13 | 14 | 0.02829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5477-7_1_4_line_18 |  | 14 | 15 | 0.0041524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5477-7_1_4_line_19 |  | 15 | 16 | 0.0058396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5477-7_1_4_line_20 |  | 16 | 87 | 0.05379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5477-7_1_4_line_21 |  | 17 | 64 | 0.045008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5477-7_1_4_line_22 |  | 18 | 19 | 0.0031433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5477-7_1_4_line_23 |  | 18 | 20 | 0.024036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5477-7_1_4_line_24 |  | 19 | 21 | 0.005426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5477-7_1_4_line_25 |  | 20 | 22 | 0.028105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5477-7_1_4_line_26 |  | 21 | 23 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5477-7_1_4_line_27 |  | 22 | 24 | 0.035357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5477-7_1_4_line_28 |  | 22 | 25 | 0.050448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5477-7_1_4_line_29 |  | 23 | 26 | 0.008894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5477-7_1_4_line_30 |  | 23 | 27 | 0.029095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5477-7_1_4_line_31 |  | 24 | 28 | 0.21888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5477-7_1_4_line_32 |  | 27 | 29 | 0.00089709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5477-7_1_4_line_33 |  | 28 | 30 | 0.20394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5477-7_1_4_line_34 |  | 29 | 32 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5477-7_1_4_line_35 |  | 30 | 31 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5477-7_1_4_line_36 |  | 32 | 67 | 0.0021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5477-7_1_4_line_37 |  | 33 | 34 | 0.055222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5477-7_1_4_line_38 |  | 33 | 35 | 0.10418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5477-7_1_4_line_39 |  | 34 | 36 | 0.15197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5477-7_1_4_line_40 |  | 35 | 37 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5477-7_1_4_line_41 |  | 36 | 40 | 0.009307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5477-7_1_4_line_42 |  | 37 | 38 | 0.006563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5477-7_1_4_line_43 |  | 37 | 39 | 0.021337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5477-7_1_4_line_44 |  | 39 | 45 | 0.00040536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5477-7_1_4_line_45 |  | 41 | 42 | 0.00085418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5477-7_1_4_line_46 |  | 41 | 43 | 0.016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5477-7_1_4_line_47 |  | 42 | 44 | 0.0062386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5477-7_1_4_line_48 |  | 43 | 45 | 0.0081163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5477-7_1_4_line_49 |  | 44 | 46 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5477-7_1_4_line_50 |  | 46 | 47 | 0.01893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5477-7_1_4_line_51 |  | 47 | 48 | 0.012168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5477-7_1_4_line_52 |  | 48 | 49 | 0.023149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5477-7_1_4_line_53 |  | 49 | 71 | 0.0025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5477-7_1_4_line_54 |  | 50 | 51 | 0.020072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5477-7_1_4_line_55 |  | 50 | 52 | 0.015322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5477-7_1_4_line_56 |  | 51 | 53 | 0.0057127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5477-7_1_4_line_57 |  | 52 | 54 | 0.077321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5477-7_1_4_line_58 |  | 52 | 55 | 0.018194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5477-7_1_4_line_59 |  | 54 | 56 | 0.030506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5477-7_1_4_line_60 |  | 54 | 57 | 0.034147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5477-7_1_4_line_61 |  | 55 | 58 | 0.011606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5477-7_1_4_line_62 |  | 55 | 59 | 0.062137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5477-7_1_4_line_63 |  | 59 | 60 | 0.040622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5477-7_1_4_line_64 |  | 59 | 61 | 0.031539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5477-7_1_4_line_65 |  | 60 | 62 | 0.12065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5477-7_1_4_line_66 |  | 60 | 63 | 0.024987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5477-7_1_4_line_67 |  | 61 | 66 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5477-7_1_4_line_68 |  | 62 | 73 | 0.010472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5477-7_1_4_line_69 |  | 62 | 74 | 0.064733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5477-7_1_4_line_70 |  | 62 | 75 | 0.035465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5477-7_1_4_line_71 |  | 63 | 76 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5477-7_1_4_line_72 |  | 66 | 72 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5477-7_1_4_line_73 |  | 67 | 68 | 0.0024441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5477-7_1_4_line_74 |  | 68 | 69 | 0.00027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5477-7_1_4_line_75 |  | 69 | 70 | 0.0077891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5477-7_1_4_line_76 |  | 70 | 71 | 0.018719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5477-7_1_4_line_77 |  | 74 | 80 | 0.0039894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5477-7_1_4_line_78 |  | 76 | 77 | 0.023989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5477-7_1_4_line_79 |  | 76 | 78 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5477-7_1_4_line_80 |  | 78 | 79 | 0.010546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5477-7_1_4_line_81 |  | 79 | 81 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5477-7_1_4_line_82 |  | 79 | 82 | 0.03173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5477-7_1_4_line_83 |  | 80 | 85 | 0.027184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5477-7_1_4_line_84 |  | 82 | 83 | 0.00064991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5477-7_1_4_line_85 |  | 83 | 84 | 0.0019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5477-7_1_4_line_86 |  | 85 | 86 | 0.035718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5477-7_1_4_line_87 |  | 87 | 88 | 0.016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5477-7_1_4_line_88 |  | 87 | 89 | 0.024246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5477-7_1_4_line_89 |  | 89 | 90 | 0.00090372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5477-7_1_4_trafo_124 | 0.63 MVA 20/0.4 kV | 91 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2528445.6327 | 1162595.4198 | 2528439.9292 | 1162611.1855
1 | 2528439.9292 | 1162611.1855 | 2528428.4218 | 1162604.7635 | 2528404.2747 | 1162591.1874
2 | 2528404.2747 | 1162591.1874 | 2528403.4189 | 1162590.7062
3 | 2528393.9364 | 1162585.3749 | 2528403.4189 | 1162590.7062
4 | 2528184.9769 | 1162194.8549 | 2528179.6655 | 1162186.6726
5 | 2528186.8285 | 1162197.7073 | 2528184.9769 | 1162194.8549
6 | 2528186.8285 | 1162197.7073 | 2528201.8777 | 1162193.3112
7 | 2528192.779 | 1162468.2781 | 2528186.8285 | 1162197.7073
8 | 2528192.779 | 1162468.2781 | 2528215.7817 | 1162488.3588 | 2528234.5713 | 1162470.7131
9 | 2528192.779 | 1162468.2781 | 2528183.597 | 1162473.1129 | 2528177.0786 | 1162475.676
10 | 2528234.5713 | 1162470.7131 | 2528236.4504 | 1162468.9563 | 2528288.8519 | 1162458.3625
11 | 2528234.5713 | 1162470.7131 | 2528246.3174 | 1162495.1546
12 | 2528253.6951 | 1162527.7834 | 2528248.4096 | 1162521.4541 | 2528238.1339 | 1162510.4263 | 2528215.7817 | 1162488.3588 | 2528234.5713 | 1162470.7131
13 | 2528153.7079 | 1162483.1425 | 2528168.0254 | 1162479.236 | 2528177.0786 | 1162475.676
14 | 2528370.952 | 1162441.7571 | 2528362.0659 | 1162443.5546
15 | 2528409.2765 | 1162434.0064 | 2528380.8822 | 1162439.7483 | 2528370.952 | 1162441.7571
16 | 2528332.9673 | 1162449.4408 | 2528362.0659 | 1162443.5546
17 | 2528409.2765 | 1162434.0064 | 2528420.3747 | 1162456.1977 | 2528421.9311 | 1162459.308
18 | 2528421.9311 | 1162459.308 | 2528423.7893 | 1162463.0215
19 | 2528426.4025 | 1162468.2438 | 2528423.7893 | 1162463.0215
20 | 2528426.4025 | 1162468.2438 | 2528432.14 | 1162479.7152 | 2528433.9059 | 1162483.2406 | 2528445.8327 | 1162507.4677 | 2528446.7356 | 1162509.3024 | 2528450.2837 | 1162516.4419
21 | 2528288.8519 | 1162458.3625 | 2528307.3477 | 1162454.6233 | 2528332.9673 | 1162449.4408
22 | 2528111.727 | 1162546.4088 | 2528112.4702 | 1162549.4629 | 2528112.4702 | 1162549.4629
23 | 2528111.727 | 1162546.4088 | 2528108.5538 | 1162533.3674 | 2528105.9451 | 1162523.0787
24 | 2528115.755 | 1162553.7816 | 2528112.4702 | 1162549.4629
25 | 2528105.0389 | 1162496.4219 | 2528101.8742 | 1162501.496 | 2528101.6462 | 1162506.1236 | 2528105.9451 | 1162523.0787
26 | 2528131.5006 | 1162553.2483 | 2528121.9381 | 1162555.0861 | 2528115.755 | 1162553.7816 | 2528115.755 | 1162553.7816
27 | 2528105.0389 | 1162496.4219 | 2528086.3572 | 1162501.2928 | 2528070.8382 | 1162505.3897
28 | 2528105.0389 | 1162496.4219 | 2528153.7079 | 1162483.1425
29 | 2528131.5006 | 1162553.2483 | 2528132.475 | 1162544.4094
30 | 2528131.5006 | 1162553.2483 | 2528142.1026 | 1162551.2091 | 2528145.9581 | 1162556.4771 | 2528148.9245 | 1162567.8677
31 | 2528070.8382 | 1162505.3897 | 2527880.6713 | 1162397.0234
32 | 2528149.1506 | 1162568.7359 | 2528148.9245 | 1162567.8677
33 | 2527763.4651 | 1162563.916 | 2527880.6713 | 1162397.0234
34 | 2528149.1506 | 1162568.7359 | 2528151.162 | 1162576.4594 | 2528154.8832 | 1162590.5752
35 | 2527741.562 | 1162570.9947 | 2527763.4651 | 1162563.916
36 | 2528154.8832 | 1162590.5752 | 2528155.4368 | 1162592.6752
37 | 2528186.7235 | 1162896.8931 | 2528179.938 | 1162876.5961 | 2528172.8101 | 1162848.1764 | 2528171.9045 | 1162843.7471
38 | 2528151.026 | 1162741.6768 | 2528169.0098 | 1162829.5891 | 2528171.9045 | 1162843.7471
39 | 2528186.7235 | 1162896.8931 | 2528158.59 | 1162874.9506 | 2528137.7666 | 1162863.3822 | 2528121.5087 | 1162854.3384 | 2528102.6345 | 1162854.5645 | 2528071.4116 | 1162862.5319 | 2528065.6245 | 1162864.2022 | 2528056.8121 | 1162849.9664
40 | 2528160.4555 | 1162724.2763 | 2528151.026 | 1162741.6768
41 | 2528047.6231 | 1162851.5997 | 2528056.8121 | 1162849.9664
42 | 2528166.6736 | 1162722.1229 | 2528160.4555 | 1162724.2763
43 | 2528160.4555 | 1162724.2763 | 2528156.6135 | 1162711.8152 | 2528154.4144 | 1162703.8148
44 | 2528154.4144 | 1162703.8148 | 2528154.307 | 1162703.424
45 | 2528147.7628 | 1162679.5966 | 2528147.5976 | 1162678.7585
46 | 2528147.7628 | 1162679.5966 | 2528148.9529 | 1162685.6366 | 2528151.9878 | 1162695.6464
47 | 2528147.5976 | 1162678.7585 | 2528146.3916 | 1162672.6376 | 2528146.3916 | 1162672.6376
48 | 2528154.307 | 1162703.424 | 2528153.9301 | 1162702.0529 | 2528151.9878 | 1162695.6464
49 | 2528156.0883 | 1162667.0385 | 2528146.3916 | 1162672.6376
50 | 2528156.0883 | 1162667.0385 | 2528172.4818 | 1162657.5724
51 | 2528172.4818 | 1162657.5724 | 2528172.4818 | 1162657.5724 | 2528171.4669 | 1162653.4267 | 2528169.4028 | 1162645.801
52 | 2528163.42 | 1162623.4385 | 2528164.7254 | 1162628.5155 | 2528165.3989 | 1162631.0088 | 2528169.4028 | 1162645.801
53 | 2528163.42 | 1162623.4385 | 2528162.7824 | 1162620.9586
54 | 2528322.9249 | 1162533.0555 | 2528318.8145 | 1162513.4085
55 | 2528326.0625 | 1162548.0527 | 2528322.9249 | 1162533.0555
56 | 2528324.4089 | 1162512.2522 | 2528318.8145 | 1162513.4085
57 | 2528393.9364 | 1162585.3749 | 2528371.5336 | 1162573.113 | 2528361.8143 | 1162567.5925 | 2528345.6643 | 1162558.6358 | 2528335.1619 | 1162552.3465 | 2528326.0625 | 1162548.0527
58 | 2528308.547 | 1162543.4481 | 2528320.2726 | 1162545.676 | 2528326.0625 | 1162548.0527
59 | 2528393.9364 | 1162585.3749 | 2528388.1546 | 1162555.427
60 | 2528407.821 | 1162559.2279 | 2528398.5293 | 1162563.2187 | 2528397.6263 | 1162565.8754 | 2528398.4208 | 1162580.452 | 2528393.9364 | 1162585.3749
61 | 2528308.547 | 1162543.4481 | 2528307.9795 | 1162531.8594
62 | 2528253.6951 | 1162527.7834 | 2528256.8523 | 1162531.6812 | 2528263.5955 | 1162541.3839 | 2528273.7032 | 1162539.6511 | 2528308.547 | 1162543.4481
63 | 2528253.6951 | 1162527.7834 | 2528256.8523 | 1162531.6812 | 2528263.5955 | 1162541.3839 | 2528275.4111 | 1162562.0322
64 | 2528253.6951 | 1162527.7834 | 2528223.0001 | 1162535.0317
65 | 2528275.4111 | 1162562.0322 | 2528286.4191 | 1162587.5485 | 2528292.8345 | 1162609.5732 | 2528297.1274 | 1162629.0218 | 2528304.9027 | 1162668.051 | 2528294.7912 | 1162669.4503
66 | 2528275.4111 | 1162562.0322 | 2528252.6109 | 1162572.2554
67 | 2528204.3708 | 1162539.4308 | 2528223.0001 | 1162535.0317
68 | 2528287.5345 | 1162677.0191 | 2528294.7912 | 1162669.4503
69 | 2528294.7912 | 1162669.4503 | 2528304.9027 | 1162668.051 | 2528309.9922 | 1162695.817 | 2528314.9664 | 1162721.6389
70 | 2528294.7912 | 1162669.4503 | 2528270.8049 | 1162672.761 | 2528267.919 | 1162661.8863
71 | 2528242.0159 | 1162576.8508 | 2528248.4343 | 1162574.1281 | 2528252.6109 | 1162572.2554
72 | 2528193.6966 | 1162537.9065 | 2528199.8873 | 1162540.4895 | 2528204.3708 | 1162539.4308
73 | 2528155.4368 | 1162592.6752 | 2528156.0598 | 1162595.0386
74 | 2528156.1286 | 1162595.2997 | 2528156.0598 | 1162595.0386
75 | 2528158.1141 | 1162602.8315 | 2528156.1286 | 1162595.2997
76 | 2528158.1141 | 1162602.8315 | 2528158.3373 | 1162603.6779 | 2528159.0202 | 1162606.3267 | 2528162.7824 | 1162620.9586
77 | 2528314.9664 | 1162721.6389 | 2528315.722 | 1162725.5561
78 | 2528242.0159 | 1162576.8508 | 2528231.9703 | 1162576.7263 | 2528221.4178 | 1162567.5362
79 | 2528242.0159 | 1162576.8508 | 2528247.0689 | 1162597.6523
80 | 2528249.5583 | 1162607.9004 | 2528247.0689 | 1162597.6523
81 | 2528249.5583 | 1162607.9004 | 2528257.4676 | 1162611.9749 | 2528259.8169 | 1162615.5933
82 | 2528249.5583 | 1162607.9004 | 2528218.8409 | 1162615.8519
83 | 2528320.8721 | 1162752.2478 | 2528319.7523 | 1162746.4513 | 2528315.722 | 1162725.5561
84 | 2528218.8409 | 1162615.8519 | 2528218.2117 | 1162616.0148
85 | 2528216.3724 | 1162616.4909 | 2528218.2117 | 1162616.0148
86 | 2528327.6774 | 1162787.3117 | 2528325.0685 | 1162773.9701 | 2528320.8721 | 1162752.2478
87 | 2528450.2837 | 1162516.4419 | 2528433.6735 | 1162519.6417
88 | 2528450.2837 | 1162516.4419 | 2528451.3998 | 1162520.0862 | 2528452.3884 | 1162523.3207 | 2528457.0919 | 1162539.7112
89 | 2528457.3412 | 1162540.5799 | 2528457.0919 | 1162539.7112

## bus_geodata
| x | y | coords
0 | 2528439.9292 | 1162611.1855
1 | 2528445.6327 | 1162595.4198
2 | 2528404.2747 | 1162591.1874
3 | 2528403.4189 | 1162590.7062
4 | 2528184.9769 | 1162194.8549
5 | 2528179.6655 | 1162186.6726
6 | 2528186.8285 | 1162197.7073
7 | 2528201.8777 | 1162193.3112
8 | 2528192.779 | 1162468.2781
9 | 2528234.5713 | 1162470.7131
10 | 2528177.0786 | 1162475.676
11 | 2528370.952 | 1162441.7571
12 | 2528362.0659 | 1162443.5546
13 | 2528409.2765 | 1162434.0064
14 | 2528421.9311 | 1162459.308
15 | 2528423.7893 | 1162463.0215
16 | 2528426.4025 | 1162468.2438
17 | 2528332.9673 | 1162449.4408
18 | 2528111.727 | 1162546.4088
19 | 2528112.4702 | 1162549.4629
20 | 2528105.9451 | 1162523.0787
21 | 2528115.755 | 1162553.7816
22 | 2528105.0389 | 1162496.4219
23 | 2528131.5006 | 1162553.2483
24 | 2528070.8382 | 1162505.3897
25 | 2528153.7079 | 1162483.1425
26 | 2528132.475 | 1162544.4094
27 | 2528148.9245 | 1162567.8677
28 | 2527880.6713 | 1162397.0234
29 | 2528149.1506 | 1162568.7359
30 | 2527763.4651 | 1162563.916
31 | 2527741.562 | 1162570.9947
32 | 2528154.8832 | 1162590.5752
33 | 2528171.9045 | 1162843.7471
34 | 2528186.7235 | 1162896.8931
35 | 2528151.026 | 1162741.6768
36 | 2528056.8121 | 1162849.9664
37 | 2528160.4555 | 1162724.2763
38 | 2528166.6736 | 1162722.1229
39 | 2528154.4144 | 1162703.8148
40 | 2528047.6231 | 1162851.5997
41 | 2528147.7628 | 1162679.5966
42 | 2528147.5976 | 1162678.7585
43 | 2528151.9878 | 1162695.6464
44 | 2528146.3916 | 1162672.6376
45 | 2528154.307 | 1162703.424
46 | 2528156.0883 | 1162667.0385
47 | 2528172.4818 | 1162657.5724
48 | 2528169.4028 | 1162645.801
49 | 2528163.42 | 1162623.4385
50 | 2528322.9249 | 1162533.0555
51 | 2528318.8145 | 1162513.4085
52 | 2528326.0625 | 1162548.0527
53 | 2528324.4089 | 1162512.2522
54 | 2528393.9364 | 1162585.3749
55 | 2528308.547 | 1162543.4481
56 | 2528388.1546 | 1162555.427
57 | 2528407.821 | 1162559.2279
58 | 2528307.9795 | 1162531.8594
59 | 2528253.6951 | 1162527.7834
60 | 2528275.4111 | 1162562.0322
61 | 2528223.0001 | 1162535.0317
62 | 2528294.7912 | 1162669.4503
63 | 2528252.6109 | 1162572.2554
64 | 2528288.8519 | 1162458.3625
65 | 2528246.3174 | 1162495.1546
66 | 2528204.3708 | 1162539.4308
67 | 2528155.4368 | 1162592.6752
68 | 2528156.0598 | 1162595.0386
69 | 2528156.1286 | 1162595.2997
70 | 2528158.1141 | 1162602.8315
71 | 2528162.7824 | 1162620.9586
72 | 2528193.6966 | 1162537.9065
73 | 2528287.5345 | 1162677.0191
74 | 2528314.9664 | 1162721.6389
75 | 2528267.919 | 1162661.8863
76 | 2528242.0159 | 1162576.8508
77 | 2528221.4178 | 1162567.5362
78 | 2528247.0689 | 1162597.6523
79 | 2528249.5583 | 1162607.9004
80 | 2528315.722 | 1162725.5561
81 | 2528259.8169 | 1162615.5933
82 | 2528218.8409 | 1162615.8519
83 | 2528218.2117 | 1162616.0147
84 | 2528216.3724 | 1162616.4909
85 | 2528320.8721 | 1162752.2478
86 | 2528327.6774 | 1162787.3117
87 | 2528450.2837 | 1162516.4419
88 | 2528433.6735 | 1162519.6417
89 | 2528457.0919 | 1162539.7112
90 | 2528457.3412 | 1162540.5799
91 | 2528216.3724 | 1162616.4909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1