## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5480-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5480-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5480-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5480-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5480-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5480-2_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5480-2_0_6_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_5480-2_0_6_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_5480-2_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5480-2_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5480-2_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5480-2_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5480-2_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5480-2_0_6_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_5480-2_0_6_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_5480-2_0_6_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_5480-2_0_6_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_5480-2_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5480-2_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5480-2_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5480-2_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5480-2_0_6_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_5480-2_0_6_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_5480-2_0_6_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_5480-2_0_6_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_5480-2_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5480-2_0_6_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_5480-2_0_6_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_5480-2_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5480-2_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5480-2_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5480-2_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5480-2_0_6_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_5480-2_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5480-2_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5480-2_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5480-2_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5480-2_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5480-2_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5480-2_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5480-2_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5480-2_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5480-2_0_6_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5480-2_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_5480-2_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5480-2_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5480-2_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5480-2_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5480-2_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5480-2_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5480-2_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5480-2_0_6_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_5480-2_0_6_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_5480-2_0_6_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_5480-2_0_6_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_5480-2_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_5480-2_0_6_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5480-2_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5480-2_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5480-2_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5480-2_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5480-2_0_6_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_5480-2_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_5480-2_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_5480-2_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5480-2_0_6_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5480-2_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5480-2_0_6_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5480-2_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5480-2_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_5480-2_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5480-2_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5480-2_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5480-2_0_6_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_5480-2_0_6_node_65 | 0.4 | n |  | TRUE
75 | bus_MV_315_1_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5480-2_0_6_load_0 | 0 | 0.0064356 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5480-2_0_6_load_1 | 1 | 0.0015418 | 0.00038641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5480-2_0_6_load_3 | 3 | 0.0019821 | 0.00049677 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5480-2_0_6_load_4 | 4 | 0.0018043 | 0.00045219 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5480-2_0_6_load_5 | 5 | 0.0052674 | 0.0013201 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5480-2_0_6_load_32 | 7 | 0.0010844 | 0.00027177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5480-2_0_6_load_6 | 8 | 0.012762 | 0.0031984 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5480-2_0_6_load_7 | 9 | 0.00095026 | 0.00023816 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5480-2_0_6_load_8 | 10 | 0.0015033 | 0.00037677 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5480-2_0_6_load_9 | 11 | 0.00090493 | 0.0002268 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5480-2_0_6_load_10 | 12 | 0.0069245 | 0.0017354 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5480-2_0_6_load_71 | 13 | 0.0026309 | 0.00065937 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5480-2_0_6_load_70 | 14 | 0.0085949 | 0.0021541 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5480-2_0_6_load_77 | 15 | 0.0045765 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5480-2_0_6_load_69 | 16 | 0.00043124 | 0.00010808 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5480-2_0_6_load_11 | 17 | 0.010366 | 0.0025979 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5480-2_0_6_load_15 | 20 | 0.032931 | 0.0082534 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5480-2_0_6_load_31 | 21 | 0.062739 | 0.015724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5480-2_0_6_load_23 | 22 | 0.028583 | 0.0071635 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5480-2_0_6_load_51 | 26 | 0.012049 | 0.0030198 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5480-2_0_6_load_16 | 28 | 0.00306 | 0.0007669 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5480-2_0_6_load_17 | 29 | 0.004878 | 0.0012225 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5480-2_0_6_load_21 | 31 | 0.0036611 | 0.00091756 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5480-2_0_6_load_75 | 32 | 0.0018416 | 0.00046154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5480-2_0_6_load_22 | 33 | 0.025937 | 0.0065004 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5480-2_0_6_load_25 | 34 | 0.0041416 | 0.001038 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5480-2_0_6_load_24 | 35 | 0.060361 | 0.015128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5480-2_0_6_load_26 | 37 | 0.0018739 | 0.00046964 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5480-2_0_6_load_27 | 38 | 0.0012921 | 0.00032384 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5480-2_0_6_load_28 | 39 | 0.011343 | 0.0028427 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5480-2_0_6_load_35 | 41 | 0.095301 | 0.023885 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5480-2_0_6_load_44 | 42 | 0.052548 | 0.01317 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5480-2_0_6_load_37 | 43 | 0.019884 | 0.0049834 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5480-2_0_6_load_36 | 44 | 0.024811 | 0.0062182 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5480-2_0_6_load_38 | 45 | 0.0036878 | 0.00092424 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5480-2_0_6_load_39 | 46 | 0.002814 | 0.00070526 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5480-2_0_6_load_40 | 47 | 0.0038083 | 0.00095445 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5480-2_0_6_load_43 | 50 | 0.0030076 | 0.00075377 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5480-2_0_6_load_73 | 51 | 0.0014958 | 0.00037489 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5480-2_0_6_load_72 | 52 | 0.0020115 | 0.00050413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5480-2_0_6_load_67 | 53 | 0.0041304 | 0.0010352 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5480-2_0_6_load_74 | 54 | 0.006534 | 0.0016376 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5480-2_0_6_load_47 | 56 | 0.0097626 | 0.0024467 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5480-2_0_6_load_52 | 58 | 0.0030082 | 0.00075393 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5480-2_0_6_load_49 | 59 | 0.0021829 | 0.00054709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5480-2_0_6_load_50 | 60 | 0.0076154 | 0.0019086 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5480-2_0_6_load_68 | 61 | 0.00043745 | 0.00010964 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5480-2_0_6_load_53 | 62 | 0.009484 | 0.0023769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5480-2_0_6_load_54 | 63 | 0.00074922 | 0.00018777 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5480-2_0_6_load_55 | 64 | 0.0018973 | 0.0004755 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5480-2_0_6_load_56 | 65 | 0.00036366 | 9.1142e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5480-2_0_6_load_57 | 66 | 0.0011501 | 0.00028825 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5480-2_0_6_load_58 | 67 | 0.00074959 | 0.00018787 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5480-2_0_6_load_62 | 68 | 0.00070723 | 0.00017725 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5480-2_0_6_load_59 | 69 | 0.0011053 | 0.00027702 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5480-2_0_6_load_63 | 70 | 0.0018051 | 0.00045241 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5480-2_0_6_load_64 | 73 | 0.0034085 | 0.00085425 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5480-2_0_6_load_65 | 74 | 0.00090062 | 0.00022572 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5480-2_0_6_line_0 |  | 0 | 1 | 0.0033999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5480-2_0_6_line_1 |  | 0 | 2 | 0.056102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5480-2_0_6_line_2 |  | 1 | 3 | 0.0072733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5480-2_0_6_line_3 |  | 2 | 4 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5480-2_0_6_line_4 |  | 2 | 5 | 0.032032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5480-2_0_6_line_5 |  | 4 | 6 | 0.0064326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5480-2_0_6_line_6 |  | 6 | 7 | 0.0075909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5480-2_0_6_line_7 |  | 7 | 38 | 0.0098553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5480-2_0_6_line_8 |  | 8 | 9 | 0.007284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5480-2_0_6_line_9 |  | 8 | 10 | 0.012039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5480-2_0_6_line_10 |  | 9 | 11 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5480-2_0_6_line_11 |  | 10 | 12 | 0.0014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5480-2_0_6_line_12 |  | 11 | 13 | 0.0045231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5480-2_0_6_line_13 |  | 12 | 14 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5480-2_0_6_line_14 |  | 13 | 15 | 0.078945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5480-2_0_6_line_15 |  | 14 | 16 | 0.0044914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5480-2_0_6_line_16 |  | 16 | 60 | 0.0079743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5480-2_0_6_line_17 |  | 17 | 18 | 0.0079268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5480-2_0_6_line_18 |  | 18 | 19 | 0.022156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5480-2_0_6_line_19 |  | 18 | 20 | 0.021026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5480-2_0_6_line_20 |  | 19 | 21 | 0.0076566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5480-2_0_6_line_21 |  | 19 | 22 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5480-2_0_6_line_22 |  | 20 | 23 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5480-2_0_6_line_23 |  | 21 | 24 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5480-2_0_6_line_24 |  | 22 | 25 | 0.0072754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5480-2_0_6_line_25 |  | 23 | 26 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5480-2_0_6_line_26 |  | 23 | 27 | 0.011803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5480-2_0_6_line_27 |  | 24 | 36 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5480-2_0_6_line_28 |  | 24 | 33 | 0.0096428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5480-2_0_6_line_29 |  | 25 | 29 | 0.01999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5480-2_0_6_line_30 |  | 26 | 58 | 0.008907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5480-2_0_6_line_31 |  | 27 | 42 | 0.01904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5480-2_0_6_line_32 |  | 28 | 29 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5480-2_0_6_line_33 |  | 28 | 30 | 0.0070093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5480-2_0_6_line_34 |  | 30 | 31 | 0.025208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5480-2_0_6_line_35 |  | 31 | 32 | 0.027421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5480-2_0_6_line_36 |  | 34 | 35 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5480-2_0_6_line_37 |  | 35 | 37 | 0.019064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5480-2_0_6_line_38 |  | 36 | 40 | 0.005277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5480-2_0_6_line_39 |  | 37 | 38 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5480-2_0_6_line_40 |  | 37 | 39 | 0.022143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5480-2_0_6_line_41 |  | 39 | 40 | 0.023627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5480-2_0_6_line_42 |  | 40 | 41 | 0.018484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5480-2_0_6_line_43 |  | 41 | 43 | 0.012614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5480-2_0_6_line_44 |  | 43 | 44 | 0.004198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5480-2_0_6_line_45 |  | 44 | 45 | 0.0058623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5480-2_0_6_line_46 |  | 45 | 46 | 0.019913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5480-2_0_6_line_47 |  | 46 | 47 | 0.023879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5480-2_0_6_line_48 |  | 47 | 48 | 0.023253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5480-2_0_6_line_49 |  | 48 | 49 | 0.037661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5480-2_0_6_line_50 |  | 48 | 50 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5480-2_0_6_line_51 |  | 49 | 51 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5480-2_0_6_line_52 |  | 49 | 52 | 0.032533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5480-2_0_6_line_53 |  | 50 | 53 | 0.027644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5480-2_0_6_line_54 |  | 51 | 54 | 0.00024147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5480-2_0_6_line_55 |  | 53 | 55 | 0.029718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5480-2_0_6_line_56 |  | 55 | 61 | 0.010438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5480-2_0_6_line_57 |  | 55 | 74 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5480-2_0_6_line_58 |  | 56 | 57 | 0.022209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5480-2_0_6_line_59 |  | 57 | 59 | 0.01567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5480-2_0_6_line_60 |  | 57 | 60 | 0.015685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5480-2_0_6_line_61 |  | 58 | 62 | 0.031644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5480-2_0_6_line_62 |  | 59 | 61 | 0.023845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5480-2_0_6_line_63 |  | 63 | 64 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5480-2_0_6_line_64 |  | 63 | 65 | 0.00052116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5480-2_0_6_line_65 |  | 64 | 66 | 0.0055934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5480-2_0_6_line_66 |  | 65 | 67 | 0.0026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5480-2_0_6_line_67 |  | 66 | 68 | 0.007088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5480-2_0_6_line_68 |  | 67 | 69 | 0.015689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5480-2_0_6_line_69 |  | 68 | 70 | 0.014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5480-2_0_6_line_70 |  | 69 | 71 | 0.011606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5480-2_0_6_line_71 |  | 70 | 74 | 0.0014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5480-2_0_6_line_72 |  | 71 | 72 | 0.029228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5480-2_0_6_line_73 |  | 72 | 73 | 0.031007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5480-2_0_6_trafo_30 | 0.63 MVA 20/0.4 kV | 75 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2531939.9142 | 1163710.3587 | 2531943.0508 | 1163709.0467
1 | 2531894.7277 | 1163742.2734 | 2531911.9789 | 1163726.1908 | 2531920.8289 | 1163718.3416 | 2531939.9142 | 1163710.3587
2 | 2531949.7607 | 1163706.2401 | 2531943.0508 | 1163709.0467
3 | 2531894.7277 | 1163742.2734 | 2531885.4055 | 1163738.5869
4 | 2531894.7277 | 1163742.2734 | 2531923.957 | 1163755.3779
5 | 2531879.4236 | 1163736.2214 | 2531885.4055 | 1163738.5869
6 | 2531879.4236 | 1163736.2214 | 2531877.1267 | 1163728.9864
7 | 2531874.1448 | 1163719.5931 | 2531877.1267 | 1163728.9864
8 | 2531855.0544 | 1163520.2161 | 2531850.885 | 1163514.2434
9 | 2531855.0544 | 1163520.2161 | 2531861.9458 | 1163530.0877
10 | 2531850.885 | 1163514.2434 | 2531843.972 | 1163504.3407
11 | 2531862.7601 | 1163531.2543 | 2531861.9458 | 1163530.0877
12 | 2531841.3829 | 1163500.6319 | 2531843.972 | 1163504.3407
13 | 2531874.1076 | 1163544.1682 | 2531866.3925 | 1163536.4576 | 2531862.7601 | 1163531.2543
14 | 2531841.3829 | 1163500.6319 | 2531866.7374 | 1163425.8696
15 | 2531874.1076 | 1163544.1682 | 2531875.2795 | 1163545.3395 | 2531877.1615 | 1163547.459
16 | 2531882.456 | 1163553.4221 | 2531877.1615 | 1163547.459
17 | 2531803.6176 | 1163626.0318 | 2531798.9583 | 1163619.6189
18 | 2531821.1754 | 1163639.6065 | 2531803.6176 | 1163626.0318
19 | 2531803.6176 | 1163626.0318 | 2531821.9256 | 1163615.6912
20 | 2531821.1754 | 1163639.6065 | 2531828.2435 | 1163642.5503
21 | 2531821.1754 | 1163639.6065 | 2531812.4849 | 1163655.0812
22 | 2531838.2483 | 1163606.4719 | 2531821.9256 | 1163615.6912
23 | 2531849.463 | 1163653.0372 | 2531835.3368 | 1163645.5046 | 2531828.2435 | 1163642.5503
24 | 2531808.9224 | 1163661.4246 | 2531812.4849 | 1163655.0812
25 | 2531838.2483 | 1163606.4719 | 2531832.6778 | 1163596.8819
26 | 2531848.6322 | 1163600.8063 | 2531838.2483 | 1163606.4719
27 | 2531859.8052 | 1163658.5451 | 2531849.463 | 1163653.0372
28 | 2531849.463 | 1163653.0372 | 2531842.5105 | 1163659.719
29 | 2531808.9224 | 1163661.4246 | 2531797.5932 | 1163677.8948
30 | 2531832.6778 | 1163596.8819 | 2531828.204 | 1163589.18
31 | 2531848.6322 | 1163600.8063 | 2531852.2495 | 1163619.4995
32 | 2531786.3088 | 1163694.3 | 2531786.3088 | 1163694.3 | 2531797.5932 | 1163677.8948
33 | 2531783.7403 | 1163700.8217 | 2531786.3088 | 1163694.3
34 | 2531783.7403 | 1163700.8217 | 2531767.3711 | 1163704.1875 | 2531759.167 | 1163706.3953
35 | 2531759.167 | 1163706.3953 | 2531732.6882 | 1163713.521
36 | 2531850.8905 | 1163706.9386 | 2531841.8365 | 1163707.2097 | 2531829.2338 | 1163708.4279
37 | 2531869.9463 | 1163706.3679 | 2531850.8905 | 1163706.9386
38 | 2531864.5278 | 1163660.9262 | 2531859.8052 | 1163658.5451
39 | 2531869.9463 | 1163706.3679 | 2531874.1448 | 1163719.5931
40 | 2531869.9463 | 1163706.3679 | 2531867.0904 | 1163685.5664 | 2531866.9718 | 1163684.4266
41 | 2531864.5278 | 1163660.9262 | 2531866.9718 | 1163684.4266
42 | 2531864.5278 | 1163660.9262 | 2531873.4791 | 1163664.6933 | 2531879.9789 | 1163667.0876 | 2531881.7792 | 1163667.494
43 | 2531894.1433 | 1163669.903 | 2531891.0913 | 1163669.5962 | 2531881.7792 | 1163667.494
44 | 2531898.3203 | 1163670.323 | 2531894.1433 | 1163669.903
45 | 2531898.3203 | 1163670.323 | 2531902.3183 | 1163670.725 | 2531904.1562 | 1163670.5743
46 | 2531923.7366 | 1163667.3781 | 2531914.7541 | 1163669.7055 | 2531904.1562 | 1163670.5743
47 | 2531923.7366 | 1163667.3781 | 2531946.8523 | 1163661.3886
48 | 2531969.362 | 1163655.5562 | 2531946.8523 | 1163661.3886
49 | 2531969.362 | 1163655.5562 | 2531981.6158 | 1163691.1705
50 | 2531969.362 | 1163655.5562 | 2531962.646 | 1163639.2181
51 | 2531981.6158 | 1163691.1705 | 2531966.8234 | 1163697.236
52 | 2531981.6158 | 1163691.1705 | 2531992.01 | 1163721.9986
53 | 2531952.1357 | 1163613.6498 | 2531962.646 | 1163639.2181
54 | 2531966.6 | 1163697.3276 | 2531966.8234 | 1163697.236
55 | 2531936.614 | 1163588.5678 | 2531948.1011 | 1163603.835 | 2531952.1357 | 1163613.6498
56 | 2531936.614 | 1163588.5678 | 2531928.1604 | 1163582.4451
57 | 2531936.614 | 1163588.5678 | 2531945.4028 | 1163582.4359
58 | 2531892.8699 | 1163565.1509 | 2531875.5783 | 1163579.0879
59 | 2531892.8699 | 1163565.1509 | 2531907.3491 | 1163571.1421
60 | 2531892.8699 | 1163565.1509 | 2531882.456 | 1163553.4221
61 | 2531805.2625 | 1163582.7333 | 2531814.8163 | 1163576.8214 | 2531818.2016 | 1163576.1048 | 2531821.6069 | 1163577.8226 | 2531828.204 | 1163589.18
62 | 2531907.3491 | 1163571.1421 | 2531919.491 | 1163576.1662 | 2531928.1604 | 1163582.4451
63 | 2531983.4902 | 1163555.8625 | 2531983.4902 | 1163555.8625 | 2531968.9405 | 1163566.0138
64 | 2531983.4902 | 1163555.8625 | 2531983.9806 | 1163555.6861
65 | 2531968.9405 | 1163566.0138 | 2531964.3532 | 1163569.2143
66 | 2531986.4855 | 1163554.7847 | 2531983.9806 | 1163555.6861
67 | 2531964.3532 | 1163569.2143 | 2531958.5402 | 1163573.27
68 | 2531986.4855 | 1163554.7847 | 2532001.2475 | 1163549.4725
69 | 2531946.5571 | 1163581.6306 | 2531958.5402 | 1163573.27
70 | 2532012.1674 | 1163545.543 | 2532001.2475 | 1163549.4725
71 | 2531945.4028 | 1163582.4359 | 2531946.5571 | 1163581.6306
72 | 2532012.1674 | 1163545.543 | 2532023.8082 | 1163572.3594
73 | 2532023.8082 | 1163572.3594 | 2532006.6775 | 1163576.1556 | 2531998.483 | 1163579.0167 | 2531994.4807 | 1163581.6314

## bus_geodata
| x | y | coords
0 | 2531939.9142 | 1163710.3587
1 | 2531943.0508 | 1163709.0467
2 | 2531894.7277 | 1163742.2734
3 | 2531949.7607 | 1163706.2401
4 | 2531885.4055 | 1163738.5869
5 | 2531923.957 | 1163755.3779
6 | 2531879.4236 | 1163736.2214
7 | 2531877.1267 | 1163728.9864
8 | 2531855.0544 | 1163520.2161
9 | 2531850.885 | 1163514.2434
10 | 2531861.9458 | 1163530.0877
11 | 2531843.972 | 1163504.3407
12 | 2531862.7601 | 1163531.2543
13 | 2531841.3829 | 1163500.6319
14 | 2531874.1076 | 1163544.1682
15 | 2531866.7374 | 1163425.8696
16 | 2531877.1615 | 1163547.459
17 | 2531798.9583 | 1163619.6189
18 | 2531803.6176 | 1163626.0318
19 | 2531821.1754 | 1163639.6065
20 | 2531821.9256 | 1163615.6912
21 | 2531828.2435 | 1163642.5503
22 | 2531812.4849 | 1163655.0812
23 | 2531838.2483 | 1163606.4719
24 | 2531849.463 | 1163653.0372
25 | 2531808.9224 | 1163661.4246
26 | 2531832.6778 | 1163596.8819
27 | 2531848.6322 | 1163600.8063
28 | 2531786.3088 | 1163694.3
29 | 2531797.5932 | 1163677.8948
30 | 2531783.7403 | 1163700.8217
31 | 2531759.167 | 1163706.3953
32 | 2531732.6882 | 1163713.521
33 | 2531842.5105 | 1163659.719
34 | 2531829.2338 | 1163708.4279
35 | 2531850.8905 | 1163706.9386
36 | 2531859.8052 | 1163658.5451
37 | 2531869.9463 | 1163706.3679
38 | 2531874.1448 | 1163719.5931
39 | 2531866.9718 | 1163684.4266
40 | 2531864.5278 | 1163660.9262
41 | 2531881.7792 | 1163667.494
42 | 2531852.2495 | 1163619.4995
43 | 2531894.1433 | 1163669.903
44 | 2531898.3203 | 1163670.323
45 | 2531904.1562 | 1163670.5743
46 | 2531923.7366 | 1163667.3781
47 | 2531946.8523 | 1163661.3886
48 | 2531969.362 | 1163655.5562
49 | 2531981.6158 | 1163691.1705
50 | 2531962.646 | 1163639.2181
51 | 2531966.8234 | 1163697.236
52 | 2531992.01 | 1163721.9986
53 | 2531952.1357 | 1163613.6498
54 | 2531966.6 | 1163697.3276
55 | 2531936.614 | 1163588.5678
56 | 2531875.5783 | 1163579.0879
57 | 2531892.8699 | 1163565.1509
58 | 2531828.204 | 1163589.18
59 | 2531907.3491 | 1163571.1421
60 | 2531882.456 | 1163553.4221
61 | 2531928.1604 | 1163582.4451
62 | 2531805.2625 | 1163582.7333
63 | 2531983.4902 | 1163555.8625
64 | 2531968.9405 | 1163566.0138
65 | 2531983.9806 | 1163555.6861
66 | 2531964.3532 | 1163569.2143
67 | 2531986.4855 | 1163554.7847
68 | 2531958.5402 | 1163573.27
69 | 2532001.2475 | 1163549.4725
70 | 2531946.5571 | 1163581.6306
71 | 2532012.1674 | 1163545.543
72 | 2532023.8082 | 1163572.3594
73 | 2531994.4807 | 1163581.6314
74 | 2531945.4028 | 1163582.4359
75 | 2531864.5278 | 1163660.9262

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1