## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5482-1_1_3_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_5482-1_1_3_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_5482-1_1_3_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_5482-1_1_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5482-1_1_3_node_185 | 0.4 | n |  | TRUE
5 | bus_LV_5482-1_1_3_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_5482-1_1_3_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_5482-1_1_3_node_190 | 0.4 | n |  | TRUE
8 | bus_LV_5482-1_1_3_node_197 | 0.4 | n |  | TRUE
9 | bus_LV_5482-1_1_3_node_158 | 0.4 | n |  | TRUE
10 | bus_LV_5482-1_1_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5482-1_1_3_node_140 | 0.4 | n |  | TRUE
12 | bus_LV_5482-1_1_3_node_119 | 0.4 | n |  | TRUE
13 | bus_LV_5482-1_1_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5482-1_1_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_5482-1_1_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5482-1_1_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_5482-1_1_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5482-1_1_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5482-1_1_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_5482-1_1_3_node_121 | 0.4 | n |  | TRUE
21 | bus_LV_5482-1_1_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5482-1_1_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_5482-1_1_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5482-1_1_3_node_186 | 0.4 | n |  | TRUE
25 | bus_LV_5482-1_1_3_node_157 | 0.4 | n |  | TRUE
26 | bus_LV_5482-1_1_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5482-1_1_3_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_5482-1_1_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5482-1_1_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5482-1_1_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5482-1_1_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5482-1_1_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5482-1_1_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5482-1_1_3_node_153 | 0.4 | n |  | TRUE
35 | bus_LV_5482-1_1_3_node_152 | 0.4 | n |  | TRUE
36 | bus_LV_5482-1_1_3_node_155 | 0.4 | n |  | TRUE
37 | bus_LV_5482-1_1_3_node_191 | 0.4 | n |  | TRUE
38 | bus_LV_5482-1_1_3_node_156 | 0.4 | n |  | TRUE
39 | bus_LV_5482-1_1_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5482-1_1_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_5482-1_1_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5482-1_1_3_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_5482-1_1_3_node_189 | 0.4 | n |  | TRUE
44 | bus_LV_5482-1_1_3_node_120 | 0.4 | n |  | TRUE
45 | bus_LV_5482-1_1_3_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_5482-1_1_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_5482-1_1_3_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_5482-1_1_3_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_5482-1_1_3_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_5482-1_1_3_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_5482-1_1_3_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_5482-1_1_3_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_5482-1_1_3_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_5482-1_1_3_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_5482-1_1_3_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_5482-1_1_3_node_118 | 0.4 | n |  | TRUE
57 | bus_MV_315_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5482-1_1_3_load_3 | 0 | 0.0012655 | 0.00031715 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5482-1_1_3_load_185 | 4 | 0.0028218 | 0.0007072 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5482-1_1_3_load_84 | 5 | 0.0094193 | 0.0023607 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5482-1_1_3_load_190 | 7 | 0.0020648 | 0.00051749 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5482-1_1_3_load_197 | 8 | 0.0016832 | 0.00042184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5482-1_1_3_load_158 | 9 | 0.0017004 | 0.00042615 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5482-1_1_3_load_33 | 10 | 0.0038588 | 0.00096712 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5482-1_1_3_load_140 | 11 | 0.0029637 | 0.00074278 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5482-1_1_3_load_119 | 12 | 0.0048378 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5482-1_1_3_load_16 | 13 | 0.0027685 | 0.00069386 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5482-1_1_3_load_17 | 14 | 0.0027677 | 0.00069366 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5482-1_1_3_load_20 | 15 | 0.0027685 | 0.00069386 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5482-1_1_3_load_18 | 16 | 0.0027677 | 0.00069366 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5482-1_1_3_load_19 | 18 | 0.010144 | 0.0025423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5482-1_1_3_load_21 | 19 | 0.0043006 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5482-1_1_3_load_121 | 20 | 0.0023808 | 0.00059667 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5482-1_1_3_load_22 | 21 | 0.0058638 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5482-1_1_3_load_26 | 22 | 0.0044442 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5482-1_1_3_load_186 | 24 | 0.0021642 | 0.00054239 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5482-1_1_3_load_117 | 27 | 0.0033831 | 0.00084789 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5482-1_1_3_load_27 | 28 | 0.004443 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5482-1_1_3_load_28 | 29 | 0.0018267 | 0.0004578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5482-1_1_3_load_29 | 30 | 0.0026725 | 0.00066978 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5482-1_1_3_load_32 | 33 | 0.0068397 | 0.0017142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5482-1_1_3_load_152 | 35 | 0.0020318 | 0.00050923 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5482-1_1_3_load_191 | 37 | 0.0024994 | 0.00062642 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5482-1_1_3_load_156 | 38 | 0.0025605 | 0.00064171 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5482-1_1_3_load_38 | 39 | 0.0016822 | 0.00042159 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5482-1_1_3_load_39 | 40 | 0.0012815 | 0.00032118 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5482-1_1_3_load_40 | 41 | 0.0048478 | 0.001215 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5482-1_1_3_load_189 | 43 | 0.0037838 | 0.0009483 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5482-1_1_3_load_74 | 45 | 0.0019992 | 0.00050104 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5482-1_1_3_load_79 | 47 | 0.0028532 | 0.00071507 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5482-1_1_3_load_76 | 48 | 0.0021553 | 0.00054018 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5482-1_1_3_load_77 | 49 | 0.0044307 | 0.0011104 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5482-1_1_3_load_78 | 50 | 0.0034181 | 0.00085667 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5482-1_1_3_load_80 | 51 | 0.0011701 | 0.00029326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5482-1_1_3_load_83 | 52 | 0.0028532 | 0.00071507 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5482-1_1_3_load_81 | 53 | 0.0074063 | 0.0018562 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5482-1_1_3_load_116 | 55 | 0.003002 | 0.00075238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5482-1_1_3_line_0 |  | 0 | 1 | 0.050287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5482-1_1_3_line_1 |  | 1 | 2 | 0.08287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5482-1_1_3_line_2 |  | 2 | 5 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5482-1_1_3_line_3 |  | 2 | 3 | 0.06967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5482-1_1_3_line_4 |  | 3 | 4 | 0.017983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5482-1_1_3_line_5 |  | 4 | 32 | 0.068625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5482-1_1_3_line_6 |  | 5 | 54 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5482-1_1_3_line_7 |  | 6 | 7 | 0.020202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5482-1_1_3_line_8 |  | 6 | 8 | 0.054658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5482-1_1_3_line_9 |  | 8 | 34 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5482-1_1_3_line_10 |  | 9 | 10 | 0.042081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5482-1_1_3_line_11 |  | 10 | 31 | 0.042318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5482-1_1_3_line_12 |  | 11 | 12 | 0.031323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5482-1_1_3_line_13 |  | 12 | 27 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5482-1_1_3_line_14 |  | 13 | 14 | 0.00090876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5482-1_1_3_line_15 |  | 13 | 15 | 0.03088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5482-1_1_3_line_16 |  | 14 | 16 | 0.023641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5482-1_1_3_line_17 |  | 15 | 20 | 0.041607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5482-1_1_3_line_18 |  | 15 | 18 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5482-1_1_3_line_19 |  | 16 | 17 | 0.046883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5482-1_1_3_line_20 |  | 17 | 23 | 0.036607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5482-1_1_3_line_21 |  | 18 | 19 | 0.036297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5482-1_1_3_line_22 |  | 19 | 21 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5482-1_1_3_line_23 |  | 20 | 26 | 0.020967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5482-1_1_3_line_24 |  | 21 | 22 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5482-1_1_3_line_25 |  | 22 | 28 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5482-1_1_3_line_26 |  | 23 | 24 | 0.020971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5482-1_1_3_line_27 |  | 23 | 25 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5482-1_1_3_line_28 |  | 25 | 36 | 0.003489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5482-1_1_3_line_29 |  | 25 | 38 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5482-1_1_3_line_30 |  | 26 | 27 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5482-1_1_3_line_31 |  | 27 | 55 | 0.037547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5482-1_1_3_line_32 |  | 28 | 29 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5482-1_1_3_line_33 |  | 29 | 30 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5482-1_1_3_line_34 |  | 30 | 31 | 0.046562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5482-1_1_3_line_35 |  | 31 | 32 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5482-1_1_3_line_36 |  | 31 | 33 | 0.0092752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5482-1_1_3_line_37 |  | 34 | 35 | 0.015033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5482-1_1_3_line_38 |  | 34 | 36 | 0.03108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5482-1_1_3_line_39 |  | 36 | 37 | 0.024762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5482-1_1_3_line_40 |  | 39 | 40 | 0.023744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5482-1_1_3_line_41 |  | 40 | 41 | 0.013423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5482-1_1_3_line_42 |  | 41 | 42 | 0.040991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5482-1_1_3_line_43 |  | 42 | 45 | 0.025954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5482-1_1_3_line_44 |  | 42 | 46 | 0.065109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5482-1_1_3_line_45 |  | 43 | 44 | 0.041559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5482-1_1_3_line_46 |  | 44 | 56 | 0.000829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5482-1_1_3_line_47 |  | 46 | 47 | 0.016973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5482-1_1_3_line_48 |  | 46 | 48 | 0.0023523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5482-1_1_3_line_49 |  | 47 | 52 | 0.034023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5482-1_1_3_line_50 |  | 48 | 49 | 0.024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5482-1_1_3_line_51 |  | 49 | 50 | 0.023523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5482-1_1_3_line_52 |  | 50 | 51 | 0.0016802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5482-1_1_3_line_53 |  | 52 | 54 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5482-1_1_3_line_54 |  | 53 | 54 | 0.03876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5482-1_1_3_line_55 |  | 55 | 56 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5482-1_1_3_trafo_20 | 0.63 MVA 20/0.4 kV | 57 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2531008.4066 | 1166880.7054 | 2531048.7841 | 1166850.731
1 | 2530940.6619 | 1166899.4844 | 2530970.8618 | 1166913.2445 | 2531008.4066 | 1166880.7054
2 | 2530940.6619 | 1166899.4844 | 2530922.8326 | 1166907.5609 | 2530915.9678 | 1166909.5332
3 | 2530940.6619 | 1166899.4844 | 2530970.8618 | 1166913.2445 | 2531004.1824 | 1166928.1029
4 | 2531021.045 | 1166934.4792 | 2531004.1824 | 1166928.1029
5 | 2531021.045 | 1166934.4792 | 2531052.4367 | 1166944.7241 | 2531071.6089 | 1166950.9073 | 2531086.3673 | 1166956.074
6 | 2530895.8821 | 1166913.3634 | 2530906.3049 | 1166912.3095 | 2530915.9678 | 1166909.5332
7 | 2530684.647 | 1167097.1487 | 2530689.9481 | 1167116.6429
8 | 2530692.7955 | 1167043.1018 | 2530684.647 | 1167097.1487
9 | 2530697.3342 | 1167029.7529 | 2530692.7955 | 1167043.1018
10 | 2531162.1885 | 1166970.6227 | 2531127.7578 | 1166975.0315 | 2531120.4002 | 1166974.621
11 | 2531078.5322 | 1166969.1047 | 2531102.4776 | 1166973.621 | 2531120.4002 | 1166974.621
12 | 2530778.214 | 1167065.355 | 2530794.6722 | 1167064.571 | 2530809.1105 | 1167061.1147
13 | 2530829.4276 | 1167061.1571 | 2530812.3843 | 1167060.331 | 2530809.1105 | 1167061.1147
14 | 2530857.7285 | 1167023.3266 | 2530856.8934 | 1167022.9682
15 | 2530882.4766 | 1167004.8576 | 2530857.7285 | 1167023.3266
16 | 2530835.1683 | 1167013.6462 | 2530856.8934 | 1167022.9682
17 | 2530882.4766 | 1167004.8576 | 2530868.9175 | 1167044.1933
18 | 2530882.4766 | 1167004.8576 | 2530894.4707 | 1167003.924
19 | 2530791.068 | 1167024.9236 | 2530829.8099 | 1167011.3469 | 2530835.1683 | 1167013.6462
20 | 2530791.068 | 1167024.9236 | 2530754.3723 | 1167026.07
21 | 2530930.658 | 1167001.1071 | 2530894.4707 | 1167003.924
22 | 2530930.658 | 1167001.1071 | 2530942.312 | 1167000.1999 | 2530946.8601 | 1166999.2615
23 | 2530849.7474 | 1167052.6848 | 2530868.9175 | 1167044.1933
24 | 2530946.8601 | 1166999.2615 | 2530970.1384 | 1166994.4586
25 | 2530970.1384 | 1166994.4586 | 2530984.5974 | 1166991.4753
26 | 2530754.3723 | 1167026.07 | 2530754.5685 | 1167047.0351
27 | 2530731.9358 | 1167027.5965 | 2530735.403 | 1167027.5231 | 2530742.3627 | 1167026.9202 | 2530754.3723 | 1167026.07
28 | 2530728.4387 | 1167027.7259 | 2530731.9358 | 1167027.5965
29 | 2530731.9358 | 1167027.5965 | 2530730.6221 | 1167023.2203 | 2530727.2811 | 1167020.3017 | 2530716.4916 | 1167018.367
30 | 2530849.7474 | 1167052.6848 | 2530829.4276 | 1167061.1571
31 | 2530829.4276 | 1167061.1571 | 2530794.9058 | 1167075.9237
32 | 2530999.6726 | 1166987.1265 | 2530988.9927 | 1166990.5684 | 2530984.5974 | 1166991.4753
33 | 2530999.6726 | 1166987.1265 | 2531031.2411 | 1166976.9526 | 2531032.5979 | 1166976.7218
34 | 2531078.5322 | 1166969.1047 | 2531062.0105 | 1166971.7182 | 2531032.5979 | 1166976.7218
35 | 2531078.5322 | 1166969.1047 | 2531082.3482 | 1166963.4132 | 2531086.3673 | 1166956.074
36 | 2531078.5322 | 1166969.1047 | 2531074.8465 | 1166972.1487 | 2531070.8887 | 1166974.2797
37 | 2530697.3342 | 1167029.7529 | 2530696.0781 | 1167014.7724
38 | 2530728.4387 | 1167027.7259 | 2530697.3342 | 1167029.7529
39 | 2530728.4387 | 1167027.7259 | 2530727.7064 | 1167052.4705
40 | 2530729.7788 | 1166826.8505 | 2530746.965 | 1166825.5424 | 2530753.4679 | 1166825.8082
41 | 2530753.4679 | 1166825.8082 | 2530766.8795 | 1166826.3564
42 | 2530807.1861 | 1166833.463 | 2530793.0617 | 1166830.213 | 2530784.0743 | 1166828.2823 | 2530767.9598 | 1166826.4005 | 2530766.8795 | 1166826.3564
43 | 2530807.1861 | 1166833.463 | 2530815.4399 | 1166858.0706
44 | 2530807.1861 | 1166833.463 | 2530828.6239 | 1166841.5315 | 2530833.1887 | 1166862.9353 | 2530838.3916 | 1166882.5753
45 | 2530778.8398 | 1167080.4405 | 2530767.747 | 1167091.0634 | 2530742.3717 | 1167097.949
46 | 2530779.6655 | 1167080.342 | 2530778.8398 | 1167080.4405
47 | 2530838.3916 | 1166882.5753 | 2530845.0576 | 1166890.3473 | 2530851.192 | 1166893.1253
48 | 2530838.3916 | 1166882.5753 | 2530839.0535 | 1166884.8325
49 | 2530851.192 | 1166893.1253 | 2530882.1853 | 1166907.1608
50 | 2530839.0535 | 1166884.8325 | 2530845.9469 | 1166908.3389
51 | 2530845.9469 | 1166908.3389 | 2530852.5663 | 1166930.9112
52 | 2530853.0392 | 1166932.5235 | 2530852.5663 | 1166930.9112
53 | 2530895.8821 | 1166913.3634 | 2530882.1853 | 1166907.1608
54 | 2530895.8821 | 1166913.3634 | 2530896.3054 | 1166931.491 | 2530892.9355 | 1166934.0313 | 2530876.7811 | 1166936.9021
55 | 2530779.6655 | 1167080.342 | 2530785.7879 | 1167078.8372 | 2530793.5544 | 1167076.5018 | 2530794.9058 | 1167075.9237

## bus_geodata
| x | y | coords
0 | 2531048.7841 | 1166850.731
1 | 2531008.4066 | 1166880.7054
2 | 2530940.6619 | 1166899.4844
3 | 2531004.1824 | 1166928.1029
4 | 2531021.045 | 1166934.4792
5 | 2530915.9678 | 1166909.5332
6 | 2530684.647 | 1167097.1487
7 | 2530689.9481 | 1167116.6429
8 | 2530692.7955 | 1167043.1018
9 | 2531162.1885 | 1166970.6227
10 | 2531120.4002 | 1166974.621
11 | 2530778.214 | 1167065.355
12 | 2530809.1105 | 1167061.1147
13 | 2530857.7285 | 1167023.3266
14 | 2530856.8934 | 1167022.9682
15 | 2530882.4766 | 1167004.8576
16 | 2530835.1683 | 1167013.6462
17 | 2530791.068 | 1167024.9236
18 | 2530894.4707 | 1167003.924
19 | 2530930.658 | 1167001.1071
20 | 2530868.9175 | 1167044.1933
21 | 2530946.8601 | 1166999.2615
22 | 2530970.1384 | 1166994.4586
23 | 2530754.3723 | 1167026.07
24 | 2530754.5685 | 1167047.0351
25 | 2530731.9358 | 1167027.5965
26 | 2530849.7474 | 1167052.6848
27 | 2530829.4276 | 1167061.1571
28 | 2530984.5974 | 1166991.4753
29 | 2530999.6726 | 1166987.1265
30 | 2531032.5979 | 1166976.7218
31 | 2531078.5322 | 1166969.1047
32 | 2531086.3673 | 1166956.074
33 | 2531070.8887 | 1166974.2797
34 | 2530697.3342 | 1167029.7529
35 | 2530696.0781 | 1167014.7724
36 | 2530728.4387 | 1167027.7259
37 | 2530727.7064 | 1167052.4705
38 | 2530716.4916 | 1167018.367
39 | 2530729.7788 | 1166826.8505
40 | 2530753.4679 | 1166825.8082
41 | 2530766.8795 | 1166826.3564
42 | 2530807.1861 | 1166833.463
43 | 2530742.3717 | 1167097.949
44 | 2530778.8398 | 1167080.4405
45 | 2530815.4399 | 1166858.0706
46 | 2530838.3916 | 1166882.5753
47 | 2530851.192 | 1166893.1253
48 | 2530839.0535 | 1166884.8325
49 | 2530845.9469 | 1166908.3389
50 | 2530852.5663 | 1166930.9112
51 | 2530853.0392 | 1166932.5235
52 | 2530882.1853 | 1166907.1608
53 | 2530876.7811 | 1166936.9021
54 | 2530895.8821 | 1166913.3634
55 | 2530794.9058 | 1167075.9237
56 | 2530779.6655 | 1167080.342
57 | 2530881.9626 | 1167004.8976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1