## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5498-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5498-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5498-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5498-1_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5498-1_0_5_node_89 | 0.4 | n |  | TRUE
5 | bus_LV_5498-1_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5498-1_0_5_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_5498-1_0_5_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_5498-1_0_5_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_5498-1_0_5_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_5498-1_0_5_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_5498-1_0_5_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_5498-1_0_5_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_5498-1_0_5_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_5498-1_0_5_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_5498-1_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5498-1_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5498-1_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5498-1_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5498-1_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5498-1_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5498-1_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5498-1_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5498-1_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5498-1_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5498-1_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5498-1_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5498-1_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5498-1_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_5498-1_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5498-1_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5498-1_0_5_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_5498-1_0_5_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_5498-1_0_5_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_5498-1_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_5498-1_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5498-1_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_5498-1_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5498-1_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5498-1_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_5498-1_0_5_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_5498-1_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5498-1_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5498-1_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5498-1_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5498-1_0_5_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_5498-1_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5498-1_0_5_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_5498-1_0_5_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_5498-1_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5498-1_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_5498-1_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5498-1_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5498-1_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_5498-1_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_5498-1_0_5_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_5498-1_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5498-1_0_5_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5498-1_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5498-1_0_5_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_5498-1_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_5498-1_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_5498-1_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_5498-1_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5498-1_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5498-1_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_5498-1_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5498-1_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_5498-1_0_5_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_5498-1_0_5_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_5498-1_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_5498-1_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_5498-1_0_5_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_5498-1_0_5_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_5498-1_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_5498-1_0_5_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_5498-1_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_5498-1_0_5_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_5498-1_0_5_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_5498-1_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5498-1_0_5_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_5498-1_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_5498-1_0_5_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5498-1_0_5_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5498-1_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_5498-1_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_5498-1_0_5_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_5498-1_0_5_node_83 | 0.4 | n |  | TRUE
88 | bus_MV_315_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5498-1_0_5_load_0 | 0 | 0.05486 | 0.013749 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5498-1_0_5_load_89 | 4 | 0.0038156 | 0.00095627 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5498-1_0_5_load_74 | 6 | 0.0063609 | 0.0015942 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5498-1_0_5_load_67 | 7 | 0.0032089 | 0.00080422 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5498-1_0_5_load_88 | 8 | 0.014746 | 0.0036956 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5498-1_0_5_load_65 | 11 | 0.0021348 | 0.00053503 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5498-1_0_5_load_82 | 13 | 0.0027803 | 0.0006968 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5498-1_0_5_load_80 | 14 | 0.034725 | 0.0087029 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5498-1_0_5_load_6 | 15 | 0.0072038 | 0.0018054 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5498-1_0_5_load_7 | 16 | 0.010314 | 0.0025848 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5498-1_0_5_load_9 | 18 | 0.0019857 | 0.00049765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5498-1_0_5_load_10 | 19 | 0.0036744 | 0.00092088 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5498-1_0_5_load_11 | 20 | 0.003841 | 0.00096265 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5498-1_0_5_load_18 | 22 | 0.0018428 | 0.00046185 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5498-1_0_5_load_12 | 23 | 0.00038048 | 9.5357e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5498-1_0_5_load_14 | 25 | 0.00052963 | 0.00013274 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5498-1_0_5_load_38 | 28 | 0.00027691 | 6.9401e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5498-1_0_5_load_20 | 29 | 0.0029856 | 0.00074827 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5498-1_0_5_load_19 | 30 | 0.003278 | 0.00082154 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5498-1_0_5_load_87 | 32 | 0.00040846 | 0.00010237 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5498-1_0_5_load_32 | 35 | 0.0001339 | 3.3559e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5498-1_0_5_load_28 | 36 | 0.0030644 | 0.00076802 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5498-1_0_5_load_27 | 38 | 0.0092185 | 0.0023104 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5498-1_0_5_load_23 | 39 | 0.0043965 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5498-1_0_5_load_61 | 40 | 0.0059184 | 0.0014833 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5498-1_0_5_load_25 | 42 | 0.0037643 | 0.00094343 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5498-1_0_5_load_26 | 43 | 0.0016677 | 0.00041798 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5498-1_0_5_load_70 | 45 | 0.0026504 | 0.00066426 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5498-1_0_5_load_31 | 46 | 0.0055636 | 0.0013944 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5498-1_0_5_load_71 | 47 | 0.0086661 | 0.0021719 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5498-1_0_5_load_37 | 49 | 0.0046566 | 0.0011671 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5498-1_0_5_load_40 | 50 | 0.00014899 | 3.734e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5498-1_0_5_load_35 | 51 | 0.010442 | 0.0026171 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5498-1_0_5_load_33 | 52 | 0.00074655 | 0.0001871 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5498-1_0_5_load_34 | 53 | 0.011262 | 0.0028226 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5498-1_0_5_load_43 | 56 | 0.0069357 | 0.0017383 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5498-1_0_5_load_45 | 57 | 0.013812 | 0.0034617 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5498-1_0_5_load_41 | 58 | 0.014676 | 0.0036782 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5498-1_0_5_load_57 | 60 | 0.00048916 | 0.0001226 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5498-1_0_5_load_42 | 61 | 0.00013469 | 3.3757e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5498-1_0_5_load_44 | 62 | 0.015153 | 0.0037978 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5498-1_0_5_load_46 | 63 | 0.00032932 | 8.2536e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5498-1_0_5_load_47 | 65 | 0.0058737 | 0.0014721 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5498-1_0_5_load_54 | 66 | 0.033791 | 0.0084688 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5498-1_0_5_load_48 | 67 | 0.015555 | 0.0038985 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5498-1_0_5_load_51 | 69 | 0.0077273 | 0.0019366 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5498-1_0_5_load_81 | 72 | 0.018746 | 0.0046982 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5498-1_0_5_load_79 | 73 | 0.0080044 | 0.0020061 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5498-1_0_5_load_75 | 74 | 0.020067 | 0.0050292 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5498-1_0_5_load_59 | 76 | 0.064345 | 0.016126 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5498-1_0_5_load_84 | 77 | 0.00017035 | 4.2693e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5498-1_0_5_load_85 | 78 | 0.002279 | 0.00057117 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5498-1_0_5_load_86 | 80 | 0.0017708 | 0.00044379 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5498-1_0_5_load_66 | 82 | 0.0059871 | 0.0015005 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5498-1_0_5_load_68 | 83 | 0.0021966 | 0.00055052 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5498-1_0_5_load_69 | 84 | 0.0017506 | 0.00043873 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5498-1_0_5_load_83 | 87 | 0.0030105 | 0.00075451 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5498-1_0_5_line_0 |  | 0 | 1 | 0.029332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5498-1_0_5_line_1 |  | 1 | 2 | 0.055027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5498-1_0_5_line_2 |  | 1 | 3 | 0.053485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5498-1_0_5_line_3 |  | 2 | 4 | 0.007573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5498-1_0_5_line_4 |  | 3 | 8 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5498-1_0_5_line_5 |  | 4 | 9 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5498-1_0_5_line_6 |  | 5 | 6 | 0.012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5498-1_0_5_line_7 |  | 5 | 7 | 0.017172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5498-1_0_5_line_8 |  | 6 | 10 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5498-1_0_5_line_9 |  | 7 | 11 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5498-1_0_5_line_10 |  | 9 | 81 | 0.054377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5498-1_0_5_line_11 |  | 10 | 66 | 0.012682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5498-1_0_5_line_12 |  | 11 | 82 | 0.0076818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5498-1_0_5_line_13 |  | 12 | 13 | 0.036145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5498-1_0_5_line_14 |  | 12 | 14 | 0.013687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5498-1_0_5_line_15 |  | 14 | 72 | 0.0083193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5498-1_0_5_line_16 |  | 15 | 16 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5498-1_0_5_line_17 |  | 15 | 17 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5498-1_0_5_line_18 |  | 16 | 18 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5498-1_0_5_line_19 |  | 16 | 19 | 0.0075746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5498-1_0_5_line_20 |  | 17 | 20 | 0.005832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5498-1_0_5_line_21 |  | 18 | 21 | 0.0055365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5498-1_0_5_line_22 |  | 21 | 22 | 0.0042958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5498-1_0_5_line_23 |  | 22 | 30 | 0.0032602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5498-1_0_5_line_24 |  | 23 | 24 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5498-1_0_5_line_25 |  | 23 | 25 | 0.0045281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5498-1_0_5_line_26 |  | 24 | 26 | 0.015433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5498-1_0_5_line_27 |  | 24 | 27 | 0.004316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5498-1_0_5_line_28 |  | 26 | 28 | 0.0040161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5498-1_0_5_line_29 |  | 27 | 29 | 0.010439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5498-1_0_5_line_30 |  | 27 | 30 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5498-1_0_5_line_31 |  | 29 | 34 | 0.0047469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5498-1_0_5_line_32 |  | 31 | 32 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5498-1_0_5_line_33 |  | 31 | 33 | 0.050885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5498-1_0_5_line_34 |  | 32 | 55 | 0.009513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5498-1_0_5_line_35 |  | 33 | 59 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5498-1_0_5_line_36 |  | 33 | 60 | 0.0086909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5498-1_0_5_line_37 |  | 34 | 35 | 0.023397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5498-1_0_5_line_38 |  | 34 | 36 | 0.0031735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5498-1_0_5_line_39 |  | 35 | 50 | 0.00052899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5498-1_0_5_line_40 |  | 36 | 44 | 0.013111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5498-1_0_5_line_41 |  | 37 | 38 | 0.012745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5498-1_0_5_line_42 |  | 37 | 39 | 0.018782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5498-1_0_5_line_43 |  | 38 | 40 | 0.00035434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5498-1_0_5_line_44 |  | 39 | 41 | 0.0011551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5498-1_0_5_line_45 |  | 40 | 48 | 0.026665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5498-1_0_5_line_46 |  | 41 | 42 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5498-1_0_5_line_47 |  | 41 | 43 | 0.0096837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5498-1_0_5_line_48 |  | 42 | 44 | 0.0044948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5498-1_0_5_line_49 |  | 43 | 45 | 0.0049946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5498-1_0_5_line_50 |  | 44 | 46 | 0.0060594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5498-1_0_5_line_51 |  | 45 | 47 | 0.0018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5498-1_0_5_line_52 |  | 46 | 49 | 0.0089032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5498-1_0_5_line_53 |  | 48 | 79 | 0.003752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5498-1_0_5_line_54 |  | 49 | 51 | 0.013894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5498-1_0_5_line_55 |  | 51 | 52 | 0.00026893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5498-1_0_5_line_56 |  | 52 | 53 | 0.019274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5498-1_0_5_line_57 |  | 53 | 54 | 0.0037493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5498-1_0_5_line_58 |  | 54 | 55 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5498-1_0_5_line_59 |  | 54 | 56 | 0.008371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5498-1_0_5_line_60 |  | 56 | 57 | 0.0083042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5498-1_0_5_line_61 |  | 56 | 58 | 0.008024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5498-1_0_5_line_62 |  | 57 | 64 | 0.021471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5498-1_0_5_line_63 |  | 58 | 61 | 0.02143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5498-1_0_5_line_64 |  | 59 | 77 | 0.015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5498-1_0_5_line_65 |  | 60 | 76 | 0.01422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5498-1_0_5_line_66 |  | 61 | 62 | 0.0080729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5498-1_0_5_line_67 |  | 62 | 63 | 0.0011037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5498-1_0_5_line_68 |  | 63 | 65 | 0.0024102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5498-1_0_5_line_69 |  | 64 | 66 | 0.015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5498-1_0_5_line_70 |  | 64 | 67 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5498-1_0_5_line_71 |  | 67 | 68 | 0.01707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5498-1_0_5_line_72 |  | 68 | 69 | 0.0060421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5498-1_0_5_line_73 |  | 69 | 70 | 0.031985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5498-1_0_5_line_74 |  | 70 | 71 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5498-1_0_5_line_75 |  | 71 | 73 | 0.0078268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5498-1_0_5_line_76 |  | 71 | 74 | 0.0046555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5498-1_0_5_line_77 |  | 72 | 85 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5498-1_0_5_line_78 |  | 74 | 75 | 0.0066553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5498-1_0_5_line_79 |  | 75 | 85 | 0.02089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5498-1_0_5_line_80 |  | 77 | 78 | 0.0022133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5498-1_0_5_line_81 |  | 79 | 80 | 0.011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5498-1_0_5_line_82 |  | 79 | 81 | 0.002921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5498-1_0_5_line_83 |  | 82 | 83 | 0.010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5498-1_0_5_line_84 |  | 83 | 84 | 0.0096737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5498-1_0_5_line_85 |  | 85 | 86 | 0.004444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5498-1_0_5_line_86 |  | 86 | 87 | 0.031106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5498-1_0_5_trafo_45 | 0.63 MVA 20/0.4 kV | 88 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2529337.63 | 1167944.212 | 2529338.529 | 1167943.2009 | 2529343.806 | 1167937.6133 | 2529357.2446 | 1167922.407
1 | 2529309.9716 | 1167905.6938 | 2529311.4031 | 1167906.9999 | 2529305.5903 | 1167913.8946 | 2529312.732 | 1167921.6815 | 2529337.63 | 1167944.212
2 | 2529337.63 | 1167944.212 | 2529335.6058 | 1167946.5149 | 2529343.4194 | 1167953.5158 | 2529353.0134 | 1167961.5518 | 2529375.0665 | 1167977.8346
3 | 2529309.9716 | 1167905.6938 | 2529304.3618 | 1167900.5904
4 | 2529367.7669 | 1167985.2136 | 2529375.0665 | 1167977.8346
5 | 2529304.3618 | 1167900.5904 | 2529297.7075 | 1167894.5432 | 2529295.7604 | 1167896.9008
6 | 2529324.8819 | 1167986.1305 | 2529331.9081 | 1167992.5735 | 2529334.2855 | 1167994.6711
7 | 2529324.8819 | 1167986.1305 | 2529312.2297 | 1167974.5206
8 | 2529349.7139 | 1168008.2838 | 2529334.2855 | 1167994.6711
9 | 2529303.8967 | 1167966.8741 | 2529312.2297 | 1167974.5206
10 | 2529254.7318 | 1167923.4997 | 2529260.5609 | 1167922.5415 | 2529266.0157 | 1167920.3426 | 2529269.5174 | 1167918.0556 | 2529281.2921 | 1167905.2428 | 2529283.9106 | 1167901.3986 | 2529285.224 | 1167898.5371 | 2529286.9555 | 1167894.7701 | 2529295.7604 | 1167896.9008
11 | 2529349.7139 | 1168008.2838 | 2529344.9135 | 1168013.3877 | 2529340.4829 | 1168016.9338
12 | 2529303.8967 | 1167966.8741 | 2529298.2367 | 1167961.6804
13 | 2529374.8466 | 1168038.4271 | 2529380.4824 | 1168042.5075 | 2529383.1372 | 1168043.0544 | 2529384.5593 | 1168042.9153 | 2529386.0273 | 1168042.7757 | 2529394.9217 | 1168038.8688 | 2529398.2065 | 1168036.3621 | 2529405.2221 | 1168029.6256
14 | 2529374.8466 | 1168038.4271 | 2529380.1391 | 1168051.0498 | 2529380.1391 | 1168051.0498
15 | 2529380.1391 | 1168051.0498 | 2529385.5597 | 1168057.3606
16 | 2529201.7283 | 1167973.7759 | 2529190.528 | 1167981.0785
17 | 2529180.7329 | 1167987.4648 | 2529190.528 | 1167981.0785
18 | 2529201.7283 | 1167973.7759 | 2529202.6374 | 1167974.9213 | 2529209.7552 | 1167983.9202 | 2529210.5551 | 1167984.9313
19 | 2529201.7283 | 1167973.7759 | 2529200.9578 | 1167972.7066 | 2529197.2964 | 1167967.6331
20 | 2529180.7329 | 1167987.4648 | 2529184.1792 | 1167992.1697
21 | 2529213.9901 | 1167989.2733 | 2529210.5551 | 1167984.9313
22 | 2529213.9901 | 1167989.2733 | 2529216.9261 | 1167992.4091
23 | 2529216.9261 | 1167992.4091 | 2529219.1544 | 1167994.789
24 | 2529229.855 | 1168005.2396 | 2529227.3648 | 1168008.2707 | 2529223.8663 | 1168011.4805 | 2529220.2476 | 1168013.2679
25 | 2529216.1878 | 1168015.2732 | 2529220.2476 | 1168013.2679
26 | 2529229.855 | 1168005.2396 | 2529230.3379 | 1168007.2461 | 2529234.8261 | 1168015.2533 | 2529238.0272 | 1168017.9726
27 | 2529229.855 | 1168005.2396 | 2529229.9755 | 1168003.1258 | 2529230.7857 | 1168001.0818
28 | 2529238.0272 | 1168017.9726 | 2529241.0656 | 1168015.3464
29 | 2529230.7857 | 1168001.0818 | 2529236.6632 | 1167997.0991 | 2529239.134 | 1167994.8523
30 | 2529230.7857 | 1168001.0818 | 2529227.4958 | 1168001.8655 | 2529224.9889 | 1168000.8834 | 2529221.7423 | 1167997.5532 | 2529219.1544 | 1167994.789
31 | 2529242.646 | 1167991.6587 | 2529239.134 | 1167994.8523
32 | 2529271.8052 | 1168038.6415 | 2529286.0049 | 1168018.5849
33 | 2529271.8052 | 1168038.6415 | 2529277.5507 | 1168050.0691 | 2529278.7669 | 1168054.5351 | 2529279.7584 | 1168059.4262 | 2529280.2112 | 1168066.6583 | 2529283.1534 | 1168074.6948 | 2529282.5121 | 1168080.0276 | 2529276.4133 | 1168084.0685
34 | 2529291.5086 | 1168010.8156 | 2529286.0049 | 1168018.5849
35 | 2529276.4133 | 1168084.0685 | 2529269.1891 | 1168084.843 | 2529269.0122 | 1168084.7673 | 2529263.3857 | 1168082.1321 | 2529263.1541 | 1168081.9681
36 | 2529276.4133 | 1168084.0685 | 2529284.5224 | 1168087.1948
37 | 2529242.646 | 1167991.6587 | 2529257.7259 | 1168000.1301 | 2529257.735 | 1168006.2312
38 | 2529242.646 | 1167991.6587 | 2529244.4635 | 1167989.0572
39 | 2529257.7358 | 1168006.7602 | 2529257.735 | 1168006.2312
40 | 2529252.2272 | 1167978.4938 | 2529246.5226 | 1167986.1099 | 2529244.4635 | 1167989.0572
41 | 2529222.5704 | 1167949.0492 | 2529231.1368 | 1167939.6121
42 | 2529222.5704 | 1167949.0492 | 2529224.414 | 1167950.8951 | 2529235.83 | 1167962.3507
43 | 2529231.1368 | 1167939.6121 | 2529231.375 | 1167939.3497
44 | 2529236.6454 | 1167963.1689 | 2529235.83 | 1167962.3507
45 | 2529249.297 | 1167919.606 | 2529231.375 | 1167939.3497
46 | 2529236.6454 | 1167963.1689 | 2529245.0284 | 1167971.7082 | 2529246.3377 | 1167973.0379 | 2529248.9298 | 1167975.4392
47 | 2529236.6454 | 1167963.1689 | 2529243.6518 | 1167956.4842
48 | 2529252.2272 | 1167978.4938 | 2529248.9298 | 1167975.4392
49 | 2529247.2656 | 1167953.0365 | 2529243.6518 | 1167956.4842
50 | 2529252.2272 | 1167978.4938 | 2529257.4556 | 1167981.5564
51 | 2529248.5973 | 1167951.7659 | 2529247.2656 | 1167953.0365
52 | 2529257.4556 | 1167981.5564 | 2529259.7808 | 1167982.9183 | 2529265.1463 | 1167986.0419
53 | 2529249.297 | 1167919.606 | 2529252.3541 | 1167921.7934
54 | 2529277.1537 | 1167993.0323 | 2529265.1463 | 1167986.0419
55 | 2529277.3861 | 1167993.1676 | 2529277.1537 | 1167993.0323
56 | 2529277.3861 | 1167993.1676 | 2529284.3752 | 1167997.2364 | 2529294.3475 | 1168002.3064
57 | 2529297.6897 | 1168004.0055 | 2529294.3475 | 1168002.3064
58 | 2529297.6897 | 1168004.0055 | 2529291.5362 | 1168007.3133 | 2529291.5086 | 1168010.8156
59 | 2529297.6897 | 1168004.0055 | 2529304.9347 | 1168008.2336
60 | 2529304.9347 | 1168008.2336 | 2529307.4396 | 1168009.6938 | 2529311.8186 | 1168012.8619
61 | 2529304.9347 | 1168008.2336 | 2529299.124 | 1168013.7672
62 | 2529328.0946 | 1168026.849 | 2529314.0019 | 1168014.4414 | 2529311.8186 | 1168012.8619
63 | 2529299.124 | 1168013.7672 | 2529292.3695 | 1168020.1997 | 2529300.124 | 1168029.4909
64 | 2529263.1541 | 1168081.9681 | 2529258.4972 | 1168084.3021 | 2529252.5283 | 1168087.6745 | 2529249.8705 | 1168090.3378
65 | 2529298.2732 | 1168090.47 | 2529289.8159 | 1168089.2356 | 2529284.5224 | 1168087.1948
66 | 2529305.2968 | 1168035.6888 | 2529300.124 | 1168029.4909
67 | 2529305.2968 | 1168035.6888 | 2529306.004 | 1168036.5362
68 | 2529307.5484 | 1168038.3866 | 2529306.004 | 1168036.5362
69 | 2529328.0946 | 1168026.849 | 2529340.4829 | 1168016.9338
70 | 2529328.0946 | 1168026.849 | 2529337.6487 | 1168037.8643
71 | 2529349.6609 | 1168049.8969 | 2529344.5765 | 1168045.8434 | 2529340.4173 | 1168041.0564 | 2529337.6487 | 1168037.8643
72 | 2529349.6609 | 1168049.8969 | 2529350.0594 | 1168055.9259
73 | 2529346.0623 | 1168087.4718 | 2529349.2222 | 1168074.3716 | 2529349.9548 | 1168068.3373 | 2529350.3503 | 1168060.3281 | 2529350.0594 | 1168055.9259
74 | 2529346.0623 | 1168087.4718 | 2529351.7962 | 1168088.1935 | 2529357.28 | 1168087.8176 | 2529362.5832 | 1168085.1092 | 2529365.5618 | 1168083.2508
75 | 2529365.5618 | 1168083.2508 | 2529366.2319 | 1168088.1568 | 2529365.3764 | 1168090.9018
76 | 2529365.5618 | 1168083.2508 | 2529369.5155 | 1168080.7929
77 | 2529392.1451 | 1168065.0275 | 2529385.5597 | 1168057.3606
78 | 2529375.0419 | 1168077.0912 | 2529374.2983 | 1168077.6447 | 2529372.2334 | 1168079.1032 | 2529369.5155 | 1168080.7929
79 | 2529392.1451 | 1168065.0275 | 2529375.0419 | 1168077.0912
80 | 2529248.3071 | 1168091.9044 | 2529249.8705 | 1168090.3378
81 | 2529252.3541 | 1167921.7934 | 2529260.7513 | 1167913.3785
82 | 2529254.7318 | 1167923.4997 | 2529252.3541 | 1167921.7934
83 | 2529298.2367 | 1167961.6804 | 2529297.3338 | 1167960.8519 | 2529290.1652 | 1167954.7834
84 | 2529290.1652 | 1167954.7834 | 2529282.7819 | 1167948.5331
85 | 2529392.1451 | 1168065.0275 | 2529395.6335 | 1168062.2626
86 | 2529395.6335 | 1168062.2626 | 2529402.0645 | 1168057.1729 | 2529411.1486 | 1168048.5833 | 2529418.7043 | 1168041.4337

## bus_geodata
| x | y | coords
0 | 2529357.2446 | 1167922.407
1 | 2529337.63 | 1167944.212
2 | 2529309.9716 | 1167905.6938
3 | 2529375.0665 | 1167977.8346
4 | 2529304.3618 | 1167900.5904
5 | 2529324.8819 | 1167986.1305
6 | 2529334.2855 | 1167994.6711
7 | 2529312.2297 | 1167974.5206
8 | 2529367.7669 | 1167985.2136
9 | 2529295.7604 | 1167896.9008
10 | 2529349.7139 | 1168008.2838
11 | 2529303.8967 | 1167966.8741
12 | 2529374.8466 | 1168038.4271
13 | 2529405.2221 | 1168029.6256
14 | 2529380.1391 | 1168051.0498
15 | 2529190.528 | 1167981.0785
16 | 2529201.7283 | 1167973.7759
17 | 2529180.7329 | 1167987.4648
18 | 2529210.5551 | 1167984.9313
19 | 2529197.2964 | 1167967.6331
20 | 2529184.1792 | 1167992.1697
21 | 2529213.9901 | 1167989.2733
22 | 2529216.9261 | 1167992.4091
23 | 2529220.2476 | 1168013.2679
24 | 2529229.855 | 1168005.2396
25 | 2529216.1878 | 1168015.2732
26 | 2529238.0272 | 1168017.9726
27 | 2529230.7857 | 1168001.0818
28 | 2529241.0656 | 1168015.3464
29 | 2529239.134 | 1167994.8523
30 | 2529219.1544 | 1167994.789
31 | 2529271.8052 | 1168038.6415
32 | 2529286.0049 | 1168018.5849
33 | 2529276.4133 | 1168084.0685
34 | 2529242.646 | 1167991.6587
35 | 2529257.735 | 1168006.2312
36 | 2529244.4635 | 1167989.0572
37 | 2529222.5704 | 1167949.0492
38 | 2529231.1368 | 1167939.6121
39 | 2529235.83 | 1167962.3507
40 | 2529231.375 | 1167939.3497
41 | 2529236.6454 | 1167963.1689
42 | 2529248.9298 | 1167975.4392
43 | 2529243.6518 | 1167956.4842
44 | 2529252.2272 | 1167978.4938
45 | 2529247.2656 | 1167953.0365
46 | 2529257.4556 | 1167981.5564
47 | 2529248.5973 | 1167951.7659
48 | 2529249.297 | 1167919.606
49 | 2529265.1463 | 1167986.0419
50 | 2529257.7358 | 1168006.7602
51 | 2529277.1537 | 1167993.0323
52 | 2529277.3861 | 1167993.1676
53 | 2529294.3475 | 1168002.3064
54 | 2529297.6897 | 1168004.0055
55 | 2529291.5086 | 1168010.8156
56 | 2529304.9347 | 1168008.2336
57 | 2529311.8186 | 1168012.8619
58 | 2529299.124 | 1168013.7672
59 | 2529263.1541 | 1168081.9681
60 | 2529284.5224 | 1168087.1948
61 | 2529300.124 | 1168029.4909
62 | 2529305.2968 | 1168035.6888
63 | 2529306.004 | 1168036.5362
64 | 2529328.0946 | 1168026.849
65 | 2529307.5484 | 1168038.3866
66 | 2529340.4829 | 1168016.9338
67 | 2529337.6487 | 1168037.8643
68 | 2529349.6609 | 1168049.8969
69 | 2529350.0594 | 1168055.9259
70 | 2529346.0623 | 1168087.4718
71 | 2529365.5618 | 1168083.2508
72 | 2529385.5597 | 1168057.3606
73 | 2529365.3764 | 1168090.9018
74 | 2529369.5155 | 1168080.7929
75 | 2529375.0419 | 1168077.0912
76 | 2529298.2732 | 1168090.47
77 | 2529249.8705 | 1168090.3378
78 | 2529248.3071 | 1168091.9044
79 | 2529252.3541 | 1167921.7934
80 | 2529260.7513 | 1167913.3785
81 | 2529254.7318 | 1167923.4997
82 | 2529298.2367 | 1167961.6804
83 | 2529290.1652 | 1167954.7834
84 | 2529282.7819 | 1167948.5331
85 | 2529392.1451 | 1168065.0275
86 | 2529395.6335 | 1168062.2626
87 | 2529418.7043 | 1168041.4337
88 | 2529304.9347 | 1168008.2336

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1