## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5499-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5499-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5499-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5499-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5499-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5499-1_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5499-1_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5499-1_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5499-1_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5499-1_0_4_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_5499-1_0_4_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_5499-1_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5499-1_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5499-1_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5499-1_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5499-1_0_4_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_5499-1_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5499-1_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_5499-1_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5499-1_0_4_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_5499-1_0_4_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_5499-1_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_5499-1_0_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_5499-1_0_4_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_5499-1_0_4_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_5499-1_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5499-1_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5499-1_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5499-1_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5499-1_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5499-1_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_5499-1_0_4_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_5499-1_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5499-1_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5499-1_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5499-1_0_4_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_5499-1_0_4_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_5499-1_0_4_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_5499-1_0_4_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_5499-1_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5499-1_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5499-1_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5499-1_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5499-1_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5499-1_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5499-1_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_5499-1_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5499-1_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_5499-1_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_5499-1_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_5499-1_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_5499-1_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_5499-1_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5499-1_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_5499-1_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_5499-1_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_5499-1_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5499-1_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5499-1_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_5499-1_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_5499-1_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_5499-1_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_5499-1_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5499-1_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_5499-1_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_5499-1_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5499-1_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_5499-1_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_5499-1_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5499-1_0_4_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_5499-1_0_4_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_5499-1_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_5499-1_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_5499-1_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5499-1_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5499-1_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_5499-1_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5499-1_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5499-1_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5499-1_0_4_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_5499-1_0_4_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_5499-1_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_5499-1_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_5499-1_0_4_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_5499-1_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_5499-1_0_4_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_5499-1_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_5499-1_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_5499-1_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_5499-1_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5499-1_0_4_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_5499-1_0_4_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_5499-1_0_4_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_5499-1_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_5499-1_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_5499-1_0_4_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_5499-1_0_4_node_97 | 0.4 | n |  | TRUE
97 | bus_MV_315_1_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5499-1_0_4_load_0 | 0 | 0.067639 | 0.016952 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5499-1_0_4_load_1 | 1 | 0.032275 | 0.0080889 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5499-1_0_4_load_4 | 4 | 0.017461 | 0.0043762 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5499-1_0_4_load_11 | 7 | 0.0055126 | 0.0013816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5499-1_0_4_load_6 | 8 | 0.007124 | 0.0017855 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5499-1_0_4_load_68 | 10 | 0.0077837 | 0.0019508 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5499-1_0_4_load_5 | 11 | 0.027953 | 0.0070057 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5499-1_0_4_load_7 | 12 | 0.0033452 | 0.00083839 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5499-1_0_4_load_12 | 14 | 0.072942 | 0.018281 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5499-1_0_4_load_72 | 15 | 0.0093048 | 0.002332 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5499-1_0_4_load_15 | 16 | 0.0087442 | 0.0021915 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5499-1_0_4_load_13 | 18 | 0.0020117 | 0.00050419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5499-1_0_4_load_92 | 19 | 0.020179 | 0.0050574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5499-1_0_4_load_43 | 23 | 0.0019024 | 0.00047679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5499-1_0_4_load_16 | 25 | 0.0039993 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5499-1_0_4_load_17 | 26 | 0.0024084 | 0.00060361 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5499-1_0_4_load_18 | 27 | 0.0044675 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5499-1_0_4_load_25 | 29 | 0.0020443 | 0.00051235 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5499-1_0_4_load_73 | 31 | 0.006098 | 0.0015283 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5499-1_0_4_load_26 | 32 | 0.0025759 | 0.00064559 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5499-1_0_4_load_27 | 33 | 0.0026858 | 0.00067312 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5499-1_0_4_load_28 | 34 | 0.0030358 | 0.00076085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5499-1_0_4_load_79 | 36 | 0.0025641 | 0.00064262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5499-1_0_4_load_82 | 38 | 0.0027274 | 0.00068355 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5499-1_0_4_load_20 | 40 | 0.0027896 | 0.00069914 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5499-1_0_4_load_21 | 41 | 0.0026217 | 0.00065705 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5499-1_0_4_load_22 | 42 | 0.0053174 | 0.0013327 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5499-1_0_4_load_24 | 44 | 0.0010607 | 0.00026583 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5499-1_0_4_load_49 | 45 | 0.0020054 | 0.00050261 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5499-1_0_4_load_48 | 46 | 0.0053154 | 0.0013322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5499-1_0_4_load_52 | 47 | 0.0019191 | 0.00048097 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5499-1_0_4_load_50 | 48 | 0.0011864 | 0.00029735 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5499-1_0_4_load_32 | 49 | 0.0014949 | 0.00037465 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5499-1_0_4_load_29 | 50 | 0.0016196 | 0.00040591 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5499-1_0_4_load_33 | 52 | 0.0015091 | 0.00037822 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5499-1_0_4_load_54 | 53 | 0.0018923 | 0.00047426 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5499-1_0_4_load_42 | 54 | 0.0017231 | 0.00043184 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5499-1_0_4_load_35 | 55 | 0.00073399 | 0.00018396 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5499-1_0_4_load_36 | 56 | 0.0028956 | 0.00072571 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5499-1_0_4_load_37 | 57 | 0.0011223 | 0.00028127 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5499-1_0_4_load_38 | 58 | 0.0033821 | 0.00084762 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5499-1_0_4_load_39 | 59 | 0.0020099 | 0.00050373 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5499-1_0_4_load_53 | 60 | 0.0032644 | 0.00081814 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5499-1_0_4_load_40 | 61 | 0.00214 | 0.00053634 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5499-1_0_4_load_44 | 63 | 0.0019206 | 0.00048135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5499-1_0_4_load_46 | 64 | 0.0013825 | 0.00034648 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5499-1_0_4_load_51 | 65 | 0.0011871 | 0.00029751 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5499-1_0_4_load_56 | 66 | 0.0083502 | 0.0020927 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5499-1_0_4_load_57 | 67 | 0.001965 | 0.00049248 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5499-1_0_4_load_91 | 69 | 0.0022267 | 0.00055807 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5499-1_0_4_load_89 | 70 | 0.0012036 | 0.00030165 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5499-1_0_4_load_87 | 71 | 0.0021993 | 0.00055119 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5499-1_0_4_load_60 | 72 | 0.00072529 | 0.00018177 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5499-1_0_4_load_61 | 73 | 0.00093365 | 0.00023399 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5499-1_0_4_load_63 | 75 | 0.0011937 | 0.00029917 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5499-1_0_4_load_64 | 76 | 0.0024289 | 0.00060873 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5499-1_0_4_load_65 | 77 | 0.0026379 | 0.00066112 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5499-1_0_4_load_84 | 79 | 0.0047706 | 0.0011956 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5499-1_0_4_load_95 | 80 | 0.019887 | 0.0049842 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5499-1_0_4_load_74 | 81 | 0.0018872 | 0.00047298 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5499-1_0_4_load_83 | 82 | 0.013077 | 0.0032773 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5499-1_0_4_load_96 | 83 | 0.0050126 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5499-1_0_4_load_66 | 84 | 0.0014846 | 0.00037208 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5499-1_0_4_load_67 | 85 | 0.0054202 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5499-1_0_4_load_90 | 86 | 0.0020145 | 0.00050488 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5499-1_0_4_load_71 | 87 | 0.0034504 | 0.00086476 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5499-1_0_4_load_88 | 88 | 0.00076414 | 0.00019151 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5499-1_0_4_load_86 | 89 | 0.001426 | 0.00035739 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5499-1_0_4_load_77 | 91 | 0.0021627 | 0.00054203 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5499-1_0_4_load_78 | 92 | 0.0019995 | 0.00050111 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5499-1_0_4_load_93 | 93 | 0.001419 | 0.00035563 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5499-1_0_4_load_94 | 94 | 0.0031377 | 0.00078638 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5499-1_0_4_load_97 | 96 | 0.0037306 | 0.00093497 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5499-1_0_4_line_0 |  | 0 | 1 | 0.048855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5499-1_0_4_line_1 |  | 0 | 2 | 0.014059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5499-1_0_4_line_2 |  | 1 | 3 | 0.022424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5499-1_0_4_line_3 |  | 2 | 4 | 0.019666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5499-1_0_4_line_4 |  | 3 | 5 | 0.01393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5499-1_0_4_line_5 |  | 3 | 6 | 0.030421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5499-1_0_4_line_6 |  | 5 | 7 | 0.027139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5499-1_0_4_line_7 |  | 5 | 8 | 0.0035294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5499-1_0_4_line_8 |  | 6 | 9 | 0.025393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5499-1_0_4_line_9 |  | 6 | 10 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5499-1_0_4_line_10 |  | 7 | 15 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5499-1_0_4_line_11 |  | 8 | 11 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5499-1_0_4_line_12 |  | 9 | 19 | 0.042701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5499-1_0_4_line_13 |  | 10 | 20 | 0.023778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5499-1_0_4_line_14 |  | 11 | 12 | 0.03074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5499-1_0_4_line_15 |  | 12 | 13 | 0.00044928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5499-1_0_4_line_16 |  | 13 | 14 | 0.018822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5499-1_0_4_line_17 |  | 14 | 18 | 0.019675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5499-1_0_4_line_18 |  | 16 | 17 | 0.041284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5499-1_0_4_line_19 |  | 17 | 24 | 0.043941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5499-1_0_4_line_20 |  | 17 | 22 | 0.026804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5499-1_0_4_line_21 |  | 20 | 87 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5499-1_0_4_line_22 |  | 21 | 22 | 0.03773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5499-1_0_4_line_23 |  | 21 | 23 | 0.056006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5499-1_0_4_line_24 |  | 22 | 47 | 0.019435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5499-1_0_4_line_25 |  | 23 | 63 | 0.035252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5499-1_0_4_line_26 |  | 24 | 66 | 0.0039201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5499-1_0_4_line_27 |  | 25 | 26 | 0.023984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5499-1_0_4_line_28 |  | 25 | 27 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5499-1_0_4_line_29 |  | 26 | 28 | 0.043312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5499-1_0_4_line_30 |  | 27 | 29 | 0.033127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5499-1_0_4_line_31 |  | 28 | 30 | 0.034773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5499-1_0_4_line_32 |  | 28 | 31 | 0.030457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5499-1_0_4_line_33 |  | 29 | 32 | 0.00086971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5499-1_0_4_line_34 |  | 29 | 33 | 0.0331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5499-1_0_4_line_35 |  | 30 | 39 | 0.051709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5499-1_0_4_line_36 |  | 33 | 34 | 0.0057112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5499-1_0_4_line_37 |  | 34 | 35 | 0.020619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5499-1_0_4_line_38 |  | 35 | 36 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5499-1_0_4_line_39 |  | 36 | 37 | 0.04436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5499-1_0_4_line_40 |  | 37 | 38 | 0.024468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5499-1_0_4_line_41 |  | 39 | 50 | 0.03951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5499-1_0_4_line_42 |  | 40 | 41 | 0.013425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5499-1_0_4_line_43 |  | 40 | 42 | 0.0065336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5499-1_0_4_line_44 |  | 41 | 43 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5499-1_0_4_line_45 |  | 42 | 44 | 0.012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5499-1_0_4_line_46 |  | 43 | 45 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5499-1_0_4_line_47 |  | 43 | 46 | 0.0061804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5499-1_0_4_line_48 |  | 44 | 47 | 0.024075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5499-1_0_4_line_49 |  | 45 | 48 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5499-1_0_4_line_50 |  | 46 | 49 | 0.014937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5499-1_0_4_line_51 |  | 48 | 65 | 0.0073809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5499-1_0_4_line_52 |  | 49 | 51 | 0.031643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5499-1_0_4_line_53 |  | 50 | 51 | 0.012053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5499-1_0_4_line_54 |  | 51 | 52 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5499-1_0_4_line_55 |  | 52 | 53 | 0.0032753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5499-1_0_4_line_56 |  | 53 | 54 | 0.023616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5499-1_0_4_line_57 |  | 54 | 62 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5499-1_0_4_line_58 |  | 55 | 56 | 0.0089617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5499-1_0_4_line_59 |  | 55 | 57 | 0.041621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5499-1_0_4_line_60 |  | 56 | 58 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5499-1_0_4_line_61 |  | 57 | 59 | 0.0066909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5499-1_0_4_line_62 |  | 58 | 60 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5499-1_0_4_line_63 |  | 59 | 61 | 0.0056469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5499-1_0_4_line_64 |  | 61 | 62 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5499-1_0_4_line_65 |  | 63 | 64 | 0.00010004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5499-1_0_4_line_66 |  | 66 | 67 | 0.032491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5499-1_0_4_line_67 |  | 67 | 68 | 0.022684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5499-1_0_4_line_68 |  | 68 | 69 | 0.0064255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5499-1_0_4_line_69 |  | 69 | 70 | 0.056245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5499-1_0_4_line_70 |  | 69 | 71 | 0.025113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5499-1_0_4_line_71 |  | 70 | 86 | 0.0023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5499-1_0_4_line_72 |  | 70 | 85 | 0.071331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5499-1_0_4_line_73 |  | 71 | 95 | 0.024085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5499-1_0_4_line_74 |  | 72 | 73 | 0.026544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5499-1_0_4_line_75 |  | 72 | 74 | 0.006288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5499-1_0_4_line_76 |  | 73 | 75 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5499-1_0_4_line_77 |  | 74 | 76 | 0.036183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5499-1_0_4_line_78 |  | 74 | 77 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5499-1_0_4_line_79 |  | 75 | 78 | 0.043855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5499-1_0_4_line_80 |  | 76 | 79 | 0.03331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5499-1_0_4_line_81 |  | 77 | 80 | 0.024573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5499-1_0_4_line_82 |  | 78 | 81 | 0.033557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5499-1_0_4_line_83 |  | 79 | 82 | 0.0039192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5499-1_0_4_line_84 |  | 80 | 83 | 0.040389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5499-1_0_4_line_85 |  | 81 | 90 | 0.02004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5499-1_0_4_line_86 |  | 82 | 95 | 0.024309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5499-1_0_4_line_87 |  | 84 | 85 | 0.047382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5499-1_0_4_line_88 |  | 87 | 88 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_5499-1_0_4_line_89 |  | 88 | 89 | 0.0022393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5499-1_0_4_line_90 |  | 89 | 95 | 0.01338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_5499-1_0_4_line_91 |  | 90 | 91 | 0.044381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5499-1_0_4_line_92 |  | 90 | 92 | 0.022591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5499-1_0_4_line_93 |  | 91 | 93 | 0.028695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5499-1_0_4_line_94 |  | 93 | 94 | 0.05841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5499-1_0_4_line_95 |  | 94 | 96 | 0.047326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5499-1_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 97 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2527293.0386 | 1161552.7372 | 2527283.9518 | 1161534.7545 | 2527272.5561 | 1161516.9602 | 2527266.7403 | 1161512.1044
1 | 2527299.379 | 1161565.285 | 2527293.0386 | 1161552.7372
2 | 2527248.0216 | 1161500.0367 | 2527258.5911 | 1161505.3005 | 2527266.7403 | 1161512.1044
3 | 2527299.379 | 1161565.285 | 2527316.6631 | 1161555.9035
4 | 2527248.0216 | 1161500.0367 | 2527240.3482 | 1161497.9063 | 2527234.4137 | 1161496.9888
5 | 2527248.0216 | 1161500.0367 | 2527252.0907 | 1161488.6699 | 2527256.4421 | 1161474.6759 | 2527256.5583 | 1161470.9835
6 | 2527234.4137 | 1161496.9888 | 2527225.1649 | 1161471.4743
7 | 2527234.4137 | 1161496.9888 | 2527230.9263 | 1161496.4461
8 | 2527256.5583 | 1161470.9835 | 2527281.3564 | 1161476.7642
9 | 2527256.5583 | 1161470.9835 | 2527256.7341 | 1161465.2559 | 2527254.5117 | 1161454.4989
10 | 2527225.1649 | 1161471.4743 | 2527221.9033 | 1161462.4764 | 2527220.4057 | 1161457.7808
11 | 2527209.0912 | 1161493.6133 | 2527217.5774 | 1161494.3691 | 2527230.9263 | 1161496.4461
12 | 2527281.3564 | 1161476.7642 | 2527300.0205 | 1161515.1703
13 | 2527243.2082 | 1161433.5796 | 2527254.5117 | 1161454.4989
14 | 2527209.0912 | 1161493.6133 | 2527178.4726 | 1161490.8865
15 | 2527178.4726 | 1161490.8865 | 2527178.0251 | 1161490.8467
16 | 2527178.0251 | 1161490.8467 | 2527177.0048 | 1161495.1726 | 2527175.6571 | 1161499.0467 | 2527170.9811 | 1161502.6944 | 2527166.9502 | 1161504.3161
17 | 2527166.9502 | 1161504.3161 | 2527148.6973 | 1161511.6597
18 | 2527081.4891 | 1161456.8323 | 2527118.4282 | 1161475.2686
19 | 2527116.4732 | 1161430.5815 | 2527095.9495 | 1161445.528 | 2527088.4207 | 1161453.4128 | 2527081.4891 | 1161456.8323
20 | 2527072.2907 | 1161481.8137 | 2527073.5965 | 1161475.1385 | 2527075.0134 | 1161470.0295 | 2527081.4891 | 1161456.8323
21 | 2527243.2082 | 1161433.5796 | 2527237.6665 | 1161423.3218
22 | 2527072.2907 | 1161481.8137 | 2527082.632 | 1161518.0976
23 | 2527082.632 | 1161518.0976 | 2527027.7293 | 1161529.1594
24 | 2527072.2907 | 1161481.8137 | 2527053.1464 | 1161485.1635
25 | 2527027.7293 | 1161529.1594 | 2526993.1712 | 1161536.1221
26 | 2527116.4732 | 1161430.5815 | 2527119.8814 | 1161428.6448
27 | 2526896.1381 | 1161375.9296 | 2526886.8256 | 1161368.527 | 2526875.089 | 1161365.635
28 | 2526861.7754 | 1161354.0795 | 2526864.8255 | 1161360.3792 | 2526875.089 | 1161365.635
29 | 2526935.6294 | 1161375.9261 | 2526906.124 | 1161383.8675 | 2526896.1381 | 1161375.9296
30 | 2526861.7754 | 1161354.0795 | 2526829.8921 | 1161363.0727
31 | 2526935.6294 | 1161375.9261 | 2526969.394 | 1161367.2215
32 | 2526935.6294 | 1161375.9261 | 2526910.9715 | 1161358.049
33 | 2526830.1084 | 1161363.9151 | 2526829.8921 | 1161363.0727
34 | 2526821.6608 | 1161331.0123 | 2526829.8921 | 1161363.0727
35 | 2527010.0231 | 1161399.3457 | 2526992.2115 | 1161385.2543 | 2526969.394 | 1161367.2215
36 | 2526820.2405 | 1161325.4805 | 2526821.6608 | 1161331.0123
37 | 2526815.113 | 1161305.5093 | 2526820.2405 | 1161325.4805
38 | 2526815.113 | 1161305.5093 | 2526828.4485 | 1161301.952
39 | 2526866.2316 | 1161282.0843 | 2526857.9491 | 1161292.2577 | 2526852.2349 | 1161295.6069 | 2526828.4485 | 1161301.952
40 | 2526866.2316 | 1161282.0843 | 2526885.2946 | 1161297.4228
41 | 2527010.0231 | 1161399.3457 | 2526971.6239 | 1161408.6468
42 | 2527005.7647 | 1161459.9701 | 2527016.1868 | 1161468.4329
43 | 2527021.2589 | 1161472.5514 | 2527016.1868 | 1161468.4329
44 | 2526993.4432 | 1161449.9649 | 2527005.7647 | 1161459.9701
45 | 2527030.8038 | 1161480.302 | 2527021.2589 | 1161472.5514
46 | 2526993.4432 | 1161449.9649 | 2526980.6205 | 1161458.559
47 | 2526993.4432 | 1161449.9649 | 2526988.6458 | 1161446.0685
48 | 2527030.8038 | 1161480.302 | 2527034.1133 | 1161482.9893 | 2527040.3158 | 1161485.7822 | 2527045.2523 | 1161486.5448 | 2527053.1464 | 1161485.1635
49 | 2526980.6205 | 1161458.559 | 2526980.6205 | 1161458.559 | 2526989.6317 | 1161476.6183
50 | 2526988.6458 | 1161446.0685 | 2526977.0512 | 1161436.6515
51 | 2526992.9271 | 1161483.2227 | 2526989.6317 | 1161476.6183
52 | 2526959.9095 | 1161411.4842 | 2526962.2546 | 1161421.5836 | 2526968.1431 | 1161429.4165 | 2526977.0512 | 1161436.6515
53 | 2526959.9095 | 1161411.4842 | 2526971.6239 | 1161408.6468
54 | 2526959.9095 | 1161411.4842 | 2526943.21 | 1161415.513
55 | 2526940.026 | 1161416.2811 | 2526943.21 | 1161415.513
56 | 2526940.026 | 1161416.2811 | 2526917.0689 | 1161421.8196
57 | 2526899.7788 | 1161425.9908 | 2526917.0689 | 1161421.8196
58 | 2526829.5693 | 1161437.8581 | 2526827.0912 | 1161429.2458
59 | 2526829.5693 | 1161437.8581 | 2526830.9384 | 1161442.6165 | 2526866.5831 | 1161434.008
60 | 2526823.6405 | 1161417.2532 | 2526827.0912 | 1161429.2458
61 | 2526873.087 | 1161432.4372 | 2526866.5831 | 1161434.008
62 | 2526820.0557 | 1161404.7943 | 2526823.6405 | 1161417.2532
63 | 2526873.087 | 1161432.4372 | 2526878.5761 | 1161431.1115
64 | 2526899.7788 | 1161425.9908 | 2526878.5761 | 1161431.1115
65 | 2526993.0732 | 1161536.1419 | 2526993.1712 | 1161536.1221
66 | 2527119.8814 | 1161428.6448 | 2527142.4627 | 1161415.8133 | 2527148.5816 | 1161413.5651
67 | 2527169.8735 | 1161405.7417 | 2527148.5816 | 1161413.5651
68 | 2527169.8735 | 1161405.7417 | 2527176.0511 | 1161403.9741
69 | 2527176.0511 | 1161403.9741 | 2527167.0253 | 1161348.4579
70 | 2527200.1954 | 1161397.0658 | 2527176.0511 | 1161403.9741
71 | 2527169.1816 | 1161347.4726 | 2527167.0253 | 1161348.4579
72 | 2527167.0253 | 1161348.4579 | 2527095.6961 | 1161348.0004
73 | 2527223.3515 | 1161390.4402 | 2527200.1954 | 1161397.0658
74 | 2527315.1833 | 1161341.6083 | 2527338.748 | 1161329.3893
75 | 2527309.6012 | 1161344.5028 | 2527315.1833 | 1161341.6083
76 | 2527349.0053 | 1161324.0707 | 2527338.748 | 1161329.3893
77 | 2527309.6012 | 1161344.5028 | 2527277.6656 | 1161361.512
78 | 2527309.6012 | 1161344.5028 | 2527301.8283 | 1161329.9723
79 | 2527388.3085 | 1161304.639 | 2527371.3988 | 1161312.459 | 2527349.0053 | 1161324.0707
80 | 2527248.2658 | 1161377.1706 | 2527277.6656 | 1161361.512
81 | 2527285.0999 | 1161312.6703 | 2527297.7541 | 1161322.3559 | 2527301.8283 | 1161329.9723
82 | 2527388.3085 | 1161304.639 | 2527402.6278 | 1161334.988
83 | 2527244.8067 | 1161379.013 | 2527248.2658 | 1161377.1706
84 | 2527262.8973 | 1161278.9312 | 2527285.0999 | 1161312.6703
85 | 2527411.1791 | 1161353.1122 | 2527402.6278 | 1161334.988
86 | 2527223.3515 | 1161390.4402 | 2527244.8067 | 1161379.013
87 | 2527084.6164 | 1161301.9319 | 2527095.6961 | 1161348.0004
88 | 2527228.6248 | 1161405.1426 | 2527230.1643 | 1161409.4351 | 2527237.6665 | 1161423.3218
89 | 2527228.6248 | 1161405.1426 | 2527227.8688 | 1161403.0348
90 | 2527223.3515 | 1161390.4402 | 2527227.8688 | 1161403.0348
91 | 2527411.1791 | 1161353.1122 | 2527371.9293 | 1161373.8278
92 | 2527411.1791 | 1161353.1122 | 2527420.8183 | 1161373.5431
93 | 2527371.9293 | 1161373.8278 | 2527350.1043 | 1161385.3468 | 2527348.8277 | 1161386.8743 | 2527348.2098 | 1161388.8034
94 | 2527329.2043 | 1161438.5249 | 2527341.4651 | 1161431.9333 | 2527344.3035 | 1161429.0307 | 2527348.0377 | 1161389.3408 | 2527348.2098 | 1161388.8034
95 | 2527329.2043 | 1161438.5249 | 2527338.3599 | 1161484.9565

## bus_geodata
| x | y | coords
0 | 2527293.0386 | 1161552.7372
1 | 2527266.7403 | 1161512.1044
2 | 2527299.379 | 1161565.285
3 | 2527248.0216 | 1161500.0367
4 | 2527316.6631 | 1161555.9035
5 | 2527234.4138 | 1161496.9888
6 | 2527256.5583 | 1161470.9835
7 | 2527225.1649 | 1161471.4743
8 | 2527230.9263 | 1161496.4461
9 | 2527281.3564 | 1161476.7642
10 | 2527254.5117 | 1161454.4989
11 | 2527209.0912 | 1161493.6133
12 | 2527178.4726 | 1161490.8865
13 | 2527178.0251 | 1161490.8467
14 | 2527166.9502 | 1161504.3161
15 | 2527220.4057 | 1161457.7808
16 | 2527118.4282 | 1161475.2686
17 | 2527081.4891 | 1161456.8323
18 | 2527148.6973 | 1161511.6597
19 | 2527300.0205 | 1161515.1703
20 | 2527243.2082 | 1161433.5796
21 | 2527082.632 | 1161518.0976
22 | 2527072.2907 | 1161481.8137
23 | 2527027.7293 | 1161529.1594
24 | 2527116.4732 | 1161430.5815
25 | 2526875.089 | 1161365.635
26 | 2526896.1381 | 1161375.9296
27 | 2526861.7754 | 1161354.0795
28 | 2526935.6294 | 1161375.9261
29 | 2526829.8921 | 1161363.0727
30 | 2526969.394 | 1161367.2215
31 | 2526910.9715 | 1161358.049
32 | 2526830.1084 | 1161363.9151
33 | 2526821.6608 | 1161331.0123
34 | 2526820.2405 | 1161325.4805
35 | 2526815.113 | 1161305.5093
36 | 2526828.4485 | 1161301.952
37 | 2526866.2316 | 1161282.0843
38 | 2526885.2946 | 1161297.4228
39 | 2527010.0231 | 1161399.3457
40 | 2527016.1868 | 1161468.4329
41 | 2527005.7647 | 1161459.9701
42 | 2527021.2589 | 1161472.5514
43 | 2526993.4432 | 1161449.9649
44 | 2527030.8038 | 1161480.302
45 | 2526980.6205 | 1161458.559
46 | 2526988.6458 | 1161446.0685
47 | 2527053.1464 | 1161485.1635
48 | 2526989.6317 | 1161476.6183
49 | 2526977.0512 | 1161436.6515
50 | 2526971.6239 | 1161408.6468
51 | 2526959.9095 | 1161411.4842
52 | 2526943.21 | 1161415.513
53 | 2526940.026 | 1161416.2811
54 | 2526917.0689 | 1161421.8196
55 | 2526829.5693 | 1161437.8581
56 | 2526827.0912 | 1161429.2458
57 | 2526866.5831 | 1161434.008
58 | 2526823.6405 | 1161417.2532
59 | 2526873.087 | 1161432.4372
60 | 2526820.0557 | 1161404.7943
61 | 2526878.5761 | 1161431.1115
62 | 2526899.7788 | 1161425.9908
63 | 2526993.1712 | 1161536.1221
64 | 2526993.0732 | 1161536.1419
65 | 2526992.9271 | 1161483.2227
66 | 2527119.8814 | 1161428.6448
67 | 2527148.5816 | 1161413.5651
68 | 2527169.8735 | 1161405.7417
69 | 2527176.0511 | 1161403.9741
70 | 2527167.0253 | 1161348.4579
71 | 2527200.1954 | 1161397.0658
72 | 2527315.1833 | 1161341.6083
73 | 2527338.748 | 1161329.3893
74 | 2527309.6012 | 1161344.5028
75 | 2527349.0053 | 1161324.0707
76 | 2527277.6656 | 1161361.512
77 | 2527301.8283 | 1161329.9723
78 | 2527388.3085 | 1161304.639
79 | 2527248.2658 | 1161377.1706
80 | 2527285.0999 | 1161312.6703
81 | 2527402.6278 | 1161334.988
82 | 2527244.8067 | 1161379.013
83 | 2527262.8973 | 1161278.9312
84 | 2527084.6164 | 1161301.9319
85 | 2527095.6961 | 1161348.0004
86 | 2527169.1816 | 1161347.4726
87 | 2527237.6665 | 1161423.3218
88 | 2527228.6248 | 1161405.1426
89 | 2527227.8688 | 1161403.0348
90 | 2527411.1791 | 1161353.1122
91 | 2527371.9293 | 1161373.8278
92 | 2527420.8183 | 1161373.5431
93 | 2527348.2098 | 1161388.8034
94 | 2527329.2043 | 1161438.5249
95 | 2527223.3515 | 1161390.4402
96 | 2527338.3599 | 1161484.9565
97 | 2527234.4138 | 1161496.9888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1