## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_55-2_0_9_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_55-2_0_9_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_55-2_0_9_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_55-2_0_9_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_55-2_0_9_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_55-2_0_9_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_55-2_0_9_node_159 | 0.4 | n |  | TRUE
7 | bus_LV_55-2_0_9_node_160 | 0.4 | n |  | TRUE
8 | bus_LV_55-2_0_9_node_158 | 0.4 | n |  | TRUE
9 | bus_LV_55-2_0_9_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_55-2_0_9_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_55-2_0_9_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_55-2_0_9_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_55-2_0_9_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_55-2_0_9_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_55-2_0_9_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_55-2_0_9_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_55-2_0_9_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_55-2_0_9_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_55-2_0_9_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_55-2_0_9_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_55-2_0_9_node_164 | 0.4 | n |  | TRUE
22 | bus_LV_55-2_0_9_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_55-2_0_9_node_147 | 0.4 | n |  | TRUE
24 | bus_LV_55-2_0_9_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_55-2_0_9_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_55-2_0_9_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_55-2_0_9_node_146 | 0.4 | n |  | TRUE
28 | bus_LV_55-2_0_9_node_139 | 0.4 | n |  | TRUE
29 | bus_LV_55-2_0_9_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_55-2_0_9_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_55-2_0_9_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_55-2_0_9_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_55-2_0_9_node_151 | 0.4 | n |  | TRUE
34 | bus_LV_55-2_0_9_node_150 | 0.4 | n |  | TRUE
35 | bus_LV_55-2_0_9_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_55-2_0_9_node_149 | 0.4 | n |  | TRUE
37 | bus_LV_55-2_0_9_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_55-2_0_9_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_55-2_0_9_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_55-2_0_9_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_55-2_0_9_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_55-2_0_9_node_148 | 0.4 | n |  | TRUE
43 | bus_LV_55-2_0_9_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_55-2_0_9_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_55-2_0_9_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_55-2_0_9_node_166 | 0.4 | n |  | TRUE
47 | bus_LV_55-2_0_9_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_55-2_0_9_node_157 | 0.4 | n |  | TRUE
49 | bus_LV_55-2_0_9_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_55-2_0_9_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_55-2_0_9_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_55-2_0_9_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_55-2_0_9_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_55-2_0_9_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_55-2_0_9_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_55-2_0_9_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_55-2_0_9_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_55-2_0_9_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_55-2_0_9_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_55-2_0_9_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_55-2_0_9_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_55-2_0_9_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_55-2_0_9_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_55-2_0_9_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_55-2_0_9_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_55-2_0_9_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_55-2_0_9_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_55-2_0_9_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_55-2_0_9_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_55-2_0_9_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_55-2_0_9_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_55-2_0_9_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_55-2_0_9_node_116 | 0.4 | n |  | TRUE
74 | bus_LV_55-2_0_9_node_117 | 0.4 | n |  | TRUE
75 | bus_LV_55-2_0_9_node_163 | 0.4 | n |  | TRUE
76 | bus_LV_55-2_0_9_node_154 | 0.4 | n |  | TRUE
77 | bus_LV_55-2_0_9_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_55-2_0_9_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_55-2_0_9_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_55-2_0_9_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_55-2_0_9_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_55-2_0_9_node_155 | 0.4 | n |  | TRUE
83 | bus_LV_55-2_0_9_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_55-2_0_9_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_55-2_0_9_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_55-2_0_9_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_55-2_0_9_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_55-2_0_9_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_55-2_0_9_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_55-2_0_9_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_55-2_0_9_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_55-2_0_9_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_55-2_0_9_node_152 | 0.4 | n |  | TRUE
94 | bus_LV_55-2_0_9_node_153 | 0.4 | n |  | TRUE
95 | bus_LV_55-2_0_9_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_55-2_0_9_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_55-2_0_9_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_55-2_0_9_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_55-2_0_9_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_55-2_0_9_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_55-2_0_9_node_156 | 0.4 | n |  | TRUE
102 | bus_LV_55-2_0_9_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_55-2_0_9_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_55-2_0_9_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_55-2_0_9_node_86 | 0.4 | n |  | TRUE
106 | bus_LV_55-2_0_9_node_89 | 0.4 | n |  | TRUE
107 | bus_LV_55-2_0_9_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_55-2_0_9_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_55-2_0_9_node_161 | 0.4 | n |  | TRUE
110 | bus_LV_55-2_0_9_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_55-2_0_9_node_144 | 0.4 | n |  | TRUE
112 | bus_LV_55-2_0_9_node_98 | 0.4 | n |  | TRUE
113 | bus_LV_55-2_0_9_node_94 | 0.4 | n |  | TRUE
114 | bus_LV_55-2_0_9_node_95 | 0.4 | n |  | TRUE
115 | bus_LV_55-2_0_9_node_96 | 0.4 | n |  | TRUE
116 | bus_LV_55-2_0_9_node_97 | 0.4 | n |  | TRUE
117 | bus_LV_55-2_0_9_node_104 | 0.4 | n |  | TRUE
118 | bus_LV_55-2_0_9_node_99 | 0.4 | n |  | TRUE
119 | bus_LV_55-2_0_9_node_101 | 0.4 | n |  | TRUE
120 | bus_LV_55-2_0_9_node_106 | 0.4 | n |  | TRUE
121 | bus_LV_55-2_0_9_node_102 | 0.4 | n |  | TRUE
122 | bus_LV_55-2_0_9_node_103 | 0.4 | n |  | TRUE
123 | bus_LV_55-2_0_9_node_105 | 0.4 | n |  | TRUE
124 | bus_LV_55-2_0_9_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_55-2_0_9_node_111 | 0.4 | n |  | TRUE
126 | bus_LV_55-2_0_9_node_107 | 0.4 | n |  | TRUE
127 | bus_LV_55-2_0_9_node_162 | 0.4 | n |  | TRUE
128 | bus_LV_55-2_0_9_node_110 | 0.4 | n |  | TRUE
129 | bus_LV_55-2_0_9_node_108 | 0.4 | n |  | TRUE
130 | bus_LV_55-2_0_9_node_138 | 0.4 | n |  | TRUE
131 | bus_LV_55-2_0_9_node_127 | 0.4 | n |  | TRUE
132 | bus_LV_55-2_0_9_node_123 | 0.4 | n |  | TRUE
133 | bus_LV_55-2_0_9_node_125 | 0.4 | n |  | TRUE
134 | bus_LV_55-2_0_9_node_142 | 0.4 | n |  | TRUE
135 | bus_LV_55-2_0_9_node_133 | 0.4 | n |  | TRUE
136 | bus_LV_55-2_0_9_node_140 | 0.4 | n |  | TRUE
137 | bus_LV_55-2_0_9_node_112 | 0.4 | n |  | TRUE
138 | bus_LV_55-2_0_9_node_113 | 0.4 | n |  | TRUE
139 | bus_LV_55-2_0_9_node_122 | 0.4 | n |  | TRUE
140 | bus_LV_55-2_0_9_node_118 | 0.4 | n |  | TRUE
141 | bus_LV_55-2_0_9_node_119 | 0.4 | n |  | TRUE
142 | bus_LV_55-2_0_9_node_120 | 0.4 | n |  | TRUE
143 | bus_LV_55-2_0_9_node_131 | 0.4 | n |  | TRUE
144 | bus_LV_55-2_0_9_node_129 | 0.4 | n |  | TRUE
145 | bus_LV_55-2_0_9_node_124 | 0.4 | n |  | TRUE
146 | bus_LV_55-2_0_9_node_126 | 0.4 | n |  | TRUE
147 | bus_LV_55-2_0_9_node_128 | 0.4 | n |  | TRUE
148 | bus_LV_55-2_0_9_node_130 | 0.4 | n |  | TRUE
149 | bus_LV_55-2_0_9_node_132 | 0.4 | n |  | TRUE
150 | bus_LV_55-2_0_9_node_134 | 0.4 | n |  | TRUE
151 | bus_LV_55-2_0_9_node_135 | 0.4 | n |  | TRUE
152 | bus_LV_55-2_0_9_node_136 | 0.4 | n |  | TRUE
153 | bus_LV_55-2_0_9_node_137 | 0.4 | n |  | TRUE
154 | bus_LV_55-2_0_9_node_143 | 0.4 | n |  | TRUE
155 | bus_LV_55-2_0_9_node_141 | 0.4 | n |  | TRUE
156 | bus_LV_55-2_0_9_node_165 | 0.4 | n |  | TRUE
157 | bus_MV_383_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_55-2_0_9_load_0 | 0 | 0.0083198 | 0.0020851 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_55-2_0_9_load_22 | 4 | 0.026291 | 0.0065892 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_55-2_0_9_load_160 | 7 | 0.0050425 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_55-2_0_9_load_24 | 10 | 0.0074021 | 0.0018551 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_55-2_0_9_load_29 | 11 | 0.0038913 | 0.00097524 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_55-2_0_9_load_4 | 12 | 0.017196 | 0.0043097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_55-2_0_9_load_7 | 14 | 0.0018181 | 0.00045565 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_55-2_0_9_load_73 | 15 | 0.001106 | 0.00027718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_55-2_0_9_load_8 | 17 | 0.0099963 | 0.0025053 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_55-2_0_9_load_9 | 18 | 0.0025693 | 0.00064393 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_55-2_0_9_load_10 | 19 | 0.0025404 | 0.00063668 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_55-2_0_9_load_11 | 20 | 0.00094288 | 0.00023631 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_55-2_0_9_load_164 | 21 | 0.0024687 | 0.00061871 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_55-2_0_9_load_12 | 24 | 0.0014325 | 0.00035903 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_55-2_0_9_load_13 | 25 | 0.001588 | 0.00039799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_55-2_0_9_load_146 | 27 | 0.00058936 | 0.00014771 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_55-2_0_9_load_18 | 29 | 0.0041447 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_55-2_0_9_load_20 | 31 | 0.0058741 | 0.0014722 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_55-2_0_9_load_151 | 33 | 0.0079131 | 0.0019832 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_55-2_0_9_load_149 | 36 | 0.0011409 | 0.00028593 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_55-2_0_9_load_72 | 38 | 0.0018852 | 0.00047249 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_55-2_0_9_load_79 | 40 | 0.0060477 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_55-2_0_9_load_148 | 42 | 0.004186 | 0.0010491 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_55-2_0_9_load_67 | 43 | 0.0035126 | 0.00088035 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_55-2_0_9_load_63 | 44 | 0.0034329 | 0.00086036 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_55-2_0_9_load_80 | 45 | 0.007972 | 0.001998 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_55-2_0_9_load_166 | 46 | 0.0052685 | 0.0013204 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_55-2_0_9_load_157 | 48 | 0.0049044 | 0.0012291 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_55-2_0_9_load_31 | 49 | 0.0029876 | 0.00074876 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_55-2_0_9_load_36 | 53 | 0.0019994 | 0.0005011 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_55-2_0_9_load_45 | 55 | 0.009664 | 0.002422 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_55-2_0_9_load_41 | 56 | 0.0019564 | 0.00049032 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_55-2_0_9_load_38 | 57 | 0.0036186 | 0.00090691 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_55-2_0_9_load_58 | 59 | 0.001158 | 0.00029021 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_55-2_0_9_load_57 | 60 | 0.0036899 | 0.00092479 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_55-2_0_9_load_39 | 62 | 0.0016775 | 0.00042042 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_55-2_0_9_load_66 | 63 | 0.0029361 | 0.00073585 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_55-2_0_9_load_40 | 64 | 0.011525 | 0.0028884 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_55-2_0_9_load_43 | 65 | 0.006019 | 0.0015085 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_55-2_0_9_load_56 | 67 | 0.00092056 | 0.00023071 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_55-2_0_9_load_53 | 68 | 0.0058179 | 0.0014581 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_55-2_0_9_load_47 | 69 | 0.0016045 | 0.00040214 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_55-2_0_9_load_48 | 70 | 0.0015981 | 0.00040053 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_55-2_0_9_load_115 | 72 | 0.0035498 | 0.00088968 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_55-2_0_9_load_117 | 74 | 0.0035615 | 0.0008926 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_55-2_0_9_load_163 | 75 | 0.0042051 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_55-2_0_9_load_154 | 76 | 0.0027868 | 0.00069844 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_55-2_0_9_load_52 | 77 | 0.0024001 | 0.00060153 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_55-2_0_9_load_54 | 78 | 0.0029368 | 0.00073604 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_55-2_0_9_load_55 | 79 | 0.0013134 | 0.00032916 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_55-2_0_9_load_59 | 80 | 0.0017184 | 0.00043067 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_55-2_0_9_load_155 | 82 | 0.0059109 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_55-2_0_9_load_64 | 83 | 0.00055679 | 0.00013955 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_55-2_0_9_load_61 | 84 | 0.0017261 | 0.00043261 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_55-2_0_9_load_62 | 85 | 0.001071 | 0.00026841 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_55-2_0_9_load_69 | 86 | 0.00098238 | 0.00024621 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_55-2_0_9_load_74 | 87 | 0.0024156 | 0.00060541 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_55-2_0_9_load_75 | 88 | 0.0024681 | 0.00061857 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_55-2_0_9_load_68 | 89 | 0.0061804 | 0.001549 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_55-2_0_9_load_71 | 90 | 0.003607 | 0.00090399 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_55-2_0_9_load_76 | 91 | 0.00087971 | 0.00022048 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_55-2_0_9_load_77 | 92 | 0.0022816 | 0.00057183 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_55-2_0_9_load_152 | 93 | 0.0020991 | 0.00052608 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_55-2_0_9_load_153 | 94 | 0.016927 | 0.0042423 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_55-2_0_9_load_82 | 96 | 0.0035527 | 0.00089039 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_55-2_0_9_load_84 | 98 | 0.0039653 | 0.00099381 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_55-2_0_9_load_88 | 99 | 0.0042782 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_55-2_0_9_load_90 | 100 | 0.0053655 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_55-2_0_9_load_156 | 101 | 0.0051473 | 0.00129 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_55-2_0_9_load_85 | 102 | 0.0051518 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_55-2_0_9_load_87 | 103 | 0.0043784 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_55-2_0_9_load_86 | 105 | 0.0044522 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_55-2_0_9_load_89 | 106 | 0.0048005 | 0.0012031 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_55-2_0_9_load_93 | 107 | 0.00712 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_55-2_0_9_load_92 | 108 | 0.00712 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_55-2_0_9_load_161 | 109 | 0.00712 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_55-2_0_9_load_100 | 110 | 0.0045201 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_55-2_0_9_load_98 | 112 | 0.0063814 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_55-2_0_9_load_94 | 113 | 0.0042873 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_55-2_0_9_load_95 | 114 | 0.0014288 | 0.00035809 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_55-2_0_9_load_96 | 115 | 0.011909 | 0.0029848 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_55-2_0_9_load_104 | 117 | 0.0015622 | 0.00039153 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_55-2_0_9_load_99 | 118 | 0.0045958 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_55-2_0_9_load_101 | 119 | 0.0012688 | 0.00031799 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_55-2_0_9_load_106 | 120 | 0.0063814 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_55-2_0_9_load_102 | 121 | 0.002035 | 0.00051001 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_55-2_0_9_load_103 | 122 | 0.0034293 | 0.00085947 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_55-2_0_9_load_111 | 125 | 0.0049719 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_55-2_0_9_load_107 | 126 | 0.0019345 | 0.00048482 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_55-2_0_9_load_162 | 127 | 0.0034362 | 0.00086119 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_55-2_0_9_load_110 | 128 | 0.0018583 | 0.00046574 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_55-2_0_9_load_108 | 129 | 0.0063814 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_55-2_0_9_load_125 | 133 | 0.0054099 | 0.0013559 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_55-2_0_9_load_133 | 135 | 0.0016869 | 0.00042278 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_55-2_0_9_load_140 | 136 | 0.0022403 | 0.00056147 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_55-2_0_9_load_112 | 137 | 0.0026677 | 0.00066858 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_55-2_0_9_load_113 | 138 | 0.0025288 | 0.00063378 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_55-2_0_9_load_118 | 140 | 0.001886 | 0.00047267 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_55-2_0_9_load_119 | 141 | 0.0017016 | 0.00042647 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_55-2_0_9_load_120 | 142 | 0.0017583 | 0.00044068 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_55-2_0_9_load_131 | 143 | 0.0020312 | 0.00050908 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_55-2_0_9_load_129 | 144 | 0.0024334 | 0.00060987 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_55-2_0_9_load_124 | 145 | 0.0081957 | 0.002054 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_55-2_0_9_load_126 | 146 | 0.0025728 | 0.00064481 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_55-2_0_9_load_128 | 147 | 0.0017542 | 0.00043964 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_55-2_0_9_load_132 | 149 | 0.0016853 | 0.00042237 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_55-2_0_9_load_135 | 151 | 0.0017054 | 0.00042743 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_55-2_0_9_load_136 | 152 | 0.0016559 | 0.00041501 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_55-2_0_9_load_143 | 154 | 0.0021084 | 0.00052843 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_55-2_0_9_load_141 | 155 | 0.0020341 | 0.00050979 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_55-2_0_9_load_165 | 156 | 0.035601 | 0.0089225 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_55-2_0_9_line_0 |  | 0 | 1 | 0.022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_55-2_0_9_line_1 |  | 1 | 2 | 0.008483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_55-2_0_9_line_2 |  | 2 | 3 | 0.072082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_55-2_0_9_line_3 |  | 2 | 4 | 0.053467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_55-2_0_9_line_4 |  | 3 | 8 | 0.033183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_55-2_0_9_line_5 |  | 3 | 7 | 0.054917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_55-2_0_9_line_6 |  | 4 | 9 | 0.079777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_55-2_0_9_line_7 |  | 5 | 6 | 0.034767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_55-2_0_9_line_8 |  | 5 | 7 | 0.022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_55-2_0_9_line_9 |  | 6 | 46 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_55-2_0_9_line_10 |  | 6 | 47 | 0.030534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_55-2_0_9_line_11 |  | 8 | 48 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_55-2_0_9_line_12 |  | 9 | 35 | 0.044977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_55-2_0_9_line_13 |  | 9 | 10 | 0.013224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_55-2_0_9_line_14 |  | 10 | 11 | 0.033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_55-2_0_9_line_15 |  | 11 | 41 | 0.038334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_55-2_0_9_line_16 |  | 12 | 13 | 0.081549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_55-2_0_9_line_17 |  | 13 | 14 | 0.10888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_55-2_0_9_line_18 |  | 14 | 15 | 0.028497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_55-2_0_9_line_19 |  | 15 | 16 | 0.051056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_55-2_0_9_line_20 |  | 16 | 90 | 0.023644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_55-2_0_9_line_21 |  | 16 | 38 | 0.041341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_55-2_0_9_line_22 |  | 16 | 86 | 0.029681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_55-2_0_9_line_23 |  | 17 | 18 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_55-2_0_9_line_24 |  | 17 | 19 | 0.0061935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_55-2_0_9_line_25 |  | 18 | 20 | 0.0014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_55-2_0_9_line_26 |  | 19 | 21 | 0.29208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_55-2_0_9_line_27 |  | 20 | 24 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_55-2_0_9_line_28 |  | 21 | 22 | 0.044822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_55-2_0_9_line_29 |  | 21 | 23 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_55-2_0_9_line_30 |  | 22 | 26 | 0.086856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_55-2_0_9_line_31 |  | 23 | 156 | 0.023557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_55-2_0_9_line_32 |  | 23 | 28 | 0.094826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_55-2_0_9_line_33 |  | 25 | 26 | 0.025243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_55-2_0_9_line_34 |  | 27 | 28 | 0.048259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_55-2_0_9_line_35 |  | 28 | 153 | 0.054823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_55-2_0_9_line_36 |  | 29 | 30 | 0.023062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_55-2_0_9_line_37 |  | 29 | 31 | 0.017405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_55-2_0_9_line_38 |  | 30 | 32 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_55-2_0_9_line_39 |  | 32 | 33 | 0.029922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_55-2_0_9_line_40 |  | 33 | 34 | 0.025719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_55-2_0_9_line_41 |  | 34 | 52 | 0.010217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_55-2_0_9_line_42 |  | 35 | 36 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_55-2_0_9_line_43 |  | 36 | 42 | 0.0027197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_55-2_0_9_line_44 |  | 37 | 38 | 0.058889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_55-2_0_9_line_45 |  | 37 | 39 | 0.027263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_55-2_0_9_line_46 |  | 37 | 40 | 0.040727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_55-2_0_9_line_47 |  | 39 | 43 | 0.033156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_55-2_0_9_line_48 |  | 39 | 44 | 0.039001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_55-2_0_9_line_49 |  | 40 | 45 | 0.011004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_55-2_0_9_line_50 |  | 41 | 49 | 0.0038777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_55-2_0_9_line_51 |  | 41 | 50 | 0.030792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_55-2_0_9_line_52 |  | 43 | 89 | 0.0050495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_55-2_0_9_line_53 |  | 44 | 83 | 0.023421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_55-2_0_9_line_54 |  | 45 | 47 | 0.026995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_55-2_0_9_line_55 |  | 47 | 101 | 0.01899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_55-2_0_9_line_56 |  | 49 | 51 | 0.059494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_55-2_0_9_line_57 |  | 50 | 52 | 0.086902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_55-2_0_9_line_58 |  | 50 | 53 | 0.032717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_55-2_0_9_line_59 |  | 51 | 54 | 0.020653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_55-2_0_9_line_60 |  | 52 | 55 | 0.041259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_55-2_0_9_line_61 |  | 54 | 56 | 0.02973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_55-2_0_9_line_62 |  | 54 | 57 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_55-2_0_9_line_63 |  | 56 | 61 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_55-2_0_9_line_64 |  | 57 | 62 | 0.007553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_55-2_0_9_line_65 |  | 58 | 59 | 0.022948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_55-2_0_9_line_66 |  | 58 | 60 | 0.0056531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_55-2_0_9_line_67 |  | 59 | 63 | 0.0042005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_55-2_0_9_line_68 |  | 61 | 65 | 0.010017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_55-2_0_9_line_69 |  | 62 | 64 | 0.019992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_55-2_0_9_line_70 |  | 63 | 83 | 0.021536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_55-2_0_9_line_71 |  | 66 | 67 | 0.10087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_55-2_0_9_line_72 |  | 66 | 68 | 0.065049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_55-2_0_9_line_73 |  | 67 | 76 | 0.00024549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_55-2_0_9_line_74 |  | 68 | 77 | 0.0026896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_55-2_0_9_line_75 |  | 69 | 70 | 0.0318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_55-2_0_9_line_76 |  | 70 | 71 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_55-2_0_9_line_77 |  | 71 | 72 | 0.014927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_55-2_0_9_line_78 |  | 71 | 73 | 0.024398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_55-2_0_9_line_79 |  | 72 | 74 | 0.072632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_55-2_0_9_line_80 |  | 73 | 75 | 0.032662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_55-2_0_9_line_81 |  | 74 | 140 | 0.02032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_55-2_0_9_line_82 |  | 75 | 127 | 0.018505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_55-2_0_9_line_83 |  | 76 | 82 | 0.0085425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_55-2_0_9_line_84 |  | 77 | 78 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_55-2_0_9_line_85 |  | 78 | 79 | 0.0030983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_55-2_0_9_line_86 |  | 79 | 80 | 0.010654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_55-2_0_9_line_87 |  | 80 | 81 | 0.019824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_55-2_0_9_line_88 |  | 81 | 84 | 0.0033536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_55-2_0_9_line_89 |  | 81 | 85 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_55-2_0_9_line_90 |  | 84 | 86 | 0.020297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_55-2_0_9_line_91 |  | 85 | 87 | 0.024468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_55-2_0_9_line_92 |  | 87 | 88 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_55-2_0_9_line_93 |  | 88 | 93 | 0.0024126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_55-2_0_9_line_94 |  | 90 | 91 | 0.0087027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_55-2_0_9_line_95 |  | 91 | 92 | 0.026161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_55-2_0_9_line_96 |  | 92 | 95 | 0.08507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_55-2_0_9_line_97 |  | 93 | 94 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_55-2_0_9_line_98 |  | 95 | 96 | 0.022404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_55-2_0_9_line_99 |  | 95 | 97 | 0.088713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_55-2_0_9_line_100 |  | 96 | 98 | 0.020694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_55-2_0_9_line_101 |  | 97 | 99 | 0.023762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_55-2_0_9_line_102 |  | 97 | 100 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_55-2_0_9_line_103 |  | 98 | 102 | 0.022043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_55-2_0_9_line_104 |  | 99 | 103 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_55-2_0_9_line_105 |  | 100 | 104 | 0.0254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_55-2_0_9_line_106 |  | 102 | 105 | 0.0055474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_55-2_0_9_line_107 |  | 103 | 106 | 0.055437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_55-2_0_9_line_108 |  | 104 | 107 | 0.034028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_55-2_0_9_line_109 |  | 107 | 110 | 0.010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_55-2_0_9_line_110 |  | 108 | 109 | 0.039976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_55-2_0_9_line_111 |  | 109 | 111 | 0.02661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_55-2_0_9_line_112 |  | 110 | 112 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_55-2_0_9_line_113 |  | 111 | 130 | 0.043468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_55-2_0_9_line_114 |  | 112 | 118 | 0.0085496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_55-2_0_9_line_115 |  | 113 | 114 | 0.046869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_55-2_0_9_line_116 |  | 113 | 115 | 0.031273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_55-2_0_9_line_117 |  | 114 | 116 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_55-2_0_9_line_118 |  | 116 | 117 | 0.038918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_55-2_0_9_line_119 |  | 116 | 118 | 0.021156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_55-2_0_9_line_120 |  | 116 | 119 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_55-2_0_9_line_121 |  | 117 | 120 | 0.022808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_55-2_0_9_line_122 |  | 119 | 121 | 0.0028459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_55-2_0_9_line_123 |  | 120 | 126 | 0.0039894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_55-2_0_9_line_124 |  | 121 | 122 | 0.024427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
125 | LV_55-2_0_9_line_125 |  | 122 | 123 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
126 | LV_55-2_0_9_line_126 |  | 123 | 124 | 0.041237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_55-2_0_9_line_127 |  | 123 | 125 | 0.024934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_55-2_0_9_line_128 |  | 124 | 127 | 0.039319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_55-2_0_9_line_129 |  | 125 | 128 | 0.038282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_55-2_0_9_line_130 |  | 126 | 129 | 0.033564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_55-2_0_9_line_131 |  | 128 | 137 | 0.021576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_55-2_0_9_line_132 |  | 130 | 154 | 0.0088231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_55-2_0_9_line_133 |  | 131 | 132 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_55-2_0_9_line_134 |  | 131 | 133 | 0.013236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_55-2_0_9_line_135 |  | 132 | 139 | 0.023727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_55-2_0_9_line_136 |  | 132 | 138 | 0.040297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_55-2_0_9_line_137 |  | 133 | 145 | 0.025495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_55-2_0_9_line_138 |  | 134 | 135 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_55-2_0_9_line_139 |  | 134 | 136 | 0.0087059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_55-2_0_9_line_140 |  | 135 | 148 | 0.0062179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_55-2_0_9_line_141 |  | 136 | 155 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_55-2_0_9_line_142 |  | 137 | 138 | 0.022312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_55-2_0_9_line_143 |  | 139 | 143 | 0.019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_55-2_0_9_line_144 |  | 140 | 141 | 0.026577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_55-2_0_9_line_145 |  | 141 | 142 | 0.022341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_55-2_0_9_line_146 |  | 143 | 144 | 0.0024133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_55-2_0_9_line_147 |  | 144 | 147 | 0.011718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
148 | LV_55-2_0_9_line_148 |  | 145 | 146 | 0.013836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_55-2_0_9_line_149 |  | 147 | 148 | 0.0058592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
150 | LV_55-2_0_9_line_150 |  | 148 | 149 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
151 | LV_55-2_0_9_line_151 |  | 149 | 150 | 0.0085364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
152 | LV_55-2_0_9_line_152 |  | 150 | 151 | 0.024916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
153 | LV_55-2_0_9_line_153 |  | 150 | 152 | 0.0078551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_55-2_0_9_line_154 |  | 151 | 153 | 0.025808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
155 | LV_55-2_0_9_line_155 |  | 154 | 155 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_55-2_0_9_trafo_78 | 0.63 MVA 20/0.4 kV | 157 | 95 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2681604.0346 | 1269166.5567 | 2681608.1935 | 1269144.4619
1 | 2681612.3724 | 1269168.251 | 2681604.0346 | 1269166.5567
2 | 2681612.3724 | 1269168.251 | 2681639.399 | 1269173.5952 | 2681645.5237 | 1269176.9492 | 2681648.3657 | 1269182.593 | 2681648.3077 | 1269192.2332 | 2681649.2116 | 1269197.0718 | 2681652.1595 | 1269200.493 | 2681656.5844 | 1269202.6893 | 2681663.6783 | 1269203.9883
3 | 2681612.3724 | 1269168.251 | 2681601.8448 | 1269220.6711
4 | 2681696.3585 | 1269210.2784 | 2681663.6783 | 1269203.9883
5 | 2681663.6783 | 1269203.9883 | 2681661.1655 | 1269217.5311 | 2681653.2723 | 1269257.9104
6 | 2681579.7749 | 1269295.9361 | 2681589.0884 | 1269284.1887 | 2681601.8448 | 1269220.6711
7 | 2681642.3601 | 1269313.7592 | 2681649.0256 | 1269279.6352
8 | 2681649.0256 | 1269279.6352 | 2681653.2723 | 1269257.9104
9 | 2681628.9683 | 1269311.3056 | 2681642.3601 | 1269313.7592
10 | 2681672.4843 | 1269319.2688 | 2681642.3601 | 1269313.7592
11 | 2681696.3585 | 1269210.2784 | 2681692.6722 | 1269228.6019
12 | 2681579.7749 | 1269295.9361 | 2681583.8882 | 1269297.2607 | 2681590.9001 | 1269301.7611 | 2681597.5375 | 1269309.4033 | 2681607.2965 | 1269320.9584 | 2681601.9347 | 1269325.5769
13 | 2681566.7687 | 1269293.3434 | 2681579.7749 | 1269295.9361
14 | 2681566.7687 | 1269293.3434 | 2681562.5615 | 1269326.9955
15 | 2681562.2674 | 1269365.3277 | 2681562.547 | 1269327.1121 | 2681562.5615 | 1269326.9955
16 | 2681778.5492 | 1269227.5402 | 2681793.9177 | 1269155.2174 | 2681795.7405 | 1269147.8272
17 | 2681778.5492 | 1269227.5402 | 2681770.2335 | 1269262.2974 | 2681753.6076 | 1269333.5267
18 | 2681747.2044 | 1269361.2946 | 2681753.0649 | 1269335.8519 | 2681753.6076 | 1269333.5267
19 | 2681736.0311 | 1269411.1098 | 2681738.3403 | 1269399.7771 | 2681747.2044 | 1269361.2946
20 | 2681736.0311 | 1269411.1098 | 2681744.5185 | 1269411.7499 | 2681749.628 | 1269412.8659 | 2681759.2281 | 1269415.2962
21 | 2681736.0311 | 1269411.1098 | 2681726.2747 | 1269410.263 | 2681695.4832 | 1269403.3972
22 | 2681736.0311 | 1269411.1098 | 2681733.6974 | 1269422.5867 | 2681729.6212 | 1269440.0875
23 | 2682322.1302 | 1269200.3447 | 2682310.5724 | 1269197.0065
24 | 2682322.1302 | 1269200.3447 | 2682328.0806 | 1269202.0633
25 | 2682310.5724 | 1269197.0065 | 2682309.1686 | 1269196.6011
26 | 2682287.8879 | 1269491.3668 | 2682328.0806 | 1269202.0633
27 | 2682289.5165 | 1269190.5423 | 2682308.0907 | 1269196.2897 | 2682309.1686 | 1269196.6011
28 | 2682329.1487 | 1269508.7221 | 2682299.8366 | 1269495.2697 | 2682287.8879 | 1269491.3668
29 | 2682274.2262 | 1269493.7451 | 2682287.8879 | 1269491.3668
30 | 2682329.1487 | 1269508.7221 | 2682333.0778 | 1269528.6262 | 2682334.9663 | 1269539.9838 | 2682336.3964 | 1269548.5995 | 2682355.904 | 1269543.067 | 2682365.2879 | 1269567.3617
31 | 2682274.2262 | 1269493.7451 | 2682275.055 | 1269506.6337 | 2682276.6618 | 1269517.1534
32 | 2682227.0113 | 1269543.4833 | 2682228.4987 | 1269537.7327 | 2682240.2781 | 1269485.1657 | 2682245.4592 | 1269486.5278 | 2682274.2262 | 1269493.7451
33 | 2682365.2879 | 1269567.3617 | 2682373.2364 | 1269565.6155 | 2682378.4504 | 1269564.0759 | 2682389.5198 | 1269560.3868
34 | 2682227.0113 | 1269543.4833 | 2682240.3969 | 1269544.1701 | 2682245.9243 | 1269546.0597 | 2682253.9833 | 1269554.2118 | 2682258.3786 | 1269557.9537 | 2682258.5517 | 1269569.7312
35 | 2682177.4974 | 1269532.9972 | 2682191.0917 | 1269541.9379 | 2682205.1445 | 1269547.6713 | 2682211.4622 | 1269548.4709 | 2682223.0148 | 1269547.3085 | 2682227.0113 | 1269543.4833
36 | 2681416.3364 | 1269463.7605 | 2681427.1719 | 1269443.4024
37 | 2681435.3493 | 1269428.0384 | 2681427.1719 | 1269443.4024
38 | 2681416.3364 | 1269463.7605 | 2681420.7427 | 1269469.4813 | 2681422.7814 | 1269476.0813
39 | 2681422.7814 | 1269476.0813 | 2681446.5862 | 1269457.9525
40 | 2681467.1184 | 1269442.4656 | 2681459.941 | 1269447.782 | 2681446.5862 | 1269457.9525
41 | 2681467.1184 | 1269442.4656 | 2681475.2342 | 1269436.2281
42 | 2681601.9347 | 1269325.5769 | 2681595.8284 | 1269330.1518 | 2681586.4385 | 1269329.9717
43 | 2681583.7193 | 1269329.9196 | 2681586.4385 | 1269329.9717
44 | 2681638.6325 | 1269388.5008 | 2681646.1356 | 1269391.7515 | 2681661.5142 | 1269395.8228 | 2681695.4832 | 1269403.3972
45 | 2681627.9763 | 1269413.5402 | 2681636.006 | 1269392.8569 | 2681638.6325 | 1269388.5008
46 | 2681638.6325 | 1269388.5008 | 2681645.8481 | 1269379.8936 | 2681652.9576 | 1269373.5201 | 2681662.225 | 1269355.8562
47 | 2681627.9763 | 1269413.5402 | 2681660.4116 | 1269420.4159
48 | 2681627.9763 | 1269413.5402 | 2681622.5208 | 1269430.9232 | 2681620.2213 | 1269446.4705 | 2681620.2193 | 1269451.5357
49 | 2681662.225 | 1269355.8562 | 2681665.2423 | 1269345.2736
50 | 2681562.2674 | 1269365.3277 | 2681562.6866 | 1269369.1826
51 | 2681532.5985 | 1269372.0903 | 2681540.0024 | 1269368.3673 | 2681549.8277 | 1269365.8675 | 2681562.2674 | 1269365.3277
52 | 2681665.3513 | 1269421.463 | 2681660.4116 | 1269420.4159
53 | 2681620.2193 | 1269451.5357 | 2681620.214 | 1269464.4181 | 2681621.6633 | 1269474.8568
54 | 2681672.4843 | 1269319.2688 | 2681668.4338 | 1269334.0802 | 2681665.2423 | 1269345.2736
55 | 2681672.4843 | 1269319.2688 | 2681677.4892 | 1269300.9498
56 | 2681569.1182 | 1269428.3281 | 2681562.6866 | 1269369.1826
57 | 2681475.2342 | 1269436.2281 | 2681488.5088 | 1269425.8918 | 2681499.8824 | 1269414.7953 | 2681507.6842 | 1269404.5948 | 2681521.0664 | 1269383.2067 | 2681525.5733 | 1269377.8202 | 2681529.0123 | 1269374.565 | 2681532.5985 | 1269372.0903
58 | 2681532.5985 | 1269372.0903 | 2681536.1797 | 1269378.1557 | 2681535.0978 | 1269392.7413 | 2681537.4507 | 1269395.109 | 2681545.1596 | 1269395.0333
59 | 2681569.1182 | 1269428.3281 | 2681558.2419 | 1269445.9032
60 | 2681475.2342 | 1269436.2281 | 2681479.6332 | 1269442.4715 | 2681482.5672 | 1269449.6288 | 2681481.9013 | 1269454.8015 | 2681483.1932 | 1269462.0696 | 2681485.1684 | 1269475.2103
61 | 2681558.2419 | 1269445.9032 | 2681554.3704 | 1269452.1436 | 2681546.7793 | 1269473.2031
62 | 2681558.2419 | 1269445.9032 | 2681537.4487 | 1269445.053
63 | 2681543.2585 | 1269482.9704 | 2681546.7793 | 1269473.2031
64 | 2681537.4487 | 1269445.053 | 2681529.902 | 1269444.7445
65 | 2681636.853 | 1269521.0043 | 2681631.4024 | 1269507.0178 | 2681628.9 | 1269499.486
66 | 2681636.853 | 1269521.0043 | 2681639.36 | 1269526.0711
67 | 2681628.9 | 1269499.486 | 2681627.5756 | 1269495.4997
68 | 2681543.2585 | 1269482.9704 | 2681544.3326 | 1269492.93
69 | 2681530.2909 | 1269424.7561 | 2681529.902 | 1269444.7445
70 | 2681627.5756 | 1269495.4997 | 2681622.3425 | 1269479.7487 | 2681621.6633 | 1269474.8568
71 | 2681696.7976 | 1269577.2 | 2681706.0507 | 1269577.9619 | 2681786.672 | 1269573.963 | 2681786.1525 | 1269563.1122
72 | 2681696.7976 | 1269577.2 | 2681712.0202 | 1269513.957
73 | 2681786.1408 | 1269562.867 | 2681786.1525 | 1269563.1122
74 | 2681712.6496 | 1269511.3421 | 2681712.0202 | 1269513.957
75 | 2681844.0161 | 1269707.7586 | 2681855.6733 | 1269703.5555 | 2681874.4086 | 1269698.4893
76 | 2681890.7214 | 1269694.078 | 2681874.4086 | 1269698.4893
77 | 2681890.7214 | 1269694.078 | 2681905.629 | 1269693.3073
78 | 2681888.1834 | 1269669.8123 | 2681890.7214 | 1269694.078
79 | 2681905.629 | 1269693.3073 | 2681920.7383 | 1269692.5262 | 2681930.9106 | 1269690.4767 | 2681942.5273 | 1269687.3798 | 2681955.7497 | 1269683.5379 | 2681962.5374 | 1269680.8299 | 2681966.9492 | 1269678.5114 | 2681975.301 | 1269675.0458
80 | 2681888.1834 | 1269669.8123 | 2681920.8148 | 1269668.4085
81 | 2681975.301 | 1269675.0458 | 2681975.3506 | 1269675.0252 | 2681989.1846 | 1269671.0362 | 2681994.8835 | 1269669.6339
82 | 2681939.3031 | 1269667.6131 | 2681920.8148 | 1269668.4085
83 | 2681785.7323 | 1269554.3343 | 2681786.1408 | 1269562.867
84 | 2681712.6496 | 1269511.3421 | 2681716.3987 | 1269495.7661
85 | 2681716.3987 | 1269495.7661 | 2681717.1238 | 1269492.7538
86 | 2681719.617 | 1269482.3954 | 2681717.1238 | 1269492.7538
87 | 2681724.2562 | 1269463.1218 | 2681719.617 | 1269482.3954
88 | 2681724.2562 | 1269463.1218 | 2681725.0169 | 1269459.8556
89 | 2681724.2562 | 1269463.1218 | 2681742.7618 | 1269464.6005
90 | 2681725.0169 | 1269459.8556 | 2681729.6212 | 1269440.0875
91 | 2681742.7618 | 1269464.6005 | 2681749.1679 | 1269465.1125 | 2681766.9191 | 1269468.3332
92 | 2681785.0367 | 1269471.6205 | 2681766.9191 | 1269468.3332
93 | 2681787.4105 | 1269472.0512 | 2681785.0367 | 1269471.6205
94 | 2681767.6647 | 1269417.432 | 2681759.2281 | 1269415.2962
95 | 2681767.6647 | 1269417.432 | 2681793.0255 | 1269423.8521
96 | 2681872.3298 | 1269453.6863 | 2681853.3538 | 1269443.6821 | 2681832.9124 | 1269435.1588 | 2681810.1766 | 1269428.194 | 2681793.0255 | 1269423.8521
97 | 2681813.9947 | 1269476.8747 | 2681787.4105 | 1269472.0512
98 | 2681872.3298 | 1269453.6863 | 2681868.5484 | 1269475.7689
99 | 2681872.3298 | 1269453.6863 | 2681882.3262 | 1269458.3842 | 2681904.7382 | 1269471.8611 | 2681923.9142 | 1269479.3663 | 2681940.111 | 1269483.016 | 2681954.3165 | 1269484.8256
100 | 2681868.5484 | 1269475.7689 | 2681865.0555 | 1269496.1665
101 | 2681954.3165 | 1269484.8256 | 2681950.862 | 1269508.335
102 | 2681954.3165 | 1269484.8256 | 2681973.0064 | 1269486.275
103 | 2681861.335 | 1269517.8931 | 2681865.0555 | 1269496.1665
104 | 2681950.862 | 1269508.335 | 2681947.6482 | 1269530.2061
105 | 2681998.3304 | 1269488.2389 | 2681973.0064 | 1269486.275
106 | 2681861.335 | 1269517.8931 | 2681860.3987 | 1269523.3609
107 | 2681906.6043 | 1269541.3092 | 2681945.2581 | 1269546.4715 | 2681947.6482 | 1269530.2061
108 | 2681998.3304 | 1269488.2389 | 2681993.9895 | 1269521.9894
109 | 2681992.6515 | 1269532.3921 | 2681993.9895 | 1269521.9894
110 | 2682090.7781 | 1269495.6067 | 2682088.7037 | 1269495.2438 | 2682052.9198 | 1269492.0331 | 2682050.9821 | 1269491.8984
111 | 2682115.3194 | 1269504.5655 | 2682111.5747 | 1269501.6445 | 2682106.8183 | 1269498.9652 | 2682100.58 | 1269497.3216 | 2682090.7781 | 1269495.6067
112 | 2681992.6515 | 1269532.3921 | 2681990.9082 | 1269545.9457
113 | 2682115.3194 | 1269504.5655 | 2682117.2014 | 1269503.4352 | 2682120.5846 | 1269503.1265 | 2682130.3425 | 1269505.4751 | 2682147.9688 | 1269515.0833 | 2682154.6768 | 1269519.2021
114 | 2681990.9082 | 1269545.9457 | 2681989.8175 | 1269554.4255
115 | 2681966.2303 | 1269576.6587 | 2681952.7295 | 1269577.4666 | 2681919.4268 | 1269579.1334
116 | 2681888.1928 | 1269580.6967 | 2681919.4268 | 1269579.1334
117 | 2681987.1186 | 1269575.4087 | 2681966.2303 | 1269576.6587
118 | 2681987.1186 | 1269575.4087 | 2681996.3642 | 1269574.5474 | 2682025.7748 | 1269570.9278
119 | 2681987.1186 | 1269575.4087 | 2681989.8175 | 1269554.4255
120 | 2681987.1186 | 1269575.4087 | 2681988.4252 | 1269592.8535
121 | 2682048.4211 | 1269568.2234 | 2682040.9376 | 1269569.0617 | 2682025.7748 | 1269570.9278
122 | 2681988.4252 | 1269592.8535 | 2681988.6378 | 1269595.6915
123 | 2682048.4211 | 1269568.2234 | 2682052.3857 | 1269567.7792
124 | 2681988.6378 | 1269595.6915 | 2681990.4622 | 1269620.0505
125 | 2681991.6767 | 1269636.2651 | 2681990.4622 | 1269620.0505
126 | 2681950.4521 | 1269639.6181 | 2681966.5742 | 1269638.3074 | 2681991.6767 | 1269636.2651
127 | 2681991.6767 | 1269636.2651 | 2682016.5372 | 1269634.3569
128 | 2681950.4521 | 1269639.6181 | 2681951.1165 | 1269667.1049 | 2681939.3031 | 1269667.6131
129 | 2682054.6619 | 1269631.0178 | 2682048.3495 | 1269631.915 | 2682016.5372 | 1269634.3569
130 | 2682085.7409 | 1269564.0424 | 2682052.3857 | 1269567.7792
131 | 2682054.6619 | 1269631.0178 | 2682076.0233 | 1269627.9818
132 | 2682154.6768 | 1269519.2021 | 2682150.7007 | 1269527.0785
133 | 2682135.6402 | 1269611.5114 | 2682133.3728 | 1269606.8095 | 2682132.0289 | 1269597.9281
134 | 2682132.0289 | 1269597.9281 | 2682122.3859 | 1269598.1498 | 2682120.113 | 1269595.3707
135 | 2682135.6402 | 1269611.5114 | 2682138.8325 | 1269613.5574 | 2682141.6878 | 1269614.9538 | 2682147.3817 | 1269615.6891 | 2682158.3837 | 1269615.1416
136 | 2682135.6402 | 1269611.5114 | 2682122.4049 | 1269618.9668 | 2682114.8994 | 1269621.8759 | 2682107.0043 | 1269623.5786 | 2682098.1137 | 1269624.8422
137 | 2682120.113 | 1269595.3707 | 2682118.9822 | 1269593.9881 | 2682118.3139 | 1269584.6824 | 2682104.0351 | 1269586.3823
138 | 2682150.8986 | 1269558.7146 | 2682155.0255 | 1269559.0389 | 2682154.2253 | 1269570.5394
139 | 2682150.8986 | 1269558.7146 | 2682152.6675 | 1269550.1903
140 | 2682156.6566 | 1269575.3969 | 2682154.019 | 1269573.5031 | 2682154.2253 | 1269570.5394
141 | 2682152.6675 | 1269550.1903 | 2682153.7541 | 1269544.9544 | 2682150.575 | 1269543.5757 | 2682152.1429 | 1269538.5604
142 | 2682076.0233 | 1269627.9818 | 2682098.1137 | 1269624.8422
143 | 2682158.3837 | 1269615.1416 | 2682157.5245 | 1269595.3686
144 | 2681994.8835 | 1269669.6339 | 2682015.2355 | 1269664.6259 | 2682020.7079 | 1269663.3563
145 | 2682020.7079 | 1269663.3563 | 2682042.4708 | 1269658.3072
146 | 2682157.4197 | 1269592.9575 | 2682157.5245 | 1269595.3686
147 | 2682156.911 | 1269581.2506 | 2682157.4197 | 1269592.9575
148 | 2682090.296 | 1269588.018 | 2682104.0351 | 1269586.3823
149 | 2682156.6566 | 1269575.3969 | 2682156.911 | 1269581.2506
150 | 2682156.6566 | 1269575.3969 | 2682178.5974 | 1269574.7257
151 | 2682186.9262 | 1269573.0382 | 2682180.6425 | 1269574.6632 | 2682178.5974 | 1269574.7257
152 | 2682186.9262 | 1269573.0382 | 2682177.3446 | 1269572.093 | 2682177.3828 | 1269559.6169 | 2682174.7397 | 1269558.6572
153 | 2682186.9262 | 1269573.0382 | 2682194.5313 | 1269571.0723
154 | 2682177.4974 | 1269532.9972 | 2682174.7397 | 1269558.6572
155 | 2682150.7007 | 1269527.0785 | 2682148.6174 | 1269531.2053 | 2682153.9222 | 1269532.8693 | 2682152.1429 | 1269538.5604

## bus_geodata
| x | y | coords
0 | 2681608.1935 | 1269144.4619
1 | 2681604.0346 | 1269166.5567
2 | 2681612.3724 | 1269168.251
3 | 2681663.6783 | 1269203.9883
4 | 2681601.8448 | 1269220.6711
5 | 2681649.0256 | 1269279.6352
6 | 2681642.3601 | 1269313.7592
7 | 2681653.2723 | 1269257.9104
8 | 2681696.3585 | 1269210.2784
9 | 2681579.7749 | 1269295.9361
10 | 2681566.7687 | 1269293.3434
11 | 2681562.5615 | 1269326.9955
12 | 2681795.7405 | 1269147.8272
13 | 2681778.5492 | 1269227.5402
14 | 2681753.6076 | 1269333.5267
15 | 2681747.2044 | 1269361.2946
16 | 2681736.0311 | 1269411.1098
17 | 2682322.1302 | 1269200.3447
18 | 2682310.5724 | 1269197.0065
19 | 2682328.0806 | 1269202.0633
20 | 2682309.1686 | 1269196.6011
21 | 2682287.8879 | 1269491.3668
22 | 2682329.1487 | 1269508.7221
23 | 2682274.2262 | 1269493.7451
24 | 2682289.5165 | 1269190.5423
25 | 2682389.5198 | 1269560.3868
26 | 2682365.2879 | 1269567.3617
27 | 2682258.5517 | 1269569.7312
28 | 2682227.0113 | 1269543.4833
29 | 2681427.1719 | 1269443.4024
30 | 2681416.3364 | 1269463.7605
31 | 2681435.3493 | 1269428.0384
32 | 2681422.7814 | 1269476.0813
33 | 2681446.5862 | 1269457.9525
34 | 2681467.1184 | 1269442.4656
35 | 2681601.9347 | 1269325.5769
36 | 2681586.4385 | 1269329.9717
37 | 2681638.6325 | 1269388.5008
38 | 2681695.4832 | 1269403.3972
39 | 2681627.9763 | 1269413.5402
40 | 2681662.225 | 1269355.8562
41 | 2681562.2674 | 1269365.3277
42 | 2681583.7193 | 1269329.9196
43 | 2681660.4116 | 1269420.4159
44 | 2681620.2193 | 1269451.5357
45 | 2681665.2423 | 1269345.2736
46 | 2681628.9683 | 1269311.3056
47 | 2681672.4843 | 1269319.2688
48 | 2681692.6722 | 1269228.6019
49 | 2681562.6866 | 1269369.1826
50 | 2681532.5985 | 1269372.0903
51 | 2681569.1182 | 1269428.3281
52 | 2681475.2342 | 1269436.2281
53 | 2681545.1596 | 1269395.0333
54 | 2681558.2419 | 1269445.9032
55 | 2681485.1684 | 1269475.2103
56 | 2681546.7793 | 1269473.2031
57 | 2681537.4487 | 1269445.053
58 | 2681636.853 | 1269521.0043
59 | 2681628.9 | 1269499.486
60 | 2681639.36 | 1269526.0711
61 | 2681543.2585 | 1269482.9704
62 | 2681529.902 | 1269444.7445
63 | 2681627.5756 | 1269495.4997
64 | 2681530.2909 | 1269424.7561
65 | 2681544.3326 | 1269492.93
66 | 2681696.7976 | 1269577.2
67 | 2681786.1525 | 1269563.1122
68 | 2681712.0202 | 1269513.957
69 | 2681844.0161 | 1269707.7586
70 | 2681874.4086 | 1269698.4893
71 | 2681890.7214 | 1269694.078
72 | 2681905.629 | 1269693.3073
73 | 2681888.1834 | 1269669.8123
74 | 2681975.301 | 1269675.0458
75 | 2681920.8148 | 1269668.4085
76 | 2681786.1408 | 1269562.867
77 | 2681712.6496 | 1269511.3421
78 | 2681716.3987 | 1269495.7661
79 | 2681717.1238 | 1269492.7538
80 | 2681719.617 | 1269482.3954
81 | 2681724.2562 | 1269463.1218
82 | 2681785.7323 | 1269554.3343
83 | 2681621.6633 | 1269474.8568
84 | 2681725.0169 | 1269459.8556
85 | 2681742.7618 | 1269464.6005
86 | 2681729.6212 | 1269440.0875
87 | 2681766.9191 | 1269468.3332
88 | 2681785.0367 | 1269471.6205
89 | 2681665.3513 | 1269421.463
90 | 2681759.2281 | 1269415.2962
91 | 2681767.6647 | 1269417.432
92 | 2681793.0255 | 1269423.8521
93 | 2681787.4105 | 1269472.0512
94 | 2681813.9947 | 1269476.8747
95 | 2681872.3298 | 1269453.6863
96 | 2681868.5484 | 1269475.7689
97 | 2681954.3165 | 1269484.8256
98 | 2681865.0555 | 1269496.1665
99 | 2681950.862 | 1269508.335
100 | 2681973.0064 | 1269486.275
101 | 2681677.4892 | 1269300.9498
102 | 2681861.335 | 1269517.8931
103 | 2681947.6482 | 1269530.2061
104 | 2681998.3304 | 1269488.2389
105 | 2681860.3987 | 1269523.3609
106 | 2681906.6043 | 1269541.3092
107 | 2681993.9895 | 1269521.9894
108 | 2682050.9821 | 1269491.8984
109 | 2682090.7781 | 1269495.6067
110 | 2681992.6515 | 1269532.3921
111 | 2682115.3194 | 1269504.5655
112 | 2681990.9082 | 1269545.9457
113 | 2681919.4268 | 1269579.1334
114 | 2681966.2303 | 1269576.6587
115 | 2681888.1928 | 1269580.6967
116 | 2681987.1186 | 1269575.4087
117 | 2682025.7748 | 1269570.9278
118 | 2681989.8175 | 1269554.4255
119 | 2681988.4252 | 1269592.8535
120 | 2682048.4211 | 1269568.2234
121 | 2681988.6378 | 1269595.6915
122 | 2681990.4622 | 1269620.0505
123 | 2681991.6767 | 1269636.2651
124 | 2681950.4521 | 1269639.6181
125 | 2682016.5372 | 1269634.3569
126 | 2682052.3857 | 1269567.7792
127 | 2681939.3031 | 1269667.6131
128 | 2682054.6619 | 1269631.0178
129 | 2682085.7409 | 1269564.0424
130 | 2682154.6768 | 1269519.2021
131 | 2682132.0289 | 1269597.9281
132 | 2682135.6402 | 1269611.5114
133 | 2682120.113 | 1269595.3707
134 | 2682150.8986 | 1269558.7146
135 | 2682154.2253 | 1269570.5394
136 | 2682152.6675 | 1269550.1903
137 | 2682076.0233 | 1269627.9818
138 | 2682098.1137 | 1269624.8422
139 | 2682158.3837 | 1269615.1416
140 | 2681994.8835 | 1269669.6339
141 | 2682020.7079 | 1269663.3563
142 | 2682042.4708 | 1269658.3072
143 | 2682157.5245 | 1269595.3686
144 | 2682157.4197 | 1269592.9575
145 | 2682104.0351 | 1269586.3823
146 | 2682090.296 | 1269588.018
147 | 2682156.911 | 1269581.2506
148 | 2682156.6566 | 1269575.3969
149 | 2682178.5974 | 1269574.7257
150 | 2682186.9262 | 1269573.0382
151 | 2682174.7397 | 1269558.6572
152 | 2682194.5313 | 1269571.0723
153 | 2682177.4974 | 1269532.9972
154 | 2682150.7007 | 1269527.0785
155 | 2682152.1429 | 1269538.5604
156 | 2682276.6618 | 1269517.1534
157 | 2681923.9142 | 1269479.3663

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1