## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_55-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_55-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_55-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_55-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_55-3_0_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_55-3_0_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_55-3_0_2_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_55-3_0_2_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_55-3_0_2_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_55-3_0_2_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_55-3_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_55-3_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_55-3_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_55-3_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_55-3_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_55-3_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_55-3_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_55-3_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_55-3_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_55-3_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_55-3_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_55-3_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_55-3_0_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_55-3_0_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_55-3_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_55-3_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_55-3_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_55-3_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_55-3_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_55-3_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_55-3_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_55-3_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_55-3_0_2_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_55-3_0_2_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_55-3_0_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_55-3_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_55-3_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_55-3_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_55-3_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_55-3_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_55-3_0_2_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_55-3_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_55-3_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_55-3_0_2_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_55-3_0_2_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_55-3_0_2_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_55-3_0_2_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_55-3_0_2_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_55-3_0_2_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_55-3_0_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_55-3_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_55-3_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_55-3_0_2_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_55-3_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_55-3_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_55-3_0_2_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_55-3_0_2_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_55-3_0_2_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_55-3_0_2_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_55-3_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_55-3_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_55-3_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_55-3_0_2_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_55-3_0_2_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_55-3_0_2_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_55-3_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_55-3_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_55-3_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_MV_383_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_55-3_0_2_load_0 | 0 | 0.0026684 | 0.00066877 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_55-3_0_2_load_1 | 1 | 0.00074626 | 0.00018703 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_55-3_0_2_load_2 | 2 | 0.0013091 | 0.00032809 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_55-3_0_2_load_3 | 3 | 0.0010729 | 0.00026888 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_55-3_0_2_load_14 | 4 | 0.0034927 | 0.00087534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_55-3_0_2_load_13 | 5 | 0.00057472 | 0.00014404 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_55-3_0_2_load_63 | 7 | 0.00067849 | 0.00017005 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_55-3_0_2_load_64 | 8 | 0.0022898 | 0.00057388 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_55-3_0_2_load_67 | 9 | 0.0020495 | 0.00051365 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_55-3_0_2_load_4 | 10 | 0.00056556 | 0.00014174 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_55-3_0_2_load_5 | 11 | 0.0024795 | 0.00062142 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_55-3_0_2_load_7 | 13 | 0.00027175 | 6.8107e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_55-3_0_2_load_8 | 14 | 0.00028987 | 7.2648e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_55-3_0_2_load_16 | 16 | 0.0005653 | 0.00014168 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_55-3_0_2_load_17 | 17 | 0.002221 | 0.00055663 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_55-3_0_2_load_9 | 18 | 0.0018906 | 0.00047382 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_55-3_0_2_load_10 | 19 | 0.0017799 | 0.00044609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_55-3_0_2_load_12 | 21 | 0.0027775 | 0.0006961 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_55-3_0_2_load_27 | 23 | 0.0046389 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_55-3_0_2_load_18 | 24 | 0.0019388 | 0.00048591 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_55-3_0_2_load_24 | 25 | 0.0042688 | 0.0010699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_55-3_0_2_load_19 | 26 | 0.0031803 | 0.00079707 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_55-3_0_2_load_22 | 27 | 0.001205 | 0.00030199 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_55-3_0_2_load_20 | 28 | 0.0017989 | 0.00045084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_55-3_0_2_load_21 | 29 | 0.0096128 | 0.0024092 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_55-3_0_2_load_23 | 30 | 0.0020491 | 0.00051355 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_55-3_0_2_load_25 | 31 | 0.0051344 | 0.0012868 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_55-3_0_2_load_52 | 33 | 0.0016172 | 0.0004053 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_55-3_0_2_load_44 | 34 | 0.002226 | 0.0005579 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_55-3_0_2_load_26 | 35 | 0.0016069 | 0.00040272 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_55-3_0_2_load_30 | 37 | 0.0053243 | 0.0013344 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_55-3_0_2_load_31 | 38 | 0.0048006 | 0.0012031 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_55-3_0_2_load_47 | 40 | 0.0070447 | 0.0017656 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_55-3_0_2_load_33 | 41 | 0.0014094 | 0.00035324 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_55-3_0_2_load_34 | 42 | 0.0045183 | 0.0011324 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_55-3_0_2_load_48 | 43 | 0.0053377 | 0.0013378 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_55-3_0_2_load_35 | 44 | 0.0011018 | 0.00027614 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_55-3_0_2_load_36 | 45 | 0.0055585 | 0.0013931 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_55-3_0_2_load_37 | 46 | 0.0062303 | 0.0015615 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_55-3_0_2_load_53 | 47 | 0.0026512 | 0.00066445 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_55-3_0_2_load_54 | 48 | 0.0035797 | 0.00089716 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_55-3_0_2_load_38 | 49 | 0.0081727 | 0.0020483 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_55-3_0_2_load_39 | 50 | 0.0045389 | 0.0011376 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_55-3_0_2_load_40 | 51 | 0.0043623 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_55-3_0_2_load_41 | 52 | 0.0039047 | 0.00097861 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_55-3_0_2_load_42 | 53 | 0.00088487 | 0.00022177 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_55-3_0_2_load_46 | 54 | 0.00093618 | 0.00023463 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_55-3_0_2_load_43 | 55 | 0.0045755 | 0.0011467 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_55-3_0_2_load_50 | 57 | 0.0039571 | 0.00099175 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_55-3_0_2_load_51 | 58 | 0.0076577 | 0.0019192 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_55-3_0_2_load_55 | 59 | 0.0029753 | 0.00074569 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_55-3_0_2_load_56 | 60 | 0.0056825 | 0.0014242 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_55-3_0_2_load_57 | 61 | 0.0067888 | 0.0017014 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_55-3_0_2_load_61 | 63 | 0.00063075 | 0.00015808 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_55-3_0_2_load_59 | 64 | 0.00083336 | 0.00020886 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_55-3_0_2_load_60 | 65 | 0.0006993 | 0.00017526 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_55-3_0_2_load_69 | 67 | 0.0091536 | 0.0022941 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_55-3_0_2_line_0 |  | 0 | 1 | 0.0060144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_55-3_0_2_line_1 |  | 0 | 2 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_55-3_0_2_line_2 |  | 1 | 3 | 0.0012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_55-3_0_2_line_3 |  | 2 | 4 | 0.32369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_55-3_0_2_line_4 |  | 3 | 6 | 0.38949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_55-3_0_2_line_5 |  | 4 | 5 | 0.00098602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_55-3_0_2_line_6 |  | 5 | 13 | 0.036454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_55-3_0_2_line_7 |  | 6 | 9 | 0.038579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_55-3_0_2_line_8 |  | 6 | 8 | 0.021758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_55-3_0_2_line_9 |  | 7 | 8 | 0.034047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_55-3_0_2_line_10 |  | 10 | 11 | 0.0036735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_55-3_0_2_line_11 |  | 10 | 12 | 0.038229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_55-3_0_2_line_12 |  | 12 | 13 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_55-3_0_2_line_13 |  | 12 | 14 | 0.033923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_55-3_0_2_line_14 |  | 14 | 15 | 0.022543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_55-3_0_2_line_15 |  | 15 | 16 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_55-3_0_2_line_16 |  | 15 | 17 | 0.0061517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_55-3_0_2_line_17 |  | 16 | 24 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_55-3_0_2_line_18 |  | 17 | 25 | 0.0094042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_55-3_0_2_line_19 |  | 18 | 19 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_55-3_0_2_line_20 |  | 18 | 20 | 0.080007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_55-3_0_2_line_21 |  | 20 | 21 | 0.038298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_55-3_0_2_line_22 |  | 21 | 22 | 0.045285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_55-3_0_2_line_23 |  | 22 | 23 | 0.032637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_55-3_0_2_line_24 |  | 23 | 35 | 0.002746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_55-3_0_2_line_25 |  | 24 | 26 | 0.0023551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_55-3_0_2_line_26 |  | 25 | 27 | 0.011392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_55-3_0_2_line_27 |  | 26 | 28 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_55-3_0_2_line_28 |  | 27 | 29 | 0.0015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_55-3_0_2_line_29 |  | 29 | 30 | 0.012834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_55-3_0_2_line_30 |  | 30 | 31 | 0.012525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_55-3_0_2_line_31 |  | 31 | 32 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_55-3_0_2_line_32 |  | 32 | 33 | 0.0029514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_55-3_0_2_line_33 |  | 32 | 34 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_55-3_0_2_line_34 |  | 33 | 56 | 0.019652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_55-3_0_2_line_35 |  | 34 | 55 | 0.0065902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_55-3_0_2_line_36 |  | 35 | 36 | 0.013839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_55-3_0_2_line_37 |  | 36 | 37 | 0.0041562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_55-3_0_2_line_38 |  | 36 | 38 | 0.025077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_55-3_0_2_line_39 |  | 37 | 39 | 0.03464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_55-3_0_2_line_40 |  | 38 | 40 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_55-3_0_2_line_41 |  | 39 | 41 | 0.047653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_55-3_0_2_line_42 |  | 39 | 42 | 0.023288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_55-3_0_2_line_43 |  | 40 | 43 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_55-3_0_2_line_44 |  | 41 | 44 | 0.0036877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_55-3_0_2_line_45 |  | 42 | 45 | 0.017712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_55-3_0_2_line_46 |  | 43 | 56 | 0.033006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_55-3_0_2_line_47 |  | 45 | 46 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_55-3_0_2_line_48 |  | 46 | 47 | 0.0021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_55-3_0_2_line_49 |  | 47 | 48 | 0.017518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_55-3_0_2_line_50 |  | 48 | 59 | 0.0085656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_55-3_0_2_line_51 |  | 49 | 50 | 0.004384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_55-3_0_2_line_52 |  | 49 | 51 | 0.0158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_55-3_0_2_line_53 |  | 50 | 52 | 0.021997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_55-3_0_2_line_54 |  | 51 | 53 | 0.0051631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_55-3_0_2_line_55 |  | 52 | 54 | 0.0051359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_55-3_0_2_line_56 |  | 53 | 55 | 0.0048454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_55-3_0_2_line_57 |  | 56 | 57 | 0.038098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_55-3_0_2_line_58 |  | 57 | 58 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_55-3_0_2_line_59 |  | 59 | 60 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_55-3_0_2_line_60 |  | 60 | 61 | 0.011208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_55-3_0_2_line_61 |  | 61 | 62 | 0.016043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_55-3_0_2_line_62 |  | 62 | 63 | 0.012001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_55-3_0_2_line_63 |  | 63 | 64 | 0.043088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_55-3_0_2_line_64 |  | 64 | 65 | 0.015989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_55-3_0_2_line_65 |  | 65 | 66 | 0.077845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_55-3_0_2_line_66 |  | 66 | 67 | 0.18268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_55-3_0_2_trafo_48 | 0.63 MVA 20/0.4 kV | 68 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682734.9457 | 1269219.8377 | 2682731.2193 | 1269224.5587
1 | 2682734.9457 | 1269219.8377 | 2682748.7936 | 1269202.294 | 2682751.7204 | 1269195.8001
2 | 2682731.2193 | 1269224.5587 | 2682730.473 | 1269225.5042
3 | 2683020.4977 | 1269015.4261 | 2682751.7204 | 1269195.8001
4 | 2682730.473 | 1269225.5042 | 2682914.3992 | 1269568.8317
5 | 2683021.3322 | 1269015.9512 | 2683020.4977 | 1269015.4261
6 | 2683021.3322 | 1269015.9512 | 2683025.751 | 1269018.7318 | 2683052.4675 | 1269034.9095
7 | 2682914.3992 | 1269568.8317 | 2682922.6413 | 1269580.49 | 2682925.8699 | 1269586.9071 | 2682926.088 | 1269591.2025 | 2682919.4002 | 1269602.1368
8 | 2682914.3992 | 1269568.8317 | 2682935.0825 | 1269563.2174 | 2682935.3986 | 1269563.1368
9 | 2682968.7529 | 1269560.28 | 2682963.2423 | 1269562.1563 | 2682948.6218 | 1269560.4608 | 2682941.6531 | 1269561.5416 | 2682935.3986 | 1269563.1368
10 | 2683103.968 | 1269065.804 | 2683100.8145 | 1269063.92
11 | 2683067.9962 | 1269044.3127 | 2683100.8145 | 1269063.92
12 | 2683067.9962 | 1269044.3127 | 2683052.4675 | 1269034.9095
13 | 2683067.9962 | 1269044.3127 | 2683078.7766 | 1269021.09 | 2683081.7266 | 1269013.3103
14 | 2683089.7192 | 1268992.2319 | 2683081.7266 | 1269013.3103
15 | 2683089.7192 | 1268992.2319 | 2683104.6774 | 1268999.2277
16 | 2683089.7192 | 1268992.2319 | 2683091.4956 | 1268986.3422
17 | 2683104.6774 | 1268999.2277 | 2683123.223 | 1269007.9012
18 | 2683091.4956 | 1268986.3422 | 2683094.2111 | 1268977.3387
19 | 2683149.5763 | 1269035.8439 | 2683149.8396 | 1269035.3788 | 2683158.234 | 1269020.2181 | 2683161.2508 | 1269015.6841
20 | 2683206.9876 | 1268950.8043 | 2683195.3613 | 1268974.7264 | 2683186.4005 | 1268986.2762 | 2683166.7224 | 1269007.4607 | 2683161.2508 | 1269015.6841
21 | 2683206.9876 | 1268950.8043 | 2683218.2832 | 1268914.2096
22 | 2683228.8413 | 1268870.3365 | 2683226.8058 | 1268886.5986 | 2683218.2832 | 1268914.2096
23 | 2683228.8413 | 1268870.3365 | 2683216.5618 | 1268863.6915 | 2683208.1824 | 1268856.401 | 2683201.6764 | 1268852.536
24 | 2683199.3156 | 1268851.1334 | 2683201.6764 | 1268852.536
25 | 2683123.223 | 1269007.9012 | 2683125.3563 | 1269008.899
26 | 2683099.107 | 1268967.0522 | 2683094.2111 | 1268977.3387 | 2683094.2111 | 1268977.3387
27 | 2683137.1299 | 1269014.4054 | 2683125.3563 | 1269008.899
28 | 2683099.7545 | 1268965.6918 | 2683099.107 | 1268967.0522
29 | 2683099.7545 | 1268965.6918 | 2683104.0373 | 1268956.6936 | 2683105.6935 | 1268954.3512
30 | 2683105.6935 | 1268954.3512 | 2683112.9245 | 1268944.1238
31 | 2683119.8714 | 1268934.2984 | 2683112.9245 | 1268944.1238
32 | 2683119.8714 | 1268934.2984 | 2683121.75 | 1268932.022
33 | 2683119.8714 | 1268934.2984 | 2683115.8322 | 1268930.394 | 2683115.2085 | 1268929.7848 | 2683113.1444 | 1268927.7875 | 2683110.9642 | 1268924.9434
34 | 2683134.2586 | 1268916.8646 | 2683121.75 | 1268932.022
35 | 2683108.5341 | 1268918.8242 | 2683108.9103 | 1268920.0773 | 2683110.9642 | 1268924.9434
36 | 2683187.4181 | 1268844.0655 | 2683199.3156 | 1268851.1334
37 | 2683187.4181 | 1268844.0655 | 2683189.3631 | 1268840.3925
38 | 2683187.4181 | 1268844.0655 | 2683184.4368 | 1268850.0061 | 2683174.9214 | 1268865.7898
39 | 2683205.4908 | 1268809.7369 | 2683203.2688 | 1268814.1313 | 2683189.3631 | 1268840.3925
40 | 2683168.0119 | 1268875.3882 | 2683173.7944 | 1268867.6593 | 2683174.9214 | 1268865.7898
41 | 2683205.4908 | 1268809.7369 | 2683177.7941 | 1268790.4871 | 2683173.4938 | 1268790.1485 | 2683170.3372 | 1268792.506 | 2683167.2783 | 1268797.2806
42 | 2683205.4908 | 1268809.7369 | 2683218.2869 | 1268790.2796
43 | 2683168.0119 | 1268875.3882 | 2683166.4919 | 1268877.4199 | 2683155.1436 | 1268891.307
44 | 2683165.2889 | 1268800.3857 | 2683167.2783 | 1268797.2806
45 | 2683218.2869 | 1268790.2796 | 2683218.635 | 1268789.7504 | 2683229.0028 | 1268776.1793
46 | 2683134.2586 | 1268916.8646 | 2683155.1436 | 1268891.307
47 | 2683239.0624 | 1268763.5148 | 2683232.8895 | 1268771.0918 | 2683229.0028 | 1268776.1793
48 | 2683239.0624 | 1268763.5148 | 2683240.3999 | 1268761.8731
49 | 2683240.3999 | 1268761.8731 | 2683247.4797 | 1268753.1829 | 2683251.1079 | 1268748.0215
50 | 2683255.8281 | 1268740.8828 | 2683254.4843 | 1268743.2181 | 2683251.1079 | 1268748.0215
51 | 2683106.9002 | 1268893.2622 | 2683107.2053 | 1268888.8889
52 | 2683106.9002 | 1268893.2622 | 2683106.4215 | 1268900.1263 | 2683106.4991 | 1268909.0456 | 2683106.4991 | 1268909.0456
53 | 2683107.2053 | 1268888.8889 | 2683107.7132 | 1268881.6074 | 2683108.0194 | 1268866.9129
54 | 2683106.4991 | 1268909.0456 | 2683107.3107 | 1268914.1445
55 | 2683108.0194 | 1268866.9129 | 2683108.1264 | 1268861.778
56 | 2683108.5341 | 1268918.8242 | 2683107.5156 | 1268915.4317 | 2683107.3107 | 1268914.1445
57 | 2683134.2586 | 1268916.8646 | 2683162.8525 | 1268932.2237 | 2683167.1129 | 1268935.9199
58 | 2683171.1739 | 1268948.4316 | 2683169.1183 | 1268939.9514 | 2683167.1129 | 1268935.9199
59 | 2683255.8281 | 1268740.8828 | 2683261.3202 | 1268731.3382 | 2683267.2717 | 1268720.6767
60 | 2683267.2717 | 1268720.6767 | 2683272.7349 | 1268710.8899
61 | 2683280.5546 | 1268696.8816 | 2683272.7349 | 1268710.8899
62 | 2683280.5546 | 1268696.8816 | 2683270.4621 | 1268690.388
63 | 2683234.8781 | 1268666.1102 | 2683255.4631 | 1268680.7374 | 2683270.4621 | 1268690.388
64 | 2683234.8781 | 1268666.1102 | 2683224.8881 | 1268659.0116 | 2683221.7932 | 1268656.9223
65 | 2683157.2729 | 1268613.3676 | 2683221.7932 | 1268656.9223
66 | 2683157.2729 | 1268613.3676 | 2683144.3942 | 1268431.1397

## bus_geodata
| x | y | coords
0 | 2682734.9457 | 1269219.8377
1 | 2682731.2193 | 1269224.5587
2 | 2682751.7204 | 1269195.8001
3 | 2682730.473 | 1269225.5042
4 | 2683020.4977 | 1269015.4261
5 | 2683021.3322 | 1269015.9512
6 | 2682914.3992 | 1269568.8317
7 | 2682968.7529 | 1269560.28
8 | 2682935.3986 | 1269563.1368
9 | 2682919.4002 | 1269602.1368
10 | 2683100.8145 | 1269063.92
11 | 2683103.968 | 1269065.804
12 | 2683067.9962 | 1269044.3127
13 | 2683052.4675 | 1269034.9095
14 | 2683081.7266 | 1269013.3103
15 | 2683089.7192 | 1268992.2319
16 | 2683104.6774 | 1268999.2277
17 | 2683091.4956 | 1268986.3422
18 | 2683161.2508 | 1269015.6841
19 | 2683149.5763 | 1269035.8439
20 | 2683206.9876 | 1268950.8043
21 | 2683218.2832 | 1268914.2096
22 | 2683228.8413 | 1268870.3365
23 | 2683201.6764 | 1268852.536
24 | 2683123.223 | 1269007.9012
25 | 2683094.2111 | 1268977.3387
26 | 2683125.3563 | 1269008.899
27 | 2683099.107 | 1268967.0522
28 | 2683137.1299 | 1269014.4054
29 | 2683099.7545 | 1268965.6918
30 | 2683105.6935 | 1268954.3512
31 | 2683112.9245 | 1268944.1238
32 | 2683119.8714 | 1268934.2984
33 | 2683121.75 | 1268932.022
34 | 2683110.9642 | 1268924.9434
35 | 2683199.3156 | 1268851.1334
36 | 2683187.4181 | 1268844.0655
37 | 2683189.3631 | 1268840.3925
38 | 2683174.9214 | 1268865.7898
39 | 2683205.4908 | 1268809.7369
40 | 2683168.0119 | 1268875.3882
41 | 2683167.2783 | 1268797.2806
42 | 2683218.2869 | 1268790.2796
43 | 2683155.1436 | 1268891.307
44 | 2683165.2889 | 1268800.3857
45 | 2683229.0028 | 1268776.1793
46 | 2683239.0624 | 1268763.5148
47 | 2683240.3999 | 1268761.8731
48 | 2683251.1079 | 1268748.0215
49 | 2683106.9002 | 1268893.2622
50 | 2683107.2053 | 1268888.8889
51 | 2683106.4991 | 1268909.0456
52 | 2683108.0194 | 1268866.9129
53 | 2683107.3107 | 1268914.1445
54 | 2683108.1264 | 1268861.778
55 | 2683108.5341 | 1268918.8242
56 | 2683134.2586 | 1268916.8646
57 | 2683167.1129 | 1268935.9199
58 | 2683171.1739 | 1268948.4316
59 | 2683255.8281 | 1268740.8828
60 | 2683267.2717 | 1268720.6767
61 | 2683272.7349 | 1268710.8899
62 | 2683280.5546 | 1268696.8816
63 | 2683270.4621 | 1268690.388
64 | 2683234.8781 | 1268666.1102
65 | 2683221.7932 | 1268656.9223
66 | 2683157.2729 | 1268613.3676
67 | 2683144.3942 | 1268431.1397
68 | 2683155.1436 | 1268891.307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1