## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_55-9_1_3_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_55-9_1_3_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_55-9_1_3_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_55-9_1_3_node_117 | 0.4 | n |  | TRUE
4 | bus_LV_55-9_1_3_node_118 | 0.4 | n |  | TRUE
5 | bus_LV_55-9_1_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_55-9_1_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_55-9_1_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_55-9_1_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_55-9_1_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_55-9_1_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_55-9_1_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_55-9_1_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_55-9_1_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_55-9_1_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_55-9_1_3_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_55-9_1_3_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_55-9_1_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_55-9_1_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_55-9_1_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_55-9_1_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_55-9_1_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_55-9_1_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_55-9_1_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_55-9_1_3_node_112 | 0.4 | n |  | TRUE
25 | bus_LV_55-9_1_3_node_110 | 0.4 | n |  | TRUE
26 | bus_LV_55-9_1_3_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_55-9_1_3_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_55-9_1_3_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_55-9_1_3_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_55-9_1_3_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_55-9_1_3_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_55-9_1_3_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_55-9_1_3_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_55-9_1_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_55-9_1_3_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_55-9_1_3_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_55-9_1_3_node_104 | 0.4 | n |  | TRUE
38 | bus_LV_55-9_1_3_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_55-9_1_3_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_55-9_1_3_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_55-9_1_3_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_55-9_1_3_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_55-9_1_3_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_55-9_1_3_node_166 | 0.4 | n |  | TRUE
45 | bus_LV_55-9_1_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_55-9_1_3_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_55-9_1_3_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_55-9_1_3_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_55-9_1_3_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_55-9_1_3_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_55-9_1_3_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_55-9_1_3_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_55-9_1_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_55-9_1_3_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_55-9_1_3_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_55-9_1_3_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_55-9_1_3_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_55-9_1_3_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_55-9_1_3_node_175 | 0.4 | n |  | TRUE
60 | bus_LV_55-9_1_3_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_55-9_1_3_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_55-9_1_3_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_55-9_1_3_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_55-9_1_3_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_55-9_1_3_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_55-9_1_3_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_55-9_1_3_node_105 | 0.4 | n |  | TRUE
68 | bus_LV_55-9_1_3_node_102 | 0.4 | n |  | TRUE
69 | bus_LV_55-9_1_3_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_55-9_1_3_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_55-9_1_3_node_195 | 0.4 | n |  | TRUE
72 | bus_LV_55-9_1_3_node_172 | 0.4 | n |  | TRUE
73 | bus_LV_55-9_1_3_node_115 | 0.4 | n |  | TRUE
74 | bus_LV_55-9_1_3_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_55-9_1_3_node_163 | 0.4 | n |  | TRUE
76 | bus_LV_55-9_1_3_node_164 | 0.4 | n |  | TRUE
77 | bus_LV_55-9_1_3_node_165 | 0.4 | n |  | TRUE
78 | bus_LV_55-9_1_3_node_170 | 0.4 | n |  | TRUE
79 | bus_LV_55-9_1_3_node_167 | 0.4 | n |  | TRUE
80 | bus_LV_55-9_1_3_node_168 | 0.4 | n |  | TRUE
81 | bus_LV_55-9_1_3_node_169 | 0.4 | n |  | TRUE
82 | bus_LV_55-9_1_3_node_174 | 0.4 | n |  | TRUE
83 | bus_LV_55-9_1_3_node_171 | 0.4 | n |  | TRUE
84 | bus_LV_55-9_1_3_node_173 | 0.4 | n |  | TRUE
85 | bus_LV_55-9_1_3_node_196 | 0.4 | n |  | TRUE
86 | bus_LV_55-9_1_3_node_197 | 0.4 | n |  | TRUE
87 | bus_MV_383_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_55-9_1_3_load_19 | 0 | 0.0031813 | 0.00079731 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_55-9_1_3_load_20 | 1 | 0.0030431 | 0.00076268 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_55-9_1_3_load_117 | 3 | 0.0024609 | 0.00061677 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_55-9_1_3_load_118 | 4 | 0.0029013 | 0.00072714 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_55-9_1_3_load_24 | 5 | 0.0014977 | 0.00037536 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_55-9_1_3_load_26 | 7 | 0.0023125 | 0.00057956 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_55-9_1_3_load_28 | 9 | 0.0051519 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_55-9_1_3_load_34 | 10 | 0.0060519 | 0.0015167 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_55-9_1_3_load_37 | 11 | 0.0049839 | 0.0012491 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_55-9_1_3_load_29 | 12 | 0.0010494 | 0.000263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_55-9_1_3_load_30 | 13 | 0.0011844 | 0.00029683 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_55-9_1_3_load_39 | 16 | 0.0030586 | 0.00076655 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_55-9_1_3_load_35 | 17 | 0.0065202 | 0.0016341 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_55-9_1_3_load_36 | 18 | 0.004672 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_55-9_1_3_load_40 | 19 | 0.0043743 | 0.0010963 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_55-9_1_3_load_38 | 20 | 0.0032854 | 0.0008234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_55-9_1_3_load_41 | 21 | 0.0051188 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_55-9_1_3_load_42 | 22 | 0.0033358 | 0.00083603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_55-9_1_3_load_112 | 24 | 0.0023886 | 0.00059864 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_55-9_1_3_load_110 | 25 | 0.003829 | 0.00095964 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_55-9_1_3_load_68 | 26 | 0.0044311 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_55-9_1_3_load_69 | 27 | 0.0025868 | 0.00064832 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_55-9_1_3_load_70 | 28 | 0.0057736 | 0.001447 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_55-9_1_3_load_72 | 30 | 0.0028012 | 0.00070204 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_55-9_1_3_load_78 | 31 | 0.0060591 | 0.0015185 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_55-9_1_3_load_79 | 32 | 0.0024159 | 0.00060548 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_55-9_1_3_load_111 | 33 | 0.0022214 | 0.00055674 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_55-9_1_3_load_73 | 34 | 0.0027577 | 0.00069114 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_55-9_1_3_load_74 | 35 | 0.0034923 | 0.00087525 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_55-9_1_3_load_101 | 38 | 0.0034979 | 0.00087666 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_55-9_1_3_load_93 | 39 | 0.0056881 | 0.0014256 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_55-9_1_3_load_81 | 40 | 0.0031929 | 0.00080022 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_55-9_1_3_load_80 | 41 | 0.0039608 | 0.00099267 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_55-9_1_3_load_82 | 42 | 0.0027454 | 0.00068807 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_55-9_1_3_load_83 | 43 | 0.0015876 | 0.00039788 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_55-9_1_3_load_84 | 45 | 0.0030643 | 0.00076798 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_55-9_1_3_load_85 | 46 | 0.0060552 | 0.0015176 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_55-9_1_3_load_86 | 47 | 0.0012033 | 0.00030157 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_55-9_1_3_load_116 | 50 | 0.0073997 | 0.0018545 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_55-9_1_3_load_113 | 51 | 0.0057433 | 0.0014394 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_55-9_1_3_load_92 | 52 | 0.0027407 | 0.00068687 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_55-9_1_3_load_89 | 53 | 0.0035559 | 0.0008912 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_55-9_1_3_load_90 | 54 | 0.0011389 | 0.00028543 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_55-9_1_3_load_91 | 55 | 0.0022517 | 0.00056432 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_55-9_1_3_load_100 | 56 | 0.0031409 | 0.00078719 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_55-9_1_3_load_94 | 57 | 0.0019788 | 0.00049593 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_55-9_1_3_load_95 | 58 | 0.0034675 | 0.00086904 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_55-9_1_3_load_175 | 59 | 0.0013405 | 0.00033597 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_55-9_1_3_load_96 | 60 | 0.0043131 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_55-9_1_3_load_107 | 64 | 0.0021951 | 0.00055014 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_55-9_1_3_load_108 | 65 | 0.0012985 | 0.00032544 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_55-9_1_3_load_109 | 66 | 0.0015197 | 0.00038086 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_55-9_1_3_load_105 | 67 | 0.0017089 | 0.00042828 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_55-9_1_3_load_103 | 69 | 0.0022126 | 0.00055452 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_55-9_1_3_load_106 | 70 | 0.0015371 | 0.00038522 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_55-9_1_3_load_195 | 71 | 0.0015786 | 0.00039564 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_55-9_1_3_load_172 | 72 | 0.0030564 | 0.000766 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_55-9_1_3_load_115 | 73 | 0.0018168 | 0.00045533 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_55-9_1_3_load_163 | 75 | 0.032397 | 0.0081193 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_55-9_1_3_load_170 | 78 | 0.002361 | 0.00059172 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_55-9_1_3_load_167 | 79 | 0.014413 | 0.0036122 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_55-9_1_3_load_169 | 81 | 0.0013202 | 0.00033088 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_55-9_1_3_load_171 | 83 | 0.0020337 | 0.00050968 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_55-9_1_3_load_173 | 84 | 0.0022229 | 0.00055712 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_55-9_1_3_load_197 | 86 | 0.0075548 | 0.0018934 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_55-9_1_3_line_0 |  | 0 | 1 | 0.028141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_55-9_1_3_line_1 |  | 1 | 2 | 0.037704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_55-9_1_3_line_2 |  | 2 | 3 | 0.018704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_55-9_1_3_line_3 |  | 2 | 4 | 0.010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_55-9_1_3_line_4 |  | 3 | 69 | 0.019209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_55-9_1_3_line_5 |  | 5 | 6 | 0.069201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_55-9_1_3_line_6 |  | 5 | 7 | 0.014293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_55-9_1_3_line_7 |  | 6 | 8 | 0.034009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_55-9_1_3_line_8 |  | 6 | 9 | 0.032755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_55-9_1_3_line_9 |  | 8 | 10 | 0.010092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_55-9_1_3_line_10 |  | 9 | 11 | 0.047703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_55-9_1_3_line_11 |  | 10 | 17 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_55-9_1_3_line_12 |  | 11 | 20 | 0.025306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_55-9_1_3_line_13 |  | 12 | 13 | 0.01816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_55-9_1_3_line_14 |  | 13 | 14 | 0.10804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_55-9_1_3_line_15 |  | 14 | 15 | 0.042087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_55-9_1_3_line_16 |  | 15 | 16 | 0.019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_55-9_1_3_line_17 |  | 16 | 20 | 0.022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_55-9_1_3_line_18 |  | 17 | 18 | 0.035711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_55-9_1_3_line_19 |  | 18 | 19 | 0.017942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_55-9_1_3_line_20 |  | 19 | 21 | 0.046659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_55-9_1_3_line_21 |  | 21 | 22 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_55-9_1_3_line_22 |  | 22 | 23 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_55-9_1_3_line_23 |  | 23 | 24 | 0.0082303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_55-9_1_3_line_24 |  | 23 | 25 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_55-9_1_3_line_25 |  | 24 | 73 | 0.0041894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_55-9_1_3_line_26 |  | 25 | 33 | 0.019239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_55-9_1_3_line_27 |  | 26 | 27 | 0.0081556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_55-9_1_3_line_28 |  | 26 | 28 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_55-9_1_3_line_29 |  | 27 | 29 | 0.024471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_55-9_1_3_line_30 |  | 28 | 30 | 0.0027957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_55-9_1_3_line_31 |  | 29 | 31 | 0.03871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_55-9_1_3_line_32 |  | 29 | 32 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_55-9_1_3_line_33 |  | 30 | 33 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_55-9_1_3_line_34 |  | 31 | 39 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_55-9_1_3_line_35 |  | 32 | 40 | 0.0056072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_55-9_1_3_line_36 |  | 34 | 35 | 0.025767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_55-9_1_3_line_37 |  | 35 | 36 | 0.013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_55-9_1_3_line_38 |  | 36 | 37 | 0.02745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_55-9_1_3_line_39 |  | 36 | 38 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_55-9_1_3_line_40 |  | 37 | 70 | 0.0093207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_55-9_1_3_line_41 |  | 37 | 67 | 0.028756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_55-9_1_3_line_42 |  | 38 | 68 | 0.056896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_55-9_1_3_line_43 |  | 39 | 57 | 0.011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_55-9_1_3_line_44 |  | 40 | 41 | 0.0083313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_55-9_1_3_line_45 |  | 41 | 42 | 0.023723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_55-9_1_3_line_46 |  | 43 | 44 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_55-9_1_3_line_47 |  | 44 | 76 | 0.008841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_55-9_1_3_line_48 |  | 45 | 46 | 0.024167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_55-9_1_3_line_49 |  | 45 | 47 | 0.033816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_55-9_1_3_line_50 |  | 46 | 48 | 0.044982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_55-9_1_3_line_51 |  | 47 | 49 | 0.0072651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_55-9_1_3_line_52 |  | 48 | 50 | 0.016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_55-9_1_3_line_53 |  | 48 | 51 | 0.017438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_55-9_1_3_line_54 |  | 49 | 52 | 0.033595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_55-9_1_3_line_55 |  | 49 | 53 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_55-9_1_3_line_56 |  | 51 | 74 | 0.017531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_55-9_1_3_line_57 |  | 53 | 54 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_55-9_1_3_line_58 |  | 54 | 55 | 0.015603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_55-9_1_3_line_59 |  | 55 | 56 | 0.028338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_55-9_1_3_line_60 |  | 56 | 63 | 0.025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_55-9_1_3_line_61 |  | 57 | 58 | 0.027814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_55-9_1_3_line_62 |  | 58 | 59 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_55-9_1_3_line_63 |  | 59 | 78 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_55-9_1_3_line_64 |  | 60 | 61 | 0.020269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_55-9_1_3_line_65 |  | 61 | 62 | 0.022646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_55-9_1_3_line_66 |  | 61 | 63 | 0.022527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_55-9_1_3_line_67 |  | 62 | 64 | 0.030856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_55-9_1_3_line_68 |  | 62 | 65 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_55-9_1_3_line_69 |  | 62 | 66 | 0.058016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_55-9_1_3_line_70 |  | 62 | 67 | 0.062861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_55-9_1_3_line_71 |  | 65 | 72 | 0.020921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_55-9_1_3_line_72 |  | 68 | 69 | 0.023312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_55-9_1_3_line_73 |  | 70 | 71 | 0.016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_55-9_1_3_line_74 |  | 72 | 83 | 0.019864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_55-9_1_3_line_75 |  | 73 | 74 | 0.042171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_55-9_1_3_line_76 |  | 75 | 76 | 0.029879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_55-9_1_3_line_77 |  | 76 | 77 | 0.036642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_55-9_1_3_line_78 |  | 77 | 78 | 0.0077455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_55-9_1_3_line_79 |  | 79 | 80 | 0.019153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_55-9_1_3_line_80 |  | 80 | 81 | 0.022068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_55-9_1_3_line_81 |  | 81 | 82 | 0.0013556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_55-9_1_3_line_82 |  | 82 | 85 | 0.034864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_55-9_1_3_line_83 |  | 82 | 84 | 0.014563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_55-9_1_3_line_84 |  | 83 | 84 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_55-9_1_3_line_85 |  | 85 | 86 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_55-9_1_3_trafo_84 | 0.63 MVA 20/0.4 kV | 87 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682255.8497 | 1270014.9072 | 2682261.0819 | 1270015.2692 | 2682266.2399 | 1270017.1759 | 2682270.4967 | 1270021.6499 | 2682275.638 | 1270029.0719 | 2682276.7792 | 1270030.9443
1 | 2682223.6191 | 1270032.8841 | 2682228.279 | 1270028.412 | 2682232.6787 | 1270024.7926 | 2682240.8056 | 1270019.3791 | 2682248.268 | 1270016.2916 | 2682255.8497 | 1270014.9072 | 2682255.8497 | 1270014.9072
2 | 2682223.6191 | 1270032.8841 | 2682214.5983 | 1270016.4996
3 | 2682223.6191 | 1270032.8841 | 2682217.5712 | 1270040.8397 | 2682217.0198 | 1270041.6534
4 | 2682214.5983 | 1270016.4996 | 2682205.3338 | 1269999.6724
5 | 2682408.6459 | 1269790.7676 | 2682464.191 | 1269773.3397 | 2682474.9488 | 1269771.1123
6 | 2682488.9448 | 1269768.2145 | 2682474.9488 | 1269771.1123
7 | 2682408.6459 | 1269790.7676 | 2682400.7214 | 1269792.97 | 2682387.2898 | 1269794.0057 | 2682374.8988 | 1269793.2657
8 | 2682408.6459 | 1269790.7676 | 2682412.5493 | 1269800.0851 | 2682413.25 | 1269804.3316 | 2682412.1564 | 1269809.3648 | 2682409.1613 | 1269813.6821 | 2682402.7843 | 1269818.4189
9 | 2682374.8988 | 1269793.2657 | 2682365.3127 | 1269796.4205
10 | 2682402.7843 | 1269818.4189 | 2682383.0345 | 1269833.0888 | 2682363.8945 | 1269846.0237
11 | 2682365.3127 | 1269796.4205 | 2682361.382 | 1269797.7142 | 2682356.143 | 1269798.3639 | 2682349.3301 | 1269798.0752
12 | 2682363.8945 | 1269846.0237 | 2682353.8864 | 1269852.7872 | 2682342.5767 | 1269859.6449
13 | 2682466.4443 | 1269818.6052 | 2682448.6562 | 1269822.2622
14 | 2682349.2637 | 1269863.7427 | 2682385.7785 | 1269845.6817 | 2682423.5218 | 1269829.117 | 2682438.7293 | 1269824.3031 | 2682448.6562 | 1269822.2622
15 | 2682314.3413 | 1269886.8857 | 2682321.997 | 1269881.8216 | 2682330.8181 | 1269873.5935 | 2682334.1519 | 1269871.416 | 2682349.2637 | 1269863.7427
16 | 2682314.3413 | 1269886.8857 | 2682316.0726 | 1269879.8264 | 2682318.145 | 1269875.8298 | 2682321.1165 | 1269872.6576 | 2682323.6185 | 1269871.1404
17 | 2682323.6185 | 1269871.1404 | 2682342.5767 | 1269859.6449
18 | 2682349.3301 | 1269798.0752 | 2682344.4034 | 1269797.8665 | 2682338.889 | 1269798.3011 | 2682332.923 | 1269799.8192 | 2682327.4012 | 1269801.8661 | 2682321.1558 | 1269804.5368 | 2682315.6616 | 1269807.8407 | 2682315.6616 | 1269807.8407
19 | 2682315.6616 | 1269807.8407 | 2682311.1638 | 1269812.0036 | 2682308.2387 | 1269815.6324 | 2682305.0929 | 1269820.5147 | 2682304.5965 | 1269821.7643
20 | 2682304.5965 | 1269821.7643 | 2682302.6285 | 1269826.7187 | 2682299.4515 | 1269830.5998 | 2682295.4753 | 1269833.5134 | 2682290.1777 | 1269835.1298 | 2682269.5194 | 1269838.5338 | 2682264.7229 | 1269839.5707
21 | 2682264.7229 | 1269839.5707 | 2682259.9036 | 1269840.6127 | 2682252.3921 | 1269843.4214 | 2682245.7839 | 1269846.7544 | 2682245.5563 | 1269846.8684
22 | 2682231.8104 | 1269853.7544 | 2682245.5563 | 1269846.8684
23 | 2682231.8104 | 1269853.7544 | 2682235.2417 | 1269861.2352
24 | 2682231.8104 | 1269853.7544 | 2682226.0822 | 1269856.032 | 2682221.7353 | 1269856.6931
25 | 2682236.9883 | 1269865.0432 | 2682235.2417 | 1269861.2352
26 | 2682221.7353 | 1269856.6931 | 2682215.7662 | 1269857.6008 | 2682202.7332 | 1269859.7031
27 | 2682169.2686 | 1269864.4706 | 2682161.1919 | 1269865.6026
28 | 2682187.1557 | 1269861.9637 | 2682169.2686 | 1269864.4706
29 | 2682137.6065 | 1269872.0587 | 2682159.2364 | 1269865.8767 | 2682161.1919 | 1269865.6026
30 | 2682187.1557 | 1269861.9637 | 2682189.9244 | 1269861.5756
31 | 2682137.6065 | 1269872.0587 | 2682113.9653 | 1269877.3121 | 2682100.0897 | 1269881.4946
32 | 2682137.6065 | 1269872.0587 | 2682136.6513 | 1269861.5541
33 | 2682189.9244 | 1269861.5756 | 2682199.076 | 1269860.293 | 2682202.7332 | 1269859.7031
34 | 2682083.2589 | 1269888.3173 | 2682092.2779 | 1269883.8493 | 2682100.0897 | 1269881.4946
35 | 2682136.6513 | 1269861.5541 | 2682136.6406 | 1269861.4367 | 2682132.1073 | 1269858.3411
36 | 2682136.2228 | 1270025.2319 | 2682149.3626 | 1270034.6748 | 2682156.4902 | 1270041.0855
37 | 2682127.3689 | 1270016.2098 | 2682129.2917 | 1270020.2509 | 2682136.2228 | 1270025.2319
38 | 2682100.5422 | 1270011.9446 | 2682109.7412 | 1270014.3855 | 2682116.32 | 1270016.3897 | 2682122.3693 | 1270016.9742 | 2682127.3689 | 1270016.2098
39 | 2682127.3689 | 1270016.2098 | 2682133.0328 | 1270014.7429 | 2682138.5038 | 1270010.3821 | 2682144.927 | 1270004.9578
40 | 2682100.5422 | 1270011.9446 | 2682099.6461 | 1270014.7011 | 2682098.0554 | 1270016.536 | 2682094.8395 | 1270018.9043
41 | 2682100.5422 | 1270011.9446 | 2682098.2284 | 1270007.887 | 2682096.0863 | 1270005.5443 | 2682093.5288 | 1270004.3967 | 2682089.6032 | 1270003.686 | 2682085.0645 | 1270003.7786 | 2682075.5694 | 1270005.0392
42 | 2682194.7457 | 1269978.9057 | 2682182.1137 | 1269982.5329 | 2682170.895 | 1269986.8025 | 2682152.948 | 1269998.1843 | 2682144.927 | 1270004.9578
43 | 2682073.3241 | 1269894.4492 | 2682081.4047 | 1269889.2359 | 2682083.2589 | 1269888.3173
44 | 2682132.1073 | 1269858.3411 | 2682129.343 | 1269856.4535 | 2682124.3611 | 1269856.5993
45 | 2682100.9171 | 1269858.2856 | 2682106.1489 | 1269856.6091 | 2682111.8253 | 1269856.966 | 2682124.3611 | 1269856.5993
46 | 2682006.3933 | 1269882.9559 | 2682009.0241 | 1269876.6652 | 2682021.6829 | 1269874.8413
47 | 2682006.3933 | 1269882.9559 | 2682008.0799 | 1269888.8396 | 2682008.268 | 1269891.5555
48 | 2682176.9079 | 1269931.5928 | 2682156.3896 | 1269940.13 | 2682154.6362 | 1269940.9693
49 | 2682124.1345 | 1269955.5688 | 2682154.6362 | 1269940.9693
50 | 2682218.3651 | 1269914.1379 | 2682195.2322 | 1269923.9684 | 2682176.9079 | 1269931.5928
51 | 2682117.5814 | 1269958.7054 | 2682124.1345 | 1269955.5688
52 | 2682218.3651 | 1269914.1379 | 2682212.7749 | 1269898.982
53 | 2682218.3651 | 1269914.1379 | 2682228.2298 | 1269910.9282 | 2682234.9452 | 1269908.7362
54 | 2682117.5814 | 1269958.7054 | 2682118.4063 | 1269963.7765 | 2682117.7682 | 1269970.1616 | 2682115.8502 | 1269976.5957 | 2682112.3483 | 1269980.5835 | 2682104.3779 | 1269986.6554
55 | 2682117.5814 | 1269958.7054 | 2682105.3769 | 1269961.6879
56 | 2682251.9334 | 1269904.4307 | 2682237.1497 | 1269908.0166 | 2682234.9452 | 1269908.7362
57 | 2682105.3769 | 1269961.6879 | 2682091.9394 | 1269964.9717
58 | 2682076.7821 | 1269968.6757 | 2682091.9394 | 1269964.9717
59 | 2682076.7821 | 1269968.6757 | 2682075.5177 | 1269968.9847 | 2682049.3962 | 1269975.9577
60 | 2682024.4002 | 1269982.6302 | 2682049.3962 | 1269975.9577
61 | 2682049.7566 | 1269909.218 | 2682066.1352 | 1269899.0872 | 2682073.3241 | 1269894.4492
62 | 2682049.7566 | 1269909.218 | 2682049.748 | 1269909.2233 | 2682038.2055 | 1269916.2339
63 | 2682026.9459 | 1269922.5631 | 2682034.3729 | 1269918.5618 | 2682038.2055 | 1269916.2339
64 | 2682031.8552 | 1270003.8952 | 2682051.5101 | 1269998.9455
65 | 2682014.0594 | 1270017.9595 | 2682023.9767 | 1270009.8573 | 2682031.8552 | 1270003.8952
66 | 2682024.4002 | 1269982.6302 | 2682031.8552 | 1270003.8952
67 | 2682014.0594 | 1270017.9595 | 2682022.3685 | 1270023.2457 | 2682040.9988 | 1270031.9781 | 2682041.247 | 1270032.3321
68 | 2682014.0594 | 1270017.9595 | 2682002.2823 | 1270020.1867 | 2681999.9003 | 1270020.4553
69 | 2682014.0594 | 1270017.9595 | 2682007.2241 | 1270025.2037 | 2681986.7076 | 1270033.6258 | 2681973.0063 | 1270039.4959 | 2681962.6251 | 1270043.048
70 | 2682014.0594 | 1270017.9595 | 2682025.9741 | 1270015.5785 | 2682073.0855 | 1270005.369 | 2682075.5694 | 1270005.0392
71 | 2681999.9003 | 1270020.4553 | 2681989.5531 | 1270021.6223 | 2681981.6706 | 1270022.458 | 2681979.0934 | 1270022.3034
72 | 2682194.7457 | 1269978.9057 | 2682203.5245 | 1269996.3863 | 2682205.3338 | 1269999.6724
73 | 2682080.5274 | 1270027.3451 | 2682094.8395 | 1270018.9043
74 | 2681979.0934 | 1270022.3034 | 2681978.0542 | 1270022.241 | 2681974.5085 | 1270021.8137 | 2681970.7549 | 1270020.0936 | 2681967.4515 | 1270017.9349 | 2681964.1583 | 1270015.0313 | 2681962.1522 | 1270013.0973
75 | 2682251.9334 | 1269904.4307 | 2682242.4365 | 1269876.9208 | 2682236.9883 | 1269865.0432
76 | 2682008.268 | 1269891.5555 | 2682003.5856 | 1269897.1061 | 2681989.9806 | 1269899.2745 | 2681981.1433 | 1269899.5081
77 | 2682020.127 | 1269926.2368 | 2682008.268 | 1269891.5555
78 | 2682020.127 | 1269926.2368 | 2682026.9459 | 1269922.5631
79 | 2681922.6579 | 1269977.7147 | 2681926.3761 | 1269971.1388 | 2681929.7255 | 1269965.6586 | 2681932.2884 | 1269963.1699 | 2681933.6316 | 1269962.2936
80 | 2681922.6579 | 1269977.7147 | 2681927.5407 | 1269979.9397 | 2681931.3082 | 1269982.8276 | 2681935.6391 | 1269986.8687 | 2681939.8056 | 1269991.2302
81 | 2681940.742 | 1269992.2104 | 2681939.8056 | 1269991.2302
82 | 2681940.742 | 1269992.2104 | 2681949.9804 | 1269989.1027 | 2681956.975 | 1269987.1871 | 2681974.9273 | 1269987.8589
83 | 2681940.742 | 1269992.2104 | 2681945.2462 | 1269996.7766 | 2681946.4334 | 1269997.9829 | 2681951.0891 | 1270002.4564
84 | 2681951.0891 | 1270002.4564 | 2681958.7749 | 1270009.8414 | 2681962.1522 | 1270013.0973
85 | 2681974.9273 | 1269987.8589 | 2681973.7462 | 1269982.4159 | 2681972.6708 | 1269976.4073 | 2681970.9876 | 1269974.071 | 2681968.6965 | 1269973.2998

## bus_geodata
| x | y | coords
0 | 2682276.7792 | 1270030.9443
1 | 2682255.8497 | 1270014.9072
2 | 2682223.6191 | 1270032.8841
3 | 2682214.5983 | 1270016.4996
4 | 2682217.0198 | 1270041.6534
5 | 2682474.9488 | 1269771.1123
6 | 2682408.6459 | 1269790.7676
7 | 2682488.9448 | 1269768.2145
8 | 2682374.8988 | 1269793.2657
9 | 2682402.7843 | 1269818.4189
10 | 2682365.3127 | 1269796.4205
11 | 2682363.8945 | 1269846.0237
12 | 2682466.4443 | 1269818.6052
13 | 2682448.6562 | 1269822.2622
14 | 2682349.2637 | 1269863.7427
15 | 2682314.3413 | 1269886.8857
16 | 2682323.6185 | 1269871.1404
17 | 2682349.3301 | 1269798.0752
18 | 2682315.6616 | 1269807.8407
19 | 2682304.5965 | 1269821.7643
20 | 2682342.5767 | 1269859.6449
21 | 2682264.7229 | 1269839.5707
22 | 2682245.5563 | 1269846.8684
23 | 2682231.8104 | 1269853.7544
24 | 2682235.2417 | 1269861.2352
25 | 2682221.7353 | 1269856.6931
26 | 2682169.2686 | 1269864.4706
27 | 2682161.1919 | 1269865.6026
28 | 2682187.1557 | 1269861.9637
29 | 2682137.6065 | 1269872.0587
30 | 2682189.9244 | 1269861.5756
31 | 2682100.0897 | 1269881.4946
32 | 2682136.6513 | 1269861.5541
33 | 2682202.7332 | 1269859.7031
34 | 2682156.4902 | 1270041.0855
35 | 2682136.2228 | 1270025.2319
36 | 2682127.3689 | 1270016.2098
37 | 2682100.5422 | 1270011.9446
38 | 2682144.927 | 1270004.9578
39 | 2682083.2589 | 1269888.3173
40 | 2682132.1073 | 1269858.3411
41 | 2682124.3611 | 1269856.5993
42 | 2682100.9171 | 1269858.2856
43 | 2682021.6829 | 1269874.8413
44 | 2682006.3933 | 1269882.9559
45 | 2682154.6362 | 1269940.9693
46 | 2682176.9079 | 1269931.5927
47 | 2682124.1345 | 1269955.5688
48 | 2682218.3651 | 1269914.1379
49 | 2682117.5814 | 1269958.7054
50 | 2682212.7749 | 1269898.982
51 | 2682234.9452 | 1269908.7362
52 | 2682104.3779 | 1269986.6554
53 | 2682105.3769 | 1269961.6879
54 | 2682091.9394 | 1269964.9717
55 | 2682076.7821 | 1269968.6757
56 | 2682049.3962 | 1269975.9577
57 | 2682073.3241 | 1269894.4492
58 | 2682049.7566 | 1269909.218
59 | 2682038.2055 | 1269916.2339
60 | 2682051.5101 | 1269998.9455
61 | 2682031.8552 | 1270003.8952
62 | 2682014.0594 | 1270017.9595
63 | 2682024.4002 | 1269982.6302
64 | 2682041.247 | 1270032.3321
65 | 2681999.9003 | 1270020.4553
66 | 2681962.6251 | 1270043.048
67 | 2682075.5694 | 1270005.0392
68 | 2682194.7457 | 1269978.9057
69 | 2682205.3338 | 1269999.6724
70 | 2682094.8395 | 1270018.9043
71 | 2682080.5274 | 1270027.3451
72 | 2681979.0934 | 1270022.3034
73 | 2682236.9883 | 1269865.0432
74 | 2682251.9334 | 1269904.4307
75 | 2681981.1433 | 1269899.5081
76 | 2682008.268 | 1269891.5555
77 | 2682020.127 | 1269926.2368
78 | 2682026.9459 | 1269922.5631
79 | 2681933.6316 | 1269962.2936
80 | 2681922.6579 | 1269977.7147
81 | 2681939.8056 | 1269991.2302
82 | 2681940.742 | 1269992.2104
83 | 2681962.1522 | 1270013.0973
84 | 2681951.0891 | 1270002.4564
85 | 2681974.9273 | 1269987.8589
86 | 2681968.6965 | 1269973.2998
87 | 2682154.6362 | 1269940.9693

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1