## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5503-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5503-1_0_2_node_50 | 0.4 | n |  | TRUE
2 | bus_LV_5503-1_0_2_node_52 | 0.4 | n |  | TRUE
3 | bus_LV_5503-1_0_2_node_48 | 0.4 | n |  | TRUE
4 | bus_LV_5503-1_0_2_node_83 | 0.4 | n |  | TRUE
5 | bus_LV_5503-1_0_2_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_5503-1_0_2_node_85 | 0.4 | n |  | TRUE
7 | bus_LV_5503-1_0_2_node_1 | 0.4 | n |  | TRUE
8 | bus_LV_5503-1_0_2_node_2 | 0.4 | n |  | TRUE
9 | bus_LV_5503-1_0_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_5503-1_0_2_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_5503-1_0_2_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_5503-1_0_2_node_3 | 0.4 | n |  | TRUE
13 | bus_LV_5503-1_0_2_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_5503-1_0_2_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_5503-1_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5503-1_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5503-1_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5503-1_0_2_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5503-1_0_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_5503-1_0_2_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_5503-1_0_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_5503-1_0_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_5503-1_0_2_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_5503-1_0_2_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_5503-1_0_2_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_5503-1_0_2_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_5503-1_0_2_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_5503-1_0_2_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_5503-1_0_2_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5503-1_0_2_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5503-1_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5503-1_0_2_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_5503-1_0_2_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_5503-1_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5503-1_0_2_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_5503-1_0_2_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_5503-1_0_2_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_5503-1_0_2_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_5503-1_0_2_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_5503-1_0_2_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_5503-1_0_2_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_5503-1_0_2_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_5503-1_0_2_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_5503-1_0_2_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_5503-1_0_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_5503-1_0_2_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_5503-1_0_2_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_5503-1_0_2_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_5503-1_0_2_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5503-1_0_2_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_5503-1_0_2_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_5503-1_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_5503-1_0_2_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_5503-1_0_2_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_5503-1_0_2_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5503-1_0_2_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_5503-1_0_2_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_5503-1_0_2_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_5503-1_0_2_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5503-1_0_2_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5503-1_0_2_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_5503-1_0_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_5503-1_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5503-1_0_2_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_5503-1_0_2_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_5503-1_0_2_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5503-1_0_2_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_5503-1_0_2_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_5503-1_0_2_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_5503-1_0_2_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5503-1_0_2_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5503-1_0_2_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5503-1_0_2_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_5503-1_0_2_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_5503-1_0_2_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_5503-1_0_2_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_5503-1_0_2_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_5503-1_0_2_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_5503-1_0_2_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_5503-1_0_2_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_5503-1_0_2_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_5503-1_0_2_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5503-1_0_2_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5503-1_0_2_node_78 | 0.4 | n |  | TRUE
85 | bus_MV_312_1_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5503-1_0_2_load_0 | 0 | 0.0054657 | 0.0013698 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5503-1_0_2_load_50 | 1 | 0.0022592 | 0.00056621 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5503-1_0_2_load_83 | 4 | 0.0075143 | 0.0018833 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5503-1_0_2_load_85 | 6 | 0.0048298 | 0.0012105 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5503-1_0_2_load_23 | 9 | 0.00039848 | 9.9869e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5503-1_0_2_load_79 | 10 | 0.0022853 | 0.00057274 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5503-1_0_2_load_80 | 11 | 0.003213 | 0.00080525 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5503-1_0_2_load_3 | 12 | 0.0017717 | 0.00044403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5503-1_0_2_load_4 | 13 | 0.0027077 | 0.00067862 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5503-1_0_2_load_6 | 15 | 0.00199 | 0.00049874 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5503-1_0_2_load_8 | 17 | 0.0046835 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5503-1_0_2_load_27 | 18 | 0.0020885 | 0.00052343 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5503-1_0_2_load_24 | 19 | 0.0059086 | 0.0014808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5503-1_0_2_load_28 | 21 | 0.0037002 | 0.00092735 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5503-1_0_2_load_25 | 22 | 0.0044168 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5503-1_0_2_load_64 | 24 | 0.0019554 | 0.00049008 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5503-1_0_2_load_9 | 25 | 0.0016496 | 0.00041343 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5503-1_0_2_load_10 | 26 | 0.00095798 | 0.00024009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5503-1_0_2_load_12 | 28 | 0.0045646 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5503-1_0_2_load_13 | 29 | 0.0049669 | 0.0012448 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5503-1_0_2_load_14 | 30 | 0.00039329 | 9.8568e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5503-1_0_2_load_67 | 32 | 0.0009753 | 0.00024443 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5503-1_0_2_load_68 | 35 | 0.0041985 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5503-1_0_2_load_15 | 37 | 0.0023959 | 0.00060047 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5503-1_0_2_load_16 | 38 | 0.0028372 | 0.00071107 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5503-1_0_2_load_18 | 40 | 0.0023294 | 0.00058381 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5503-1_0_2_load_20 | 42 | 0.0025071 | 0.00062835 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5503-1_0_2_load_81 | 43 | 0.0049787 | 0.0012478 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5503-1_0_2_load_57 | 44 | 0.00074967 | 0.00018789 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5503-1_0_2_load_56 | 45 | 0.0053333 | 0.0013367 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5503-1_0_2_load_82 | 46 | 0.0034656 | 0.00086856 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5503-1_0_2_load_71 | 47 | 0.00080454 | 0.00020164 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5503-1_0_2_load_86 | 48 | 0.0043693 | 0.0010951 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5503-1_0_2_load_42 | 49 | 0.0021882 | 0.00054842 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5503-1_0_2_load_29 | 50 | 0.002136 | 0.00053533 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5503-1_0_2_load_30 | 51 | 0.010566 | 0.0026482 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5503-1_0_2_load_31 | 52 | 0.011325 | 0.0028384 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5503-1_0_2_load_32 | 53 | 0.0022071 | 0.00055314 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5503-1_0_2_load_33 | 54 | 0.0061963 | 0.0015529 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5503-1_0_2_load_34 | 55 | 0.0028499 | 0.00071426 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5503-1_0_2_load_77 | 56 | 0.01015 | 0.0025437 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5503-1_0_2_load_76 | 57 | 0.011383 | 0.0028529 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5503-1_0_2_load_36 | 58 | 0.006483 | 0.0016248 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5503-1_0_2_load_37 | 59 | 0.0010791 | 0.00027044 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5503-1_0_2_load_38 | 60 | 0.0062228 | 0.0015596 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5503-1_0_2_load_40 | 61 | 0.00062097 | 0.00015563 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5503-1_0_2_load_70 | 62 | 0.0023339 | 0.00058493 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5503-1_0_2_load_41 | 64 | 0.0014495 | 0.00036327 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5503-1_0_2_load_43 | 65 | 0.0014328 | 0.00035909 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5503-1_0_2_load_45 | 66 | 0.0033225 | 0.00083269 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5503-1_0_2_load_46 | 67 | 0.0012336 | 0.00030918 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5503-1_0_2_load_47 | 68 | 0.0036477 | 0.00091419 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5503-1_0_2_load_58 | 70 | 0.012438 | 0.0031172 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5503-1_0_2_load_59 | 71 | 0.0018819 | 0.00047164 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5503-1_0_2_load_72 | 72 | 0.0066754 | 0.001673 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5503-1_0_2_load_54 | 73 | 0.0017251 | 0.00043235 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5503-1_0_2_load_51 | 74 | 0.0016904 | 0.00042365 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5503-1_0_2_load_63 | 77 | 0.017281 | 0.004331 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5503-1_0_2_load_60 | 78 | 0.016782 | 0.0042061 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5503-1_0_2_load_62 | 80 | 0.0040425 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5503-1_0_2_load_66 | 81 | 0.0048226 | 0.0012087 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5503-1_0_2_load_74 | 82 | 0.0018303 | 0.00045872 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5503-1_0_2_load_75 | 83 | 0.0036238 | 0.00090821 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5503-1_0_2_load_78 | 84 | 0.0020198 | 0.00050621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5503-1_0_2_line_0 |  | 0 | 1 | 0.22126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5503-1_0_2_line_1 |  | 1 | 2 | 0.041766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5503-1_0_2_line_2 |  | 1 | 3 | 0.019035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5503-1_0_2_line_3 |  | 2 | 73 | 0.010997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5503-1_0_2_line_4 |  | 2 | 74 | 0.026776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5503-1_0_2_line_5 |  | 3 | 67 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5503-1_0_2_line_6 |  | 4 | 5 | 0.068162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5503-1_0_2_line_7 |  | 4 | 6 | 0.35641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5503-1_0_2_line_8 |  | 5 | 7 | 0.22544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5503-1_0_2_line_9 |  | 7 | 8 | 0.026986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5503-1_0_2_line_10 |  | 8 | 9 | 0.034648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5503-1_0_2_line_11 |  | 9 | 10 | 0.38752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5503-1_0_2_line_12 |  | 10 | 11 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5503-1_0_2_line_13 |  | 11 | 83 | 0.018139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5503-1_0_2_line_14 |  | 12 | 13 | 0.023119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5503-1_0_2_line_15 |  | 12 | 14 | 0.035746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5503-1_0_2_line_16 |  | 13 | 15 | 0.023008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5503-1_0_2_line_17 |  | 14 | 16 | 0.04999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5503-1_0_2_line_18 |  | 14 | 17 | 0.049032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5503-1_0_2_line_19 |  | 15 | 18 | 0.0073252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5503-1_0_2_line_20 |  | 16 | 19 | 0.076823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5503-1_0_2_line_21 |  | 17 | 20 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5503-1_0_2_line_22 |  | 18 | 21 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5503-1_0_2_line_23 |  | 19 | 22 | 0.025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5503-1_0_2_line_24 |  | 20 | 23 | 0.046754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5503-1_0_2_line_25 |  | 20 | 24 | 0.03926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5503-1_0_2_line_26 |  | 21 | 50 | 0.013679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5503-1_0_2_line_27 |  | 23 | 49 | 0.014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5503-1_0_2_line_28 |  | 23 | 34 | 0.047453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5503-1_0_2_line_29 |  | 24 | 81 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5503-1_0_2_line_30 |  | 25 | 26 | 0.015555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5503-1_0_2_line_31 |  | 25 | 27 | 0.021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5503-1_0_2_line_32 |  | 26 | 28 | 0.02155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5503-1_0_2_line_33 |  | 27 | 29 | 0.025899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5503-1_0_2_line_34 |  | 27 | 30 | 0.040653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5503-1_0_2_line_35 |  | 28 | 31 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5503-1_0_2_line_36 |  | 29 | 32 | 0.031002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5503-1_0_2_line_37 |  | 30 | 33 | 0.0015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5503-1_0_2_line_38 |  | 31 | 34 | 0.048868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5503-1_0_2_line_39 |  | 32 | 35 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5503-1_0_2_line_40 |  | 33 | 36 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5503-1_0_2_line_41 |  | 34 | 48 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5503-1_0_2_line_42 |  | 36 | 59 | 0.061742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5503-1_0_2_line_43 |  | 37 | 38 | 0.048735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5503-1_0_2_line_44 |  | 37 | 39 | 0.026875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5503-1_0_2_line_45 |  | 38 | 40 | 0.0039379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5503-1_0_2_line_46 |  | 39 | 41 | 0.040744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5503-1_0_2_line_47 |  | 39 | 42 | 0.018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5503-1_0_2_line_48 |  | 40 | 43 | 0.032888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5503-1_0_2_line_49 |  | 41 | 44 | 0.0074525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5503-1_0_2_line_50 |  | 41 | 45 | 0.021903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5503-1_0_2_line_51 |  | 42 | 46 | 0.034119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5503-1_0_2_line_52 |  | 44 | 47 | 0.0072226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5503-1_0_2_line_53 |  | 47 | 77 | 0.011388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5503-1_0_2_line_54 |  | 49 | 64 | 0.0079603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5503-1_0_2_line_55 |  | 51 | 52 | 0.023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5503-1_0_2_line_56 |  | 51 | 53 | 0.027291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5503-1_0_2_line_57 |  | 52 | 54 | 0.0010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5503-1_0_2_line_58 |  | 53 | 55 | 0.013948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5503-1_0_2_line_59 |  | 54 | 56 | 0.0053387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5503-1_0_2_line_60 |  | 56 | 57 | 0.022086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5503-1_0_2_line_61 |  | 57 | 71 | 0.0020012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5503-1_0_2_line_62 |  | 58 | 59 | 0.0062734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5503-1_0_2_line_63 |  | 58 | 60 | 0.031228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5503-1_0_2_line_64 |  | 60 | 61 | 0.021054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5503-1_0_2_line_65 |  | 61 | 62 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5503-1_0_2_line_66 |  | 62 | 63 | 0.018624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5503-1_0_2_line_67 |  | 63 | 75 | 0.023292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5503-1_0_2_line_68 |  | 64 | 65 | 0.04561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5503-1_0_2_line_69 |  | 65 | 66 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5503-1_0_2_line_70 |  | 67 | 68 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_5503-1_0_2_line_71 |  | 68 | 69 | 0.011949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_5503-1_0_2_line_72 |  | 69 | 70 | 0.031122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5503-1_0_2_line_73 |  | 69 | 71 | 0.02529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5503-1_0_2_line_74 |  | 70 | 72 | 0.018544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5503-1_0_2_line_75 |  | 72 | 79 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5503-1_0_2_line_76 |  | 73 | 76 | 0.02601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_5503-1_0_2_line_77 |  | 74 | 75 | 0.03661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_5503-1_0_2_line_78 |  | 76 | 77 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5503-1_0_2_line_79 |  | 76 | 78 | 0.010663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5503-1_0_2_line_80 |  | 78 | 80 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5503-1_0_2_line_81 |  | 79 | 82 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5503-1_0_2_line_82 |  | 79 | 83 | 0.023675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5503-1_0_2_line_83 |  | 82 | 84 | 0.0024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5503-1_0_2_trafo_56 | 0.63 MVA 20/0.4 kV | 85 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2531299.8882 | 1158956.297 | 2531491.8964 | 1158846.3521
1 | 2531321.59 | 1158991.9825 | 2531300.0809 | 1158956.6087 | 2531299.8882 | 1158956.297
2 | 2531290.0326 | 1158940.0144 | 2531292.4187 | 1158944.2117 | 2531299.8882 | 1158956.297
3 | 2531321.59 | 1158991.9825 | 2531312.3742 | 1158997.982
4 | 2531321.59 | 1158991.9825 | 2531335.6578 | 1159014.7646
5 | 2531290.0326 | 1158940.0144 | 2531283.3494 | 1158928.7624 | 2531279.0554 | 1158922.6474
6 | 2531600.4453 | 1158340.6824 | 2531590.6227 | 1158273.2316
7 | 2531590.6227 | 1158273.2316 | 2531532.7067 | 1157921.5541
8 | 2531385.6466 | 1158409.1145 | 2531600.4453 | 1158340.6824
9 | 2531385.6466 | 1158409.1145 | 2531359.8973 | 1158417.4245
10 | 2531359.8973 | 1158417.4245 | 2531332.5163 | 1158426.5091 | 2531327.0727 | 1158428.5073
11 | 2531241.9024 | 1158806.5486 | 2531327.0727 | 1158428.5073
12 | 2531241.9024 | 1158806.5486 | 2531239.0064 | 1158809.3699 | 2531235.5142 | 1158814.9808
13 | 2531235.5142 | 1158814.9808 | 2531231.7724 | 1158820.9926 | 2531229.0468 | 1158831.7095
14 | 2531175.5161 | 1159149.0896 | 2531153.6983 | 1159156.7351
15 | 2531119.9635 | 1159168.5564 | 2531153.6983 | 1159156.7351
16 | 2531197.2291 | 1159141.4809 | 2531175.5161 | 1159149.0896
17 | 2531119.9635 | 1159168.5564 | 2531107.9459 | 1159154.7199 | 2531103.3915 | 1159148.6243 | 2531100.7537 | 1159144.5411 | 2531098.4776 | 1159139.9202 | 2531096.4137 | 1159134.4186 | 2531094.2302 | 1159126.517
18 | 2531119.9635 | 1159168.5564 | 2531163.8332 | 1159190.4552
19 | 2531204.1422 | 1159139.0584 | 2531197.2291 | 1159141.4809
20 | 2531094.2302 | 1159126.517 | 2531167.6587 | 1159103.9333
21 | 2531179.7685 | 1159198.4098 | 2531163.8332 | 1159190.4552
22 | 2531204.1422 | 1159139.0584 | 2531215.8671 | 1159134.9498 | 2531218.0878 | 1159133.4012
23 | 2531167.6587 | 1159103.9333 | 2531191.8443 | 1159096.4948
24 | 2531217.2434 | 1159226.2961 | 2531209.3016 | 1159218.9162 | 2531202.8557 | 1159213.6427 | 2531193.2815 | 1159206.9708 | 2531179.7685 | 1159198.4098
25 | 2531179.7685 | 1159198.4098 | 2531189.4748 | 1159179.8215 | 2531190.7824 | 1159178.2057 | 2531192.4199 | 1159176.6082 | 2531194.4914 | 1159175.4283 | 2531205.2016 | 1159171.1319
26 | 2531229.3848 | 1159125.8455 | 2531223.4873 | 1159128.9703 | 2531220.666 | 1159130.9481 | 2531218.0878 | 1159133.4012
27 | 2531217.2434 | 1159226.2961 | 2531230.2036 | 1159218.9075
28 | 2531244.6311 | 1159264.9818 | 2531227.3298 | 1159238.2094 | 2531222.0347 | 1159231.6775 | 2531217.2434 | 1159226.2961
29 | 2531214.6896 | 1159167.3258 | 2531205.2016 | 1159171.1319
30 | 2531330.1619 | 1159265.4677 | 2531317.2934 | 1159269.0417 | 2531315.199 | 1159269.7123
31 | 2531351.0542 | 1159262.4965 | 2531341.0863 | 1159262.9329 | 2531336.2055 | 1159263.7892 | 2531330.1619 | 1159265.4677
32 | 2531315.199 | 1159269.7123 | 2531312.0005 | 1159270.7365 | 2531307.5603 | 1159273.2553 | 2531300.9243 | 1159280.8243 | 2531298.9139 | 1159282.6594 | 2531298.6453 | 1159282.7898
33 | 2531351.0542 | 1159262.4965 | 2531333.9992 | 1159243.0065
34 | 2531351.0542 | 1159262.4965 | 2531373.1169 | 1159235.1069 | 2531376.0906 | 1159230.5006
35 | 2531273.6309 | 1159296.5342 | 2531286.1199 | 1159289.3317 | 2531289.1346 | 1159286.1733 | 2531290.7635 | 1159285.1652 | 2531297.1072 | 1159283.5362 | 2531298.6453 | 1159282.7898
36 | 2531333.9992 | 1159243.0065 | 2531332.5608 | 1159241.3628 | 2531328.6674 | 1159237.4051 | 2531310.3102 | 1159223.1109
37 | 2531376.9056 | 1159229.2381 | 2531376.0906 | 1159230.5006
38 | 2531244.6311 | 1159264.9818 | 2531254.1284 | 1159279.0143 | 2531267.0461 | 1159299.8781 | 2531273.6309 | 1159296.5342
39 | 2531298.574 | 1159212.7688 | 2531301.4013 | 1159216.0049 | 2531305.9434 | 1159219.7106 | 2531310.3102 | 1159223.1109
40 | 2531381.8773 | 1159219.5648 | 2531376.9056 | 1159229.2381
41 | 2531264.7992 | 1159252.9332 | 2531244.6311 | 1159264.9818
42 | 2531381.8773 | 1159219.5648 | 2531380.8847 | 1159215.8852 | 2531379.5661 | 1159212.5206 | 2531367.831 | 1159182.4379 | 2531365.6796 | 1159175.2918 | 2531364.0823 | 1159166.9943 | 2531363.0254 | 1159160.973
43 | 2531252.1278 | 1159107.4595 | 2531241.2662 | 1159111.079 | 2531233.9548 | 1159084.4589 | 2531231.521 | 1159075.0892
44 | 2531224.7644 | 1159049.0778 | 2531231.521 | 1159075.0892
45 | 2531255.8637 | 1159106.2146 | 2531252.1278 | 1159107.4595
46 | 2531224.7644 | 1159049.0778 | 2531229.047 | 1159045.5045 | 2531262.7576 | 1159035.1351
47 | 2531224.7644 | 1159049.0778 | 2531207.096 | 1159054.3774
48 | 2531255.8637 | 1159106.2146 | 2531287.0646 | 1159095.8174
49 | 2531262.7576 | 1159035.1351 | 2531269.738 | 1159034.855 | 2531270.1771 | 1159034.6976
50 | 2531262.7576 | 1159035.1351 | 2531260.1505 | 1159030.3845 | 2531257.5215 | 1159021.0427 | 2531258.4565 | 1159014.3283
51 | 2531174.4151 | 1159064.18 | 2531207.096 | 1159054.3774
52 | 2531270.1771 | 1159034.6976 | 2531276.9757 | 1159032.2594
53 | 2531287.6955 | 1159028.4149 | 2531276.9757 | 1159032.2594
54 | 2531237.119 | 1159214.965 | 2531230.2036 | 1159218.9075
55 | 2531209.9739 | 1158953.4721 | 2531210.4847 | 1158944.1939 | 2531213.5164 | 1158937.1553 | 2531219.0399 | 1158933.9249
56 | 2531209.9739 | 1158953.4721 | 2531209.2918 | 1158965.8641 | 2531203.0365 | 1158977.2421 | 2531201.8397 | 1158978.7125
57 | 2531219.9183 | 1158933.4112 | 2531219.0399 | 1158933.9249
58 | 2531193.0353 | 1158989.5302 | 2531201.8397 | 1158978.7125
59 | 2531224.5268 | 1158930.716 | 2531219.9183 | 1158933.4112
60 | 2531224.5268 | 1158930.716 | 2531240.1764 | 1158921.5635 | 2531243.3557 | 1158919.2088
61 | 2531244.9638 | 1158918.0177 | 2531243.3557 | 1158919.2088
62 | 2531361.9409 | 1159154.7941 | 2531363.0254 | 1159160.973
63 | 2531361.9409 | 1159154.7941 | 2531358.982 | 1159137.9364 | 2531357.3526 | 1159123.9184
64 | 2531357.3526 | 1159123.9184 | 2531356.8139 | 1159119.2841 | 2531355.2053 | 1159102.9746
65 | 2531353.9541 | 1159090.2887 | 2531355.2053 | 1159102.9746
66 | 2531352.1156 | 1159071.7558 | 2531352.435 | 1159074.8872 | 2531353.9541 | 1159090.2887
67 | 2531348.1353 | 1159048.8107 | 2531352.1156 | 1159071.7558
68 | 2531237.119 | 1159214.965 | 2531276.742 | 1159192.3759
69 | 2531292.1506 | 1159177.9784 | 2531279.6709 | 1159190.7061 | 2531276.742 | 1159192.3759
70 | 2531279.0554 | 1158922.6474 | 2531271.6609 | 1158912.1167
71 | 2531264.7941 | 1158902.3377 | 2531271.6609 | 1158912.1167
72 | 2531264.7941 | 1158902.3377 | 2531245.4143 | 1158877.9856
73 | 2531264.7941 | 1158902.3377 | 2531253.7147 | 1158911.5363 | 2531244.9638 | 1158918.0177
74 | 2531233.2333 | 1158864.0591 | 2531237.5712 | 1158868.1302 | 2531245.4143 | 1158877.9856
75 | 2531223.2116 | 1158854.6538 | 2531233.2333 | 1158864.0591
76 | 2531305.5057 | 1159022.0276 | 2531307.0277 | 1159006.3126 | 2531310.1 | 1158999.4625 | 2531312.3742 | 1158997.982
77 | 2531348.1353 | 1159048.8107 | 2531347.1841 | 1159041.3841 | 2531339.8589 | 1159021.5679 | 2531335.6578 | 1159014.7646
78 | 2531305.5057 | 1159022.0276 | 2531287.6955 | 1159028.4149
79 | 2531305.5057 | 1159022.0276 | 2531306.8919 | 1159032.5999
80 | 2531309.928 | 1159050.0816 | 2531307.9246 | 1159040.4769 | 2531306.8919 | 1159032.5999
81 | 2531223.2116 | 1158854.6538 | 2531211.2261 | 1158850.758
82 | 2531223.2116 | 1158854.6538 | 2531229.0468 | 1158831.7095
83 | 2531211.2261 | 1158850.758 | 2531209.3688 | 1158850.1542 | 2531208.891 | 1158849.9643

## bus_geodata
| x | y | coords
0 | 2531491.8964 | 1158846.3521
1 | 2531299.8882 | 1158956.297
2 | 2531321.59 | 1158991.9825
3 | 2531290.0326 | 1158940.0144
4 | 2531590.6227 | 1158273.2316
5 | 2531600.4453 | 1158340.6824
6 | 2531532.7067 | 1157921.5541
7 | 2531385.6466 | 1158409.1145
8 | 2531359.8973 | 1158417.4245
9 | 2531327.0727 | 1158428.5073
10 | 2531241.9024 | 1158806.5486
11 | 2531235.5142 | 1158814.9808
12 | 2531153.6983 | 1159156.7351
13 | 2531175.5161 | 1159149.0896
14 | 2531119.9635 | 1159168.5564
15 | 2531197.2291 | 1159141.4809
16 | 2531094.2302 | 1159126.517
17 | 2531163.8332 | 1159190.4552
18 | 2531204.1422 | 1159139.0584
19 | 2531167.6587 | 1159103.9333
20 | 2531179.7685 | 1159198.4098
21 | 2531218.0878 | 1159133.4012
22 | 2531191.8443 | 1159096.4948
23 | 2531217.2434 | 1159226.2961
24 | 2531205.2016 | 1159171.1319
25 | 2531330.1619 | 1159265.4677
26 | 2531315.199 | 1159269.7123
27 | 2531351.0542 | 1159262.4965
28 | 2531298.6453 | 1159282.7898
29 | 2531333.9992 | 1159243.0065
30 | 2531376.0906 | 1159230.5006
31 | 2531273.6309 | 1159296.5342
32 | 2531310.3102 | 1159223.1109
33 | 2531376.9056 | 1159229.2381
34 | 2531244.6311 | 1159264.9818
35 | 2531298.574 | 1159212.7688
36 | 2531381.8773 | 1159219.5648
37 | 2531231.521 | 1159075.0892
38 | 2531252.1278 | 1159107.4595
39 | 2531224.7644 | 1159049.0778
40 | 2531255.8637 | 1159106.2146
41 | 2531262.7576 | 1159035.1351
42 | 2531207.096 | 1159054.3774
43 | 2531287.0646 | 1159095.8174
44 | 2531270.1771 | 1159034.6976
45 | 2531258.4565 | 1159014.3283
46 | 2531174.4151 | 1159064.18
47 | 2531276.9757 | 1159032.2594
48 | 2531264.7992 | 1159252.9332
49 | 2531230.2036 | 1159218.9075
50 | 2531229.3848 | 1159125.8455
51 | 2531209.9739 | 1158953.4721
52 | 2531219.0399 | 1158933.9249
53 | 2531201.8397 | 1158978.7125
54 | 2531219.9183 | 1158933.4112
55 | 2531193.0353 | 1158989.5302
56 | 2531224.5268 | 1158930.716
57 | 2531243.3557 | 1158919.2088
58 | 2531361.9409 | 1159154.7941
59 | 2531363.0254 | 1159160.973
60 | 2531357.3526 | 1159123.9184
61 | 2531355.2053 | 1159102.9746
62 | 2531353.9541 | 1159090.2887
63 | 2531352.1156 | 1159071.7558
64 | 2531237.119 | 1159214.965
65 | 2531276.742 | 1159192.3759
66 | 2531292.1506 | 1159177.9784
67 | 2531279.0554 | 1158922.6474
68 | 2531271.6609 | 1158912.1167
69 | 2531264.7941 | 1158902.3377
70 | 2531245.4143 | 1158877.9856
71 | 2531244.9638 | 1158918.0177
72 | 2531233.2333 | 1158864.0591
73 | 2531312.3742 | 1158997.982
74 | 2531335.6578 | 1159014.7646
75 | 2531348.1353 | 1159048.8107
76 | 2531305.5057 | 1159022.0276
77 | 2531287.6955 | 1159028.4149
78 | 2531306.8919 | 1159032.5999
79 | 2531223.2116 | 1158854.6538
80 | 2531309.928 | 1159050.0816
81 | 2531214.6896 | 1159167.3257
82 | 2531211.2261 | 1158850.758
83 | 2531229.0468 | 1158831.7095
84 | 2531208.891 | 1158849.9643
85 | 2531271.9386 | 1159008.782

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1