## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5511-1_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_5511-1_1_3_node_16 | 0.4 | n |  | TRUE
2 | bus_LV_5511-1_1_3_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_5511-1_1_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_5511-1_1_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_5511-1_1_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5511-1_1_3_node_150 | 0.4 | n |  | TRUE
7 | bus_LV_5511-1_1_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_5511-1_1_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_5511-1_1_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_5511-1_1_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_5511-1_1_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_5511-1_1_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5511-1_1_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5511-1_1_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_5511-1_1_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5511-1_1_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5511-1_1_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5511-1_1_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5511-1_1_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_5511-1_1_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_5511-1_1_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_5511-1_1_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_5511-1_1_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5511-1_1_3_node_149 | 0.4 | n |  | TRUE
25 | bus_LV_5511-1_1_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_5511-1_1_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_5511-1_1_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5511-1_1_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_5511-1_1_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5511-1_1_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5511-1_1_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5511-1_1_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_5511-1_1_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_5511-1_1_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_5511-1_1_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5511-1_1_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_5511-1_1_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_5511-1_1_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_5511-1_1_3_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_5511-1_1_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_5511-1_1_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5511-1_1_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_5511-1_1_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5511-1_1_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_5511-1_1_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_5511-1_1_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_5511-1_1_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_5511-1_1_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_5511-1_1_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_5511-1_1_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_5511-1_1_3_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_5511-1_1_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_5511-1_1_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_5511-1_1_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_5511-1_1_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_5511-1_1_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_5511-1_1_3_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_5511-1_1_3_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_5511-1_1_3_node_73 | 0.4 | n |  | TRUE
60 | bus_MV_448_0_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5511-1_1_3_load_15 | 0 | 0.0020538 | 0.00051473 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5511-1_1_3_load_16 | 1 | 0.001636 | 0.00041001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5511-1_1_3_load_18 | 3 | 0.0016287 | 0.0004082 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5511-1_1_3_load_24 | 5 | 0.0018215 | 0.0004565 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5511-1_1_3_load_150 | 6 | 0.0035034 | 0.00087804 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5511-1_1_3_load_20 | 7 | 0.0034909 | 0.0008749 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5511-1_1_3_load_21 | 8 | 0.0034896 | 0.00087457 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5511-1_1_3_load_23 | 10 | 0.0054458 | 0.0013649 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5511-1_1_3_load_25 | 12 | 0.0018661 | 0.0004677 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5511-1_1_3_load_26 | 13 | 0.0015691 | 0.00039324 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5511-1_1_3_load_27 | 14 | 0.004895 | 0.0012268 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5511-1_1_3_load_28 | 15 | 0.00057093 | 0.00014309 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5511-1_1_3_load_36 | 18 | 0.0014737 | 0.00036934 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5511-1_1_3_load_34 | 19 | 0.002028 | 0.00050827 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5511-1_1_3_load_30 | 20 | 0.0035309 | 0.00088493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5511-1_1_3_load_149 | 24 | 0.0040706 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5511-1_1_3_load_61 | 25 | 0.0029232 | 0.00073262 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5511-1_1_3_load_54 | 26 | 0.0083987 | 0.0021049 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5511-1_1_3_load_37 | 27 | 0.0061559 | 0.0015428 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5511-1_1_3_load_38 | 28 | 0.0068895 | 0.0017267 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5511-1_1_3_load_40 | 29 | 0.016062 | 0.0040254 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5511-1_1_3_load_42 | 31 | 0.0010847 | 0.00027185 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5511-1_1_3_load_43 | 32 | 0.0025726 | 0.00064476 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5511-1_1_3_load_66 | 33 | 0.003138 | 0.00078645 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5511-1_1_3_load_63 | 34 | 0.00060934 | 0.00015271 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5511-1_1_3_load_44 | 35 | 0.0076068 | 0.0019064 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5511-1_1_3_load_45 | 36 | 0.0054476 | 0.0013653 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5511-1_1_3_load_46 | 37 | 0.003227 | 0.00080876 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5511-1_1_3_load_62 | 39 | 0.0036204 | 0.00090736 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5511-1_1_3_load_55 | 40 | 0.0024047 | 0.00060269 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5511-1_1_3_load_48 | 41 | 0.0059438 | 0.0014896 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5511-1_1_3_load_49 | 42 | 0.0071913 | 0.0018023 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5511-1_1_3_load_51 | 43 | 0.0013288 | 0.00033302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5511-1_1_3_load_52 | 45 | 0.0041239 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5511-1_1_3_load_53 | 46 | 0.0044822 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5511-1_1_3_load_56 | 47 | 0.0014866 | 0.00037258 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5511-1_1_3_load_60 | 49 | 0.0026435 | 0.00066253 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5511-1_1_3_load_58 | 50 | 0.0026284 | 0.00065873 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5511-1_1_3_load_59 | 51 | 0.0044716 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5511-1_1_3_load_65 | 52 | 0.0068501 | 0.0017168 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5511-1_1_3_load_67 | 53 | 0.0014658 | 0.00036737 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5511-1_1_3_load_68 | 54 | 0.0028577 | 0.00071621 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5511-1_1_3_load_69 | 55 | 0.007025 | 0.0017606 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5511-1_1_3_load_72 | 58 | 0.006036 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5511-1_1_3_load_73 | 59 | 0.0011003 | 0.00027577 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5511-1_1_3_line_0 |  | 0 | 1 | 0.028125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5511-1_1_3_line_1 |  | 0 | 2 | 0.021978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5511-1_1_3_line_2 |  | 1 | 3 | 0.0034599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5511-1_1_3_line_3 |  | 2 | 4 | 0.031014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5511-1_1_3_line_4 |  | 3 | 5 | 0.003937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5511-1_1_3_line_5 |  | 4 | 6 | 0.006606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5511-1_1_3_line_6 |  | 5 | 9 | 0.099101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5511-1_1_3_line_7 |  | 7 | 8 | 0.019108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5511-1_1_3_line_8 |  | 7 | 9 | 0.096408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5511-1_1_3_line_9 |  | 8 | 10 | 0.011745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5511-1_1_3_line_10 |  | 9 | 11 | 0.51386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5511-1_1_3_line_11 |  | 11 | 19 | 0.059244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5511-1_1_3_line_12 |  | 12 | 13 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5511-1_1_3_line_13 |  | 12 | 14 | 0.0058559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5511-1_1_3_line_14 |  | 13 | 15 | 0.0054423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5511-1_1_3_line_15 |  | 14 | 16 | 0.010028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5511-1_1_3_line_16 |  | 15 | 17 | 0.0092076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5511-1_1_3_line_17 |  | 16 | 18 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5511-1_1_3_line_18 |  | 16 | 19 | 0.077534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5511-1_1_3_line_19 |  | 17 | 28 | 0.030628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5511-1_1_3_line_20 |  | 18 | 26 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5511-1_1_3_line_21 |  | 20 | 21 | 0.032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5511-1_1_3_line_22 |  | 21 | 22 | 0.019761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5511-1_1_3_line_23 |  | 22 | 25 | 0.0097954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5511-1_1_3_line_24 |  | 22 | 23 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5511-1_1_3_line_25 |  | 23 | 24 | 0.010926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5511-1_1_3_line_26 |  | 24 | 39 | 0.0037592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5511-1_1_3_line_27 |  | 25 | 49 | 0.0028123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5511-1_1_3_line_28 |  | 26 | 40 | 0.0059475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5511-1_1_3_line_29 |  | 27 | 28 | 0.004822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5511-1_1_3_line_30 |  | 29 | 30 | 0.11178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5511-1_1_3_line_31 |  | 29 | 31 | 0.010861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5511-1_1_3_line_32 |  | 30 | 32 | 0.038998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5511-1_1_3_line_33 |  | 31 | 33 | 0.46454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5511-1_1_3_line_34 |  | 32 | 34 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5511-1_1_3_line_35 |  | 33 | 54 | 0.074578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5511-1_1_3_line_36 |  | 33 | 52 | 0.0019057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5511-1_1_3_line_37 |  | 34 | 51 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5511-1_1_3_line_38 |  | 35 | 36 | 0.0050564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5511-1_1_3_line_39 |  | 35 | 37 | 0.047392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5511-1_1_3_line_40 |  | 36 | 38 | 0.014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5511-1_1_3_line_41 |  | 38 | 39 | 0.018748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5511-1_1_3_line_42 |  | 38 | 40 | 0.0023819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5511-1_1_3_line_43 |  | 41 | 42 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5511-1_1_3_line_44 |  | 42 | 43 | 0.025423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5511-1_1_3_line_45 |  | 43 | 47 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5511-1_1_3_line_46 |  | 44 | 45 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5511-1_1_3_line_47 |  | 44 | 46 | 0.013352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5511-1_1_3_line_48 |  | 45 | 48 | 0.01864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5511-1_1_3_line_49 |  | 46 | 49 | 0.031537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5511-1_1_3_line_50 |  | 47 | 50 | 0.015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5511-1_1_3_line_51 |  | 48 | 50 | 0.020427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5511-1_1_3_line_52 |  | 48 | 51 | 0.0098198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5511-1_1_3_line_53 |  | 52 | 53 | 0.033289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5511-1_1_3_line_54 |  | 54 | 55 | 0.12659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5511-1_1_3_line_55 |  | 55 | 56 | 0.1475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5511-1_1_3_line_56 |  | 56 | 57 | 0.062864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5511-1_1_3_line_57 |  | 57 | 58 | 0.063886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5511-1_1_3_line_58 |  | 58 | 59 | 0.0095811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5511-1_1_3_trafo_41 | 0.63 MVA 20/0.4 kV | 60 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2538264.2496 | 1163812.5314 | 2538237.3891 | 1163820.871
1 | 2538216.3993 | 1163827.3878 | 2538237.3891 | 1163820.871
2 | 2538267.554 | 1163811.5055 | 2538264.2496 | 1163812.5314
3 | 2538216.3993 | 1163827.3878 | 2538186.4765 | 1163835.8562
4 | 2538271.3139 | 1163810.3381 | 2538267.554 | 1163811.5055
5 | 2538184.5806 | 1163829.5278 | 2538186.4765 | 1163835.8562
6 | 2538367.9082 | 1163788.931 | 2538337.6948 | 1163793.7551 | 2538299.9127 | 1163801.4588 | 2538271.3139 | 1163810.3381
7 | 2538313.2207 | 1163709.5344 | 2538302.3818 | 1163693.7983
8 | 2538367.9082 | 1163788.931 | 2538313.2207 | 1163709.5344
9 | 2538295.7193 | 1163684.1256 | 2538302.3818 | 1163693.7983
10 | 2538879.9649 | 1163745.9036 | 2538367.9082 | 1163788.931
11 | 2538879.9649 | 1163745.9036 | 2538892.7473 | 1163723.9503 | 2538907.1381 | 1163707.2391 | 2538916.3631 | 1163699.9016
12 | 2538985.0597 | 1163650.5987 | 2538996.7402 | 1163654.4432 | 2539003.6596 | 1163656.686
13 | 2538985.0597 | 1163650.5987 | 2538979.4973 | 1163648.768
14 | 2539008.8367 | 1163658.3641 | 2539003.6596 | 1163656.686
15 | 2538969.9716 | 1163645.6327 | 2538979.4973 | 1163648.768
16 | 2539017.1337 | 1163662.2957 | 2539011.0729 | 1163659.0889 | 2539008.8367 | 1163658.3641
17 | 2538969.9716 | 1163645.6327 | 2538958.4144 | 1163635.5535
18 | 2538969.9716 | 1163645.6327 | 2538959.1441 | 1163665.5315 | 2538950.9719 | 1163672.3739 | 2538916.3631 | 1163699.9016
19 | 2539017.1337 | 1163662.2957 | 2538995.6446 | 1163684.1205
20 | 2538958.4144 | 1163635.5535 | 2538944.1686 | 1163623.1295
21 | 2538888.9622 | 1163595.2852 | 2538861.9754 | 1163604.176 | 2538858.0275 | 1163605.5584
22 | 2538888.9622 | 1163595.2852 | 2538904.2224 | 1163582.6784
23 | 2538904.2224 | 1163582.6784 | 2538899.4315 | 1163574.1346
24 | 2538912.6964 | 1163595.6771 | 2538904.2224 | 1163582.6784
25 | 2538912.6964 | 1163595.6771 | 2538920.9302 | 1163602.8595
26 | 2538920.9302 | 1163602.8595 | 2538923.763 | 1163605.3307
27 | 2538899.4315 | 1163574.1346 | 2538898.0561 | 1163571.6816
28 | 2538944.1686 | 1163623.1295 | 2538939.6862 | 1163619.2204
29 | 2538992.2615 | 1163687.5565 | 2538995.6446 | 1163684.1205
30 | 2538807.8553 | 1163436.4025 | 2538822.4625 | 1163416.0758 | 2538845.4483 | 1163394.841 | 2538889.0022 | 1163360.5115
31 | 2538897.5322 | 1163353.7881 | 2538889.0022 | 1163360.5115
32 | 2538807.8553 | 1163436.4025 | 2538832.4225 | 1163456.8299 | 2538836.0661 | 1163462.8626
33 | 2538897.5322 | 1163353.7881 | 2538721.3977 | 1162923.9376
34 | 2538836.0661 | 1163462.8626 | 2538842.4658 | 1163473.4589 | 2538845.4082 | 1163478.4803
35 | 2538721.3977 | 1162923.9376 | 2538721.8969 | 1162932.7486 | 2538717.1621 | 1162940.201 | 2538709.2435 | 1162946.4519 | 2538698.0924 | 1162948.9672 | 2538684.6757 | 1162949.4378 | 2538669.5599 | 1162946.3128 | 2538663.5184 | 1162943.8009
36 | 2538721.29 | 1162922.035 | 2538721.3977 | 1162923.9376
37 | 2538845.4082 | 1163478.4803 | 2538854.6269 | 1163494.2129 | 2538855.3431 | 1163495.4884
38 | 2538921.7586 | 1163629.5068 | 2538925.8336 | 1163626.5131
39 | 2538902.3122 | 1163662.0969 | 2538917.1985 | 1163653.4072 | 2538911.9957 | 1163643.4548 | 2538911.9272 | 1163636.7296 | 2538921.7586 | 1163629.5068
40 | 2538937.8911 | 1163617.6549 | 2538925.8336 | 1163626.5131
41 | 2538937.8911 | 1163617.6549 | 2538923.763 | 1163605.3307
42 | 2538937.8911 | 1163617.6549 | 2538939.6862 | 1163619.2204
43 | 2538906.068 | 1163513.5018 | 2538920.7876 | 1163504.1558 | 2538923.048 | 1163499.7081 | 2538923.048 | 1163499.7081
44 | 2538923.048 | 1163499.7081 | 2538919.2009 | 1163493.5105 | 2538910.0157 | 1163480.6414 | 2538907.9174 | 1163481.6265
45 | 2538907.9174 | 1163481.6265 | 2538893.0041 | 1163488.6277
46 | 2538876.1053 | 1163532.5262 | 2538869.2619 | 1163520.3125
47 | 2538876.1053 | 1163532.5262 | 2538882.634 | 1163544.1729
48 | 2538860.1505 | 1163504.0509 | 2538869.2619 | 1163520.3125
49 | 2538882.634 | 1163544.1729 | 2538892.4888 | 1163561.7531 | 2538898.0561 | 1163571.6816
50 | 2538878.6416 | 1163495.3702 | 2538893.0041 | 1163488.6277
51 | 2538860.1505 | 1163504.0509 | 2538878.6416 | 1163495.3702
52 | 2538860.1505 | 1163504.0509 | 2538855.3431 | 1163495.4884
53 | 2538720.4658 | 1162888.7818 | 2538720.1585 | 1162902.0607 | 2538721.29 | 1162922.035
54 | 2538663.5184 | 1162943.8009 | 2538536.9318 | 1162942.7547
55 | 2538536.9318 | 1162942.7547 | 2538396.1925 | 1162986.9125
56 | 2538416.1781 | 1163046.5178 | 2538396.1925 | 1162986.9125
57 | 2538416.1781 | 1163046.5178 | 2538443.5446 | 1163063.2351 | 2538470.6958 | 1163079.8233
58 | 2538478.3682 | 1163085.5521 | 2538471.7126 | 1163080.4445 | 2538470.6958 | 1163079.8233

## bus_geodata
| x | y | coords
0 | 2538237.3891 | 1163820.871
1 | 2538264.2496 | 1163812.5314
2 | 2538216.3993 | 1163827.3878
3 | 2538267.554 | 1163811.5055
4 | 2538186.4765 | 1163835.8562
5 | 2538271.3139 | 1163810.3381
6 | 2538184.5806 | 1163829.5278
7 | 2538313.2207 | 1163709.5344
8 | 2538302.3818 | 1163693.7983
9 | 2538367.9082 | 1163788.931
10 | 2538295.7193 | 1163684.1256
11 | 2538879.9649 | 1163745.9036
12 | 2538985.0597 | 1163650.5987
13 | 2539003.6596 | 1163656.686
14 | 2538979.4973 | 1163648.768
15 | 2539008.8367 | 1163658.3641
16 | 2538969.9716 | 1163645.6327
17 | 2539017.1337 | 1163662.2957
18 | 2538958.4144 | 1163635.5535
19 | 2538916.3631 | 1163699.9016
20 | 2538858.0275 | 1163605.5584
21 | 2538888.9622 | 1163595.2852
22 | 2538904.2224 | 1163582.6784
23 | 2538912.6964 | 1163595.6771
24 | 2538920.9302 | 1163602.8595
25 | 2538899.4315 | 1163574.1346
26 | 2538944.1686 | 1163623.1295
27 | 2538992.2615 | 1163687.5565
28 | 2538995.6446 | 1163684.1205
29 | 2538889.0023 | 1163360.5115
30 | 2538807.8553 | 1163436.4025
31 | 2538897.5322 | 1163353.7881
32 | 2538836.0661 | 1163462.8626
33 | 2538721.3977 | 1162923.9376
34 | 2538845.4082 | 1163478.4803
35 | 2538921.7586 | 1163629.5068
36 | 2538925.8336 | 1163626.5131
37 | 2538902.3122 | 1163662.0969
38 | 2538937.8911 | 1163617.6549
39 | 2538923.763 | 1163605.3307
40 | 2538939.6862 | 1163619.2204
41 | 2538906.068 | 1163513.5018
42 | 2538923.048 | 1163499.7081
43 | 2538907.9174 | 1163481.6265
44 | 2538876.1053 | 1163532.5262
45 | 2538869.2619 | 1163520.3125
46 | 2538882.634 | 1163544.1729
47 | 2538893.0041 | 1163488.6277
48 | 2538860.1505 | 1163504.0509
49 | 2538898.0561 | 1163571.6816
50 | 2538878.6416 | 1163495.3702
51 | 2538855.3431 | 1163495.4884
52 | 2538721.29 | 1162922.035
53 | 2538720.4658 | 1162888.7818
54 | 2538663.5184 | 1162943.8009
55 | 2538536.9318 | 1162942.7547
56 | 2538396.1925 | 1162986.9125
57 | 2538416.1781 | 1163046.5178
58 | 2538470.6958 | 1163079.8233
59 | 2538478.3682 | 1163085.5521
60 | 2538860.1505 | 1163504.0509

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1