## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5514-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5514-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5514-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5514-3_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5514-3_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5514-3_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5514-3_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_5514-3_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5514-3_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_5514-3_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5514-3_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5514-3_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5514-3_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5514-3_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5514-3_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_5514-3_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5514-3_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_5514-3_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_5514-3_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5514-3_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5514-3_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5514-3_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5514-3_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_5514-3_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5514-3_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_5514-3_0_4_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_5514-3_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5514-3_0_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5514-3_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5514-3_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_5514-3_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5514-3_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_5514-3_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_5514-3_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_5514-3_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_5514-3_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_5514-3_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_5514-3_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5514-3_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_5514-3_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5514-3_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5514-3_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_5514-3_0_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_5514-3_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_5514-3_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5514-3_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5514-3_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5514-3_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5514-3_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5514-3_0_4_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_5514-3_0_4_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_5514-3_0_4_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_5514-3_0_4_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_5514-3_0_4_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_5514-3_0_4_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_5514-3_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_5514-3_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5514-3_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5514-3_0_4_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_5514-3_0_4_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_5514-3_0_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_5514-3_0_4_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_5514-3_0_4_node_88 | 0.4 | n |  | TRUE
63 | bus_LV_5514-3_0_4_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_5514-3_0_4_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_5514-3_0_4_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_5514-3_0_4_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_5514-3_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5514-3_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_5514-3_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_5514-3_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5514-3_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_5514-3_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5514-3_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5514-3_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5514-3_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5514-3_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_5514-3_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5514-3_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_5514-3_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_5514-3_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_5514-3_0_4_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_5514-3_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5514-3_0_4_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_5514-3_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_5514-3_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_5514-3_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_5514-3_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_5514-3_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_5514-3_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5514-3_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_5514-3_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_5514-3_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_5514-3_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_5514-3_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_MV_448_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5514-3_0_4_load_0 | 0 | 0.0090915 | 0.0022786 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5514-3_0_4_load_1 | 1 | 0.0060358 | 0.0015127 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5514-3_0_4_load_4 | 3 | 0.0086578 | 0.0021698 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5514-3_0_4_load_5 | 4 | 0.008989 | 0.0022529 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5514-3_0_4_load_8 | 5 | 0.019116 | 0.0047909 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5514-3_0_4_load_14 | 6 | 0.010281 | 0.0025766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5514-3_0_4_load_6 | 7 | 0.014446 | 0.0036205 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5514-3_0_4_load_13 | 8 | 0.0018293 | 0.00045847 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5514-3_0_4_load_7 | 9 | 0.0083422 | 0.0020908 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5514-3_0_4_load_9 | 10 | 0.001147 | 0.00028746 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5514-3_0_4_load_10 | 11 | 0.0030974 | 0.00077627 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5514-3_0_4_load_11 | 12 | 0.0029635 | 0.00074273 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5514-3_0_4_load_15 | 13 | 0.0022526 | 0.00056456 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5514-3_0_4_load_20 | 15 | 0.0019037 | 0.0004771 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5514-3_0_4_load_17 | 16 | 0.0053608 | 0.0013436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5514-3_0_4_load_24 | 17 | 0.0073701 | 0.0018471 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5514-3_0_4_load_18 | 18 | 0.0037163 | 0.00093139 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5514-3_0_4_load_19 | 19 | 0.0027355 | 0.00068558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5514-3_0_4_load_21 | 20 | 0.0042209 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5514-3_0_4_load_22 | 21 | 0.0012714 | 0.00031865 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5514-3_0_4_load_25 | 22 | 0.0035173 | 0.00088153 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5514-3_0_4_load_23 | 23 | 0.0082461 | 0.0020667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5514-3_0_4_load_68 | 25 | 0.0024348 | 0.00061021 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5514-3_0_4_load_30 | 26 | 0.0010649 | 0.00026689 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5514-3_0_4_load_34 | 27 | 0.0012624 | 0.00031638 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5514-3_0_4_load_28 | 28 | 0.0030052 | 0.00075318 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5514-3_0_4_load_27 | 29 | 0.0034202 | 0.00085719 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5514-3_0_4_load_29 | 30 | 0.0070021 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5514-3_0_4_load_31 | 31 | 0.0052297 | 0.0013107 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5514-3_0_4_load_35 | 34 | 0.0058758 | 0.0014726 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5514-3_0_4_load_37 | 35 | 0.0049643 | 0.0012442 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5514-3_0_4_load_38 | 36 | 0.006887 | 0.0017261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5514-3_0_4_load_49 | 38 | 0.0078457 | 0.0019663 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5514-3_0_4_load_39 | 39 | 0.0032976 | 0.00082646 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5514-3_0_4_load_45 | 40 | 0.012827 | 0.0032148 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5514-3_0_4_load_51 | 41 | 0.0015032 | 0.00037674 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5514-3_0_4_load_40 | 44 | 0.004053 | 0.0010158 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5514-3_0_4_load_46 | 45 | 0.0055408 | 0.0013887 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5514-3_0_4_load_42 | 47 | 0.0036862 | 0.00092385 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5514-3_0_4_load_43 | 48 | 0.0036871 | 0.00092407 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5514-3_0_4_load_95 | 49 | 0.00084215 | 0.00021106 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5514-3_0_4_load_96 | 50 | 0.0020538 | 0.00051473 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5514-3_0_4_load_97 | 51 | 0.0023227 | 0.00058213 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5514-3_0_4_load_98 | 52 | 0.00065566 | 0.00016432 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5514-3_0_4_load_99 | 53 | 0.0043966 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5514-3_0_4_load_84 | 54 | 0.0013049 | 0.00032704 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5514-3_0_4_load_44 | 55 | 0.007807 | 0.0019566 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5514-3_0_4_load_47 | 56 | 0.0080433 | 0.0020159 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5514-3_0_4_load_48 | 57 | 0.0057907 | 0.0014513 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5514-3_0_4_load_94 | 59 | 0.00041753 | 0.00010464 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5514-3_0_4_load_86 | 60 | 0.00023828 | 5.9719e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5514-3_0_4_load_87 | 61 | 0.0017436 | 0.00043698 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5514-3_0_4_load_88 | 62 | 0.00023088 | 5.7865e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5514-3_0_4_load_90 | 63 | 0.00030337 | 7.6031e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5514-3_0_4_load_91 | 64 | 0.00028346 | 7.1042e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5514-3_0_4_load_93 | 66 | 0.0024216 | 0.00060691 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5514-3_0_4_load_52 | 67 | 0.0053479 | 0.0013403 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5514-3_0_4_load_53 | 68 | 0.005014 | 0.0012566 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5514-3_0_4_load_54 | 69 | 0.0035587 | 0.00089191 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5514-3_0_4_load_55 | 71 | 0.0011573 | 0.00029005 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5514-3_0_4_load_56 | 72 | 0.0052197 | 0.0013082 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5514-3_0_4_load_58 | 74 | 0.0028875 | 0.00072367 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5514-3_0_4_load_59 | 75 | 0.004067 | 0.0010193 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5514-3_0_4_load_64 | 77 | 0.0026056 | 0.00065302 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5514-3_0_4_load_63 | 78 | 0.0087996 | 0.0022054 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5514-3_0_4_load_61 | 79 | 0.0018414 | 0.0004615 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5514-3_0_4_load_65 | 80 | 0.002707 | 0.00067844 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5514-3_0_4_load_60 | 81 | 0.0078219 | 0.0019604 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5514-3_0_4_load_71 | 82 | 0.0024135 | 0.00060488 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5514-3_0_4_load_69 | 83 | 0.0027909 | 0.00069947 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5514-3_0_4_load_82 | 84 | 0.0022245 | 0.00055752 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5514-3_0_4_load_81 | 85 | 0.0022554 | 0.00056527 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5514-3_0_4_load_72 | 86 | 0.0020532 | 0.00051457 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5514-3_0_4_load_73 | 87 | 0.0035878 | 0.00089919 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5514-3_0_4_load_75 | 88 | 0.0024778 | 0.00062099 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5514-3_0_4_load_76 | 89 | 0.0016945 | 0.00042469 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5514-3_0_4_load_78 | 91 | 0.0027745 | 0.00069535 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5514-3_0_4_load_79 | 92 | 0.00086242 | 0.00021614 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5514-3_0_4_load_80 | 93 | 0.002312 | 0.00057944 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5514-3_0_4_load_83 | 94 | 0.0029235 | 0.00073271 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5514-3_0_4_line_0 |  | 0 | 1 | 0.0055765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5514-3_0_4_line_1 |  | 0 | 2 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5514-3_0_4_line_2 |  | 2 | 3 | 0.019885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5514-3_0_4_line_3 |  | 2 | 4 | 0.014858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5514-3_0_4_line_4 |  | 3 | 5 | 0.015772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5514-3_0_4_line_5 |  | 4 | 6 | 0.031353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5514-3_0_4_line_6 |  | 5 | 7 | 0.0082577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5514-3_0_4_line_7 |  | 6 | 8 | 0.0082473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5514-3_0_4_line_8 |  | 7 | 9 | 0.020266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5514-3_0_4_line_9 |  | 8 | 13 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5514-3_0_4_line_10 |  | 9 | 10 | 0.0091939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5514-3_0_4_line_11 |  | 10 | 11 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5514-3_0_4_line_12 |  | 11 | 12 | 0.024205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5514-3_0_4_line_13 |  | 13 | 14 | 0.028706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5514-3_0_4_line_14 |  | 14 | 15 | 0.0072448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5514-3_0_4_line_15 |  | 14 | 16 | 0.01913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5514-3_0_4_line_16 |  | 15 | 17 | 0.037576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5514-3_0_4_line_17 |  | 16 | 18 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5514-3_0_4_line_18 |  | 17 | 22 | 0.0037256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5514-3_0_4_line_19 |  | 18 | 19 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5514-3_0_4_line_20 |  | 19 | 20 | 0.0091426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5514-3_0_4_line_21 |  | 20 | 21 | 0.0016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5514-3_0_4_line_22 |  | 21 | 23 | 0.0087584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5514-3_0_4_line_23 |  | 22 | 24 | 0.024927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5514-3_0_4_line_24 |  | 24 | 25 | 0.016006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5514-3_0_4_line_25 |  | 24 | 26 | 0.022963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5514-3_0_4_line_26 |  | 25 | 27 | 0.0019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5514-3_0_4_line_27 |  | 26 | 28 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5514-3_0_4_line_28 |  | 27 | 32 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5514-3_0_4_line_29 |  | 28 | 29 | 0.035834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5514-3_0_4_line_30 |  | 29 | 30 | 0.057446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5514-3_0_4_line_31 |  | 31 | 32 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5514-3_0_4_line_32 |  | 31 | 33 | 0.025653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5514-3_0_4_line_33 |  | 32 | 34 | 0.043121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5514-3_0_4_line_34 |  | 33 | 35 | 0.036242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5514-3_0_4_line_35 |  | 33 | 36 | 0.022605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5514-3_0_4_line_36 |  | 34 | 37 | 0.010855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5514-3_0_4_line_37 |  | 35 | 39 | 0.0085915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5514-3_0_4_line_38 |  | 36 | 40 | 0.034445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5514-3_0_4_line_39 |  | 37 | 38 | 0.024387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5514-3_0_4_line_40 |  | 38 | 43 | 0.046623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5514-3_0_4_line_41 |  | 39 | 44 | 0.041254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5514-3_0_4_line_42 |  | 40 | 45 | 0.009139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5514-3_0_4_line_43 |  | 41 | 42 | 0.031826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5514-3_0_4_line_44 |  | 42 | 70 | 0.024347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5514-3_0_4_line_45 |  | 42 | 68 | 0.031713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5514-3_0_4_line_46 |  | 43 | 67 | 0.0044271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5514-3_0_4_line_47 |  | 43 | 68 | 0.012374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5514-3_0_4_line_48 |  | 44 | 46 | 0.010805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5514-3_0_4_line_49 |  | 45 | 56 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5514-3_0_4_line_50 |  | 46 | 47 | 0.040698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5514-3_0_4_line_51 |  | 47 | 48 | 0.0057169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5514-3_0_4_line_52 |  | 48 | 55 | 0.028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5514-3_0_4_line_53 |  | 49 | 50 | 0.043795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5514-3_0_4_line_54 |  | 50 | 51 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5514-3_0_4_line_55 |  | 51 | 52 | 0.032051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5514-3_0_4_line_56 |  | 52 | 53 | 0.026645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5514-3_0_4_line_57 |  | 53 | 54 | 0.42906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5514-3_0_4_line_58 |  | 54 | 58 | 0.03119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5514-3_0_4_line_59 |  | 54 | 59 | 0.11471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5514-3_0_4_line_60 |  | 56 | 57 | 0.019664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5514-3_0_4_line_61 |  | 57 | 58 | 0.40197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5514-3_0_4_line_62 |  | 59 | 66 | 0.010036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5514-3_0_4_line_63 |  | 60 | 61 | 0.012443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5514-3_0_4_line_64 |  | 60 | 62 | 0.015969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5514-3_0_4_line_65 |  | 62 | 63 | 0.0027257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5514-3_0_4_line_66 |  | 63 | 64 | 0.0053003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5514-3_0_4_line_67 |  | 64 | 65 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5514-3_0_4_line_68 |  | 65 | 66 | 0.0094473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5514-3_0_4_line_69 |  | 67 | 69 | 0.012593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5514-3_0_4_line_70 |  | 69 | 71 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5514-3_0_4_line_71 |  | 70 | 82 | 0.029043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5514-3_0_4_line_72 |  | 70 | 83 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5514-3_0_4_line_73 |  | 71 | 72 | 0.0038836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5514-3_0_4_line_74 |  | 72 | 73 | 0.017271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5514-3_0_4_line_75 |  | 73 | 74 | 0.021836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5514-3_0_4_line_76 |  | 73 | 75 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5514-3_0_4_line_77 |  | 74 | 76 | 0.014248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5514-3_0_4_line_78 |  | 75 | 77 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5514-3_0_4_line_79 |  | 76 | 78 | 0.040756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5514-3_0_4_line_80 |  | 76 | 79 | 0.02596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5514-3_0_4_line_81 |  | 77 | 80 | 0.016817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5514-3_0_4_line_82 |  | 79 | 81 | 0.050897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5514-3_0_4_line_83 |  | 82 | 84 | 0.0028297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5514-3_0_4_line_84 |  | 84 | 85 | 0.027186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5514-3_0_4_line_85 |  | 85 | 94 | 0.011095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5514-3_0_4_line_86 |  | 86 | 87 | 0.026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5514-3_0_4_line_87 |  | 87 | 88 | 0.03165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5514-3_0_4_line_88 |  | 88 | 89 | 0.027847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5514-3_0_4_line_89 |  | 89 | 90 | 0.027989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5514-3_0_4_line_90 |  | 90 | 91 | 0.0054166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5514-3_0_4_line_91 |  | 91 | 92 | 0.028046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5514-3_0_4_line_92 |  | 92 | 93 | 0.0060501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5514-3_0_4_line_93 |  | 93 | 94 | 0.016109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5514-3_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 95 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2540452.4633 | 1163154.8198 | 2540447.5214 | 1163157.4034
1 | 2540467.7087 | 1163146.8495 | 2540452.4633 | 1163154.8198
2 | 2540467.7087 | 1163146.8495 | 2540483.8706 | 1163155.9719 | 2540485.0257 | 1163156.6238
3 | 2540467.7087 | 1163146.8495 | 2540477.6413 | 1163135.8001
4 | 2540485.0257 | 1163156.6238 | 2540498.7617 | 1163164.3757
5 | 2540477.6413 | 1163135.8001 | 2540498.6014 | 1163112.4834
6 | 2540505.9532 | 1163168.4343 | 2540498.7617 | 1163164.3757
7 | 2540498.6014 | 1163112.4834 | 2540498.8264 | 1163112.2331 | 2540505.7629 | 1163108.4296
8 | 2540505.9532 | 1163168.4343 | 2540523.6021 | 1163178.3946
9 | 2540518.3791 | 1163101.5118 | 2540505.7629 | 1163108.4296
10 | 2540523.6021 | 1163178.3946 | 2540531.6089 | 1163182.9133
11 | 2540539.7992 | 1163189.3196 | 2540531.6089 | 1163182.9133 | 2540531.6089 | 1163182.9133
12 | 2540539.7992 | 1163189.3196 | 2540558.8644 | 1163204.2321
13 | 2540543.5498 | 1163087.7099 | 2540518.3791 | 1163101.5118
14 | 2540543.5498 | 1163087.7099 | 2540550.0107 | 1163084.432
15 | 2540543.5498 | 1163087.7099 | 2540557.0624 | 1163101.2514
16 | 2540580.5682 | 1163063.2855 | 2540568.2684 | 1163075.1693 | 2540550.0107 | 1163084.432
17 | 2540565.4088 | 1163109.6156 | 2540557.0624 | 1163101.2514
18 | 2540580.5682 | 1163063.2855 | 2540580.5682 | 1163063.2855 | 2540582.6944 | 1163060.2262
19 | 2540565.4088 | 1163109.6156 | 2540581.4016 | 1163125.6427
20 | 2540587.8595 | 1163132.1144 | 2540581.4016 | 1163125.6427
21 | 2540587.8595 | 1163132.1144 | 2540589.0248 | 1163133.2823
22 | 2540595.2113 | 1163139.482 | 2540589.0248 | 1163133.2823
23 | 2540594.3249 | 1163038.3802 | 2540589.8884 | 1163049.8748 | 2540582.6944 | 1163060.2262
24 | 2540594.3249 | 1163038.3802 | 2540598.7242 | 1163026.9972 | 2540599.5201 | 1163023.2791
25 | 2540594.3249 | 1163038.3802 | 2540615.0171 | 1163048.336
26 | 2540599.5201 | 1163023.2791 | 2540599.9202 | 1163021.4099
27 | 2540625.585 | 1163057.0346 | 2540622.127 | 1163051.7568 | 2540615.0171 | 1163048.336
28 | 2540602.7951 | 1163007.9799 | 2540599.9202 | 1163021.4099
29 | 2540645.2237 | 1163087.0082 | 2540625.585 | 1163057.0346
30 | 2540661.5495 | 1163132.4663 | 2540670.521 | 1163125.6184 | 2540645.2237 | 1163087.0082
31 | 2540602.7951 | 1163007.9799 | 2540625.4354 | 1162995.0591
32 | 2540647.7156 | 1162982.3437 | 2540625.4354 | 1162995.0591
33 | 2540602.7951 | 1163007.9799 | 2540604.2166 | 1162964.882
34 | 2540647.7156 | 1162982.3437 | 2540676.7701 | 1163004.0083
35 | 2540647.7156 | 1162982.3437 | 2540666.6671 | 1162970.0227
36 | 2540604.5744 | 1162954.0329 | 2540604.2166 | 1162964.882
37 | 2540683.6576 | 1163009.1441 | 2540676.7701 | 1163004.0083
38 | 2540666.6671 | 1162970.0227 | 2540695.5455 | 1162951.2479
39 | 2540604.5744 | 1162954.0329 | 2540610.362 | 1162930.3423
40 | 2540621.4266 | 1162885.0509 | 2540610.362 | 1162930.3423
41 | 2540683.6576 | 1163009.1441 | 2540716.7295 | 1163033.8042
42 | 2540695.5455 | 1162951.2479 | 2540703.2076 | 1162946.2666
43 | 2540578.4302 | 1162875.3045 | 2540588.2104 | 1162900.5658 | 2540589.597 | 1162905.0963
44 | 2540558.8963 | 1162860.7011 | 2540578.4302 | 1162875.3045
45 | 2540578.4302 | 1162875.3045 | 2540609.3589 | 1162882.3154
46 | 2540621.4266 | 1162885.0509 | 2540622.4249 | 1162880.7378
47 | 2540621.4266 | 1162885.0509 | 2540609.3589 | 1162882.3154
48 | 2540725.3915 | 1163040.2631 | 2540716.7295 | 1163033.8042
49 | 2540718.0535 | 1162936.6147 | 2540703.2076 | 1162946.2666
50 | 2540725.3915 | 1163040.2631 | 2540723.4195 | 1163051.5665 | 2540717.5352 | 1163059.2065 | 2540701.9878 | 1163071.1086
51 | 2540697.4483 | 1163074.5837 | 2540701.9878 | 1163071.1086
52 | 2540674.7081 | 1163091.992 | 2540697.4483 | 1163074.5837
53 | 2541527.1431 | 1163270.2636 | 2541569.7085 | 1163259.9579
54 | 2541512.9827 | 1163256.6795 | 2541517.7563 | 1163257.4627 | 2541527.1431 | 1163270.2636
55 | 2541512.9827 | 1163256.6795 | 2541502.9178 | 1163255.0282 | 2541481.194 | 1163255.0845 | 2541481.0675 | 1163255.098
56 | 2541481.0675 | 1163255.098 | 2541454.5733 | 1163257.931
57 | 2541157.1021 | 1162948.7265 | 2541454.5733 | 1163257.931
58 | 2541136.512 | 1162925.2987 | 2541157.1021 | 1162948.7265
59 | 2541236.49 | 1162865.9209 | 2541157.1021 | 1162948.7265
60 | 2540718.0535 | 1162936.6147 | 2540734.5396 | 1162925.8966
61 | 2540734.5396 | 1162925.8966 | 2541136.512 | 1162925.2987
62 | 2541245.7376 | 1162862.0217 | 2541236.49 | 1162865.9209
63 | 2541289.8664 | 1162843.4159 | 2541301.332 | 1162838.5817
64 | 2541289.8664 | 1162843.4159 | 2541275.1516 | 1162849.62
65 | 2541275.1516 | 1162849.62 | 2541272.64 | 1162850.6789
66 | 2541267.756 | 1162852.7381 | 2541272.64 | 1162850.6789
67 | 2541254.4428 | 1162858.3512 | 2541267.756 | 1162852.7381
68 | 2541254.4428 | 1162858.3512 | 2541245.7376 | 1162862.0217
69 | 2540622.4249 | 1162880.7378 | 2540625.2645 | 1162868.469
70 | 2540625.2645 | 1162868.469 | 2540629.9537 | 1162848.2092
71 | 2540558.8963 | 1162860.7011 | 2540560.0006 | 1162889.7232
72 | 2540558.8963 | 1162860.7011 | 2540556.7308 | 1162850.607
73 | 2540630.8294 | 1162844.4257 | 2540629.9537 | 1162848.2092
74 | 2540634.7239 | 1162827.5992 | 2540630.8294 | 1162844.4257
75 | 2540634.7239 | 1162827.5992 | 2540638.5399 | 1162813.7651 | 2540639.535 | 1162806.3467
76 | 2540634.7239 | 1162827.5992 | 2540616.4601 | 1162821.2308
77 | 2540641.4294 | 1162792.2248 | 2540639.535 | 1162806.3467
78 | 2540602.5191 | 1162816.3696 | 2540616.4601 | 1162821.2308
79 | 2540641.4294 | 1162792.2248 | 2540672.7755 | 1162818.3735
80 | 2540641.4294 | 1162792.2248 | 2540639.6212 | 1162775.9449 | 2540638.1583 | 1162766.4771
81 | 2540586.6398 | 1162810.8326 | 2540602.5191 | 1162816.3696
82 | 2540630.6011 | 1162716.1551 | 2540630.7076 | 1162718.2573 | 2540638.1583 | 1162766.4771
83 | 2540560.1082 | 1162892.5509 | 2540560.0006 | 1162889.7232
84 | 2540553.1531 | 1162918.7316 | 2540553.7149 | 1162917.6278 | 2540557.5709 | 1162906.3057 | 2540560.1082 | 1162892.5509 | 2540560.1082 | 1162892.5509
85 | 2540553.1531 | 1162918.7316 | 2540548.1197 | 1162928.6197
86 | 2540447.0803 | 1163065.0398 | 2540463.3659 | 1163043.8162
87 | 2540463.3659 | 1163043.8162 | 2540482.6334 | 1163018.7065
88 | 2540482.6334 | 1163018.7065 | 2540499.5858 | 1162996.6138
89 | 2540515.9931 | 1162973.9433 | 2540504.4649 | 1162990.2553 | 2540499.5858 | 1162996.6138
90 | 2540515.9931 | 1162973.9433 | 2540519.3169 | 1162969.6664
91 | 2540519.3169 | 1162969.6664 | 2540527.6948 | 1162958.8858 | 2540535.946 | 1162947.0934
92 | 2540539.4146 | 1162942.1363 | 2540535.946 | 1162947.0934
93 | 2540548.1197 | 1162928.6197 | 2540546.1104 | 1162932.5668 | 2540539.4146 | 1162942.1363

## bus_geodata
| x | y | coords
0 | 2540452.4633 | 1163154.8198
1 | 2540447.5214 | 1163157.4034
2 | 2540467.7087 | 1163146.8495
3 | 2540485.0257 | 1163156.6238
4 | 2540477.6413 | 1163135.8001
5 | 2540498.7617 | 1163164.3757
6 | 2540498.6014 | 1163112.4834
7 | 2540505.9532 | 1163168.4343
8 | 2540505.7629 | 1163108.4296
9 | 2540523.6021 | 1163178.3946
10 | 2540531.6089 | 1163182.9133
11 | 2540539.7992 | 1163189.3196
12 | 2540558.8644 | 1163204.2321
13 | 2540518.3791 | 1163101.5118
14 | 2540543.5498 | 1163087.7099
15 | 2540550.0107 | 1163084.432
16 | 2540557.0624 | 1163101.2514
17 | 2540580.5682 | 1163063.2855
18 | 2540565.4088 | 1163109.6156
19 | 2540581.4016 | 1163125.6427
20 | 2540587.8595 | 1163132.1144
21 | 2540589.0248 | 1163133.2823
22 | 2540582.6944 | 1163060.2262
23 | 2540595.2113 | 1163139.482
24 | 2540594.3249 | 1163038.3802
25 | 2540599.5201 | 1163023.2791
26 | 2540615.0171 | 1163048.336
27 | 2540599.9202 | 1163021.4099
28 | 2540625.585 | 1163057.0346
29 | 2540645.2237 | 1163087.0082
30 | 2540661.5495 | 1163132.4663
31 | 2540625.4354 | 1162995.0591
32 | 2540602.7951 | 1163007.9799
33 | 2540647.7156 | 1162982.3437
34 | 2540604.2166 | 1162964.882
35 | 2540676.7701 | 1163004.0083
36 | 2540666.6671 | 1162970.0227
37 | 2540604.5744 | 1162954.0329
38 | 2540610.362 | 1162930.3423
39 | 2540683.6576 | 1163009.1441
40 | 2540695.5455 | 1162951.2479
41 | 2540589.597 | 1162905.0963
42 | 2540578.4302 | 1162875.3045
43 | 2540621.4266 | 1162885.0509
44 | 2540716.7295 | 1163033.8042
45 | 2540703.2076 | 1162946.2666
46 | 2540725.3915 | 1163040.2631
47 | 2540701.9878 | 1163071.1086
48 | 2540697.4483 | 1163074.5837
49 | 2541569.7085 | 1163259.9579
50 | 2541527.1431 | 1163270.2636
51 | 2541512.9827 | 1163256.6795
52 | 2541481.0675 | 1163255.098
53 | 2541454.5733 | 1163257.931
54 | 2541157.1021 | 1162948.7265
55 | 2540674.7081 | 1163091.992
56 | 2540718.0535 | 1162936.6147
57 | 2540734.5396 | 1162925.8966
58 | 2541136.512 | 1162925.2986
59 | 2541236.49 | 1162865.9209
60 | 2541289.8664 | 1162843.4159
61 | 2541301.332 | 1162838.5817
62 | 2541275.1516 | 1162849.62
63 | 2541272.64 | 1162850.6789
64 | 2541267.756 | 1162852.7381
65 | 2541254.4428 | 1162858.3512
66 | 2541245.7376 | 1162862.0217
67 | 2540622.4249 | 1162880.7378
68 | 2540609.3589 | 1162882.3154
69 | 2540625.2645 | 1162868.469
70 | 2540558.8963 | 1162860.7011
71 | 2540629.9537 | 1162848.2092
72 | 2540630.8294 | 1162844.4257
73 | 2540634.7239 | 1162827.5992
74 | 2540639.535 | 1162806.3467
75 | 2540616.4601 | 1162821.2308
76 | 2540641.4294 | 1162792.2248
77 | 2540602.5191 | 1162816.3696
78 | 2540672.7755 | 1162818.3735
79 | 2540638.1583 | 1162766.4771
80 | 2540586.6398 | 1162810.8326
81 | 2540630.6011 | 1162716.1551
82 | 2540560.0006 | 1162889.7232
83 | 2540556.7308 | 1162850.607
84 | 2540560.1082 | 1162892.5509
85 | 2540553.1531 | 1162918.7316
86 | 2540447.0803 | 1163065.0398
87 | 2540463.3659 | 1163043.8162
88 | 2540482.6334 | 1163018.7065
89 | 2540499.5858 | 1162996.6138
90 | 2540515.9931 | 1162973.9433
91 | 2540519.3169 | 1162969.6664
92 | 2540535.946 | 1162947.0934
93 | 2540539.4146 | 1162942.1363
94 | 2540548.1197 | 1162928.6197
95 | 2540594.3249 | 1163038.3802

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1