## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5518-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5518-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5518-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5518-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5518-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5518-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5518-4_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5518-4_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5518-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5518-4_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5518-4_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5518-4_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5518-4_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_5518-4_0_5_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_5518-4_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5518-4_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5518-4_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5518-4_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5518-4_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5518-4_0_5_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_5518-4_0_5_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_5518-4_0_5_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5518-4_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5518-4_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5518-4_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5518-4_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5518-4_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5518-4_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5518-4_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_5518-4_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5518-4_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5518-4_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5518-4_0_5_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_5518-4_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_5518-4_0_5_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_5518-4_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_5518-4_0_5_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5518-4_0_5_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_5518-4_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5518-4_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5518-4_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5518-4_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5518-4_0_5_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_5518-4_0_5_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_5518-4_0_5_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_5518-4_0_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5518-4_0_5_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_5518-4_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5518-4_0_5_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_5518-4_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5518-4_0_5_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_5518-4_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5518-4_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5518-4_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5518-4_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5518-4_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_5518-4_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5518-4_0_5_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_5518-4_0_5_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5518-4_0_5_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_5518-4_0_5_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5518-4_0_5_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_5518-4_0_5_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_5518-4_0_5_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5518-4_0_5_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_5518-4_0_5_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5518-4_0_5_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_5518-4_0_5_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_5518-4_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5518-4_0_5_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_5518-4_0_5_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_5518-4_0_5_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_5518-4_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5518-4_0_5_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5518-4_0_5_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_5518-4_0_5_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5518-4_0_5_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5518-4_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5518-4_0_5_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_5518-4_0_5_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5518-4_0_5_node_91 | 0.4 | n |  | TRUE
81 | bus_LV_5518-4_0_5_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_5518-4_0_5_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5518-4_0_5_node_97 | 0.4 | n |  | TRUE
84 | bus_LV_5518-4_0_5_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_5518-4_0_5_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_5518-4_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_5518-4_0_5_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_5518-4_0_5_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_5518-4_0_5_node_84 | 0.4 | n |  | TRUE
90 | bus_MV_448_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5518-4_0_5_load_0 | 0 | 0.0011407 | 0.0002859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5518-4_0_5_load_1 | 1 | 0.0020464 | 0.00051288 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5518-4_0_5_load_2 | 2 | 0.0015582 | 0.00039052 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5518-4_0_5_load_3 | 3 | 0.00088382 | 0.00022151 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5518-4_0_5_load_4 | 4 | 0.0011749 | 0.00029445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5518-4_0_5_load_5 | 5 | 0.0014322 | 0.00035893 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5518-4_0_5_load_6 | 6 | 0.0014049 | 0.0003521 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5518-4_0_5_load_8 | 7 | 0.0035016 | 0.00087759 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5518-4_0_5_load_7 | 8 | 0.0022479 | 0.00056338 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5518-4_0_5_load_10 | 10 | 0.0058 | 0.0014536 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5518-4_0_5_load_11 | 11 | 0.0065844 | 0.0016502 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5518-4_0_5_load_31 | 12 | 0.0022844 | 0.00057253 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5518-4_0_5_load_32 | 13 | 0.0031127 | 0.00078013 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5518-4_0_5_load_12 | 14 | 0.0018684 | 0.00046827 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5518-4_0_5_load_13 | 15 | 0.00032261 | 8.0854e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5518-4_0_5_load_14 | 16 | 0.0013613 | 0.00034117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5518-4_0_5_load_15 | 17 | 0.0007446 | 0.00018661 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5518-4_0_5_load_16 | 18 | 0.0015285 | 0.00038309 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5518-4_0_5_load_21 | 19 | 0.00068912 | 0.00017271 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5518-4_0_5_load_23 | 20 | 0.0012933 | 0.00032413 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5518-4_0_5_load_22 | 21 | 0.0010327 | 0.00025882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5518-4_0_5_load_17 | 23 | 0.0008174 | 0.00020486 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5518-4_0_5_load_20 | 26 | 0.0022036 | 0.00055228 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5518-4_0_5_load_25 | 27 | 0.00056845 | 0.00014247 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5518-4_0_5_load_30 | 28 | 0.001159 | 0.00029046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5518-4_0_5_load_26 | 29 | 0.00088792 | 0.00022253 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5518-4_0_5_load_58 | 32 | 0.0023533 | 0.00058978 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5518-4_0_5_load_39 | 33 | 0.024076 | 0.006034 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5518-4_0_5_load_59 | 36 | 0.0066025 | 0.0016547 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5518-4_0_5_load_49 | 37 | 0.0038126 | 0.00095552 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5518-4_0_5_load_35 | 38 | 0.0035475 | 0.00088909 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5518-4_0_5_load_34 | 39 | 0.0078757 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5518-4_0_5_load_36 | 40 | 0.013261 | 0.0033235 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5518-4_0_5_load_38 | 41 | 0.001367 | 0.00034261 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5518-4_0_5_load_61 | 42 | 0.0035289 | 0.00088443 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5518-4_0_5_load_48 | 43 | 0.0056466 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5518-4_0_5_load_62 | 44 | 0.0014082 | 0.00035293 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5518-4_0_5_load_41 | 45 | 0.024072 | 0.006033 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5518-4_0_5_load_42 | 47 | 0.0047415 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5518-4_0_5_load_46 | 49 | 0.0029273 | 0.00073366 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5518-4_0_5_load_96 | 50 | 0.0040458 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5518-4_0_5_load_43 | 51 | 0.058392 | 0.014634 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5518-4_0_5_load_44 | 52 | 0.013898 | 0.0034832 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5518-4_0_5_load_45 | 53 | 0.016417 | 0.0041146 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5518-4_0_5_load_47 | 54 | 0.0012209 | 0.000306 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5518-4_0_5_load_52 | 55 | 0.0056899 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5518-4_0_5_load_63 | 59 | 0.0063053 | 0.0015803 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5518-4_0_5_load_65 | 60 | 0.0021059 | 0.00052778 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5518-4_0_5_load_92 | 62 | 0.01201 | 0.0030099 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5518-4_0_5_load_88 | 64 | 0.010838 | 0.0027162 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5518-4_0_5_load_64 | 65 | 0.0034359 | 0.00086112 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5518-4_0_5_load_67 | 67 | 0.023763 | 0.0059556 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5518-4_0_5_load_93 | 69 | 0.015655 | 0.0039235 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5518-4_0_5_load_87 | 70 | 0.0071686 | 0.0017966 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5518-4_0_5_load_70 | 72 | 0.020858 | 0.0052275 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5518-4_0_5_load_71 | 74 | 0.0075194 | 0.0018845 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5518-4_0_5_load_74 | 76 | 0.0063803 | 0.0015991 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5518-4_0_5_load_75 | 77 | 0.0067462 | 0.0016908 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5518-4_0_5_load_91 | 80 | 0.0048009 | 0.0012032 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5518-4_0_5_load_95 | 81 | 0.0028564 | 0.00071589 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5518-4_0_5_load_97 | 83 | 0.0089845 | 0.0022517 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5518-4_0_5_load_79 | 85 | 0.009375 | 0.0023496 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5518-4_0_5_load_76 | 86 | 0.0063195 | 0.0015838 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5518-4_0_5_load_85 | 87 | 0.037901 | 0.0094989 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5518-4_0_5_load_89 | 88 | 0.0068 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5518-4_0_5_load_84 | 89 | 0.016417 | 0.0041146 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5518-4_0_5_line_0 |  | 0 | 1 | 0.015346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5518-4_0_5_line_1 |  | 0 | 2 | 0.015382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5518-4_0_5_line_2 |  | 1 | 3 | 0.0097189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5518-4_0_5_line_3 |  | 2 | 4 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5518-4_0_5_line_4 |  | 4 | 5 | 0.012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5518-4_0_5_line_5 |  | 5 | 6 | 0.012626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5518-4_0_5_line_6 |  | 6 | 7 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5518-4_0_5_line_7 |  | 7 | 8 | 0.0043611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5518-4_0_5_line_8 |  | 8 | 9 | 0.035725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5518-4_0_5_line_9 |  | 9 | 10 | 0.0328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5518-4_0_5_line_10 |  | 9 | 11 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5518-4_0_5_line_11 |  | 10 | 12 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5518-4_0_5_line_12 |  | 12 | 13 | 0.0032476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5518-4_0_5_line_13 |  | 13 | 31 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5518-4_0_5_line_14 |  | 14 | 15 | 0.024023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5518-4_0_5_line_15 |  | 14 | 16 | 0.025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5518-4_0_5_line_16 |  | 15 | 17 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5518-4_0_5_line_17 |  | 16 | 18 | 0.02035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5518-4_0_5_line_18 |  | 17 | 19 | 0.029204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5518-4_0_5_line_19 |  | 18 | 20 | 0.017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5518-4_0_5_line_20 |  | 19 | 21 | 0.0049796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5518-4_0_5_line_21 |  | 20 | 22 | 0.056551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5518-4_0_5_line_22 |  | 21 | 29 | 0.0041853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5518-4_0_5_line_23 |  | 22 | 30 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5518-4_0_5_line_24 |  | 23 | 24 | 0.046097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5518-4_0_5_line_25 |  | 24 | 25 | 0.013684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5518-4_0_5_line_26 |  | 24 | 26 | 0.02808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5518-4_0_5_line_27 |  | 25 | 27 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5518-4_0_5_line_28 |  | 26 | 28 | 0.038817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5518-4_0_5_line_29 |  | 27 | 29 | 0.030397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5518-4_0_5_line_30 |  | 30 | 31 | 0.016489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5518-4_0_5_line_31 |  | 30 | 32 | 0.0093616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5518-4_0_5_line_32 |  | 31 | 35 | 0.013381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5518-4_0_5_line_33 |  | 32 | 36 | 0.025691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5518-4_0_5_line_34 |  | 33 | 34 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5518-4_0_5_line_35 |  | 34 | 45 | 0.022879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5518-4_0_5_line_36 |  | 35 | 37 | 0.021875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5518-4_0_5_line_37 |  | 35 | 38 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5518-4_0_5_line_38 |  | 36 | 46 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5518-4_0_5_line_39 |  | 37 | 43 | 0.0030702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5518-4_0_5_line_40 |  | 38 | 39 | 0.030473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5518-4_0_5_line_41 |  | 39 | 40 | 0.0018409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5518-4_0_5_line_42 |  | 40 | 41 | 0.015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5518-4_0_5_line_43 |  | 41 | 42 | 0.0059641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5518-4_0_5_line_44 |  | 42 | 44 | 0.0079424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5518-4_0_5_line_45 |  | 44 | 59 | 0.00099546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5518-4_0_5_line_46 |  | 45 | 46 | 0.025123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5518-4_0_5_line_47 |  | 46 | 49 | 0.03432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5518-4_0_5_line_48 |  | 47 | 48 | 0.00365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5518-4_0_5_line_49 |  | 48 | 50 | 0.035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5518-4_0_5_line_50 |  | 49 | 52 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5518-4_0_5_line_51 |  | 50 | 54 | 0.0036048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5518-4_0_5_line_52 |  | 51 | 52 | 0.027616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5518-4_0_5_line_53 |  | 51 | 53 | 0.027833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5518-4_0_5_line_54 |  | 53 | 54 | 0.0080085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5518-4_0_5_line_55 |  | 55 | 56 | 0.024101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5518-4_0_5_line_56 |  | 56 | 57 | 0.009593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5518-4_0_5_line_57 |  | 56 | 58 | 0.00613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5518-4_0_5_line_58 |  | 57 | 59 | 0.030472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5518-4_0_5_line_59 |  | 58 | 60 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5518-4_0_5_line_60 |  | 58 | 61 | 0.010466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5518-4_0_5_line_61 |  | 60 | 65 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5518-4_0_5_line_62 |  | 61 | 64 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5518-4_0_5_line_63 |  | 62 | 63 | 0.031533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5518-4_0_5_line_64 |  | 63 | 70 | 0.0016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5518-4_0_5_line_65 |  | 63 | 68 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5518-4_0_5_line_66 |  | 64 | 88 | 0.027386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5518-4_0_5_line_67 |  | 65 | 66 | 0.012557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5518-4_0_5_line_68 |  | 66 | 67 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5518-4_0_5_line_69 |  | 67 | 68 | 0.031701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5518-4_0_5_line_70 |  | 68 | 69 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5518-4_0_5_line_71 |  | 70 | 71 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5518-4_0_5_line_72 |  | 71 | 89 | 0.017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5518-4_0_5_line_73 |  | 72 | 73 | 0.028798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5518-4_0_5_line_74 |  | 73 | 76 | 0.0066064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5518-4_0_5_line_75 |  | 73 | 77 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5518-4_0_5_line_76 |  | 74 | 75 | 0.039623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5518-4_0_5_line_77 |  | 75 | 78 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5518-4_0_5_line_78 |  | 75 | 79 | 0.025967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5518-4_0_5_line_79 |  | 76 | 80 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5518-4_0_5_line_80 |  | 77 | 81 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5518-4_0_5_line_81 |  | 78 | 86 | 0.018379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5518-4_0_5_line_82 |  | 79 | 87 | 0.027035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5518-4_0_5_line_83 |  | 80 | 88 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5518-4_0_5_line_84 |  | 82 | 83 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5518-4_0_5_line_85 |  | 82 | 84 | 0.024138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5518-4_0_5_line_86 |  | 84 | 85 | 0.030782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5518-4_0_5_line_87 |  | 84 | 86 | 0.023402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5518-4_0_5_line_88 |  | 87 | 89 | 0.02404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5518-4_0_5_trafo_89 | 0.63 MVA 20/0.4 kV | 90 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2538862.0131 | 1165727.9118 | 2538867.5056 | 1165727.9496 | 2538877.3185 | 1165728.8469
1 | 2538862.0131 | 1165727.9118 | 2538858.393 | 1165727.8869 | 2538846.6809 | 1165728.9624
2 | 2538877.3185 | 1165728.8469 | 2538879.2089 | 1165729.0198 | 2538886.9349 | 1165730.2329
3 | 2538835.8118 | 1165730.7721 | 2538846.6809 | 1165728.9624 | 2538846.6809 | 1165728.9624
4 | 2538835.8118 | 1165730.7721 | 2538831.5303 | 1165731.4849 | 2538823.7365 | 1165733.5453
5 | 2538823.7365 | 1165733.5453 | 2538816.746 | 1165735.3934 | 2538811.6033 | 1165737.0249
6 | 2538811.6033 | 1165737.0249 | 2538790.7599 | 1165743.6375
7 | 2538786.6029 | 1165744.9563 | 2538790.7599 | 1165743.6375
8 | 2538752.5502 | 1165755.7596 | 2538786.6029 | 1165744.9563
9 | 2538752.5502 | 1165755.7596 | 2538744.2013 | 1165757.746 | 2538730.922 | 1165761.2946 | 2538720.9459 | 1165764.4812
10 | 2538757.9574 | 1165769.3786 | 2538754.4475 | 1165761.5879 | 2538752.5502 | 1165755.7596
11 | 2538709.6903 | 1165768.0764 | 2538720.9459 | 1165764.4812
12 | 2538709.6903 | 1165768.0764 | 2538706.5966 | 1165769.0646
13 | 2538685.2589 | 1165775.8803 | 2538706.5966 | 1165769.0646
14 | 2538812.4746 | 1165674.6044 | 2538790.2916 | 1165683.8244
15 | 2538766.6374 | 1165693.7509 | 2538769.7819 | 1165692.3489 | 2538790.2916 | 1165683.8244
16 | 2538812.4746 | 1165674.6044 | 2538825.351 | 1165669.2526
17 | 2538766.6374 | 1165693.7509 | 2538755.9243 | 1165698.5271 | 2538748.279 | 1165702.5088
18 | 2538852.4701 | 1165658.4174 | 2538827.4484 | 1165668.3808 | 2538825.351 | 1165669.2526
19 | 2538734.1011 | 1165712.5426 | 2538743.9053 | 1165704.7866 | 2538748.279 | 1165702.5088
20 | 2538852.4701 | 1165658.4174 | 2538857.0965 | 1165656.5752
21 | 2538691.6077 | 1165749.7789 | 2538699.9209 | 1165741.3115 | 2538709.2765 | 1165732.9335 | 2538718.062 | 1165725.7176 | 2538730.4229 | 1165715.4523 | 2538734.1011 | 1165712.5426
22 | 2538861.1242 | 1165655.4423 | 2538857.3051 | 1165656.4921 | 2538857.0965 | 1165656.5752
23 | 2538685.132 | 1165759.7283 | 2538687.3108 | 1165755.6482 | 2538689.6894 | 1165752.3777 | 2538691.6077 | 1165749.7789
24 | 2538905.9427 | 1165630.8603 | 2538925.4043 | 1165589.0725
25 | 2538904.7723 | 1165644.4908 | 2538905.9427 | 1165630.8603
26 | 2538905.9427 | 1165630.8603 | 2538902.9107 | 1165618.1064 | 2538896.0476 | 1165604.8016
27 | 2538904.7723 | 1165644.4908 | 2538890.4728 | 1165647.5421
28 | 2538896.0476 | 1165604.8016 | 2538878.2525 | 1165570.3038
29 | 2538890.4728 | 1165647.5421 | 2538887.7567 | 1165648.1217 | 2538861.1242 | 1165655.4423
30 | 2538685.132 | 1165759.7283 | 2538684.4126 | 1165762.0147 | 2538683.707 | 1165766.3909 | 2538683.9657 | 1165770.724 | 2538685.2589 | 1165775.8803
31 | 2538685.132 | 1165759.7283 | 2538679.7921 | 1165752.039
32 | 2538672.554 | 1165780.1903 | 2538685.2589 | 1165775.8803
33 | 2538679.7921 | 1165752.039 | 2538677.2284 | 1165748.3473 | 2538668.4484 | 1165733.6401 | 2538666.7104 | 1165730.6673 | 2538666.2421 | 1165730.2544
34 | 2538624.6539 | 1165685.4282 | 2538636.8834 | 1165675.1361
35 | 2538624.6539 | 1165685.4282 | 2538638.181 | 1165703.8801
36 | 2538672.554 | 1165780.1903 | 2538679.7219 | 1165800.8579
37 | 2538672.554 | 1165780.1903 | 2538665.6237 | 1165782.3735 | 2538662.062 | 1165783.5111
38 | 2538656.117 | 1165721.3261 | 2538666.2421 | 1165730.2544
39 | 2538680.7279 | 1165803.7586 | 2538679.7219 | 1165800.8579
40 | 2538633.0338 | 1165792.7828 | 2538662.062 | 1165783.5111
41 | 2538633.0338 | 1165792.7828 | 2538631.2802 | 1165793.3429
42 | 2538616.6912 | 1165798.0027 | 2538631.2802 | 1165793.3429
43 | 2538611.0098 | 1165799.8173 | 2538616.6912 | 1165798.0027
44 | 2538611.0098 | 1165799.8173 | 2538603.444 | 1165802.2339
45 | 2538603.444 | 1165802.2339 | 2538602.4957 | 1165802.5368
46 | 2538656.117 | 1165721.3261 | 2538641.5363 | 1165708.457 | 2538638.181 | 1165703.8801
47 | 2538656.117 | 1165721.3261 | 2538638.5743 | 1165723.5511 | 2538625.1207 | 1165728.7805 | 2538622.9312 | 1165729.0206
48 | 2538594.812 | 1165659.0635 | 2538598.4614 | 1165659.1267
49 | 2538594.812 | 1165659.0635 | 2538570.694 | 1165674.9747 | 2538568.2669 | 1165680.578
50 | 2538622.9312 | 1165729.0206 | 2538613.602 | 1165730.0435 | 2538611.9643 | 1165728.4189
51 | 2538566.8342 | 1165683.8858 | 2538566.8342 | 1165683.8858 | 2538568.2669 | 1165680.578
52 | 2538592.3204 | 1165709.011 | 2538593.1256 | 1165709.7308 | 2538611.9643 | 1165728.4189
53 | 2538592.3204 | 1165709.011 | 2538577.4998 | 1165695.7609 | 2538572.1855 | 1165689.844
54 | 2538566.8342 | 1165683.8858 | 2538572.1855 | 1165689.844
55 | 2538567.34 | 1165817.6985 | 2538570.2638 | 1165825.0615 | 2538577.1996 | 1165839.6787
56 | 2538567.34 | 1165817.6985 | 2538570.7819 | 1165816.5849 | 2538572.7798 | 1165814.2854 | 2538573.3551 | 1165811.4001
57 | 2538567.34 | 1165817.6985 | 2538564.3386 | 1165816.9622 | 2538562.0514 | 1165814.9401
58 | 2538573.3551 | 1165811.4001 | 2538583.2675 | 1165808.8195 | 2538597.4464 | 1165804.1495 | 2538602.4957 | 1165802.5368
59 | 2538562.0514 | 1165814.9401 | 2538550.31 | 1165818.7126
60 | 2538565.429 | 1165806.0562 | 2538563.8314 | 1165807.0731 | 2538561.9881 | 1165809.5155 | 2538561.5144 | 1165811.855 | 2538562.0514 | 1165814.9401
61 | 2538539.0526 | 1165822.3297 | 2538550.31 | 1165818.7126
62 | 2538565.429 | 1165806.0562 | 2538561.4659 | 1165796.6582 | 2538558.9178 | 1165789.4404
63 | 2538484.9096 | 1165842.0566 | 2538491.5718 | 1165843.6114 | 2538509.0432 | 1165847.9124 | 2538514.7831 | 1165851.3666
64 | 2538484.9096 | 1165842.0566 | 2538483.3016 | 1165842.5306
65 | 2538484.9096 | 1165842.0566 | 2538489.9739 | 1165840.1147 | 2538491.0843 | 1165822.9606
66 | 2538558.9178 | 1165789.4404 | 2538549.8012 | 1165763.616
67 | 2538527.0974 | 1165826.171 | 2538539.0526 | 1165822.3297
68 | 2538527.0974 | 1165826.171 | 2538521.7741 | 1165814.7971 | 2538520.819 | 1165813.5061
69 | 2538491.0843 | 1165822.9606 | 2538493.3106 | 1165821.2813 | 2538495.8024 | 1165820.1106 | 2538517.8984 | 1165813.1803 | 2538519.5127 | 1165813.0526 | 2538520.819 | 1165813.5061
70 | 2538491.0843 | 1165822.9606 | 2538491.398 | 1165817.71 | 2538491.825 | 1165813.8035 | 2538492.6302 | 1165810.9381 | 2538493.7049 | 1165808.9594
71 | 2538461.779 | 1165848.8754 | 2538483.3016 | 1165842.5306
72 | 2538461.779 | 1165848.8754 | 2538458.3327 | 1165831.4995
73 | 2538534.8626 | 1165722.4456 | 2538529.9936 | 1165724.7745 | 2538533.6206 | 1165734.2426 | 2538521.037 | 1165738.4294
74 | 2538534.8626 | 1165722.4456 | 2538537.239 | 1165728.6097
75 | 2538534.8626 | 1165722.4456 | 2538533.3553 | 1165719.5705 | 2538524.8741 | 1165704.4153
76 | 2538449.9892 | 1165757.3238 | 2538474.1961 | 1165746.4028 | 2538485.9739 | 1165740.7432
77 | 2538449.9892 | 1165757.3238 | 2538451.3446 | 1165744.6474
78 | 2538449.9892 | 1165757.3238 | 2538446.3285 | 1165760.2408 | 2538448.8461 | 1165769.042 | 2538450.6385 | 1165781.0413
79 | 2538542.7431 | 1165743.6225 | 2538539.661 | 1165734.8921 | 2538537.239 | 1165728.6097
80 | 2538524.8741 | 1165704.4153 | 2538518.4646 | 1165692.9619
81 | 2538451.3446 | 1165744.6474 | 2538453.2841 | 1165744.8721 | 2538456.083 | 1165744.5209 | 2538457.5592 | 1165743.6164 | 2538462.2287 | 1165732.6984
82 | 2538450.6385 | 1165781.0413 | 2538453.9253 | 1165807.8762
83 | 2538542.7431 | 1165743.6225 | 2538549.8012 | 1165763.616
84 | 2538445.6658 | 1165716.5791 | 2538431.1151 | 1165709.9661
85 | 2538445.6658 | 1165716.5791 | 2538452.0587 | 1165719.4818 | 2538456.6039 | 1165708.7293 | 2538461.5657 | 1165710.9685
86 | 2538461.5657 | 1165710.9685 | 2538467.1745 | 1165697.1589 | 2538471.1448 | 1165685.6007 | 2538472.7098 | 1165682.2973
87 | 2538461.5657 | 1165710.9685 | 2538464.0538 | 1165714.6561 | 2538465.3638 | 1165718.4447 | 2538465.7838 | 1165722.0646 | 2538465.3435 | 1165725.4154 | 2538462.2287 | 1165732.6984
88 | 2538458.3327 | 1165831.4995 | 2538454.3743 | 1165811.5419 | 2538453.9253 | 1165807.8762

## bus_geodata
| x | y | coords
0 | 2538862.0131 | 1165727.9118
1 | 2538877.3185 | 1165728.8469
2 | 2538846.681 | 1165728.9624
3 | 2538886.9349 | 1165730.2329
4 | 2538835.8118 | 1165730.7721
5 | 2538823.7365 | 1165733.5453
6 | 2538811.6033 | 1165737.0249
7 | 2538790.7599 | 1165743.6375
8 | 2538786.6029 | 1165744.9563
9 | 2538752.5502 | 1165755.7596
10 | 2538720.9459 | 1165764.4812
11 | 2538757.9574 | 1165769.3786
12 | 2538709.6903 | 1165768.0764
13 | 2538706.5966 | 1165769.0646
14 | 2538790.2916 | 1165683.8244
15 | 2538812.4746 | 1165674.6044
16 | 2538766.6374 | 1165693.7509
17 | 2538825.351 | 1165669.2526
18 | 2538748.279 | 1165702.5088
19 | 2538852.4701 | 1165658.4174
20 | 2538734.1011 | 1165712.5426
21 | 2538857.0965 | 1165656.5752
22 | 2538691.6077 | 1165749.7789
23 | 2538925.4043 | 1165589.0725
24 | 2538905.9427 | 1165630.8603
25 | 2538904.7723 | 1165644.4908
26 | 2538896.0476 | 1165604.8016
27 | 2538890.4728 | 1165647.5421
28 | 2538878.2525 | 1165570.3038
29 | 2538861.1242 | 1165655.4423
30 | 2538685.132 | 1165759.7283
31 | 2538685.2589 | 1165775.8803
32 | 2538679.7921 | 1165752.039
33 | 2538636.8834 | 1165675.1361
34 | 2538624.6539 | 1165685.4282
35 | 2538672.554 | 1165780.1903
36 | 2538666.2421 | 1165730.2544
37 | 2538679.7219 | 1165800.8579
38 | 2538662.062 | 1165783.5111
39 | 2538633.0338 | 1165792.7828
40 | 2538631.2802 | 1165793.3429
41 | 2538616.6912 | 1165798.0027
42 | 2538611.0098 | 1165799.8173
43 | 2538680.7279 | 1165803.7586
44 | 2538603.444 | 1165802.2339
45 | 2538638.181 | 1165703.8801
46 | 2538656.117 | 1165721.326
47 | 2538598.4614 | 1165659.1267
48 | 2538594.8119 | 1165659.0635
49 | 2538622.9312 | 1165729.0206
50 | 2538568.2669 | 1165680.578
51 | 2538592.3204 | 1165709.011
52 | 2538611.9643 | 1165728.4189
53 | 2538572.1855 | 1165689.844
54 | 2538566.8342 | 1165683.8858
55 | 2538577.1996 | 1165839.6787
56 | 2538567.34 | 1165817.6985
57 | 2538573.3551 | 1165811.4001
58 | 2538562.0514 | 1165814.9401
59 | 2538602.4957 | 1165802.5368
60 | 2538550.31 | 1165818.7126
61 | 2538565.429 | 1165806.0562
62 | 2538514.7831 | 1165851.3666
63 | 2538484.9096 | 1165842.0566
64 | 2538558.9178 | 1165789.4404
65 | 2538539.0526 | 1165822.3297
66 | 2538527.0974 | 1165826.171
67 | 2538520.819 | 1165813.5061
68 | 2538491.0843 | 1165822.9606
69 | 2538493.7049 | 1165808.9594
70 | 2538483.3016 | 1165842.5306
71 | 2538461.779 | 1165848.8754
72 | 2538521.037 | 1165738.4294
73 | 2538534.8626 | 1165722.4456
74 | 2538485.9739 | 1165740.7432
75 | 2538449.9892 | 1165757.3238
76 | 2538537.239 | 1165728.6097
77 | 2538524.8741 | 1165704.4153
78 | 2538451.3446 | 1165744.6474
79 | 2538450.6385 | 1165781.0413
80 | 2538542.7431 | 1165743.6225
81 | 2538518.4646 | 1165692.9619
82 | 2538445.6658 | 1165716.5791
83 | 2538431.1151 | 1165709.9661
84 | 2538461.5657 | 1165710.9685
85 | 2538472.7098 | 1165682.2973
86 | 2538462.2287 | 1165732.6984
87 | 2538453.9253 | 1165807.8762
88 | 2538549.8012 | 1165763.616
89 | 2538458.3327 | 1165831.4995
90 | 2538534.8626 | 1165722.4456

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1