## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5561-8_1_4_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_5561-8_1_4_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_5561-8_1_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_5561-8_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_5561-8_1_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_5561-8_1_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_5561-8_1_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5561-8_1_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5561-8_1_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5561-8_1_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5561-8_1_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_5561-8_1_4_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_5561-8_1_4_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_5561-8_1_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5561-8_1_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_5561-8_1_4_node_104 | 0.4 | n |  | TRUE
16 | bus_LV_5561-8_1_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5561-8_1_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_5561-8_1_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5561-8_1_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5561-8_1_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_5561-8_1_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5561-8_1_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5561-8_1_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5561-8_1_4_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_5561-8_1_4_node_202 | 0.4 | n |  | TRUE
26 | bus_LV_5561-8_1_4_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_5561-8_1_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5561-8_1_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5561-8_1_4_node_208 | 0.4 | n |  | TRUE
30 | bus_LV_5561-8_1_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5561-8_1_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5561-8_1_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5561-8_1_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5561-8_1_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5561-8_1_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5561-8_1_4_node_210 | 0.4 | n |  | TRUE
37 | bus_LV_5561-8_1_4_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_5561-8_1_4_node_116 | 0.4 | n |  | TRUE
39 | bus_LV_5561-8_1_4_node_114 | 0.4 | n |  | TRUE
40 | bus_LV_5561-8_1_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_5561-8_1_4_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_5561-8_1_4_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_5561-8_1_4_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_5561-8_1_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_5561-8_1_4_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_5561-8_1_4_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_5561-8_1_4_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_5561-8_1_4_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_5561-8_1_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_5561-8_1_4_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_5561-8_1_4_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_5561-8_1_4_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_5561-8_1_4_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_5561-8_1_4_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_5561-8_1_4_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_5561-8_1_4_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_5561-8_1_4_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_5561-8_1_4_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_5561-8_1_4_node_96 | 0.4 | n |  | TRUE
60 | bus_LV_5561-8_1_4_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_5561-8_1_4_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_5561-8_1_4_node_118 | 0.4 | n |  | TRUE
63 | bus_LV_5561-8_1_4_node_128 | 0.4 | n |  | TRUE
64 | bus_LV_5561-8_1_4_node_131 | 0.4 | n |  | TRUE
65 | bus_LV_5561-8_1_4_node_115 | 0.4 | n |  | TRUE
66 | bus_LV_5561-8_1_4_node_117 | 0.4 | n |  | TRUE
67 | bus_LV_5561-8_1_4_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_5561-8_1_4_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_5561-8_1_4_node_121 | 0.4 | n |  | TRUE
70 | bus_LV_5561-8_1_4_node_122 | 0.4 | n |  | TRUE
71 | bus_LV_5561-8_1_4_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_5561-8_1_4_node_129 | 0.4 | n |  | TRUE
73 | bus_LV_5561-8_1_4_node_204 | 0.4 | n |  | TRUE
74 | bus_LV_5561-8_1_4_node_124 | 0.4 | n |  | TRUE
75 | bus_LV_5561-8_1_4_node_125 | 0.4 | n |  | TRUE
76 | bus_LV_5561-8_1_4_node_126 | 0.4 | n |  | TRUE
77 | bus_LV_5561-8_1_4_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_5561-8_1_4_node_132 | 0.4 | n |  | TRUE
79 | bus_LV_5561-8_1_4_node_130 | 0.4 | n |  | TRUE
80 | bus_LV_5561-8_1_4_node_142 | 0.4 | n |  | TRUE
81 | bus_LV_5561-8_1_4_node_140 | 0.4 | n |  | TRUE
82 | bus_LV_5561-8_1_4_node_141 | 0.4 | n |  | TRUE
83 | bus_LV_5561-8_1_4_node_143 | 0.4 | n |  | TRUE
84 | bus_MV_316_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5561-8_1_4_load_4 | 0 | 0.00055641 | 0.00013945 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5561-8_1_4_load_5 | 1 | 0.00064847 | 0.00016252 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5561-8_1_4_load_8 | 3 | 0.00055862 | 0.00014 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5561-8_1_4_load_9 | 4 | 0.00054775 | 0.00013728 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5561-8_1_4_load_23 | 5 | 0.0004999 | 0.00012529 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5561-8_1_4_load_10 | 6 | 0.0043391 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5561-8_1_4_load_11 | 7 | 0.0017758 | 0.00044506 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5561-8_1_4_load_74 | 11 | 0.003504 | 0.00087819 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5561-8_1_4_load_71 | 12 | 0.0052172 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5561-8_1_4_load_104 | 15 | 0.0023674 | 0.00059333 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5561-8_1_4_load_32 | 17 | 0.0010708 | 0.00026838 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5561-8_1_4_load_33 | 19 | 0.0015569 | 0.0003902 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5561-8_1_4_load_22 | 22 | 0.00097792 | 0.00024509 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5561-8_1_4_load_202 | 25 | 0.037458 | 0.0093879 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5561-8_1_4_load_103 | 26 | 0.020964 | 0.005254 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5561-8_1_4_load_21 | 27 | 0.00098485 | 0.00024683 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5561-8_1_4_load_208 | 29 | 0.0062159 | 0.0015578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5561-8_1_4_load_26 | 30 | 0.0053985 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5561-8_1_4_load_27 | 32 | 0.013179 | 0.003303 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5561-8_1_4_load_34 | 35 | 0.0071021 | 0.00178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5561-8_1_4_load_210 | 36 | 0.0055857 | 0.0013999 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5561-8_1_4_load_116 | 38 | 0.0030132 | 0.00075519 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5561-8_1_4_load_114 | 39 | 0.0012718 | 0.00031873 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5561-8_1_4_load_63 | 40 | 0.000745 | 0.00018671 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5561-8_1_4_load_64 | 41 | 0.00044662 | 0.00011193 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5561-8_1_4_load_65 | 42 | 0.00080922 | 0.00020281 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5561-8_1_4_load_66 | 43 | 0.0010706 | 0.00026831 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5561-8_1_4_load_67 | 44 | 0.0004663 | 0.00011687 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5561-8_1_4_load_68 | 45 | 0.00076189 | 0.00019095 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5561-8_1_4_load_72 | 47 | 0.0016956 | 0.00042495 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5561-8_1_4_load_85 | 49 | 0.0051173 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5561-8_1_4_load_81 | 50 | 0.0027529 | 0.00068994 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5561-8_1_4_load_82 | 51 | 0.0097327 | 0.0024392 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5561-8_1_4_load_83 | 52 | 0.0050987 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5561-8_1_4_load_90 | 55 | 0.0025919 | 0.00064958 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5561-8_1_4_load_94 | 57 | 0.04052 | 0.010155 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5561-8_1_4_load_95 | 58 | 0.00066914 | 0.0001677 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5561-8_1_4_load_96 | 59 | 0.00059344 | 0.00014873 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5561-8_1_4_load_97 | 60 | 0.00092952 | 0.00023296 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5561-8_1_4_load_106 | 61 | 0.0024959 | 0.00062553 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5561-8_1_4_load_118 | 62 | 0.0044007 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5561-8_1_4_load_128 | 63 | 0.0025047 | 0.00062774 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5561-8_1_4_load_131 | 64 | 0.0029052 | 0.00072811 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5561-8_1_4_load_115 | 65 | 0.0033526 | 0.00084025 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5561-8_1_4_load_117 | 66 | 0.0026141 | 0.00065516 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5561-8_1_4_load_119 | 67 | 0.0044754 | 0.0011217 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5561-8_1_4_load_120 | 68 | 0.00086245 | 0.00021615 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5561-8_1_4_load_122 | 70 | 0.00048046 | 0.00012041 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5561-8_1_4_load_129 | 72 | 0.00051014 | 0.00012785 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5561-8_1_4_load_204 | 73 | 0.0013125 | 0.00032893 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5561-8_1_4_load_124 | 74 | 0.0020958 | 0.00052526 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5561-8_1_4_load_125 | 75 | 0.00031581 | 7.9149e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5561-8_1_4_load_126 | 76 | 0.0029326 | 0.00073499 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5561-8_1_4_load_127 | 77 | 0.00033197 | 8.3201e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5561-8_1_4_load_132 | 78 | 0.00060093 | 0.00015061 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5561-8_1_4_load_130 | 79 | 0.00041016 | 0.0001028 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5561-8_1_4_load_142 | 80 | 0.00033108 | 8.2976e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5561-8_1_4_load_140 | 81 | 0.00032469 | 8.1376e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5561-8_1_4_load_141 | 82 | 0.00049563 | 0.00012422 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5561-8_1_4_load_143 | 83 | 0.00045529 | 0.00011411 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5561-8_1_4_line_0 |  | 0 | 1 | 0.026905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5561-8_1_4_line_1 |  | 0 | 2 | 0.012992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5561-8_1_4_line_2 |  | 2 | 3 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5561-8_1_4_line_3 |  | 2 | 4 | 0.041439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5561-8_1_4_line_4 |  | 4 | 5 | 0.031327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5561-8_1_4_line_5 |  | 5 | 16 | 0.015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5561-8_1_4_line_6 |  | 6 | 7 | 0.017831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5561-8_1_4_line_7 |  | 6 | 8 | 0.013868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5561-8_1_4_line_8 |  | 7 | 9 | 0.022912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5561-8_1_4_line_9 |  | 8 | 10 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5561-8_1_4_line_10 |  | 9 | 11 | 0.019836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5561-8_1_4_line_11 |  | 9 | 12 | 0.021089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5561-8_1_4_line_12 |  | 10 | 13 | 0.10583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5561-8_1_4_line_13 |  | 10 | 14 | 0.006855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5561-8_1_4_line_14 |  | 10 | 15 | 0.050467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5561-8_1_4_line_15 |  | 12 | 47 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5561-8_1_4_line_16 |  | 13 | 16 | 0.006361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5561-8_1_4_line_17 |  | 13 | 17 | 0.027498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5561-8_1_4_line_18 |  | 14 | 35 | 0.072295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5561-8_1_4_line_19 |  | 14 | 32 | 0.022053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5561-8_1_4_line_20 |  | 15 | 37 | 0.028298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5561-8_1_4_line_21 |  | 16 | 28 | 0.041917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5561-8_1_4_line_22 |  | 17 | 18 | 0.048499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5561-8_1_4_line_23 |  | 18 | 19 | 0.020839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5561-8_1_4_line_24 |  | 18 | 20 | 0.13554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5561-8_1_4_line_25 |  | 19 | 21 | 0.029092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5561-8_1_4_line_26 |  | 20 | 26 | 0.014348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5561-8_1_4_line_27 |  | 21 | 22 | 0.044552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5561-8_1_4_line_28 |  | 22 | 27 | 0.060557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5561-8_1_4_line_29 |  | 23 | 24 | 0.079176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5561-8_1_4_line_30 |  | 23 | 25 | 0.038011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5561-8_1_4_line_31 |  | 24 | 57 | 0.019291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5561-8_1_4_line_32 |  | 24 | 55 | 0.019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5561-8_1_4_line_33 |  | 26 | 57 | 0.022597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5561-8_1_4_line_34 |  | 28 | 29 | 0.05157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5561-8_1_4_line_35 |  | 30 | 31 | 0.013883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5561-8_1_4_line_36 |  | 31 | 33 | 0.091027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5561-8_1_4_line_37 |  | 31 | 34 | 0.023318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5561-8_1_4_line_38 |  | 33 | 36 | 0.069541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5561-8_1_4_line_39 |  | 34 | 37 | 0.021243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5561-8_1_4_line_40 |  | 34 | 38 | 0.033804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5561-8_1_4_line_41 |  | 35 | 39 | 0.0054429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5561-8_1_4_line_42 |  | 37 | 61 | 0.032144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5561-8_1_4_line_43 |  | 38 | 65 | 0.0057007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5561-8_1_4_line_44 |  | 40 | 41 | 0.047595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5561-8_1_4_line_45 |  | 40 | 42 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5561-8_1_4_line_46 |  | 41 | 43 | 0.037128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5561-8_1_4_line_47 |  | 42 | 44 | 0.03062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5561-8_1_4_line_48 |  | 43 | 45 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5561-8_1_4_line_49 |  | 44 | 46 | 0.03039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5561-8_1_4_line_50 |  | 46 | 58 | 0.016735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5561-8_1_4_line_51 |  | 46 | 56 | 0.051223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5561-8_1_4_line_52 |  | 47 | 48 | 0.027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5561-8_1_4_line_53 |  | 48 | 49 | 0.025757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5561-8_1_4_line_54 |  | 49 | 52 | 0.027851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5561-8_1_4_line_55 |  | 50 | 51 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5561-8_1_4_line_56 |  | 50 | 52 | 0.0016153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5561-8_1_4_line_57 |  | 51 | 53 | 0.060615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5561-8_1_4_line_58 |  | 53 | 54 | 0.065034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5561-8_1_4_line_59 |  | 54 | 63 | 0.0061543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5561-8_1_4_line_60 |  | 54 | 64 | 0.0049341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5561-8_1_4_line_61 |  | 55 | 56 | 0.00050458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5561-8_1_4_line_62 |  | 58 | 59 | 0.0088503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5561-8_1_4_line_63 |  | 59 | 60 | 0.029238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5561-8_1_4_line_64 |  | 61 | 62 | 0.069392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5561-8_1_4_line_65 |  | 63 | 76 | 0.055962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5561-8_1_4_line_66 |  | 64 | 79 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5561-8_1_4_line_67 |  | 65 | 66 | 0.027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5561-8_1_4_line_68 |  | 67 | 68 | 0.057021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5561-8_1_4_line_69 |  | 67 | 69 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5561-8_1_4_line_70 |  | 68 | 70 | 0.024241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5561-8_1_4_line_71 |  | 69 | 71 | 0.024487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5561-8_1_4_line_72 |  | 70 | 72 | 0.045785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5561-8_1_4_line_73 |  | 71 | 73 | 0.026515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5561-8_1_4_line_74 |  | 72 | 79 | 0.044053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5561-8_1_4_line_75 |  | 74 | 75 | 0.088405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5561-8_1_4_line_76 |  | 74 | 76 | 0.029896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5561-8_1_4_line_77 |  | 75 | 77 | 0.044148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5561-8_1_4_line_78 |  | 77 | 78 | 0.092359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5561-8_1_4_line_79 |  | 78 | 80 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5561-8_1_4_line_80 |  | 80 | 81 | 0.030098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5561-8_1_4_line_81 |  | 81 | 82 | 0.0124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5561-8_1_4_line_82 |  | 82 | 83 | 0.015975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5561-8_1_4_trafo_19 | 0.63 MVA 20/0.4 kV | 84 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2539896.393 | 1185266.2079 | 2539872.7393 | 1185253.3873
1 | 2539907.8148 | 1185272.3987 | 2539896.393 | 1185266.2079
2 | 2539907.8148 | 1185272.3987 | 2539924.3604 | 1185280.8699
3 | 2539907.8148 | 1185272.3987 | 2539911.3266 | 1185265.6596 | 2539917.3681 | 1185256.238 | 2539918.8046 | 1185254.1223 | 2539921.0292 | 1185252.21 | 2539924.854 | 1185251.5601 | 2539932.0088 | 1185251.8995 | 2539938.0185 | 1185253.0258
4 | 2539938.0185 | 1185253.0258 | 2539938.3707 | 1185253.0919 | 2539942.746 | 1185254.0485 | 2539945.9302 | 1185254.2055 | 2539948.5513 | 1185253.0118 | 2539949.8591 | 1185251.0086 | 2539951.0939 | 1185247.8055 | 2539952.1876 | 1185240.4348 | 2539958.6364 | 1185237.3572
5 | 2539962.4205 | 1185222.7776 | 2539963.2618 | 1185225.9932 | 2539963.3367 | 1185228.127 | 2539958.6364 | 1185237.3572
6 | 2540016.4653 | 1185115.5971 | 2540011.0472 | 1185118.0414 | 2540004.6824 | 1185120.3733 | 2539999.7559 | 1185121.7238
7 | 2539986.4006 | 1185125.4596 | 2539992.938 | 1185123.5929 | 2539999.7559 | 1185121.7238
8 | 2540034.6773 | 1185102.0954 | 2540033.6801 | 1185103.8842 | 2540030.4709 | 1185106.5623 | 2540025.3251 | 1185110.216 | 2540017.2472 | 1185115.2443 | 2540016.4653 | 1185115.5971
9 | 2539968.0738 | 1185129.8683 | 2539979.402 | 1185127.0085 | 2539986.4006 | 1185125.4596
10 | 2540049.1491 | 1185088.487 | 2540034.6773 | 1185102.0954
11 | 2540034.6773 | 1185102.0954 | 2540034.5027 | 1185099.907 | 2540033.0378 | 1185098.4431 | 2540027.1875 | 1185093.4879 | 2540026.1936 | 1185090.2738 | 2540026.9522 | 1185087.5313 | 2540028.3621 | 1185084.945
12 | 2539968.0738 | 1185129.8683 | 2539976.1451 | 1185153.8119 | 2539977.3 | 1185156.3351 | 2539981.7714 | 1185166.1068 | 2539986.8383 | 1185175.8949 | 2539993.6699 | 1185188.1221 | 2539991.3549 | 1185193.9598 | 2539986.1385 | 1185202.7282 | 2539983.5885 | 1185206.4448 | 2539978.3687 | 1185213.3455 | 2539972.5784 | 1185218.1619 | 2539968.4441 | 1185220.6826
13 | 2539961.3807 | 1185131.4364 | 2539968.0738 | 1185129.8683
14 | 2539968.0738 | 1185129.8683 | 2539967.2275 | 1185126.9196 | 2539964.7129 | 1185115.9275 | 2539961.6542 | 1185100.1604 | 2539958.7839 | 1185080.3042
15 | 2540034.4797 | 1185070.2029 | 2540033.5847 | 1185073.0788 | 2540032.8682 | 1185076.21 | 2540030.572 | 1185080.8912 | 2540028.3621 | 1185084.945
16 | 2539962.4205 | 1185222.7776 | 2539968.4441 | 1185220.6826
17 | 2539968.4441 | 1185220.6826 | 2539977.5123 | 1185225.3498 | 2539993.1848 | 1185232.6737
18 | 2539961.3807 | 1185131.4364 | 2539954.72 | 1185146.1004 | 2539952.0304 | 1185151.1192 | 2539950.2849 | 1185152.8599 | 2539945.9039 | 1185155.1385 | 2539936.849 | 1185157.1195 | 2539934.3016 | 1185157.2896 | 2539930.8012 | 1185156.8134 | 2539927.974 | 1185154.2181 | 2539918.9232 | 1185143.692 | 2539916.3405 | 1185142.6396 | 2539913.397 | 1185142.1355 | 2539909.8287 | 1185144.0169 | 2539909.6602 | 1185144.1383
19 | 2539961.3807 | 1185131.4364 | 2539957.6875 | 1185130.762 | 2539954.3307 | 1185129.3838 | 2539951.5755 | 1185127.1102 | 2539949.0944 | 1185124.0111 | 2539947.6965 | 1185117.0217
20 | 2539955.3185 | 1185052.2191 | 2539958.7095 | 1185079.7895 | 2539958.7839 | 1185080.3042
21 | 2539962.4205 | 1185222.7776 | 2539950.0065 | 1185225.4149 | 2539949.1787 | 1185221.2653 | 2539947.923 | 1185215.5524 | 2539945.5024 | 1185212.3972 | 2539941.8716 | 1185210.3325 | 2539936.6743 | 1185209.5954 | 2539930.9335 | 1185209.4641
22 | 2540038.0929 | 1185250.8231 | 2540031.4087 | 1185248.7 | 2540013.1924 | 1185242.0234 | 2539993.1848 | 1185232.6737
23 | 2540038.0929 | 1185250.8231 | 2540036.4669 | 1185255.3531 | 2540035.4681 | 1185259.2542 | 2540035.368 | 1185264.4915 | 2540035.5399 | 1185266.4131 | 2540036.2923 | 1185268.3733 | 2540038.2443 | 1185270.2851
24 | 2540038.0929 | 1185250.8231 | 2540041.483 | 1185251.7229 | 2540043.9086 | 1185251.5874 | 2540047.5079 | 1185250.5174 | 2540052.5953 | 1185249.4324 | 2540050.8567 | 1185248.0602 | 2540046.353 | 1185244.948 | 2540051.2304 | 1185238.9068 | 2540058.1812 | 1185244.7738 | 2540063.3035 | 1185247.9353 | 2540067.3358 | 1185245.1378 | 2540075.462 | 1185251.0152 | 2540081.6454 | 1185254.9555 | 2540085.3053 | 1185256.8866 | 2540089.4383 | 1185258.8129 | 2540093.3982 | 1185259.4514 | 2540096.8847 | 1185259.3164 | 2540099.9955 | 1185258.2402 | 2540102.3259 | 1185256.9717 | 2540104.9053 | 1185254.6667 | 2540108.7619 | 1185250.3257 | 2540112.6364 | 1185247.0183 | 2540116.6678 | 1185244.899 | 2540122.1734 | 1185243.6542 | 2540125.946 | 1185243.1162 | 2540132.4892 | 1185241.8388 | 2540136.8511 | 1185240.7056 | 2540138.7385 | 1185239.4082 | 2540140.5211 | 1185236.0218
25 | 2540063.9539 | 1185283.8603 | 2540038.5507 | 1185270.5852 | 2540038.2443 | 1185270.2851
26 | 2540140.5211 | 1185236.0218 | 2540141.8251 | 1185230.5834 | 2540142.7963 | 1185226.1934 | 2540144.5775 | 1185222.6736 | 2540144.8068 | 1185222.4577
27 | 2540063.9539 | 1185283.8603 | 2540042.1704 | 1185322.7231
28 | 2539994.5297 | 1185316.7802 | 2540033.972 | 1185336.8242 | 2540037.7337 | 1185330.6385 | 2540042.1704 | 1185322.7231
29 | 2540099.9051 | 1185170.0245 | 2540109.6544 | 1185169.5599 | 2540119.8081 | 1185169.0691 | 2540126.1859 | 1185169.5499 | 2540132.771 | 1185170.9181 | 2540135.958 | 1185172.1202 | 2540139.191 | 1185173.333 | 2540144.6532 | 1185176.1354 | 2540148.9627 | 1185178.905 | 2540151.2674 | 1185180.405 | 2540171.456 | 1185193.4881 | 2540172.6236 | 1185194.2435
30 | 2540099.9051 | 1185170.0245 | 2540100.6588 | 1185166.7929 | 2540103.002 | 1185163.0006 | 2540108.0299 | 1185158.2476 | 2540125.1809 | 1185145.4241 | 2540126.7697 | 1185144.3807
31 | 2540172.6236 | 1185194.2435 | 2540168.7296 | 1185201.7089 | 2540162.7925 | 1185210.816
32 | 2540172.6236 | 1185194.2435 | 2540177.1484 | 1185197.1777 | 2540188.9165 | 1185204.8079
33 | 2540144.8068 | 1185222.4577 | 2540146.0216 | 1185221.3139 | 2540147.6767 | 1185220.4413 | 2540151.7578 | 1185219.4666 | 2540155.6497 | 1185218.6494 | 2540157.8531 | 1185217.6601 | 2540159.3186 | 1185216.1446 | 2540162.7925 | 1185210.816
34 | 2539957.2263 | 1185174.4913 | 2539952.9171 | 1185173.2784 | 2539948.3816 | 1185174.6024 | 2539943.7554 | 1185176.7835 | 2539937.4041 | 1185180.4493 | 2539934.2497 | 1185187.0625 | 2539930.9335 | 1185209.4641
35 | 2539934.377 | 1185031.9068 | 2539940.1115 | 1185044.5496
36 | 2539934.377 | 1185031.9068 | 2539932.6225 | 1185029.7232 | 2539916.1537 | 1185038.2713 | 2539914.8173 | 1185038.9629 | 2539913.9464 | 1185040.4058 | 2539913.1977 | 1185041.8474 | 2539912.2804 | 1185043.2241 | 2539911.298 | 1185044.2012 | 2539909.6892 | 1185045.129 | 2539908.2431 | 1185045.5326 | 2539906.9756 | 1185045.4787 | 2539905.3093 | 1185045.2397 | 2539903.9802 | 1185045.1308 | 2539902.8282 | 1185045.1869 | 2539901.4485 | 1185045.3564 | 2539900.2918 | 1185045.7015 | 2539899.0859 | 1185046.4585 | 2539897.8135 | 1185047.4385 | 2539880.0468 | 1185062.0143 | 2539865.4587 | 1185073.901 | 2539860.6718 | 1185076.7952
37 | 2539934.377 | 1185031.9068 | 2539948.2379 | 1185024.3411 | 2539950.257 | 1185031.5916
38 | 2539860.6718 | 1185076.7952 | 2539855.427 | 1185088.0432 | 2539852.408 | 1185091.42 | 2539845.5259 | 1185094.6799 | 2539834.2285 | 1185117.273 | 2539833.9379 | 1185118.7324 | 2539834.3594 | 1185120.418 | 2539835.826 | 1185122.0597 | 2539837.3374 | 1185122.8338 | 2539848.7124 | 1185128.4225
39 | 2539955.3185 | 1185052.2191 | 2539952.0565 | 1185038.2551 | 2539950.257 | 1185031.5916
40 | 2539950.257 | 1185031.5916 | 2539956.3944 | 1185029.3954 | 2539958.9194 | 1185028.5028 | 2539960.8 | 1185027.2833 | 2539961.4476 | 1185025.6536 | 2539961.529 | 1185023.118 | 2539960.8776 | 1185021.3347 | 2539959.5773 | 1185019.5356 | 2539958.5128 | 1185017.6675 | 2539958.3547 | 1185016.3572 | 2539958.5945 | 1185014.3981 | 2539959.9801 | 1185012.5276 | 2539963.485 | 1185008.1344 | 2539963.8278 | 1185007.6846
41 | 2539905.2444 | 1185147.3204 | 2539909.6602 | 1185144.1383
42 | 2539955.3185 | 1185052.2191 | 2539959.2665 | 1185050.9009 | 2539963.4096 | 1185048.4913 | 2539969.5317 | 1185044.0162 | 2539980.8704 | 1185033.2943
43 | 2539967.2831 | 1185003.1504 | 2539963.8278 | 1185007.6846
44 | 2540303.3645 | 1185287.6815 | 2540315.3016 | 1185296.7201 | 2540328.1784 | 1185306.8084 | 2540340.3968 | 1185315.9138 | 2540341.2556 | 1185316.4758
45 | 2540303.3645 | 1185287.6815 | 2540280.5011 | 1185270.3696
46 | 2540341.2556 | 1185316.4758 | 2540351.659 | 1185323.2834 | 2540363.4355 | 1185330.1921 | 2540372.5945 | 1185336.3598
47 | 2540256.6028 | 1185251.2628 | 2540263.7995 | 1185257.7234 | 2540280.5011 | 1185270.3696
48 | 2540390.3574 | 1185349.2158 | 2540385.0533 | 1185345.1071 | 2540372.5945 | 1185336.3598 | 2540372.5945 | 1185336.3598
49 | 2540231.7417 | 1185233.7969 | 2540255.9365 | 1185250.6646 | 2540256.6028 | 1185251.2628
50 | 2540231.7417 | 1185233.7969 | 2540241.0335 | 1185219.8782
51 | 2540189.3399 | 1185205.0824 | 2540196.1607 | 1185209.4166 | 2540209.4445 | 1185218.9448 | 2540225.7738 | 1185230.0322 | 2540231.7417 | 1185233.7969
52 | 2540044.734 | 1185044.7621 | 2540042.3671 | 1185046.9649 | 2540040.8974 | 1185049.5811 | 2540034.4797 | 1185070.2029
53 | 2540044.734 | 1185044.7621 | 2540051.4121 | 1185038.6473 | 2540054.1267 | 1185036.8746 | 2540056.711 | 1185035.8036 | 2540060.0091 | 1185035.8929 | 2540063.9672 | 1185037.0983 | 2540066.8638 | 1185038.5176
54 | 2540091.8929 | 1185050.7327 | 2540089.2479 | 1185049.4853 | 2540066.8638 | 1185038.5176
55 | 2540093.3539 | 1185051.4217 | 2540116.6711 | 1185062.4179 | 2540119.8391 | 1185062.4751
56 | 2540093.3539 | 1185051.4217 | 2540091.8929 | 1185050.7327
57 | 2540174.0262 | 1185064.4561 | 2540169.6764 | 1185063.7659 | 2540162.3477 | 1185062.8387 | 2540158.1623 | 1185063.3253 | 2540154.503 | 1185066.7972 | 2540147.9508 | 1185069.4865 | 2540140.3172 | 1185070.886 | 2540133.4202 | 1185072.6782 | 2540129.6875 | 1185071.8707 | 2540126.9461 | 1185067.9293 | 2540123.7659 | 1185065.1373 | 2540119.8391 | 1185062.4751
58 | 2540174.0262 | 1185064.4561 | 2540183.005 | 1185051.0365 | 2540185.1952 | 1185048.7243 | 2540188.2547 | 1185050.895 | 2540189.0925 | 1185051.4869 | 2540190.9182 | 1185047.0662 | 2540197.9592 | 1185039.0579 | 2540201.9418 | 1185036.6167 | 2540205.4079 | 1185035.1923 | 2540214.7052 | 1185029.1849 | 2540219.894 | 1185026.009
59 | 2540219.894 | 1185026.009 | 2540224.1591 | 1185030.4457
60 | 2540219.894 | 1185026.009 | 2540216.327 | 1185022.5999
61 | 2540189.3399 | 1185205.0824 | 2540188.9165 | 1185204.8079
62 | 2540241.0335 | 1185219.8782 | 2540245.9474 | 1185212.5175
63 | 2540262.181 | 1185188.2003 | 2540245.9474 | 1185212.5175
64 | 2540032.8809 | 1185012.8296 | 2540018.3187 | 1185001.4803 | 2540016.1277 | 1185000.6685 | 2540013.8256 | 1185000.9584 | 2540011.5186 | 1185002.2823 | 2540009.4464 | 1185004.182 | 2539987.2614 | 1185027.251 | 2539980.8704 | 1185033.2943
65 | 2540224.1591 | 1185030.4457 | 2540226.1182 | 1185032.4837 | 2540234.2058 | 1185039.0733 | 2540247.8948 | 1185050.165 | 2540262.0013 | 1185061.7973 | 2540267.3322 | 1185066.0197
66 | 2540206.7964 | 1185015.9899 | 2540209.5405 | 1185017.2297 | 2540212.8752 | 1185019.4421 | 2540216.1411 | 1185022.4222 | 2540216.327 | 1185022.5999
67 | 2539983.8549 | 1184981.4037 | 2539967.2831 | 1185003.1504
68 | 2540070.8958 | 1184913.0151 | 2540114.4006 | 1184949.8766
69 | 2540058.3033 | 1184902.3456 | 2540070.8958 | 1184913.0151
70 | 2540114.4006 | 1184949.8766 | 2540117.2929 | 1184952.3272 | 2540132.8776 | 1184965.5686
71 | 2540038.6246 | 1184887.7123 | 2540056.1017 | 1184900.4777 | 2540058.3033 | 1184902.3456
72 | 2540168.8563 | 1184993.8751 | 2540157.9416 | 1184985.6391 | 2540136.4457 | 1184968.6002 | 2540132.8776 | 1184965.5686
73 | 2540038.6246 | 1184887.7123 | 2540049.2181 | 1184876.233 | 2540056.6234 | 1184868.242
74 | 2540206.7964 | 1185015.9899 | 2540205.2316 | 1185015.2828 | 2540199.8018 | 1185012.6801 | 2540192.9523 | 1185009.3134 | 2540186.2451 | 1185005.6784 | 2540181.9703 | 1185003.3309 | 2540178.0218 | 1185000.7912 | 2540168.8563 | 1184993.8751
75 | 2540292.4326 | 1185081.9973 | 2540302.8219 | 1185086.4925 | 2540311.9937 | 1185089.3136 | 2540332.7385 | 1185096.1993 | 2540375.0501 | 1185113.2868
76 | 2540292.4326 | 1185081.9973 | 2540290.1891 | 1185081.0266 | 2540283.4056 | 1185077.3701 | 2540279.6857 | 1185075.5506 | 2540273.3259 | 1185070.767 | 2540267.3322 | 1185066.0197
77 | 2540406.9896 | 1185142.4628 | 2540404.9075 | 1185138.7926 | 2540402.5675 | 1185135.2806 | 2540400.0806 | 1185131.57 | 2540397.115 | 1185128.0864 | 2540393.3956 | 1185124.7772 | 2540388.3206 | 1185121.0034 | 2540382.5369 | 1185117.3368 | 2540375.5071 | 1185113.4714 | 2540375.0501 | 1185113.2868
78 | 2540461.7734 | 1185209.2869 | 2540446.1617 | 1185200.2163 | 2540437.6188 | 1185195.3764 | 2540431.195 | 1185191.038 | 2540424.2667 | 1185185.8596 | 2540420.8356 | 1185183.1367 | 2540417.9262 | 1185179.9306 | 2540416.0068 | 1185177.2593 | 2540414.6675 | 1185174.5933 | 2540413.7951 | 1185171.3002 | 2540412.4959 | 1185164.2425 | 2540411.0834 | 1185158.0642 | 2540409.8308 | 1185151.8509 | 2540408.8298 | 1185147.136 | 2540406.9896 | 1185142.4628 | 2540406.9896 | 1185142.4628
79 | 2540461.7734 | 1185209.2869 | 2540462.6972 | 1185209.8237 | 2540468.7945 | 1185214.3322 | 2540472.6319 | 1185218.0072 | 2540476.4978 | 1185222.2378
80 | 2540494.6092 | 1185246.2761 | 2540490.2425 | 1185240.5447 | 2540476.4978 | 1185222.2378 | 2540476.4978 | 1185222.2378
81 | 2540494.6092 | 1185246.2761 | 2540499.708 | 1185252.9686 | 2540502.0735 | 1185256.1768
82 | 2540511.5537 | 1185269.0349 | 2540502.0735 | 1185256.1768

## bus_geodata
| x | y | coords
0 | 2539896.393 | 1185266.2079
1 | 2539872.7393 | 1185253.3873
2 | 2539907.8148 | 1185272.3987
3 | 2539924.3604 | 1185280.8699
4 | 2539938.0185 | 1185253.0258
5 | 2539958.6364 | 1185237.3572
6 | 2539999.7559 | 1185121.7238
7 | 2540016.4653 | 1185115.5971
8 | 2539986.4006 | 1185125.4596
9 | 2540034.6773 | 1185102.0954
10 | 2539968.0738 | 1185129.8683
11 | 2540049.1491 | 1185088.487
12 | 2540028.3621 | 1185084.945
13 | 2539968.4441 | 1185220.6826
14 | 2539961.3807 | 1185131.4364
15 | 2539958.7839 | 1185080.3042
16 | 2539962.4205 | 1185222.7776
17 | 2539993.1848 | 1185232.6737
18 | 2540038.0929 | 1185250.8231
19 | 2540038.2443 | 1185270.2851
20 | 2540140.5211 | 1185236.0218
21 | 2540063.9539 | 1185283.8603
22 | 2540042.1704 | 1185322.7231
23 | 2540099.9051 | 1185170.0245
24 | 2540172.6236 | 1185194.2435
25 | 2540126.7697 | 1185144.3807
26 | 2540144.8068 | 1185222.4577
27 | 2539994.5297 | 1185316.7802
28 | 2539930.9335 | 1185209.4641
29 | 2539957.2263 | 1185174.4913
30 | 2539940.1115 | 1185044.5496
31 | 2539934.377 | 1185031.9068
32 | 2539947.6965 | 1185117.0217
33 | 2539860.6718 | 1185076.7952
34 | 2539950.257 | 1185031.5916
35 | 2539909.6602 | 1185144.1383
36 | 2539848.7124 | 1185128.4225
37 | 2539955.3185 | 1185052.2191
38 | 2539963.8278 | 1185007.6846
39 | 2539905.2444 | 1185147.3204
40 | 2540303.3645 | 1185287.6815
41 | 2540341.2556 | 1185316.4758
42 | 2540280.5011 | 1185270.3696
43 | 2540372.5945 | 1185336.3598
44 | 2540256.6028 | 1185251.2628
45 | 2540390.3574 | 1185349.2158
46 | 2540231.7417 | 1185233.7969
47 | 2540034.4797 | 1185070.2029
48 | 2540044.734 | 1185044.7621
49 | 2540066.8638 | 1185038.5176
50 | 2540093.3539 | 1185051.4217
51 | 2540119.8391 | 1185062.4751
52 | 2540091.8929 | 1185050.7327
53 | 2540174.0262 | 1185064.4561
54 | 2540219.894 | 1185026.009
55 | 2540188.9165 | 1185204.8079
56 | 2540189.3399 | 1185205.0824
57 | 2540162.7925 | 1185210.816
58 | 2540241.0335 | 1185219.8782
59 | 2540245.9474 | 1185212.5175
60 | 2540262.181 | 1185188.2003
61 | 2539980.8704 | 1185033.2943
62 | 2540032.8809 | 1185012.8296
63 | 2540224.1591 | 1185030.4457
64 | 2540216.327 | 1185022.5999
65 | 2539967.2831 | 1185003.1504
66 | 2539983.8549 | 1184981.4037
67 | 2540070.8958 | 1184913.0151
68 | 2540114.4006 | 1184949.8766
69 | 2540058.3033 | 1184902.3456
70 | 2540132.8776 | 1184965.5686
71 | 2540038.6246 | 1184887.7123
72 | 2540168.8562 | 1184993.8751
73 | 2540056.6234 | 1184868.242
74 | 2540292.4326 | 1185081.9973
75 | 2540375.0501 | 1185113.2868
76 | 2540267.3322 | 1185066.0197
77 | 2540406.9896 | 1185142.4628
78 | 2540461.7734 | 1185209.2869
79 | 2540206.7964 | 1185015.9899
80 | 2540476.4978 | 1185222.2378
81 | 2540494.6092 | 1185246.2761
82 | 2540502.0735 | 1185256.1768
83 | 2540511.5537 | 1185269.0349
84 | 2540088.8286 | 1185171.3473

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1