## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5561-8_2_3_node_133 | 0.4 | n |  | TRUE
1 | bus_LV_5561-8_2_3_node_134 | 0.4 | n |  | TRUE
2 | bus_LV_5561-8_2_3_node_135 | 0.4 | n |  | TRUE
3 | bus_LV_5561-8_2_3_node_136 | 0.4 | n |  | TRUE
4 | bus_LV_5561-8_2_3_node_137 | 0.4 | n |  | TRUE
5 | bus_LV_5561-8_2_3_node_200 | 0.4 | n |  | TRUE
6 | bus_LV_5561-8_2_3_node_147 | 0.4 | n |  | TRUE
7 | bus_LV_5561-8_2_3_node_144 | 0.4 | n |  | TRUE
8 | bus_LV_5561-8_2_3_node_180 | 0.4 | n |  | TRUE
9 | bus_LV_5561-8_2_3_node_146 | 0.4 | n |  | TRUE
10 | bus_LV_5561-8_2_3_node_181 | 0.4 | n |  | TRUE
11 | bus_LV_5561-8_2_3_node_182 | 0.4 | n |  | TRUE
12 | bus_LV_5561-8_2_3_node_145 | 0.4 | n |  | TRUE
13 | bus_LV_5561-8_2_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_5561-8_2_3_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_5561-8_2_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_5561-8_2_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_5561-8_2_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_5561-8_2_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_5561-8_2_3_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_5561-8_2_3_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_5561-8_2_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_5561-8_2_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_5561-8_2_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_5561-8_2_3_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_5561-8_2_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_5561-8_2_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_5561-8_2_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_5561-8_2_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_5561-8_2_3_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_5561-8_2_3_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_5561-8_2_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_5561-8_2_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_5561-8_2_3_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_5561-8_2_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_5561-8_2_3_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_5561-8_2_3_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5561-8_2_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_5561-8_2_3_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_5561-8_2_3_node_174 | 0.4 | n |  | TRUE
40 | bus_LV_5561-8_2_3_node_185 | 0.4 | n |  | TRUE
41 | bus_LV_5561-8_2_3_node_186 | 0.4 | n |  | TRUE
42 | bus_LV_5561-8_2_3_node_187 | 0.4 | n |  | TRUE
43 | bus_LV_5561-8_2_3_node_189 | 0.4 | n |  | TRUE
44 | bus_LV_5561-8_2_3_node_190 | 0.4 | n |  | TRUE
45 | bus_LV_5561-8_2_3_node_191 | 0.4 | n |  | TRUE
46 | bus_LV_5561-8_2_3_node_166 | 0.4 | n |  | TRUE
47 | bus_LV_5561-8_2_3_node_167 | 0.4 | n |  | TRUE
48 | bus_LV_5561-8_2_3_node_168 | 0.4 | n |  | TRUE
49 | bus_LV_5561-8_2_3_node_175 | 0.4 | n |  | TRUE
50 | bus_LV_5561-8_2_3_node_192 | 0.4 | n |  | TRUE
51 | bus_LV_5561-8_2_3_node_193 | 0.4 | n |  | TRUE
52 | bus_LV_5561-8_2_3_node_198 | 0.4 | n |  | TRUE
53 | bus_LV_5561-8_2_3_node_169 | 0.4 | n |  | TRUE
54 | bus_LV_5561-8_2_3_node_170 | 0.4 | n |  | TRUE
55 | bus_LV_5561-8_2_3_node_205 | 0.4 | n |  | TRUE
56 | bus_LV_5561-8_2_3_node_201 | 0.4 | n |  | TRUE
57 | bus_LV_5561-8_2_3_node_206 | 0.4 | n |  | TRUE
58 | bus_LV_5561-8_2_3_node_203 | 0.4 | n |  | TRUE
59 | bus_LV_5561-8_2_3_node_207 | 0.4 | n |  | TRUE
60 | bus_LV_5561-8_2_3_node_176 | 0.4 | n |  | TRUE
61 | bus_LV_5561-8_2_3_node_171 | 0.4 | n |  | TRUE
62 | bus_LV_5561-8_2_3_node_172 | 0.4 | n |  | TRUE
63 | bus_LV_5561-8_2_3_node_173 | 0.4 | n |  | TRUE
64 | bus_MV_316_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5561-8_2_3_load_133 | 0 | 0.00052855 | 0.00013247 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5561-8_2_3_load_134 | 1 | 0.00049289 | 0.00012353 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5561-8_2_3_load_144 | 7 | 0.00018491 | 4.6343e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5561-8_2_3_load_180 | 8 | 0.00016843 | 4.2213e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5561-8_2_3_load_146 | 9 | 0.00022968 | 5.7562e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5561-8_2_3_load_181 | 10 | 0.00017448 | 4.3729e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5561-8_2_3_load_182 | 11 | 0.00022384 | 5.6099e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5561-8_2_3_load_145 | 12 | 0.00028119 | 7.0472e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5561-8_2_3_load_40 | 13 | 0.0055443 | 0.0013895 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5561-8_2_3_load_35 | 14 | 0.0027885 | 0.00069886 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5561-8_2_3_load_36 | 15 | 0.00047596 | 0.00011929 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5561-8_2_3_load_37 | 16 | 0.00082683 | 0.00020722 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5561-8_2_3_load_38 | 17 | 0.0001527 | 3.8271e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5561-8_2_3_load_39 | 18 | 0.00040632 | 0.00010183 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5561-8_2_3_load_48 | 19 | 0.00073827 | 0.00018503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5561-8_2_3_load_41 | 20 | 0.0042782 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5561-8_2_3_load_44 | 25 | 0.0041689 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5561-8_2_3_load_54 | 28 | 0.00035166 | 8.8133e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5561-8_2_3_load_49 | 29 | 0.03802 | 0.0095287 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5561-8_2_3_load_50 | 30 | 0.030995 | 0.0077681 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5561-8_2_3_load_57 | 33 | 0.014884 | 0.0037303 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5561-8_2_3_load_55 | 34 | 0.030235 | 0.0075777 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5561-8_2_3_load_56 | 35 | 0.027441 | 0.0068774 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5561-8_2_3_load_61 | 37 | 0.030166 | 0.0075603 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5561-8_2_3_load_60 | 38 | 0.019925 | 0.0049936 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5561-8_2_3_load_185 | 40 | 0.0015348 | 0.00038466 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5561-8_2_3_load_187 | 42 | 0.0025462 | 0.00063814 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5561-8_2_3_load_189 | 43 | 0.0011141 | 0.00027922 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5561-8_2_3_load_190 | 44 | 0.0036648 | 0.0009185 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5561-8_2_3_load_166 | 46 | 0.00020128 | 5.0445e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5561-8_2_3_load_167 | 47 | 0.0002292 | 5.7442e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5561-8_2_3_load_168 | 48 | 0.00026233 | 6.5747e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5561-8_2_3_load_192 | 50 | 0.0010777 | 0.00027009 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5561-8_2_3_load_193 | 51 | 0.0010404 | 0.00026075 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5561-8_2_3_load_198 | 52 | 0.0012979 | 0.0003253 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5561-8_2_3_load_169 | 53 | 0.00023897 | 5.9891e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5561-8_2_3_load_205 | 55 | 0.00034758 | 8.7113e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5561-8_2_3_load_206 | 57 | 0.00037058 | 9.2877e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5561-8_2_3_load_203 | 58 | 0.00083021 | 0.00020807 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5561-8_2_3_load_207 | 59 | 0.0020059 | 0.00050273 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5561-8_2_3_load_171 | 61 | 0.00061925 | 0.0001552 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5561-8_2_3_load_172 | 62 | 0.00072528 | 0.00018177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5561-8_2_3_line_0 |  | 0 | 1 | 0.00383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5561-8_2_3_line_1 |  | 0 | 2 | 0.0042577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5561-8_2_3_line_2 |  | 1 | 3 | 0.017926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5561-8_2_3_line_3 |  | 2 | 4 | 0.026261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5561-8_2_3_line_4 |  | 3 | 5 | 0.017872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5561-8_2_3_line_5 |  | 4 | 6 | 0.048084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5561-8_2_3_line_6 |  | 4 | 7 | 0.032396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5561-8_2_3_line_7 |  | 5 | 54 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5561-8_2_3_line_8 |  | 5 | 55 | 0.0092426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5561-8_2_3_line_9 |  | 6 | 13 | 0.30631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5561-8_2_3_line_10 |  | 7 | 12 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5561-8_2_3_line_11 |  | 8 | 9 | 0.0084376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5561-8_2_3_line_12 |  | 8 | 10 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5561-8_2_3_line_13 |  | 9 | 12 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5561-8_2_3_line_14 |  | 10 | 11 | 0.073059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5561-8_2_3_line_15 |  | 11 | 39 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5561-8_2_3_line_16 |  | 13 | 20 | 0.0050838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5561-8_2_3_line_17 |  | 14 | 15 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5561-8_2_3_line_18 |  | 14 | 16 | 0.0047459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5561-8_2_3_line_19 |  | 15 | 17 | 0.0030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5561-8_2_3_line_20 |  | 16 | 18 | 0.0159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5561-8_2_3_line_21 |  | 17 | 19 | 0.024141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5561-8_2_3_line_22 |  | 19 | 26 | 0.035984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5561-8_2_3_line_23 |  | 20 | 21 | 0.043541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5561-8_2_3_line_24 |  | 21 | 24 | 0.41215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5561-8_2_3_line_25 |  | 21 | 22 | 0.13731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5561-8_2_3_line_26 |  | 22 | 23 | 0.25012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5561-8_2_3_line_27 |  | 23 | 25 | 0.27911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5561-8_2_3_line_28 |  | 24 | 31 | 0.13049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5561-8_2_3_line_29 |  | 25 | 26 | 0.092581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5561-8_2_3_line_30 |  | 26 | 27 | 0.01215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5561-8_2_3_line_31 |  | 27 | 28 | 0.069762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5561-8_2_3_line_32 |  | 29 | 30 | 0.009583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5561-8_2_3_line_33 |  | 29 | 31 | 0.012376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5561-8_2_3_line_34 |  | 30 | 32 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5561-8_2_3_line_35 |  | 31 | 33 | 0.022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5561-8_2_3_line_36 |  | 32 | 34 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5561-8_2_3_line_37 |  | 32 | 35 | 0.013824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5561-8_2_3_line_38 |  | 34 | 36 | 0.011791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5561-8_2_3_line_39 |  | 35 | 37 | 0.021222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5561-8_2_3_line_40 |  | 36 | 38 | 0.0052259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5561-8_2_3_line_41 |  | 39 | 41 | 0.032027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5561-8_2_3_line_42 |  | 39 | 62 | 0.0032763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5561-8_2_3_line_43 |  | 40 | 41 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5561-8_2_3_line_44 |  | 41 | 42 | 0.008047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5561-8_2_3_line_45 |  | 43 | 44 | 0.0030626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5561-8_2_3_line_46 |  | 43 | 45 | 0.024788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5561-8_2_3_line_47 |  | 45 | 49 | 0.056641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5561-8_2_3_line_48 |  | 45 | 50 | 0.036188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5561-8_2_3_line_49 |  | 45 | 51 | 0.011911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5561-8_2_3_line_50 |  | 46 | 47 | 0.0089005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5561-8_2_3_line_51 |  | 46 | 48 | 0.023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5561-8_2_3_line_52 |  | 47 | 53 | 0.0067048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5561-8_2_3_line_53 |  | 48 | 54 | 0.0029038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5561-8_2_3_line_54 |  | 49 | 58 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5561-8_2_3_line_55 |  | 49 | 63 | 0.003458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5561-8_2_3_line_56 |  | 51 | 52 | 0.0038007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5561-8_2_3_line_57 |  | 55 | 56 | 0.011209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5561-8_2_3_line_58 |  | 56 | 57 | 0.04098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5561-8_2_3_line_59 |  | 59 | 60 | 0.047388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5561-8_2_3_line_60 |  | 60 | 63 | 0.098128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5561-8_2_3_line_61 |  | 61 | 62 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5561-8_2_3_line_62 |  | 61 | 63 | 0.019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5561-8_2_3_trafo_53 | 0.63 MVA 20/0.4 kV | 64 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2541579.4302 | 1185754.3378 | 2541582.9833 | 1185755.7676
1 | 2541587.0991 | 1185756.5974 | 2541584.7704 | 1185756.4868 | 2541582.9833 | 1185755.7676
2 | 2541561.738 | 1185757.2123 | 2541572.7088 | 1185755.3151 | 2541576.9459 | 1185754.6956 | 2541579.4302 | 1185754.3378
3 | 2541587.0991 | 1185756.5974 | 2541592.5077 | 1185741.5472 | 2541596.8073 | 1185737.9588 | 2541600.4879 | 1185735.0545
4 | 2541561.738 | 1185757.2123 | 2541569.2201 | 1185759.8851 | 2541566.6829 | 1185766.547 | 2541564.0551 | 1185765.5054
5 | 2541600.4879 | 1185735.0545 | 2541607.9624 | 1185738.5168 | 2541613.6968 | 1185741.1734 | 2541618.9213 | 1185746.3253 | 2541627.7484 | 1185761.6922 | 2541630.0632 | 1185768.9737 | 2541630.4519 | 1185769.7037
6 | 2541600.4879 | 1185735.0545 | 2541593.1839 | 1185731.0903 | 2541586.4135 | 1185728.6217 | 2541581.9314 | 1185728.3765 | 2541569.5421 | 1185728.227
7 | 2541571.0189 | 1185785.4153 | 2541567.1307 | 1185774.8807 | 2541565.123 | 1185772.4767 | 2541564.0551 | 1185765.5054
8 | 2541564.0551 | 1185765.5054 | 2541555.4617 | 1185762.1026
9 | 2541630.4519 | 1185769.7037 | 2541691.9476 | 1186069.7741
10 | 2541553.3657 | 1185726.1064 | 2541556.7773 | 1185726.7547 | 2541565.6438 | 1185728.18 | 2541569.5421 | 1185728.227
11 | 2541535.4278 | 1185723.2064 | 2541530.7744 | 1185722.6288 | 2541527.0287 | 1185722.4853
12 | 2541516.5841 | 1185722.0852 | 2541527.0287 | 1185722.4853
13 | 2541553.3657 | 1185726.1064 | 2541543.1449 | 1185724.1643 | 2541535.4278 | 1185723.2064
14 | 2541516.5841 | 1185722.0852 | 2541505.8099 | 1185721.6725 | 2541493.8615 | 1185720.3776 | 2541478.5407 | 1185720.7166 | 2541443.7659 | 1185724.0478 | 2541443.7659 | 1185724.0478
15 | 2541430.1055 | 1185723.2812 | 2541443.7659 | 1185724.0478
16 | 2541691.9476 | 1186069.7741 | 2541689.416 | 1186072.6769 | 2541688.619 | 1186073.6166
17 | 2541848.1046 | 1186619.3907 | 2541835.5813 | 1186615.6337
18 | 2541848.1046 | 1186619.3907 | 2541852.6503 | 1186620.7544
19 | 2541832.6413 | 1186614.7517 | 2541835.5813 | 1186615.6337
20 | 2541867.8568 | 1186625.3984 | 2541864.3077 | 1186624.2516 | 2541852.6503 | 1186620.7544
21 | 2541832.6413 | 1186614.7517 | 2541810.0727 | 1186607.9812 | 2541809.5136 | 1186607.8322
22 | 2541774.7438 | 1186598.5643 | 2541809.5136 | 1186607.8322
23 | 2541660.8152 | 1186107.1198 | 2541671.7323 | 1186093.5279 | 2541688.619 | 1186073.6166
24 | 2541660.8152 | 1186107.1198 | 2541253.1995 | 1186168.1125
25 | 2541660.8152 | 1186107.1198 | 2541698.6786 | 1186143.6933 | 2541726.9745 | 1186170.3103 | 2541759.7589 | 1186202.5868
26 | 2541990.9261 | 1186298.082 | 2541759.7589 | 1186202.5868
27 | 2541990.9261 | 1186298.082 | 2541990.1429 | 1186302.3031 | 2541988.1634 | 1186307.4808 | 2541984.5685 | 1186314.464 | 2541980.787 | 1186319.5258 | 2541976.2679 | 1186324.8616 | 2541955.4242 | 1186351.1454 | 2541933.4111 | 1186381.1316 | 2541825.8702 | 1186522.1732
28 | 2541253.1995 | 1186168.1125 | 2541248.929 | 1186183.1518 | 2541248.2522 | 1186186.4937 | 2541246.9272 | 1186192.9882 | 2541246.5064 | 1186199.0846 | 2541246.9669 | 1186203.2269 | 2541248.4846 | 1186207.8035 | 2541254.1939 | 1186216.4745 | 2541258.5782 | 1186222.3347 | 2541260.11 | 1186224.4542 | 2541265.2528 | 1186229.8512 | 2541269.0031 | 1186231.7598 | 2541272.1703 | 1186232.5736 | 2541271.9258 | 1186237.9791 | 2541272.5646 | 1186240.0851 | 2541280.7751 | 1186254.8017 | 2541281.4608 | 1186257.0184 | 2541281.6303 | 1186260.2964 | 2541280.3196 | 1186263.5778 | 2541277.9372 | 1186265.7468 | 2541275.1355 | 1186266.4081 | 2541271.5576 | 1186266.5099 | 2541268.1512 | 1186264.6423 | 2541262.8366 | 1186259.625
29 | 2541774.7438 | 1186598.5643 | 2541777.3067 | 1186589.0785 | 2541780.491 | 1186583.0552 | 2541793.8221 | 1186565.9045 | 2541812.9252 | 1186539.6815 | 2541820.605 | 1186529.0786 | 2541825.8702 | 1186522.1732
30 | 2541774.7438 | 1186598.5643 | 2541763.0586 | 1186595.1207
31 | 2541763.0586 | 1186595.1207 | 2541759.3194 | 1186611.533 | 2541758.5493 | 1186617.8552 | 2541758.383 | 1186628.9742 | 2541760.2604 | 1186635.2706 | 2541763.2779 | 1186641.1112 | 2541773.3949 | 1186660.9796
32 | 2541253.9238 | 1186251.0391 | 2541247.0074 | 1186244.406
33 | 2541262.8366 | 1186259.625 | 2541258.6994 | 1186255.619 | 2541253.9238 | 1186251.0391
34 | 2541236.1979 | 1186237.9635 | 2541240.7864 | 1186238.9856 | 2541245.5264 | 1186242.9857 | 2541247.0074 | 1186244.406
35 | 2541262.8366 | 1186259.625 | 2541266.2907 | 1186282.0661
36 | 2541236.1979 | 1186237.9635 | 2541230.5071 | 1186238.9311 | 2541220.9292 | 1186244.2505 | 2541218.2127 | 1186246.4986
37 | 2541236.1979 | 1186237.9635 | 2541228.8376 | 1186226.2613
38 | 2541209.1288 | 1186254.0165 | 2541218.2127 | 1186246.4986
39 | 2541217.5384 | 1186208.2968 | 2541228.8376 | 1186226.2613
40 | 2541209.1288 | 1186254.0165 | 2541210.2017 | 1186259.131
41 | 2541444.1477 | 1185694.483 | 2541430.1055 | 1185723.2812
42 | 2541430.1055 | 1185723.2812 | 2541426.8346 | 1185723.095
43 | 2541444.1477 | 1185694.483 | 2541434.3958 | 1185689.5793
44 | 2541444.1477 | 1185694.483 | 2541451.3718 | 1185698.0698
45 | 2541372.2262 | 1185647.6502 | 2541374.9729 | 1185649.0048
46 | 2541394.2529 | 1185664.177 | 2541388.5992 | 1185658.0845 | 2541381.2446 | 1185652.0977 | 2541374.9729 | 1185649.0048
47 | 2541394.2529 | 1185664.177 | 2541384.0465 | 1185684.1105 | 2541382.315 | 1185690.4199 | 2541382.5415 | 1185695.6206 | 2541384.6249 | 1185701.837 | 2541388.9194 | 1185707.8539 | 2541390.4663 | 1185712.2857 | 2541390.5577 | 1185716.1536
48 | 2541394.2529 | 1185664.177 | 2541398.4984 | 1185657.4093 | 2541410.6701 | 1185631.9721
49 | 2541394.2529 | 1185664.177 | 2541400.9132 | 1185661.6325 | 2541405.2775 | 1185663.584
50 | 2541537.3179 | 1185787.2158 | 2541542.2855 | 1185789.2094 | 2541545.7996 | 1185789.6978
51 | 2541568.1607 | 1185785.9275 | 2541564.0636 | 1185786.6617 | 2541551.4022 | 1185790.4765 | 2541545.7996 | 1185789.6978
52 | 2541537.3179 | 1185787.2158 | 2541533.6049 | 1185785.7256 | 2541531.2578 | 1185784.3831
53 | 2541571.0189 | 1185785.4153 | 2541568.1607 | 1185785.9275
54 | 2541390.5577 | 1185716.1536 | 2541394.5607 | 1185710.3444 | 2541400.5421 | 1185700.0524
55 | 2541390.584 | 1185719.6109 | 2541390.5577 | 1185716.1536
56 | 2541408.7471 | 1185665.1354 | 2541405.2775 | 1185663.584
57 | 2541545.0401 | 1185757.9759 | 2541555.4617 | 1185762.1026
58 | 2541545.0401 | 1185757.9759 | 2541539.0977 | 1185757.456 | 2541531.2755 | 1185758.244 | 2541527.2021 | 1185761.5413 | 2541516.9573 | 1185766.6666 | 2541510.4449 | 1185774.9572
59 | 2541318.2197 | 1185652.5828 | 2541311.6928 | 1185665.5987 | 2541298.5501 | 1185689.5746 | 2541295.9419 | 1185694.4252
60 | 2541295.9419 | 1185694.4252 | 2541313.0947 | 1185698.0032 | 2541336.8323 | 1185703.7958 | 2541355.3392 | 1185710.8293 | 2541379.3546 | 1185717.7088 | 2541386.2126 | 1185718.9867 | 2541390.584 | 1185719.6109
61 | 2541426.8346 | 1185723.095 | 2541418.774 | 1185722.6363 | 2541410.2718 | 1185721.9462
62 | 2541390.584 | 1185719.6109 | 2541402.8783 | 1185721.1579 | 2541406.3094 | 1185721.6245 | 2541410.2718 | 1185721.9462

## bus_geodata
| x | y | coords
0 | 2541582.9833 | 1185755.7676
1 | 2541579.4302 | 1185754.3378
2 | 2541587.0991 | 1185756.5974
3 | 2541561.738 | 1185757.2123
4 | 2541600.4879 | 1185735.0545
5 | 2541564.0551 | 1185765.5054
6 | 2541630.4519 | 1185769.7036
7 | 2541569.5421 | 1185728.227
8 | 2541527.0287 | 1185722.4853
9 | 2541535.4278 | 1185723.2064
10 | 2541516.5841 | 1185722.0852
11 | 2541443.7659 | 1185724.0478
12 | 2541553.3657 | 1185726.1064
13 | 2541691.9476 | 1186069.7741
14 | 2541848.1046 | 1186619.3907
15 | 2541835.5813 | 1186615.6337
16 | 2541852.6503 | 1186620.7544
17 | 2541832.6413 | 1186614.7517
18 | 2541867.8568 | 1186625.3984
19 | 2541809.5136 | 1186607.8322
20 | 2541688.619 | 1186073.6166
21 | 2541660.8152 | 1186107.1198
22 | 2541759.7589 | 1186202.5868
23 | 2541990.9261 | 1186298.082
24 | 2541253.1995 | 1186168.1125
25 | 2541825.8702 | 1186522.1732
26 | 2541774.7438 | 1186598.5643
27 | 2541763.0586 | 1186595.1207
28 | 2541773.3949 | 1186660.9796
29 | 2541253.9238 | 1186251.0391
30 | 2541247.0074 | 1186244.406
31 | 2541262.8366 | 1186259.6251
32 | 2541236.1979 | 1186237.9635
33 | 2541266.2907 | 1186282.0661
34 | 2541218.2127 | 1186246.4986
35 | 2541228.8376 | 1186226.2613
36 | 2541209.1288 | 1186254.0165
37 | 2541217.5384 | 1186208.2968
38 | 2541210.2017 | 1186259.131
39 | 2541430.1055 | 1185723.2812
40 | 2541434.3958 | 1185689.5793
41 | 2541444.1477 | 1185694.483
42 | 2541451.3718 | 1185698.0698
43 | 2541374.9729 | 1185649.0048
44 | 2541372.2262 | 1185647.6502
45 | 2541394.2529 | 1185664.177
46 | 2541545.7996 | 1185789.6978
47 | 2541537.3179 | 1185787.2158
48 | 2541568.1607 | 1185785.9275
49 | 2541390.5577 | 1185716.1536
50 | 2541410.6701 | 1185631.9721
51 | 2541405.2775 | 1185663.584
52 | 2541408.7471 | 1185665.1354
53 | 2541531.2578 | 1185784.3831
54 | 2541571.0189 | 1185785.4153
55 | 2541555.4617 | 1185762.1026
56 | 2541545.0401 | 1185757.9759
57 | 2541510.4449 | 1185774.9572
58 | 2541400.5421 | 1185700.0524
59 | 2541318.2197 | 1185652.5828
60 | 2541295.9419 | 1185694.4252
61 | 2541410.2718 | 1185721.9462
62 | 2541426.8346 | 1185723.095
63 | 2541390.584 | 1185719.6109
64 | 2541302.8738 | 1186214.384

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1