## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5582-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5582-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5582-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5582-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5582-5_0_4_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_5582-5_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5582-5_0_4_node_98 | 0.4 | n |  | TRUE
7 | bus_LV_5582-5_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5582-5_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5582-5_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_5582-5_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_5582-5_0_4_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_5582-5_0_4_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_5582-5_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_5582-5_0_4_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_5582-5_0_4_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_5582-5_0_4_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_5582-5_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5582-5_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5582-5_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5582-5_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5582-5_0_4_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_5582-5_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5582-5_0_4_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_5582-5_0_4_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_5582-5_0_4_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_5582-5_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5582-5_0_4_node_93 | 0.4 | n |  | TRUE
28 | bus_LV_5582-5_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_5582-5_0_4_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_5582-5_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_5582-5_0_4_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_5582-5_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5582-5_0_4_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_5582-5_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_5582-5_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5582-5_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5582-5_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5582-5_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5582-5_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5582-5_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5582-5_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5582-5_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5582-5_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5582-5_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_5582-5_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5582-5_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5582-5_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_5582-5_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5582-5_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5582-5_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_5582-5_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5582-5_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5582-5_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5582-5_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5582-5_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5582-5_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_5582-5_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_5582-5_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5582-5_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5582-5_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5582-5_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5582-5_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5582-5_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5582-5_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_5582-5_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5582-5_0_4_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_5582-5_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_5582-5_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_5582-5_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5582-5_0_4_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_5582-5_0_4_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_5582-5_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_5582-5_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_5582-5_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_5582-5_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5582-5_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_5582-5_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_5582-5_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5582-5_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_5582-5_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_5582-5_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5582-5_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_5582-5_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_5582-5_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_5582-5_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_5582-5_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_5582-5_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_5582-5_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_5582-5_0_4_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_5582-5_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_5582-5_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_5582-5_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_5582-5_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_5582-5_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_MV_447_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5582-5_0_4_load_0 | 0 | 0.011882 | 0.0029779 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5582-5_0_4_load_2 | 2 | 0.0076428 | 0.0019155 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5582-5_0_4_load_13 | 5 | 0.0035845 | 0.00089836 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5582-5_0_4_load_98 | 6 | 0.041084 | 0.010297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5582-5_0_4_load_12 | 8 | 0.0089506 | 0.0022432 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5582-5_0_4_load_44 | 11 | 0.0027864 | 0.00069833 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5582-5_0_4_load_61 | 12 | 0.012171 | 0.0030504 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5582-5_0_4_load_4 | 14 | 0.027079 | 0.0067865 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5582-5_0_4_load_5 | 15 | 0.0039057 | 0.00097885 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5582-5_0_4_load_7 | 17 | 0.014425 | 0.0036153 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5582-5_0_4_load_8 | 18 | 0.0078539 | 0.0019684 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5582-5_0_4_load_10 | 20 | 0.00046583 | 0.00011675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5582-5_0_4_load_92 | 23 | 0.0066543 | 0.0016677 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5582-5_0_4_load_77 | 24 | 0.00067085 | 0.00016813 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5582-5_0_4_load_74 | 25 | 0.00070541 | 0.00017679 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5582-5_0_4_load_32 | 28 | 0.012151 | 0.0030453 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5582-5_0_4_load_57 | 29 | 0.0072343 | 0.0018131 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5582-5_0_4_load_31 | 30 | 0.0068034 | 0.0017051 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5582-5_0_4_load_16 | 32 | 0.015914 | 0.0039884 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5582-5_0_4_load_49 | 33 | 0.017884 | 0.0044821 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5582-5_0_4_load_34 | 36 | 0.012439 | 0.0031176 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5582-5_0_4_load_22 | 37 | 0.011822 | 0.0029629 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5582-5_0_4_load_23 | 38 | 0.017254 | 0.0043243 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5582-5_0_4_load_24 | 39 | 0.0021408 | 0.00053654 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5582-5_0_4_load_26 | 41 | 0.0021532 | 0.00053963 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5582-5_0_4_load_27 | 42 | 0.011216 | 0.0028109 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5582-5_0_4_load_42 | 43 | 0.0024417 | 0.00061195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5582-5_0_4_load_47 | 44 | 0.0028095 | 0.00070412 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5582-5_0_4_load_46 | 46 | 0.0024469 | 0.00061326 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5582-5_0_4_load_48 | 48 | 0.0023274 | 0.00058331 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5582-5_0_4_load_43 | 49 | 0.0055735 | 0.0013968 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5582-5_0_4_load_36 | 51 | 0.002263 | 0.00056716 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5582-5_0_4_load_37 | 52 | 0.0023079 | 0.00057841 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5582-5_0_4_load_39 | 54 | 0.0033621 | 0.00084262 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5582-5_0_4_load_40 | 55 | 0.0037078 | 0.00092926 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5582-5_0_4_load_41 | 56 | 0.0025259 | 0.00063306 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5582-5_0_4_load_67 | 59 | 0.0020973 | 0.00052564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5582-5_0_4_load_51 | 60 | 0.002214 | 0.00055488 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5582-5_0_4_load_52 | 61 | 0.0027042 | 0.00067774 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5582-5_0_4_load_56 | 62 | 0.0026041 | 0.00065265 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5582-5_0_4_load_53 | 63 | 0.0029789 | 0.00074659 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5582-5_0_4_load_65 | 64 | 0.0025279 | 0.00063356 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5582-5_0_4_load_59 | 65 | 0.0027198 | 0.00068165 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5582-5_0_4_load_86 | 66 | 0.0020772 | 0.00052059 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5582-5_0_4_load_87 | 67 | 0.0038456 | 0.0009638 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5582-5_0_4_load_55 | 68 | 0.0049959 | 0.0012521 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5582-5_0_4_load_60 | 69 | 0.0023513 | 0.00058929 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5582-5_0_4_load_84 | 70 | 0.0023696 | 0.00059389 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5582-5_0_4_load_85 | 71 | 0.00303 | 0.00075939 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5582-5_0_4_load_62 | 72 | 0.0022308 | 0.0005591 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5582-5_0_4_load_63 | 73 | 0.0018981 | 0.00047571 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5582-5_0_4_load_64 | 74 | 0.0022338 | 0.00055983 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5582-5_0_4_load_66 | 75 | 0.0013238 | 0.00033178 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5582-5_0_4_load_73 | 76 | 0.0013238 | 0.00033178 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5582-5_0_4_load_68 | 77 | 0.0045582 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5582-5_0_4_load_69 | 78 | 0.0032497 | 0.00081445 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5582-5_0_4_load_70 | 79 | 0.0063925 | 0.0016021 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5582-5_0_4_load_71 | 80 | 0.0034012 | 0.00085242 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5582-5_0_4_load_75 | 81 | 0.00060208 | 0.0001509 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5582-5_0_4_load_78 | 82 | 0.00068026 | 0.00017049 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5582-5_0_4_load_79 | 83 | 0.0032673 | 0.00081887 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5582-5_0_4_load_80 | 84 | 0.003591 | 0.0009 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5582-5_0_4_load_81 | 85 | 0.0027657 | 0.00069314 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5582-5_0_4_load_95 | 89 | 0.0073543 | 0.0018432 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5582-5_0_4_load_89 | 91 | 0.0034016 | 0.00085251 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5582-5_0_4_load_90 | 92 | 0.0034614 | 0.0008675 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5582-5_0_4_load_96 | 93 | 0.014906 | 0.0037358 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5582-5_0_4_load_94 | 94 | 0.0087962 | 0.0022045 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5582-5_0_4_line_0 |  | 0 | 1 | 0.0327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5582-5_0_4_line_1 |  | 1 | 2 | 0.044023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5582-5_0_4_line_2 |  | 1 | 3 | 0.12776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5582-5_0_4_line_3 |  | 3 | 4 | 0.039026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5582-5_0_4_line_4 |  | 3 | 5 | 0.025117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5582-5_0_4_line_5 |  | 4 | 6 | 0.023847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5582-5_0_4_line_6 |  | 4 | 7 | 0.034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5582-5_0_4_line_7 |  | 5 | 8 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5582-5_0_4_line_8 |  | 7 | 9 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5582-5_0_4_line_9 |  | 7 | 10 | 0.070102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5582-5_0_4_line_10 |  | 7 | 11 | 0.025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5582-5_0_4_line_11 |  | 8 | 22 | 0.044144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5582-5_0_4_line_12 |  | 9 | 33 | 0.017765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5582-5_0_4_line_13 |  | 10 | 12 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5582-5_0_4_line_14 |  | 10 | 13 | 0.054353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5582-5_0_4_line_15 |  | 13 | 32 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5582-5_0_4_line_16 |  | 14 | 15 | 0.029061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5582-5_0_4_line_17 |  | 14 | 16 | 0.01244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5582-5_0_4_line_18 |  | 15 | 17 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5582-5_0_4_line_19 |  | 16 | 18 | 0.0049145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5582-5_0_4_line_20 |  | 16 | 19 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5582-5_0_4_line_21 |  | 17 | 20 | 0.0025147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5582-5_0_4_line_22 |  | 18 | 21 | 0.020364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5582-5_0_4_line_23 |  | 19 | 22 | 0.027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5582-5_0_4_line_24 |  | 19 | 23 | 0.022307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5582-5_0_4_line_25 |  | 21 | 24 | 0.016561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5582-5_0_4_line_26 |  | 21 | 25 | 0.039936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5582-5_0_4_line_27 |  | 22 | 26 | 0.047156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5582-5_0_4_line_28 |  | 23 | 27 | 0.019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5582-5_0_4_line_29 |  | 24 | 82 | 0.013378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5582-5_0_4_line_30 |  | 25 | 81 | 0.036023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5582-5_0_4_line_31 |  | 26 | 28 | 0.044054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5582-5_0_4_line_32 |  | 26 | 29 | 0.004393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5582-5_0_4_line_33 |  | 27 | 94 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5582-5_0_4_line_34 |  | 28 | 30 | 0.0057155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5582-5_0_4_line_35 |  | 29 | 31 | 0.027577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5582-5_0_4_line_36 |  | 30 | 50 | 0.026451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5582-5_0_4_line_37 |  | 31 | 69 | 0.038843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5582-5_0_4_line_38 |  | 31 | 65 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5582-5_0_4_line_39 |  | 34 | 35 | 0.002375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5582-5_0_4_line_40 |  | 34 | 36 | 0.029682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5582-5_0_4_line_41 |  | 35 | 44 | 0.031565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5582-5_0_4_line_42 |  | 36 | 50 | 0.040517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5582-5_0_4_line_43 |  | 37 | 38 | 0.013972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5582-5_0_4_line_44 |  | 37 | 39 | 0.045816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5582-5_0_4_line_45 |  | 38 | 40 | 0.0049958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5582-5_0_4_line_46 |  | 39 | 41 | 0.0089346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5582-5_0_4_line_47 |  | 40 | 42 | 0.025476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5582-5_0_4_line_48 |  | 41 | 43 | 0.0060664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5582-5_0_4_line_49 |  | 43 | 49 | 0.0021445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5582-5_0_4_line_50 |  | 44 | 45 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5582-5_0_4_line_51 |  | 45 | 46 | 0.0095648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5582-5_0_4_line_52 |  | 46 | 47 | 0.0063419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5582-5_0_4_line_53 |  | 47 | 48 | 0.0029406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5582-5_0_4_line_54 |  | 49 | 62 | 0.0040624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5582-5_0_4_line_55 |  | 51 | 52 | 0.00013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5582-5_0_4_line_56 |  | 51 | 53 | 0.020913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5582-5_0_4_line_57 |  | 52 | 54 | 0.00075441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5582-5_0_4_line_58 |  | 53 | 55 | 0.0031271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5582-5_0_4_line_59 |  | 53 | 56 | 0.020872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5582-5_0_4_line_60 |  | 54 | 57 | 0.02653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5582-5_0_4_line_61 |  | 55 | 58 | 0.018983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5582-5_0_4_line_62 |  | 56 | 59 | 0.0014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5582-5_0_4_line_63 |  | 57 | 60 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5582-5_0_4_line_64 |  | 57 | 61 | 0.0057413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5582-5_0_4_line_65 |  | 58 | 62 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5582-5_0_4_line_66 |  | 58 | 63 | 0.026324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5582-5_0_4_line_67 |  | 59 | 64 | 0.0033292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5582-5_0_4_line_68 |  | 60 | 65 | 0.019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5582-5_0_4_line_69 |  | 61 | 66 | 0.023975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5582-5_0_4_line_70 |  | 63 | 68 | 0.017399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5582-5_0_4_line_71 |  | 64 | 73 | 0.0019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5582-5_0_4_line_72 |  | 66 | 67 | 0.034191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5582-5_0_4_line_73 |  | 67 | 88 | 0.016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5582-5_0_4_line_74 |  | 69 | 70 | 0.0099976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5582-5_0_4_line_75 |  | 70 | 71 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5582-5_0_4_line_76 |  | 71 | 80 | 0.0038177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5582-5_0_4_line_77 |  | 72 | 73 | 0.0054119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5582-5_0_4_line_78 |  | 72 | 74 | 0.0058821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5582-5_0_4_line_79 |  | 74 | 75 | 7.2076e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5582-5_0_4_line_80 |  | 75 | 76 | 0.0054959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5582-5_0_4_line_81 |  | 77 | 78 | 0.0006343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5582-5_0_4_line_82 |  | 77 | 79 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5582-5_0_4_line_83 |  | 78 | 80 | 0.022632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5582-5_0_4_line_84 |  | 83 | 84 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5582-5_0_4_line_85 |  | 83 | 85 | 0.0010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5582-5_0_4_line_86 |  | 84 | 86 | 0.058791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5582-5_0_4_line_87 |  | 85 | 87 | 0.056295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5582-5_0_4_line_88 |  | 86 | 88 | 0.008343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5582-5_0_4_line_89 |  | 87 | 89 | 0.019899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5582-5_0_4_line_90 |  | 89 | 90 | 0.0014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5582-5_0_4_line_91 |  | 90 | 93 | 0.004951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5582-5_0_4_line_92 |  | 90 | 92 | 0.013643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5582-5_0_4_line_93 |  | 91 | 92 | 0.00059178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5582-5_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 95 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2536208.1433 | 1159927.9535 | 2536209.3127 | 1159960.6327
1 | 2536208.1433 | 1159927.9535 | 2536198.7446 | 1159929.2207 | 2536190.5444 | 1159931.4646 | 2536185.5231 | 1159933.5302 | 2536182.4837 | 1159933.1289 | 2536180.1008 | 1159932.4872 | 2536178.3865 | 1159931.2826 | 2536176.23 | 1159928.8597 | 2536172.2678 | 1159919.9663
2 | 2536208.1433 | 1159927.9535 | 2536208.075 | 1159923.6963 | 2536207.9906 | 1159917.9162 | 2536206.6405 | 1159886.0798 | 2536223.8006 | 1159881.6617 | 2536236.8601 | 1159879.3996 | 2536246.5514 | 1159874.6496 | 2536257.0131 | 1159867.379 | 2536271.9224 | 1159857.4264 | 2536283.134 | 1159850.0367
3 | 2536283.134 | 1159850.0367 | 2536287.7251 | 1159855.0797 | 2536300.6802 | 1159877.6435 | 2536306.8669 | 1159877.7669
4 | 2536283.134 | 1159850.0367 | 2536295.6968 | 1159848.6249 | 2536300.8615 | 1159848.5034 | 2536308.1687 | 1159848.3585
5 | 2536306.8669 | 1159877.7669 | 2536326.5957 | 1159877.7688 | 2536330.0468 | 1159880.1335
6 | 2536306.8669 | 1159877.7669 | 2536300.6802 | 1159877.6435 | 2536310.5819 | 1159894.8813 | 2536302.9718 | 1159898.5752
7 | 2536326.4772 | 1159849.2239 | 2536315.3293 | 1159848.2165 | 2536308.1687 | 1159848.3585
8 | 2536302.9718 | 1159898.5752 | 2536296.798 | 1159903.2766 | 2536283.2635 | 1159911.3246
9 | 2536302.9718 | 1159898.5752 | 2536310.5819 | 1159894.8813 | 2536320.8515 | 1159911.4037 | 2536319.5944 | 1159917.1757 | 2536302.7539 | 1159939.4332 | 2536308.3538 | 1159945.655
10 | 2536302.9718 | 1159898.5752 | 2536293.1872 | 1159898.868 | 2536277.1479 | 1159899.2798
11 | 2536370.0825 | 1159855.8625 | 2536339.8798 | 1159850.4351 | 2536326.4772 | 1159849.2239
12 | 2536283.2635 | 1159911.3246 | 2536283.5602 | 1159929.0873
13 | 2536308.3538 | 1159945.655 | 2536308.5834 | 1159961.5228
14 | 2536273.7822 | 1159967.6116 | 2536271.9423 | 1159962.5173 | 2536272.9342 | 1159957.0482 | 2536286.6432 | 1159949.5542 | 2536298.7856 | 1159943.9445 | 2536302.7539 | 1159939.4332 | 2536308.3538 | 1159945.655
15 | 2536273.7822 | 1159967.6116 | 2536274.1905 | 1159985.059
16 | 2536353.21 | 1159810.102 | 2536326.6586 | 1159800.6146 | 2536325.8023 | 1159800.4869
17 | 2536364.7262 | 1159814.7856 | 2536357.8111 | 1159811.7461 | 2536353.21 | 1159810.102
18 | 2536310.7454 | 1159798.2403 | 2536325.8023 | 1159800.4869
19 | 2536364.7262 | 1159814.7856 | 2536364.1128 | 1159809.9095
20 | 2536366.4423 | 1159828.4415 | 2536364.7262 | 1159814.7856
21 | 2536310.7454 | 1159798.2403 | 2536308.2582 | 1159797.8692
22 | 2536361.5707 | 1159789.7052 | 2536364.1128 | 1159809.9095
23 | 2536370.0825 | 1159855.8625 | 2536366.4423 | 1159828.4415
24 | 2536366.4423 | 1159828.4415 | 2536388.3881 | 1159824.4431
25 | 2536361.5707 | 1159789.7052 | 2536377.8854 | 1159786.8574
26 | 2536361.5707 | 1159789.7052 | 2536357.1717 | 1159750.0121
27 | 2536416.8212 | 1159863.0602 | 2536370.0825 | 1159855.8625
28 | 2536407.1935 | 1159821.0169 | 2536388.3881 | 1159824.4431
29 | 2536377.8854 | 1159786.8574 | 2536391.0645 | 1159784.5569
30 | 2536357.1717 | 1159750.0121 | 2536353.2037 | 1159714.2083
31 | 2536416.8212 | 1159863.0602 | 2536422.0136 | 1159878.5804 | 2536417.2491 | 1159894.0505 | 2536407.4136 | 1159900.0123
32 | 2536416.8212 | 1159863.0602 | 2536420.5207 | 1159863.5436 | 2536421.1773 | 1159863.6284
33 | 2536407.1935 | 1159821.0169 | 2536405.9369 | 1159807.27
34 | 2536402.5259 | 1159902.9749 | 2536407.4136 | 1159900.0123
35 | 2536448.5273 | 1159867.1602 | 2536421.1773 | 1159863.6284
36 | 2536379.9095 | 1159916.6917 | 2536396.2298 | 1159906.7912 | 2536402.5259 | 1159902.9749
37 | 2536448.5273 | 1159867.1602 | 2536448.2356 | 1159851.199 | 2536445.2477 | 1159828.5158
38 | 2536448.5273 | 1159867.1602 | 2536470.345 | 1159869.7192
39 | 2536354.3271 | 1159968.1911 | 2536352.9576 | 1159966.249
40 | 2536352.9576 | 1159966.249 | 2536356.5988 | 1159959.7957 | 2536361.3399 | 1159951.541 | 2536363.8579 | 1159949.0351 | 2536371.7595 | 1159944.3224
41 | 2536354.3271 | 1159968.1911 | 2536354.4755 | 1159999.7554
42 | 2536379.9095 | 1159916.6917 | 2536389.7613 | 1159933.5855 | 2536371.7595 | 1159944.3224
43 | 2536414.8254 | 1159982.2698 | 2536428.7971 | 1159982.2172
44 | 2536472.9699 | 1159975.315 | 2536465.9952 | 1159980.1262 | 2536452.1666 | 1159982.1292 | 2536428.7971 | 1159982.2172
45 | 2536409.8296 | 1159982.2886 | 2536414.8254 | 1159982.2698
46 | 2536479.7848 | 1159969.5735 | 2536475.6357 | 1159973.4762 | 2536472.9699 | 1159975.315
47 | 2536409.8296 | 1159982.2886 | 2536408.6953 | 1159971.4391 | 2536406.9344 | 1159960.0515 | 2536405.6832 | 1159957.2755
48 | 2536479.7848 | 1159969.5735 | 2536484.2037 | 1159965.4172
49 | 2536485.7657 | 1159963.9479 | 2536484.2037 | 1159965.4172
50 | 2536354.5408 | 1160013.636 | 2536354.4755 | 1159999.7554
51 | 2536354.5408 | 1160013.636 | 2536351.9311 | 1160014.7309 | 2536347.2975 | 1160019.6182
52 | 2536342.9341 | 1160024.2204 | 2536347.2975 | 1160019.6182
53 | 2536342.9341 | 1160024.2204 | 2536340.9095 | 1160026.3531
54 | 2536488.7248 | 1159961.1646 | 2536485.7657 | 1159963.9479
55 | 2536504.6228 | 1159901.0216 | 2536504.6229 | 1159901.1611
56 | 2536504.6386 | 1159922.0745 | 2536504.6229 | 1159901.1611
57 | 2536504.6222 | 1159900.2672 | 2536504.6228 | 1159901.0216
58 | 2536504.6386 | 1159922.0745 | 2536504.4853 | 1159925.1979
59 | 2536504.6386 | 1159922.0745 | 2536483.7719 | 1159922.552
60 | 2536504.6024 | 1159873.7373 | 2536504.6222 | 1159900.2672
61 | 2536502.164 | 1159943.9127 | 2536503.8315 | 1159938.5254 | 2536504.4853 | 1159925.1979
62 | 2536482.3688 | 1159922.5841 | 2536483.7719 | 1159922.552
63 | 2536504.6024 | 1159873.7373 | 2536489.249 | 1159871.9365
64 | 2536504.6024 | 1159873.7373 | 2536510.3437 | 1159873.7573
65 | 2536502.164 | 1159943.9127 | 2536492.5743 | 1159957.5438 | 2536488.7248 | 1159961.1646
66 | 2536502.164 | 1159943.9127 | 2536526.4381 | 1159954.0975
67 | 2536479.0404 | 1159922.6602 | 2536482.3688 | 1159922.5841
68 | 2536470.345 | 1159869.7192 | 2536489.249 | 1159871.9365
69 | 2536534.3138 | 1159873.4998 | 2536524.3702 | 1159873.8061 | 2536510.3437 | 1159873.7573
70 | 2536542.4821 | 1159960.8291 | 2536526.4381 | 1159954.0975
71 | 2536479.0404 | 1159922.6602 | 2536477.1286 | 1159922.704
72 | 2536534.3138 | 1159873.4998 | 2536568.4888 | 1159872.4468
73 | 2536584.7938 | 1159871.9445 | 2536568.4888 | 1159872.4468
74 | 2536445.2477 | 1159828.5158 | 2536443.942 | 1159818.6038
75 | 2536443.942 | 1159818.6038 | 2536442.361 | 1159806.6021
76 | 2536441.8625 | 1159802.8171 | 2536442.361 | 1159806.6021
77 | 2536471.7182 | 1159922.8278 | 2536477.1286 | 1159922.704
78 | 2536471.7182 | 1159922.8278 | 2536465.8377 | 1159922.9623
79 | 2536465.8377 | 1159922.9623 | 2536465.7656 | 1159922.964
80 | 2536465.7656 | 1159922.964 | 2536465.7656 | 1159922.964 | 2536460.4475 | 1159924.3507
81 | 2536438.8239 | 1159779.7499 | 2536438.9067 | 1159780.3788
82 | 2536436.7003 | 1159763.6286 | 2536438.8239 | 1159779.7499
83 | 2536438.9067 | 1159780.3788 | 2536441.8625 | 1159802.8171
84 | 2536551.4365 | 1159804.4376 | 2536551.4365 | 1159804.4376 | 2536555.6981 | 1159811.6854 | 2536564.6325 | 1159821.3509
85 | 2536551.4365 | 1159804.4376 | 2536551.1883 | 1159803.4484
86 | 2536593.1247 | 1159871.1672 | 2536591.696 | 1159859.2647 | 2536576.4693 | 1159834.1561 | 2536564.6325 | 1159821.3509
87 | 2536539.959 | 1159748.2947 | 2536549.108 | 1159795.1571 | 2536551.1883 | 1159803.4484
88 | 2536593.1247 | 1159871.1672 | 2536584.7938 | 1159871.9445
89 | 2536539.959 | 1159748.2947 | 2536520.2735 | 1159751.2013
90 | 2536518.7912 | 1159751.4202 | 2536520.2735 | 1159751.2013
91 | 2536513.878 | 1159752.1392 | 2536518.7912 | 1159751.4202
92 | 2536518.7912 | 1159751.4202 | 2536521.1526 | 1159764.8573
93 | 2536521.255 | 1159765.4402 | 2536521.1526 | 1159764.8573

## bus_geodata
| x | y | coords
0 | 2536209.3127 | 1159960.6327
1 | 2536208.1433 | 1159927.9535
2 | 2536172.2678 | 1159919.9663
3 | 2536283.134 | 1159850.0367
4 | 2536306.8669 | 1159877.7669
5 | 2536308.1687 | 1159848.3585
6 | 2536330.0468 | 1159880.1335
7 | 2536302.9718 | 1159898.5752
8 | 2536326.4772 | 1159849.2239
9 | 2536283.2635 | 1159911.3246
10 | 2536308.3538 | 1159945.655
11 | 2536277.1479 | 1159899.2798
12 | 2536308.5834 | 1159961.5228
13 | 2536273.7822 | 1159967.6116
14 | 2536353.21 | 1159810.102
15 | 2536325.8023 | 1159800.4869
16 | 2536364.7262 | 1159814.7856
17 | 2536310.7454 | 1159798.2403
18 | 2536364.1128 | 1159809.9095
19 | 2536366.4423 | 1159828.4415
20 | 2536308.2582 | 1159797.8692
21 | 2536361.5707 | 1159789.7052
22 | 2536370.0825 | 1159855.8625
23 | 2536388.3881 | 1159824.4431
24 | 2536377.8854 | 1159786.8574
25 | 2536357.1717 | 1159750.0121
26 | 2536416.8212 | 1159863.0602
27 | 2536407.1935 | 1159821.0169
28 | 2536407.4136 | 1159900.0123
29 | 2536421.1773 | 1159863.6284
30 | 2536402.5259 | 1159902.9749
31 | 2536448.5273 | 1159867.1602
32 | 2536274.1905 | 1159985.059
33 | 2536283.5602 | 1159929.0873
34 | 2536352.9576 | 1159966.249
35 | 2536354.3271 | 1159968.1911
36 | 2536371.7595 | 1159944.3224
37 | 2536428.7971 | 1159982.2172
38 | 2536414.8254 | 1159982.2698
39 | 2536472.9699 | 1159975.315
40 | 2536409.8296 | 1159982.2886
41 | 2536479.7848 | 1159969.5735
42 | 2536405.6832 | 1159957.2755
43 | 2536484.2037 | 1159965.4172
44 | 2536354.4755 | 1159999.7554
45 | 2536354.5408 | 1160013.636
46 | 2536347.2975 | 1160019.6182
47 | 2536342.9341 | 1160024.2204
48 | 2536340.9095 | 1160026.3531
49 | 2536485.7657 | 1159963.9479
50 | 2536379.9095 | 1159916.6917
51 | 2536504.6229 | 1159901.1611
52 | 2536504.6228 | 1159901.0216
53 | 2536504.6386 | 1159922.0745
54 | 2536504.6222 | 1159900.2672
55 | 2536504.4853 | 1159925.1979
56 | 2536483.7719 | 1159922.552
57 | 2536504.6024 | 1159873.7373
58 | 2536502.164 | 1159943.9127
59 | 2536482.3688 | 1159922.5841
60 | 2536489.249 | 1159871.9365
61 | 2536510.3437 | 1159873.7573
62 | 2536488.7248 | 1159961.1646
63 | 2536526.4381 | 1159954.0975
64 | 2536479.0404 | 1159922.6602
65 | 2536470.345 | 1159869.7192
66 | 2536534.3138 | 1159873.4998
67 | 2536568.4888 | 1159872.4468
68 | 2536542.4821 | 1159960.8291
69 | 2536445.2477 | 1159828.5158
70 | 2536443.942 | 1159818.6038
71 | 2536442.361 | 1159806.6021
72 | 2536471.7182 | 1159922.8278
73 | 2536477.1286 | 1159922.704
74 | 2536465.8377 | 1159922.9623
75 | 2536465.7656 | 1159922.964
76 | 2536460.4475 | 1159924.3507
77 | 2536438.8239 | 1159779.7499
78 | 2536438.9067 | 1159780.3788
79 | 2536436.7003 | 1159763.6286
80 | 2536441.8625 | 1159802.8171
81 | 2536353.2037 | 1159714.2083
82 | 2536391.0645 | 1159784.5569
83 | 2536551.4365 | 1159804.4376
84 | 2536564.6325 | 1159821.3509
85 | 2536551.1883 | 1159803.4484
86 | 2536593.1247 | 1159871.1672
87 | 2536539.959 | 1159748.2948
88 | 2536584.7938 | 1159871.9445
89 | 2536520.2735 | 1159751.2013
90 | 2536518.7912 | 1159751.4202
91 | 2536521.255 | 1159765.4402
92 | 2536521.1526 | 1159764.8573
93 | 2536513.878 | 1159752.1392
94 | 2536405.9369 | 1159807.27
95 | 2536379.9095 | 1159916.6917

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1