## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5601-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5601-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5601-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5601-1_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5601-1_0_4_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_5601-1_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_5601-1_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5601-1_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5601-1_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5601-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5601-1_0_4_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_5601-1_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_5601-1_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_5601-1_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5601-1_0_4_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_5601-1_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_5601-1_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5601-1_0_4_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_5601-1_0_4_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_5601-1_0_4_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_5601-1_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_5601-1_0_4_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_5601-1_0_4_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_5601-1_0_4_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_5601-1_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_5601-1_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_5601-1_0_4_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_5601-1_0_4_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_5601-1_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_5601-1_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_5601-1_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5601-1_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5601-1_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5601-1_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5601-1_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5601-1_0_4_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_5601-1_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5601-1_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5601-1_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5601-1_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5601-1_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5601-1_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5601-1_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5601-1_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_5601-1_0_4_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_5601-1_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5601-1_0_4_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_5601-1_0_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_5601-1_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5601-1_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_5601-1_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_5601-1_0_4_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_5601-1_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_5601-1_0_4_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_5601-1_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_5601-1_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5601-1_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5601-1_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5601-1_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5601-1_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_5601-1_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_5601-1_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_5601-1_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5601-1_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_5601-1_0_4_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_5601-1_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5601-1_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_5601-1_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5601-1_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_5601-1_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_5601-1_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5601-1_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_5601-1_0_4_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5601-1_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5601-1_0_4_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_5601-1_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_5601-1_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_MV_384_1_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5601-1_0_4_load_0 | 0 | 0.00054136 | 0.00013568 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5601-1_0_4_load_3 | 2 | 0.00081134 | 0.00020334 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5601-1_0_4_load_21 | 4 | 0.003425 | 0.00085839 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5601-1_0_4_load_5 | 6 | 0.00036626 | 9.1795e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5601-1_0_4_load_13 | 7 | 0.00063459 | 0.00015904 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5601-1_0_4_load_12 | 8 | 0.00062274 | 0.00015607 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5601-1_0_4_load_6 | 9 | 0.0014946 | 0.00037458 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5601-1_0_4_load_75 | 10 | 0.00069279 | 0.00017363 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5601-1_0_4_load_20 | 11 | 0.0065125 | 0.0016322 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5601-1_0_4_load_18 | 12 | 0.0070449 | 0.0017656 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5601-1_0_4_load_51 | 14 | 0.022706 | 0.0056907 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5601-1_0_4_load_59 | 15 | 0.022552 | 0.005652 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5601-1_0_4_load_73 | 18 | 0.00083847 | 0.00021014 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5601-1_0_4_load_58 | 19 | 0.0033681 | 0.00084413 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5601-1_0_4_load_76 | 21 | 0.001546 | 0.00038746 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5601-1_0_4_load_77 | 22 | 0.0010108 | 0.00025333 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5601-1_0_4_load_72 | 23 | 0.00039996 | 0.00010024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5601-1_0_4_load_8 | 24 | 0.00048821 | 0.00012236 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5601-1_0_4_load_9 | 25 | 0.0011675 | 0.00029261 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5601-1_0_4_load_78 | 27 | 0.014941 | 0.0037444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5601-1_0_4_load_50 | 28 | 0.011236 | 0.0028161 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5601-1_0_4_load_14 | 29 | 0.0079475 | 0.0019918 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5601-1_0_4_load_15 | 30 | 0.0083089 | 0.0020824 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5601-1_0_4_load_16 | 31 | 0.0027176 | 0.00068109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5601-1_0_4_load_69 | 35 | 0.018431 | 0.0046193 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5601-1_0_4_load_30 | 37 | 0.011437 | 0.0028665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5601-1_0_4_load_28 | 38 | 0.0094276 | 0.0023628 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5601-1_0_4_load_22 | 39 | 0.0052193 | 0.0013081 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5601-1_0_4_load_24 | 40 | 0.0034159 | 0.0008561 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5601-1_0_4_load_53 | 43 | 0.0015514 | 0.00038882 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5601-1_0_4_load_71 | 44 | 0.008588 | 0.0021524 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5601-1_0_4_load_67 | 47 | 0.0017827 | 0.00044678 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5601-1_0_4_load_66 | 51 | 0.019973 | 0.0050057 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5601-1_0_4_load_54 | 52 | 0.0014361 | 0.00035991 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5601-1_0_4_load_31 | 54 | 0.0078487 | 0.0019671 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5601-1_0_4_load_32 | 55 | 0.0056269 | 0.0014102 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5601-1_0_4_load_35 | 57 | 0.0031613 | 0.0007923 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5601-1_0_4_load_61 | 59 | 0.0078065 | 0.0019565 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5601-1_0_4_load_39 | 61 | 0.036857 | 0.0092373 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5601-1_0_4_load_63 | 62 | 0.016904 | 0.0042365 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5601-1_0_4_load_38 | 63 | 0.0016597 | 0.00041597 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5601-1_0_4_load_81 | 64 | 0.0024662 | 0.00061808 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5601-1_0_4_load_52 | 65 | 0.0032034 | 0.00080285 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5601-1_0_4_load_41 | 66 | 0.037285 | 0.0093444 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5601-1_0_4_load_42 | 67 | 0.021725 | 0.0054449 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5601-1_0_4_load_44 | 68 | 0.033396 | 0.0083698 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5601-1_0_4_load_60 | 70 | 0.0019506 | 0.00048886 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5601-1_0_4_load_49 | 72 | 0.042337 | 0.010611 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5601-1_0_4_load_57 | 73 | 0.0012663 | 0.00031736 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5601-1_0_4_load_80 | 75 | 0.0091453 | 0.002292 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5601-1_0_4_load_70 | 76 | 0.023229 | 0.0058217 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5601-1_0_4_line_0 |  | 0 | 1 | 0.0094146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5601-1_0_4_line_1 |  | 1 | 2 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5601-1_0_4_line_2 |  | 1 | 3 | 0.050514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5601-1_0_4_line_3 |  | 2 | 6 | 0.00943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5601-1_0_4_line_4 |  | 3 | 7 | 0.025903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5601-1_0_4_line_5 |  | 3 | 8 | 0.036682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5601-1_0_4_line_6 |  | 4 | 5 | 0.043941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5601-1_0_4_line_7 |  | 5 | 12 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5601-1_0_4_line_8 |  | 5 | 32 | 0.028919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5601-1_0_4_line_9 |  | 6 | 9 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5601-1_0_4_line_10 |  | 6 | 10 | 0.051103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5601-1_0_4_line_11 |  | 8 | 13 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5601-1_0_4_line_12 |  | 9 | 16 | 0.017926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5601-1_0_4_line_13 |  | 10 | 17 | 0.010225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5601-1_0_4_line_14 |  | 11 | 12 | 0.0050338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5601-1_0_4_line_15 |  | 13 | 26 | 0.003291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5601-1_0_4_line_16 |  | 14 | 15 | 0.021829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5601-1_0_4_line_17 |  | 15 | 19 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5601-1_0_4_line_18 |  | 16 | 21 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5601-1_0_4_line_19 |  | 16 | 22 | 0.007037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5601-1_0_4_line_20 |  | 17 | 18 | 0.029846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5601-1_0_4_line_21 |  | 18 | 23 | 0.016398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5601-1_0_4_line_22 |  | 19 | 20 | 0.046534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5601-1_0_4_line_23 |  | 20 | 70 | 0.026288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5601-1_0_4_line_24 |  | 20 | 71 | 0.004789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5601-1_0_4_line_25 |  | 24 | 25 | 0.00088025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5601-1_0_4_line_26 |  | 24 | 26 | 0.014772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5601-1_0_4_line_27 |  | 25 | 27 | 0.1438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5601-1_0_4_line_28 |  | 27 | 28 | 0.1734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5601-1_0_4_line_29 |  | 28 | 69 | 0.053217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5601-1_0_4_line_30 |  | 29 | 30 | 0.024704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5601-1_0_4_line_31 |  | 29 | 31 | 0.0017644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5601-1_0_4_line_32 |  | 30 | 32 | 0.027556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5601-1_0_4_line_33 |  | 32 | 33 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5601-1_0_4_line_34 |  | 32 | 34 | 0.016622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5601-1_0_4_line_35 |  | 33 | 35 | 0.031166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5601-1_0_4_line_36 |  | 33 | 36 | 0.033717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5601-1_0_4_line_37 |  | 34 | 37 | 0.037825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5601-1_0_4_line_38 |  | 34 | 38 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5601-1_0_4_line_39 |  | 36 | 41 | 0.03244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5601-1_0_4_line_40 |  | 36 | 39 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5601-1_0_4_line_41 |  | 37 | 54 | 0.0031109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5601-1_0_4_line_42 |  | 39 | 40 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5601-1_0_4_line_43 |  | 41 | 44 | 0.0095385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5601-1_0_4_line_44 |  | 41 | 42 | 0.030409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5601-1_0_4_line_45 |  | 42 | 43 | 0.023797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5601-1_0_4_line_46 |  | 43 | 52 | 0.020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5601-1_0_4_line_47 |  | 44 | 53 | 0.0077842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5601-1_0_4_line_48 |  | 45 | 46 | 0.041791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5601-1_0_4_line_49 |  | 45 | 47 | 0.057798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5601-1_0_4_line_50 |  | 45 | 48 | 0.033626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5601-1_0_4_line_51 |  | 46 | 64 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5601-1_0_4_line_52 |  | 47 | 50 | 0.040555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5601-1_0_4_line_53 |  | 48 | 66 | 0.054638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5601-1_0_4_line_54 |  | 49 | 50 | 0.008029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5601-1_0_4_line_55 |  | 49 | 51 | 0.006633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5601-1_0_4_line_56 |  | 50 | 53 | 0.047104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5601-1_0_4_line_57 |  | 50 | 60 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5601-1_0_4_line_58 |  | 50 | 61 | 0.036406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5601-1_0_4_line_59 |  | 52 | 71 | 0.0079061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5601-1_0_4_line_60 |  | 53 | 76 | 0.017829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5601-1_0_4_line_61 |  | 55 | 56 | 0.04547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5601-1_0_4_line_62 |  | 56 | 57 | 0.010504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5601-1_0_4_line_63 |  | 57 | 58 | 0.077312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5601-1_0_4_line_64 |  | 58 | 61 | 0.02576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5601-1_0_4_line_65 |  | 58 | 62 | 0.033094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5601-1_0_4_line_66 |  | 59 | 60 | 0.025073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5601-1_0_4_line_67 |  | 63 | 64 | 0.046781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5601-1_0_4_line_68 |  | 64 | 65 | 0.029853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5601-1_0_4_line_69 |  | 66 | 67 | 0.026817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5601-1_0_4_line_70 |  | 67 | 68 | 0.031284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5601-1_0_4_line_71 |  | 68 | 69 | 0.035775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5601-1_0_4_line_72 |  | 69 | 72 | 0.025466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_5601-1_0_4_line_73 |  | 71 | 73 | 0.019772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5601-1_0_4_line_74 |  | 72 | 74 | 0.32318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5601-1_0_4_line_75 |  | 74 | 75 | 0.05747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5601-1_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 77 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2548707.5544 | 1148101.7284 | 2548709.5769 | 1148099.3544 | 2548713.5961 | 1148094.5083
1 | 2548707.5544 | 1148101.7284 | 2548707.5892 | 1148115.7021 | 2548707.2352 | 1148121.3551
2 | 2548674.7614 | 1148140.1505 | 2548680.4417 | 1148133.5764 | 2548698.5977 | 1148112.2214 | 2548701.8823 | 1148108.3692 | 2548707.5544 | 1148101.7284
3 | 2548706.646 | 1148130.7667 | 2548707.2352 | 1148121.3551
4 | 2548674.7614 | 1148140.1505 | 2548673.5961 | 1148148.4759 | 2548672.0791 | 1148155.1813 | 2548670.0035 | 1148161.2244 | 2548670.9756 | 1148165.3405
5 | 2548674.7614 | 1148140.1505 | 2548671.4612 | 1148143.9696 | 2548662.2423 | 1148151.63 | 2548654.8586 | 1148153.872 | 2548643.018 | 1148155.3427
6 | 2548970.1571 | 1148326.9572 | 2548978.6836 | 1148283.8512
7 | 2548970.1571 | 1148326.9572 | 2548954.2078 | 1148324.5934
8 | 2548962.3071 | 1148354.7606 | 2548968.8466 | 1148333.594 | 2548969.3915 | 1148330.8435 | 2548970.1571 | 1148326.9572
9 | 2548706.646 | 1148130.7667 | 2548706.1699 | 1148138.3705 | 2548704.9149 | 1148144.3379
10 | 2548706.646 | 1148130.7667 | 2548756.847 | 1148140.3285
11 | 2548627.0814 | 1148157.3221 | 2548643.018 | 1148155.3427
12 | 2548696.7291 | 1148159.6177 | 2548699.9395 | 1148156.9779 | 2548703.5279 | 1148150.933 | 2548704.9149 | 1148144.3379
13 | 2548766.7453 | 1148143.0011 | 2548756.847 | 1148140.3285
14 | 2548949.2284 | 1148323.8554 | 2548954.2078 | 1148324.5934
15 | 2548623.9021 | 1148158.2053 | 2548627.0814 | 1148157.3221
16 | 2548782.9562 | 1148431.5467 | 2548782.021 | 1148431.6111 | 2548779.2071 | 1148434.8146 | 2548762.6438 | 1148436.2793
17 | 2548802.8316 | 1148425.3899 | 2548800.7909 | 1148425.6037 | 2548796.7482 | 1148430.5963 | 2548782.9562 | 1148431.5467
18 | 2548696.7291 | 1148159.6177 | 2548694.8423 | 1148163.4914 | 2548694.3684 | 1148169.154 | 2548694.7945 | 1148172.6017
19 | 2548691.49 | 1148154.9044 | 2548696.7291 | 1148159.6177
20 | 2548766.7453 | 1148143.0011 | 2548766.4019 | 1148145.0496 | 2548765.1613 | 1148152.6641 | 2548764.8114 | 1148154.8572 | 2548754.069 | 1148169.0916
21 | 2548754.069 | 1148169.0916 | 2548752.2289 | 1148185.3856
22 | 2548847.2928 | 1148428.1094 | 2548837.5172 | 1148421.7559 | 2548802.8316 | 1148425.3899
23 | 2548847.2928 | 1148428.1094 | 2548844.9439 | 1148439.0351 | 2548836.4751 | 1148445.4772 | 2548832.1324 | 1148446.5442
24 | 2548851.9916 | 1148427.1245 | 2548849.7693 | 1148427.6548 | 2548847.2928 | 1148428.1094
25 | 2548629.2386 | 1148170.9405 | 2548629.8145 | 1148171.6062
26 | 2548623.9021 | 1148158.2053 | 2548623.7726 | 1148164.6209 | 2548629.2386 | 1148170.9405
27 | 2548629.8145 | 1148171.6062 | 2548623.7931 | 1148315.2774
28 | 2548690.9235 | 1148475.1598 | 2548623.7931 | 1148315.2774
29 | 2548684.3976 | 1148509.7286 | 2548683.0801 | 1148490.3297 | 2548675.4056 | 1148485.4371 | 2548675.3285 | 1148476.4108 | 2548690.9235 | 1148475.1598
30 | 2548994.4938 | 1148395.9328 | 2548979.2789 | 1148376.4703
31 | 2548995.5805 | 1148397.3228 | 2548994.4938 | 1148395.9328
32 | 2548962.3071 | 1148354.7606 | 2548979.2789 | 1148376.4703
33 | 2548962.3071 | 1148354.7606 | 2548958.9055 | 1148360.2145 | 2548956.0719 | 1148364.7298 | 2548954.3559 | 1148367.0234
34 | 2548949.2333 | 1148356.9949 | 2548958.9055 | 1148360.2145 | 2548962.3071 | 1148354.7606
35 | 2548954.3559 | 1148367.0234 | 2548966.0829 | 1148381.6315 | 2548966.2044 | 1148383.2758 | 2548965.5964 | 1148384.9262 | 2548963.9636 | 1148386.163 | 2548957.7728 | 1148389.3816
36 | 2548931.0184 | 1148391.312 | 2548949.5266 | 1148373.4455 | 2548954.3559 | 1148367.0234
37 | 2548949.2333 | 1148356.9949 | 2548930.5325 | 1148375.6857 | 2548921.4158 | 1148368.8655
38 | 2548949.2333 | 1148356.9949 | 2548941.1088 | 1148350.2396
39 | 2548926.0037 | 1148412.9659 | 2548916.4554 | 1148405.3319 | 2548925.8849 | 1148396.2693 | 2548931.0184 | 1148391.312
40 | 2548931.0184 | 1148391.312 | 2548923.4148 | 1148384.8176 | 2548917.9995 | 1148385.5306 | 2548915.7265 | 1148387.4434
41 | 2548918.9248 | 1148367.0019 | 2548921.4158 | 1148368.8655
42 | 2548906.1359 | 1148395.5144 | 2548915.7265 | 1148387.4434
43 | 2548926.0037 | 1148412.9659 | 2548926.7073 | 1148413.5269 | 2548932.6467 | 1148419.7998
44 | 2548903.2463 | 1148417.8284 | 2548916.4554 | 1148405.3319 | 2548926.0037 | 1148412.9659
45 | 2548903.2463 | 1148417.8284 | 2548895.5964 | 1148416.7261 | 2548879.9681 | 1148420.4592
46 | 2548879.9681 | 1148420.4592 | 2548871.0812 | 1148422.582 | 2548859.683 | 1148425.2943
47 | 2548938.2697 | 1148424.1343 | 2548937.191 | 1148424.5992 | 2548932.6467 | 1148419.7998
48 | 2548839.2106 | 1148477.2706 | 2548823.5967 | 1148497.6919 | 2548812.6864 | 1148509.5687
49 | 2548839.2106 | 1148477.2706 | 2548848.9197 | 1148483.0354 | 2548869.1818 | 1148486.3649 | 2548887.4887 | 1148481.907 | 2548893.972 | 1148478.937
50 | 2548839.2106 | 1148477.2706 | 2548826.5071 | 1148486.8725 | 2548825.9965 | 1148475.6043 | 2548822.9306 | 1148469.9608
51 | 2548832.0394 | 1148522.4775 | 2548825.949 | 1148524.1524 | 2548812.6864 | 1148509.5687
52 | 2548931.1185 | 1148462.7485 | 2548924.5792 | 1148464.9163 | 2548893.972 | 1148478.937
53 | 2548822.9306 | 1148469.9608 | 2548809.0836 | 1148482.3518 | 2548796.3794 | 1148490.9644 | 2548787.5333 | 1148495.4643 | 2548776.7748 | 1148496.1898
54 | 2548931.1185 | 1148462.7485 | 2548923.6747 | 1148459.6879
55 | 2548923.6747 | 1148459.6879 | 2548921.8792 | 1148458.9472 | 2548917.4203 | 1148460.4036
56 | 2548931.1185 | 1148462.7485 | 2548937.3517 | 1148460.6945 | 2548935.002 | 1148454.3778 | 2548937.5371 | 1148449.0758 | 2548942.2398 | 1148444.0332 | 2548943.5438 | 1148437.5298 | 2548938.2697 | 1148424.1343
57 | 2548953.1718 | 1148455.4575 | 2548937.3517 | 1148460.6945 | 2548931.1185 | 1148462.7485
58 | 2548931.1185 | 1148462.7485 | 2548932.2876 | 1148499.1354
59 | 2548851.9916 | 1148427.1245 | 2548859.683 | 1148425.2943
60 | 2548938.2697 | 1148424.1343 | 2548954.6345 | 1148417.0572
61 | 2549010.091 | 1148422.5943 | 2549032.3679 | 1148462.2339
62 | 2549032.3679 | 1148462.2339 | 2549024.9871 | 1148465.6871 | 2549023.0733 | 1148467.0604
63 | 2548955.4043 | 1148504.0529 | 2548988.0586 | 1148489.1236 | 2549015.706 | 1148472.347 | 2549023.0733 | 1148467.0604
64 | 2548932.2876 | 1148499.1354 | 2548934.8819 | 1148502.6152 | 2548941.6414 | 1148503.7696 | 2548951.1991 | 1148501.6651 | 2548955.4043 | 1148504.0529
65 | 2548972.4254 | 1148475.6714 | 2548955.4043 | 1148504.0529
66 | 2548953.1718 | 1148455.4575 | 2548961.3039 | 1148452.7649 | 2548976.2191 | 1148445.6923
67 | 2548832.0394 | 1148522.4775 | 2548877.5538 | 1148533.2903
68 | 2548832.0394 | 1148522.4775 | 2548816.5536 | 1148548.0004
69 | 2548776.7748 | 1148496.1898 | 2548775.6456 | 1148496.266 | 2548750.8214 | 1148502.859
70 | 2548750.8214 | 1148502.859 | 2548739.1462 | 1148505.9598 | 2548719.9693 | 1148506.9808
71 | 2548684.3976 | 1148509.7286 | 2548687.6753 | 1148508.7001 | 2548719.9693 | 1148506.9808
72 | 2548684.3976 | 1148509.7286 | 2548660.102 | 1148517.3599
73 | 2548851.9916 | 1148427.1245 | 2548841.6341 | 1148416.4514 | 2548844.2789 | 1148412.3268
74 | 2548660.102 | 1148517.3599 | 2548337.3725 | 1148534.379
75 | 2548327.4365 | 1148478.1348 | 2548327.551 | 1148491.4631 | 2548329.9615 | 1148508.3512 | 2548335.2468 | 1148525.5927 | 2548337.3725 | 1148534.379

## bus_geodata
| x | y | coords
0 | 2548713.5961 | 1148094.5083
1 | 2548707.5544 | 1148101.7284
2 | 2548707.2352 | 1148121.3551
3 | 2548674.7614 | 1148140.1505
4 | 2548978.6836 | 1148283.8512
5 | 2548970.1571 | 1148326.9572
6 | 2548706.646 | 1148130.7667
7 | 2548670.9756 | 1148165.3405
8 | 2548643.018 | 1148155.3427
9 | 2548704.9149 | 1148144.3379
10 | 2548756.847 | 1148140.3285
11 | 2548949.2284 | 1148323.8554
12 | 2548954.2078 | 1148324.5934
13 | 2548627.0814 | 1148157.3221
14 | 2548762.6438 | 1148436.2793
15 | 2548782.9562 | 1148431.5467
16 | 2548696.7291 | 1148159.6177
17 | 2548766.7453 | 1148143.0011
18 | 2548754.069 | 1148169.0916
19 | 2548802.8316 | 1148425.3899
20 | 2548847.2928 | 1148428.1094
21 | 2548694.7945 | 1148172.6017
22 | 2548691.49 | 1148154.9044
23 | 2548752.2289 | 1148185.3856
24 | 2548629.2386 | 1148170.9405
25 | 2548629.8145 | 1148171.6062
26 | 2548623.9021 | 1148158.2053
27 | 2548623.7931 | 1148315.2774
28 | 2548690.9235 | 1148475.1598
29 | 2548994.4938 | 1148395.9328
30 | 2548979.2789 | 1148376.4703
31 | 2548995.5805 | 1148397.3228
32 | 2548962.3071 | 1148354.7606
33 | 2548954.3559 | 1148367.0234
34 | 2548949.2333 | 1148356.9949
35 | 2548957.7728 | 1148389.3816
36 | 2548931.0184 | 1148391.312
37 | 2548921.4158 | 1148368.8655
38 | 2548941.1088 | 1148350.2396
39 | 2548915.7265 | 1148387.4434
40 | 2548906.1359 | 1148395.5144
41 | 2548926.0037 | 1148412.9659
42 | 2548903.2463 | 1148417.8284
43 | 2548879.9681 | 1148420.4592
44 | 2548932.6467 | 1148419.7998
45 | 2548839.2106 | 1148477.2706
46 | 2548812.6864 | 1148509.5687
47 | 2548893.972 | 1148478.937
48 | 2548822.9306 | 1148469.9608
49 | 2548923.6747 | 1148459.6879
50 | 2548931.1185 | 1148462.7485
51 | 2548917.4203 | 1148460.4036
52 | 2548859.683 | 1148425.2943
53 | 2548938.2697 | 1148424.1343
54 | 2548918.9248 | 1148367.0019
55 | 2549010.091 | 1148422.5943
56 | 2549032.3679 | 1148462.2339
57 | 2549023.0733 | 1148467.0604
58 | 2548955.4043 | 1148504.0529
59 | 2548976.2191 | 1148445.6923
60 | 2548953.1718 | 1148455.4575
61 | 2548932.2876 | 1148499.1354
62 | 2548972.4254 | 1148475.6714
63 | 2548877.5538 | 1148533.2903
64 | 2548832.0394 | 1148522.4775
65 | 2548816.5536 | 1148548.0004
66 | 2548776.7748 | 1148496.1898
67 | 2548750.8214 | 1148502.859
68 | 2548719.9693 | 1148506.9808
69 | 2548684.3976 | 1148509.7286
70 | 2548832.1324 | 1148446.5442
71 | 2548851.9916 | 1148427.1245
72 | 2548660.102 | 1148517.3599
73 | 2548844.2789 | 1148412.3268
74 | 2548337.3725 | 1148534.379
75 | 2548327.4365 | 1148478.1348
76 | 2548954.6345 | 1148417.0572
77 | 2548826.023 | 1148448.0452

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1