## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5601-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5601-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5601-5_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5601-5_0_6_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_5601-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5601-5_0_6_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5601-5_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5601-5_0_6_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_5601-5_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5601-5_0_6_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_5601-5_0_6_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_5601-5_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5601-5_0_6_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_5601-5_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5601-5_0_6_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_5601-5_0_6_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_5601-5_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5601-5_0_6_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_5601-5_0_6_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_5601-5_0_6_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_5601-5_0_6_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_5601-5_0_6_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_5601-5_0_6_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_5601-5_0_6_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_5601-5_0_6_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_5601-5_0_6_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_5601-5_0_6_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5601-5_0_6_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5601-5_0_6_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_5601-5_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5601-5_0_6_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5601-5_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5601-5_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_5601-5_0_6_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5601-5_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5601-5_0_6_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_5601-5_0_6_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_5601-5_0_6_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_5601-5_0_6_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_5601-5_0_6_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_5601-5_0_6_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_5601-5_0_6_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_5601-5_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_5601-5_0_6_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_5601-5_0_6_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_5601-5_0_6_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_5601-5_0_6_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_5601-5_0_6_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_5601-5_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5601-5_0_6_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_5601-5_0_6_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_5601-5_0_6_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_5601-5_0_6_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_5601-5_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5601-5_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5601-5_0_6_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_5601-5_0_6_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_5601-5_0_6_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_5601-5_0_6_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_5601-5_0_6_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_5601-5_0_6_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_5601-5_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_5601-5_0_6_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_5601-5_0_6_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_5601-5_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5601-5_0_6_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_5601-5_0_6_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_5601-5_0_6_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_5601-5_0_6_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_5601-5_0_6_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_5601-5_0_6_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5601-5_0_6_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5601-5_0_6_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_5601-5_0_6_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_5601-5_0_6_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_5601-5_0_6_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5601-5_0_6_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_5601-5_0_6_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_5601-5_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_5601-5_0_6_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5601-5_0_6_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_5601-5_0_6_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_5601-5_0_6_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_5601-5_0_6_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_5601-5_0_6_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_5601-5_0_6_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_5601-5_0_6_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_5601-5_0_6_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_5601-5_0_6_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_5601-5_0_6_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_5601-5_0_6_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_5601-5_0_6_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_5601-5_0_6_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_5601-5_0_6_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_5601-5_0_6_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_5601-5_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_5601-5_0_6_node_95 | 0.4 | n |  | TRUE
97 | bus_MV_384_1_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5601-5_0_6_load_0 | 0 | 0.0048915 | 0.0012259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5601-5_0_6_load_1 | 1 | 0.0072281 | 0.0018115 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5601-5_0_6_load_3 | 2 | 0.0058098 | 0.0014561 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5601-5_0_6_load_10 | 3 | 0.001873 | 0.00046943 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5601-5_0_6_load_24 | 5 | 0.0049553 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5601-5_0_6_load_22 | 7 | 0.0051181 | 0.0012827 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5601-5_0_6_load_32 | 9 | 0.00324 | 0.00081201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5601-5_0_6_load_76 | 10 | 0.0041782 | 0.0010471 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5601-5_0_6_load_71 | 12 | 0.0041969 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5601-5_0_6_load_44 | 14 | 0.0095048 | 0.0023821 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5601-5_0_6_load_78 | 15 | 0.0086157 | 0.0021593 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5601-5_0_6_load_70 | 18 | 0.0075219 | 0.0018852 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5601-5_0_6_load_57 | 20 | 0.0029477 | 0.00073877 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5601-5_0_6_load_45 | 24 | 0.0011695 | 0.0002931 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5601-5_0_6_load_30 | 26 | 0.0049008 | 0.0012283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5601-5_0_6_load_12 | 28 | 0.0055017 | 0.0013788 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5601-5_0_6_load_13 | 29 | 0.010672 | 0.0026746 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5601-5_0_6_load_14 | 30 | 0.0023877 | 0.00059842 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5601-5_0_6_load_18 | 31 | 0.024417 | 0.0061196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5601-5_0_6_load_15 | 36 | 0.0050069 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5601-5_0_6_load_16 | 37 | 0.0045765 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5601-5_0_6_load_54 | 40 | 0.0040309 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5601-5_0_6_load_20 | 41 | 0.021746 | 0.00545 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5601-5_0_6_load_74 | 43 | 0.039134 | 0.0098079 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5601-5_0_6_load_69 | 44 | 0.02047 | 0.0051303 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5601-5_0_6_load_85 | 45 | 0.0083279 | 0.0020872 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5601-5_0_6_load_67 | 46 | 0.015962 | 0.0040004 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5601-5_0_6_load_82 | 47 | 0.0099331 | 0.0024895 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5601-5_0_6_load_28 | 48 | 0.006111 | 0.0015316 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5601-5_0_6_load_61 | 49 | 0.0023797 | 0.0005964 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5601-5_0_6_load_56 | 50 | 0.0053921 | 0.0013514 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5601-5_0_6_load_79 | 51 | 0.024837 | 0.0062247 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5601-5_0_6_load_40 | 53 | 0.0010185 | 0.00025526 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5601-5_0_6_load_29 | 55 | 0.0084785 | 0.0021249 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5601-5_0_6_load_31 | 56 | 0.032608 | 0.0081723 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5601-5_0_6_load_72 | 58 | 0.0031564 | 0.00079106 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5601-5_0_6_load_64 | 59 | 0.003334 | 0.00083559 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5601-5_0_6_load_63 | 60 | 0.001113 | 0.00027894 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5601-5_0_6_load_41 | 61 | 0.0021935 | 0.00054974 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5601-5_0_6_load_42 | 62 | 0.0021935 | 0.00054974 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5601-5_0_6_load_84 | 63 | 0.0063112 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5601-5_0_6_load_98 | 66 | 0.097397 | 0.02441 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5601-5_0_6_load_38 | 67 | 0.020836 | 0.0052219 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5601-5_0_6_load_39 | 68 | 0.00084245 | 0.00021114 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5601-5_0_6_load_43 | 69 | 0.0021916 | 0.00054928 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5601-5_0_6_load_52 | 70 | 0.0074505 | 0.0018673 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5601-5_0_6_load_53 | 71 | 0.0035301 | 0.00088472 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5601-5_0_6_load_49 | 73 | 0.0042812 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5601-5_0_6_load_65 | 74 | 0.00082503 | 0.00020677 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5601-5_0_6_load_62 | 75 | 0.0020012 | 0.00050156 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5601-5_0_6_load_99 | 76 | 0.0014322 | 0.00035895 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5601-5_0_6_load_68 | 78 | 0.0051099 | 0.0012807 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5601-5_0_6_load_83 | 79 | 0.0042839 | 0.0010736 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5601-5_0_6_load_87 | 80 | 0.0031673 | 0.0007938 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5601-5_0_6_load_97 | 81 | 0.0028523 | 0.00071486 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5601-5_0_6_load_75 | 82 | 0.0021935 | 0.00054974 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5601-5_0_6_load_60 | 85 | 0.0075182 | 0.0018842 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5601-5_0_6_load_86 | 86 | 0.0075196 | 0.0018846 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5601-5_0_6_load_66 | 87 | 0.0017897 | 0.00044855 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5601-5_0_6_load_80 | 88 | 0.0039658 | 0.00099392 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5601-5_0_6_load_81 | 89 | 0.0099025 | 0.0024818 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5601-5_0_6_load_88 | 90 | 0.0036753 | 0.00092111 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5601-5_0_6_load_96 | 91 | 0.0069544 | 0.0017429 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5601-5_0_6_load_91 | 92 | 0.0015881 | 0.00039803 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5601-5_0_6_load_92 | 93 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5601-5_0_6_load_93 | 94 | 0.0018503 | 0.00046373 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5601-5_0_6_load_94 | 95 | 0.0034602 | 0.0008672 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5601-5_0_6_line_0 |  | 0 | 1 | 0.0091195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5601-5_0_6_line_1 |  | 1 | 2 | 0.017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5601-5_0_6_line_2 |  | 2 | 3 | 0.0030209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5601-5_0_6_line_3 |  | 3 | 16 | 0.02236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5601-5_0_6_line_4 |  | 4 | 5 | 0.0098564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5601-5_0_6_line_5 |  | 4 | 6 | 0.066611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5601-5_0_6_line_6 |  | 4 | 7 | 0.0040179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5601-5_0_6_line_7 |  | 6 | 8 | 0.08652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5601-5_0_6_line_8 |  | 6 | 9 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5601-5_0_6_line_9 |  | 7 | 25 | 0.0087913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5601-5_0_6_line_10 |  | 8 | 10 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5601-5_0_6_line_11 |  | 9 | 26 | 0.004283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5601-5_0_6_line_12 |  | 10 | 21 | 0.024453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5601-5_0_6_line_13 |  | 11 | 12 | 0.029237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5601-5_0_6_line_14 |  | 11 | 13 | 0.078744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5601-5_0_6_line_15 |  | 11 | 14 | 0.029071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5601-5_0_6_line_16 |  | 13 | 15 | 0.0038152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5601-5_0_6_line_17 |  | 14 | 27 | 0.026524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5601-5_0_6_line_18 |  | 16 | 28 | 0.020645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5601-5_0_6_line_19 |  | 16 | 29 | 0.048373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5601-5_0_6_line_20 |  | 16 | 30 | 0.019444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5601-5_0_6_line_21 |  | 17 | 18 | 0.022305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5601-5_0_6_line_22 |  | 17 | 19 | 0.071615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5601-5_0_6_line_23 |  | 17 | 20 | 0.0021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5601-5_0_6_line_24 |  | 19 | 23 | 0.010156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5601-5_0_6_line_25 |  | 19 | 24 | 0.019871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5601-5_0_6_line_26 |  | 20 | 50 | 0.023807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5601-5_0_6_line_27 |  | 21 | 22 | 0.040762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5601-5_0_6_line_28 |  | 22 | 51 | 0.05431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5601-5_0_6_line_29 |  | 23 | 52 | 0.028088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5601-5_0_6_line_30 |  | 23 | 53 | 0.033115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5601-5_0_6_line_31 |  | 24 | 54 | 0.0066138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5601-5_0_6_line_32 |  | 25 | 48 | 0.021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5601-5_0_6_line_33 |  | 26 | 55 | 0.022591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5601-5_0_6_line_34 |  | 27 | 61 | 0.0048725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5601-5_0_6_line_35 |  | 27 | 32 | 0.004712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5601-5_0_6_line_36 |  | 28 | 31 | 0.01587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5601-5_0_6_line_37 |  | 29 | 32 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5601-5_0_6_line_38 |  | 30 | 33 | 0.086675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5601-5_0_6_line_39 |  | 31 | 34 | 0.0015118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5601-5_0_6_line_40 |  | 33 | 35 | 0.025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5601-5_0_6_line_41 |  | 34 | 41 | 0.038531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5601-5_0_6_line_42 |  | 34 | 42 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5601-5_0_6_line_43 |  | 35 | 63 | 0.03303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5601-5_0_6_line_44 |  | 35 | 39 | 0.036835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5601-5_0_6_line_45 |  | 36 | 37 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5601-5_0_6_line_46 |  | 37 | 38 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5601-5_0_6_line_47 |  | 38 | 39 | 0.043088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5601-5_0_6_line_48 |  | 39 | 40 | 0.014722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5601-5_0_6_line_49 |  | 41 | 43 | 0.069337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5601-5_0_6_line_50 |  | 42 | 44 | 0.11945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5601-5_0_6_line_51 |  | 42 | 45 | 0.026256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5601-5_0_6_line_52 |  | 44 | 46 | 0.031675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5601-5_0_6_line_53 |  | 45 | 47 | 0.028112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5601-5_0_6_line_54 |  | 46 | 87 | 0.037062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5601-5_0_6_line_55 |  | 47 | 89 | 0.0095602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5601-5_0_6_line_56 |  | 48 | 49 | 0.0073545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5601-5_0_6_line_57 |  | 50 | 83 | 0.010736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5601-5_0_6_line_58 |  | 52 | 76 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5601-5_0_6_line_59 |  | 52 | 77 | 0.020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5601-5_0_6_line_60 |  | 53 | 68 | 0.046586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5601-5_0_6_line_61 |  | 54 | 72 | 0.008616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5601-5_0_6_line_62 |  | 54 | 73 | 0.042459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5601-5_0_6_line_63 |  | 55 | 56 | 0.049663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5601-5_0_6_line_64 |  | 56 | 57 | 0.004083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5601-5_0_6_line_65 |  | 57 | 58 | 0.035529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5601-5_0_6_line_66 |  | 57 | 59 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5601-5_0_6_line_67 |  | 59 | 60 | 0.0066967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5601-5_0_6_line_68 |  | 60 | 75 | 0.012369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5601-5_0_6_line_69 |  | 61 | 62 | 0.016423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5601-5_0_6_line_70 |  | 62 | 69 | 0.015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5601-5_0_6_line_71 |  | 63 | 79 | 0.027134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5601-5_0_6_line_72 |  | 64 | 65 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5601-5_0_6_line_73 |  | 64 | 66 | 0.033732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5601-5_0_6_line_74 |  | 65 | 81 | 0.15865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5601-5_0_6_line_75 |  | 65 | 77 | 0.34888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_5601-5_0_6_line_76 |  | 67 | 68 | 0.04179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5601-5_0_6_line_77 |  | 69 | 70 | 0.0014524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5601-5_0_6_line_78 |  | 70 | 71 | 0.0074041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5601-5_0_6_line_79 |  | 71 | 82 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5601-5_0_6_line_80 |  | 72 | 74 | 0.022045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5601-5_0_6_line_81 |  | 72 | 75 | 0.071523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_5601-5_0_6_line_82 |  | 74 | 78 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5601-5_0_6_line_83 |  | 77 | 80 | 0.027377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5601-5_0_6_line_84 |  | 78 | 87 | 0.046063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5601-5_0_6_line_85 |  | 80 | 90 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5601-5_0_6_line_86 |  | 81 | 91 | 0.011707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5601-5_0_6_line_87 |  | 83 | 84 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5601-5_0_6_line_88 |  | 83 | 85 | 0.017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5601-5_0_6_line_89 |  | 84 | 86 | 0.016037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5601-5_0_6_line_90 |  | 88 | 89 | 0.016959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5601-5_0_6_line_91 |  | 91 | 96 | 0.10758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5601-5_0_6_line_92 |  | 92 | 93 | 0.12462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5601-5_0_6_line_93 |  | 92 | 94 | 0.025891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5601-5_0_6_line_94 |  | 93 | 95 | 0.077454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_5601-5_0_6_line_95 |  | 94 | 96 | 0.0040769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5601-5_0_6_trafo_67 | 0.63 MVA 20/0.4 kV | 97 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2549321.9939 | 1148157.6751 | 2549330.9935 | 1148159.1491
1 | 2549330.9935 | 1148159.1491 | 2549340.6298 | 1148160.7274 | 2549348.7059 | 1148161.3374 | 2549348.7059 | 1148161.3374
2 | 2549351.7209 | 1148161.5251 | 2549348.7059 | 1148161.3374
3 | 2549374.0377 | 1148162.9139 | 2549351.7209 | 1148161.5251
4 | 2549087.9744 | 1148248.6845 | 2549078.232 | 1148250.18
5 | 2549087.9744 | 1148248.6845 | 2549087.6853 | 1148246.2856 | 2549083.3432 | 1148210.5259 | 2549088.7745 | 1148205.3328 | 2549094.7687 | 1148197.7003 | 2549105.1649 | 1148201.1474
6 | 2549087.9744 | 1148248.6845 | 2549088.4586 | 1148252.6731
7 | 2549051.2312 | 1148246.1498 | 2549046.1967 | 1148231.1068 | 2549075.7659 | 1148215.3037 | 2549083.3432 | 1148210.5259 | 2549088.7745 | 1148205.3328 | 2549094.7687 | 1148197.7003 | 2549105.1649 | 1148201.1474
8 | 2549105.1649 | 1148201.1474 | 2549113.7886 | 1148211.6644
9 | 2549089.5181 | 1148261.4003 | 2549088.4586 | 1148252.6731
10 | 2549051.2312 | 1148246.1498 | 2549045.7062 | 1148256.591
11 | 2549113.7886 | 1148211.6644 | 2549116.5043 | 1148214.9764
12 | 2549022.5275 | 1148264.3803 | 2549045.7062 | 1148256.591
13 | 2549401.147 | 1148079.1531 | 2549394.2223 | 1148080.3231 | 2549380.0821 | 1148080.9312 | 2549372.0521 | 1148080.2245
14 | 2549401.147 | 1148079.1531 | 2549400.3309 | 1148076.1695 | 2549399.9616 | 1148075.1832 | 2549397.0154 | 1148075.497 | 2549396.9336 | 1148073.9858 | 2549392.0032 | 1148073.9606 | 2549392.5982 | 1148057.9806 | 2549393.3709 | 1148039.3866 | 2549394.4891 | 1148032.6403 | 2549403.5232 | 1148033.9205 | 2549415.2692 | 1148042.6374
15 | 2549401.147 | 1148079.1531 | 2549402.0861 | 1148083.0694 | 2549405.7819 | 1148094.2664 | 2549417.1928 | 1148101.0055
16 | 2549415.2692 | 1148042.6374 | 2549417.9939 | 1148045.308
17 | 2549409.8028 | 1148120.3574 | 2549415.5185 | 1148113.3278 | 2549414.5196 | 1148112.3468 | 2549421.3717 | 1148103.4735 | 2549417.1928 | 1148101.0055
18 | 2549374.0377 | 1148162.9139 | 2549373.7416 | 1148173.3552 | 2549372.5608 | 1148183.4864
19 | 2549374.0377 | 1148162.9139 | 2549383.5146 | 1148154.7965 | 2549399.8439 | 1148136.9276 | 2549407.6323 | 1148128.2113
20 | 2549374.0377 | 1148162.9139 | 2549392.6993 | 1148157.4541
21 | 2549063.9404 | 1148393.8973 | 2549052.6178 | 1148402.5199 | 2549045.4295 | 1148406.1954
22 | 2549063.9404 | 1148393.8973 | 2549072.7002 | 1148405.4625 | 2549090.4786 | 1148397.4856 | 2549116.171 | 1148388.2522 | 2549126.1677 | 1148390.8135
23 | 2549063.9404 | 1148393.8973 | 2549062.5342 | 1148392.3074
24 | 2549130.5684 | 1148399.9699 | 2549126.1677 | 1148390.8135
25 | 2549126.1677 | 1148390.8135 | 2549127.7845 | 1148382.2397 | 2549137.2112 | 1148376.2921
26 | 2549046.762 | 1148374.4749 | 2549062.5342 | 1148392.3074
27 | 2549022.5275 | 1148264.3803 | 2549022.9964 | 1148268.9677 | 2549030.1056 | 1148270.5749 | 2549034.9661 | 1148270.5337 | 2549041.4109 | 1148270.7681 | 2549043.4971 | 1148274.0966 | 2549042.8004 | 1148279.7833 | 2549039.6602 | 1148284.379 | 2549037.2735 | 1148284.5548
28 | 2549037.2735 | 1148284.5548 | 2549037.8006 | 1148296.0008 | 2549043.915 | 1148296.2158 | 2549043.8134 | 1148300.5411 | 2549020.7595 | 1148323.3177
29 | 2549130.5684 | 1148399.9699 | 2549131.9253 | 1148406.0505 | 2549122.0608 | 1148420.9195 | 2549118.9185 | 1148423.4474
30 | 2549130.5684 | 1148399.9699 | 2549162.6376 | 1148408.2278
31 | 2549143.3254 | 1148373.9151 | 2549138.9286 | 1148375.2085 | 2549137.2112 | 1148376.2921
32 | 2549089.5181 | 1148261.4003 | 2549090.1703 | 1148266.7865 | 2549092.1132 | 1148282.7606
33 | 2549116.5043 | 1148214.9764 | 2549130.8287 | 1148232.4455
34 | 2549409.8028 | 1148120.3574 | 2549405.3553 | 1148120.2169 | 2549405.0115 | 1148120.4629
35 | 2549414.5267 | 1148120.4955 | 2549409.8028 | 1148120.3574
36 | 2549368.7266 | 1148198.7816 | 2549371.765 | 1148190.314 | 2549372.5608 | 1148183.4864
37 | 2549414.5267 | 1148120.4955 | 2549407.6323 | 1148128.2113
38 | 2549470.6528 | 1148157.721 | 2549464.914 | 1148151.9551 | 2549445.2837 | 1148140.7475 | 2549433.6166 | 1148141.3903 | 2549424.0764 | 1148142.9158 | 2549393.3648 | 1148157.2594 | 2549392.6993 | 1148157.4541
39 | 2549368.216 | 1148200.2046 | 2549368.7266 | 1148198.7816
40 | 2549470.6528 | 1148157.721 | 2549474.0238 | 1148165.0076 | 2549476.5327 | 1148182.0954
41 | 2549368.216 | 1148200.2046 | 2549361.3018 | 1148202.5974 | 2549353.4009 | 1148208.178 | 2549340.4513 | 1148225.3929
42 | 2549361.0498 | 1148213.6942 | 2549362.7928 | 1148210.9448 | 2549368.216 | 1148200.2046
43 | 2549476.5327 | 1148182.0954 | 2549462.6342 | 1148180.378 | 2549456.0192 | 1148184.5691 | 2549444.93 | 1148183.034
44 | 2549476.5327 | 1148182.0954 | 2549476.1511 | 1148197.918 | 2549474.0475 | 1148205.284 | 2549469.4125 | 1148212.9825 | 2549466.1813 | 1148215.9223
45 | 2549394.8998 | 1148238.6387 | 2549411.9829 | 1148240.1365
46 | 2549431.751 | 1148241.8697 | 2549411.9829 | 1148240.1365
47 | 2549466.1813 | 1148215.9223 | 2549459.1854 | 1148222.2955 | 2549431.751 | 1148241.8697
48 | 2549466.1813 | 1148215.9223 | 2549451.6439 | 1148213.5989
49 | 2549293.7627 | 1148275.2527 | 2549302.1568 | 1148271.8208 | 2549319.2578 | 1148253.5671 | 2549340.4513 | 1148225.3929
50 | 2549361.0498 | 1148213.6942 | 2549348.8406 | 1148232.9293 | 2549320.3224 | 1148266.8873 | 2549296.5073 | 1148293.9577 | 2549282.9801 | 1148302.9875
51 | 2549361.0498 | 1148213.6942 | 2549358.4777 | 1148239.8239
52 | 2549256.5999 | 1148320.5165 | 2549257.7467 | 1148319.8315 | 2549282.9801 | 1148302.9875
53 | 2549358.4777 | 1148239.8239 | 2549355.7239 | 1148267.801
54 | 2549224.7816 | 1148339.5224 | 2549256.5999 | 1148320.5165
55 | 2549355.7239 | 1148267.801 | 2549355.0088 | 1148275.0661 | 2549354.2752 | 1148277.2037
56 | 2549093.0011 | 1148290.0613 | 2549092.1132 | 1148282.7606
57 | 2549039.6493 | 1148366.4331 | 2549046.762 | 1148374.4749
58 | 2549114.3201 | 1148413.6256 | 2549118.9185 | 1148423.4474
59 | 2549103.648 | 1148437.395 | 2549107.2708 | 1148435.3855 | 2549118.9185 | 1148423.4474
60 | 2549162.6376 | 1148408.2278 | 2549167.4771 | 1148409.474 | 2549171.9237 | 1148408.6248 | 2549203.4861 | 1148389.1994
61 | 2549143.3254 | 1148373.9151 | 2549151.6135 | 1148371.4771
62 | 2549143.3254 | 1148373.9151 | 2549138.3057 | 1148361.4843 | 2549133.1114 | 1148357.4706 | 2549124.0087 | 1148356.1914 | 2549111.0517 | 1148359.1773
63 | 2549158.8156 | 1148271.5618 | 2549159.8827 | 1148267.8418 | 2549137.6374 | 1148240.749 | 2549130.8287 | 1148232.4455
64 | 2549157.6897 | 1148275.4866 | 2549158.8156 | 1148271.5618
65 | 2549157.6897 | 1148275.4866 | 2549150.5847 | 1148277.0919 | 2549122.3437 | 1148276.6484
66 | 2549157.6897 | 1148275.4866 | 2549155.216 | 1148292.6164 | 2549155.1278 | 1148293.3371
67 | 2549154.3137 | 1148299.9841 | 2549155.1278 | 1148293.3371
68 | 2549152.8102 | 1148312.2611 | 2549154.3137 | 1148299.9841
69 | 2549390.2703 | 1148125.513 | 2549397.699 | 1148125.6953 | 2549405.0115 | 1148120.4629
70 | 2549374.8462 | 1148125.1345 | 2549390.2703 | 1148125.513
71 | 2549418.0526 | 1148179.3134 | 2549444.93 | 1148183.034
72 | 2549234.86 | 1148490.425 | 2549230.365 | 1148481.9029 | 2549228.5554 | 1148474.9368 | 2549228.119 | 1148471.4497
73 | 2549228.119 | 1148471.4497 | 2549229.2278 | 1148469.0836 | 2549230.352 | 1148467.6289 | 2549232.5078 | 1148466.4879 | 2549241.2213 | 1148462.6123 | 2549256.8913 | 1148455.2696
74 | 2549234.86 | 1148490.425 | 2549247.2777 | 1148485.0841 | 2549256.3602 | 1148481.261 | 2549265.4428 | 1148477.4379 | 2549300.707 | 1148458.6641 | 2549331.4412 | 1148439.9286 | 2549351.5291 | 1148428.0643 | 2549358.0984 | 1148424.874 | 2549364.7842 | 1148422.7499 | 2549376.6112 | 1148422.9171 | 2549376.6112 | 1148422.9171
75 | 2549103.648 | 1148437.395 | 2549090.3266 | 1148443.9223 | 2549078.6687 | 1148447.3895 | 2549068.3796 | 1148450.1892 | 2549056.1803 | 1148451.382 | 2549045.076 | 1148452.2209 | 2549040.9144 | 1148453.1678 | 2549037.5788 | 1148454.6302 | 2549034.4569 | 1148457.7471 | 2549033.0625 | 1148459.9268 | 2549032.3679 | 1148462.2339 | 2549032.2502 | 1148464.6584 | 2549032.6285 | 1148467.6123 | 2549033.5136 | 1148471.4734 | 2549042.4247 | 1148503.6036 | 2549047.0977 | 1148519.5057 | 2549049.2232 | 1148528.3924 | 2549079.4613 | 1148513.762 | 2549108.1777 | 1148495.3426 | 2549119.4325 | 1148504.1409 | 2549132.4678 | 1148511.0009 | 2549143.8107 | 1148512.9615 | 2549156.3514 | 1148510.3875 | 2549197.8725 | 1148500.5982 | 2549221.5132 | 1148494.8511 | 2549234.86 | 1148490.425
76 | 2549203.4861 | 1148389.1994 | 2549208.6989 | 1148385.9912 | 2549211.2249 | 1148381.4008 | 2549237.8739 | 1148366.7105
77 | 2549374.8462 | 1148125.1345 | 2549373.3942 | 1148125.0989
78 | 2549373.3942 | 1148125.0989 | 2549365.9923 | 1148124.9173 | 2549365.9923 | 1148124.9173
79 | 2549359.5592 | 1148116.5666 | 2549365.9923 | 1148124.9173
80 | 2549151.6135 | 1148371.4771 | 2549155.134 | 1148370.0799 | 2549172.1026 | 1148363.3434
81 | 2549151.6135 | 1148371.4771 | 2549152.9487 | 1148360.4711 | 2549156.2323 | 1148359.2094 | 2549153.7043 | 1148352.6606 | 2549141.2906 | 1148345.7842 | 2549151.5466 | 1148321.8072 | 2549152.3213 | 1148316.2533 | 2549152.8102 | 1148312.2611
82 | 2549172.1026 | 1148363.3434 | 2549183.1678 | 1148358.9505
83 | 2549103.648 | 1148437.395 | 2549090.5354 | 1148435.9386 | 2549076.3788 | 1148436.818
84 | 2549224.7816 | 1148339.5224 | 2549210.2686 | 1148348.1915 | 2549183.1678 | 1148358.9505
85 | 2549054.5091 | 1148434.4984 | 2549065.4616 | 1148437.4961 | 2549076.3788 | 1148436.818
86 | 2549376.6112 | 1148422.9171 | 2549387.3623 | 1148427.5513
87 | 2549039.6493 | 1148366.4331 | 2549031.6323 | 1148357.363
88 | 2549039.6493 | 1148366.4331 | 2549024.9754 | 1148376.7093
89 | 2549031.6323 | 1148357.363 | 2549044.582 | 1148347.9037
90 | 2549348.7703 | 1148293.2446 | 2549354.2752 | 1148277.2037
91 | 2549443.3718 | 1148512.4024 | 2549433.3562 | 1148508.4623 | 2549421.3449 | 1148500.9705 | 2549412.5253 | 1148490.4169 | 2549401.7168 | 1148468.9077 | 2549399.1493 | 1148457.6345 | 2549397.3878 | 1148444.5091 | 2549394.8574 | 1148436.7264 | 2549387.3623 | 1148427.5513
92 | 2549469.7296 | 1148499.0926 | 2549484.6717 | 1148488.1204 | 2549496.0287 | 1148478.9758 | 2549498.5838 | 1148476.92 | 2549513.3262 | 1148466.7353 | 2549523.8094 | 1148464.1793 | 2549535.5116 | 1148464.1255 | 2549547.9358 | 1148466.8561 | 2549555.1536 | 1148468.6409 | 2549561.6271 | 1148472.3219 | 2549567.6294 | 1148482.0878 | 2549571.1888 | 1148490.0803
93 | 2549469.7296 | 1148499.0926 | 2549457.2433 | 1148508.2614 | 2549447.2783 | 1148511.2362
94 | 2549571.1888 | 1148490.0803 | 2549572.4582 | 1148492.9307 | 2549579.5377 | 1148509.3689 | 2549584.9683 | 1148527.8775 | 2549595.4314 | 1148563.521
95 | 2549443.3718 | 1148512.4024 | 2549447.2783 | 1148511.2362

## bus_geodata
| x | y | coords
0 | 2549321.9939 | 1148157.6751
1 | 2549330.9935 | 1148159.1491
2 | 2549348.7059 | 1148161.3374
3 | 2549351.7209 | 1148161.5251
4 | 2549087.9744 | 1148248.6845
5 | 2549078.232 | 1148250.18
6 | 2549105.1649 | 1148201.1474
7 | 2549088.4586 | 1148252.6731
8 | 2549051.2312 | 1148246.1498
9 | 2549113.7886 | 1148211.6644
10 | 2549045.7062 | 1148256.591
11 | 2549401.147 | 1148079.1531
12 | 2549372.052 | 1148080.2245
13 | 2549415.2692 | 1148042.6374
14 | 2549417.1928 | 1148101.0055
15 | 2549417.9939 | 1148045.308
16 | 2549374.0377 | 1148162.9139
17 | 2549063.9404 | 1148393.8973
18 | 2549045.4295 | 1148406.1954
19 | 2549126.1677 | 1148390.8135
20 | 2549062.5342 | 1148392.3074
21 | 2549022.5275 | 1148264.3803
22 | 2549037.2735 | 1148284.5548
23 | 2549130.5684 | 1148399.9699
24 | 2549137.2112 | 1148376.2921
25 | 2549089.5181 | 1148261.4003
26 | 2549116.5043 | 1148214.9764
27 | 2549409.8028 | 1148120.3574
28 | 2549372.5608 | 1148183.4864
29 | 2549407.6323 | 1148128.2113
30 | 2549392.6993 | 1148157.4541
31 | 2549368.7266 | 1148198.7816
32 | 2549414.5267 | 1148120.4955
33 | 2549470.6528 | 1148157.721
34 | 2549368.216 | 1148200.2046
35 | 2549476.5327 | 1148182.0954
36 | 2549394.8998 | 1148238.6387
37 | 2549411.9829 | 1148240.1365
38 | 2549431.751 | 1148241.8697
39 | 2549466.1813 | 1148215.9223
40 | 2549451.6439 | 1148213.5989
41 | 2549340.4513 | 1148225.3929
42 | 2549361.0498 | 1148213.6942
43 | 2549293.7627 | 1148275.2527
44 | 2549282.9801 | 1148302.9875
45 | 2549358.4777 | 1148239.8239
46 | 2549256.5999 | 1148320.5165
47 | 2549355.7239 | 1148267.801
48 | 2549092.1132 | 1148282.7606
49 | 2549093.0011 | 1148290.0613
50 | 2549046.762 | 1148374.4749
51 | 2549020.7595 | 1148323.3177
52 | 2549118.9185 | 1148423.4474
53 | 2549162.6376 | 1148408.2278
54 | 2549143.3254 | 1148373.9151
55 | 2549130.8287 | 1148232.4455
56 | 2549158.8156 | 1148271.5618
57 | 2549157.6897 | 1148275.4866
58 | 2549122.3437 | 1148276.6484
59 | 2549155.1278 | 1148293.3371
60 | 2549154.3137 | 1148299.9841
61 | 2549405.0115 | 1148120.4629
62 | 2549390.2703 | 1148125.513
63 | 2549444.93 | 1148183.034
64 | 2549228.119 | 1148471.4497
65 | 2549234.86 | 1148490.425
66 | 2549256.8913 | 1148455.2696
67 | 2549237.8739 | 1148366.7105
68 | 2549203.4861 | 1148389.1994
69 | 2549374.8462 | 1148125.1345
70 | 2549373.3942 | 1148125.0989
71 | 2549365.9923 | 1148124.9173
72 | 2549151.6135 | 1148371.4771
73 | 2549111.0517 | 1148359.1773
74 | 2549172.1026 | 1148363.3434
75 | 2549152.8102 | 1148312.2611
76 | 2549114.3201 | 1148413.6256
77 | 2549103.648 | 1148437.395
78 | 2549183.1678 | 1148358.9505
79 | 2549418.0526 | 1148179.3134
80 | 2549076.3788 | 1148436.818
81 | 2549376.6112 | 1148422.9171
82 | 2549359.5592 | 1148116.5666
83 | 2549039.6493 | 1148366.4331
84 | 2549031.6323 | 1148357.363
85 | 2549024.9754 | 1148376.7093
86 | 2549044.582 | 1148347.9037
87 | 2549224.7816 | 1148339.5224
88 | 2549348.7703 | 1148293.2446
89 | 2549354.2752 | 1148277.2037
90 | 2549054.5091 | 1148434.4984
91 | 2549387.3623 | 1148427.5513
92 | 2549469.7296 | 1148499.0926
93 | 2549571.1888 | 1148490.0804
94 | 2549447.2783 | 1148511.2362
95 | 2549595.4314 | 1148563.521
96 | 2549443.3718 | 1148512.4024
97 | 2549151.6135 | 1148371.4771

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1