## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5604-5_1_4_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_5604-5_1_4_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_5604-5_1_4_node_143 | 0.4 | n |  | TRUE
3 | bus_LV_5604-5_1_4_node_142 | 0.4 | n |  | TRUE
4 | bus_LV_5604-5_1_4_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_5604-5_1_4_node_132 | 0.4 | n |  | TRUE
6 | bus_LV_5604-5_1_4_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_5604-5_1_4_node_136 | 0.4 | n |  | TRUE
8 | bus_LV_5604-5_1_4_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_5604-5_1_4_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_5604-5_1_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_5604-5_1_4_node_137 | 0.4 | n |  | TRUE
12 | bus_LV_5604-5_1_4_node_126 | 0.4 | n |  | TRUE
13 | bus_LV_5604-5_1_4_node_178 | 0.4 | n |  | TRUE
14 | bus_LV_5604-5_1_4_node_138 | 0.4 | n |  | TRUE
15 | bus_LV_5604-5_1_4_node_139 | 0.4 | n |  | TRUE
16 | bus_LV_5604-5_1_4_node_140 | 0.4 | n |  | TRUE
17 | bus_LV_5604-5_1_4_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_5604-5_1_4_node_157 | 0.4 | n |  | TRUE
19 | bus_LV_5604-5_1_4_node_154 | 0.4 | n |  | TRUE
20 | bus_LV_5604-5_1_4_node_145 | 0.4 | n |  | TRUE
21 | bus_LV_5604-5_1_4_node_159 | 0.4 | n |  | TRUE
22 | bus_LV_5604-5_1_4_node_144 | 0.4 | n |  | TRUE
23 | bus_LV_5604-5_1_4_node_146 | 0.4 | n |  | TRUE
24 | bus_LV_5604-5_1_4_node_147 | 0.4 | n |  | TRUE
25 | bus_LV_5604-5_1_4_node_148 | 0.4 | n |  | TRUE
26 | bus_LV_5604-5_1_4_node_162 | 0.4 | n |  | TRUE
27 | bus_LV_5604-5_1_4_node_175 | 0.4 | n |  | TRUE
28 | bus_LV_5604-5_1_4_node_149 | 0.4 | n |  | TRUE
29 | bus_LV_5604-5_1_4_node_151 | 0.4 | n |  | TRUE
30 | bus_LV_5604-5_1_4_node_150 | 0.4 | n |  | TRUE
31 | bus_LV_5604-5_1_4_node_153 | 0.4 | n |  | TRUE
32 | bus_LV_5604-5_1_4_node_163 | 0.4 | n |  | TRUE
33 | bus_LV_5604-5_1_4_node_160 | 0.4 | n |  | TRUE
34 | bus_LV_5604-5_1_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5604-5_1_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5604-5_1_4_node_155 | 0.4 | n |  | TRUE
37 | bus_LV_5604-5_1_4_node_156 | 0.4 | n |  | TRUE
38 | bus_LV_5604-5_1_4_node_176 | 0.4 | n |  | TRUE
39 | bus_LV_5604-5_1_4_node_111 | 0.4 | n |  | TRUE
40 | bus_LV_5604-5_1_4_node_158 | 0.4 | n |  | TRUE
41 | bus_LV_5604-5_1_4_node_113 | 0.4 | n |  | TRUE
42 | bus_LV_5604-5_1_4_node_161 | 0.4 | n |  | TRUE
43 | bus_LV_5604-5_1_4_node_172 | 0.4 | n |  | TRUE
44 | bus_LV_5604-5_1_4_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_5604-5_1_4_node_114 | 0.4 | n |  | TRUE
46 | bus_LV_5604-5_1_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5604-5_1_4_node_179 | 0.4 | n |  | TRUE
48 | bus_LV_5604-5_1_4_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_5604-5_1_4_node_180 | 0.4 | n |  | TRUE
50 | bus_LV_5604-5_1_4_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_5604-5_1_4_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_5604-5_1_4_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_5604-5_1_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_5604-5_1_4_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_5604-5_1_4_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_5604-5_1_4_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_5604-5_1_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_5604-5_1_4_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_5604-5_1_4_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_5604-5_1_4_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_5604-5_1_4_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_5604-5_1_4_node_103 | 0.4 | n |  | TRUE
63 | bus_LV_5604-5_1_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_5604-5_1_4_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_5604-5_1_4_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_5604-5_1_4_node_107 | 0.4 | n |  | TRUE
67 | bus_LV_5604-5_1_4_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_5604-5_1_4_node_108 | 0.4 | n |  | TRUE
69 | bus_LV_5604-5_1_4_node_110 | 0.4 | n |  | TRUE
70 | bus_LV_5604-5_1_4_node_123 | 0.4 | n |  | TRUE
71 | bus_LV_5604-5_1_4_node_124 | 0.4 | n |  | TRUE
72 | bus_LV_5604-5_1_4_node_125 | 0.4 | n |  | TRUE
73 | bus_MV_366_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5604-5_1_4_load_142 | 3 | 0.001846 | 0.00046264 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5604-5_1_4_load_129 | 4 | 0.00079555 | 0.00019938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5604-5_1_4_load_131 | 6 | 0.00078261 | 0.00019614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5604-5_1_4_load_136 | 7 | 0.0019215 | 0.00048158 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5604-5_1_4_load_134 | 8 | 0.0019372 | 0.00048551 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5604-5_1_4_load_135 | 9 | 0.00027936 | 7.0014e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5604-5_1_4_load_81 | 10 | 0.0016131 | 0.00040429 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5604-5_1_4_load_137 | 11 | 0.0022366 | 0.00056056 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5604-5_1_4_load_126 | 12 | 0.00044033 | 0.00011036 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5604-5_1_4_load_178 | 13 | 0.0025489 | 0.00063882 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5604-5_1_4_load_138 | 14 | 0.0009829 | 0.00024634 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5604-5_1_4_load_139 | 15 | 0.0019554 | 0.00049007 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5604-5_1_4_load_140 | 16 | 0.00071055 | 0.00017808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5604-5_1_4_load_154 | 19 | 0.001765 | 0.00044236 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5604-5_1_4_load_159 | 21 | 0.00078065 | 0.00019565 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5604-5_1_4_load_144 | 22 | 0.0012961 | 0.00032483 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5604-5_1_4_load_148 | 25 | 0.0025205 | 0.00063169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5604-5_1_4_load_162 | 26 | 0.0014963 | 0.00037501 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5604-5_1_4_load_175 | 27 | 0.0056616 | 0.0014189 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5604-5_1_4_load_149 | 28 | 0.0018447 | 0.00046232 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5604-5_1_4_load_151 | 29 | 0.00028375 | 7.1114e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5604-5_1_4_load_150 | 30 | 0.0021602 | 0.00054139 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5604-5_1_4_load_163 | 32 | 0.003377 | 0.00084636 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5604-5_1_4_load_160 | 33 | 0.0019771 | 0.0004955 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5604-5_1_4_load_27 | 34 | 0.001647 | 0.00041278 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5604-5_1_4_load_155 | 36 | 0.0055833 | 0.0013993 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5604-5_1_4_load_176 | 38 | 0.0017951 | 0.0004499 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5604-5_1_4_load_111 | 39 | 0.00041208 | 0.00010328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5604-5_1_4_load_158 | 40 | 0.0069457 | 0.0017408 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5604-5_1_4_load_113 | 41 | 0.00090283 | 0.00022627 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5604-5_1_4_load_161 | 42 | 0.00029356 | 7.3572e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5604-5_1_4_load_172 | 43 | 0.00036667 | 9.1897e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5604-5_1_4_load_112 | 44 | 0.00076532 | 0.00019181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5604-5_1_4_load_114 | 45 | 0.0012301 | 0.0003083 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5604-5_1_4_load_179 | 47 | 0.00080204 | 0.00020101 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5604-5_1_4_load_180 | 49 | 0.00065187 | 0.00016337 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5604-5_1_4_load_73 | 51 | 0.00073747 | 0.00018483 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5604-5_1_4_load_74 | 52 | 0.0017323 | 0.00043414 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5604-5_1_4_load_75 | 53 | 0.00055069 | 0.00013802 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5604-5_1_4_load_79 | 56 | 0.0014781 | 0.00037045 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5604-5_1_4_load_82 | 57 | 0.0014128 | 0.00035407 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5604-5_1_4_load_99 | 58 | 0.00078735 | 0.00019733 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5604-5_1_4_load_101 | 60 | 0.00011623 | 2.9131e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5604-5_1_4_load_102 | 61 | 0.00018139 | 4.546e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5604-5_1_4_load_103 | 62 | 0.00078979 | 0.00019794 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5604-5_1_4_load_104 | 63 | 0.00077951 | 0.00019536 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5604-5_1_4_load_105 | 64 | 0.000127 | 3.183e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5604-5_1_4_load_107 | 66 | 0.00035505 | 8.8984e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5604-5_1_4_load_109 | 67 | 0.0003077 | 7.7116e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5604-5_1_4_load_108 | 68 | 0.001366 | 0.00034235 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5604-5_1_4_load_110 | 69 | 0.00049824 | 0.00012487 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5604-5_1_4_load_123 | 70 | 0.003494 | 0.00087569 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5604-5_1_4_load_125 | 72 | 0.00070056 | 0.00017558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5604-5_1_4_line_0 |  | 0 | 1 | 0.082909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5604-5_1_4_line_1 |  | 0 | 2 | 0.14877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5604-5_1_4_line_2 |  | 0 | 3 | 0.10726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5604-5_1_4_line_3 |  | 1 | 4 | 0.16155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5604-5_1_4_line_4 |  | 1 | 72 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5604-5_1_4_line_5 |  | 2 | 21 | 0.024494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5604-5_1_4_line_6 |  | 3 | 20 | 0.21782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5604-5_1_4_line_7 |  | 4 | 5 | 0.027125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5604-5_1_4_line_8 |  | 5 | 7 | 0.022736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5604-5_1_4_line_9 |  | 5 | 6 | 0.005213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5604-5_1_4_line_10 |  | 7 | 9 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5604-5_1_4_line_11 |  | 8 | 9 | 0.033651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5604-5_1_4_line_12 |  | 8 | 10 | 0.2364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5604-5_1_4_line_13 |  | 10 | 56 | 0.071029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5604-5_1_4_line_14 |  | 11 | 12 | 0.0083538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5604-5_1_4_line_15 |  | 11 | 13 | 0.19046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5604-5_1_4_line_16 |  | 12 | 71 | 0.11825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5604-5_1_4_line_17 |  | 13 | 14 | 0.23464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5604-5_1_4_line_18 |  | 14 | 15 | 0.046111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5604-5_1_4_line_19 |  | 16 | 17 | 0.053534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5604-5_1_4_line_20 |  | 17 | 18 | 0.043049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5604-5_1_4_line_21 |  | 17 | 19 | 0.043607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5604-5_1_4_line_22 |  | 18 | 41 | 0.21757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5604-5_1_4_line_23 |  | 18 | 38 | 0.088315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5604-5_1_4_line_24 |  | 20 | 24 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5604-5_1_4_line_25 |  | 20 | 22 | 0.057582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5604-5_1_4_line_26 |  | 22 | 23 | 0.033733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5604-5_1_4_line_27 |  | 23 | 25 | 0.025789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5604-5_1_4_line_28 |  | 23 | 26 | 0.24255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5604-5_1_4_line_29 |  | 24 | 27 | 0.042922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5604-5_1_4_line_30 |  | 25 | 28 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5604-5_1_4_line_31 |  | 26 | 42 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5604-5_1_4_line_32 |  | 28 | 29 | 0.42362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5604-5_1_4_line_33 |  | 29 | 30 | 0.034123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5604-5_1_4_line_34 |  | 31 | 32 | 0.057014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5604-5_1_4_line_35 |  | 31 | 33 | 0.06933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5604-5_1_4_line_36 |  | 33 | 42 | 0.040223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5604-5_1_4_line_37 |  | 34 | 35 | 0.097197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5604-5_1_4_line_38 |  | 35 | 39 | 0.37891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5604-5_1_4_line_39 |  | 36 | 37 | 0.032584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5604-5_1_4_line_40 |  | 36 | 38 | 0.15432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5604-5_1_4_line_41 |  | 37 | 40 | 0.033271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5604-5_1_4_line_42 |  | 39 | 44 | 0.045048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5604-5_1_4_line_43 |  | 41 | 45 | 0.1297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5604-5_1_4_line_44 |  | 41 | 54 | 0.21777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5604-5_1_4_line_45 |  | 43 | 44 | 0.42536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5604-5_1_4_line_46 |  | 43 | 45 | 0.26568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5604-5_1_4_line_47 |  | 44 | 58 | 0.24049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5604-5_1_4_line_48 |  | 46 | 47 | 0.075725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5604-5_1_4_line_49 |  | 46 | 48 | 0.033749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5604-5_1_4_line_50 |  | 48 | 50 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5604-5_1_4_line_51 |  | 48 | 52 | 0.097302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5604-5_1_4_line_52 |  | 49 | 50 | 0.040135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5604-5_1_4_line_53 |  | 50 | 55 | 0.071517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5604-5_1_4_line_54 |  | 51 | 52 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5604-5_1_4_line_55 |  | 51 | 53 | 0.11858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5604-5_1_4_line_56 |  | 53 | 54 | 0.01913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5604-5_1_4_line_57 |  | 55 | 57 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5604-5_1_4_line_58 |  | 55 | 56 | 0.035794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5604-5_1_4_line_59 |  | 58 | 59 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5604-5_1_4_line_60 |  | 59 | 60 | 0.084882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5604-5_1_4_line_61 |  | 59 | 61 | 0.084661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5604-5_1_4_line_62 |  | 60 | 62 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5604-5_1_4_line_63 |  | 61 | 63 | 0.0028192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5604-5_1_4_line_64 |  | 63 | 64 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5604-5_1_4_line_65 |  | 64 | 65 | 0.13793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5604-5_1_4_line_66 |  | 65 | 66 | 0.052919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5604-5_1_4_line_67 |  | 66 | 67 | 0.00020503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5604-5_1_4_line_68 |  | 67 | 68 | 0.013819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5604-5_1_4_line_69 |  | 68 | 69 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5604-5_1_4_line_70 |  | 70 | 71 | 0.022337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5604-5_1_4_line_71 |  | 71 | 72 | 0.038632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5604-5_1_4_trafo_138 | 0.63 MVA 20/0.4 kV | 73 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2549348.5406 | 1154452.2701 | 2549346.237 | 1154435.6252 | 2549339.5151 | 1154406.3109 | 2549330.6572 | 1154382.9622 | 2549325.1145 | 1154373.3928
1 | 2549325.1145 | 1154373.3928 | 2549315.7029 | 1154353.5284 | 2549312.9992 | 1154342.2231 | 2549313.7776 | 1154328.098 | 2549316.3863 | 1154305.4307 | 2549316.8619 | 1154286.3389 | 2549309.915 | 1154241.296 | 2549310.9904 | 1154227.8354
2 | 2549325.1145 | 1154373.3928 | 2549372.6995 | 1154337.8619 | 2549379.6883 | 1154336.9803 | 2549384.449 | 1154340.2308 | 2549402.8734 | 1154370.0697
3 | 2549348.5406 | 1154452.2701 | 2549330.8127 | 1154460.4905 | 2549319.3693 | 1154467.0905 | 2549306.7956 | 1154475.212 | 2549298.0498 | 1154483.3122 | 2549290.0807 | 1154492.551 | 2549283.2933 | 1154506.36 | 2549281.1191 | 1154520.508 | 2549282.8004 | 1154538.8257 | 2549287.9121 | 1154553.6903 | 2549296.8578 | 1154569.2786 | 2549301.3836 | 1154575.7758
4 | 2549348.5406 | 1154452.2701 | 2549351.8292 | 1154463.225
5 | 2549310.9904 | 1154227.8354 | 2549333.5596 | 1154237.3543
6 | 2549402.8734 | 1154370.0697 | 2549589.5263 | 1154257.7857
7 | 2549297.9055 | 1154596.1505 | 2549308.4978 | 1154585.9892 | 2549301.3836 | 1154575.7758
8 | 2549297.9055 | 1154596.1505 | 2549311.0938 | 1154614.6711
9 | 2549297.9055 | 1154596.1505 | 2549293.6106 | 1154599.105
10 | 2549311.0938 | 1154614.6711 | 2549319.4117 | 1154626.3521
11 | 2549338.9311 | 1154653.7638 | 2549319.4117 | 1154626.3521
12 | 2549338.9311 | 1154653.7638 | 2549209.9797 | 1154851.8943
13 | 2549209.9797 | 1154851.8943 | 2549209.8514 | 1154858.4988 | 2549213.6582 | 1154863.2803 | 2549222.4857 | 1154869.4534 | 2549233.4654 | 1154876.153 | 2549242.1075 | 1154881.2605 | 2549248.9667 | 1154887.8059 | 2549253.8608 | 1154894.1902 | 2549257.7941 | 1154900.117
14 | 2549424.1714 | 1154601.4104 | 2549426.3201 | 1154604.4838 | 2549429.4856 | 1154607.8267
15 | 2549429.4856 | 1154607.8267 | 2549609.4229 | 1154545.3921
16 | 2549364.689 | 1154499.6255 | 2549369.2611 | 1154511.471 | 2549386.8647 | 1154545.8519 | 2549407.3279 | 1154577.3183 | 2549424.1714 | 1154601.4104
17 | 2549609.4229 | 1154545.3921 | 2549592.7737 | 1154779.4422
18 | 2549614.2118 | 1154820.2209 | 2549596.682 | 1154788.5934 | 2549592.7737 | 1154779.4422
19 | 2549802.1441 | 1155080.3487 | 2549809.6264 | 1155061.5207 | 2549822.0372 | 1155048.6659 | 2549823.7305 | 1155041.1033 | 2549817.1953 | 1155037.1159
20 | 2549802.1441 | 1155080.3487 | 2549783.829 | 1155086.9941 | 2549788.0704 | 1155098.8871 | 2549789.6414 | 1155109.713
21 | 2549802.1441 | 1155080.3487 | 2549843.256 | 1155065.8099
22 | 2549789.6414 | 1155109.713 | 2549653.8774 | 1155279.7271
23 | 2549789.6414 | 1155109.713 | 2549809.5502 | 1155123.0648 | 2549839.1255 | 1155135.7133 | 2549851.5642 | 1155131.7296 | 2549870.5568 | 1155128.147
24 | 2549598.4694 | 1154271.2845 | 2549593.1421 | 1154262.6579 | 2549589.5263 | 1154257.7857
25 | 2549589.5263 | 1154257.7857 | 2549602.4747 | 1154244.8592 | 2549609.8341 | 1154238.7498 | 2549615.6809 | 1154237.0555 | 2549625.568 | 1154237.7952 | 2549638.508 | 1154242.3513
26 | 2549665.5468 | 1154240.8506 | 2549660.4454 | 1154250.0204 | 2549656.0063 | 1154248.5124 | 2549638.508 | 1154242.3513
27 | 2549665.5468 | 1154240.8506 | 2549689.1417 | 1154251.2599
28 | 2549665.5468 | 1154240.8506 | 2549742.5311 | 1154010.8411
29 | 2549637.0925 | 1154262.7228 | 2549625.954 | 1154259.1254 | 2549619.3621 | 1154258.8694 | 2549611.67 | 1154260.9906 | 2549598.4694 | 1154271.2845
30 | 2549698.9882 | 1154255.6039 | 2549689.1417 | 1154251.2599
31 | 2549742.5311 | 1154010.8411 | 2549744.6533 | 1153997.4606
32 | 2549698.9882 | 1154255.6039 | 2550122.478 | 1154266.2931
33 | 2550122.478 | 1154266.2931 | 2550127.8742 | 1154272.8345 | 2550137.7257 | 1154282.2355 | 2550143.6074 | 1154287.5005 | 2550146.9844 | 1154289.8803
34 | 2549765.1099 | 1153900.8612 | 2549782.6908 | 1153917.9232 | 2549805.8065 | 1153940.8977
35 | 2549765.1099 | 1153900.8612 | 2549767.0543 | 1153906.7703 | 2549776.4934 | 1153958.463 | 2549770.118 | 1153966.8836
36 | 2549770.118 | 1153966.8836 | 2549762.8729 | 1153976.4529 | 2549758.9326 | 1153980.488 | 2549745.0452 | 1153994.9895 | 2549744.6533 | 1153997.4606
37 | 2549216.2295 | 1155217.1892 | 2549208.638 | 1155205.6473 | 2549192.6235 | 1155181.2921 | 2549154.9195 | 1155142.3084
38 | 2549318.2223 | 1155582.1163 | 2549216.2295 | 1155217.1892
39 | 2550052.1044 | 1155148.1676 | 2550024.8573 | 1155130.2976
40 | 2549870.5568 | 1155128.147 | 2550024.8573 | 1155130.2976
41 | 2550052.1044 | 1155148.1676 | 2550045.7348 | 1155157.003 | 2550058.1621 | 1155175.6141
42 | 2549318.2223 | 1155582.1163 | 2549347.7853 | 1155616.1061
43 | 2549754.4508 | 1155361.1107 | 2549729.3299 | 1155337.0257 | 2549669.3827 | 1155288.8023 | 2549653.8774 | 1155279.7271
44 | 2549653.8774 | 1155279.7271 | 2549533.5683 | 1155098.2081
45 | 2549347.7853 | 1155616.1061 | 2549773.0225 | 1155626.1395
46 | 2549754.4508 | 1155361.1107 | 2549773.0225 | 1155626.1395
47 | 2549238.5044 | 1155830.3298 | 2549347.7853 | 1155616.1061
48 | 2549275.8011 | 1154996.1474 | 2549286.3188 | 1155002.6732 | 2549297.1991 | 1155004.8936 | 2549315.7328 | 1155009.6397 | 2549331.3159 | 1155019.2356 | 2549340.5585 | 1155031.0083
49 | 2549275.8011 | 1154996.1474 | 2549309.5223 | 1154999.0532
50 | 2549309.5223 | 1154999.0532 | 2549312.5121 | 1154988.856
51 | 2549309.5223 | 1154999.0532 | 2549348.3866 | 1155002.405 | 2549378.4371 | 1155008.466 | 2549402.0606 | 1155022.8102
52 | 2549312.5121 | 1154988.856 | 2549319.2823 | 1154984.8746 | 2549325.4658 | 1154974.995 | 2549336.61 | 1154957.5918
53 | 2549312.5121 | 1154988.856 | 2549311.5379 | 1154979.7594 | 2549304.9474 | 1154962.317 | 2549297.8182 | 1154945.5905 | 2549292.3541 | 1154935.2868 | 2549282.6054 | 1154925.375
54 | 2549414.0664 | 1155030.1001 | 2549402.0606 | 1155022.8102
55 | 2549516.189 | 1155090.2131 | 2549503.476 | 1155084.3648 | 2549429.5233 | 1155039.4855 | 2549414.0664 | 1155030.1001
56 | 2549533.5683 | 1155098.2081 | 2549516.189 | 1155090.2131
57 | 2549282.6054 | 1154925.375 | 2549269.6842 | 1154941.2591
58 | 2549282.6054 | 1154925.375 | 2549269.4449 | 1154915.6588 | 2549265.1029 | 1154910.1592 | 2549260.5738 | 1154904.3055 | 2549257.7941 | 1154900.117
59 | 2549246.4443 | 1155846.1982 | 2549238.5044 | 1155830.3298
60 | 2549246.4443 | 1155846.1982 | 2549233.4803 | 1155854.0563 | 2549224.4121 | 1155862.782 | 2549212.9774 | 1155875.5298 | 2549206.7438 | 1155881.1632 | 2549177.4386 | 1155893.016
61 | 2549246.4443 | 1155846.1982 | 2549284.3353 | 1155921.9062
62 | 2549177.4386 | 1155893.016 | 2549167.3468 | 1155897.0977
63 | 2549285.5971 | 1155924.4273 | 2549284.3353 | 1155921.9062
64 | 2549285.5971 | 1155924.4273 | 2549293.0472 | 1155939.313
65 | 2549354.7761 | 1156062.6644 | 2549295.677 | 1155944.5675 | 2549293.0472 | 1155939.313
66 | 2549354.7761 | 1156062.6644 | 2549361.3212 | 1156058.5071 | 2549375.2532 | 1156049.0736 | 2549396.4837 | 1156030.3011
67 | 2549396.4837 | 1156030.3011 | 2549396.6373 | 1156030.1653
68 | 2549408.2957 | 1156023.1038 | 2549401.4021 | 1156025.9522 | 2549396.6373 | 1156030.1653
69 | 2549408.2957 | 1156023.1038 | 2549408.2957 | 1156023.1038 | 2549422.6353 | 1156030.8193
70 | 2549364.689 | 1154499.6255 | 2549384.7353 | 1154509.4794
71 | 2549364.689 | 1154499.6255 | 2549355.9837 | 1154477.0648 | 2549351.8292 | 1154463.225

## bus_geodata
| x | y | coords
0 | 2549325.1145 | 1154373.3928
1 | 2549348.5406 | 1154452.2701
2 | 2549310.9904 | 1154227.8354
3 | 2549402.8734 | 1154370.0697
4 | 2549301.3836 | 1154575.7758
5 | 2549297.9055 | 1154596.1505
6 | 2549293.6106 | 1154599.105
7 | 2549311.0938 | 1154614.6711
8 | 2549338.9311 | 1154653.7638
9 | 2549319.4117 | 1154626.3521
10 | 2549209.9797 | 1154851.8943
11 | 2549429.4856 | 1154607.8267
12 | 2549424.1714 | 1154601.4104
13 | 2549609.4229 | 1154545.3921
14 | 2549592.7737 | 1154779.4422
15 | 2549614.2118 | 1154820.2209
16 | 2549817.1953 | 1155037.1159
17 | 2549802.1441 | 1155080.3487
18 | 2549789.6414 | 1155109.713
19 | 2549843.256 | 1155065.8099
20 | 2549589.5263 | 1154257.7857
21 | 2549333.5596 | 1154237.3543
22 | 2549638.508 | 1154242.3513
23 | 2549665.5468 | 1154240.8506
24 | 2549598.4694 | 1154271.2845
25 | 2549689.1417 | 1154251.2599
26 | 2549742.5311 | 1154010.8411
27 | 2549637.0925 | 1154262.7228
28 | 2549698.9882 | 1154255.6039
29 | 2550122.478 | 1154266.2931
30 | 2550146.9844 | 1154289.8803
31 | 2549765.1099 | 1153900.8612
32 | 2549805.8065 | 1153940.8977
33 | 2549770.118 | 1153966.8836
34 | 2549154.9195 | 1155142.3084
35 | 2549216.2295 | 1155217.1892
36 | 2550024.8573 | 1155130.2976
37 | 2550052.1044 | 1155148.1676
38 | 2549870.5568 | 1155128.147
39 | 2549318.2223 | 1155582.1163
40 | 2550058.1621 | 1155175.6141
41 | 2549653.8774 | 1155279.7271
42 | 2549744.6533 | 1153997.4606
43 | 2549773.0225 | 1155626.1395
44 | 2549347.7853 | 1155616.1061
45 | 2549754.4508 | 1155361.1107
46 | 2549275.8011 | 1154996.1474
47 | 2549340.5585 | 1155031.0083
48 | 2549309.5223 | 1154999.0532
49 | 2549336.61 | 1154957.5918
50 | 2549312.5121 | 1154988.856
51 | 2549414.0664 | 1155030.1001
52 | 2549402.0606 | 1155022.8101
53 | 2549516.189 | 1155090.2131
54 | 2549533.5683 | 1155098.2081
55 | 2549282.6054 | 1154925.375
56 | 2549257.7941 | 1154900.117
57 | 2549269.6842 | 1154941.2591
58 | 2549238.5044 | 1155830.3298
59 | 2549246.4443 | 1155846.1982
60 | 2549177.4386 | 1155893.016
61 | 2549284.3353 | 1155921.9062
62 | 2549167.3468 | 1155897.0977
63 | 2549285.5971 | 1155924.4273
64 | 2549293.0472 | 1155939.313
65 | 2549354.7761 | 1156062.6644
66 | 2549396.4837 | 1156030.3011
67 | 2549396.6373 | 1156030.1653
68 | 2549408.2957 | 1156023.1037
69 | 2549422.6353 | 1156030.8193
70 | 2549384.7353 | 1154509.4794
71 | 2549364.689 | 1154499.6255
72 | 2549351.8292 | 1154463.225
73 | 2549364.689 | 1154499.6255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1