## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5607-3_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5607-3_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5607-3_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5607-3_0_8_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_5607-3_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5607-3_0_8_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_5607-3_0_8_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_5607-3_0_8_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_5607-3_0_8_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_5607-3_0_8_node_100 | 0.4 | n |  | TRUE
10 | bus_LV_5607-3_0_8_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_5607-3_0_8_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_5607-3_0_8_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_5607-3_0_8_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_5607-3_0_8_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_5607-3_0_8_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_5607-3_0_8_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_5607-3_0_8_node_107 | 0.4 | n |  | TRUE
18 | bus_LV_5607-3_0_8_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5607-3_0_8_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_5607-3_0_8_node_109 | 0.4 | n |  | TRUE
21 | bus_LV_5607-3_0_8_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_5607-3_0_8_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_5607-3_0_8_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_5607-3_0_8_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_5607-3_0_8_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_5607-3_0_8_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_5607-3_0_8_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_5607-3_0_8_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_5607-3_0_8_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_5607-3_0_8_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_5607-3_0_8_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_5607-3_0_8_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_5607-3_0_8_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_5607-3_0_8_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_5607-3_0_8_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_5607-3_0_8_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_5607-3_0_8_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_5607-3_0_8_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_5607-3_0_8_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_5607-3_0_8_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_5607-3_0_8_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_5607-3_0_8_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_5607-3_0_8_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_5607-3_0_8_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_5607-3_0_8_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_5607-3_0_8_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_5607-3_0_8_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_5607-3_0_8_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_5607-3_0_8_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_5607-3_0_8_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_5607-3_0_8_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_5607-3_0_8_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_5607-3_0_8_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_5607-3_0_8_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_5607-3_0_8_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_5607-3_0_8_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_5607-3_0_8_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_5607-3_0_8_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_5607-3_0_8_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_5607-3_0_8_node_90 | 0.4 | n |  | TRUE
61 | bus_LV_5607-3_0_8_node_94 | 0.4 | n |  | TRUE
62 | bus_LV_5607-3_0_8_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_5607-3_0_8_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_5607-3_0_8_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_5607-3_0_8_node_104 | 0.4 | n |  | TRUE
66 | bus_MV_384_1_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5607-3_0_8_load_0 | 0 | 0.004232 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5607-3_0_8_load_52 | 3 | 0.027842 | 0.0069778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5607-3_0_8_load_51 | 5 | 0.0019065 | 0.00047781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5607-3_0_8_load_41 | 6 | 0.010998 | 0.0027565 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5607-3_0_8_load_34 | 8 | 0.0043807 | 0.0010979 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5607-3_0_8_load_81 | 10 | 0.0069144 | 0.0017329 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5607-3_0_8_load_80 | 13 | 0.0023124 | 0.00057954 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5607-3_0_8_load_79 | 14 | 0.00012861 | 3.2232e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5607-3_0_8_load_107 | 17 | 0.011876 | 0.0029765 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5607-3_0_8_load_109 | 20 | 0.038934 | 0.0097578 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5607-3_0_8_load_70 | 22 | 0.019879 | 0.0049822 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5607-3_0_8_load_110 | 24 | 0.0006825 | 0.00017105 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5607-3_0_8_load_108 | 25 | 0.0011306 | 0.00028335 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5607-3_0_8_load_91 | 26 | 0.0038883 | 0.00097449 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5607-3_0_8_load_106 | 28 | 0.099195 | 0.024861 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5607-3_0_8_load_49 | 31 | 0.0010969 | 0.0002749 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5607-3_0_8_load_53 | 34 | 0.0031679 | 0.00079395 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5607-3_0_8_load_57 | 36 | 0.0071886 | 0.0018016 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5607-3_0_8_load_58 | 37 | 0.0010792 | 0.00027048 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5607-3_0_8_load_59 | 38 | 0.015223 | 0.0038154 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5607-3_0_8_load_66 | 39 | 0.00024075 | 6.0339e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5607-3_0_8_load_60 | 40 | 0.024602 | 0.0061658 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5607-3_0_8_load_61 | 42 | 0.040517 | 0.010155 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5607-3_0_8_load_62 | 43 | 0.0055502 | 0.001391 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5607-3_0_8_load_71 | 45 | 0.00054814 | 0.00013738 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5607-3_0_8_load_86 | 50 | 0.0076765 | 0.0019239 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5607-3_0_8_load_92 | 51 | 0.00086256 | 0.00021618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5607-3_0_8_load_97 | 53 | 0.0096923 | 0.0024291 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5607-3_0_8_load_101 | 54 | 0.044148 | 0.011065 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5607-3_0_8_load_85 | 55 | 0.00056143 | 0.00014071 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5607-3_0_8_load_84 | 56 | 0.0040969 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5607-3_0_8_load_89 | 57 | 0.0018731 | 0.00046946 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5607-3_0_8_load_87 | 58 | 0.005357 | 0.0013426 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5607-3_0_8_load_88 | 59 | 0.0017239 | 0.00043204 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5607-3_0_8_load_90 | 60 | 0.0017666 | 0.00044274 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5607-3_0_8_load_95 | 62 | 0.001431 | 0.00035865 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5607-3_0_8_load_96 | 63 | 0.0060151 | 0.0015075 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5607-3_0_8_load_105 | 64 | 0.0086332 | 0.0021637 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5607-3_0_8_load_104 | 65 | 0.015954 | 0.0039985 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5607-3_0_8_line_0 |  | 0 | 1 | 0.13155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5607-3_0_8_line_1 |  | 1 | 2 | 0.1945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5607-3_0_8_line_2 |  | 2 | 3 | 0.026882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5607-3_0_8_line_3 |  | 2 | 4 | 0.13468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5607-3_0_8_line_4 |  | 2 | 5 | 0.056293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5607-3_0_8_line_5 |  | 3 | 9 | 0.074732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5607-3_0_8_line_6 |  | 4 | 6 | 0.038334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5607-3_0_8_line_7 |  | 4 | 7 | 0.15093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5607-3_0_8_line_8 |  | 4 | 8 | 0.045542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5607-3_0_8_line_9 |  | 5 | 11 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5607-3_0_8_line_10 |  | 7 | 10 | 0.061946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5607-3_0_8_line_11 |  | 9 | 32 | 0.086139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5607-3_0_8_line_12 |  | 9 | 33 | 0.080341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5607-3_0_8_line_13 |  | 10 | 30 | 0.024714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5607-3_0_8_line_14 |  | 11 | 31 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5607-3_0_8_line_15 |  | 12 | 13 | 0.040161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5607-3_0_8_line_16 |  | 12 | 14 | 0.080174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5607-3_0_8_line_17 |  | 12 | 15 | 0.099362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5607-3_0_8_line_18 |  | 13 | 26 | 0.046996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5607-3_0_8_line_19 |  | 14 | 27 | 0.10397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5607-3_0_8_line_20 |  | 15 | 18 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5607-3_0_8_line_21 |  | 15 | 16 | 0.14337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5607-3_0_8_line_22 |  | 16 | 17 | 0.01684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5607-3_0_8_line_23 |  | 17 | 28 | 0.043658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5607-3_0_8_line_24 |  | 18 | 19 | 0.11348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5607-3_0_8_line_25 |  | 18 | 20 | 0.038305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5607-3_0_8_line_26 |  | 19 | 24 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5607-3_0_8_line_27 |  | 20 | 25 | 0.048149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5607-3_0_8_line_28 |  | 21 | 22 | 0.035011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5607-3_0_8_line_29 |  | 21 | 23 | 0.0032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5607-3_0_8_line_30 |  | 23 | 43 | 0.0098998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5607-3_0_8_line_31 |  | 24 | 44 | 0.0020644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5607-3_0_8_line_32 |  | 26 | 57 | 0.028355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5607-3_0_8_line_33 |  | 27 | 49 | 0.12613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5607-3_0_8_line_34 |  | 28 | 29 | 0.053132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5607-3_0_8_line_35 |  | 29 | 30 | 0.051855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5607-3_0_8_line_36 |  | 32 | 64 | 0.030062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5607-3_0_8_line_37 |  | 32 | 65 | 0.037019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5607-3_0_8_line_38 |  | 33 | 54 | 0.2829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5607-3_0_8_line_39 |  | 33 | 52 | 0.11397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5607-3_0_8_line_40 |  | 34 | 35 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5607-3_0_8_line_41 |  | 35 | 36 | 0.016571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5607-3_0_8_line_42 |  | 35 | 37 | 0.0046375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5607-3_0_8_line_43 |  | 36 | 38 | 0.011132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5607-3_0_8_line_44 |  | 37 | 39 | 0.018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5607-3_0_8_line_45 |  | 38 | 40 | 0.0094603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5607-3_0_8_line_46 |  | 39 | 41 | 0.069092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5607-3_0_8_line_47 |  | 40 | 42 | 0.0032013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5607-3_0_8_line_48 |  | 41 | 44 | 0.1247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5607-3_0_8_line_49 |  | 42 | 43 | 0.027732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5607-3_0_8_line_50 |  | 45 | 46 | 0.019536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5607-3_0_8_line_51 |  | 46 | 47 | 0.022745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5607-3_0_8_line_52 |  | 46 | 48 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5607-3_0_8_line_53 |  | 47 | 51 | 0.13386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5607-3_0_8_line_54 |  | 48 | 49 | 0.049006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5607-3_0_8_line_55 |  | 49 | 50 | 0.032885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5607-3_0_8_line_56 |  | 50 | 55 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5607-3_0_8_line_57 |  | 52 | 53 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5607-3_0_8_line_58 |  | 55 | 56 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5607-3_0_8_line_59 |  | 57 | 58 | 0.00048432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5607-3_0_8_line_60 |  | 58 | 59 | 0.022485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5607-3_0_8_line_61 |  | 59 | 60 | 0.021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5607-3_0_8_line_62 |  | 60 | 61 | 0.039275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5607-3_0_8_line_63 |  | 61 | 62 | 0.024317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5607-3_0_8_line_64 |  | 62 | 63 | 0.07249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5607-3_0_8_trafo_38 | 0.63 MVA 20/0.4 kV | 66 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2548477.4018 | 1148549.4413 | 2548455.9826 | 1148541.0204 | 2548436.0108 | 1148533.0541 | 2548426.1473 | 1148530.8153 | 2548415.0454 | 1148532.7893 | 2548397.273 | 1148537.7332 | 2548381.5499 | 1148538.991 | 2548362.0266 | 1148537.6579 | 2548350.2755 | 1148536.095
1 | 2548477.4018 | 1148549.4413 | 2548480.1144 | 1148554.1539 | 2548492.2042 | 1148575.1613 | 2548498.9162 | 1148586.0095 | 2548508.2514 | 1148603.6944 | 2548518.7203 | 1148622.8482 | 2548523.4727 | 1148641.5951 | 2548526.0887 | 1148663.7288 | 2548527.212 | 1148683.7186 | 2548529.537 | 1148697.8728 | 2548532.6121 | 1148709.0634 | 2548511.0248 | 1148715.9073
2 | 2548511.0248 | 1148715.9073 | 2548485.4019 | 1148724.0382
3 | 2548511.0248 | 1148715.9073 | 2548532.6121 | 1148709.0634 | 2548539.9396 | 1148721.8741 | 2548552.1995 | 1148740.39 | 2548571.3049 | 1148769.2529 | 2548576.6719 | 1148776.3996 | 2548580.3468 | 1148774.2449 | 2548585.1753 | 1148771.4021 | 2548598.6483 | 1148762.9936 | 2548604.1938 | 1148761.3898
4 | 2548511.0248 | 1148715.9073 | 2548503.499 | 1148724.7764 | 2548462.8414 | 1148743.2596
5 | 2548414.1699 | 1148746.6423 | 2548485.4019 | 1148724.0382
6 | 2548604.1938 | 1148761.3898 | 2548614.0245 | 1148758.949 | 2548637.9052 | 1148743.941
7 | 2548575.5384 | 1148832.3942 | 2548579.2438 | 1148852.651 | 2548590.4564 | 1148859.1919 | 2548592.6548 | 1148845.9995 | 2548592.47 | 1148824.3897 | 2548589.6578 | 1148807.1047 | 2548583.0557 | 1148791.1083 | 2548576.6719 | 1148776.3996 | 2548580.3468 | 1148774.2449 | 2548585.1753 | 1148771.4021 | 2548598.6483 | 1148762.9936 | 2548604.1938 | 1148761.3898
8 | 2548604.1938 | 1148761.3898 | 2548609.2456 | 1148762.2138 | 2548612.5664 | 1148764.431 | 2548624.9163 | 1148786.337 | 2548627.1345 | 1148797.4002
9 | 2548451.1586 | 1148748.5706 | 2548462.8414 | 1148743.2596
10 | 2548575.5384 | 1148832.3942 | 2548573.1292 | 1148814.65 | 2548565.6883 | 1148798.4384 | 2548543.6061 | 1148812.5406
11 | 2548387.5668 | 1148664.7164 | 2548409.6203 | 1148731.8624 | 2548414.1699 | 1148746.6423
12 | 2548337.7823 | 1148771.4777 | 2548356.5335 | 1148766.1472 | 2548414.1699 | 1148746.6423
13 | 2548522.7776 | 1148825.8422 | 2548543.6061 | 1148812.5406
14 | 2548451.1586 | 1148748.5706 | 2548453.1096 | 1148755.8132 | 2548445.7677 | 1148769.5262
15 | 2548479.3726 | 1149061.5819 | 2548456.8361 | 1149028.3399
16 | 2548479.3726 | 1149061.5819 | 2548413.3369 | 1149107.0484
17 | 2548479.3726 | 1149061.5819 | 2548511.7285 | 1149040.0936 | 2548531.182 | 1149028.0985 | 2548540.1718 | 1149022.552 | 2548542.6979 | 1149024.3536 | 2548545.451 | 1149025.753 | 2548557.1246 | 1149028.7658 | 2548565.6599 | 1149031.1274
18 | 2548420.8064 | 1149008.1892 | 2548432.009 | 1149005.5251 | 2548439.5404 | 1149007.2059 | 2548444.4094 | 1149010.01 | 2548456.8361 | 1149028.3399
19 | 2548327.6437 | 1149165.9273 | 2548329.85 | 1149164.452 | 2548333.5297 | 1149161.9969 | 2548413.3369 | 1149107.0484
20 | 2548578.0431 | 1149034.5233 | 2548569.508 | 1149032.1839 | 2548565.6599 | 1149031.1274
21 | 2548474.398 | 1148938.9602 | 2548478.0079 | 1148944.4655 | 2548498.923 | 1148975.7695 | 2548531.182 | 1149028.0985 | 2548540.1718 | 1149022.552 | 2548542.6979 | 1149024.3536 | 2548545.451 | 1149025.753 | 2548557.1246 | 1149028.7658 | 2548565.6599 | 1149031.1274
22 | 2548474.398 | 1148938.9602 | 2548465.163 | 1148924.8653
23 | 2548465.163 | 1148924.8653 | 2548454.7999 | 1148909.0458 | 2548475.4385 | 1148895.3926
24 | 2548578.0431 | 1149034.5233 | 2548599.0761 | 1149042.0029 | 2548599.8701 | 1149042.363 | 2548608.6035 | 1149046.346 | 2548611.1317 | 1149047.4917 | 2548612.658 | 1149048.2012 | 2548618.3702 | 1149050.8538 | 2548622.0622 | 1149053.4125 | 2548624.9155 | 1149055.756 | 2548626.168 | 1149063.0492 | 2548626.1583 | 1149068.2075 | 2548626.1554 | 1149068.7634 | 2548625.4386 | 1149073.8388 | 2548625.3229 | 1149074.6736 | 2548623.378 | 1149084.2841 | 2548623.2234 | 1149085.0636 | 2548619.8542 | 1149099.6 | 2548617.1701 | 1149110.7622 | 2548615.3271 | 1149116.114
25 | 2548578.0431 | 1149034.5233 | 2548567.2637 | 1149071.2799
26 | 2548615.3271 | 1149116.114 | 2548613.3976 | 1149122.1337 | 2548612.1127 | 1149126.3135 | 2548610.5377 | 1149131.4403
27 | 2548580.7354 | 1149104.0156 | 2548562.4989 | 1149099.6014 | 2548560.9885 | 1149092.6774 | 2548567.2637 | 1149071.2799
28 | 2548706.7082 | 1149052.7674 | 2548704.4658 | 1149042.8258 | 2548703.4926 | 1149040.355 | 2548701.8603 | 1149037.1228 | 2548691.9781 | 1149021.432
29 | 2548709.7477 | 1149051.741 | 2548706.7082 | 1149052.7674
30 | 2548709.7477 | 1149051.741 | 2548712.2745 | 1149061.3129
31 | 2548609.9314 | 1149133.4137 | 2548610.5377 | 1149131.4403
32 | 2548420.8064 | 1149008.1892 | 2548420.8064 | 1149008.1892 | 2548396.9547 | 1149023.5219
33 | 2548265.0286 | 1149065.0015 | 2548258.8906 | 1149069.1009 | 2548313.3974 | 1149145.8614 | 2548327.6437 | 1149165.9273
34 | 2548519.7514 | 1148866.0781 | 2548475.4385 | 1148895.3926
35 | 2548522.7776 | 1148825.8422 | 2548507.4519 | 1148836.6457 | 2548507.1767 | 1148846.6533 | 2548519.7514 | 1148866.0781
36 | 2548387.5668 | 1148664.7164 | 2548358.5807 | 1148672.6876
37 | 2548387.5668 | 1148664.7164 | 2548399.7763 | 1148650.4486 | 2548413.7334 | 1148651.9297 | 2548416.5873 | 1148655.0177
38 | 2548337.7823 | 1148771.4777 | 2548233.8223 | 1148804.3777 | 2548182.5537 | 1148820.4721 | 2548175.6411 | 1148817.5746 | 2548154.2391 | 1148824.4404 | 2548148.6412 | 1148822.6322 | 2548136.4022 | 1148784.4065 | 2548139.8 | 1148775.9617 | 2548173.222 | 1148765.4607
39 | 2548290.4173 | 1148823.6788 | 2548330.8632 | 1148811.5804 | 2548335.0646 | 1148801.9059 | 2548356.5335 | 1148766.1472 | 2548337.7823 | 1148771.4777
40 | 2548716.9208 | 1149126.6413 | 2548726.0971 | 1149136.3751
41 | 2548716.9208 | 1149126.6413 | 2548722.673 | 1149115.0973 | 2548722.8469 | 1149111.4284
42 | 2548716.9208 | 1149126.6413 | 2548714.6068 | 1149130.6602
43 | 2548722.8469 | 1149111.4284 | 2548723.2261 | 1149103.4309 | 2548722.4454 | 1149100.4046
44 | 2548714.6068 | 1149130.6602 | 2548706.8733 | 1149144.0917 | 2548705.2914 | 1149146.7515
45 | 2548720.0823 | 1149091.2443 | 2548722.4454 | 1149100.4046
46 | 2548670.8034 | 1149205.3982 | 2548679.124 | 1149198.846 | 2548687.9272 | 1149175.9589 | 2548701.8093 | 1149152.606 | 2548705.2914 | 1149146.7515
47 | 2548720.0823 | 1149091.2443 | 2548719.2826 | 1149088.1444
48 | 2548609.9314 | 1149133.4137 | 2548608.8705 | 1149144.9288 | 2548603.9884 | 1149161.2235 | 2548603.8333 | 1149161.9474 | 2548601.6999 | 1149171.9487 | 2548600.6981 | 1149179.6057 | 2548603.3008 | 1149182.2737 | 2548604.0663 | 1149182.912 | 2548606.6801 | 1149185.0908 | 2548610.1335 | 1149187.5848 | 2548614.9878 | 1149189.5999 | 2548620.8183 | 1149190.8396 | 2548631.5009 | 1149192.0268 | 2548637.0668 | 1149191.957 | 2548641.7911 | 1149192.239 | 2548643.0829 | 1149192.4614 | 2548653.6558 | 1149194.2943 | 2548663.8365 | 1149198.7542 | 2548670.8034 | 1149205.3982
49 | 2548719.2826 | 1149088.1444 | 2548716.0636 | 1149075.6663 | 2548712.2745 | 1149061.3129
50 | 2548225.7956 | 1149022.4835 | 2548208.8253 | 1149032.1612
51 | 2548214.0414 | 1149002.9967 | 2548222.0407 | 1149016.2125 | 2548225.7956 | 1149022.4835
52 | 2548225.7956 | 1149022.4835 | 2548230.5601 | 1149029.1904 | 2548237.4145 | 1149024.4734
53 | 2548214.0414 | 1149002.9967 | 2548304.8075 | 1148941.6281 | 2548324.7661 | 1148927.7701
54 | 2548237.4145 | 1149024.4734 | 2548265.0286 | 1149065.0015
55 | 2548265.0286 | 1149065.0015 | 2548292.3891 | 1149046.7584
56 | 2548317.3368 | 1149030.1241 | 2548292.3891 | 1149046.7584
57 | 2548290.4173 | 1148823.6788 | 2548274.7892 | 1148828.3521
58 | 2548309.1277 | 1149017.6702 | 2548317.5759 | 1149029.9647 | 2548317.3368 | 1149030.1241
59 | 2548396.5473 | 1149023.7838 | 2548396.9547 | 1149023.5219
60 | 2548396.5473 | 1149023.7838 | 2548395.4088 | 1149024.5157 | 2548378.1667 | 1149036.7318
61 | 2548360.9684 | 1149048.9169 | 2548378.1667 | 1149036.7318
62 | 2548328.9214 | 1149071.6224 | 2548360.9684 | 1149048.9169
63 | 2548328.9214 | 1149071.6224 | 2548342.1267 | 1149092.0419
64 | 2548342.1267 | 1149092.0419 | 2548342.1267 | 1149092.0419 | 2548309.0241 | 1149115.8721 | 2548290.8521 | 1149089.895

## bus_geodata
| x | y | coords
0 | 2548350.2755 | 1148536.095
1 | 2548477.4018 | 1148549.4413
2 | 2548511.0248 | 1148715.9073
3 | 2548485.4019 | 1148724.0382
4 | 2548604.1938 | 1148761.3898
5 | 2548462.8414 | 1148743.2596
6 | 2548637.9052 | 1148743.941
7 | 2548575.5384 | 1148832.3942
8 | 2548627.1345 | 1148797.4002
9 | 2548414.1699 | 1148746.6423
10 | 2548543.6061 | 1148812.5406
11 | 2548451.1586 | 1148748.5706
12 | 2548479.3726 | 1149061.5819
13 | 2548456.8361 | 1149028.3399
14 | 2548413.3369 | 1149107.0484
15 | 2548565.6599 | 1149031.1274
16 | 2548474.398 | 1148938.9602
17 | 2548465.163 | 1148924.8653
18 | 2548578.0431 | 1149034.5233
19 | 2548615.3271 | 1149116.114
20 | 2548567.2637 | 1149071.2799
21 | 2548706.7082 | 1149052.7674
22 | 2548691.9781 | 1149021.432
23 | 2548709.7477 | 1149051.741
24 | 2548610.5377 | 1149131.4403
25 | 2548580.7354 | 1149104.0156
26 | 2548420.8064 | 1149008.1892
27 | 2548327.6437 | 1149165.9273
28 | 2548475.4385 | 1148895.3926
29 | 2548519.7514 | 1148866.0781
30 | 2548522.7776 | 1148825.8422
31 | 2548445.7677 | 1148769.5262
32 | 2548387.5668 | 1148664.7164
33 | 2548337.7823 | 1148771.4777
34 | 2548726.0971 | 1149136.3751
35 | 2548716.9208 | 1149126.6413
36 | 2548722.8469 | 1149111.4284
37 | 2548714.6068 | 1149130.6602
38 | 2548722.4454 | 1149100.4046
39 | 2548705.2914 | 1149146.7515
40 | 2548720.0823 | 1149091.2443
41 | 2548670.8034 | 1149205.3982
42 | 2548719.2826 | 1149088.1444
43 | 2548712.2745 | 1149061.3129
44 | 2548609.9314 | 1149133.4137
45 | 2548208.8253 | 1149032.1612
46 | 2548225.7956 | 1149022.4835
47 | 2548214.0414 | 1149002.9967
48 | 2548237.4145 | 1149024.4734
49 | 2548265.0286 | 1149065.0015
50 | 2548292.3891 | 1149046.7584
51 | 2548324.7661 | 1148927.7701
52 | 2548290.4173 | 1148823.6788
53 | 2548274.7892 | 1148828.3521
54 | 2548173.222 | 1148765.4607
55 | 2548317.3368 | 1149030.1241
56 | 2548309.1277 | 1149017.6702
57 | 2548396.9547 | 1149023.5219
58 | 2548396.5473 | 1149023.7838
59 | 2548378.1667 | 1149036.7318
60 | 2548360.9684 | 1149048.9169
61 | 2548328.9214 | 1149071.6224
62 | 2548342.1267 | 1149092.0419
63 | 2548290.8521 | 1149089.895
64 | 2548358.5807 | 1148672.6876
65 | 2548416.5873 | 1148655.0177
66 | 2548465.163 | 1148924.8653

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1