## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5607-3_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_5607-3_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_5607-3_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_5607-3_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_5607-3_1_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_5607-3_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_5607-3_1_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5607-3_1_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5607-3_1_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5607-3_1_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5607-3_1_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5607-3_1_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_5607-3_1_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5607-3_1_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_5607-3_1_2_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5607-3_1_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_5607-3_1_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5607-3_1_2_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_5607-3_1_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_5607-3_1_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5607-3_1_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_5607-3_1_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_5607-3_1_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_5607-3_1_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5607-3_1_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_5607-3_1_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_5607-3_1_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5607-3_1_2_node_112 | 0.4 | n |  | TRUE
28 | bus_LV_5607-3_1_2_node_113 | 0.4 | n |  | TRUE
29 | bus_LV_5607-3_1_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_5607-3_1_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_5607-3_1_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5607-3_1_2_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_5607-3_1_2_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_5607-3_1_2_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_5607-3_1_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5607-3_1_2_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_5607-3_1_2_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_5607-3_1_2_node_111 | 0.4 | n |  | TRUE
39 | bus_MV_384_1_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5607-3_1_2_load_5 | 0 | 0.002698 | 0.00067619 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5607-3_1_2_load_6 | 1 | 0.0019871 | 0.00049802 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5607-3_1_2_load_7 | 2 | 0.0019916 | 0.00049914 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5607-3_1_2_load_8 | 3 | 0.0024686 | 0.0006187 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5607-3_1_2_load_9 | 5 | 0.0022406 | 0.00056155 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5607-3_1_2_load_10 | 6 | 0.0022717 | 0.00056934 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5607-3_1_2_load_11 | 7 | 0.0040403 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5607-3_1_2_load_12 | 8 | 0.0046267 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5607-3_1_2_load_13 | 9 | 0.0036834 | 0.00092314 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5607-3_1_2_load_24 | 10 | 0.002251 | 0.00056415 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5607-3_1_2_load_16 | 12 | 0.0024666 | 0.00061819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5607-3_1_2_load_18 | 14 | 0.0029615 | 0.00074223 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5607-3_1_2_load_22 | 16 | 0.0065309 | 0.0016368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5607-3_1_2_load_20 | 17 | 0.0017255 | 0.00043245 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5607-3_1_2_load_43 | 20 | 0.0015668 | 0.00039268 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5607-3_1_2_load_30 | 21 | 0.0043532 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5607-3_1_2_load_25 | 22 | 0.0041307 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5607-3_1_2_load_27 | 24 | 0.0043751 | 0.0010965 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5607-3_1_2_load_112 | 27 | 0.019306 | 0.0048386 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5607-3_1_2_load_113 | 28 | 0.0042414 | 0.001063 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5607-3_1_2_load_33 | 31 | 0.0030813 | 0.00077225 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5607-3_1_2_load_47 | 32 | 0.0053331 | 0.0013366 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5607-3_1_2_load_46 | 33 | 0.0022925 | 0.00057455 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5607-3_1_2_load_42 | 34 | 0.0040033 | 0.0010033 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5607-3_1_2_load_111 | 38 | 0.0048603 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5607-3_1_2_line_0 |  | 0 | 1 | 0.021434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5607-3_1_2_line_1 |  | 0 | 2 | 0.0068887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5607-3_1_2_line_2 |  | 1 | 3 | 0.0091883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5607-3_1_2_line_3 |  | 3 | 4 | 0.037949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5607-3_1_2_line_4 |  | 4 | 11 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5607-3_1_2_line_5 |  | 5 | 6 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5607-3_1_2_line_6 |  | 5 | 7 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5607-3_1_2_line_7 |  | 6 | 8 | 0.0024142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5607-3_1_2_line_8 |  | 7 | 9 | 0.0097475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5607-3_1_2_line_9 |  | 8 | 10 | 0.029477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5607-3_1_2_line_10 |  | 9 | 11 | 0.058385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5607-3_1_2_line_11 |  | 10 | 21 | 0.0020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5607-3_1_2_line_12 |  | 12 | 13 | 0.040909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5607-3_1_2_line_13 |  | 13 | 14 | 0.018246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5607-3_1_2_line_14 |  | 13 | 15 | 0.13375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5607-3_1_2_line_15 |  | 15 | 16 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5607-3_1_2_line_16 |  | 15 | 17 | 0.072564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5607-3_1_2_line_17 |  | 17 | 18 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5607-3_1_2_line_18 |  | 18 | 19 | 0.067406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5607-3_1_2_line_19 |  | 19 | 20 | 0.25279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5607-3_1_2_line_20 |  | 20 | 34 | 0.13243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5607-3_1_2_line_21 |  | 21 | 29 | 0.061949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5607-3_1_2_line_22 |  | 22 | 23 | 0.019493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5607-3_1_2_line_23 |  | 22 | 24 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5607-3_1_2_line_24 |  | 23 | 25 | 0.058178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5607-3_1_2_line_25 |  | 25 | 28 | 0.037259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5607-3_1_2_line_26 |  | 25 | 26 | 0.094778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5607-3_1_2_line_27 |  | 26 | 27 | 0.050084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5607-3_1_2_line_28 |  | 28 | 29 | 0.10083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5607-3_1_2_line_29 |  | 29 | 30 | 0.060628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5607-3_1_2_line_30 |  | 29 | 31 | 0.023258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5607-3_1_2_line_31 |  | 30 | 32 | 0.1053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5607-3_1_2_line_32 |  | 30 | 33 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5607-3_1_2_line_33 |  | 32 | 37 | 0.28895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5607-3_1_2_line_34 |  | 34 | 35 | 0.047695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5607-3_1_2_line_35 |  | 35 | 36 | 0.006248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5607-3_1_2_line_36 |  | 36 | 37 | 0.055486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5607-3_1_2_line_37 |  | 36 | 38 | 0.080195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5607-3_1_2_trafo_30 | 0.63 MVA 20/0.4 kV | 39 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2548816.8802 | 1147924.3376 | 2548820.4248 | 1147928.4429 | 2548833.568 | 1147927.0526 | 2548836.2301 | 1147927.8995
1 | 2548810.2746 | 1147924.1937 | 2548813.0546 | 1147923.2918 | 2548816.8802 | 1147924.3376
2 | 2548844.2781 | 1147932.1197 | 2548844.2781 | 1147932.1197 | 2548839.8978 | 1147929.0664 | 2548836.2301 | 1147927.8995
3 | 2548849.3873 | 1147969.3958 | 2548848.1784 | 1147952.7751 | 2548846.2979 | 1147935.7377 | 2548844.2781 | 1147932.1197
4 | 2548849.3873 | 1147969.3958 | 2548845.0255 | 1147964.0078 | 2548837.9848 | 1147959.6654
5 | 2548741.6065 | 1147965.6798 | 2548752.8507 | 1147964.4638
6 | 2548771.3818 | 1147963.0556 | 2548758.921 | 1147963.8072 | 2548752.8507 | 1147964.4638
7 | 2548741.6065 | 1147965.6798 | 2548739.2063 | 1147965.9394
8 | 2548771.3818 | 1147963.0556 | 2548774.8018 | 1147962.8493 | 2548781.0555 | 1147961.9278
9 | 2548739.2063 | 1147965.9394 | 2548709.9007 | 1147969.1088
10 | 2548837.9848 | 1147959.6654 | 2548827.5696 | 1147955.8409 | 2548815.9035 | 1147954.8396 | 2548790.4177 | 1147960.5484 | 2548781.0555 | 1147961.9278
11 | 2548707.9067 | 1147969.4336 | 2548709.7099 | 1147969.1295 | 2548709.9007 | 1147969.1088
12 | 2548864.1843 | 1147967.4245 | 2548867.1629 | 1147964.5977 | 2548870.7109 | 1147963.7004 | 2548874.3936 | 1147965.092 | 2548877.3154 | 1147968.2244 | 2548879.8881 | 1147976.3623 | 2548881.5605 | 1147981.5731 | 2548884.969 | 1147984.1454 | 2548891.2525 | 1147981.9861
13 | 2548864.1843 | 1147967.4245 | 2548860.0705 | 1147949.6501
14 | 2548864.1843 | 1147967.4245 | 2548865.8416 | 1147975.3812 | 2548870.1516 | 1147981.0142 | 2548875.9238 | 1147991.5151 | 2548877.5653 | 1147995.8145 | 2548894.7448 | 1148004.8955 | 2548900.9476 | 1148004.6426 | 2548914.2093 | 1148000.9392 | 2548928.4309 | 1147992.7141 | 2548945.4807 | 1147998.2945 | 2548960.6234 | 1147997.2432 | 2548968.0975 | 1148001.0929 | 2548971.4112 | 1147997.9298
15 | 2548971.4112 | 1147997.9298 | 2548983.774 | 1148005.9403
16 | 2548971.4112 | 1147997.9298 | 2548954.0724 | 1147986.3487 | 2548949.5407 | 1147982.6296 | 2548945.9786 | 1147979.158 | 2548941.6014 | 1147972.8363 | 2548939.5868 | 1147968.918 | 2548937.9061 | 1147964.53 | 2548936.9474 | 1147961.0585 | 2548935.9546 | 1147956.2867 | 2548935.5108 | 1147951.9549 | 2548935.4346 | 1147948.4092 | 2548935.687 | 1147943.7713 | 2548936.1879 | 1147940.7507
17 | 2548938.9497 | 1147930.9814 | 2548937.921 | 1147933.736 | 2548936.5491 | 1147938.5724 | 2548936.1879 | 1147940.7507
18 | 2548938.9497 | 1147930.9814 | 2548948.6813 | 1147910.3657 | 2548951.1591 | 1147904.6195 | 2548952.2464 | 1147901.5309 | 2548952.954 | 1147898.9457 | 2548953.3751 | 1147896.0851 | 2548953.4407 | 1147892.9496 | 2548953.2689 | 1147889.905 | 2548952.844 | 1147886.8959 | 2548952.1445 | 1147884.1004 | 2548951.4493 | 1147881.8162 | 2548950.1974 | 1147879.0921 | 2548948.7459 | 1147876.3696 | 2548946.451 | 1147872.9095 | 2548943.1502 | 1147869.4579
19 | 2548943.1502 | 1147869.4579 | 2548938.7914 | 1147866.2266 | 2548932.9027 | 1147862.797 | 2548927.7767 | 1147860.5504 | 2548921.2821 | 1147858.1265 | 2548914.6396 | 1147856.3598 | 2548907.4929 | 1147854.9198 | 2548901.7819 | 1147854.3235 | 2548896.368 | 1147854.3584 | 2548890.6963 | 1147854.7846 | 2548886.2017 | 1147855.4454 | 2548809.8047 | 1147871.7147 | 2548792.1555 | 1147875.1556 | 2548783.0733 | 1147876.3891 | 2548772.0297 | 1147877.2614 | 2548731.7585 | 1147880.9508 | 2548724.3316 | 1147881.7701 | 2548718.8028 | 1147882.74 | 2548713.0237 | 1147884.0677 | 2548706.6811 | 1147885.9561 | 2548701.9027 | 1147887.5644 | 2548697.307 | 1147889.588
20 | 2548567.2861 | 1147904.6119 | 2548576.1051 | 1147902.2018 | 2548583.2407 | 1147900.551 | 2548589.18 | 1147900 | 2548595.6271 | 1147899.5557 | 2548606.1346 | 1147899.7661 | 2548629.3971 | 1147900.779 | 2548649.5819 | 1147901.1068 | 2548660.2825 | 1147900.5485 | 2548667.1183 | 1147899.7564 | 2548673.1904 | 1147898.5707 | 2548680.223 | 1147896.5429 | 2548690.0592 | 1147892.7793 | 2548697.307 | 1147889.588
21 | 2548646.8208 | 1147979.7383 | 2548707.9067 | 1147969.4336
22 | 2548701.8823 | 1148108.3692 | 2548700.8208 | 1148105.4656 | 2548703.2266 | 1148094.0168 | 2548702.2734 | 1148089.4114
23 | 2548692.8361 | 1148090.3813 | 2548693.0612 | 1148095.1597 | 2548702.2734 | 1148089.4114
24 | 2548684.8332 | 1148110.9604 | 2548677.6473 | 1148123.784 | 2548678.234 | 1148129.5375 | 2548680.4417 | 1148133.5764 | 2548698.5977 | 1148112.2214 | 2548701.8823 | 1148108.3692
25 | 2548668.611 | 1148078.1816 | 2548680.5354 | 1148095.0776 | 2548683.2434 | 1148101.0465 | 2548684.8332 | 1148110.9604
26 | 2548624.2659 | 1148149.5532 | 2548627.0814 | 1148157.3221 | 2548654.8586 | 1148153.872 | 2548662.2423 | 1148151.63 | 2548671.4612 | 1148143.9696 | 2548674.7614 | 1148140.1505 | 2548680.4417 | 1148133.5764 | 2548678.234 | 1148129.5375 | 2548677.6473 | 1148123.784 | 2548684.8332 | 1148110.9604
27 | 2548624.2659 | 1148149.5532 | 2548624.1764 | 1148145.374 | 2548624.4546 | 1148138.3902 | 2548628.3349 | 1148122.482 | 2548641.6876 | 1148104.3029
28 | 2548646.8208 | 1147979.7383 | 2548668.611 | 1148078.1816
29 | 2548646.8208 | 1147979.7383 | 2548623.3357 | 1147982.2957 | 2548586.5672 | 1147987.8016
30 | 2548646.8208 | 1147979.7383 | 2548647.1792 | 1147971.353 | 2548661.6146 | 1147967.803
31 | 2548586.5672 | 1147987.8016 | 2548569.9027 | 1147990.4899 | 2548536.6196 | 1147990.4746 | 2548495.3193 | 1147994.0633 | 2548481.6592 | 1147993.2846
32 | 2548586.5672 | 1147987.8016 | 2548586.0427 | 1147981.2471 | 2548591.9072 | 1147978.2399 | 2548606.4029 | 1147976.115
33 | 2548464.8431 | 1147881.6098 | 2548464.3873 | 1147886.672 | 2548461.4278 | 1147886.3416 | 2548458.4701 | 1147888.9127 | 2548444.8898 | 1147901.1244 | 2548425.6057 | 1147911.8064 | 2548410.2094 | 1147925.3789 | 2548399.3961 | 1147936.0661 | 2548392.9431 | 1147940.2792 | 2548381.1427 | 1147946.0057 | 2548364.6817 | 1147952.7283 | 2548357.9456 | 1147956.1768 | 2548350.3181 | 1147966.7034 | 2548357.164 | 1147972.4699 | 2548373.6121 | 1147980.3439 | 2548382.4489 | 1147987.2384 | 2548400.161 | 1147996.5468 | 2548409.5537 | 1147997.5223 | 2548444.1642 | 1147992.9343 | 2548445.4505 | 1147995.1689 | 2548453.4939 | 1147993.7325 | 2548466.8375 | 1147992.4397 | 2548481.6592 | 1147993.2846
34 | 2548520.77 | 1147906.2772 | 2548524.4764 | 1147907.7351 | 2548529.7342 | 1147909.2131 | 2548533.9719 | 1147909.9439 | 2548539.6866 | 1147910.0618 | 2548544.9057 | 1147909.7058 | 2548550.3221 | 1147909.0814 | 2548556.5308 | 1147907.7053 | 2548565.1029 | 1147905.2085 | 2548567.2861 | 1147904.6119
35 | 2548520.77 | 1147906.2772 | 2548517.2615 | 1147904.6064 | 2548515.1178 | 1147903.5797
36 | 2548515.1178 | 1147903.5797 | 2548482.3766 | 1147885.306 | 2548478.1186 | 1147883.9974 | 2548471.4541 | 1147882.3758 | 2548466.4016 | 1147881.5631 | 2548464.8431 | 1147881.6098
37 | 2548444.0704 | 1147939.0179 | 2548459.0281 | 1147936.9776 | 2548515.1178 | 1147903.5797

## bus_geodata
| x | y | coords
0 | 2548816.8802 | 1147924.3376
1 | 2548836.2301 | 1147927.8995
2 | 2548810.2746 | 1147924.1937
3 | 2548844.2781 | 1147932.1197
4 | 2548849.3873 | 1147969.3958
5 | 2548752.8507 | 1147964.4638
6 | 2548741.6065 | 1147965.6798
7 | 2548771.3818 | 1147963.0556
8 | 2548739.2063 | 1147965.9394
9 | 2548781.0555 | 1147961.9278
10 | 2548709.9007 | 1147969.1088
11 | 2548837.9848 | 1147959.6654
12 | 2548891.2525 | 1147981.9861
13 | 2548864.1843 | 1147967.4245
14 | 2548860.0705 | 1147949.6501
15 | 2548971.4112 | 1147997.9298
16 | 2548983.774 | 1148005.9403
17 | 2548936.1879 | 1147940.7507
18 | 2548938.9497 | 1147930.9814
19 | 2548943.1502 | 1147869.4579
20 | 2548697.307 | 1147889.588
21 | 2548707.9067 | 1147969.4336
22 | 2548702.2734 | 1148089.4114
23 | 2548701.8823 | 1148108.3692
24 | 2548692.8361 | 1148090.3813
25 | 2548684.8332 | 1148110.9604
26 | 2548624.2659 | 1148149.5532
27 | 2548641.6876 | 1148104.3029
28 | 2548668.611 | 1148078.1816
29 | 2548646.8208 | 1147979.7383
30 | 2548586.5672 | 1147987.8016
31 | 2548661.6146 | 1147967.803
32 | 2548481.6592 | 1147993.2846
33 | 2548606.4029 | 1147976.115
34 | 2548567.2861 | 1147904.6119
35 | 2548520.77 | 1147906.2772
36 | 2548515.1178 | 1147903.5797
37 | 2548464.8431 | 1147881.6098
38 | 2548444.0705 | 1147939.0179
39 | 2548646.8208 | 1147979.7383

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1