## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5607-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5607-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5607-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5607-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5607-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5607-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5607-5_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5607-5_0_4_node_101 | 0.4 | n |  | TRUE
8 | bus_LV_5607-5_0_4_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_5607-5_0_4_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_5607-5_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5607-5_0_4_node_106 | 0.4 | n |  | TRUE
12 | bus_LV_5607-5_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5607-5_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5607-5_0_4_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_5607-5_0_4_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_5607-5_0_4_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_5607-5_0_4_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_5607-5_0_4_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_5607-5_0_4_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_5607-5_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5607-5_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_5607-5_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5607-5_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5607-5_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5607-5_0_4_node_98 | 0.4 | n |  | TRUE
26 | bus_LV_5607-5_0_4_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_5607-5_0_4_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_5607-5_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5607-5_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5607-5_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5607-5_0_4_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_5607-5_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5607-5_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5607-5_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_5607-5_0_4_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_5607-5_0_4_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_5607-5_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5607-5_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_5607-5_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5607-5_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5607-5_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5607-5_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5607-5_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_5607-5_0_4_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_5607-5_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_5607-5_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_5607-5_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_5607-5_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5607-5_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_5607-5_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_5607-5_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_5607-5_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5607-5_0_4_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_5607-5_0_4_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_5607-5_0_4_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_5607-5_0_4_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_5607-5_0_4_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_5607-5_0_4_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_5607-5_0_4_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_5607-5_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_5607-5_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_5607-5_0_4_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_5607-5_0_4_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_5607-5_0_4_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_5607-5_0_4_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_5607-5_0_4_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_5607-5_0_4_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_5607-5_0_4_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_5607-5_0_4_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_5607-5_0_4_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_5607-5_0_4_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_5607-5_0_4_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_5607-5_0_4_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_5607-5_0_4_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_5607-5_0_4_node_105 | 0.4 | n |  | TRUE
76 | bus_LV_5607-5_0_4_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_5607-5_0_4_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_5607-5_0_4_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_5607-5_0_4_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_5607-5_0_4_node_45 | 0.4 | n |  | TRUE
81 | bus_LV_5607-5_0_4_node_46 | 0.4 | n |  | TRUE
82 | bus_LV_5607-5_0_4_node_47 | 0.4 | n |  | TRUE
83 | bus_LV_5607-5_0_4_node_48 | 0.4 | n |  | TRUE
84 | bus_LV_5607-5_0_4_node_49 | 0.4 | n |  | TRUE
85 | bus_LV_5607-5_0_4_node_50 | 0.4 | n |  | TRUE
86 | bus_LV_5607-5_0_4_node_51 | 0.4 | n |  | TRUE
87 | bus_LV_5607-5_0_4_node_57 | 0.4 | n |  | TRUE
88 | bus_LV_5607-5_0_4_node_62 | 0.4 | n |  | TRUE
89 | bus_LV_5607-5_0_4_node_63 | 0.4 | n |  | TRUE
90 | bus_LV_5607-5_0_4_node_64 | 0.4 | n |  | TRUE
91 | bus_LV_5607-5_0_4_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_5607-5_0_4_node_68 | 0.4 | n |  | TRUE
93 | bus_LV_5607-5_0_4_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_5607-5_0_4_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_5607-5_0_4_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_5607-5_0_4_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_5607-5_0_4_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_5607-5_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_5607-5_0_4_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_5607-5_0_4_node_97 | 0.4 | n |  | TRUE
101 | bus_MV_384_1_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5607-5_0_4_load_0 | 0 | 0.0099586 | 0.0024959 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5607-5_0_4_load_4 | 4 | 0.0037055 | 0.00092869 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5607-5_0_4_load_5 | 5 | 0.0084229 | 0.002111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5607-5_0_4_load_101 | 7 | 0.0015131 | 0.00037923 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5607-5_0_4_load_106 | 11 | 0.041129 | 0.010308 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5607-5_0_4_load_69 | 14 | 0.012957 | 0.0032473 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5607-5_0_4_load_67 | 15 | 0.030673 | 0.0076874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5607-5_0_4_load_66 | 16 | 0.034199 | 0.0085711 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5607-5_0_4_load_100 | 18 | 0.021097 | 0.0052875 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5607-5_0_4_load_14 | 20 | 0.011071 | 0.0027747 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5607-5_0_4_load_9 | 22 | 0.0036266 | 0.00090892 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5607-5_0_4_load_12 | 24 | 0.00014855 | 3.7231e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5607-5_0_4_load_98 | 25 | 0.0074699 | 0.0018721 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5607-5_0_4_load_87 | 26 | 0.0013516 | 0.00033874 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5607-5_0_4_load_17 | 29 | 0.038796 | 0.0097232 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5607-5_0_4_load_55 | 34 | 0.032267 | 0.0080869 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5607-5_0_4_load_103 | 35 | 0.011109 | 0.0027843 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5607-5_0_4_load_102 | 36 | 0.0060101 | 0.0015063 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5607-5_0_4_load_21 | 39 | 0.0028467 | 0.00071345 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5607-5_0_4_load_70 | 43 | 0.0011224 | 0.0002813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5607-5_0_4_load_86 | 44 | 0.00074267 | 0.00018613 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5607-5_0_4_load_60 | 45 | 0.0020192 | 0.00050607 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5607-5_0_4_load_59 | 46 | 0.003816 | 0.00095637 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5607-5_0_4_load_29 | 47 | 0.002025 | 0.00050751 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5607-5_0_4_load_93 | 54 | 0.0012851 | 0.00032207 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5607-5_0_4_load_92 | 55 | 0.0006567 | 0.00016458 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5607-5_0_4_load_88 | 58 | 0.0053207 | 0.0013335 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5607-5_0_4_load_73 | 60 | 0.00098716 | 0.00024741 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5607-5_0_4_load_71 | 61 | 0.056574 | 0.014179 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5607-5_0_4_load_91 | 62 | 0.01108 | 0.0027769 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5607-5_0_4_load_96 | 63 | 0.0013375 | 0.0003352 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5607-5_0_4_load_81 | 65 | 0.0022149 | 0.00055509 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5607-5_0_4_load_74 | 66 | 0.0014717 | 0.00036884 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5607-5_0_4_load_37 | 67 | 0.0033108 | 0.00082976 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5607-5_0_4_load_38 | 68 | 0.0039062 | 0.00097899 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5607-5_0_4_load_41 | 71 | 0.01664 | 0.0041703 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5607-5_0_4_load_44 | 73 | 0.0010936 | 0.00027409 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5607-5_0_4_load_43 | 74 | 0.0018494 | 0.00046351 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5607-5_0_4_load_105 | 75 | 0.0045061 | 0.0011293 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5607-5_0_4_load_104 | 76 | 0.0045911 | 0.0011506 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5607-5_0_4_load_53 | 78 | 0.0016289 | 0.00040824 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5607-5_0_4_load_54 | 79 | 0.0015997 | 0.00040092 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5607-5_0_4_load_45 | 80 | 0.0013293 | 0.00033315 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5607-5_0_4_load_49 | 84 | 0.0055431 | 0.0013892 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5607-5_0_4_load_50 | 85 | 0.0015259 | 0.00038243 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5607-5_0_4_load_51 | 86 | 0.0063851 | 0.0016003 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5607-5_0_4_load_57 | 87 | 0.011262 | 0.0028224 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5607-5_0_4_load_62 | 88 | 0.009395 | 0.0023546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5607-5_0_4_load_64 | 90 | 0.0031284 | 0.00078406 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5607-5_0_4_load_68 | 92 | 0.0051132 | 0.0012815 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5607-5_0_4_load_80 | 94 | 0.0018696 | 0.00046856 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5607-5_0_4_load_77 | 95 | 0.0022616 | 0.00056681 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5607-5_0_4_load_72 | 96 | 0.0077741 | 0.0019484 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5607-5_0_4_load_75 | 97 | 0.0011881 | 0.00029778 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5607-5_0_4_load_90 | 98 | 0.0030401 | 0.00076193 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5607-5_0_4_load_95 | 99 | 0.00048568 | 0.00012172 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5607-5_0_4_load_97 | 100 | 0.0043589 | 0.0010924 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5607-5_0_4_line_0 |  | 0 | 1 | 0.073496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_5607-5_0_4_line_1 |  | 0 | 2 | 0.028938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5607-5_0_4_line_2 |  | 1 | 3 | 0.005034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5607-5_0_4_line_3 |  | 1 | 4 | 0.05044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5607-5_0_4_line_4 |  | 2 | 5 | 0.089705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5607-5_0_4_line_5 |  | 2 | 6 | 0.091191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5607-5_0_4_line_6 |  | 3 | 7 | 0.022455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5607-5_0_4_line_7 |  | 3 | 8 | 0.019335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5607-5_0_4_line_8 |  | 4 | 9 | 0.022305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5607-5_0_4_line_9 |  | 6 | 14 | 0.030094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5607-5_0_4_line_10 |  | 6 | 15 | 0.018359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5607-5_0_4_line_11 |  | 8 | 17 | 0.073525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5607-5_0_4_line_12 |  | 9 | 18 | 0.033188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5607-5_0_4_line_13 |  | 9 | 19 | 0.038767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5607-5_0_4_line_14 |  | 10 | 11 | 0.067066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5607-5_0_4_line_15 |  | 10 | 12 | 0.086741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5607-5_0_4_line_16 |  | 10 | 13 | 0.024341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5607-5_0_4_line_17 |  | 12 | 16 | 0.065635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5607-5_0_4_line_18 |  | 13 | 20 | 0.0092491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5607-5_0_4_line_19 |  | 14 | 21 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5607-5_0_4_line_20 |  | 17 | 98 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5607-5_0_4_line_21 |  | 17 | 64 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5607-5_0_4_line_22 |  | 19 | 25 | 0.10505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5607-5_0_4_line_23 |  | 19 | 24 | 0.020685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5607-5_0_4_line_24 |  | 20 | 28 | 0.033979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5607-5_0_4_line_25 |  | 21 | 43 | 0.031171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5607-5_0_4_line_26 |  | 22 | 23 | 0.099939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5607-5_0_4_line_27 |  | 23 | 24 | 0.0073032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5607-5_0_4_line_28 |  | 25 | 27 | 0.028176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5607-5_0_4_line_29 |  | 26 | 27 | 0.12576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5607-5_0_4_line_30 |  | 27 | 96 | 0.070146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5607-5_0_4_line_31 |  | 28 | 29 | 0.035507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5607-5_0_4_line_32 |  | 28 | 30 | 0.10888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5607-5_0_4_line_33 |  | 29 | 31 | 0.031586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5607-5_0_4_line_34 |  | 30 | 36 | 0.025169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5607-5_0_4_line_35 |  | 30 | 33 | 0.005803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5607-5_0_4_line_36 |  | 31 | 37 | 0.018326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5607-5_0_4_line_37 |  | 32 | 33 | 0.07757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5607-5_0_4_line_38 |  | 32 | 34 | 0.022046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5607-5_0_4_line_39 |  | 33 | 35 | 0.001874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5607-5_0_4_line_40 |  | 34 | 38 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5607-5_0_4_line_41 |  | 37 | 45 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5607-5_0_4_line_42 |  | 37 | 40 | 0.07271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5607-5_0_4_line_43 |  | 38 | 87 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5607-5_0_4_line_44 |  | 39 | 40 | 0.028647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5607-5_0_4_line_45 |  | 40 | 41 | 0.021916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5607-5_0_4_line_46 |  | 41 | 44 | 0.011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5607-5_0_4_line_47 |  | 41 | 42 | 0.008415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5607-5_0_4_line_48 |  | 42 | 43 | 0.012284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5607-5_0_4_line_49 |  | 45 | 46 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5607-5_0_4_line_50 |  | 47 | 48 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5607-5_0_4_line_51 |  | 47 | 49 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5607-5_0_4_line_52 |  | 48 | 50 | 0.038869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5607-5_0_4_line_53 |  | 48 | 51 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5607-5_0_4_line_54 |  | 48 | 52 | 0.082142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5607-5_0_4_line_55 |  | 49 | 53 | 0.10282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5607-5_0_4_line_56 |  | 50 | 54 | 0.0069021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5607-5_0_4_line_57 |  | 50 | 55 | 0.023236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5607-5_0_4_line_58 |  | 51 | 58 | 0.0011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5607-5_0_4_line_59 |  | 52 | 61 | 0.032107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5607-5_0_4_line_60 |  | 53 | 59 | 0.004583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5607-5_0_4_line_61 |  | 53 | 60 | 0.027922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5607-5_0_4_line_62 |  | 54 | 56 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5607-5_0_4_line_63 |  | 55 | 62 | 0.048473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5607-5_0_4_line_64 |  | 56 | 57 | 0.035523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5607-5_0_4_line_65 |  | 57 | 63 | 0.025931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5607-5_0_4_line_66 |  | 58 | 64 | 0.0054857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5607-5_0_4_line_67 |  | 59 | 65 | 0.010649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5607-5_0_4_line_68 |  | 60 | 66 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5607-5_0_4_line_69 |  | 62 | 83 | 0.17427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5607-5_0_4_line_70 |  | 63 | 99 | 0.031992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5607-5_0_4_line_71 |  | 66 | 97 | 0.019613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5607-5_0_4_line_72 |  | 67 | 68 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5607-5_0_4_line_73 |  | 67 | 69 | 0.020635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5607-5_0_4_line_74 |  | 68 | 70 | 0.019739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5607-5_0_4_line_75 |  | 69 | 71 | 0.083596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5607-5_0_4_line_76 |  | 69 | 72 | 0.054991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5607-5_0_4_line_77 |  | 70 | 73 | 0.0012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5607-5_0_4_line_78 |  | 70 | 74 | 0.026447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5607-5_0_4_line_79 |  | 72 | 75 | 0.011344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5607-5_0_4_line_80 |  | 72 | 76 | 0.024076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5607-5_0_4_line_81 |  | 73 | 77 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5607-5_0_4_line_82 |  | 77 | 78 | 0.02495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5607-5_0_4_line_83 |  | 77 | 79 | 0.07863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_5607-5_0_4_line_84 |  | 79 | 83 | 0.036405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_5607-5_0_4_line_85 |  | 80 | 81 | 0.018701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5607-5_0_4_line_86 |  | 80 | 82 | 0.027929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5607-5_0_4_line_87 |  | 81 | 83 | 0.096799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5607-5_0_4_line_88 |  | 82 | 84 | 0.084943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5607-5_0_4_line_89 |  | 83 | 85 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5607-5_0_4_line_90 |  | 84 | 86 | 0.11832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5607-5_0_4_line_91 |  | 88 | 89 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5607-5_0_4_line_92 |  | 88 | 90 | 0.021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5607-5_0_4_line_93 |  | 89 | 91 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5607-5_0_4_line_94 |  | 91 | 92 | 0.02363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5607-5_0_4_line_95 |  | 91 | 93 | 0.080732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5607-5_0_4_line_96 |  | 93 | 94 | 0.011437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5607-5_0_4_line_97 |  | 93 | 95 | 0.012348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5607-5_0_4_line_98 |  | 94 | 97 | 0.0087032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5607-5_0_4_line_99 |  | 99 | 100 | 0.047428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5607-5_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 101 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2548371.4235 | 1149272.2849 | 2548378.3666 | 1149274.3375 | 2548392.0619 | 1149274.1087 | 2548410.2021 | 1149273.8085 | 2548444.6131 | 1149273.2375
1 | 2548473.5362 | 1149273.7321 | 2548456.3012 | 1149273.0461 | 2548447.6571 | 1149273.187 | 2548444.6131 | 1149273.2375
2 | 2548368.441 | 1149276.346 | 2548371.4235 | 1149272.2849
3 | 2548371.4235 | 1149272.2849 | 2548364.4441 | 1149265.9971 | 2548354.7068 | 1149253.2851 | 2548343.7488 | 1149237.9045 | 2548340.1801 | 1149232.8975
4 | 2548473.5362 | 1149273.7321 | 2548452.5326 | 1149360.9356
5 | 2548473.5362 | 1149273.7321 | 2548535.5692 | 1149273.2562 | 2548564.5487 | 1149270.0511
6 | 2548347.3701 | 1149274.2258 | 2548359.3015 | 1149278.6923 | 2548364.8438 | 1149278.5669 | 2548368.441 | 1149276.346
7 | 2548368.441 | 1149276.346 | 2548369.5186 | 1149282.0175 | 2548370.9319 | 1149295.5013
8 | 2548327.234 | 1149214.7342 | 2548340.1801 | 1149232.8975
9 | 2548564.5487 | 1149270.0511 | 2548573.1347 | 1149246.0651 | 2548574.5246 | 1149241.6616
10 | 2548564.5487 | 1149270.0511 | 2548558.9189 | 1149287.5261
11 | 2548335.8432 | 1149357.9132 | 2548349.3859 | 1149347.9805 | 2548370.9319 | 1149295.5013
12 | 2548294.0646 | 1149211.9734 | 2548327.234 | 1149214.7342
13 | 2548327.234 | 1149214.7342 | 2548324.2016 | 1149210.3135 | 2548305.2765 | 1149182.7506
14 | 2548613.5766 | 1149284.0726 | 2548611.837 | 1149308.7004 | 2548610.4285 | 1149332.5472 | 2548594.1357 | 1149331.5859 | 2548594.0701 | 1149333.7877
15 | 2548568.1908 | 1149335.8767 | 2548590.2034 | 1149296.4233 | 2548594.0569 | 1149289.1532 | 2548594.2951 | 1149284.6933 | 2548594.5616 | 1149276.3533 | 2548609.708 | 1149282.4048 | 2548613.5766 | 1149284.0726
16 | 2548613.5766 | 1149284.0726 | 2548615.9795 | 1149284.9415 | 2548618.124 | 1149286.1238 | 2548619.2947 | 1149288.3483 | 2548623.5419 | 1149292.0917 | 2548627.2378 | 1149288.8362 | 2548633.4732 | 1149288.9497
17 | 2548568.1908 | 1149335.8767 | 2548553.3333 | 1149361.7729 | 2548550.6115 | 1149370.2896 | 2548555.5799 | 1149380.2634 | 2548555.1421 | 1149395.9533
18 | 2548633.4732 | 1149288.9497 | 2548642.7212 | 1149289.0847
19 | 2548578.311 | 1149230.0791 | 2548577.6946 | 1149231.6185 | 2548574.5246 | 1149241.6616
20 | 2548335.8432 | 1149357.9132 | 2548345.819 | 1149371.8312
21 | 2548321.6978 | 1149368.2846 | 2548335.8432 | 1149357.9132
22 | 2548305.2765 | 1149182.7506 | 2548219.2081 | 1149122.5186
23 | 2548305.2765 | 1149182.7506 | 2548318.0556 | 1149173.2691 | 2548321.8452 | 1149170.3673
24 | 2548676.6971 | 1149289.581 | 2548642.7212 | 1149289.0847
25 | 2548578.311 | 1149230.0791 | 2548578.9315 | 1149219.1458 | 2548580.0861 | 1149209.6087 | 2548580.9967 | 1149202.9752 | 2548581.2354 | 1149201.2501 | 2548581.2938 | 1149200.905 | 2548581.6999 | 1149199.1248
26 | 2548327.6437 | 1149165.9273 | 2548329.85 | 1149164.452 | 2548333.5297 | 1149161.9969 | 2548410.0148 | 1149109.3358
27 | 2548327.6437 | 1149165.9273 | 2548321.8452 | 1149170.3673
28 | 2548200.6287 | 1149112.7254 | 2548208.152 | 1149107.2355 | 2548219.2081 | 1149122.5186
29 | 2548326.0575 | 1149103.6099 | 2548200.6287 | 1149112.7254
30 | 2548200.6287 | 1149112.7254 | 2548153.6847 | 1149164.8477
31 | 2548676.6971 | 1149289.581 | 2548676.6618 | 1149287.2467 | 2548676.4899 | 1149275.2085 | 2548676.1999 | 1149254.7336 | 2548676.2044 | 1149254.0777
32 | 2548676.6971 | 1149289.581 | 2548679.2232 | 1149302.1771 | 2548679.5712 | 1149315.0587 | 2548679.1081 | 1149368.7352 | 2548676.2176 | 1149383.5899 | 2548671.7504 | 1149397.213
33 | 2548676.4314 | 1149222.4925 | 2548676.2578 | 1149246.2286 | 2548676.2044 | 1149254.0777
34 | 2548671.7504 | 1149397.213 | 2548646.5307 | 1149398.2955
35 | 2548671.7504 | 1149397.213 | 2548677.1584 | 1149399.3568
36 | 2548670.8034 | 1149205.3982 | 2548674.9013 | 1149212.3447 | 2548676.4314 | 1149222.4925
37 | 2548677.1584 | 1149399.3568 | 2548681.9493 | 1149389.4663 | 2548684.3611 | 1149383.2869 | 2548685.7554 | 1149377.5276 | 2548686.6087 | 1149368.6712 | 2548708.9493 | 1149368.4805 | 2548712.7583 | 1149368.5814 | 2548714.8892 | 1149364.5611 | 2548718.2839 | 1149352.1034 | 2548718.6707 | 1149350.6438
38 | 2548718.6707 | 1149350.6438 | 2548720.9773 | 1149342.0307 | 2548720.0866 | 1149333.923 | 2548718.6822 | 1149329.1524
39 | 2548678.9071 | 1149400.0422 | 2548677.1584 | 1149399.3568
40 | 2548714.2592 | 1149314.1289 | 2548718.6822 | 1149329.1524
41 | 2548670.8034 | 1149205.3982 | 2548679.124 | 1149198.846 | 2548683.1524 | 1149188.3728
42 | 2548604.0663 | 1149182.912 | 2548606.6801 | 1149185.0908 | 2548610.1335 | 1149187.5848 | 2548614.9878 | 1149189.5999 | 2548620.8183 | 1149190.8396 | 2548631.5009 | 1149192.0268 | 2548637.0668 | 1149191.957 | 2548641.7911 | 1149192.239 | 2548643.0829 | 1149192.4614 | 2548653.6558 | 1149194.2943 | 2548663.8365 | 1149198.7542 | 2548670.8034 | 1149205.3982
43 | 2548702.3462 | 1149314.4752 | 2548714.2592 | 1149314.1289
44 | 2548604.0663 | 1149182.912 | 2548608.5889 | 1149180.2497 | 2548609.9245 | 1149179.3045 | 2548610.8969 | 1149178.0844 | 2548611.6451 | 1149175.799 | 2548612.2144 | 1149170.5358 | 2548613.0628 | 1149166.4931 | 2548615.2609 | 1149158.4132
45 | 2548585.9218 | 1149179.1429 | 2548587.9475 | 1149177.2023 | 2548590.4784 | 1149175.9689 | 2548593.2621 | 1149175.5782 | 2548596.0302 | 1149176.0437 | 2548598.5289 | 1149177.3341 | 2548600.6981 | 1149179.6057 | 2548603.3008 | 1149182.2737 | 2548604.0663 | 1149182.912
46 | 2548585.9218 | 1149179.1429 | 2548576.7309 | 1149172.8181 | 2548576.6291 | 1149172.7916
47 | 2548584.4316 | 1149187.1487 | 2548584.0699 | 1149184.3614 | 2548584.5839 | 1149181.6112 | 2548585.9218 | 1149179.1429
48 | 2548584.4316 | 1149187.1487 | 2548581.6999 | 1149199.1248
49 | 2548689.212 | 1149173.7976 | 2548687.9272 | 1149175.9589 | 2548683.1524 | 1149188.3728
50 | 2548305.3162 | 1149382.8775 | 2548322.3613 | 1149402.3289
51 | 2548338.3411 | 1149417.1673 | 2548323.716 | 1149403.8748 | 2548322.3613 | 1149402.3289
52 | 2548277.2912 | 1149384.5082 | 2548286.3774 | 1149376.8816 | 2548298.0178 | 1149389.4882 | 2548305.3162 | 1149382.8775
53 | 2548305.3162 | 1149382.8775 | 2548308.973 | 1149379.5666 | 2548316.5744 | 1149372.4753
54 | 2548263.193 | 1149317.3943 | 2548273.2455 | 1149331.0372 | 2548283.4224 | 1149344.868 | 2548308.973 | 1149379.5666 | 2548305.3162 | 1149382.8775
55 | 2548338.3411 | 1149417.1673 | 2548329.4513 | 1149423.5359 | 2548343.7575 | 1149439.0322 | 2548356.2046 | 1149443.6944 | 2548368.9605 | 1149444.9745 | 2548402.1726 | 1149437.6522 | 2548412.6826 | 1149435.7833
56 | 2548277.2912 | 1149384.5082 | 2548272.3936 | 1149379.6448
57 | 2548277.2912 | 1149384.5082 | 2548281.005 | 1149387.8225 | 2548290.691 | 1149398.1446 | 2548292.7872 | 1149401.6727
58 | 2548316.5744 | 1149372.4753 | 2548317.4082 | 1149371.6951
59 | 2548263.193 | 1149317.3943 | 2548244.1592 | 1149291.5372
60 | 2548412.6826 | 1149435.7833 | 2548411.493 | 1149431.3579
61 | 2548412.6826 | 1149435.7833 | 2548431.0886 | 1149432.5126 | 2548440.3161 | 1149432.4212
62 | 2548273.3993 | 1149363.1861 | 2548270.1342 | 1149366.5048 | 2548268.008 | 1149371.0366 | 2548269.8106 | 1149377.0798 | 2548272.3936 | 1149379.6448
63 | 2548317.5464 | 1149443.3454 | 2548292.7872 | 1149401.6727
64 | 2548250.7596 | 1149335.7664 | 2548273.3993 | 1149363.1861
65 | 2548250.7596 | 1149335.7664 | 2548248.9878 | 1149336.86 | 2548232.812 | 1149346.8156 | 2548231.0414 | 1149351.3358
66 | 2548321.6978 | 1149368.2846 | 2548318.3491 | 1149370.8147 | 2548317.4082 | 1149371.6951
67 | 2548411.493 | 1149431.3579 | 2548408.0778 | 1149421.271
68 | 2548440.3161 | 1149432.4212 | 2548447.8398 | 1149432.3467 | 2548452 | 1149433.1183
69 | 2548294.8392 | 1149544.7748 | 2548308.9353 | 1149548.3666 | 2548330.3079 | 1149516.922 | 2548346.0122 | 1149498.5997 | 2548366.6973 | 1149483.6031 | 2548368.9514 | 1149482.3497 | 2548370.4716 | 1149479.6686 | 2548369.9387 | 1149477.5165 | 2548368.6763 | 1149474.4479 | 2548353.8569 | 1149466.2264 | 2548332.1888 | 1149457.9638 | 2548317.568 | 1149443.3817 | 2548317.5464 | 1149443.3454
70 | 2548236.8493 | 1149381.7275 | 2548236.9309 | 1149381.1204 | 2548229.0632 | 1149356.3862 | 2548231.0414 | 1149351.3358
71 | 2548471.1675 | 1149437.1626 | 2548467.4336 | 1149435.9807 | 2548452 | 1149433.1183
72 | 2548185.7268 | 1149477.1562 | 2548185.7268 | 1149477.1562 | 2548186.7963 | 1149481.8717 | 2548189.1076 | 1149486.3652 | 2548191.7226 | 1149487.7593
73 | 2548202.0179 | 1149467.2662 | 2548193.072 | 1149468.8775 | 2548187.7512 | 1149472.414 | 2548185.7268 | 1149477.1562
74 | 2548208.934 | 1149497.3891 | 2548201.2147 | 1149493.4424 | 2548194.7921 | 1149489.3956 | 2548191.7226 | 1149487.7593
75 | 2548202.0179 | 1149467.2662 | 2548226.7544 | 1149468.9541 | 2548252.7259 | 1149468.7304 | 2548285.7986 | 1149468.4458
76 | 2548150.4789 | 1149448.6673 | 2548162.0955 | 1149450.4903 | 2548181.1163 | 1149459.7757 | 2548202.0179 | 1149467.2662
77 | 2548208.934 | 1149497.3891 | 2548209.9982 | 1149497.9465
78 | 2548208.934 | 1149497.3891 | 2548227.0047 | 1149499.7903 | 2548235.2196 | 1149499.9906
79 | 2548150.4789 | 1149448.6673 | 2548154.6314 | 1149459.2259
80 | 2548127.4151 | 1149441.5402 | 2548150.4789 | 1149448.6673
81 | 2548221.8599 | 1149504.1592 | 2548209.9982 | 1149497.9465
82 | 2548221.8599 | 1149504.1592 | 2548224.9678 | 1149509.324 | 2548237.3273 | 1149516.299 | 2548241.1941 | 1149519.0232
83 | 2548221.8599 | 1149504.1592 | 2548245.4121 | 1149508.3142 | 2548271.692 | 1149512.7237 | 2548288.5389 | 1149514.7799 | 2548299.3303 | 1149517.3589
84 | 2548294.8392 | 1149544.7748 | 2548301.9051 | 1149540.6119 | 2548305.8769 | 1149535.5528 | 2548306.5871 | 1149528.8654 | 2548306.7528 | 1149524.0281 | 2548300.8868 | 1149517.7308 | 2548299.3303 | 1149517.3589
85 | 2548225.1123 | 1149608.0968 | 2548208.0167 | 1149600.5152
86 | 2548185.3757 | 1149584.2599 | 2548205.7603 | 1149599.5145 | 2548208.0167 | 1149600.5152
87 | 2548294.8392 | 1149544.7748 | 2548277.0009 | 1149556.8679 | 2548249.7063 | 1149571.9106 | 2548231.8198 | 1149592.6421 | 2548225.1123 | 1149608.0968
88 | 2548185.3757 | 1149584.2599 | 2548168.464 | 1149568.4418 | 2548135.438 | 1149538.4886 | 2548125.2942 | 1149524.5976
89 | 2548294.8392 | 1149544.7748 | 2548288.4384 | 1149545.0411 | 2548282.3619 | 1149542.8366 | 2548280.9637 | 1149541.6805
90 | 2548125.2942 | 1149524.5976 | 2548108.5015 | 1149501.6016 | 2548067.9826 | 1149433.5712 | 2548064.8792 | 1149423.3675
91 | 2548558.4043 | 1149438.4586 | 2548567.922 | 1149439.9447 | 2548574.76 | 1149441.1101
92 | 2548595.8094 | 1149444.6976 | 2548574.76 | 1149441.1101
93 | 2548558.4043 | 1149438.4586 | 2548539.6218 | 1149439.0085
94 | 2548539.6218 | 1149439.0085 | 2548539.1939 | 1149430.2743 | 2548537.8402 | 1149415.4502
95 | 2548490.2477 | 1149443.5892 | 2548505.9786 | 1149452.4814 | 2548528.8315 | 1149468.2162 | 2548530.3282 | 1149465.4797 | 2548532.5745 | 1149463.3038 | 2548535.3725 | 1149461.9013 | 2548538.4621 | 1149461.3857 | 2548539.6218 | 1149439.0085
96 | 2548490.2477 | 1149443.5892 | 2548483.8469 | 1149441.1761 | 2548479.4649 | 1149439.789
97 | 2548490.2477 | 1149443.5892 | 2548490.6625 | 1149450.7783 | 2548493.8952 | 1149454.7834
98 | 2548471.1675 | 1149437.1626 | 2548479.4649 | 1149439.789
99 | 2548214.2755 | 1149384.8618 | 2548217.6686 | 1149398.184 | 2548234.622 | 1149398.3048 | 2548236.8493 | 1149381.7275

## bus_geodata
| x | y | coords
0 | 2548444.6131 | 1149273.2375
1 | 2548371.4235 | 1149272.2849
2 | 2548473.5362 | 1149273.7321
3 | 2548368.441 | 1149276.346
4 | 2548340.1801 | 1149232.8975
5 | 2548452.5326 | 1149360.9356
6 | 2548564.5487 | 1149270.0511
7 | 2548347.3701 | 1149274.2258
8 | 2548370.9319 | 1149295.5013
9 | 2548327.234 | 1149214.7342
10 | 2548613.5766 | 1149284.0726
11 | 2548594.0701 | 1149333.7877
12 | 2548568.1908 | 1149335.8767
13 | 2548633.4732 | 1149288.9497
14 | 2548574.5246 | 1149241.6616
15 | 2548558.9189 | 1149287.5261
16 | 2548555.1421 | 1149395.9533
17 | 2548335.8432 | 1149357.9132
18 | 2548294.0646 | 1149211.9734
19 | 2548305.2765 | 1149182.7506
20 | 2548642.7212 | 1149289.0847
21 | 2548578.311 | 1149230.0791
22 | 2548410.0148 | 1149109.3358
23 | 2548327.6437 | 1149165.9273
24 | 2548321.8452 | 1149170.3673
25 | 2548219.2081 | 1149122.5186
26 | 2548326.0575 | 1149103.6099
27 | 2548200.6287 | 1149112.7254
28 | 2548676.6971 | 1149289.581
29 | 2548676.2044 | 1149254.0777
30 | 2548671.7504 | 1149397.213
31 | 2548676.4314 | 1149222.4925
32 | 2548718.6707 | 1149350.6438
33 | 2548677.1584 | 1149399.3568
34 | 2548718.6822 | 1149329.1524
35 | 2548678.9071 | 1149400.0422
36 | 2548646.5307 | 1149398.2955
37 | 2548670.8034 | 1149205.3982
38 | 2548714.2592 | 1149314.1289
39 | 2548615.2609 | 1149158.4132
40 | 2548604.0663 | 1149182.912
41 | 2548585.9218 | 1149179.1429
42 | 2548584.4316 | 1149187.1487
43 | 2548581.6999 | 1149199.1248
44 | 2548576.6291 | 1149172.7916
45 | 2548683.1524 | 1149188.3728
46 | 2548689.212 | 1149173.7976
47 | 2548322.3613 | 1149402.3289
48 | 2548305.3162 | 1149382.8775
49 | 2548338.3411 | 1149417.1673
50 | 2548277.2912 | 1149384.5082
51 | 2548316.5744 | 1149372.4753
52 | 2548263.193 | 1149317.3943
53 | 2548412.6826 | 1149435.7833
54 | 2548272.3936 | 1149379.6448
55 | 2548292.7872 | 1149401.6727
56 | 2548273.3993 | 1149363.1861
57 | 2548250.7596 | 1149335.7664
58 | 2548317.4082 | 1149371.6951
59 | 2548411.493 | 1149431.3579
60 | 2548440.3161 | 1149432.4212
61 | 2548244.1592 | 1149291.5372
62 | 2548317.5464 | 1149443.3454
63 | 2548231.0414 | 1149351.3358
64 | 2548321.6978 | 1149368.2846
65 | 2548408.0778 | 1149421.271
66 | 2548452 | 1149433.1183
67 | 2548185.7268 | 1149477.1562
68 | 2548191.7226 | 1149487.7593
69 | 2548202.0179 | 1149467.2662
70 | 2548208.934 | 1149497.3891
71 | 2548285.7986 | 1149468.4458
72 | 2548150.4789 | 1149448.6673
73 | 2548209.9982 | 1149497.9465
74 | 2548235.2196 | 1149499.9906
75 | 2548154.6314 | 1149459.2259
76 | 2548127.4151 | 1149441.5402
77 | 2548221.8599 | 1149504.1592
78 | 2548241.194 | 1149519.0232
79 | 2548299.3303 | 1149517.3589
80 | 2548208.0167 | 1149600.5152
81 | 2548225.1123 | 1149608.0968
82 | 2548185.3757 | 1149584.2599
83 | 2548294.8392 | 1149544.7748
84 | 2548125.2942 | 1149524.5976
85 | 2548280.9637 | 1149541.6805
86 | 2548064.8792 | 1149423.3675
87 | 2548702.3462 | 1149314.4752
88 | 2548574.76 | 1149441.1101
89 | 2548558.4043 | 1149438.4586
90 | 2548595.8094 | 1149444.6976
91 | 2548539.6218 | 1149439.0085
92 | 2548537.8402 | 1149415.4502
93 | 2548490.2477 | 1149443.5892
94 | 2548479.4649 | 1149439.789
95 | 2548493.8952 | 1149454.7834
96 | 2548153.6847 | 1149164.8477
97 | 2548471.1675 | 1149437.1626
98 | 2548345.819 | 1149371.8312
99 | 2548236.8493 | 1149381.7275
100 | 2548214.2755 | 1149384.8618
101 | 2548473.5362 | 1149273.7321

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1