## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5610-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5610-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5610-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5610-1_0_6_node_62 | 0.4 | n |  | TRUE
4 | bus_LV_5610-1_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5610-1_0_6_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_5610-1_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5610-1_0_6_node_90 | 0.4 | n |  | TRUE
8 | bus_LV_5610-1_0_6_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_5610-1_0_6_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_5610-1_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5610-1_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5610-1_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5610-1_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5610-1_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5610-1_0_6_node_143 | 0.4 | n |  | TRUE
16 | bus_LV_5610-1_0_6_node_137 | 0.4 | n |  | TRUE
17 | bus_LV_5610-1_0_6_node_136 | 0.4 | n |  | TRUE
18 | bus_LV_5610-1_0_6_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_5610-1_0_6_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_5610-1_0_6_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_5610-1_0_6_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_5610-1_0_6_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_5610-1_0_6_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_5610-1_0_6_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_5610-1_0_6_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_5610-1_0_6_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_5610-1_0_6_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_5610-1_0_6_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_5610-1_0_6_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_5610-1_0_6_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_5610-1_0_6_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_5610-1_0_6_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_5610-1_0_6_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_5610-1_0_6_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_5610-1_0_6_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_5610-1_0_6_node_120 | 0.4 | n |  | TRUE
37 | bus_LV_5610-1_0_6_node_113 | 0.4 | n |  | TRUE
38 | bus_LV_5610-1_0_6_node_110 | 0.4 | n |  | TRUE
39 | bus_LV_5610-1_0_6_node_121 | 0.4 | n |  | TRUE
40 | bus_LV_5610-1_0_6_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_5610-1_0_6_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_5610-1_0_6_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_5610-1_0_6_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_5610-1_0_6_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_5610-1_0_6_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_5610-1_0_6_node_109 | 0.4 | n |  | TRUE
47 | bus_LV_5610-1_0_6_node_124 | 0.4 | n |  | TRUE
48 | bus_LV_5610-1_0_6_node_138 | 0.4 | n |  | TRUE
49 | bus_LV_5610-1_0_6_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_5610-1_0_6_node_140 | 0.4 | n |  | TRUE
51 | bus_LV_5610-1_0_6_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_5610-1_0_6_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_5610-1_0_6_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_5610-1_0_6_node_125 | 0.4 | n |  | TRUE
55 | bus_LV_5610-1_0_6_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_5610-1_0_6_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_5610-1_0_6_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_5610-1_0_6_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_5610-1_0_6_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_5610-1_0_6_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_5610-1_0_6_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_5610-1_0_6_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_5610-1_0_6_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_5610-1_0_6_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_5610-1_0_6_node_131 | 0.4 | n |  | TRUE
66 | bus_LV_5610-1_0_6_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_5610-1_0_6_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_5610-1_0_6_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_5610-1_0_6_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_5610-1_0_6_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_5610-1_0_6_node_122 | 0.4 | n |  | TRUE
72 | bus_LV_5610-1_0_6_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_5610-1_0_6_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_5610-1_0_6_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_5610-1_0_6_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_5610-1_0_6_node_102 | 0.4 | n |  | TRUE
77 | bus_LV_5610-1_0_6_node_112 | 0.4 | n |  | TRUE
78 | bus_LV_5610-1_0_6_node_103 | 0.4 | n |  | TRUE
79 | bus_LV_5610-1_0_6_node_154 | 0.4 | n |  | TRUE
80 | bus_LV_5610-1_0_6_node_155 | 0.4 | n |  | TRUE
81 | bus_LV_5610-1_0_6_node_156 | 0.4 | n |  | TRUE
82 | bus_LV_5610-1_0_6_node_157 | 0.4 | n |  | TRUE
83 | bus_LV_5610-1_0_6_node_161 | 0.4 | n |  | TRUE
84 | bus_LV_5610-1_0_6_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_5610-1_0_6_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_5610-1_0_6_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_5610-1_0_6_node_135 | 0.4 | n |  | TRUE
88 | bus_LV_5610-1_0_6_node_145 | 0.4 | n |  | TRUE
89 | bus_LV_5610-1_0_6_node_134 | 0.4 | n |  | TRUE
90 | bus_LV_5610-1_0_6_node_114 | 0.4 | n |  | TRUE
91 | bus_LV_5610-1_0_6_node_141 | 0.4 | n |  | TRUE
92 | bus_LV_5610-1_0_6_node_123 | 0.4 | n |  | TRUE
93 | bus_LV_5610-1_0_6_node_144 | 0.4 | n |  | TRUE
94 | bus_LV_5610-1_0_6_node_132 | 0.4 | n |  | TRUE
95 | bus_LV_5610-1_0_6_node_142 | 0.4 | n |  | TRUE
96 | bus_MV_384_1_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5610-1_0_6_load_0 | 0 | 0.0025403 | 0.00063666 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5610-1_0_6_load_1 | 1 | 0.0015725 | 0.00039411 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5610-1_0_6_load_3 | 4 | 0.0038449 | 0.00096361 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5610-1_0_6_load_60 | 5 | 0.0037166 | 0.00093146 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5610-1_0_6_load_90 | 7 | 0.0011549 | 0.00028944 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5610-1_0_6_load_139 | 9 | 0.0030223 | 0.00075746 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5610-1_0_6_load_5 | 10 | 0.0028237 | 0.00070769 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5610-1_0_6_load_6 | 11 | 0.0026812 | 0.00067198 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5610-1_0_6_load_8 | 13 | 0.0060817 | 0.0015242 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5610-1_0_6_load_9 | 14 | 0.0031166 | 0.00078109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5610-1_0_6_load_143 | 15 | 0.0037987 | 0.00095204 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5610-1_0_6_load_137 | 16 | 0.0033124 | 0.00083018 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5610-1_0_6_load_100 | 18 | 0.005719 | 0.0014333 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5610-1_0_6_load_50 | 19 | 0.0043328 | 0.0010859 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5610-1_0_6_load_51 | 20 | 0.011246 | 0.0028184 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5610-1_0_6_load_54 | 23 | 0.0013736 | 0.00034425 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5610-1_0_6_load_56 | 24 | 0.0045475 | 0.0011397 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5610-1_0_6_load_55 | 25 | 0.0043861 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5610-1_0_6_load_64 | 27 | 0.0024808 | 0.00062174 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5610-1_0_6_load_59 | 29 | 0.003888 | 0.00097441 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5610-1_0_6_load_65 | 30 | 0.0064476 | 0.0016159 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5610-1_0_6_load_66 | 31 | 0.0057211 | 0.0014339 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5610-1_0_6_load_67 | 32 | 0.0056983 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5610-1_0_6_load_68 | 33 | 0.0033317 | 0.00083501 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5610-1_0_6_load_69 | 34 | 0.0042676 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5610-1_0_6_load_120 | 36 | 0.0053366 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5610-1_0_6_load_113 | 37 | 0.0031915 | 0.00079985 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5610-1_0_6_load_110 | 38 | 0.0052889 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5610-1_0_6_load_121 | 39 | 0.0045598 | 0.0011428 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5610-1_0_6_load_70 | 40 | 0.0037053 | 0.00092863 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5610-1_0_6_load_71 | 41 | 0.0029624 | 0.00074245 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5610-1_0_6_load_73 | 43 | 0.0071879 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5610-1_0_6_load_74 | 44 | 0.0066099 | 0.0016566 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5610-1_0_6_load_124 | 47 | 0.0036911 | 0.00092507 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5610-1_0_6_load_138 | 48 | 0.0026978 | 0.00067614 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5610-1_0_6_load_115 | 49 | 0.003365 | 0.00084336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5610-1_0_6_load_140 | 50 | 0.0046729 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5610-1_0_6_load_87 | 52 | 0.011089 | 0.0027792 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5610-1_0_6_load_84 | 53 | 0.0075962 | 0.0019038 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5610-1_0_6_load_125 | 54 | 0.0024182 | 0.00060606 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5610-1_0_6_load_76 | 56 | 0.0061473 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5610-1_0_6_load_80 | 59 | 0.0029017 | 0.00072723 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5610-1_0_6_load_81 | 61 | 0.0026718 | 0.00066961 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5610-1_0_6_load_107 | 64 | 0.0032192 | 0.00080681 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5610-1_0_6_load_131 | 65 | 0.0030702 | 0.00076945 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5610-1_0_6_load_92 | 66 | 0.0034356 | 0.00086105 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5610-1_0_6_load_97 | 67 | 0.0061394 | 0.0015387 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5610-1_0_6_load_108 | 69 | 0.0039484 | 0.00098957 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5610-1_0_6_load_95 | 70 | 0.0039172 | 0.00098174 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5610-1_0_6_load_122 | 71 | 0.0081594 | 0.0020449 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5610-1_0_6_load_88 | 74 | 0.0042514 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5610-1_0_6_load_89 | 75 | 0.016998 | 0.0042601 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5610-1_0_6_load_103 | 78 | 0.011373 | 0.0028503 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5610-1_0_6_load_154 | 79 | 0.0029985 | 0.00075149 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5610-1_0_6_load_161 | 83 | 0.014467 | 0.0036258 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5610-1_0_6_load_93 | 84 | 0.0077005 | 0.0019299 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5610-1_0_6_load_99 | 86 | 0.0032379 | 0.00081148 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5610-1_0_6_load_145 | 88 | 0.016713 | 0.0041887 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5610-1_0_6_load_114 | 90 | 0.0055494 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5610-1_0_6_load_141 | 91 | 0.0047968 | 0.0012022 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5610-1_0_6_load_123 | 92 | 0.014931 | 0.003742 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5610-1_0_6_load_144 | 93 | 0.0052486 | 0.0013154 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5610-1_0_6_load_132 | 94 | 0.0042454 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5610-1_0_6_load_142 | 95 | 0.0077569 | 0.0019441 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5610-1_0_6_line_0 |  | 0 | 1 | 0.032622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5610-1_0_6_line_1 |  | 1 | 2 | 0.0053481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5610-1_0_6_line_2 |  | 2 | 4 | 0.024313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5610-1_0_6_line_3 |  | 2 | 6 | 0.070372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5610-1_0_6_line_4 |  | 3 | 4 | 0.11378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5610-1_0_6_line_5 |  | 3 | 5 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5610-1_0_6_line_6 |  | 5 | 29 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5610-1_0_6_line_7 |  | 6 | 7 | 0.051931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5610-1_0_6_line_8 |  | 7 | 8 | 0.09352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5610-1_0_6_line_9 |  | 7 | 9 | 0.16766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5610-1_0_6_line_10 |  | 8 | 79 | 0.398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5610-1_0_6_line_11 |  | 10 | 11 | 0.010108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5610-1_0_6_line_12 |  | 10 | 12 | 0.034396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5610-1_0_6_line_13 |  | 11 | 13 | 0.0075266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5610-1_0_6_line_14 |  | 12 | 14 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5610-1_0_6_line_15 |  | 13 | 15 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5610-1_0_6_line_16 |  | 14 | 16 | 0.0027882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5610-1_0_6_line_17 |  | 15 | 17 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5610-1_0_6_line_18 |  | 16 | 18 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5610-1_0_6_line_19 |  | 17 | 85 | 0.042316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5610-1_0_6_line_20 |  | 18 | 68 | 0.0034788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5610-1_0_6_line_21 |  | 19 | 20 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5610-1_0_6_line_22 |  | 19 | 21 | 0.016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5610-1_0_6_line_23 |  | 20 | 22 | 0.079756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5610-1_0_6_line_24 |  | 21 | 23 | 0.01028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5610-1_0_6_line_25 |  | 22 | 24 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5610-1_0_6_line_26 |  | 24 | 25 | 0.016834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5610-1_0_6_line_27 |  | 25 | 26 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5610-1_0_6_line_28 |  | 26 | 27 | 0.086764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5610-1_0_6_line_29 |  | 27 | 28 | 0.17019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5610-1_0_6_line_30 |  | 28 | 29 | 0.055057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5610-1_0_6_line_31 |  | 30 | 31 | 0.009863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5610-1_0_6_line_32 |  | 30 | 32 | 0.0031744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5610-1_0_6_line_33 |  | 31 | 33 | 0.02334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5610-1_0_6_line_34 |  | 32 | 34 | 0.0024908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5610-1_0_6_line_35 |  | 33 | 35 | 0.0030777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5610-1_0_6_line_36 |  | 34 | 36 | 0.0065406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5610-1_0_6_line_37 |  | 35 | 37 | 0.019621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5610-1_0_6_line_38 |  | 35 | 38 | 0.0082606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5610-1_0_6_line_39 |  | 36 | 39 | 0.0055635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5610-1_0_6_line_40 |  | 37 | 71 | 0.0071661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5610-1_0_6_line_41 |  | 38 | 72 | 0.0074042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5610-1_0_6_line_42 |  | 39 | 93 | 0.034771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5610-1_0_6_line_43 |  | 40 | 41 | 0.0080871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5610-1_0_6_line_44 |  | 40 | 42 | 0.0074104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5610-1_0_6_line_45 |  | 41 | 43 | 0.0087214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5610-1_0_6_line_46 |  | 42 | 44 | 0.0038233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5610-1_0_6_line_47 |  | 42 | 45 | 0.016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5610-1_0_6_line_48 |  | 43 | 46 | 0.010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5610-1_0_6_line_49 |  | 44 | 47 | 0.02414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5610-1_0_6_line_50 |  | 45 | 48 | 0.011381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5610-1_0_6_line_51 |  | 45 | 49 | 0.0057233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5610-1_0_6_line_52 |  | 46 | 50 | 0.0070263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5610-1_0_6_line_53 |  | 47 | 54 | 0.0038592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5610-1_0_6_line_54 |  | 48 | 55 | 0.0030894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5610-1_0_6_line_55 |  | 49 | 52 | 0.0062475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5610-1_0_6_line_56 |  | 50 | 91 | 0.011177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5610-1_0_6_line_57 |  | 51 | 52 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5610-1_0_6_line_58 |  | 51 | 53 | 0.0014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5610-1_0_6_line_59 |  | 53 | 73 | 0.010568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5610-1_0_6_line_60 |  | 54 | 85 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5610-1_0_6_line_61 |  | 55 | 62 | 0.007919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5610-1_0_6_line_62 |  | 56 | 57 | 0.058692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5610-1_0_6_line_63 |  | 57 | 58 | 0.043356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5610-1_0_6_line_64 |  | 57 | 59 | 0.040795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5610-1_0_6_line_65 |  | 58 | 63 | 0.011579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5610-1_0_6_line_66 |  | 60 | 61 | 0.0077432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5610-1_0_6_line_67 |  | 60 | 62 | 0.009878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5610-1_0_6_line_68 |  | 61 | 64 | 0.0087371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5610-1_0_6_line_69 |  | 62 | 65 | 0.0072527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5610-1_0_6_line_70 |  | 63 | 66 | 0.045608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5610-1_0_6_line_71 |  | 64 | 69 | 0.00090952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5610-1_0_6_line_72 |  | 65 | 70 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5610-1_0_6_line_73 |  | 66 | 84 | 0.0035046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5610-1_0_6_line_74 |  | 67 | 68 | 0.016016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5610-1_0_6_line_75 |  | 68 | 86 | 0.0065658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5610-1_0_6_line_76 |  | 69 | 90 | 0.004013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5610-1_0_6_line_77 |  | 70 | 84 | 0.033831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5610-1_0_6_line_78 |  | 71 | 92 | 0.00040219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5610-1_0_6_line_79 |  | 72 | 77 | 0.007517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5610-1_0_6_line_80 |  | 73 | 74 | 0.0064794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5610-1_0_6_line_81 |  | 73 | 75 | 0.0029665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5610-1_0_6_line_82 |  | 74 | 76 | 0.0039504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5610-1_0_6_line_83 |  | 75 | 77 | 0.013829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_5610-1_0_6_line_84 |  | 76 | 78 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5610-1_0_6_line_85 |  | 79 | 80 | 0.068347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5610-1_0_6_line_86 |  | 79 | 81 | 0.46487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_5610-1_0_6_line_87 |  | 80 | 82 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5610-1_0_6_line_88 |  | 81 | 93 | 0.080802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_5610-1_0_6_line_89 |  | 82 | 83 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5610-1_0_6_line_90 |  | 87 | 88 | 0.0080424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5610-1_0_6_line_91 |  | 87 | 89 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5610-1_0_6_line_92 |  | 89 | 94 | 0.019223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5610-1_0_6_line_93 |  | 89 | 92 | 0.012032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_5610-1_0_6_line_94 |  | 91 | 95 | 0.0093067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5610-1_0_6_trafo_134 | 0.63 MVA 20/0.4 kV | 96 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2550483.5196 | 1147393.6539 | 2550493.4335 | 1147386.9804 | 2550507.7041 | 1147372.0253
1 | 2550511.3962 | 1147368.1561 | 2550507.7041 | 1147372.0253
2 | 2550511.3962 | 1147368.1561 | 2550520.7143 | 1147361.8539 | 2550528.1281 | 1147372.6102
3 | 2550511.3962 | 1147368.1561 | 2550480.8056 | 1147389.5746 | 2550470.6786 | 1147391.8369 | 2550460.1753 | 1147387.5656 | 2550451.0555 | 1147380.626
4 | 2550568.5498 | 1147478.9661 | 2550528.1281 | 1147372.6102
5 | 2550568.5498 | 1147478.9661 | 2550561.2374 | 1147506.1773
6 | 2550561.2374 | 1147506.1773 | 2550559.0707 | 1147514.2402 | 2550558.2694 | 1147516.9463
7 | 2550451.0555 | 1147380.626 | 2550411.353 | 1147414.0998
8 | 2550337.3761 | 1147470.3102 | 2550341.9586 | 1147464.4138 | 2550344.4101 | 1147461.8144 | 2550346.7036 | 1147459.6054 | 2550349.2893 | 1147457.4496 | 2550351.8018 | 1147455.7169 | 2550355.3722 | 1147453.753 | 2550372.61 | 1147443.9501 | 2550377.7218 | 1147440.773 | 2550384.6311 | 1147435.78 | 2550391.9601 | 1147430.4501 | 2550411.353 | 1147414.0998
9 | 2550514.8722 | 1147545.9869 | 2550411.353 | 1147414.0998
10 | 2550337.3761 | 1147470.3102 | 2550008.9749 | 1147245.4636
11 | 2550772.2514 | 1146999.2423 | 2550782.2488 | 1146997.7499
12 | 2550815.8255 | 1146990.696 | 2550802.3253 | 1146994.753 | 2550782.2488 | 1146997.7499
13 | 2550772.2514 | 1146999.2423 | 2550772.0695 | 1146999.2695 | 2550765.3232 | 1147002.1682
14 | 2550815.8255 | 1146990.696 | 2550829.5571 | 1146987.6857
15 | 2550752.6947 | 1147007.5945 | 2550765.3232 | 1147002.1682
16 | 2550829.5571 | 1146987.6857 | 2550832.2806 | 1146987.0887
17 | 2550725.5498 | 1147016.426 | 2550730.6226 | 1147015.9286 | 2550739.8344 | 1147013.4407 | 2550751.5497 | 1147008.0865 | 2550752.6947 | 1147007.5945
18 | 2550832.2806 | 1146987.0887 | 2550837.3697 | 1146985.973 | 2550848.315 | 1146985.2508
19 | 2550725.5498 | 1147016.426 | 2550718.0024 | 1147019.5783 | 2550713.958 | 1147034.0301 | 2550708.2142 | 1147034.1995 | 2550707.284 | 1147031.2833 | 2550696.9383 | 1147032.2464
20 | 2550850.7775 | 1146987.5087 | 2550848.7157 | 1146985.2243 | 2550848.315 | 1146985.2508
21 | 2550855.4104 | 1147426.4883 | 2550865.4598 | 1147432.0526
22 | 2550878.9902 | 1147441.737 | 2550874.266 | 1147436.9286 | 2550865.4598 | 1147432.0526
23 | 2550855.4104 | 1147426.4883 | 2550795.2036 | 1147478.7966
24 | 2550888.1622 | 1147437.2709 | 2550883.2522 | 1147438.8562 | 2550878.9902 | 1147441.737
25 | 2550795.2036 | 1147478.7966 | 2550787.0763 | 1147473.8939 | 2550779.0497 | 1147473.7817
26 | 2550763.4548 | 1147480.104 | 2550767.627 | 1147478.1886 | 2550779.0497 | 1147473.7817 | 2550779.0497 | 1147473.7817
27 | 2550750.3697 | 1147490.3585 | 2550752.4391 | 1147485.161 | 2550763.4548 | 1147480.104
28 | 2550665.8419 | 1147509.928 | 2550750.3697 | 1147490.3585
29 | 2550540.0507 | 1147568.8028 | 2550547.2084 | 1147579.0715 | 2550553.6956 | 1147590.9244 | 2550555.8679 | 1147592.6518 | 2550558.8645 | 1147593.7611 | 2550564.0056 | 1147592.2737 | 2550574.1431 | 1147585.7314 | 2550586.8776 | 1147581.2022 | 2550591.9038 | 1147577.8814 | 2550604.5819 | 1147566.4824 | 2550607.8477 | 1147562.9649 | 2550618.0195 | 1147547.4844 | 2550621.5883 | 1147543.453 | 2550650.6162 | 1147524.4271 | 2550661.0442 | 1147514.8921 | 2550665.8419 | 1147509.928
30 | 2550540.0507 | 1147568.8028 | 2550549.2668 | 1147547.3492 | 2550558.2694 | 1147516.9463
31 | 2550582.429 | 1147095.5434 | 2550587.2525 | 1147093.2226 | 2550591.6734 | 1147092.3298
32 | 2550582.429 | 1147095.5434 | 2550579.5684 | 1147096.9198
33 | 2550591.6734 | 1147092.3298 | 2550604.927 | 1147089.6533 | 2550614.7288 | 1147089.0734
34 | 2550577.324 | 1147097.9997 | 2550579.5684 | 1147096.9198
35 | 2550617.8011 | 1147088.8917 | 2550614.7288 | 1147089.0734
36 | 2550577.324 | 1147097.9997 | 2550571.4301 | 1147100.8356
37 | 2550617.8011 | 1147088.8917 | 2550618.5695 | 1147098.2903 | 2550614.7762 | 1147107.7486
38 | 2550617.8011 | 1147088.8917 | 2550626.0475 | 1147088.4077
39 | 2550566.5107 | 1147103.4199 | 2550568.142 | 1147102.4177 | 2550571.4301 | 1147100.8356
40 | 2550614.7762 | 1147107.7486 | 2550614.7762 | 1147107.7486 | 2550616.9021 | 1147114.5921
41 | 2550633.4389 | 1147087.974 | 2550626.0475 | 1147088.4077
42 | 2550566.5107 | 1147103.4199 | 2550559.3384 | 1147107.8262 | 2550534.3165 | 1147116.0964
43 | 2550655.7284 | 1147053.92 | 2550648.3408 | 1147057.2102
44 | 2550662.4977 | 1147050.9051 | 2550655.7284 | 1147053.92
45 | 2550640.3738 | 1147060.7584 | 2550648.3408 | 1147057.2102
46 | 2550662.4977 | 1147050.9051 | 2550666.2387 | 1147050.1164
47 | 2550669.3109 | 1147065.9349 | 2550662.4977 | 1147050.9051
48 | 2550640.3738 | 1147060.7584 | 2550631.0126 | 1147065.6156
49 | 2550689.8709 | 1147045.2631 | 2550686.0706 | 1147046.3428 | 2550672.3733 | 1147048.8231 | 2550666.2387 | 1147050.1164
50 | 2550669.3109 | 1147065.9349 | 2550673.0852 | 1147074.7419 | 2550673.78 | 1147076.4013
51 | 2550669.3109 | 1147065.9349 | 2550664.2688 | 1147068.643
52 | 2550631.0126 | 1147065.6156 | 2550624.5849 | 1147068.4532
53 | 2550689.8709 | 1147045.2631 | 2550693.5648 | 1147044.2136 | 2550693.57 | 1147044.1952
54 | 2550674.9732 | 1147079.2509 | 2550673.78 | 1147076.4013
55 | 2550658.765 | 1147071.5991 | 2550664.2688 | 1147068.643
56 | 2550624.5849 | 1147068.4532 | 2550614.36 | 1147072.9672
57 | 2550649.2377 | 1147076.7162 | 2550658.765 | 1147071.5991
58 | 2550649.2377 | 1147076.7162 | 2550649.799 | 1147078.0099
59 | 2550654.0054 | 1147087.7051 | 2550649.799 | 1147078.0099
60 | 2550696.9383 | 1147032.2464 | 2550693.57 | 1147044.1952
61 | 2550674.9732 | 1147079.2509 | 2550682.0561 | 1147075.6688
62 | 2550833.6043 | 1147019.5546 | 2550826.5587 | 1147028.6614 | 2550783.0503 | 1147046.904
63 | 2550833.6043 | 1147019.5546 | 2550816.9005 | 1147020.7028 | 2550790.1985 | 1147022.0997
64 | 2550833.6043 | 1147019.5546 | 2550842.398 | 1147018.5377 | 2550850.6679 | 1147017.3251 | 2550860.0467 | 1147015.5253 | 2550868.462 | 1147013.311 | 2550873.583 | 1147011.8236
65 | 2550778.6063 | 1147022.7838 | 2550790.1985 | 1147022.0997
66 | 2550691.844 | 1147074.1433 | 2550694.5861 | 1147081.3847
67 | 2550691.844 | 1147074.1433 | 2550682.0561 | 1147075.6688
68 | 2550694.5861 | 1147081.3847 | 2550694.8194 | 1147082.0008 | 2550698.0776 | 1147089.3929
69 | 2550682.0561 | 1147075.6688 | 2550687.8995 | 1147071.3728
70 | 2550778.6063 | 1147022.7838 | 2550739.5908 | 1147046.4035
71 | 2550698.4444 | 1147090.2252 | 2550698.0776 | 1147089.3929
72 | 2550687.8995 | 1147071.3728 | 2550692.378 | 1147068.0802 | 2550705.8269 | 1147062.2633
73 | 2550739.5908 | 1147046.4035 | 2550736.5928 | 1147048.2185
74 | 2550850.7775 | 1146987.5087 | 2550847.5753 | 1146991.348 | 2550837.6936 | 1146996.2173
75 | 2550850.7775 | 1146987.5087 | 2550856.3488 | 1146986.9184 | 2550857.3069 | 1146986.8185
76 | 2550700.063 | 1147093.8973 | 2550698.4444 | 1147090.2252
77 | 2550736.5928 | 1147048.2185 | 2550735.2335 | 1147049.0414 | 2550707.7309 | 1147061.4398 | 2550705.8269 | 1147062.2633
78 | 2550617.0214 | 1147114.9762 | 2550616.9021 | 1147114.5921
79 | 2550638.3171 | 1147093.7036 | 2550633.4389 | 1147087.974
80 | 2550654.0054 | 1147087.7051 | 2550660.1779 | 1147085.7345
81 | 2550654.0054 | 1147087.7051 | 2550651.2345 | 1147088.7645
82 | 2550663.9411 | 1147084.533 | 2550660.1779 | 1147085.7345
83 | 2550638.3171 | 1147093.7036 | 2550651.2345 | 1147088.7645
84 | 2550663.9411 | 1147084.533 | 2550668.2222 | 1147096.4757
85 | 2549941.1109 | 1147237.6734 | 2549957.332 | 1147240.4399 | 2549970.7089 | 1147242.0072 | 2550002.4615 | 1147244.9892 | 2550008.9749 | 1147245.4636
86 | 2550460.7437 | 1147135.8964 | 2550008.9749 | 1147245.4636
87 | 2549925.1584 | 1147234.8714 | 2549941.1109 | 1147237.6734
88 | 2550460.7437 | 1147135.8964 | 2550464.4262 | 1147140.0571 | 2550472.2284 | 1147141.7716 | 2550516.2907 | 1147122.0542 | 2550534.3165 | 1147116.0964
89 | 2549925.1584 | 1147234.8714 | 2549926.4037 | 1147229.4693 | 2549929.6621 | 1147214.9457
90 | 2550635.6823 | 1147116.1147 | 2550636.1717 | 1147117.7226 | 2550642.2777 | 1147115.9373
91 | 2550635.6823 | 1147116.1147 | 2550633.4145 | 1147119.6018 | 2550628.4371 | 1147123.3001 | 2550620.5905 | 1147126.4661
92 | 2550620.5905 | 1147126.4661 | 2550616.8329 | 1147128.109 | 2550610.0387 | 1147132.2335 | 2550604.7459 | 1147137.0758
93 | 2550620.5905 | 1147126.4661 | 2550617.0214 | 1147114.9762
94 | 2550606.1079 | 1147077.2705 | 2550614.36 | 1147072.9672

## bus_geodata
| x | y | coords
0 | 2550483.5196 | 1147393.6539
1 | 2550507.7041 | 1147372.0253
2 | 2550511.3962 | 1147368.1561
3 | 2550568.5498 | 1147478.9661
4 | 2550528.1281 | 1147372.6102
5 | 2550561.2374 | 1147506.1773
6 | 2550451.0555 | 1147380.626
7 | 2550411.353 | 1147414.0997
8 | 2550337.3761 | 1147470.3102
9 | 2550514.8722 | 1147545.9869
10 | 2550782.2488 | 1146997.7499
11 | 2550772.2514 | 1146999.2423
12 | 2550815.8255 | 1146990.696
13 | 2550765.3232 | 1147002.1682
14 | 2550829.5571 | 1146987.6857
15 | 2550752.6947 | 1147007.5945
16 | 2550832.2806 | 1146987.0887
17 | 2550725.5498 | 1147016.426
18 | 2550848.315 | 1146985.2508
19 | 2550865.4598 | 1147432.0526
20 | 2550855.4104 | 1147426.4883
21 | 2550878.9902 | 1147441.737
22 | 2550795.2036 | 1147478.7966
23 | 2550888.1622 | 1147437.2709
24 | 2550779.0497 | 1147473.7817
25 | 2550763.4548 | 1147480.104
26 | 2550750.3697 | 1147490.3585
27 | 2550665.8419 | 1147509.928
28 | 2550540.0507 | 1147568.8028
29 | 2550558.2694 | 1147516.9463
30 | 2550582.429 | 1147095.5434
31 | 2550591.6734 | 1147092.3298
32 | 2550579.5684 | 1147096.9198
33 | 2550614.7288 | 1147089.0734
34 | 2550577.324 | 1147097.9997
35 | 2550617.8011 | 1147088.8917
36 | 2550571.4301 | 1147100.8356
37 | 2550614.7762 | 1147107.7486
38 | 2550626.0475 | 1147088.4077
39 | 2550566.5107 | 1147103.4199
40 | 2550655.7284 | 1147053.92
41 | 2550648.3408 | 1147057.2102
42 | 2550662.4977 | 1147050.9051
43 | 2550640.3738 | 1147060.7584
44 | 2550666.2387 | 1147050.1164
45 | 2550669.3109 | 1147065.9349
46 | 2550631.0126 | 1147065.6156
47 | 2550689.8709 | 1147045.2631
48 | 2550673.78 | 1147076.4013
49 | 2550664.2688 | 1147068.643
50 | 2550624.5849 | 1147068.4532
51 | 2550649.2377 | 1147076.7162
52 | 2550658.765 | 1147071.5991
53 | 2550649.799 | 1147078.0099
54 | 2550693.57 | 1147044.1952
55 | 2550674.9732 | 1147079.2509
56 | 2550783.0503 | 1147046.904
57 | 2550833.6043 | 1147019.5546
58 | 2550790.1985 | 1147022.0997
59 | 2550873.583 | 1147011.8236
60 | 2550691.844 | 1147074.1433
61 | 2550694.5861 | 1147081.3847
62 | 2550682.0561 | 1147075.6688
63 | 2550778.6063 | 1147022.7838
64 | 2550698.0776 | 1147089.3929
65 | 2550687.8995 | 1147071.3728
66 | 2550739.5908 | 1147046.4035
67 | 2550837.6936 | 1146996.2173
68 | 2550850.7775 | 1146987.5087
69 | 2550698.4444 | 1147090.2252
70 | 2550705.8269 | 1147062.2633
71 | 2550616.9021 | 1147114.5921
72 | 2550633.4389 | 1147087.974
73 | 2550654.0054 | 1147087.7051
74 | 2550660.1779 | 1147085.7345
75 | 2550651.2345 | 1147088.7645
76 | 2550663.9411 | 1147084.533
77 | 2550638.3171 | 1147093.7036
78 | 2550668.2222 | 1147096.4757
79 | 2550008.9749 | 1147245.4636
80 | 2549941.1109 | 1147237.6734
81 | 2550460.7437 | 1147135.8964
82 | 2549925.1584 | 1147234.8714
83 | 2549929.6621 | 1147214.9457
84 | 2550736.5928 | 1147048.2185
85 | 2550696.9383 | 1147032.2464
86 | 2550857.3069 | 1146986.8185
87 | 2550635.6823 | 1147116.1147
88 | 2550642.2777 | 1147115.9373
89 | 2550620.5905 | 1147126.4661
90 | 2550700.063 | 1147093.8973
91 | 2550614.36 | 1147072.9672
92 | 2550617.0214 | 1147114.9762
93 | 2550534.3165 | 1147116.0964
94 | 2550604.7459 | 1147137.0758
95 | 2550606.1079 | 1147077.2705
96 | 2550635.6823 | 1147116.1147

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1