## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5611-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5611-2_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5611-2_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_5611-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5611-2_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5611-2_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5611-2_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5611-2_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5611-2_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5611-2_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5611-2_0_5_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_5611-2_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5611-2_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5611-2_0_5_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_5611-2_0_5_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_5611-2_0_5_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_5611-2_0_5_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_5611-2_0_5_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5611-2_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5611-2_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5611-2_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5611-2_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5611-2_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5611-2_0_5_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_5611-2_0_5_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_5611-2_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5611-2_0_5_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_5611-2_0_5_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_5611-2_0_5_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_5611-2_0_5_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_5611-2_0_5_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_5611-2_0_5_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_5611-2_0_5_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_5611-2_0_5_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_5611-2_0_5_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_5611-2_0_5_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_5611-2_0_5_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_5611-2_0_5_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_5611-2_0_5_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_5611-2_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5611-2_0_5_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_5611-2_0_5_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_5611-2_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_5611-2_0_5_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_5611-2_0_5_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5611-2_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5611-2_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_5611-2_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_5611-2_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5611-2_0_5_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_5611-2_0_5_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5611-2_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5611-2_0_5_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_5611-2_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_5611-2_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5611-2_0_5_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5611-2_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5611-2_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5611-2_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5611-2_0_5_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_5611-2_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_5611-2_0_5_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_5611-2_0_5_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_5611-2_0_5_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_5611-2_0_5_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_5611-2_0_5_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5611-2_0_5_node_28 | 0.4 | n |  | TRUE
67 | bus_LV_5611-2_0_5_node_33 | 0.4 | n |  | TRUE
68 | bus_LV_5611-2_0_5_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_5611-2_0_5_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_5611-2_0_5_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_5611-2_0_5_node_31 | 0.4 | n |  | TRUE
72 | bus_LV_5611-2_0_5_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_5611-2_0_5_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_5611-2_0_5_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_5611-2_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_5611-2_0_5_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_5611-2_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5611-2_0_5_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_5611-2_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5611-2_0_5_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_5611-2_0_5_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_5611-2_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_5611-2_0_5_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_5611-2_0_5_node_55 | 0.4 | n |  | TRUE
85 | bus_MV_366_2_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5611-2_0_5_load_0 | 0 | 0.0046152 | 0.0011567 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5611-2_0_5_load_3 | 3 | 0.0008029 | 0.00020123 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5611-2_0_5_load_7 | 5 | 0.0038855 | 0.0009738 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5611-2_0_5_load_8 | 6 | 0.00081257 | 0.00020365 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5611-2_0_5_load_13 | 9 | 0.0038727 | 0.00097059 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5611-2_0_5_load_14 | 12 | 0.0004618 | 0.00011574 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5611-2_0_5_load_67 | 13 | 0.0014421 | 0.00036142 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5611-2_0_5_load_62 | 16 | 0.001631 | 0.00040878 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5611-2_0_5_load_10 | 18 | 0.0014245 | 0.00035701 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5611-2_0_5_load_15 | 19 | 0.0055903 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5611-2_0_5_load_16 | 20 | 0.036597 | 0.0091721 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5611-2_0_5_load_83 | 23 | 0.0065358 | 0.001638 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5611-2_0_5_load_19 | 25 | 0.054776 | 0.013728 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5611-2_0_5_load_71 | 27 | 0.01559 | 0.0039072 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5611-2_0_5_load_73 | 29 | 0.0038148 | 0.00095607 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5611-2_0_5_load_74 | 30 | 0.0063152 | 0.0015827 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5611-2_0_5_load_76 | 33 | 0.0095011 | 0.0023812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5611-2_0_5_load_88 | 36 | 0.014655 | 0.0036729 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5611-2_0_5_load_42 | 40 | 0.054902 | 0.01376 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5611-2_0_5_load_85 | 41 | 0.0028477 | 0.00071371 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5611-2_0_5_load_20 | 42 | 0.0065903 | 0.0016517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5611-2_0_5_load_22 | 44 | 0.033778 | 0.0084655 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5611-2_0_5_load_24 | 46 | 0.0045916 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5611-2_0_5_load_25 | 47 | 0.015501 | 0.0038849 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5611-2_0_5_load_57 | 50 | 0.0027266 | 0.00068336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5611-2_0_5_load_37 | 51 | 0.00099395 | 0.00024911 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5611-2_0_5_load_40 | 55 | 0.058439 | 0.014646 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5611-2_0_5_load_46 | 58 | 0.053071 | 0.013301 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5611-2_0_5_load_86 | 59 | 0.0089687 | 0.0022478 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5611-2_0_5_load_68 | 60 | 0.016751 | 0.0041981 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5611-2_0_5_load_70 | 62 | 0.0028862 | 0.00072336 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5611-2_0_5_load_87 | 63 | 0.019113 | 0.00479 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5611-2_0_5_load_89 | 64 | 0.006088 | 0.0015258 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5611-2_0_5_load_58 | 65 | 0.0013544 | 0.00033945 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5611-2_0_5_load_28 | 66 | 0.011578 | 0.0029016 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5611-2_0_5_load_34 | 69 | 0.0077361 | 0.0019389 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5611-2_0_5_load_31 | 71 | 0.001794 | 0.00044962 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5611-2_0_5_load_50 | 72 | 0.00072158 | 0.00018085 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5611-2_0_5_load_38 | 73 | 0.0051891 | 0.0013005 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5611-2_0_5_load_49 | 74 | 0.00085903 | 0.00021529 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5611-2_0_5_load_60 | 75 | 0.070628 | 0.017701 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5611-2_0_5_load_51 | 76 | 0.0010988 | 0.00027539 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5611-2_0_5_load_64 | 77 | 0.0014662 | 0.00036747 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5611-2_0_5_load_63 | 79 | 0.0049513 | 0.0012409 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5611-2_0_5_load_56 | 80 | 0.0031534 | 0.00079033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5611-2_0_5_load_54 | 81 | 0.0026764 | 0.00067076 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5611-2_0_5_load_65 | 82 | 0.003066 | 0.00076841 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5611-2_0_5_load_53 | 83 | 0.0025788 | 0.0006463 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5611-2_0_5_load_55 | 84 | 0.0016033 | 0.00040184 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5611-2_0_5_line_0 |  | 0 | 1 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5611-2_0_5_line_1 |  | 1 | 5 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5611-2_0_5_line_2 |  | 1 | 6 | 0.029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5611-2_0_5_line_3 |  | 2 | 3 | 0.016754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5611-2_0_5_line_4 |  | 2 | 4 | 0.034329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5611-2_0_5_line_5 |  | 3 | 7 | 0.0022844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5611-2_0_5_line_6 |  | 4 | 10 | 0.035014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5611-2_0_5_line_7 |  | 4 | 6 | 0.029917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5611-2_0_5_line_8 |  | 5 | 11 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5611-2_0_5_line_9 |  | 7 | 8 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5611-2_0_5_line_10 |  | 8 | 9 | 0.0069099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5611-2_0_5_line_11 |  | 9 | 12 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5611-2_0_5_line_12 |  | 10 | 13 | 0.026813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5611-2_0_5_line_13 |  | 11 | 18 | 0.016367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5611-2_0_5_line_14 |  | 13 | 14 | 0.023672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5611-2_0_5_line_15 |  | 14 | 15 | 0.025754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5611-2_0_5_line_16 |  | 15 | 17 | 0.00855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5611-2_0_5_line_17 |  | 15 | 73 | 0.011408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5611-2_0_5_line_18 |  | 15 | 68 | 0.0345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5611-2_0_5_line_19 |  | 16 | 17 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5611-2_0_5_line_20 |  | 19 | 20 | 0.034826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5611-2_0_5_line_21 |  | 19 | 21 | 0.044116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5611-2_0_5_line_22 |  | 20 | 22 | 0.032966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5611-2_0_5_line_23 |  | 21 | 23 | 0.059893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5611-2_0_5_line_24 |  | 22 | 24 | 0.047062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5611-2_0_5_line_25 |  | 23 | 37 | 0.040588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5611-2_0_5_line_26 |  | 24 | 39 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5611-2_0_5_line_27 |  | 24 | 26 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5611-2_0_5_line_28 |  | 24 | 40 | 0.048193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5611-2_0_5_line_29 |  | 25 | 26 | 0.049302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5611-2_0_5_line_30 |  | 27 | 28 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5611-2_0_5_line_31 |  | 27 | 29 | 0.012545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5611-2_0_5_line_32 |  | 28 | 30 | 0.006784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5611-2_0_5_line_33 |  | 28 | 31 | 0.055978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5611-2_0_5_line_34 |  | 30 | 32 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5611-2_0_5_line_35 |  | 31 | 63 | 0.013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5611-2_0_5_line_36 |  | 31 | 38 | 0.052876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5611-2_0_5_line_37 |  | 32 | 35 | 0.078211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5611-2_0_5_line_38 |  | 32 | 34 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5611-2_0_5_line_39 |  | 33 | 34 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5611-2_0_5_line_40 |  | 35 | 36 | 0.00954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5611-2_0_5_line_41 |  | 37 | 38 | 0.041789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5611-2_0_5_line_42 |  | 38 | 41 | 0.029916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5611-2_0_5_line_43 |  | 38 | 56 | 0.056434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5611-2_0_5_line_44 |  | 39 | 75 | 0.022548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5611-2_0_5_line_45 |  | 42 | 43 | 0.026951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5611-2_0_5_line_46 |  | 42 | 44 | 0.021207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5611-2_0_5_line_47 |  | 43 | 45 | 0.007967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5611-2_0_5_line_48 |  | 43 | 46 | 0.0083196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5611-2_0_5_line_49 |  | 44 | 47 | 0.023347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5611-2_0_5_line_50 |  | 44 | 48 | 0.031988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5611-2_0_5_line_51 |  | 45 | 49 | 0.004953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5611-2_0_5_line_52 |  | 45 | 50 | 0.045883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5611-2_0_5_line_53 |  | 46 | 51 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5611-2_0_5_line_54 |  | 47 | 52 | 0.0061947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5611-2_0_5_line_55 |  | 48 | 53 | 0.013088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5611-2_0_5_line_56 |  | 49 | 64 | 0.042881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5611-2_0_5_line_57 |  | 50 | 65 | 0.022378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5611-2_0_5_line_58 |  | 51 | 66 | 0.02989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5611-2_0_5_line_59 |  | 51 | 67 | 0.056072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5611-2_0_5_line_60 |  | 53 | 54 | 0.072148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5611-2_0_5_line_61 |  | 53 | 55 | 0.031615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5611-2_0_5_line_62 |  | 54 | 56 | 0.032671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5611-2_0_5_line_63 |  | 54 | 57 | 0.059608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5611-2_0_5_line_64 |  | 54 | 58 | 0.030985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5611-2_0_5_line_65 |  | 56 | 59 | 0.028184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5611-2_0_5_line_66 |  | 57 | 60 | 0.0017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5611-2_0_5_line_67 |  | 60 | 61 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5611-2_0_5_line_68 |  | 61 | 62 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5611-2_0_5_line_69 |  | 67 | 71 | 0.039598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5611-2_0_5_line_70 |  | 68 | 69 | 0.030064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5611-2_0_5_line_71 |  | 68 | 70 | 0.02646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5611-2_0_5_line_72 |  | 68 | 71 | 0.027001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5611-2_0_5_line_73 |  | 70 | 72 | 0.072417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5611-2_0_5_line_74 |  | 72 | 74 | 0.024167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5611-2_0_5_line_75 |  | 74 | 76 | 0.10933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5611-2_0_5_line_76 |  | 74 | 77 | 0.11108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5611-2_0_5_line_77 |  | 76 | 78 | 0.027624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5611-2_0_5_line_78 |  | 77 | 79 | 0.0057781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5611-2_0_5_line_79 |  | 78 | 80 | 0.041539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5611-2_0_5_line_80 |  | 78 | 81 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5611-2_0_5_line_81 |  | 80 | 82 | 0.035444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5611-2_0_5_line_82 |  | 81 | 83 | 0.05003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5611-2_0_5_line_83 |  | 83 | 84 | 0.018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5611-2_0_5_trafo_61 | 0.63 MVA 20/0.4 kV | 85 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2543587.5028 | 1154624.0064 | 2543584.0254 | 1154639.7429
1 | 2543587.5028 | 1154624.0064 | 2543572.5737 | 1154620.7395
2 | 2543587.5028 | 1154624.0064 | 2543590.3315 | 1154624.6246 | 2543615.0754 | 1154629.9953 | 2543616.2739 | 1154630.2317
3 | 2543623.5765 | 1154670.2036 | 2543619.2451 | 1154674.58 | 2543617.103 | 1154676.8346 | 2543615.7682 | 1154679.2818 | 2543614.778 | 1154681.659 | 2543614.8362 | 1154683.7818
4 | 2543623.5765 | 1154670.2036 | 2543634.324 | 1154660.4198 | 2543636.6707 | 1154657.8965 | 2543640.3611 | 1154653.0593 | 2543641.7598 | 1154650.0668 | 2543642.5698 | 1154644.823 | 2543642.3626 | 1154643.1797
5 | 2543615.9367 | 1154685.7836 | 2543614.8362 | 1154683.7818
6 | 2543642.3626 | 1154643.1797 | 2543642.263 | 1154642.3691 | 2543642.6235 | 1154639.9199 | 2543643.6302 | 1154637.6537 | 2543645.2156 | 1154635.7489 | 2543647.2505 | 1154634.3291 | 2543649.5978 | 1154633.5067 | 2543652.5501 | 1154633.39 | 2543654.1875 | 1154633.7638 | 2543656.928 | 1154630.692 | 2543659.0074 | 1154626.6592 | 2543661.3581 | 1154622.1125 | 2543660.3918 | 1154618.8643
7 | 2543642.3626 | 1154643.1797 | 2543640.1656 | 1154641.2214 | 2543637.6135 | 1154639.022 | 2543636.0331 | 1154637.3693 | 2543634.1003 | 1154635.7643 | 2543629.8824 | 1154633.4471 | 2543623.3064 | 1154631.6189 | 2543616.2739 | 1154630.2317
8 | 2543547.1225 | 1154615.1031 | 2543564.5111 | 1154618.9751 | 2543572.5737 | 1154620.7395
9 | 2543630.1 | 1154693.4104 | 2543625.2487 | 1154691.4326 | 2543619.4005 | 1154688.686 | 2543615.9367 | 1154685.7836
10 | 2543630.1 | 1154693.4104 | 2543626.0993 | 1154699.0444
11 | 2543626.0993 | 1154699.0444 | 2543619.3871 | 1154708.4967 | 2543615.8408 | 1154713.5251
12 | 2543660.3918 | 1154618.8643 | 2543682.4935 | 1154630.4411 | 2543684.177 | 1154631.2383
13 | 2543547.1225 | 1154615.1031 | 2543545.6429 | 1154621.7316 | 2543546.5051 | 1154625.3143 | 2543545.0012 | 1154631.0091
14 | 2543702.7008 | 1154645.3264 | 2543693.5892 | 1154635.6955 | 2543684.177 | 1154631.2383
15 | 2543702.7008 | 1154645.3264 | 2543724.9927 | 1154651.8433 | 2543722.4815 | 1154651.5444
16 | 2543713.9649 | 1154650.5458 | 2543722.4815 | 1154651.5444
17 | 2543722.4815 | 1154651.5444 | 2543720.8639 | 1154658.2075 | 2543718.9821 | 1154662.3513
18 | 2543722.4815 | 1154651.5444 | 2543724.9927 | 1154651.8433 | 2543748.3454 | 1154656.9496 | 2543750.9665 | 1154649.321
19 | 2543713.9649 | 1154650.5458 | 2543700.0599 | 1154647.8398
20 | 2544014.9347 | 1154617.1101 | 2544033.7286 | 1154587.7907
21 | 2544018.1012 | 1154557.533 | 2544039.5932 | 1154572.0628 | 2544040.9556 | 1154574.1957 | 2544040.6669 | 1154576.9665 | 2544033.7286 | 1154587.7907
22 | 2543997.1445 | 1154644.8637 | 2544014.9347 | 1154617.1101
23 | 2544018.1012 | 1154557.533 | 2543982.5324 | 1154509.3461
24 | 2543950.538 | 1154639.4509 | 2543954.6622 | 1154639.1345 | 2543956.7887 | 1154639.3148 | 2543978.2239 | 1154641.1826 | 2543983.5727 | 1154642.2222 | 2543997.1445 | 1154644.8637
25 | 2543959.1745 | 1154481.4639 | 2543962.7389 | 1154486.0998 | 2543966.2721 | 1154489.8577 | 2543967.6461 | 1154494.0583 | 2543969.2547 | 1154501.2138 | 2543970.3238 | 1154505.6173 | 2543972.0908 | 1154507.5462 | 2543975.8082 | 1154508.8456 | 2543982.5324 | 1154509.3461
26 | 2543950.538 | 1154639.4509 | 2543939.6682 | 1154640.2861
27 | 2543950.538 | 1154639.4509 | 2543954.6622 | 1154639.1345 | 2543956.7887 | 1154639.3148 | 2543960.5677 | 1154625.0275
28 | 2543950.538 | 1154639.4509 | 2543963.0948 | 1154592.9228
29 | 2543960.5677 | 1154625.0275 | 2543973.1724 | 1154577.3637
30 | 2543963.8938 | 1154423.2333 | 2543965.8026 | 1154428.8518 | 2543967.4181 | 1154436.7298 | 2543966.9055 | 1154442.3629
31 | 2543966.3525 | 1154454.8939 | 2543966.764 | 1154443.9175 | 2543966.9055 | 1154442.3629
32 | 2543963.8938 | 1154423.2333 | 2543969.8627 | 1154420.0092
33 | 2543912.3061 | 1154436.6439 | 2543915.7599 | 1154431.898 | 2543921.4862 | 1154428.1537 | 2543933.3979 | 1154426.2971 | 2543943.9979 | 1154426.0981 | 2543955.0149 | 1154427.0181 | 2543959.627 | 1154425.5409 | 2543963.8938 | 1154423.2333
34 | 2543982.1573 | 1154414.7918 | 2543969.8627 | 1154420.0092
35 | 2543912.3061 | 1154436.6439 | 2543906.7639 | 1154430.5257 | 2543904.7657 | 1154426.0308
36 | 2543912.3061 | 1154436.6439 | 2543909.6913 | 1154443.3385 | 2543908.9989 | 1154457.0857 | 2543907.8443 | 1154465.7122 | 2543905.3854 | 1154470.2042 | 2543918.1887 | 1154472.6526 | 2543923.2527 | 1154472.7499
37 | 2543982.1573 | 1154414.7918 | 2543978.025 | 1154390.3951 | 2543977.2236 | 1154381.7869 | 2543966.538 | 1154385.9776 | 2543951.1283 | 1154388.6783 | 2543933.43 | 1154388.6434
38 | 2544000.4715 | 1154406.0164 | 2543998.0433 | 1154408.0513 | 2543982.1573 | 1154414.7918
39 | 2544000.4715 | 1154406.0164 | 2544008.2521 | 1154399.4724
40 | 2543933.43 | 1154388.6434 | 2543930.7383 | 1154397.7956
41 | 2543923.2527 | 1154472.7499 | 2543924.6256 | 1154478.4735 | 2543926.9105 | 1154480.8089 | 2543934.4431 | 1154483.2066 | 2543946.9989 | 1154482.9782 | 2543959.1745 | 1154481.4639
42 | 2543923.2527 | 1154472.7499 | 2543923.9985 | 1154469.6413 | 2543928.2049 | 1154468.268 | 2543942.3919 | 1154466.9127 | 2543950.4347 | 1154466.8376
43 | 2543867.5368 | 1154464.6435 | 2543879.9866 | 1154467.0285 | 2543892.8283 | 1154469.4766 | 2543904.5709 | 1154470.0561 | 2543905.3854 | 1154470.2042 | 2543918.1887 | 1154472.6526 | 2543923.2527 | 1154472.7499
44 | 2543939.6682 | 1154640.2861 | 2543940.4367 | 1154642.9026 | 2543943.4436 | 1154645.3425 | 2543951.6863 | 1154647.4111 | 2543958.9652 | 1154649.0019
45 | 2543841.5495 | 1154615.9559 | 2543851.7398 | 1154591.0058
46 | 2543859.7584 | 1154571.3731 | 2543851.7398 | 1154591.0058
47 | 2543841.5495 | 1154615.9559 | 2543849.0096 | 1154618.81
48 | 2543841.5495 | 1154615.9559 | 2543833.9141 | 1154612.652
49 | 2543859.7584 | 1154571.3731 | 2543881.5529 | 1154579.7445
50 | 2543859.7584 | 1154571.3731 | 2543832.2124 | 1154555.1107
51 | 2543849.0096 | 1154618.81 | 2543852.066 | 1154619.982 | 2543853.6368 | 1154620.6121
52 | 2543849.0096 | 1154618.81 | 2543842.0364 | 1154649.158 | 2543840.9194 | 1154650.2913 | 2543838.1398 | 1154650.0171 | 2543828.0253 | 1154647.7758
53 | 2543815.4981 | 1154604.6833 | 2543833.9141 | 1154612.652
54 | 2543887.3356 | 1154581.9656 | 2543881.5529 | 1154579.7445
55 | 2543837.293 | 1154543.0457 | 2543832.2124 | 1154555.1107
56 | 2543853.6368 | 1154620.6121 | 2543851.5977 | 1154626.5121 | 2543850.0146 | 1154632.7747 | 2543846.8631 | 1154647.6788 | 2543846.8017 | 1154652.6042 | 2543848.5688 | 1154654.5332 | 2543855.6917 | 1154656.6233
57 | 2543806.1771 | 1154642.9343 | 2543828.0253 | 1154647.7758
58 | 2543815.4981 | 1154604.6833 | 2543798.3555 | 1154580.1973
59 | 2543763.3897 | 1154584.1699 | 2543771.8125 | 1154586.6146 | 2543780.3389 | 1154589.4697 | 2543815.4981 | 1154604.6833
60 | 2543837.293 | 1154543.0457 | 2543838.7864 | 1154539.4965 | 2543841.2362 | 1154513.5264 | 2543842.3174 | 1154501.9991 | 2543845.1929 | 1154471.5004
61 | 2543837.293 | 1154543.0457 | 2543806.0198 | 1154538.4107
62 | 2543845.1929 | 1154471.5004 | 2543846.2261 | 1154460.5738 | 2543867.5368 | 1154464.6435
63 | 2543820.2941 | 1154436.4922 | 2543816.9152 | 1154454.9781 | 2543846.2261 | 1154460.5738 | 2543845.1929 | 1154471.5004
64 | 2543845.1929 | 1154471.5004 | 2543814.6261 | 1154466.4269
65 | 2543867.5368 | 1154464.6435 | 2543870.8745 | 1154443.3788 | 2543870.2301 | 1154440.0941 | 2543868.5541 | 1154437.2416
66 | 2543820.2941 | 1154436.4922 | 2543820.6065 | 1154434.7829
67 | 2543826.0699 | 1154421.6414 | 2543824.1131 | 1154423.2161 | 2543822.2865 | 1154425.5899 | 2543820.6065 | 1154434.7829
68 | 2543826.0699 | 1154421.6414 | 2543829.3224 | 1154419.1652 | 2543833.3083 | 1154416.3598 | 2543834.9221 | 1154413.3764 | 2543836.0345 | 1154407.0785
69 | 2543763.3897 | 1154584.1699 | 2543760.8869 | 1154610.1739 | 2543758.5656 | 1154623.4467
70 | 2543750.9665 | 1154649.321 | 2543729.3296 | 1154628.3901
71 | 2543750.9665 | 1154649.321 | 2543748.3454 | 1154656.9496 | 2543766.3832 | 1154660.5493
72 | 2543750.9665 | 1154649.321 | 2543754.223 | 1154639.9077 | 2543757.9598 | 1154626.9102 | 2543758.5656 | 1154623.4467
73 | 2543766.3832 | 1154660.5493 | 2543767.4655 | 1154665.5419 | 2543784.7185 | 1154686.9252 | 2543807.6928 | 1154713.9247 | 2543810.6603 | 1154717.149
74 | 2543827.0266 | 1154734.9309 | 2543810.6603 | 1154717.149
75 | 2543827.0266 | 1154734.9309 | 2543850.9596 | 1154760.9343 | 2543912.7089 | 1154801.6982
76 | 2543827.0266 | 1154734.9309 | 2543746.8192 | 1154811.7798
77 | 2543936.963 | 1154814.7934 | 2543920.9668 | 1154807.1496 | 2543912.7089 | 1154801.6982
78 | 2543746.8192 | 1154811.7798 | 2543741.4322 | 1154809.6902
79 | 2543936.963 | 1154814.7934 | 2543909.4578 | 1154845.9208
80 | 2543936.963 | 1154814.7934 | 2543958.9961 | 1154821.621
81 | 2543889.952 | 1154875.4037 | 2543904.4446 | 1154851.5942 | 2543909.4578 | 1154845.9208
82 | 2544006.8106 | 1154836.3162 | 2544006.0241 | 1154836.1942 | 2543958.9961 | 1154821.621
83 | 2544006.8106 | 1154836.3162 | 2544024.6219 | 1154839.0784

## bus_geodata
| x | y | coords
0 | 2543584.0254 | 1154639.7429
1 | 2543587.5028 | 1154624.0064
2 | 2543623.5765 | 1154670.2036
3 | 2543614.8362 | 1154683.7818
4 | 2543642.3626 | 1154643.1797
5 | 2543572.5737 | 1154620.7395
6 | 2543616.2739 | 1154630.2317
7 | 2543615.9367 | 1154685.7836
8 | 2543630.1 | 1154693.4104
9 | 2543626.0993 | 1154699.0444
10 | 2543660.3918 | 1154618.8643
11 | 2543547.1225 | 1154615.1031
12 | 2543615.8408 | 1154713.5251
13 | 2543684.177 | 1154631.2383
14 | 2543702.7008 | 1154645.3264
15 | 2543722.4815 | 1154651.5444
16 | 2543700.0599 | 1154647.8398
17 | 2543713.9649 | 1154650.5458
18 | 2543545.0012 | 1154631.0091
19 | 2544033.7286 | 1154587.7907
20 | 2544014.9347 | 1154617.1101
21 | 2544018.1012 | 1154557.533
22 | 2543997.1445 | 1154644.8637
23 | 2543982.5324 | 1154509.3461
24 | 2543950.538 | 1154639.4509
25 | 2543973.1724 | 1154577.3637
26 | 2543960.5677 | 1154625.0275
27 | 2543966.9055 | 1154442.3629
28 | 2543963.8938 | 1154423.2333
29 | 2543966.3525 | 1154454.8939
30 | 2543969.8627 | 1154420.0092
31 | 2543912.3061 | 1154436.6439
32 | 2543982.1573 | 1154414.7918
33 | 2544008.2521 | 1154399.4724
34 | 2544000.4715 | 1154406.0164
35 | 2543933.43 | 1154388.6434
36 | 2543930.7383 | 1154397.7956
37 | 2543959.1745 | 1154481.4639
38 | 2543923.2527 | 1154472.7499
39 | 2543939.6682 | 1154640.2861
40 | 2543963.0948 | 1154592.9228
41 | 2543950.4347 | 1154466.8376
42 | 2543851.7398 | 1154591.0058
43 | 2543841.5495 | 1154615.9559
44 | 2543859.7584 | 1154571.3731
45 | 2543849.0096 | 1154618.81
46 | 2543833.9141 | 1154612.652
47 | 2543881.5529 | 1154579.7445
48 | 2543832.2124 | 1154555.1107
49 | 2543853.6368 | 1154620.6121
50 | 2543828.0253 | 1154647.7758
51 | 2543815.4981 | 1154604.6833
52 | 2543887.3356 | 1154581.9656
53 | 2543837.293 | 1154543.0457
54 | 2543845.1929 | 1154471.5004
55 | 2543806.0198 | 1154538.4107
56 | 2543867.5368 | 1154464.6435
57 | 2543820.2941 | 1154436.4922
58 | 2543814.6261 | 1154466.4269
59 | 2543868.5541 | 1154437.2416
60 | 2543820.6065 | 1154434.7829
61 | 2543826.0699 | 1154421.6414
62 | 2543836.0345 | 1154407.0785
63 | 2543904.7657 | 1154426.0308
64 | 2543855.6917 | 1154656.6233
65 | 2543806.1771 | 1154642.9343
66 | 2543798.3555 | 1154580.1973
67 | 2543763.3897 | 1154584.1699
68 | 2543750.9665 | 1154649.321
69 | 2543729.3296 | 1154628.3901
70 | 2543766.3832 | 1154660.5493
71 | 2543758.5656 | 1154623.4467
72 | 2543810.6603 | 1154717.1489
73 | 2543718.9821 | 1154662.3513
74 | 2543827.0266 | 1154734.9309
75 | 2543958.9652 | 1154649.0019
76 | 2543912.7089 | 1154801.6982
77 | 2543746.8192 | 1154811.7798
78 | 2543936.963 | 1154814.7934
79 | 2543741.4322 | 1154809.6902
80 | 2543909.4578 | 1154845.9208
81 | 2543958.9961 | 1154821.621
82 | 2543889.952 | 1154875.4037
83 | 2544006.8106 | 1154836.3162
84 | 2544024.6219 | 1154839.0784
85 | 2543894.5798 | 1154565.8227

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1