## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5611-3_1_3_node_149 | 0.4 | n |  | TRUE
1 | bus_LV_5611-3_1_3_node_150 | 0.4 | n |  | TRUE
2 | bus_LV_5611-3_1_3_node_151 | 0.4 | n |  | TRUE
3 | bus_LV_5611-3_1_3_node_84 | 0.4 | n |  | TRUE
4 | bus_LV_5611-3_1_3_node_152 | 0.4 | n |  | TRUE
5 | bus_LV_5611-3_1_3_node_153 | 0.4 | n |  | TRUE
6 | bus_LV_5611-3_1_3_node_155 | 0.4 | n |  | TRUE
7 | bus_LV_5611-3_1_3_node_156 | 0.4 | n |  | TRUE
8 | bus_LV_5611-3_1_3_node_166 | 0.4 | n |  | TRUE
9 | bus_LV_5611-3_1_3_node_157 | 0.4 | n |  | TRUE
10 | bus_LV_5611-3_1_3_node_158 | 0.4 | n |  | TRUE
11 | bus_LV_5611-3_1_3_node_159 | 0.4 | n |  | TRUE
12 | bus_LV_5611-3_1_3_node_160 | 0.4 | n |  | TRUE
13 | bus_LV_5611-3_1_3_node_161 | 0.4 | n |  | TRUE
14 | bus_LV_5611-3_1_3_node_167 | 0.4 | n |  | TRUE
15 | bus_LV_5611-3_1_3_node_162 | 0.4 | n |  | TRUE
16 | bus_LV_5611-3_1_3_node_164 | 0.4 | n |  | TRUE
17 | bus_LV_5611-3_1_3_node_170 | 0.4 | n |  | TRUE
18 | bus_LV_5611-3_1_3_node_168 | 0.4 | n |  | TRUE
19 | bus_LV_5611-3_1_3_node_169 | 0.4 | n |  | TRUE
20 | bus_LV_5611-3_1_3_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_5611-3_1_3_node_171 | 0.4 | n |  | TRUE
22 | bus_LV_5611-3_1_3_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_5611-3_1_3_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_5611-3_1_3_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_5611-3_1_3_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_5611-3_1_3_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_5611-3_1_3_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_5611-3_1_3_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_5611-3_1_3_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_5611-3_1_3_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_5611-3_1_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_5611-3_1_3_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_5611-3_1_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_5611-3_1_3_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_5611-3_1_3_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_5611-3_1_3_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_5611-3_1_3_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_5611-3_1_3_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_5611-3_1_3_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_5611-3_1_3_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_5611-3_1_3_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_5611-3_1_3_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_5611-3_1_3_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_5611-3_1_3_node_90 | 0.4 | n |  | TRUE
45 | bus_LV_5611-3_1_3_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_5611-3_1_3_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_5611-3_1_3_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_5611-3_1_3_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_5611-3_1_3_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_5611-3_1_3_node_102 | 0.4 | n |  | TRUE
51 | bus_MV_366_2_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5611-3_1_3_load_149 | 0 | 0.006639 | 0.0016639 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5611-3_1_3_load_150 | 1 | 0.0024094 | 0.00060386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5611-3_1_3_load_155 | 6 | 0.0026115 | 0.0006545 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5611-3_1_3_load_156 | 7 | 0.018634 | 0.0046702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5611-3_1_3_load_157 | 9 | 0.0034675 | 0.00086903 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5611-3_1_3_load_160 | 12 | 0.002831 | 0.00070952 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5611-3_1_3_load_161 | 13 | 0.0028221 | 0.00070728 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5611-3_1_3_load_164 | 16 | 0.0075357 | 0.0018886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5611-3_1_3_load_168 | 18 | 0.003324 | 0.00083308 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5611-3_1_3_load_169 | 19 | 0.02052 | 0.0051427 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5611-3_1_3_load_171 | 21 | 0.0082705 | 0.0020728 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5611-3_1_3_load_72 | 22 | 0.095084 | 0.02383 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5611-3_1_3_load_74 | 24 | 0.004869 | 0.0012203 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5611-3_1_3_load_76 | 26 | 0.0028536 | 0.00071519 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5611-3_1_3_load_78 | 28 | 0.00045728 | 0.0001146 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5611-3_1_3_load_92 | 32 | 0.00053821 | 0.00013489 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5611-3_1_3_load_87 | 33 | 0.00028364 | 7.1087e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5611-3_1_3_load_99 | 35 | 0.014807 | 0.003711 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5611-3_1_3_load_82 | 36 | 0.0025064 | 0.00062817 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5611-3_1_3_load_98 | 39 | 0.0030257 | 0.00075831 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5611-3_1_3_load_101 | 41 | 0.002815 | 0.00070552 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5611-3_1_3_load_91 | 45 | 0.00041669 | 0.00010443 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5611-3_1_3_load_97 | 47 | 0.00079032 | 0.00019807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5611-3_1_3_load_93 | 48 | 0.00010846 | 2.7182e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5611-3_1_3_load_94 | 49 | 0.00088132 | 0.00022088 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5611-3_1_3_load_102 | 50 | 0.0065188 | 0.0016338 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5611-3_1_3_line_0 |  | 0 | 1 | 0.015344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5611-3_1_3_line_1 |  | 0 | 2 | 0.033122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5611-3_1_3_line_2 |  | 1 | 3 | 0.028489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5611-3_1_3_line_3 |  | 2 | 4 | 0.026711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5611-3_1_3_line_4 |  | 2 | 5 | 0.009879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5611-3_1_3_line_5 |  | 3 | 39 | 0.12526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5611-3_1_3_line_6 |  | 4 | 6 | 0.018993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5611-3_1_3_line_7 |  | 5 | 7 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5611-3_1_3_line_8 |  | 7 | 8 | 0.0096516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5611-3_1_3_line_9 |  | 8 | 14 | 0.045481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5611-3_1_3_line_10 |  | 9 | 10 | 0.014087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5611-3_1_3_line_11 |  | 9 | 11 | 0.051774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5611-3_1_3_line_12 |  | 10 | 12 | 0.016921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5611-3_1_3_line_13 |  | 11 | 13 | 0.02187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5611-3_1_3_line_14 |  | 11 | 14 | 0.081909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5611-3_1_3_line_15 |  | 14 | 18 | 0.027185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5611-3_1_3_line_16 |  | 15 | 16 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5611-3_1_3_line_17 |  | 15 | 17 | 0.18491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5611-3_1_3_line_18 |  | 16 | 18 | 0.060843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5611-3_1_3_line_19 |  | 17 | 21 | 0.18498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5611-3_1_3_line_20 |  | 19 | 20 | 0.036623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5611-3_1_3_line_21 |  | 20 | 25 | 0.049894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5611-3_1_3_line_22 |  | 20 | 38 | 0.16089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5611-3_1_3_line_23 |  | 22 | 23 | 0.021026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5611-3_1_3_line_24 |  | 23 | 24 | 0.037049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5611-3_1_3_line_25 |  | 24 | 25 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5611-3_1_3_line_26 |  | 26 | 27 | 0.03786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5611-3_1_3_line_27 |  | 27 | 28 | 0.072485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5611-3_1_3_line_28 |  | 27 | 29 | 0.046517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5611-3_1_3_line_29 |  | 27 | 30 | 0.18476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5611-3_1_3_line_30 |  | 29 | 33 | 0.013299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5611-3_1_3_line_31 |  | 29 | 31 | 0.032511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5611-3_1_3_line_32 |  | 30 | 34 | 0.016474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5611-3_1_3_line_33 |  | 30 | 35 | 0.029118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5611-3_1_3_line_34 |  | 31 | 32 | 0.012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5611-3_1_3_line_35 |  | 33 | 42 | 0.061942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5611-3_1_3_line_36 |  | 34 | 50 | 0.009886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5611-3_1_3_line_37 |  | 35 | 39 | 0.017049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5611-3_1_3_line_38 |  | 36 | 37 | 0.040603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5611-3_1_3_line_39 |  | 37 | 38 | 0.05765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5611-3_1_3_line_40 |  | 38 | 40 | 0.034116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5611-3_1_3_line_41 |  | 38 | 41 | 0.060109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5611-3_1_3_line_42 |  | 40 | 49 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5611-3_1_3_line_43 |  | 41 | 46 | 0.08084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5611-3_1_3_line_44 |  | 42 | 43 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5611-3_1_3_line_45 |  | 43 | 44 | 0.022952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5611-3_1_3_line_46 |  | 43 | 45 | 0.026104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5611-3_1_3_line_47 |  | 44 | 46 | 0.003976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5611-3_1_3_line_48 |  | 44 | 47 | 0.040823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5611-3_1_3_line_49 |  | 45 | 48 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5611-3_1_3_trafo_82 | 0.63 MVA 20/0.4 kV | 51 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2544291.497 | 1154466.5111 | 2544306.7961 | 1154465.3446
1 | 2544258.4706 | 1154469.0292 | 2544291.497 | 1154466.5111
2 | 2544316.6615 | 1154485.165 | 2544314.7461 | 1154464.7385 | 2544306.7961 | 1154465.3446
3 | 2544258.4706 | 1154469.0292 | 2544259.8535 | 1154495.6972
4 | 2544258.4706 | 1154469.0292 | 2544258.0722 | 1154459.1609
5 | 2544316.6615 | 1154485.165 | 2544378.6443 | 1154594.0187
6 | 2544259.8535 | 1154495.6972 | 2544261.0328 | 1154514.4852 | 2544260.9817 | 1154514.6456
7 | 2544258.0722 | 1154459.1609 | 2544257.5671 | 1154446.8924 | 2544255.9383 | 1154441.6714
8 | 2544249.4446 | 1154434.6501 | 2544252.365 | 1154436.8798 | 2544255.9383 | 1154441.6714
9 | 2544237.4094 | 1154396.7749 | 2544235.5467 | 1154400.2385 | 2544235.1907 | 1154405.6781 | 2544238.1579 | 1154426.1614 | 2544238.7726 | 1154429.5798 | 2544243.3744 | 1154431.1157 | 2544246.8021 | 1154432.618 | 2544249.4446 | 1154434.6501
10 | 2544146.4511 | 1154294.6652 | 2544157.4433 | 1154303.4747
11 | 2544202.7815 | 1154322.5457 | 2544189.6221 | 1154323.9019 | 2544183.3302 | 1154322.115 | 2544175.1648 | 1154317.6773 | 2544157.4433 | 1154303.4747
12 | 2544146.4511 | 1154294.6652 | 2544142.1662 | 1154287.6235 | 2544144.2513 | 1154279.1996
13 | 2544202.7815 | 1154322.5457 | 2544205.6362 | 1154320.1624 | 2544205.6048 | 1154316.7831 | 2544195.9344 | 1154305.5891
14 | 2544237.4094 | 1154396.7749 | 2544202.7815 | 1154322.5457
15 | 2544237.4094 | 1154396.7749 | 2544243.9674 | 1154398.3149 | 2544254.5865 | 1154400.9845 | 2544261.7238 | 1154404.6091 | 2544262.9463 | 1154405.4691
16 | 2544289.3875 | 1154331.8916 | 2544291.3314 | 1154341.312 | 2544288.9461 | 1154350.4612
17 | 2544289.3875 | 1154331.8916 | 2544462.5552 | 1154267.0542
18 | 2544262.9463 | 1154405.4691 | 2544288.9461 | 1154350.4612
19 | 2544462.5552 | 1154267.0542 | 2544404.6794 | 1154202.2549 | 2544341.4808 | 1154126.9775
20 | 2544054.6928 | 1154653.0543 | 2544064.7666 | 1154656.529 | 2544067.7543 | 1154656.9125 | 2544070.4121 | 1154655.6538 | 2544074.075 | 1154651.1173 | 2544074.9973 | 1154650.4861 | 2544076.1287 | 1154650.8869 | 2544086.169 | 1154657.3525
21 | 2544033.3861 | 1154638.6228 | 2544027.831 | 1154654.1383 | 2544044.6595 | 1154659.6957 | 2544048.2814 | 1154662.2856 | 2544054.6928 | 1154653.0543
22 | 2544054.6928 | 1154653.0543 | 2544048.2814 | 1154662.2856 | 2544063.356 | 1154673.0954 | 2544070.3218 | 1154678.0888 | 2544079.8057 | 1154691.53 | 2544087.4375 | 1154692.2593 | 2544099.9041 | 1154686.6181 | 2544157.9319 | 1154649.9035 | 2544152.986 | 1154640.222 | 2544149.7266 | 1154636.1835
23 | 2544061.7562 | 1154587.8093 | 2544078.355 | 1154600.7163
24 | 2544061.7562 | 1154587.8093 | 2544051.1008 | 1154603.439 | 2544040.8534 | 1154618.398
25 | 2544033.3861 | 1154638.6228 | 2544036.13 | 1154630.9598 | 2544040.8534 | 1154618.398
26 | 2544363.5796 | 1154740.2663 | 2544325.9004 | 1154736.5683
27 | 2544322.0047 | 1154684.1882 | 2544327.1753 | 1154686.7083 | 2544349.1514 | 1154704.7588 | 2544350.7263 | 1154708.3239 | 2544353.7795 | 1154715.7885 | 2544356.0992 | 1154721.9147 | 2544359.3518 | 1154728.5548 | 2544363.5796 | 1154740.2663
28 | 2544328.2236 | 1154747.6644 | 2544363.5277 | 1154751.2171 | 2544363.997 | 1154741.4298 | 2544363.5796 | 1154740.2663
29 | 2544363.5796 | 1154740.2663 | 2544363.997 | 1154741.4298 | 2544363.5277 | 1154751.2171 | 2544410.7711 | 1154755.9713 | 2544409.0273 | 1154739.9567 | 2544405.4856 | 1154731.0847 | 2544395.0402 | 1154714.7838 | 2544375.1832 | 1154657.1591 | 2544372.828 | 1154646.3751 | 2544372.3895 | 1154642.9218 | 2544368.6439 | 1154638.5541
30 | 2544328.2236 | 1154747.6644 | 2544314.9912 | 1154746.3311
31 | 2544328.2236 | 1154747.6644 | 2544326.7084 | 1154757.9839 | 2544325.31 | 1154762.7105 | 2544322.2276 | 1154774.4342 | 2544322.1745 | 1154779.4596
32 | 2544355.9605 | 1154628.2883 | 2544359.2975 | 1154629.9472 | 2544364.9991 | 1154634.3078 | 2544368.6439 | 1154638.5541
33 | 2544368.6439 | 1154638.5541 | 2544371.644 | 1154630.3442 | 2544377.3464 | 1154610.7808
34 | 2544322.1745 | 1154779.4596 | 2544320.4474 | 1154780.9987 | 2544318.9485 | 1154781.4906 | 2544317.6058 | 1154781.4586 | 2544310.2791 | 1154779.7033
35 | 2544253.3616 | 1154740.1211 | 2544314.9912 | 1154746.3311
36 | 2544346.797 | 1154624.5267 | 2544354.8507 | 1154627.7316 | 2544355.9605 | 1154628.2883
37 | 2544378.6443 | 1154594.0187 | 2544378.8362 | 1154596.026 | 2544379.2276 | 1154604.3268 | 2544377.3464 | 1154610.7808
38 | 2544173.529 | 1154624.5117 | 2544172.2997 | 1154615.2293 | 2544170.979 | 1154606.0144 | 2544167.7299 | 1154599.7857 | 2544159.7377 | 1154591.6556 | 2544157.0767 | 1154589.3743
39 | 2544149.7266 | 1154636.1835 | 2544152.986 | 1154640.222 | 2544157.9319 | 1154649.9035 | 2544159.8155 | 1154648.7075 | 2544182.0383 | 1154633.8043 | 2544173.529 | 1154624.5117
40 | 2544120.344 | 1154648.3187 | 2544123.65 | 1154649.9333 | 2544127.6664 | 1154650.4073 | 2544131.773 | 1154649.035 | 2544141.1811 | 1154642.7998 | 2544146.495 | 1154639.2596 | 2544149.7266 | 1154636.1835
41 | 2544149.7266 | 1154636.1835 | 2544186.2169 | 1154683.9487
42 | 2544120.344 | 1154648.3187 | 2544108.0439 | 1154638.6212
43 | 2544264.4216 | 1154699.4524 | 2544254.5265 | 1154692.8962 | 2544236.5954 | 1154689.1717 | 2544209.0025 | 1154685.8594 | 2544186.2169 | 1154683.9487
44 | 2544253.3616 | 1154740.1211 | 2544257.1056 | 1154725.3007
45 | 2544262.7213 | 1154703.0478 | 2544259.8137 | 1154714.5809 | 2544257.1056 | 1154725.3007
46 | 2544257.1056 | 1154725.3007 | 2544262.4988 | 1154723.7053 | 2544266.5075 | 1154723.3569 | 2544282.865 | 1154725.1551
47 | 2544264.4216 | 1154699.4524 | 2544262.7213 | 1154703.0478
48 | 2544262.7213 | 1154703.0478 | 2544251.6568 | 1154699.4263 | 2544240.9897 | 1154697.3019 | 2544230.9142 | 1154697.7623 | 2544222.7988 | 1154699.0603
49 | 2544297.4438 | 1154726.7578 | 2544282.865 | 1154725.1551

## bus_geodata
| x | y | coords
0 | 2544291.497 | 1154466.5111
1 | 2544306.7961 | 1154465.3446
2 | 2544258.4706 | 1154469.0292
3 | 2544316.6615 | 1154485.165
4 | 2544259.8535 | 1154495.6972
5 | 2544258.0722 | 1154459.1609
6 | 2544260.9817 | 1154514.6456
7 | 2544255.9383 | 1154441.6714
8 | 2544249.4446 | 1154434.6501
9 | 2544157.4433 | 1154303.4747
10 | 2544146.4511 | 1154294.6652
11 | 2544202.7815 | 1154322.5457
12 | 2544144.2513 | 1154279.1996
13 | 2544195.9344 | 1154305.5891
14 | 2544237.4094 | 1154396.7749
15 | 2544289.3875 | 1154331.8916
16 | 2544288.9461 | 1154350.4612
17 | 2544462.5552 | 1154267.0542
18 | 2544262.9463 | 1154405.4691
19 | 2544086.169 | 1154657.3525
20 | 2544054.6928 | 1154653.0543
21 | 2544341.4808 | 1154126.9775
22 | 2544078.355 | 1154600.7163
23 | 2544061.7562 | 1154587.8093
24 | 2544040.8534 | 1154618.398
25 | 2544033.3861 | 1154638.6228
26 | 2544325.9004 | 1154736.5683
27 | 2544363.5796 | 1154740.2663
28 | 2544322.0047 | 1154684.1882
29 | 2544328.2236 | 1154747.6644
30 | 2544368.6439 | 1154638.5541
31 | 2544322.1745 | 1154779.4596
32 | 2544310.2791 | 1154779.7033
33 | 2544314.9912 | 1154746.3311
34 | 2544355.9605 | 1154628.2883
35 | 2544377.3464 | 1154610.7808
36 | 2544157.0767 | 1154589.3743
37 | 2544173.529 | 1154624.5117
38 | 2544149.7266 | 1154636.1835
39 | 2544378.6443 | 1154594.0187
40 | 2544120.344 | 1154648.3187
41 | 2544186.2169 | 1154683.9487
42 | 2544253.3616 | 1154740.1211
43 | 2544257.1056 | 1154725.3007
44 | 2544262.7213 | 1154703.0478
45 | 2544282.865 | 1154725.1551
46 | 2544264.4216 | 1154699.4524
47 | 2544222.7988 | 1154699.0603
48 | 2544297.4438 | 1154726.7578
49 | 2544108.0439 | 1154638.6212
50 | 2544346.797 | 1154624.5267
51 | 2544128.8902 | 1154582.4041

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1