## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5611-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5611-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5611-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5611-6_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5611-6_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5611-6_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_5611-6_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5611-6_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_5611-6_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_5611-6_0_4_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_5611-6_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5611-6_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5611-6_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5611-6_0_4_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_5611-6_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5611-6_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5611-6_0_4_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_5611-6_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_5611-6_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5611-6_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_5611-6_0_4_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_5611-6_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5611-6_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5611-6_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5611-6_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_5611-6_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_5611-6_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_5611-6_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5611-6_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5611-6_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_5611-6_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_5611-6_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5611-6_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5611-6_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5611-6_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_5611-6_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_5611-6_0_4_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_5611-6_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5611-6_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_5611-6_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_5611-6_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5611-6_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5611-6_0_4_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_5611-6_0_4_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_5611-6_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5611-6_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5611-6_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5611-6_0_4_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_5611-6_0_4_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_5611-6_0_4_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_5611-6_0_4_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_5611-6_0_4_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_5611-6_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_5611-6_0_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_5611-6_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5611-6_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5611-6_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5611-6_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5611-6_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5611-6_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5611-6_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5611-6_0_4_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_5611-6_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_5611-6_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_5611-6_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5611-6_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5611-6_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5611-6_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5611-6_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5611-6_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5611-6_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5611-6_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_MV_366_2_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5611-6_0_4_load_0 | 0 | 0.0073478 | 0.0018415 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5611-6_0_4_load_4 | 3 | 0.007158 | 0.001794 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5611-6_0_4_load_15 | 5 | 0.0074561 | 0.0018687 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5611-6_0_4_load_67 | 7 | 0.049487 | 0.012403 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5611-6_0_4_load_66 | 9 | 0.0096422 | 0.0024166 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5611-6_0_4_load_17 | 10 | 0.0046634 | 0.0011688 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5611-6_0_4_load_53 | 13 | 0.0053687 | 0.0013455 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5611-6_0_4_load_34 | 17 | 0.01007 | 0.0025237 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5611-6_0_4_load_38 | 19 | 0.041781 | 0.010471 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5611-6_0_4_load_65 | 20 | 0.010841 | 0.0027171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5611-6_0_4_load_24 | 22 | 0.011314 | 0.0028355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5611-6_0_4_load_21 | 23 | 0.0085088 | 0.0021325 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5611-6_0_4_load_46 | 25 | 0.01082 | 0.0027117 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5611-6_0_4_load_23 | 27 | 0.0061475 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5611-6_0_4_load_39 | 28 | 0.012651 | 0.0031707 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5611-6_0_4_load_25 | 31 | 0.011511 | 0.002885 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5611-6_0_4_load_28 | 33 | 0.025852 | 0.0064792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5611-6_0_4_load_49 | 35 | 0.0099121 | 0.0024842 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5611-6_0_4_load_47 | 36 | 0.011837 | 0.0029666 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5611-6_0_4_load_22 | 37 | 0.003668 | 0.00091929 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5611-6_0_4_load_40 | 38 | 0.019532 | 0.0048951 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5611-6_0_4_load_41 | 39 | 0.0070089 | 0.0017566 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5611-6_0_4_load_29 | 41 | 0.021437 | 0.0053727 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5611-6_0_4_load_79 | 42 | 0.031296 | 0.0078434 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5611-6_0_4_load_31 | 45 | 0.0061308 | 0.0015365 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5611-6_0_4_load_32 | 46 | 0.0025375 | 0.00063597 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5611-6_0_4_load_72 | 47 | 0.0025047 | 0.00062775 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5611-6_0_4_load_73 | 48 | 0.0025047 | 0.00062775 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5611-6_0_4_load_77 | 49 | 0.021225 | 0.0053195 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5611-6_0_4_load_76 | 50 | 0.010005 | 0.0025074 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5611-6_0_4_load_59 | 52 | 0.0054043 | 0.0013545 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5611-6_0_4_load_75 | 53 | 0.0091114 | 0.0022835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5611-6_0_4_load_57 | 54 | 0.027708 | 0.0069444 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5611-6_0_4_load_42 | 55 | 0.014569 | 0.0036514 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5611-6_0_4_load_43 | 56 | 0.004879 | 0.0012228 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5611-6_0_4_load_44 | 57 | 0.011285 | 0.0028282 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5611-6_0_4_load_50 | 58 | 0.013741 | 0.0034437 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5611-6_0_4_load_51 | 59 | 0.0030953 | 0.00077576 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5611-6_0_4_load_52 | 60 | 0.0030953 | 0.00077576 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5611-6_0_4_load_70 | 61 | 0.0043877 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5611-6_0_4_load_54 | 63 | 0.019426 | 0.0048686 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5611-6_0_4_load_55 | 64 | 0.0060767 | 0.001523 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5611-6_0_4_load_56 | 65 | 0.0057724 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5611-6_0_4_load_58 | 66 | 0.0057882 | 0.0014507 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5611-6_0_4_load_63 | 67 | 0.0057618 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5611-6_0_4_load_62 | 68 | 0.0077238 | 0.0019358 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5611-6_0_4_load_68 | 69 | 0.0122 | 0.0030575 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5611-6_0_4_load_71 | 70 | 0.0030953 | 0.00077576 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5611-6_0_4_load_74 | 71 | 0.0030917 | 0.00077486 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5611-6_0_4_line_0 |  | 0 | 1 | 0.0090279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5611-6_0_4_line_1 |  | 1 | 2 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5611-6_0_4_line_2 |  | 1 | 3 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5611-6_0_4_line_3 |  | 2 | 4 | 0.031641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5611-6_0_4_line_4 |  | 2 | 5 | 0.0074907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5611-6_0_4_line_5 |  | 4 | 10 | 0.029333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5611-6_0_4_line_6 |  | 5 | 18 | 0.036214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5611-6_0_4_line_7 |  | 6 | 7 | 0.0093264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5611-6_0_4_line_8 |  | 6 | 8 | 0.052248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5611-6_0_4_line_9 |  | 6 | 9 | 0.02111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5611-6_0_4_line_10 |  | 8 | 19 | 0.02789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5611-6_0_4_line_11 |  | 8 | 18 | 0.029949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5611-6_0_4_line_12 |  | 9 | 20 | 0.037776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5611-6_0_4_line_13 |  | 10 | 12 | 0.031566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5611-6_0_4_line_14 |  | 11 | 12 | 0.019706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5611-6_0_4_line_15 |  | 11 | 13 | 0.0014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5611-6_0_4_line_16 |  | 12 | 14 | 0.045532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5611-6_0_4_line_17 |  | 13 | 27 | 0.004533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5611-6_0_4_line_18 |  | 14 | 24 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5611-6_0_4_line_19 |  | 14 | 25 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5611-6_0_4_line_20 |  | 14 | 26 | 0.035764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5611-6_0_4_line_21 |  | 15 | 16 | 0.007767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5611-6_0_4_line_22 |  | 15 | 17 | 0.028888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5611-6_0_4_line_23 |  | 16 | 28 | 0.050596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5611-6_0_4_line_24 |  | 16 | 19 | 0.022756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5611-6_0_4_line_25 |  | 17 | 29 | 0.0050418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5611-6_0_4_line_26 |  | 21 | 22 | 0.02845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5611-6_0_4_line_27 |  | 21 | 23 | 0.057167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5611-6_0_4_line_28 |  | 23 | 37 | 0.00083532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5611-6_0_4_line_29 |  | 24 | 32 | 0.039909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5611-6_0_4_line_30 |  | 24 | 33 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5611-6_0_4_line_31 |  | 24 | 31 | 0.026058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5611-6_0_4_line_32 |  | 25 | 34 | 0.00022616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5611-6_0_4_line_33 |  | 26 | 35 | 0.012606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5611-6_0_4_line_34 |  | 26 | 36 | 0.079946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5611-6_0_4_line_35 |  | 27 | 37 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5611-6_0_4_line_36 |  | 28 | 52 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5611-6_0_4_line_37 |  | 29 | 30 | 0.053752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5611-6_0_4_line_38 |  | 30 | 50 | 0.029123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5611-6_0_4_line_39 |  | 30 | 51 | 0.007439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5611-6_0_4_line_40 |  | 32 | 40 | 0.050025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5611-6_0_4_line_41 |  | 32 | 41 | 0.0064554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5611-6_0_4_line_42 |  | 34 | 56 | 0.046113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5611-6_0_4_line_43 |  | 34 | 55 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5611-6_0_4_line_44 |  | 38 | 39 | 0.044467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5611-6_0_4_line_45 |  | 39 | 55 | 0.001419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5611-6_0_4_line_46 |  | 40 | 42 | 0.008943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5611-6_0_4_line_47 |  | 40 | 43 | 0.008136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5611-6_0_4_line_48 |  | 41 | 44 | 0.10908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5611-6_0_4_line_49 |  | 43 | 49 | 0.008994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5611-6_0_4_line_50 |  | 44 | 45 | 0.04128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5611-6_0_4_line_51 |  | 44 | 46 | 0.025765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5611-6_0_4_line_52 |  | 46 | 47 | 0.00087878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5611-6_0_4_line_53 |  | 47 | 48 | 0.00087313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5611-6_0_4_line_54 |  | 48 | 71 | 0.00259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5611-6_0_4_line_55 |  | 51 | 53 | 0.04504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5611-6_0_4_line_56 |  | 52 | 54 | 0.0016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5611-6_0_4_line_57 |  | 54 | 64 | 0.011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5611-6_0_4_line_58 |  | 56 | 57 | 0.035476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5611-6_0_4_line_59 |  | 58 | 59 | 0.018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5611-6_0_4_line_60 |  | 59 | 60 | 0.0017406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5611-6_0_4_line_61 |  | 60 | 61 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5611-6_0_4_line_62 |  | 61 | 62 | 0.006145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5611-6_0_4_line_63 |  | 62 | 70 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5611-6_0_4_line_64 |  | 62 | 69 | 0.038008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5611-6_0_4_line_65 |  | 63 | 64 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5611-6_0_4_line_66 |  | 63 | 65 | 0.03058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5611-6_0_4_line_67 |  | 65 | 66 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5611-6_0_4_line_68 |  | 66 | 67 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5611-6_0_4_line_69 |  | 67 | 68 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5611-6_0_4_line_70 |  | 70 | 71 | 0.00057114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5611-6_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 72 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2545772.6966 | 1154455.5336 | 2545770.3372 | 1154464.2477
1 | 2545792.3895 | 1154431.7989 | 2545772.6966 | 1154455.5336
2 | 2545772.6966 | 1154455.5336 | 2545757.1839 | 1154450.513
3 | 2545775.5085 | 1154405.0148 | 2545792.3895 | 1154431.7989
4 | 2545792.3895 | 1154431.7989 | 2545799.5799 | 1154433.8985
5 | 2545775.5085 | 1154405.0148 | 2545778.5584 | 1154396.1492 | 2545781.7701 | 1154391.6067 | 2545792.8242 | 1154382.3878
6 | 2545817.4209 | 1154464.0903 | 2545806.0107 | 1154438.2573 | 2545802.2501 | 1154434.6782 | 2545799.5799 | 1154433.8985
7 | 2545803.0639 | 1154527.4089 | 2545811.9893 | 1154530.114
8 | 2545803.0639 | 1154527.4089 | 2545809.2426 | 1154505.675 | 2545815.1691 | 1154503.5982 | 2545818.4208 | 1154502.6573 | 2545816.1244 | 1154497.2529 | 2545821.9936 | 1154494.7765 | 2545829.0922 | 1154491.6775
9 | 2545803.0639 | 1154527.4089 | 2545791.2727 | 1154523.9468 | 2545783.8845 | 1154527.2596 | 2545783.1835 | 1154527.0787
10 | 2545829.0922 | 1154491.6775 | 2545840.4155 | 1154517.1654
11 | 2545817.4209 | 1154464.0903 | 2545829.0922 | 1154491.6775
12 | 2545746.3425 | 1154521.3224 | 2545752.8008 | 1154521.3259 | 2545757.38 | 1154520.4174 | 2545783.1835 | 1154527.0787
13 | 2545816.7202 | 1154361.7645 | 2545798.049 | 1154378.0304 | 2545792.8242 | 1154382.3878
14 | 2545816.7202 | 1154361.7645 | 2545823.6439 | 1154361.3686 | 2545821.7383 | 1154355.0713 | 2545820.64 | 1154348.978
15 | 2545820.64 | 1154348.978 | 2545820.2024 | 1154347.5534
16 | 2545816.7202 | 1154361.7645 | 2545823.6439 | 1154361.3686 | 2545828.9735 | 1154361.1426 | 2545862.2199 | 1154360.1091
17 | 2545818.8711 | 1154343.2203 | 2545820.2024 | 1154347.5534
18 | 2545862.2199 | 1154360.1091 | 2545863.0181 | 1154370.3629 | 2545864.9039 | 1154375.3153 | 2545866.2953 | 1154379.894 | 2545868.7382 | 1154387.9319
19 | 2545862.2199 | 1154360.1091 | 2545862.8155 | 1154352.144 | 2545862.9592 | 1154344.0755
20 | 2545898.0661 | 1154358.9968 | 2545879.7086 | 1154359.8737 | 2545862.2199 | 1154360.1091
21 | 2545849.6543 | 1154537.9612 | 2545842.5409 | 1154541.127
22 | 2545842.5409 | 1154541.127 | 2545854.7034 | 1154567.3303
23 | 2545849.6543 | 1154537.9612 | 2545872.7669 | 1154527.6697 | 2545879.7163 | 1154523.327 | 2545882.343 | 1154516.0106 | 2545890.7983 | 1154512.0724
24 | 2545849.6543 | 1154537.9612 | 2545840.4155 | 1154517.1654
25 | 2545856.826 | 1154571.9034 | 2545854.7034 | 1154567.3303
26 | 2545802.7784 | 1154275.589 | 2545801.2875 | 1154282.0948 | 2545803.4852 | 1154303.7531
27 | 2545802.7784 | 1154275.589 | 2545810.9018 | 1154286.5549 | 2545813.7469 | 1154324.705 | 2545814.9109 | 1154329.8385
28 | 2545814.9109 | 1154329.8385 | 2545815.0956 | 1154330.6531
29 | 2545905.7864 | 1154402.7505 | 2545885.8367 | 1154396.3268 | 2545868.7382 | 1154387.9319
30 | 2545841.6673 | 1154401.7053 | 2545855.3968 | 1154400.6032 | 2545863.2506 | 1154397.8643 | 2545868.7382 | 1154387.9319
31 | 2545868.7382 | 1154387.9319 | 2545868.1892 | 1154397.6642 | 2545871.4141 | 1154413.6527
32 | 2545862.9592 | 1154344.0755 | 2545862.9632 | 1154343.8494
33 | 2545898.0661 | 1154358.9968 | 2545910.6695 | 1154358.7477
34 | 2545898.0661 | 1154358.9968 | 2545900.6547 | 1154354.2488 | 2545906.9871 | 1154346.9768 | 2545913.9461 | 1154342.8231 | 2545934.7691 | 1154336.2989 | 2545962.5845 | 1154325.0761 | 2545967.0721 | 1154322.9257
35 | 2545815.0956 | 1154330.6531 | 2545815.3368 | 1154331.7166 | 2545818.8711 | 1154343.2203
36 | 2545890.7983 | 1154512.0724 | 2545901.8024 | 1154506.9471
37 | 2545856.826 | 1154571.9034 | 2545867.8732 | 1154589.0019 | 2545881.9446 | 1154601.2038 | 2545894.837 | 1154608.5583
38 | 2545894.837 | 1154608.5583 | 2545903.8465 | 1154580.8625
39 | 2545894.837 | 1154608.5583 | 2545901.5629 | 1154611.7772
40 | 2545905.7864 | 1154402.7505 | 2545917.7686 | 1154400.1413 | 2545926.1254 | 1154400.4329 | 2545934.6342 | 1154385.2372 | 2545946.1036 | 1154388.7136
41 | 2545905.7864 | 1154402.7505 | 2545911.9304 | 1154404.7316
42 | 2545862.9632 | 1154343.8494 | 2545877.4339 | 1154342.4072 | 2545907.5376 | 1154332.8957
43 | 2545862.9632 | 1154343.8494 | 2545863.2144 | 1154329.0833
44 | 2545863.7197 | 1154283.218 | 2545863.9611 | 1154285.187 | 2545863.2385 | 1154327.6645
45 | 2545863.2144 | 1154329.0833 | 2545863.2385 | 1154327.6645
46 | 2545946.1036 | 1154388.7136 | 2545947.2445 | 1154393.5948 | 2545945.2266 | 1154396.9703
47 | 2545946.1036 | 1154388.7136 | 2545953.9634 | 1154390.8997
48 | 2545995.2512 | 1154468.5808 | 2545968.2451 | 1154459.6966 | 2545956.9092 | 1154449.7266 | 2545949.7098 | 1154437.3737 | 2545938.8845 | 1154421.9184 | 2545920.7122 | 1154407.5632 | 2545911.9304 | 1154404.7316
49 | 2545957.4791 | 1154382.6192 | 2545953.9634 | 1154390.8997
50 | 2545995.2512 | 1154468.5808 | 2546015.023 | 1154476.574 | 2546032.608 | 1154486.0043
51 | 2545995.2512 | 1154468.5808 | 2546004.5009 | 1154444.5334
52 | 2546004.8164 | 1154443.7132 | 2546004.5009 | 1154444.5334
53 | 2546005.1298 | 1154442.8983 | 2546004.8164 | 1154443.7132
54 | 2546005.1298 | 1154442.8983 | 2546006.0596 | 1154440.4809
55 | 2545901.5629 | 1154611.7772 | 2545933.6728 | 1154580.1048
56 | 2545903.2854 | 1154506.2564 | 2545901.8024 | 1154506.9471
57 | 2545903.2854 | 1154506.2564 | 2545913.3341 | 1154501.5761
58 | 2545907.5376 | 1154332.8957 | 2545910.863 | 1154331.845 | 2545917.7109 | 1154326.4249 | 2545934.8788 | 1154310.7378
59 | 2545979.4431 | 1154401.5906 | 2545990.8799 | 1154416.6814 | 2545990.8799 | 1154416.6814
60 | 2545992.5399 | 1154417.2048 | 2545990.8799 | 1154416.6814
61 | 2546006.7216 | 1154421.6757 | 2545992.5399 | 1154417.2048
62 | 2546012.5823 | 1154423.5234 | 2546006.7216 | 1154421.6757
63 | 2546012.5823 | 1154423.5234 | 2546006.2647 | 1154439.9479
64 | 2546012.5823 | 1154423.5234 | 2546030.5276 | 1154430.5881 | 2546046.8865 | 1154421.4831
65 | 2545929.237 | 1154495.0157 | 2545927.4677 | 1154494.9932 | 2545913.3341 | 1154501.5761
66 | 2545929.237 | 1154495.0157 | 2545939.2444 | 1154495.1429 | 2545958.354 | 1154502.7606
67 | 2545958.354 | 1154502.7606 | 2545970.0135 | 1154507.4085
68 | 2545981.8052 | 1154512.1453 | 2545975.2982 | 1154509.5152 | 2545970.0135 | 1154507.4085
69 | 2545994.8152 | 1154517.4039 | 2545981.8052 | 1154512.1453
70 | 2546006.2647 | 1154439.9479 | 2546006.0596 | 1154440.4809

## bus_geodata
| x | y | coords
0 | 2545770.3372 | 1154464.2477
1 | 2545772.6966 | 1154455.5336
2 | 2545792.3895 | 1154431.7989
3 | 2545757.184 | 1154450.513
4 | 2545775.5085 | 1154405.0148
5 | 2545799.5799 | 1154433.8985
6 | 2545803.0639 | 1154527.4089
7 | 2545811.9893 | 1154530.114
8 | 2545829.0922 | 1154491.6775
9 | 2545783.1835 | 1154527.0787
10 | 2545792.8242 | 1154382.3878
11 | 2545820.64 | 1154348.978
12 | 2545816.7202 | 1154361.7646
13 | 2545820.2024 | 1154347.5534
14 | 2545862.2199 | 1154360.1091
15 | 2545842.5409 | 1154541.127
16 | 2545849.6543 | 1154537.9612
17 | 2545854.7034 | 1154567.3303
18 | 2545817.4209 | 1154464.0903
19 | 2545840.4155 | 1154517.1654
20 | 2545746.3425 | 1154521.3224
21 | 2545802.7784 | 1154275.589
22 | 2545803.4852 | 1154303.7531
23 | 2545814.9109 | 1154329.8385
24 | 2545868.7382 | 1154387.9319
25 | 2545862.9592 | 1154344.0755
26 | 2545898.0661 | 1154358.9968
27 | 2545818.8711 | 1154343.2203
28 | 2545890.7983 | 1154512.0724
29 | 2545856.826 | 1154571.9034
30 | 2545894.837 | 1154608.5583
31 | 2545871.4141 | 1154413.6527
32 | 2545905.7864 | 1154402.7505
33 | 2545841.6673 | 1154401.7053
34 | 2545862.9632 | 1154343.8494
35 | 2545910.6695 | 1154358.7477
36 | 2545967.0721 | 1154322.9257
37 | 2545815.0956 | 1154330.6531
38 | 2545863.7197 | 1154283.218
39 | 2545863.2385 | 1154327.6645
40 | 2545946.1036 | 1154388.7136
41 | 2545911.9304 | 1154404.7316
42 | 2545945.2266 | 1154396.9703
43 | 2545953.9634 | 1154390.8997
44 | 2545995.2512 | 1154468.5808
45 | 2546032.608 | 1154486.0043
46 | 2546004.5009 | 1154444.5334
47 | 2546004.8164 | 1154443.7132
48 | 2546005.1298 | 1154442.8983
49 | 2545957.4791 | 1154382.6192
50 | 2545903.8465 | 1154580.8625
51 | 2545901.5629 | 1154611.7772
52 | 2545901.8024 | 1154506.9471
53 | 2545933.6728 | 1154580.1048
54 | 2545903.2854 | 1154506.2564
55 | 2545863.2144 | 1154329.0833
56 | 2545907.5376 | 1154332.8957
57 | 2545934.8788 | 1154310.7378
58 | 2545979.4431 | 1154401.5906
59 | 2545990.8799 | 1154416.6814
60 | 2545992.5399 | 1154417.2048
61 | 2546006.7216 | 1154421.6757
62 | 2546012.5823 | 1154423.5234
63 | 2545929.237 | 1154495.0157
64 | 2545913.3341 | 1154501.5761
65 | 2545958.354 | 1154502.7606
66 | 2545970.0135 | 1154507.4085
67 | 2545981.8052 | 1154512.1453
68 | 2545994.8152 | 1154517.4039
69 | 2546046.8865 | 1154421.4831
70 | 2546006.2647 | 1154439.9479
71 | 2546006.0596 | 1154440.4809
72 | 2545868.7382 | 1154387.9319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1