## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5613-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5613-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5613-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5613-1_0_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_5613-1_0_3_node_90 | 0.4 | n |  | TRUE
5 | bus_LV_5613-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5613-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5613-1_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5613-1_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5613-1_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5613-1_0_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5613-1_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5613-1_0_3_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_5613-1_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5613-1_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5613-1_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5613-1_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5613-1_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5613-1_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5613-1_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5613-1_0_3_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_5613-1_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5613-1_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5613-1_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5613-1_0_3_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_5613-1_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_5613-1_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5613-1_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_5613-1_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_5613-1_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5613-1_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5613-1_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5613-1_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5613-1_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5613-1_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_5613-1_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5613-1_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5613-1_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5613-1_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5613-1_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5613-1_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5613-1_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5613-1_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5613-1_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5613-1_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5613-1_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_5613-1_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5613-1_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5613-1_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5613-1_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_5613-1_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_5613-1_0_3_node_138 | 0.4 | n |  | TRUE
52 | bus_LV_5613-1_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5613-1_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5613-1_0_3_node_133 | 0.4 | n |  | TRUE
55 | bus_LV_5613-1_0_3_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_5613-1_0_3_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_5613-1_0_3_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_5613-1_0_3_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_5613-1_0_3_node_113 | 0.4 | n |  | TRUE
60 | bus_LV_5613-1_0_3_node_110 | 0.4 | n |  | TRUE
61 | bus_LV_5613-1_0_3_node_111 | 0.4 | n |  | TRUE
62 | bus_LV_5613-1_0_3_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_5613-1_0_3_node_134 | 0.4 | n |  | TRUE
64 | bus_LV_5613-1_0_3_node_132 | 0.4 | n |  | TRUE
65 | bus_LV_5613-1_0_3_node_130 | 0.4 | n |  | TRUE
66 | bus_LV_5613-1_0_3_node_131 | 0.4 | n |  | TRUE
67 | bus_LV_5613-1_0_3_node_152 | 0.4 | n |  | TRUE
68 | bus_LV_5613-1_0_3_node_139 | 0.4 | n |  | TRUE
69 | bus_LV_5613-1_0_3_node_140 | 0.4 | n |  | TRUE
70 | bus_LV_5613-1_0_3_node_157 | 0.4 | n |  | TRUE
71 | bus_LV_5613-1_0_3_node_153 | 0.4 | n |  | TRUE
72 | bus_LV_5613-1_0_3_node_154 | 0.4 | n |  | TRUE
73 | bus_LV_5613-1_0_3_node_155 | 0.4 | n |  | TRUE
74 | bus_LV_5613-1_0_3_node_156 | 0.4 | n |  | TRUE
75 | bus_MV_384_1_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5613-1_0_3_load_0 | 0 | 0.0042128 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5613-1_0_3_load_90 | 4 | 0.0023418 | 0.00058692 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5613-1_0_3_load_5 | 5 | 0.0023569 | 0.0005907 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5613-1_0_3_load_7 | 7 | 0.0015496 | 0.00038837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5613-1_0_3_load_9 | 9 | 0.0064852 | 0.0016253 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5613-1_0_3_load_33 | 10 | 0.0061367 | 0.001538 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5613-1_0_3_load_24 | 11 | 0.0023777 | 0.00059591 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5613-1_0_3_load_41 | 12 | 0.0057426 | 0.0014392 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5613-1_0_3_load_10 | 13 | 0.002444 | 0.00061253 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5613-1_0_3_load_13 | 16 | 0.0017905 | 0.00044873 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5613-1_0_3_load_15 | 18 | 0.0015214 | 0.0003813 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5613-1_0_3_load_18 | 19 | 0.0030884 | 0.00077404 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5613-1_0_3_load_36 | 20 | 0.0023341 | 0.00058498 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5613-1_0_3_load_34 | 21 | 0.0027469 | 0.00068844 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5613-1_0_3_load_32 | 22 | 0.0018908 | 0.00047388 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5613-1_0_3_load_48 | 24 | 0.002115 | 0.00053007 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5613-1_0_3_load_31 | 25 | 0.00090797 | 0.00022756 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5613-1_0_3_load_39 | 27 | 0.0050985 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5613-1_0_3_load_35 | 28 | 0.0047878 | 0.0011999 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5613-1_0_3_load_19 | 29 | 0.0012044 | 0.00030186 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5613-1_0_3_load_20 | 30 | 0.0029226 | 0.00073246 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5613-1_0_3_load_21 | 31 | 0.0029598 | 0.00074179 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5613-1_0_3_load_22 | 32 | 0.0024708 | 0.00061924 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5613-1_0_3_load_44 | 34 | 0.0038346 | 0.00096105 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5613-1_0_3_load_25 | 35 | 0.0029743 | 0.00074543 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5613-1_0_3_load_26 | 36 | 0.0019181 | 0.00048072 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5613-1_0_3_load_27 | 37 | 0.00075536 | 0.00018931 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5613-1_0_3_load_29 | 39 | 0.0021988 | 0.00055107 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5613-1_0_3_load_43 | 40 | 0.00059681 | 0.00014957 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5613-1_0_3_load_30 | 41 | 0.0005084 | 0.00012742 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5613-1_0_3_load_37 | 42 | 0.0040162 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5613-1_0_3_load_40 | 44 | 0.0063097 | 0.0015814 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5613-1_0_3_load_47 | 46 | 0.0015681 | 0.00039301 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5613-1_0_3_load_45 | 47 | 0.0014508 | 0.00036361 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5613-1_0_3_load_46 | 48 | 0.0010594 | 0.00026551 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5613-1_0_3_load_50 | 49 | 0.0049178 | 0.0012325 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5613-1_0_3_load_138 | 51 | 0.0010934 | 0.00027402 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5613-1_0_3_load_52 | 52 | 0.0044681 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5613-1_0_3_load_133 | 54 | 0.0039099 | 0.00097992 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5613-1_0_3_load_89 | 55 | 0.0035972 | 0.00090153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5613-1_0_3_load_92 | 57 | 0.011137 | 0.0027912 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5613-1_0_3_load_110 | 60 | 0.0028803 | 0.00072187 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5613-1_0_3_load_111 | 61 | 0.0075192 | 0.0018845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5613-1_0_3_load_134 | 63 | 0.0064885 | 0.0016262 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5613-1_0_3_load_132 | 64 | 0.0089193 | 0.0022354 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5613-1_0_3_load_130 | 65 | 0.0058317 | 0.0014616 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5613-1_0_3_load_152 | 67 | 0.012501 | 0.003133 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5613-1_0_3_load_140 | 69 | 0.0034981 | 0.00087672 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5613-1_0_3_load_157 | 70 | 0.003548 | 0.00088922 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5613-1_0_3_load_154 | 72 | 0.0078335 | 0.0019632 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5613-1_0_3_load_155 | 73 | 0.0035694 | 0.00089458 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5613-1_0_3_line_0 |  | 0 | 1 | 0.027191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5613-1_0_3_line_1 |  | 1 | 2 | 0.02426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5613-1_0_3_line_2 |  | 2 | 3 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5613-1_0_3_line_3 |  | 2 | 4 | 0.024877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5613-1_0_3_line_4 |  | 3 | 12 | 0.024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5613-1_0_3_line_5 |  | 3 | 38 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5613-1_0_3_line_6 |  | 4 | 55 | 0.003439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5613-1_0_3_line_7 |  | 5 | 6 | 0.015331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5613-1_0_3_line_8 |  | 5 | 7 | 0.00074317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5613-1_0_3_line_9 |  | 6 | 8 | 0.052704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5613-1_0_3_line_10 |  | 6 | 9 | 0.028651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5613-1_0_3_line_11 |  | 8 | 10 | 0.051444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5613-1_0_3_line_12 |  | 8 | 11 | 0.013345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5613-1_0_3_line_13 |  | 9 | 12 | 0.02585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5613-1_0_3_line_14 |  | 10 | 42 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5613-1_0_3_line_15 |  | 11 | 32 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5613-1_0_3_line_16 |  | 13 | 14 | 0.05127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5613-1_0_3_line_17 |  | 13 | 15 | 0.021473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5613-1_0_3_line_18 |  | 14 | 16 | 0.0098408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5613-1_0_3_line_19 |  | 14 | 17 | 0.036898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5613-1_0_3_line_20 |  | 15 | 18 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5613-1_0_3_line_21 |  | 16 | 19 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5613-1_0_3_line_22 |  | 17 | 20 | 0.010336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5613-1_0_3_line_23 |  | 17 | 21 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5613-1_0_3_line_24 |  | 18 | 22 | 0.032275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5613-1_0_3_line_25 |  | 19 | 29 | 0.0043489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5613-1_0_3_line_26 |  | 21 | 28 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5613-1_0_3_line_27 |  | 22 | 41 | 0.024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5613-1_0_3_line_28 |  | 23 | 24 | 0.021222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5613-1_0_3_line_29 |  | 23 | 25 | 0.007989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5613-1_0_3_line_30 |  | 25 | 41 | 0.022611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5613-1_0_3_line_31 |  | 26 | 27 | 0.0037426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5613-1_0_3_line_32 |  | 26 | 28 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5613-1_0_3_line_33 |  | 27 | 43 | 0.032902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5613-1_0_3_line_34 |  | 30 | 31 | 0.0010985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5613-1_0_3_line_35 |  | 30 | 32 | 0.015029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5613-1_0_3_line_36 |  | 31 | 33 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5613-1_0_3_line_37 |  | 33 | 34 | 0.009044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5613-1_0_3_line_38 |  | 35 | 36 | 0.0020781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5613-1_0_3_line_39 |  | 35 | 37 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5613-1_0_3_line_40 |  | 36 | 38 | 0.024466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5613-1_0_3_line_41 |  | 37 | 39 | 0.040103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5613-1_0_3_line_42 |  | 38 | 40 | 0.027123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5613-1_0_3_line_43 |  | 40 | 46 | 0.041728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5613-1_0_3_line_44 |  | 42 | 43 | 0.03353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5613-1_0_3_line_45 |  | 43 | 44 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5613-1_0_3_line_46 |  | 44 | 45 | 0.0051572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5613-1_0_3_line_47 |  | 45 | 49 | 0.009513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5613-1_0_3_line_48 |  | 45 | 50 | 0.042675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5613-1_0_3_line_49 |  | 46 | 48 | 0.0080813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5613-1_0_3_line_50 |  | 47 | 48 | 0.025694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5613-1_0_3_line_51 |  | 50 | 51 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5613-1_0_3_line_52 |  | 51 | 68 | 0.0078089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5613-1_0_3_line_53 |  | 52 | 53 | 0.055374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5613-1_0_3_line_54 |  | 53 | 54 | 0.16518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5613-1_0_3_line_55 |  | 54 | 66 | 0.054808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5613-1_0_3_line_56 |  | 55 | 56 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5613-1_0_3_line_57 |  | 56 | 57 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5613-1_0_3_line_58 |  | 56 | 58 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5613-1_0_3_line_59 |  | 58 | 59 | 0.022515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5613-1_0_3_line_60 |  | 58 | 60 | 0.0094109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5613-1_0_3_line_61 |  | 59 | 64 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5613-1_0_3_line_62 |  | 59 | 65 | 0.0067056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5613-1_0_3_line_63 |  | 61 | 62 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5613-1_0_3_line_64 |  | 62 | 63 | 0.014575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5613-1_0_3_line_65 |  | 63 | 67 | 0.0060076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5613-1_0_3_line_66 |  | 65 | 66 | 0.021393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5613-1_0_3_line_67 |  | 67 | 71 | 0.0056283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5613-1_0_3_line_68 |  | 68 | 69 | 0.022992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5613-1_0_3_line_69 |  | 69 | 70 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5613-1_0_3_line_70 |  | 70 | 74 | 0.0073486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5613-1_0_3_line_71 |  | 71 | 72 | 0.020006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5613-1_0_3_line_72 |  | 72 | 73 | 0.026871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5613-1_0_3_line_73 |  | 73 | 74 | 0.0079252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5613-1_0_3_trafo_8 | 0.63 MVA 20/0.4 kV | 75 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2544076.089 | 1149422.1823 | 2544088.2251 | 1149428.5173 | 2544096.4056 | 1149417.7764
1 | 2544061.6213 | 1149441.6828 | 2544076.089 | 1149422.1823
2 | 2544045.0879 | 1149428.1405 | 2544048.5153 | 1149430.9545 | 2544056.8245 | 1149437.7475 | 2544061.6213 | 1149441.6828
3 | 2544061.6213 | 1149441.6828 | 2544062.4545 | 1149447.8894 | 2544061.9107 | 1149460.4011 | 2544064.0118 | 1149465.9067 | 2544064.1839 | 1149466.0049
4 | 2544045.0879 | 1149428.1405 | 2544028.2108 | 1149445.5337
5 | 2544053.6514 | 1149419.3673 | 2544045.0879 | 1149428.1405
6 | 2544067.1708 | 1149467.7094 | 2544064.1839 | 1149466.0049
7 | 2543990.2577 | 1149484.6475 | 2543979.7481 | 1149473.485
8 | 2543979.2387 | 1149472.9439 | 2543979.7481 | 1149473.485
9 | 2543953.3031 | 1149522.3229 | 2543990.2577 | 1149484.6475
10 | 2543990.2577 | 1149484.6475 | 2544010.2094 | 1149464.0857
11 | 2543953.3031 | 1149522.3229 | 2543939.8498 | 1149536.1001 | 2543917.8843 | 1149555.8709 | 2543915.8608 | 1149557.559
12 | 2543953.3031 | 1149522.3229 | 2543948.4039 | 1149518.1108 | 2543943.3992 | 1149513.3838
13 | 2544028.2108 | 1149445.5337 | 2544010.2094 | 1149464.0857
14 | 2543906.2056 | 1149565.6136 | 2543915.8608 | 1149557.559
15 | 2543935.7768 | 1149506.1843 | 2543943.3992 | 1149513.3838
16 | 2543771.9434 | 1149648.0826 | 2543739.3744 | 1149667.6531 | 2543728.6104 | 1149675.4192
17 | 2543711.1965 | 1149687.9832 | 2543728.6104 | 1149675.4192
18 | 2543771.9434 | 1149648.0826 | 2543766.9504 | 1149639.6025
19 | 2543771.9434 | 1149648.0826 | 2543792.1674 | 1149635.9315 | 2543803.5502 | 1149629.0437
20 | 2543711.1965 | 1149687.9832 | 2543694.0399 | 1149701.1672
21 | 2543775.799 | 1149631.9078 | 2543773.548 | 1149633.3153 | 2543766.9504 | 1149639.6025 | 2543766.9504 | 1149639.6025
22 | 2543803.5502 | 1149629.0437 | 2543797.7428 | 1149620.4934
23 | 2543803.5502 | 1149629.0437 | 2543820.2913 | 1149618.914
24 | 2543694.0399 | 1149701.1672 | 2543681.9792 | 1149710.4353 | 2543668.4367 | 1149720.8177
25 | 2543779.4864 | 1149629.6022 | 2543775.799 | 1149631.9078
26 | 2543835.3795 | 1149609.7845 | 2543820.2913 | 1149618.914
27 | 2543668.4367 | 1149720.8177 | 2543653.6611 | 1149732.1454 | 2543649.5397 | 1149735.7092
28 | 2543627.6597 | 1149756.9022 | 2543623.9026 | 1149759.8724 | 2543610.9882 | 1149770.0332
29 | 2543627.6597 | 1149756.9022 | 2543632.4364 | 1149750.4985
30 | 2543632.4364 | 1149750.4985 | 2543649.5397 | 1149735.7092
31 | 2543846.8065 | 1149602.8702 | 2543850.0568 | 1149601.0149
32 | 2543846.8065 | 1149602.8702 | 2543835.3795 | 1149609.7845
33 | 2543878.3795 | 1149584.2767 | 2543876.7922 | 1149585.3032 | 2543859.3996 | 1149595.6822 | 2543850.0568 | 1149601.0149
34 | 2543927.7152 | 1149492.2945 | 2543928.2387 | 1149493.2603
35 | 2543935.7768 | 1149506.1843 | 2543934.6859 | 1149505.154 | 2543928.2387 | 1149493.2603
36 | 2543922.1006 | 1149481.9368 | 2543927.7152 | 1149492.2945
37 | 2543922.1006 | 1149481.9368 | 2543918.4773 | 1149484.4719 | 2543916.8902 | 1149488.8223
38 | 2544036.9535 | 1149401.4856 | 2544035.534 | 1149399.9679
39 | 2544026.024 | 1149389.7996 | 2544035.534 | 1149399.9679
40 | 2544053.6514 | 1149419.3673 | 2544048.8431 | 1149414.1981 | 2544036.9535 | 1149401.4856
41 | 2544045.7574 | 1149361.4877 | 2544021.6928 | 1149385.1687 | 2544026.024 | 1149389.7996
42 | 2544053.6514 | 1149419.3673 | 2544072.5389 | 1149399.9021
43 | 2544101.597 | 1149369.9551 | 2544072.5389 | 1149399.9021
44 | 2543878.3795 | 1149584.2767 | 2543892.4929 | 1149575.4404 | 2543904.2323 | 1149567.2598 | 2543906.2056 | 1149565.6136
45 | 2543878.3795 | 1149584.2767 | 2543871.7666 | 1149572.5256
46 | 2543869.2374 | 1149568.0312 | 2543871.7666 | 1149572.5256
47 | 2543864.5687 | 1149559.737 | 2543869.2374 | 1149568.0312
48 | 2543869.2374 | 1149568.0312 | 2543865.5648 | 1149571.0337 | 2543871.3331 | 1149578.6951 | 2543879.9225 | 1149590.0098 | 2543888.5415 | 1149601.2131
49 | 2544101.597 | 1149369.9551 | 2544107.2246 | 1149364.1554
50 | 2544125.1175 | 1149345.7152 | 2544107.2246 | 1149364.1554
51 | 2543888.5415 | 1149601.2131 | 2543889.4438 | 1149602.4721 | 2543890.0792 | 1149603.0887 | 2543896.0012 | 1149613.0409
52 | 2543896.7579 | 1149620.2911 | 2543897.684 | 1149615.869 | 2543896.0012 | 1149613.0409
53 | 2544284.1488 | 1149567.1283 | 2544288.8499 | 1149576.5008 | 2544295.0995 | 1149583.1353 | 2544300.5717 | 1149591.2223 | 2544304.9557 | 1149600.3421 | 2544311.6931 | 1149614.7342
54 | 2544284.1488 | 1149567.1283 | 2544175.2885 | 1149442.8903
55 | 2544126.3985 | 1149458.2116 | 2544133.8676 | 1149455.5853 | 2544145.3238 | 1149447.4301 | 2544153.2324 | 1149441.7092 | 2544164.1016 | 1149438.9624 | 2544175.2885 | 1149442.8903
56 | 2544078.4458 | 1149474.1436 | 2544067.1708 | 1149467.7094
57 | 2544078.4458 | 1149474.1436 | 2544081.1903 | 1149464.6241 | 2544082.7874 | 1149455.56
58 | 2544078.4458 | 1149474.1436 | 2544088.5478 | 1149481.3757
59 | 2544088.5478 | 1149481.3757 | 2544099.0653 | 1149461.4562
60 | 2544088.5478 | 1149481.3757 | 2544083.4763 | 1149489.3031
61 | 2544099.0653 | 1149461.4562 | 2544105.5081 | 1149446.2247
62 | 2544099.0653 | 1149461.4562 | 2544105.7552 | 1149461.9147
63 | 2544003.6826 | 1149555.9826 | 2544018.191 | 1149546.1898
64 | 2544003.6826 | 1149555.9826 | 2543995.047 | 1149567.7235
65 | 2543995.047 | 1149567.7235 | 2543993.1442 | 1149570.3106 | 2543991.1108 | 1149572.2298
66 | 2544126.3985 | 1149458.2116 | 2544114.2077 | 1149462.4938 | 2544105.7552 | 1149461.9147
67 | 2543987.0176 | 1149576.093 | 2543991.1108 | 1149572.2298
68 | 2543896.7579 | 1149620.2911 | 2543911.2972 | 1149620.0776 | 2543919.054 | 1149616.7229
69 | 2543935.1849 | 1149609.7464 | 2543919.054 | 1149616.7229
70 | 2543941.9298 | 1149606.8294 | 2543935.1849 | 1149609.7464
71 | 2543987.0176 | 1149576.093 | 2543984.217 | 1149578.7427 | 2543971.6453 | 1149588.8814
72 | 2543948.8501 | 1149602.9669 | 2543966.1569 | 1149593.3075 | 2543971.6453 | 1149588.8814
73 | 2543941.9298 | 1149606.8294 | 2543948.8501 | 1149602.9669

## bus_geodata
| x | y | coords
0 | 2544096.4056 | 1149417.7764
1 | 2544076.089 | 1149422.1823
2 | 2544061.6213 | 1149441.6828
3 | 2544045.0879 | 1149428.1405
4 | 2544064.1839 | 1149466.0049
5 | 2543979.7481 | 1149473.485
6 | 2543990.2577 | 1149484.6475
7 | 2543979.2387 | 1149472.9439
8 | 2543953.3031 | 1149522.3229
9 | 2544010.2094 | 1149464.0857
10 | 2543915.8608 | 1149557.559
11 | 2543943.3992 | 1149513.3838
12 | 2544028.2108 | 1149445.5337
13 | 2543728.6104 | 1149675.4192
14 | 2543771.9434 | 1149648.0826
15 | 2543711.1965 | 1149687.9832
16 | 2543766.9504 | 1149639.6025
17 | 2543803.5502 | 1149629.0437
18 | 2543694.0399 | 1149701.1672
19 | 2543775.799 | 1149631.9078
20 | 2543797.7428 | 1149620.4934
21 | 2543820.2913 | 1149618.914
22 | 2543668.4367 | 1149720.8177
23 | 2543627.6597 | 1149756.9022
24 | 2543610.9882 | 1149770.0332
25 | 2543632.4364 | 1149750.4985
26 | 2543846.8065 | 1149602.8702
27 | 2543850.0568 | 1149601.0149
28 | 2543835.3795 | 1149609.7845
29 | 2543779.4864 | 1149629.6022
30 | 2543928.2387 | 1149493.2603
31 | 2543927.7152 | 1149492.2945
32 | 2543935.7768 | 1149506.1843
33 | 2543922.1006 | 1149481.9368
34 | 2543916.8902 | 1149488.8223
35 | 2544035.534 | 1149399.9679
36 | 2544036.9535 | 1149401.4856
37 | 2544026.024 | 1149389.7996
38 | 2544053.6514 | 1149419.3673
39 | 2544045.7574 | 1149361.4877
40 | 2544072.5389 | 1149399.9021
41 | 2543649.5397 | 1149735.7092
42 | 2543906.2056 | 1149565.6136
43 | 2543878.3795 | 1149584.2767
44 | 2543871.7666 | 1149572.5256
45 | 2543869.2374 | 1149568.0312
46 | 2544101.597 | 1149369.9551
47 | 2544125.1175 | 1149345.7152
48 | 2544107.2246 | 1149364.1554
49 | 2543864.5687 | 1149559.737
50 | 2543888.5415 | 1149601.2131
51 | 2543896.0012 | 1149613.0409
52 | 2544311.6931 | 1149614.7342
53 | 2544284.1488 | 1149567.1283
54 | 2544175.2885 | 1149442.8903
55 | 2544067.1708 | 1149467.7094
56 | 2544078.4458 | 1149474.1436
57 | 2544082.7874 | 1149455.56
58 | 2544088.5478 | 1149481.3757
59 | 2544099.0653 | 1149461.4562
60 | 2544083.4763 | 1149489.3031
61 | 2544018.191 | 1149546.1898
62 | 2544003.6826 | 1149555.9826
63 | 2543995.047 | 1149567.7235
64 | 2544105.5081 | 1149446.2247
65 | 2544105.7552 | 1149461.9147
66 | 2544126.3985 | 1149458.2116
67 | 2543991.1108 | 1149572.2298
68 | 2543896.758 | 1149620.2911
69 | 2543919.054 | 1149616.7229
70 | 2543935.1849 | 1149609.7464
71 | 2543987.0176 | 1149576.093
72 | 2543971.6453 | 1149588.8814
73 | 2543948.8501 | 1149602.9669
74 | 2543941.9298 | 1149606.8294
75 | 2543922.1006 | 1149481.9368

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1