## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5613-1_1_3_node_55 | 0.4 | n |  | TRUE
1 | bus_LV_5613-1_1_3_node_61 | 0.4 | n |  | TRUE
2 | bus_LV_5613-1_1_3_node_118 | 0.4 | n |  | TRUE
3 | bus_LV_5613-1_1_3_node_119 | 0.4 | n |  | TRUE
4 | bus_LV_5613-1_1_3_node_117 | 0.4 | n |  | TRUE
5 | bus_LV_5613-1_1_3_node_102 | 0.4 | n |  | TRUE
6 | bus_LV_5613-1_1_3_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_5613-1_1_3_node_104 | 0.4 | n |  | TRUE
8 | bus_LV_5613-1_1_3_node_159 | 0.4 | n |  | TRUE
9 | bus_LV_5613-1_1_3_node_116 | 0.4 | n |  | TRUE
10 | bus_LV_5613-1_1_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_5613-1_1_3_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_5613-1_1_3_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_5613-1_1_3_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_5613-1_1_3_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_5613-1_1_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_5613-1_1_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_5613-1_1_3_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_5613-1_1_3_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_5613-1_1_3_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_5613-1_1_3_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_5613-1_1_3_node_107 | 0.4 | n |  | TRUE
22 | bus_LV_5613-1_1_3_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_5613-1_1_3_node_115 | 0.4 | n |  | TRUE
24 | bus_LV_5613-1_1_3_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_5613-1_1_3_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_5613-1_1_3_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_5613-1_1_3_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_5613-1_1_3_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_5613-1_1_3_node_106 | 0.4 | n |  | TRUE
30 | bus_LV_5613-1_1_3_node_95 | 0.4 | n |  | TRUE
31 | bus_LV_5613-1_1_3_node_114 | 0.4 | n |  | TRUE
32 | bus_LV_5613-1_1_3_node_141 | 0.4 | n |  | TRUE
33 | bus_LV_5613-1_1_3_node_127 | 0.4 | n |  | TRUE
34 | bus_LV_5613-1_1_3_node_129 | 0.4 | n |  | TRUE
35 | bus_LV_5613-1_1_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_5613-1_1_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_5613-1_1_3_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_5613-1_1_3_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_5613-1_1_3_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_5613-1_1_3_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_5613-1_1_3_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_5613-1_1_3_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_5613-1_1_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_5613-1_1_3_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_5613-1_1_3_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_5613-1_1_3_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_5613-1_1_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_5613-1_1_3_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_5613-1_1_3_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_5613-1_1_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_5613-1_1_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_5613-1_1_3_node_148 | 0.4 | n |  | TRUE
53 | bus_LV_5613-1_1_3_node_158 | 0.4 | n |  | TRUE
54 | bus_LV_5613-1_1_3_node_137 | 0.4 | n |  | TRUE
55 | bus_LV_5613-1_1_3_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_5613-1_1_3_node_97 | 0.4 | n |  | TRUE
57 | bus_LV_5613-1_1_3_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_5613-1_1_3_node_178 | 0.4 | n |  | TRUE
59 | bus_LV_5613-1_1_3_node_143 | 0.4 | n |  | TRUE
60 | bus_LV_5613-1_1_3_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_5613-1_1_3_node_177 | 0.4 | n |  | TRUE
62 | bus_LV_5613-1_1_3_node_125 | 0.4 | n |  | TRUE
63 | bus_LV_5613-1_1_3_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_5613-1_1_3_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_5613-1_1_3_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_5613-1_1_3_node_142 | 0.4 | n |  | TRUE
67 | bus_LV_5613-1_1_3_node_151 | 0.4 | n |  | TRUE
68 | bus_LV_5613-1_1_3_node_162 | 0.4 | n |  | TRUE
69 | bus_LV_5613-1_1_3_node_168 | 0.4 | n |  | TRUE
70 | bus_LV_5613-1_1_3_node_126 | 0.4 | n |  | TRUE
71 | bus_LV_5613-1_1_3_node_167 | 0.4 | n |  | TRUE
72 | bus_LV_5613-1_1_3_node_128 | 0.4 | n |  | TRUE
73 | bus_LV_5613-1_1_3_node_160 | 0.4 | n |  | TRUE
74 | bus_LV_5613-1_1_3_node_124 | 0.4 | n |  | TRUE
75 | bus_LV_5613-1_1_3_node_120 | 0.4 | n |  | TRUE
76 | bus_LV_5613-1_1_3_node_121 | 0.4 | n |  | TRUE
77 | bus_LV_5613-1_1_3_node_122 | 0.4 | n |  | TRUE
78 | bus_LV_5613-1_1_3_node_123 | 0.4 | n |  | TRUE
79 | bus_LV_5613-1_1_3_node_150 | 0.4 | n |  | TRUE
80 | bus_LV_5613-1_1_3_node_147 | 0.4 | n |  | TRUE
81 | bus_LV_5613-1_1_3_node_166 | 0.4 | n |  | TRUE
82 | bus_LV_5613-1_1_3_node_135 | 0.4 | n |  | TRUE
83 | bus_LV_5613-1_1_3_node_136 | 0.4 | n |  | TRUE
84 | bus_LV_5613-1_1_3_node_144 | 0.4 | n |  | TRUE
85 | bus_LV_5613-1_1_3_node_145 | 0.4 | n |  | TRUE
86 | bus_LV_5613-1_1_3_node_169 | 0.4 | n |  | TRUE
87 | bus_LV_5613-1_1_3_node_161 | 0.4 | n |  | TRUE
88 | bus_LV_5613-1_1_3_node_176 | 0.4 | n |  | TRUE
89 | bus_LV_5613-1_1_3_node_175 | 0.4 | n |  | TRUE
90 | bus_LV_5613-1_1_3_node_163 | 0.4 | n |  | TRUE
91 | bus_LV_5613-1_1_3_node_164 | 0.4 | n |  | TRUE
92 | bus_LV_5613-1_1_3_node_165 | 0.4 | n |  | TRUE
93 | bus_LV_5613-1_1_3_node_170 | 0.4 | n |  | TRUE
94 | bus_LV_5613-1_1_3_node_171 | 0.4 | n |  | TRUE
95 | bus_LV_5613-1_1_3_node_174 | 0.4 | n |  | TRUE
96 | bus_MV_384_1_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5613-1_1_3_load_55 | 0 | 0.0029943 | 0.00075045 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5613-1_1_3_load_119 | 3 | 0.00283 | 0.00070927 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5613-1_1_3_load_117 | 4 | 0.0055763 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5613-1_1_3_load_102 | 5 | 0.0021376 | 0.00053573 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5613-1_1_3_load_103 | 6 | 0.0037433 | 0.00093817 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5613-1_1_3_load_104 | 7 | 0.0010999 | 0.00027565 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5613-1_1_3_load_159 | 8 | 0.00090638 | 0.00022716 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5613-1_1_3_load_116 | 9 | 0.0014046 | 0.00035203 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5613-1_1_3_load_56 | 10 | 0.0015258 | 0.0003824 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5613-1_1_3_load_69 | 13 | 0.0013498 | 0.00033829 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5613-1_1_3_load_70 | 14 | 0.016459 | 0.0041251 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5613-1_1_3_load_57 | 15 | 0.0029102 | 0.00072937 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5613-1_1_3_load_58 | 16 | 0.0040945 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5613-1_1_3_load_62 | 18 | 0.0027717 | 0.00069466 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5613-1_1_3_load_107 | 21 | 0.0031046 | 0.00077809 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5613-1_1_3_load_115 | 23 | 0.0027785 | 0.00069636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5613-1_1_3_load_79 | 24 | 0.0030831 | 0.00077269 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5613-1_1_3_load_66 | 25 | 0.003753 | 0.00094058 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5613-1_1_3_load_94 | 26 | 0.0013672 | 0.00034266 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5613-1_1_3_load_99 | 27 | 0.0032048 | 0.0008032 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5613-1_1_3_load_98 | 28 | 0.0010886 | 0.00027284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5613-1_1_3_load_106 | 29 | 0.0033383 | 0.00083665 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5613-1_1_3_load_141 | 32 | 0.00097912 | 0.00024539 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5613-1_1_3_load_127 | 33 | 0.002027 | 0.00050801 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5613-1_1_3_load_78 | 35 | 0.0027632 | 0.00069253 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5613-1_1_3_load_71 | 37 | 0.0032742 | 0.0008206 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5613-1_1_3_load_74 | 39 | 0.0018971 | 0.00047546 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5613-1_1_3_load_77 | 41 | 0.0027237 | 0.00068263 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5613-1_1_3_load_80 | 42 | 0.0043974 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5613-1_1_3_load_82 | 44 | 0.0017713 | 0.00044393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5613-1_1_3_load_81 | 45 | 0.002802 | 0.00070226 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5613-1_1_3_load_83 | 46 | 0.0010722 | 0.00026873 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5613-1_1_3_load_148 | 52 | 0.013591 | 0.0034062 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5613-1_1_3_load_158 | 53 | 0.00076151 | 0.00019085 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5613-1_1_3_load_96 | 55 | 0.0058018 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5613-1_1_3_load_97 | 56 | 0.0018449 | 0.00046237 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5613-1_1_3_load_143 | 59 | 0.0034017 | 0.00085256 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5613-1_1_3_load_108 | 60 | 0.0032886 | 0.00082421 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5613-1_1_3_load_177 | 61 | 0.0035981 | 0.00090176 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5613-1_1_3_load_125 | 62 | 0.0033687 | 0.00084427 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5613-1_1_3_load_100 | 63 | 0.0019959 | 0.00050021 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5613-1_1_3_load_101 | 64 | 0.002147 | 0.00053808 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5613-1_1_3_load_105 | 65 | 0.0022794 | 0.00057127 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5613-1_1_3_load_142 | 66 | 0.0081795 | 0.00205 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5613-1_1_3_load_151 | 67 | 0.0085197 | 0.0021352 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5613-1_1_3_load_162 | 68 | 0.0018632 | 0.00046697 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5613-1_1_3_load_168 | 69 | 0.00225 | 0.00056389 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5613-1_1_3_load_126 | 70 | 0.0023505 | 0.00058909 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5613-1_1_3_load_167 | 71 | 0.0056249 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5613-1_1_3_load_128 | 72 | 0.002086 | 0.00052281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5613-1_1_3_load_160 | 73 | 0.0014539 | 0.00036437 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5613-1_1_3_load_124 | 74 | 0.0031986 | 0.00080166 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5613-1_1_3_load_120 | 75 | 0.011963 | 0.0029983 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5613-1_1_3_load_121 | 76 | 0.0033211 | 0.00083235 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5613-1_1_3_load_123 | 78 | 0.012537 | 0.0031422 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5613-1_1_3_load_150 | 79 | 0.024693 | 0.0061885 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5613-1_1_3_load_166 | 81 | 0.0019508 | 0.00048893 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5613-1_1_3_load_135 | 82 | 0.048447 | 0.012142 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5613-1_1_3_load_144 | 84 | 0.0065819 | 0.0016496 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5613-1_1_3_load_161 | 87 | 0.0031866 | 0.00079863 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5613-1_1_3_load_176 | 88 | 0.0029736 | 0.00074526 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5613-1_1_3_load_175 | 89 | 0.0032127 | 0.00080519 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5613-1_1_3_load_163 | 90 | 0.0039565 | 0.0009916 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5613-1_1_3_load_164 | 91 | 0.0025621 | 0.00064211 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5613-1_1_3_load_165 | 92 | 0.0047564 | 0.0011921 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5613-1_1_3_load_170 | 93 | 0.00067716 | 0.00016971 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5613-1_1_3_load_171 | 94 | 0.0014469 | 0.00036262 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5613-1_1_3_load_174 | 95 | 0.0019601 | 0.00049126 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5613-1_1_3_line_0 |  | 0 | 1 | 0.10436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5613-1_1_3_line_1 |  | 1 | 12 | 0.024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5613-1_1_3_line_2 |  | 2 | 3 | 0.13314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5613-1_1_3_line_3 |  | 2 | 4 | 0.017814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5613-1_1_3_line_4 |  | 3 | 73 | 0.0075415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5613-1_1_3_line_5 |  | 5 | 6 | 0.0034681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5613-1_1_3_line_6 |  | 5 | 7 | 0.065913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5613-1_1_3_line_7 |  | 6 | 65 | 0.0062202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5613-1_1_3_line_8 |  | 7 | 49 | 0.012784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5613-1_1_3_line_9 |  | 8 | 9 | 0.0056668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5613-1_1_3_line_10 |  | 9 | 65 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5613-1_1_3_line_11 |  | 10 | 11 | 0.058018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5613-1_1_3_line_12 |  | 11 | 13 | 0.0092114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5613-1_1_3_line_13 |  | 11 | 14 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5613-1_1_3_line_14 |  | 12 | 15 | 0.0078652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5613-1_1_3_line_15 |  | 13 | 36 | 0.021211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5613-1_1_3_line_16 |  | 15 | 16 | 0.0059956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5613-1_1_3_line_17 |  | 16 | 17 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5613-1_1_3_line_18 |  | 17 | 18 | 0.051158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5613-1_1_3_line_19 |  | 18 | 19 | 0.059186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5613-1_1_3_line_20 |  | 19 | 20 | 0.035718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5613-1_1_3_line_21 |  | 20 | 21 | 0.01522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5613-1_1_3_line_22 |  | 21 | 29 | 0.0033648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5613-1_1_3_line_23 |  | 22 | 23 | 0.038316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5613-1_1_3_line_24 |  | 22 | 24 | 0.050084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5613-1_1_3_line_25 |  | 23 | 34 | 0.0080365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5613-1_1_3_line_26 |  | 24 | 35 | 0.091548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5613-1_1_3_line_27 |  | 25 | 26 | 0.0044406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5613-1_1_3_line_28 |  | 26 | 30 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5613-1_1_3_line_29 |  | 27 | 28 | 0.07641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5613-1_1_3_line_30 |  | 28 | 63 | 0.015633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5613-1_1_3_line_31 |  | 29 | 60 | 0.028934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5613-1_1_3_line_32 |  | 30 | 55 | 0.023006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5613-1_1_3_line_33 |  | 30 | 56 | 0.0055526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5613-1_1_3_line_34 |  | 31 | 32 | 0.0075539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5613-1_1_3_line_35 |  | 31 | 33 | 0.014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5613-1_1_3_line_36 |  | 32 | 69 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5613-1_1_3_line_37 |  | 33 | 70 | 0.037716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5613-1_1_3_line_38 |  | 34 | 71 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5613-1_1_3_line_39 |  | 34 | 72 | 0.058181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5613-1_1_3_line_40 |  | 35 | 40 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5613-1_1_3_line_41 |  | 36 | 37 | 0.003325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5613-1_1_3_line_42 |  | 37 | 38 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5613-1_1_3_line_43 |  | 38 | 39 | 0.010841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5613-1_1_3_line_44 |  | 38 | 40 | 0.087701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5613-1_1_3_line_45 |  | 39 | 41 | 0.0042363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5613-1_1_3_line_46 |  | 40 | 42 | 0.035085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5613-1_1_3_line_47 |  | 40 | 43 | 0.097591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5613-1_1_3_line_48 |  | 43 | 44 | 0.051356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5613-1_1_3_line_49 |  | 43 | 45 | 0.010422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5613-1_1_3_line_50 |  | 46 | 47 | 0.0060563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5613-1_1_3_line_51 |  | 46 | 48 | 0.069853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5613-1_1_3_line_52 |  | 47 | 49 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5613-1_1_3_line_53 |  | 48 | 50 | 0.023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5613-1_1_3_line_54 |  | 48 | 51 | 0.003667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5613-1_1_3_line_55 |  | 50 | 53 | 0.16922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5613-1_1_3_line_56 |  | 51 | 52 | 0.0065749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5613-1_1_3_line_57 |  | 52 | 54 | 0.043828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5613-1_1_3_line_58 |  | 54 | 84 | 0.056555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5613-1_1_3_line_59 |  | 54 | 83 | 0.011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5613-1_1_3_line_60 |  | 55 | 57 | 0.019164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5613-1_1_3_line_61 |  | 56 | 58 | 0.0057519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5613-1_1_3_line_62 |  | 57 | 59 | 0.012966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5613-1_1_3_line_63 |  | 57 | 60 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5613-1_1_3_line_64 |  | 58 | 61 | 0.00846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5613-1_1_3_line_65 |  | 58 | 62 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5613-1_1_3_line_66 |  | 59 | 68 | 0.0069966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5613-1_1_3_line_67 |  | 61 | 64 | 0.0060447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5613-1_1_3_line_68 |  | 62 | 77 | 0.011486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5613-1_1_3_line_69 |  | 63 | 64 | 0.011701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5613-1_1_3_line_70 |  | 66 | 67 | 0.0017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5613-1_1_3_line_71 |  | 67 | 80 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5613-1_1_3_line_72 |  | 68 | 87 | 0.0010247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5613-1_1_3_line_73 |  | 69 | 86 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5613-1_1_3_line_74 |  | 70 | 72 | 0.0080341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5613-1_1_3_line_75 |  | 71 | 81 | 0.0029108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5613-1_1_3_line_76 |  | 73 | 74 | 0.0052556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5613-1_1_3_line_77 |  | 74 | 77 | 0.013332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5613-1_1_3_line_78 |  | 75 | 76 | 0.0047499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5613-1_1_3_line_79 |  | 75 | 77 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_5613-1_1_3_line_80 |  | 76 | 78 | 0.013098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5613-1_1_3_line_81 |  | 78 | 79 | 0.0027727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5613-1_1_3_line_82 |  | 79 | 80 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5613-1_1_3_line_83 |  | 80 | 85 | 0.009471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5613-1_1_3_line_84 |  | 81 | 92 | 0.0085358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5613-1_1_3_line_85 |  | 82 | 83 | 0.034047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5613-1_1_3_line_86 |  | 84 | 85 | 0.026462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5613-1_1_3_line_87 |  | 86 | 93 | 0.006705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5613-1_1_3_line_88 |  | 86 | 94 | 0.011553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5613-1_1_3_line_89 |  | 87 | 90 | 0.0052044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5613-1_1_3_line_90 |  | 88 | 89 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5613-1_1_3_line_91 |  | 89 | 95 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5613-1_1_3_line_92 |  | 90 | 91 | 0.0028509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5613-1_1_3_line_93 |  | 91 | 92 | 0.0048536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5613-1_1_3_line_94 |  | 94 | 95 | 0.0010147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5613-1_1_3_trafo_96 | 0.63 MVA 20/0.4 kV | 96 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2544195.2638 | 1149754.6742 | 2544209.6482 | 1149736.1642 | 2544219.074 | 1149716.0883 | 2544222.9973 | 1149695.4299 | 2544222.3707 | 1149657.7262
1 | 2544185.9906 | 1149732.4706 | 2544191.3998 | 1149746.1611 | 2544195.2638 | 1149754.6742
2 | 2543901.8643 | 1149811.2338 | 2543912.6932 | 1149828.9311 | 2543942.1843 | 1149855.5703 | 2543964.7484 | 1149871.2906 | 2543997.635 | 1149880.089 | 2544008.7142 | 1149880.8571
3 | 2543901.8643 | 1149811.2338 | 2543914.4602 | 1149798.6364
4 | 2544008.7142 | 1149880.8571 | 2544016.2377 | 1149881.3787
5 | 2543791.3674 | 1149970.5032 | 2543788.7324 | 1149972.758
6 | 2543791.3674 | 1149970.5032 | 2543809.2937 | 1149955.1635 | 2543817.2902 | 1149951.5535 | 2543826.0847 | 1149951.1823 | 2543847.0073 | 1149958.8465 | 2543849.4432 | 1149959.2018
7 | 2543788.7324 | 1149972.758 | 2543784.823 | 1149976.1033 | 2543783.9297 | 1149976.7012
8 | 2543862.0424 | 1149958.3837 | 2543854.026 | 1149959.8704 | 2543849.4432 | 1149959.2018
9 | 2543770.8767 | 1149985.4386 | 2543775.5858 | 1149982.2864
10 | 2543775.5858 | 1149982.2864 | 2543783.9297 | 1149976.7012
11 | 2544324.6611 | 1149708.6282 | 2544311.0685 | 1149694.1464 | 2544295.873 | 1149659.1463
12 | 2544324.6611 | 1149708.6282 | 2544330.9655 | 1149715.3442
13 | 2544324.6611 | 1149708.6282 | 2544347.6672 | 1149698.8294
14 | 2544185.9906 | 1149732.4706 | 2544178.1492 | 1149733.0826
15 | 2544346.9175 | 1149729.311 | 2544332.0894 | 1149716.5414 | 2544330.9655 | 1149715.3442
16 | 2544178.1492 | 1149733.0826 | 2544172.1718 | 1149733.5491
17 | 2544151.5519 | 1149735.1584 | 2544172.1718 | 1149733.5491
18 | 2544151.5519 | 1149735.1584 | 2544148.7197 | 1149770.7703 | 2544142.3939 | 1149784.8477
19 | 2544098.3719 | 1149822.788 | 2544133.468 | 1149799.1938 | 2544142.3939 | 1149784.8477
20 | 2544098.3719 | 1149822.788 | 2544108.4222 | 1149828.6532 | 2544130.6214 | 1149838.1965
21 | 2544130.6214 | 1149838.1965 | 2544120.9566 | 1149849.9546
22 | 2544118.82 | 1149852.554 | 2544120.9566 | 1149849.9546
23 | 2544188.0748 | 1149872.5924 | 2544173.6237 | 1149881.3979 | 2544154.5749 | 1149891.1355
24 | 2544188.0748 | 1149872.5924 | 2544193.4046 | 1149874.4439 | 2544209.2314 | 1149883.1573 | 2544217.1466 | 1149883.1616 | 2544226.4812 | 1149877.2719 | 2544230.9511 | 1149871.3461
25 | 2544148.6758 | 1149896.5931 | 2544154.5749 | 1149891.1355
26 | 2544288.3894 | 1149801.4607 | 2544288.2328 | 1149801.5038 | 2544272.9635 | 1149811.5283 | 2544246.3435 | 1149850.9404 | 2544230.9511 | 1149871.3461
27 | 2544069.561 | 1149851.652 | 2544067.1892 | 1149855.4061
28 | 2544057.7873 | 1149865.3991 | 2544062.9995 | 1149862.0377 | 2544067.1892 | 1149855.4061
29 | 2544012.2599 | 1149845.448 | 2544006.6918 | 1149841.1061 | 2544004.9136 | 1149834.8305 | 2544004.5976 | 1149826.4512 | 2544007.3287 | 1149814.6973 | 2544010.9852 | 1149800.9115 | 2544016.6337 | 1149780.0923 | 2544019.1844 | 1149774.0709
30 | 2544026.6915 | 1149851.2264 | 2544013.8065 | 1149846.654 | 2544012.2599 | 1149845.448
31 | 2544118.82 | 1149852.554 | 2544111.9011 | 1149860.9714 | 2544101.3621 | 1149875.6102
32 | 2544057.7873 | 1149865.3991 | 2544077.1374 | 1149877.3366 | 2544077.3676 | 1149877.4769
33 | 2544057.7873 | 1149865.3991 | 2544052.3445 | 1149864.2999
34 | 2544170.9978 | 1149996.261 | 2544168.6908 | 1150003.454
35 | 2544170.9978 | 1149996.261 | 2544162.7914 | 1149992.9911 | 2544157.7327 | 1149990.978
36 | 2544168.6908 | 1150003.454 | 2544167.7971 | 1150006.2405 | 2544162.3725 | 1150016.2181
37 | 2544145.5436 | 1149959.3321 | 2544144.0131 | 1149962.3936 | 2544143.485 | 1149967.5235 | 2544149.0272 | 1149984.8034 | 2544152.5816 | 1149988.9281 | 2544157.7327 | 1149990.978
38 | 2544148.6758 | 1149896.5931 | 2544138.3418 | 1149894.9202
39 | 2544148.6758 | 1149896.5931 | 2544150.915 | 1149900.4522 | 2544153.5319 | 1149907.7762 | 2544151.0215 | 1149923.4745 | 2544151.9572 | 1149932.4706 | 2544154.0603 | 1149941.5114 | 2544149.0292 | 1149952.0937
40 | 2544300.7685 | 1149798.0525 | 2544288.3894 | 1149801.4607
41 | 2544346.9175 | 1149729.311 | 2544348.4576 | 1149730.6419 | 2544349.2792 | 1149731.6357
42 | 2544356.2918 | 1149740.1189 | 2544349.2792 | 1149731.6357
43 | 2544356.2918 | 1149740.1189 | 2544363.0697 | 1149731.6577
44 | 2544300.7685 | 1149798.0525 | 2544315.4025 | 1149794.0259 | 2544339.3773 | 1149782.2644 | 2544342.1279 | 1149773.3787 | 2544347.7693 | 1149759.9527 | 2544355.7829 | 1149745.6932 | 2544356.2918 | 1149740.1189
45 | 2544365.7182 | 1149728.3514 | 2544363.0697 | 1149731.6577
46 | 2544300.7685 | 1149798.0525 | 2544298.2573 | 1149783.8904 | 2544295.0613 | 1149771.2133 | 2544292.4001 | 1149764.0675
47 | 2544300.7685 | 1149798.0525 | 2544315.4025 | 1149794.0259 | 2544339.3773 | 1149782.2644 | 2544335.4562 | 1149799.8878 | 2544325.0496 | 1149825.998 | 2544322.3707 | 1149835.161
48 | 2544322.3707 | 1149835.161 | 2544320.2646 | 1149842.351 | 2544321.3955 | 1149858.349 | 2544335.7196 | 1149882.218
49 | 2544322.3707 | 1149835.161 | 2544315.4488 | 1149836.3146 | 2544313.7353 | 1149839.2564
50 | 2543871.2911 | 1149964.7229 | 2543872.6513 | 1149970.6245
51 | 2543939.9257 | 1149986.2831 | 2543937.9645 | 1149987.5465 | 2543934.5077 | 1149986.5004 | 2543920.7426 | 1149984.0163 | 2543872.6513 | 1149970.6245
52 | 2543871.2911 | 1149964.7229 | 2543862.0424 | 1149958.3837
53 | 2543943.523 | 1150008.9838 | 2543940.8689 | 1149999.3368 | 2543941.633 | 1149993.1931 | 2543939.9257 | 1149986.2831
54 | 2543939.048 | 1149982.7227 | 2543939.9257 | 1149986.2831
55 | 2543943.523 | 1150008.9838 | 2543920.0481 | 1150023.1325 | 2543897.5423 | 1150025.1212 | 2543883.4205 | 1150024.7083 | 2543843.3288 | 1150017.0674 | 2543825.8503 | 1150012.3614 | 2543798.8486 | 1149998.2284 | 2543793.4068 | 1149994.2549 | 2543785.0192 | 1149997.4104
56 | 2543939.048 | 1149982.7227 | 2543945.6218 | 1149982.5998
57 | 2543987.3436 | 1149971.111 | 2543980.5351 | 1149974.5206 | 2543967.3116 | 1149979.8911 | 2543954.4762 | 1149982.4343 | 2543945.6218 | 1149982.5998
58 | 2543987.3436 | 1149971.111 | 2543993.5331 | 1149968.0072 | 2544000.4806 | 1149964.6741 | 2544008.5973 | 1149960.7742 | 2544028.1831 | 1149951.0534 | 2544038.0852 | 1149946.1376
59 | 2543982.6668 | 1149961.0603 | 2543987.3436 | 1149971.111
60 | 2544093.7298 | 1149887.4544 | 2544077.3676 | 1149877.4769
61 | 2544046.6007 | 1149864.4805 | 2544052.157 | 1149864.262 | 2544052.3445 | 1149864.2999
62 | 2544093.7298 | 1149887.4544 | 2544097.4854 | 1149888.4422 | 2544104.1407 | 1149889.1807 | 2544106.5264 | 1149889.2259
63 | 2544093.7298 | 1149887.4544 | 2544097.4701 | 1149881.0162 | 2544101.3621 | 1149875.6102
64 | 2544046.6007 | 1149864.4805 | 2544046.0436 | 1149860.717 | 2544044.4247 | 1149857.5192 | 2544043.4151 | 1149857.161
65 | 2544046.6007 | 1149864.4805 | 2544044.1172 | 1149866.5491 | 2544041.7642 | 1149869.4392 | 2544039.3909 | 1149874.4229
66 | 2544113.4612 | 1149889.9102 | 2544110.4448 | 1149889.3 | 2544106.5264 | 1149889.2259
67 | 2544043.4151 | 1149857.161 | 2544037.7185 | 1149855.1394
68 | 2544034.4526 | 1149884.7932 | 2544039.3909 | 1149874.4229
69 | 2544037.7185 | 1149855.1394 | 2544026.6915 | 1149851.2264
70 | 2544074.3364 | 1149913.7943 | 2544075.4216 | 1149912.4422
71 | 2544066.1024 | 1149924.0529 | 2544074.3364 | 1149913.7943
72 | 2544113.4612 | 1149889.9102 | 2544114.4656 | 1149890.1134
73 | 2544157.2131 | 1150029.6623 | 2544158.43 | 1150023.47 | 2544162.3725 | 1150016.2181
74 | 2544145.5436 | 1149959.3321 | 2544146.4475 | 1149957.524 | 2544149.0292 | 1149952.0937
75 | 2544135.4847 | 1149894.3655 | 2544137.7655 | 1149894.8269 | 2544138.3418 | 1149894.9202
76 | 2544021.4807 | 1149881.7421 | 2544016.2377 | 1149881.3787
77 | 2544034.4526 | 1149884.7932 | 2544021.949 | 1149881.7746 | 2544021.4807 | 1149881.7421
78 | 2544038.3829 | 1149899.8788 | 2544038.8246 | 1149900.861 | 2544041.1993 | 1149903.663
79 | 2544034.4526 | 1149884.7932 | 2544034.215 | 1149890.6096 | 2544038.3829 | 1149899.8788
80 | 2544050.4173 | 1149912.7264 | 2544047.6117 | 1149911.2292 | 2544041.1993 | 1149903.663
81 | 2544052.8635 | 1149914.0319 | 2544050.4173 | 1149912.7264
82 | 2544066.1024 | 1149924.0529 | 2544063.8488 | 1149921.9505 | 2544056.6002 | 1149916.0259 | 2544052.8635 | 1149914.0319
83 | 2544059.5485 | 1149930.9064 | 2544066.1024 | 1149924.0529
84 | 2544127.1183 | 1149892.673 | 2544135.4847 | 1149894.3655
85 | 2543982.6668 | 1149961.0603 | 2543980.7322 | 1149956.9539 | 2543979.6253 | 1149952.6842 | 2543981.2455 | 1149948.6002 | 2543985.2487 | 1149944.8499 | 2543998.4684 | 1149937.3119
86 | 2544059.5485 | 1149930.9064 | 2544055.2576 | 1149935.093 | 2544043.2909 | 1149943.5533 | 2544038.0852 | 1149946.1376
87 | 2544157.2131 | 1150029.6623 | 2544157.9058 | 1150033.9804 | 2544159.0727 | 1150035.9992
88 | 2544157.2131 | 1150029.6623 | 2544153.6437 | 1150033.831 | 2544149.6297 | 1150038.378
89 | 2544119.5667 | 1149891.1453 | 2544114.4656 | 1149890.1134
90 | 2544137.3219 | 1150049.5411 | 2544126.418 | 1150058.0958
91 | 2544148.9582 | 1150039.1387 | 2544145.3021 | 1150043.2802 | 2544137.3219 | 1150049.5411
92 | 2544119.5667 | 1149891.1453 | 2544122.3611 | 1149891.7106
93 | 2544127.1183 | 1149892.673 | 2544122.3611 | 1149891.7106
94 | 2544149.6297 | 1150038.378 | 2544148.9582 | 1150039.1387

## bus_geodata
| x | y | coords
0 | 2544222.3707 | 1149657.7262
1 | 2544195.2638 | 1149754.6742
2 | 2543901.8643 | 1149811.2338
3 | 2544008.7142 | 1149880.8571
4 | 2543914.4602 | 1149798.6364
5 | 2543791.3674 | 1149970.5032
6 | 2543788.7324 | 1149972.758
7 | 2543849.4432 | 1149959.2018
8 | 2543770.8767 | 1149985.4386
9 | 2543775.5858 | 1149982.2864
10 | 2544295.873 | 1149659.1463
11 | 2544324.6611 | 1149708.6282
12 | 2544185.9906 | 1149732.4706
13 | 2544330.9655 | 1149715.3442
14 | 2544347.6672 | 1149698.8294
15 | 2544178.1492 | 1149733.0826
16 | 2544172.1718 | 1149733.5491
17 | 2544151.5519 | 1149735.1584
18 | 2544142.3939 | 1149784.8477
19 | 2544098.3719 | 1149822.788
20 | 2544130.6214 | 1149838.1965
21 | 2544120.9566 | 1149849.9546
22 | 2544188.0748 | 1149872.5924
23 | 2544154.5749 | 1149891.1355
24 | 2544230.9511 | 1149871.3461
25 | 2544069.561 | 1149851.652
26 | 2544067.1892 | 1149855.4061
27 | 2544019.1844 | 1149774.0709
28 | 2544012.2599 | 1149845.448
29 | 2544118.82 | 1149852.554
30 | 2544057.7873 | 1149865.3991
31 | 2544170.9978 | 1149996.261
32 | 2544168.6908 | 1150003.454
33 | 2544157.7327 | 1149990.978
34 | 2544148.6758 | 1149896.5931
35 | 2544288.3894 | 1149801.4607
36 | 2544346.9175 | 1149729.311
37 | 2544349.2792 | 1149731.6357
38 | 2544356.2918 | 1149740.1189
39 | 2544363.0697 | 1149731.6577
40 | 2544300.7685 | 1149798.0525
41 | 2544365.7182 | 1149728.3514
42 | 2544292.4001 | 1149764.0675
43 | 2544322.3707 | 1149835.161
44 | 2544335.7196 | 1149882.218
45 | 2544313.7353 | 1149839.2564
46 | 2543872.6513 | 1149970.6245
47 | 2543871.2911 | 1149964.7229
48 | 2543939.9257 | 1149986.2831
49 | 2543862.0424 | 1149958.3837
50 | 2543943.523 | 1150008.9838
51 | 2543939.048 | 1149982.7227
52 | 2543945.6218 | 1149982.5998
53 | 2543785.0192 | 1149997.4104
54 | 2543987.3436 | 1149971.111
55 | 2544077.3676 | 1149877.4769
56 | 2544052.3445 | 1149864.2999
57 | 2544093.7298 | 1149887.4544
58 | 2544046.6007 | 1149864.4805
59 | 2544106.5264 | 1149889.2259
60 | 2544101.3621 | 1149875.6102
61 | 2544043.4151 | 1149857.161
62 | 2544039.3909 | 1149874.4229
63 | 2544026.6915 | 1149851.2264
64 | 2544037.7184 | 1149855.1394
65 | 2543783.9297 | 1149976.7012
66 | 2544075.4216 | 1149912.4422
67 | 2544074.3364 | 1149913.7943
68 | 2544113.4612 | 1149889.9102
69 | 2544162.3725 | 1150016.2181
70 | 2544145.5436 | 1149959.3321
71 | 2544138.3418 | 1149894.9202
72 | 2544149.0292 | 1149952.0937
73 | 2544016.2377 | 1149881.3787
74 | 2544021.4807 | 1149881.7421
75 | 2544038.3829 | 1149899.8788
76 | 2544041.1993 | 1149903.663
77 | 2544034.4526 | 1149884.7932
78 | 2544050.4173 | 1149912.7264
79 | 2544052.8635 | 1149914.0319
80 | 2544066.1024 | 1149924.0529
81 | 2544135.4847 | 1149894.3655
82 | 2543998.4684 | 1149937.3119
83 | 2543982.6668 | 1149961.0603
84 | 2544038.0852 | 1149946.1376
85 | 2544059.5485 | 1149930.9064
86 | 2544157.2131 | 1150029.6623
87 | 2544114.4656 | 1149890.1134
88 | 2544126.418 | 1150058.0958
89 | 2544137.3219 | 1150049.5411
90 | 2544119.5667 | 1149891.1453
91 | 2544122.3611 | 1149891.7106
92 | 2544127.1183 | 1149892.673
93 | 2544159.0727 | 1150035.9992
94 | 2544149.6297 | 1150038.378
95 | 2544148.9582 | 1150039.1387
96 | 2544077.3676 | 1149877.4769

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1