## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5613-9_1_4_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_5613-9_1_4_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_5613-9_1_4_node_30 | 0.4 | n |  | TRUE
3 | bus_LV_5613-9_1_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_5613-9_1_4_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_5613-9_1_4_node_107 | 0.4 | n |  | TRUE
6 | bus_LV_5613-9_1_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_5613-9_1_4_node_149 | 0.4 | n |  | TRUE
8 | bus_LV_5613-9_1_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5613-9_1_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_5613-9_1_4_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_5613-9_1_4_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_5613-9_1_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_5613-9_1_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_5613-9_1_4_node_225 | 0.4 | n |  | TRUE
15 | bus_LV_5613-9_1_4_node_143 | 0.4 | n |  | TRUE
16 | bus_LV_5613-9_1_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_5613-9_1_4_node_139 | 0.4 | n |  | TRUE
18 | bus_LV_5613-9_1_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_5613-9_1_4_node_148 | 0.4 | n |  | TRUE
20 | bus_LV_5613-9_1_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_5613-9_1_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_5613-9_1_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_5613-9_1_4_node_146 | 0.4 | n |  | TRUE
24 | bus_LV_5613-9_1_4_node_108 | 0.4 | n |  | TRUE
25 | bus_LV_5613-9_1_4_node_109 | 0.4 | n |  | TRUE
26 | bus_LV_5613-9_1_4_node_110 | 0.4 | n |  | TRUE
27 | bus_LV_5613-9_1_4_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_5613-9_1_4_node_112 | 0.4 | n |  | TRUE
29 | bus_LV_5613-9_1_4_node_116 | 0.4 | n |  | TRUE
30 | bus_LV_5613-9_1_4_node_117 | 0.4 | n |  | TRUE
31 | bus_LV_5613-9_1_4_node_118 | 0.4 | n |  | TRUE
32 | bus_LV_5613-9_1_4_node_119 | 0.4 | n |  | TRUE
33 | bus_LV_5613-9_1_4_node_120 | 0.4 | n |  | TRUE
34 | bus_LV_5613-9_1_4_node_121 | 0.4 | n |  | TRUE
35 | bus_LV_5613-9_1_4_node_122 | 0.4 | n |  | TRUE
36 | bus_LV_5613-9_1_4_node_126 | 0.4 | n |  | TRUE
37 | bus_LV_5613-9_1_4_node_167 | 0.4 | n |  | TRUE
38 | bus_LV_5613-9_1_4_node_132 | 0.4 | n |  | TRUE
39 | bus_LV_5613-9_1_4_node_123 | 0.4 | n |  | TRUE
40 | bus_LV_5613-9_1_4_node_124 | 0.4 | n |  | TRUE
41 | bus_LV_5613-9_1_4_node_125 | 0.4 | n |  | TRUE
42 | bus_LV_5613-9_1_4_node_142 | 0.4 | n |  | TRUE
43 | bus_LV_5613-9_1_4_node_127 | 0.4 | n |  | TRUE
44 | bus_LV_5613-9_1_4_node_128 | 0.4 | n |  | TRUE
45 | bus_LV_5613-9_1_4_node_129 | 0.4 | n |  | TRUE
46 | bus_LV_5613-9_1_4_node_131 | 0.4 | n |  | TRUE
47 | bus_LV_5613-9_1_4_node_137 | 0.4 | n |  | TRUE
48 | bus_LV_5613-9_1_4_node_134 | 0.4 | n |  | TRUE
49 | bus_LV_5613-9_1_4_node_135 | 0.4 | n |  | TRUE
50 | bus_LV_5613-9_1_4_node_136 | 0.4 | n |  | TRUE
51 | bus_LV_5613-9_1_4_node_138 | 0.4 | n |  | TRUE
52 | bus_LV_5613-9_1_4_node_141 | 0.4 | n |  | TRUE
53 | bus_LV_5613-9_1_4_node_145 | 0.4 | n |  | TRUE
54 | bus_LV_5613-9_1_4_node_147 | 0.4 | n |  | TRUE
55 | bus_LV_5613-9_1_4_node_153 | 0.4 | n |  | TRUE
56 | bus_LV_5613-9_1_4_node_154 | 0.4 | n |  | TRUE
57 | bus_LV_5613-9_1_4_node_150 | 0.4 | n |  | TRUE
58 | bus_LV_5613-9_1_4_node_223 | 0.4 | n |  | TRUE
59 | bus_LV_5613-9_1_4_node_152 | 0.4 | n |  | TRUE
60 | bus_LV_5613-9_1_4_node_166 | 0.4 | n |  | TRUE
61 | bus_LV_5613-9_1_4_node_165 | 0.4 | n |  | TRUE
62 | bus_LV_5613-9_1_4_node_155 | 0.4 | n |  | TRUE
63 | bus_LV_5613-9_1_4_node_156 | 0.4 | n |  | TRUE
64 | bus_LV_5613-9_1_4_node_157 | 0.4 | n |  | TRUE
65 | bus_LV_5613-9_1_4_node_158 | 0.4 | n |  | TRUE
66 | bus_LV_5613-9_1_4_node_159 | 0.4 | n |  | TRUE
67 | bus_LV_5613-9_1_4_node_169 | 0.4 | n |  | TRUE
68 | bus_LV_5613-9_1_4_node_168 | 0.4 | n |  | TRUE
69 | bus_LV_5613-9_1_4_node_160 | 0.4 | n |  | TRUE
70 | bus_LV_5613-9_1_4_node_161 | 0.4 | n |  | TRUE
71 | bus_LV_5613-9_1_4_node_163 | 0.4 | n |  | TRUE
72 | bus_LV_5613-9_1_4_node_170 | 0.4 | n |  | TRUE
73 | bus_LV_5613-9_1_4_node_171 | 0.4 | n |  | TRUE
74 | bus_LV_5613-9_1_4_node_186 | 0.4 | n |  | TRUE
75 | bus_LV_5613-9_1_4_node_206 | 0.4 | n |  | TRUE
76 | bus_LV_5613-9_1_4_node_172 | 0.4 | n |  | TRUE
77 | bus_LV_5613-9_1_4_node_199 | 0.4 | n |  | TRUE
78 | bus_LV_5613-9_1_4_node_207 | 0.4 | n |  | TRUE
79 | bus_LV_5613-9_1_4_node_173 | 0.4 | n |  | TRUE
80 | bus_LV_5613-9_1_4_node_205 | 0.4 | n |  | TRUE
81 | bus_LV_5613-9_1_4_node_174 | 0.4 | n |  | TRUE
82 | bus_LV_5613-9_1_4_node_187 | 0.4 | n |  | TRUE
83 | bus_LV_5613-9_1_4_node_189 | 0.4 | n |  | TRUE
84 | bus_LV_5613-9_1_4_node_193 | 0.4 | n |  | TRUE
85 | bus_LV_5613-9_1_4_node_190 | 0.4 | n |  | TRUE
86 | bus_LV_5613-9_1_4_node_191 | 0.4 | n |  | TRUE
87 | bus_LV_5613-9_1_4_node_192 | 0.4 | n |  | TRUE
88 | bus_LV_5613-9_1_4_node_196 | 0.4 | n |  | TRUE
89 | bus_LV_5613-9_1_4_node_198 | 0.4 | n |  | TRUE
90 | bus_LV_5613-9_1_4_node_200 | 0.4 | n |  | TRUE
91 | bus_MV_384_1_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5613-9_1_4_load_33 | 1 | 0.0032004 | 0.00080208 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5613-9_1_4_load_30 | 2 | 0.0032071 | 0.00080377 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5613-9_1_4_load_107 | 5 | 0.0024754 | 0.00062038 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5613-9_1_4_load_149 | 7 | 0.0012089 | 0.00030297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5613-9_1_4_load_144 | 10 | 0.0014498 | 0.00036336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5613-9_1_4_load_35 | 11 | 0.00069187 | 0.0001734 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5613-9_1_4_load_34 | 13 | 0.00078712 | 0.00019727 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5613-9_1_4_load_225 | 14 | 0.012715 | 0.0031866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5613-9_1_4_load_38 | 16 | 0.0013431 | 0.0003366 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5613-9_1_4_load_139 | 17 | 0.0020582 | 0.00051584 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5613-9_1_4_load_31 | 18 | 0.0044873 | 0.0011246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5613-9_1_4_load_148 | 19 | 0.00095453 | 0.00023923 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5613-9_1_4_load_47 | 20 | 0.0076332 | 0.0019131 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5613-9_1_4_load_48 | 21 | 0.00095293 | 0.00023883 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5613-9_1_4_load_49 | 22 | 0.00086416 | 0.00021658 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5613-9_1_4_load_108 | 24 | 0.01906 | 0.0047769 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5613-9_1_4_load_109 | 25 | 0.01642 | 0.0041152 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5613-9_1_4_load_111 | 27 | 0.017605 | 0.0044121 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5613-9_1_4_load_112 | 28 | 0.0029449 | 0.00073805 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5613-9_1_4_load_116 | 29 | 0.002702 | 0.00067718 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5613-9_1_4_load_120 | 33 | 0.0047683 | 0.001195 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5613-9_1_4_load_122 | 35 | 0.0021139 | 0.00052979 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5613-9_1_4_load_167 | 37 | 0.0027997 | 0.00070168 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5613-9_1_4_load_132 | 38 | 0.0020445 | 0.00051241 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5613-9_1_4_load_123 | 39 | 0.0018413 | 0.00046146 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5613-9_1_4_load_124 | 40 | 0.0031168 | 0.00078113 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5613-9_1_4_load_125 | 41 | 0.0028384 | 0.00071138 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5613-9_1_4_load_142 | 42 | 0.0025422 | 0.00063713 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5613-9_1_4_load_127 | 43 | 0.0028982 | 0.00072636 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5613-9_1_4_load_128 | 44 | 0.0026311 | 0.00065943 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5613-9_1_4_load_137 | 47 | 0.028983 | 0.0072638 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5613-9_1_4_load_134 | 48 | 0.0090912 | 0.0022785 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5613-9_1_4_load_138 | 51 | 0.018819 | 0.0047166 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5613-9_1_4_load_141 | 52 | 0.0019589 | 0.00049094 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5613-9_1_4_load_147 | 54 | 0.0043419 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5613-9_1_4_load_153 | 55 | 0.0030052 | 0.00075317 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5613-9_1_4_load_154 | 56 | 0.0033733 | 0.00084543 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5613-9_1_4_load_150 | 57 | 0.0039971 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5613-9_1_4_load_223 | 58 | 0.0012184 | 0.00030535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5613-9_1_4_load_152 | 59 | 0.0026041 | 0.00065265 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5613-9_1_4_load_165 | 61 | 0.0025355 | 0.00063545 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5613-9_1_4_load_155 | 62 | 0.0032315 | 0.00080989 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5613-9_1_4_load_156 | 63 | 0.004043 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5613-9_1_4_load_157 | 64 | 0.0049267 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5613-9_1_4_load_158 | 65 | 0.0047766 | 0.0011971 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5613-9_1_4_load_159 | 66 | 0.0033758 | 0.00084607 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5613-9_1_4_load_169 | 67 | 0.007665 | 0.001921 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5613-9_1_4_load_168 | 68 | 0.0044619 | 0.0011182 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5613-9_1_4_load_160 | 69 | 0.0013691 | 0.00034314 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5613-9_1_4_load_161 | 70 | 0.0035502 | 0.00088976 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5613-9_1_4_load_186 | 74 | 0.00090161 | 0.00022596 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5613-9_1_4_load_206 | 75 | 0.0071083 | 0.0017815 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5613-9_1_4_load_207 | 78 | 0.003041 | 0.00076214 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5613-9_1_4_load_205 | 80 | 0.0044188 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5613-9_1_4_load_187 | 82 | 0.0058875 | 0.0014755 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5613-9_1_4_load_190 | 85 | 0.00088274 | 0.00022123 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5613-9_1_4_load_196 | 88 | 0.00080397 | 0.00020149 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5613-9_1_4_load_198 | 89 | 0.0079577 | 0.0019944 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5613-9_1_4_load_200 | 90 | 0.0024813 | 0.00062188 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5613-9_1_4_line_0 |  | 0 | 1 | 0.02881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5613-9_1_4_line_1 |  | 0 | 2 | 0.083374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5613-9_1_4_line_2 |  | 1 | 19 | 0.039685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5613-9_1_4_line_3 |  | 2 | 18 | 0.022721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5613-9_1_4_line_4 |  | 3 | 4 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5613-9_1_4_line_5 |  | 3 | 5 | 0.058453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5613-9_1_4_line_6 |  | 4 | 17 | 0.11242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5613-9_1_4_line_7 |  | 6 | 7 | 0.0099417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5613-9_1_4_line_8 |  | 6 | 8 | 0.03509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5613-9_1_4_line_9 |  | 6 | 9 | 0.046882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5613-9_1_4_line_10 |  | 6 | 10 | 0.14591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5613-9_1_4_line_11 |  | 7 | 58 | 0.0024817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5613-9_1_4_line_12 |  | 8 | 14 | 0.01844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5613-9_1_4_line_13 |  | 8 | 15 | 0.036149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5613-9_1_4_line_14 |  | 9 | 11 | 0.032223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5613-9_1_4_line_15 |  | 9 | 12 | 0.14661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5613-9_1_4_line_16 |  | 9 | 13 | 0.021399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5613-9_1_4_line_17 |  | 10 | 53 | 0.087885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5613-9_1_4_line_18 |  | 12 | 16 | 0.15656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5613-9_1_4_line_19 |  | 15 | 27 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5613-9_1_4_line_20 |  | 15 | 52 | 0.051444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5613-9_1_4_line_21 |  | 17 | 50 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5613-9_1_4_line_22 |  | 19 | 53 | 0.053062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5613-9_1_4_line_23 |  | 20 | 21 | 0.12138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5613-9_1_4_line_24 |  | 21 | 22 | 0.037915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5613-9_1_4_line_25 |  | 22 | 23 | 0.046494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5613-9_1_4_line_26 |  | 23 | 55 | 0.031976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5613-9_1_4_line_27 |  | 23 | 56 | 0.057951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5613-9_1_4_line_28 |  | 23 | 57 | 0.10817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5613-9_1_4_line_29 |  | 23 | 53 | 0.016916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5613-9_1_4_line_30 |  | 24 | 25 | 0.01055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5613-9_1_4_line_31 |  | 24 | 26 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5613-9_1_4_line_32 |  | 26 | 27 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5613-9_1_4_line_33 |  | 26 | 28 | 0.028613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5613-9_1_4_line_34 |  | 29 | 30 | 0.0069006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5613-9_1_4_line_35 |  | 29 | 31 | 0.016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5613-9_1_4_line_36 |  | 30 | 32 | 0.00475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5613-9_1_4_line_37 |  | 30 | 33 | 0.027556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5613-9_1_4_line_38 |  | 31 | 34 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5613-9_1_4_line_39 |  | 31 | 35 | 0.058138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5613-9_1_4_line_40 |  | 32 | 36 | 0.023974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5613-9_1_4_line_41 |  | 32 | 37 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5613-9_1_4_line_42 |  | 34 | 38 | 0.0073622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5613-9_1_4_line_43 |  | 36 | 42 | 0.022133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5613-9_1_4_line_44 |  | 36 | 40 | 0.018563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5613-9_1_4_line_45 |  | 37 | 68 | 0.037919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5613-9_1_4_line_46 |  | 38 | 45 | 0.018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5613-9_1_4_line_47 |  | 39 | 40 | 0.0001117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5613-9_1_4_line_48 |  | 39 | 41 | 0.038037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5613-9_1_4_line_49 |  | 42 | 52 | 0.029357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5613-9_1_4_line_50 |  | 43 | 44 | 0.015453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5613-9_1_4_line_51 |  | 43 | 45 | 0.024277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5613-9_1_4_line_52 |  | 45 | 46 | 0.024835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5613-9_1_4_line_53 |  | 46 | 47 | 0.050702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5613-9_1_4_line_54 |  | 47 | 49 | 0.030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5613-9_1_4_line_55 |  | 48 | 49 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5613-9_1_4_line_56 |  | 48 | 50 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5613-9_1_4_line_57 |  | 50 | 51 | 0.003295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5613-9_1_4_line_58 |  | 53 | 54 | 0.10327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5613-9_1_4_line_59 |  | 56 | 61 | 0.076925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5613-9_1_4_line_60 |  | 59 | 60 | 0.049063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5613-9_1_4_line_61 |  | 60 | 61 | 0.0357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5613-9_1_4_line_62 |  | 60 | 71 | 0.006258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5613-9_1_4_line_63 |  | 62 | 63 | 0.026554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5613-9_1_4_line_64 |  | 62 | 64 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5613-9_1_4_line_65 |  | 63 | 65 | 0.01766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5613-9_1_4_line_66 |  | 64 | 66 | 0.010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5613-9_1_4_line_67 |  | 65 | 67 | 0.048181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5613-9_1_4_line_68 |  | 66 | 68 | 0.022144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5613-9_1_4_line_69 |  | 69 | 70 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5613-9_1_4_line_70 |  | 70 | 71 | 0.012726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5613-9_1_4_line_71 |  | 71 | 72 | 0.09734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5613-9_1_4_line_72 |  | 72 | 73 | 0.010311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5613-9_1_4_line_73 |  | 72 | 74 | 0.030599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5613-9_1_4_line_74 |  | 73 | 75 | 0.0064468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5613-9_1_4_line_75 |  | 74 | 82 | 0.023418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5613-9_1_4_line_76 |  | 75 | 81 | 0.0079898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5613-9_1_4_line_77 |  | 76 | 77 | 0.004923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5613-9_1_4_line_78 |  | 76 | 78 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5613-9_1_4_line_79 |  | 77 | 90 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5613-9_1_4_line_80 |  | 77 | 89 | 0.0078853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5613-9_1_4_line_81 |  | 78 | 79 | 0.0089909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5613-9_1_4_line_82 |  | 79 | 80 | 0.017423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5613-9_1_4_line_83 |  | 80 | 81 | 0.021834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5613-9_1_4_line_84 |  | 83 | 84 | 0.09526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5613-9_1_4_line_85 |  | 83 | 85 | 0.019713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5613-9_1_4_line_86 |  | 84 | 89 | 0.0023865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5613-9_1_4_line_87 |  | 85 | 86 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5613-9_1_4_line_88 |  | 86 | 87 | 0.029206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5613-9_1_4_line_89 |  | 87 | 88 | 0.0021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5613-9_1_4_trafo_157 | 0.63 MVA 20/0.4 kV | 91 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2545582.0071 | 1149243.6181 | 2545571.5306 | 1149236.4202 | 2545555.8581 | 1149240.1029
1 | 2545582.0071 | 1149243.6181 | 2545592.221 | 1149250.6405 | 2545604.8845 | 1149256.0177 | 2545629.7727 | 1149262.396 | 2545633.6179 | 1149263.0839 | 2545655.8429 | 1149267.0407 | 2545660.1437 | 1149264.3988
2 | 2545555.8581 | 1149240.1029 | 2545550.5683 | 1149241.3459 | 2545539.7206 | 1149254.1953 | 2545523.7636 | 1149247.1695
3 | 2545681.4435 | 1149265.5558 | 2545672.2465 | 1149261.4895 | 2545662.9516 | 1149262.6741 | 2545660.1437 | 1149264.3988
4 | 2545324.0342 | 1148892.3385 | 2545328.4852 | 1148892.9095 | 2545332.4554 | 1148894.641 | 2545334.4436 | 1148896.2793
5 | 2545334.4436 | 1148896.2793 | 2545332.411 | 1148899.0548 | 2545339.0123 | 1148905.5761 | 2545345.2918 | 1148915.5465 | 2545348.6716 | 1148927.5221 | 2545347.6882 | 1148940.1266 | 2545345.5416 | 1148942.1806 | 2545339.7062 | 1148941.3568
6 | 2545324.0342 | 1148892.3385 | 2545323.8787 | 1148909.8492 | 2545321.6996 | 1148919.3074 | 2545316.0078 | 1148916.5465 | 2545301.6012 | 1148953.4637 | 2545302.1773 | 1148957.7052 | 2545299.0695 | 1148967.194 | 2545299.3906 | 1148974.6395 | 2545294.8917 | 1148991.5783
7 | 2545511.9134 | 1149014.7317 | 2545502.7659 | 1149010.8379
8 | 2545499.0729 | 1148996.6718 | 2545509.9264 | 1148998.819 | 2545517.8129 | 1148999.7703 | 2545511.9134 | 1149014.7317
9 | 2545511.9134 | 1149014.7317 | 2545517.8129 | 1148999.7703 | 2545528.4015 | 1148975.2281 | 2545529.9337 | 1148971.4567
10 | 2545511.9134 | 1149014.7317 | 2545505.4584 | 1149031.0877 | 2545492.83 | 1149050.8237 | 2545490.1582 | 1149061.8537 | 2545475.1337 | 1149100.9884 | 2545476.0211 | 1149105.705 | 2545481.0877 | 1149112.3738 | 2545485.27 | 1149124.8202 | 2545487.3174 | 1149141.4549 | 2545484.9292 | 1149149.6794
11 | 2545500.4824 | 1149009.866 | 2545502.7659 | 1149010.8379
12 | 2545490.0233 | 1148980.9232 | 2545497.8681 | 1148991.6689 | 2545499.0729 | 1148996.6718
13 | 2545463.4062 | 1148994.8608 | 2545479.2642 | 1148992.5825 | 2545495.9483 | 1148995.8774 | 2545499.0729 | 1148996.6718
14 | 2545529.9337 | 1148971.4567 | 2545523.7295 | 1148966.3546 | 2545517.1494 | 1148961.3004 | 2545507.1044 | 1148955.1771 | 2545503.3747 | 1148953.4049
15 | 2545529.9337 | 1148971.4567 | 2545537.5324 | 1148980.4593 | 2545542.8161 | 1148987.3595 | 2545554.0302 | 1149005.5787 | 2545565.1169 | 1149025.8447 | 2545593.982 | 1149078.7337 | 2545604.9361 | 1149097.111
16 | 2545529.9337 | 1148971.4567 | 2545532.9375 | 1148966.538 | 2545537.0034 | 1148955.9733 | 2545538.4151 | 1148951.8947
17 | 2545474.3675 | 1149236.6004 | 2545477.618 | 1149184.41 | 2545479.9314 | 1149166.8908 | 2545484.9292 | 1149149.6794
18 | 2545604.9361 | 1149097.111 | 2545611.4098 | 1149106.5574 | 2545617.7025 | 1149113.8266 | 2545623.2023 | 1149119.1686 | 2545631.0172 | 1149125.8015 | 2545638.3823 | 1149131.0932 | 2545648.6101 | 1149136.248 | 2545663.3487 | 1149141.8289 | 2545679.843 | 1149146.2711 | 2545694.7266 | 1149150.0498 | 2545707.3469 | 1149154.0269 | 2545716.4105 | 1149158.6697 | 2545724.5139 | 1149163.2546 | 2545734.4139 | 1149170.3912 | 2545737.2552 | 1149173.097
19 | 2545463.4062 | 1148994.8608 | 2545455.5352 | 1148983.7818 | 2545445.7578 | 1148978.5407
20 | 2545463.4062 | 1148994.8608 | 2545455.8766 | 1148997.7083 | 2545447.5031 | 1149004.021 | 2545431.9702 | 1149018.425 | 2545423.5342 | 1149026.5661
21 | 2545281.9312 | 1148984.8815 | 2545294.8917 | 1148991.5783
22 | 2545474.3675 | 1149236.6004 | 2545479.468 | 1149234.3196 | 2545495.9669 | 1149235.0482 | 2545511.9156 | 1149238.6056 | 2545523.7636 | 1149247.1695
23 | 2545554.4999 | 1149277.8518 | 2545560.3628 | 1149280.0555 | 2545585.9195 | 1149289.0401 | 2545606.0692 | 1149292.7598 | 2545630.4836 | 1149292.6056 | 2545660.0046 | 1149285.7574 | 2545672.7848 | 1149284.836
24 | 2545554.4999 | 1149277.8518 | 2545519.0085 | 1149264.5138
25 | 2545474.2138 | 1149253.5107 | 2545495.979 | 1149255.8591 | 2545519.0085 | 1149264.5138
26 | 2545494.8739 | 1149275.3906 | 2545495.6778 | 1149271.748 | 2545493.5421 | 1149269.0771 | 2545477.6244 | 1149257.0706 | 2545474.2138 | 1149253.5107
27 | 2545474.2138 | 1149253.5107 | 2545473.884 | 1149259.4724 | 2545468.8159 | 1149273.7926 | 2545459.9209 | 1149294.5176 | 2545456.8423 | 1149308.4168
28 | 2545474.2138 | 1149253.5107 | 2545460.0056 | 1149257.3082 | 2545447.0054 | 1149265.6083 | 2545437.8121 | 1149275.4525 | 2545426.247 | 1149300.5818 | 2545409.758 | 1149333.6042
29 | 2545474.3675 | 1149236.6004 | 2545474.3336 | 1149244.7161 | 2545474.2138 | 1149253.5107
30 | 2545424.3181 | 1148980.835 | 2545424.2222 | 1148981.1423 | 2545425.6197 | 1148991.274
31 | 2545430.5504 | 1148968.6004 | 2545427.3111 | 1148971.2423 | 2545424.3181 | 1148980.835
32 | 2545430.5504 | 1148968.6004 | 2545438.5064 | 1148974.6537 | 2545445.7578 | 1148978.5407
33 | 2545406.6826 | 1148956.3661 | 2545424.9857 | 1148960.3688 | 2545430.5504 | 1148968.6004
34 | 2545354.0776 | 1149065.2459 | 2545347.6217 | 1149067.6828
35 | 2545332.4521 | 1149074.9698 | 2545346.0201 | 1149068.2874 | 2545347.6217 | 1149067.6828
36 | 2545358.531 | 1149063.5601 | 2545354.0776 | 1149065.2459
37 | 2545362.0493 | 1149091.6208 | 2545355.1502 | 1149068.3711 | 2545354.0776 | 1149065.2459
38 | 2545318.7865 | 1149081.8977 | 2545327.1777 | 1149077.5635 | 2545332.4521 | 1149074.9698
39 | 2545336.3782 | 1149130.1299 | 2545341.6999 | 1149124.3118 | 2545336.2545 | 1149089.5096 | 2545333.4043 | 1149078.3629 | 2545332.4521 | 1149074.9698
40 | 2545358.531 | 1149063.5601 | 2545380.8708 | 1149054.6969
41 | 2545358.531 | 1149063.5601 | 2545359.4639 | 1149067.3647 | 2545362.5305 | 1149078.2493
42 | 2545318.7865 | 1149081.8977 | 2545315.3934 | 1149083.6517 | 2545312.0716 | 1149084.8829
43 | 2545380.8708 | 1149054.6969 | 2545385.6371 | 1149052.7971 | 2545400.7044 | 1149044.921
44 | 2545380.8708 | 1149054.6969 | 2545378.2345 | 1149047.6394 | 2545374.5719 | 1149037.2358
45 | 2545362.5305 | 1149078.2493 | 2545364.0657 | 1149083.6982 | 2545373.0995 | 1149114.6659
46 | 2545294.0807 | 1149088.926 | 2545295.7537 | 1149088.833 | 2545305.0933 | 1149087.4696 | 2545312.0716 | 1149084.8829
47 | 2545374.5348 | 1149037.1305 | 2545374.5719 | 1149037.2358
48 | 2545361.9036 | 1149001.252 | 2545374.5348 | 1149037.1305
49 | 2545423.5342 | 1149026.5661 | 2545417.3408 | 1149032.543 | 2545401.6316 | 1149044.4363 | 2545400.7044 | 1149044.921
50 | 2545294.2571 | 1149113.2007 | 2545294.2753 | 1149121.2858 | 2545294.5576 | 1149128.6485
51 | 2545294.0807 | 1149088.926 | 2545294.2119 | 1149093.216 | 2545294.2571 | 1149113.2007
52 | 2545269.3081 | 1149091.1526 | 2545276.8594 | 1149089.861 | 2545294.0807 | 1149088.926
53 | 2545269.3081 | 1149091.1526 | 2545269.2814 | 1149083.1597 | 2545273.1326 | 1149040.6244
54 | 2545274.1963 | 1149009.8762 | 2545273.1326 | 1149040.6244
55 | 2545274.1963 | 1149009.8762 | 2545275.5676 | 1149002.7822 | 2545277.3418 | 1148997.7914
56 | 2545281.9312 | 1148984.8815 | 2545277.3418 | 1148997.7914
57 | 2545281.9312 | 1148984.8815 | 2545283.0162 | 1148981.77
58 | 2545474.3675 | 1149236.6004 | 2545472.2668 | 1149237.7867 | 2545463.521 | 1149236.8767 | 2545443.0994 | 1149239.6078 | 2545426.3281 | 1149248.6313 | 2545393.8819 | 1149276.6184 | 2545386.4426 | 1149282.6346
59 | 2545456.8423 | 1149308.4168 | 2545456.4543 | 1149310.1684 | 2545457.9635 | 1149319.9488 | 2545465.1722 | 1149347.787 | 2545475.577 | 1149364.8684 | 2545478.9531 | 1149377.3221 | 2545478.4451 | 1149380.8604
60 | 2545473.8794 | 1149415.555 | 2545467.1581 | 1149410.1242 | 2545457.893 | 1149406.1061 | 2545447.8379 | 1149407.2535 | 2545438.0228 | 1149412.8566 | 2545432.6871 | 1149419.9812
61 | 2545473.8794 | 1149415.555 | 2545476.8225 | 1149410.7592 | 2545476.1944 | 1149396.5351 | 2545478.4451 | 1149380.8604
62 | 2545473.8794 | 1149415.555 | 2545477.8085 | 1149420.4331
63 | 2545379.7177 | 1149160.3297 | 2545381.018 | 1149164.6982 | 2545386.8264 | 1149185.9133
64 | 2545379.7177 | 1149160.3297 | 2545375.8121 | 1149147.2077
65 | 2545394.6436 | 1149201.7265 | 2545387.0933 | 1149186.8882 | 2545386.8264 | 1149185.9133
66 | 2545373.6999 | 1149136.7493 | 2545375.4741 | 1149146.0721 | 2545375.8121 | 1149147.2077
67 | 2545409.1723 | 1149244.0402 | 2545412.5269 | 1149240.5857 | 2545412.6261 | 1149235.4487 | 2545404.9877 | 1149222.0554 | 2545394.6436 | 1149201.7265
68 | 2545373.6999 | 1149136.7493 | 2545373.4825 | 1149135.6068 | 2545373.3777 | 1149115.6194 | 2545373.0995 | 1149114.6659
69 | 2545506.7226 | 1149422.4846 | 2545490.4566 | 1149419.8469
70 | 2545477.8085 | 1149420.4331 | 2545480.8833 | 1149419.9939 | 2545488.2109 | 1149419.4828 | 2545490.4566 | 1149419.8469
71 | 2545429.5943 | 1149499.301 | 2545437.9242 | 1149486.5743 | 2545459.3492 | 1149463.3565 | 2545476.4102 | 1149444.8698 | 2545479.8433 | 1149436.5343 | 2545479.7286 | 1149427.2749 | 2545477.8085 | 1149420.4331
72 | 2545439.3079 | 1149502.837 | 2545433.0759 | 1149500.5479 | 2545429.5943 | 1149499.301
73 | 2545429.5943 | 1149499.301 | 2545424.1798 | 1149499.1056 | 2545413.6575 | 1149521.9829
74 | 2545439.3079 | 1149502.837 | 2545441.488 | 1149503.6398 | 2545445.4749 | 1149504.6927
75 | 2545413.6575 | 1149521.9829 | 2545403.8719 | 1149543.2583
76 | 2545452.8927 | 1149507.4051 | 2545451.0927 | 1149506.1763 | 2545445.4749 | 1149504.6927
77 | 2545512.6338 | 1149527.8966 | 2545509.4367 | 1149524.1458
78 | 2545509.4367 | 1149524.1458 | 2545503.2095 | 1149520.6893 | 2545498.5797 | 1149519.6093
79 | 2545512.6338 | 1149527.8966 | 2545508.9449 | 1149527.4853 | 2545498.5091 | 1149527.2798
80 | 2545512.6338 | 1149527.8966 | 2545517.7451 | 1149533.9009
81 | 2545489.7423 | 1149518.0766 | 2545493.3921 | 1149518.3992 | 2545498.5797 | 1149519.6093
82 | 2545489.7423 | 1149518.0766 | 2545472.9301 | 1149516.5838 | 2545472.3927 | 1149516.4939
83 | 2545452.8927 | 1149507.4051 | 2545461.2437 | 1149513.0768 | 2545467.3785 | 1149515.6558 | 2545472.3927 | 1149516.4939
84 | 2545519.2921 | 1149535.7182 | 2545508.5558 | 1149539.6175 | 2545496.325 | 1149554.8142 | 2545496.4433 | 1149563.6289 | 2545497.7127 | 1149578.314 | 2545493.9151 | 1149608.2532 | 2545492.3931 | 1149615.6598 | 2545491.4445 | 1149618.581
85 | 2545491.4445 | 1149618.581 | 2545494.643 | 1149624.1772 | 2545499.2778 | 1149636.6084
86 | 2545519.2921 | 1149535.7182 | 2545517.7451 | 1149533.9009
87 | 2545498.1849 | 1149663.4103 | 2545500.5057 | 1149653.4951 | 2545499.2778 | 1149636.6084
88 | 2545490.9473 | 1149691.5908 | 2545493.6765 | 1149675.9133 | 2545495.9832 | 1149669.5224 | 2545498.1849 | 1149663.4103
89 | 2545490.9473 | 1149691.5908 | 2545491.1122 | 1149693.6858

## bus_geodata
| x | y | coords
0 | 2545582.0071 | 1149243.6181
1 | 2545555.8581 | 1149240.1029
2 | 2545660.1437 | 1149264.3988
3 | 2545334.4436 | 1148896.2793
4 | 2545324.0342 | 1148892.3385
5 | 2545339.7062 | 1148941.3568
6 | 2545511.9134 | 1149014.7317
7 | 2545502.7659 | 1149010.8379
8 | 2545499.0729 | 1148996.6718
9 | 2545529.9337 | 1148971.4567
10 | 2545484.9292 | 1149149.6794
11 | 2545503.3747 | 1148953.4049
12 | 2545604.9361 | 1149097.111
13 | 2545538.4151 | 1148951.8947
14 | 2545490.0233 | 1148980.9232
15 | 2545463.4062 | 1148994.8608
16 | 2545737.2552 | 1149173.097
17 | 2545294.8917 | 1148991.5783
18 | 2545681.4435 | 1149265.5558
19 | 2545523.7636 | 1149247.1695
20 | 2545672.7848 | 1149284.836
21 | 2545554.4999 | 1149277.8518
22 | 2545519.0085 | 1149264.5138
23 | 2545474.2138 | 1149253.5107
24 | 2545424.3181 | 1148980.835
25 | 2545425.6197 | 1148991.274
26 | 2545430.5504 | 1148968.6004
27 | 2545445.7578 | 1148978.5408
28 | 2545406.6826 | 1148956.3661
29 | 2545347.6217 | 1149067.6828
30 | 2545354.0776 | 1149065.2459
31 | 2545332.4521 | 1149074.9698
32 | 2545358.531 | 1149063.5601
33 | 2545362.0493 | 1149091.6208
34 | 2545318.7865 | 1149081.8977
35 | 2545336.3782 | 1149130.1299
36 | 2545380.8708 | 1149054.6969
37 | 2545362.5305 | 1149078.2493
38 | 2545312.0716 | 1149084.8829
39 | 2545374.5348 | 1149037.1305
40 | 2545374.5719 | 1149037.2358
41 | 2545361.9036 | 1149001.252
42 | 2545400.7044 | 1149044.921
43 | 2545294.2571 | 1149113.2007
44 | 2545294.5576 | 1149128.6485
45 | 2545294.0807 | 1149088.926
46 | 2545269.3081 | 1149091.1526
47 | 2545273.1326 | 1149040.6244
48 | 2545277.3418 | 1148997.7914
49 | 2545274.1963 | 1149009.8762
50 | 2545281.9312 | 1148984.8815
51 | 2545283.0162 | 1148981.77
52 | 2545423.5342 | 1149026.5661
53 | 2545474.3675 | 1149236.6004
54 | 2545386.4426 | 1149282.6346
55 | 2545494.8739 | 1149275.3906
56 | 2545456.8423 | 1149308.4168
57 | 2545409.758 | 1149333.6042
58 | 2545500.4824 | 1149009.866
59 | 2545432.6871 | 1149419.9812
60 | 2545473.8794 | 1149415.555
61 | 2545478.4451 | 1149380.8604
62 | 2545379.7177 | 1149160.3297
63 | 2545386.8264 | 1149185.9133
64 | 2545375.8121 | 1149147.2077
65 | 2545394.6436 | 1149201.7265
66 | 2545373.6999 | 1149136.7493
67 | 2545409.1723 | 1149244.0402
68 | 2545373.0995 | 1149114.6659
69 | 2545506.7226 | 1149422.4846
70 | 2545490.4566 | 1149419.8469
71 | 2545477.8085 | 1149420.4331
72 | 2545429.5943 | 1149499.301
73 | 2545439.3079 | 1149502.837
74 | 2545413.6575 | 1149521.9829
75 | 2545445.4749 | 1149504.6927
76 | 2545509.4367 | 1149524.1458
77 | 2545512.6338 | 1149527.8966
78 | 2545498.5797 | 1149519.6093
79 | 2545489.7423 | 1149518.0766
80 | 2545472.3927 | 1149516.4939
81 | 2545452.8927 | 1149507.4051
82 | 2545403.8719 | 1149543.2583
83 | 2545491.4445 | 1149618.581
84 | 2545519.2921 | 1149535.7182
85 | 2545499.2778 | 1149636.6084
86 | 2545498.1849 | 1149663.4103
87 | 2545490.9473 | 1149691.5908
88 | 2545491.1122 | 1149693.6858
89 | 2545517.7451 | 1149533.9009
90 | 2545498.5091 | 1149527.2798
91 | 2545358.531 | 1149063.5601

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1