## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5634-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5634-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5634-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5634-6_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5634-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5634-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5634-6_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5634-6_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5634-6_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5634-6_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_5634-6_0_4_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_5634-6_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5634-6_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5634-6_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5634-6_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5634-6_0_4_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_5634-6_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5634-6_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5634-6_0_4_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_5634-6_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5634-6_0_4_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_5634-6_0_4_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_5634-6_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5634-6_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5634-6_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_5634-6_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5634-6_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_5634-6_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5634-6_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5634-6_0_4_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_5634-6_0_4_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_5634-6_0_4_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_5634-6_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5634-6_0_4_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_5634-6_0_4_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_5634-6_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5634-6_0_4_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5634-6_0_4_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_5634-6_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_5634-6_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_5634-6_0_4_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_5634-6_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5634-6_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5634-6_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5634-6_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5634-6_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5634-6_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_5634-6_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5634-6_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5634-6_0_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5634-6_0_4_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_5634-6_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5634-6_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5634-6_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5634-6_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_5634-6_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5634-6_0_4_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_5634-6_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5634-6_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5634-6_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_5634-6_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_5634-6_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_5634-6_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_5634-6_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_5634-6_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5634-6_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_5634-6_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5634-6_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5634-6_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5634-6_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_5634-6_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5634-6_0_4_node_88 | 0.4 | n |  | TRUE
72 | bus_LV_5634-6_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5634-6_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5634-6_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5634-6_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_5634-6_0_4_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_5634-6_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5634-6_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5634-6_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_5634-6_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_5634-6_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_5634-6_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5634-6_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5634-6_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5634-6_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_5634-6_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_5634-6_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_5634-6_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_5634-6_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_MV_312_2_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5634-6_0_4_load_0 | 0 | 0.0011252 | 0.00028201 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5634-6_0_4_load_3 | 2 | 0.0013442 | 0.00033689 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5634-6_0_4_load_89 | 10 | 0.0042533 | 0.001066 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5634-6_0_4_load_6 | 11 | 0.0013374 | 0.00033518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5634-6_0_4_load_7 | 12 | 0.0020595 | 0.00051617 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5634-6_0_4_load_82 | 15 | 0.0014466 | 0.00036255 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5634-6_0_4_load_21 | 16 | 0.011395 | 0.0028558 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5634-6_0_4_load_90 | 18 | 0.001495 | 0.00037468 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5634-6_0_4_load_91 | 21 | 0.0092584 | 0.0023204 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5634-6_0_4_load_32 | 23 | 0.041646 | 0.010437 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5634-6_0_4_load_29 | 24 | 0.0045845 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5634-6_0_4_load_54 | 26 | 0.0024467 | 0.0006132 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5634-6_0_4_load_23 | 27 | 0.00067777 | 0.00016987 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5634-6_0_4_load_64 | 30 | 0.0012225 | 0.00030639 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5634-6_0_4_load_83 | 31 | 0.00066823 | 0.00016747 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5634-6_0_4_load_22 | 32 | 0.0007566 | 0.00018962 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5634-6_0_4_load_80 | 34 | 0.0074232 | 0.0018604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5634-6_0_4_load_30 | 35 | 0.0072059 | 0.001806 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5634-6_0_4_load_53 | 36 | 0.0044368 | 0.001112 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5634-6_0_4_load_58 | 37 | 0.0064407 | 0.0016142 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5634-6_0_4_load_60 | 39 | 0.0045891 | 0.0011501 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5634-6_0_4_load_59 | 40 | 0.0064436 | 0.0016149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5634-6_0_4_load_24 | 41 | 0.0037931 | 0.00095063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5634-6_0_4_load_25 | 42 | 0.0047515 | 0.0011908 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5634-6_0_4_load_26 | 43 | 0.0022535 | 0.00056477 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5634-6_0_4_load_42 | 45 | 0.0013736 | 0.00034426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5634-6_0_4_load_43 | 46 | 0.0068289 | 0.0017115 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5634-6_0_4_load_28 | 47 | 0.012362 | 0.0030982 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5634-6_0_4_load_48 | 49 | 0.0033861 | 0.00084863 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5634-6_0_4_load_65 | 50 | 0.003615 | 0.00090602 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5634-6_0_4_load_47 | 51 | 0.0062617 | 0.0015693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5634-6_0_4_load_44 | 52 | 0.0023872 | 0.0005983 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5634-6_0_4_load_31 | 53 | 0.0022016 | 0.00055176 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5634-6_0_4_load_33 | 54 | 0.0014104 | 0.00035348 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5634-6_0_4_load_67 | 56 | 0.0033626 | 0.00084274 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5634-6_0_4_load_40 | 57 | 0.01489 | 0.0037317 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5634-6_0_4_load_39 | 58 | 0.0076069 | 0.0019065 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5634-6_0_4_load_35 | 59 | 0.0053323 | 0.0013364 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5634-6_0_4_load_36 | 60 | 0.0053731 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5634-6_0_4_load_37 | 61 | 0.011337 | 0.0028413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5634-6_0_4_load_41 | 63 | 0.0043443 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5634-6_0_4_load_66 | 64 | 0.0016498 | 0.00041347 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5634-6_0_4_load_49 | 65 | 0.0099393 | 0.002491 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5634-6_0_4_load_45 | 66 | 0.0005674 | 0.0001422 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5634-6_0_4_load_61 | 70 | 0.0038437 | 0.00096333 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5634-6_0_4_load_88 | 71 | 0.0084078 | 0.0021072 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5634-6_0_4_load_56 | 73 | 0.0029535 | 0.00074022 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5634-6_0_4_load_79 | 75 | 0.0015486 | 0.00038812 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5634-6_0_4_load_78 | 76 | 0.0033581 | 0.00084162 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5634-6_0_4_load_73 | 77 | 0.0059528 | 0.0014919 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5634-6_0_4_load_68 | 79 | 0.0037084 | 0.00092942 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5634-6_0_4_load_69 | 80 | 0.0021617 | 0.00054178 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5634-6_0_4_load_71 | 81 | 0.0019089 | 0.00047842 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5634-6_0_4_load_74 | 82 | 0.0028966 | 0.00072596 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5634-6_0_4_load_75 | 83 | 0.0031797 | 0.0007969 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5634-6_0_4_load_76 | 84 | 0.0025889 | 0.00064883 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5634-6_0_4_load_77 | 85 | 0.0058571 | 0.0014679 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5634-6_0_4_load_84 | 86 | 0.00048002 | 0.0001203 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5634-6_0_4_load_85 | 87 | 0.00031168 | 7.8114e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5634-6_0_4_load_86 | 88 | 0.00023631 | 5.9226e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5634-6_0_4_load_87 | 89 | 0.00032775 | 8.2143e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5634-6_0_4_line_0 |  | 0 | 1 | 0.011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5634-6_0_4_line_1 |  | 1 | 2 | 0.020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5634-6_0_4_line_2 |  | 2 | 5 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5634-6_0_4_line_3 |  | 2 | 6 | 0.044146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5634-6_0_4_line_4 |  | 3 | 4 | 0.025747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5634-6_0_4_line_5 |  | 3 | 5 | 0.02148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5634-6_0_4_line_6 |  | 4 | 7 | 0.50536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5634-6_0_4_line_7 |  | 5 | 8 | 0.027756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5634-6_0_4_line_8 |  | 6 | 9 | 0.12989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5634-6_0_4_line_9 |  | 7 | 10 | 0.033571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5634-6_0_4_line_10 |  | 8 | 12 | 0.018066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5634-6_0_4_line_11 |  | 9 | 27 | 0.033801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5634-6_0_4_line_12 |  | 9 | 13 | 0.77753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5634-6_0_4_line_13 |  | 9 | 25 | 0.14443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5634-6_0_4_line_14 |  | 11 | 12 | 0.0045688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5634-6_0_4_line_15 |  | 13 | 14 | 0.59014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5634-6_0_4_line_16 |  | 13 | 15 | 0.040119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5634-6_0_4_line_17 |  | 14 | 16 | 0.2575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5634-6_0_4_line_18 |  | 15 | 31 | 0.033668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5634-6_0_4_line_19 |  | 16 | 32 | 0.034494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5634-6_0_4_line_20 |  | 17 | 18 | 0.04804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5634-6_0_4_line_21 |  | 17 | 19 | 0.6836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5634-6_0_4_line_22 |  | 17 | 20 | 0.36669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5634-6_0_4_line_23 |  | 19 | 21 | 0.068788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5634-6_0_4_line_24 |  | 20 | 33 | 0.051516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5634-6_0_4_line_25 |  | 20 | 34 | 0.051917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5634-6_0_4_line_26 |  | 22 | 23 | 0.081483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5634-6_0_4_line_27 |  | 22 | 24 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5634-6_0_4_line_28 |  | 24 | 35 | 0.036025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5634-6_0_4_line_29 |  | 25 | 26 | 0.14214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5634-6_0_4_line_30 |  | 26 | 36 | 0.0094547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5634-6_0_4_line_31 |  | 28 | 29 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5634-6_0_4_line_32 |  | 28 | 30 | 0.033695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5634-6_0_4_line_33 |  | 29 | 39 | 0.0041842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5634-6_0_4_line_34 |  | 30 | 40 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5634-6_0_4_line_35 |  | 31 | 86 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5634-6_0_4_line_36 |  | 33 | 78 | 0.069808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5634-6_0_4_line_37 |  | 33 | 56 | 0.013415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5634-6_0_4_line_38 |  | 35 | 53 | 0.016945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5634-6_0_4_line_39 |  | 36 | 72 | 0.0059492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5634-6_0_4_line_40 |  | 37 | 38 | 0.0086401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5634-6_0_4_line_41 |  | 38 | 40 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5634-6_0_4_line_42 |  | 38 | 73 | 0.028464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5634-6_0_4_line_43 |  | 39 | 70 | 0.027833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5634-6_0_4_line_44 |  | 41 | 42 | 0.00084598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5634-6_0_4_line_45 |  | 41 | 43 | 0.026441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5634-6_0_4_line_46 |  | 42 | 44 | 0.01172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5634-6_0_4_line_47 |  | 44 | 45 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5634-6_0_4_line_48 |  | 44 | 46 | 0.003888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5634-6_0_4_line_49 |  | 45 | 49 | 0.011405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5634-6_0_4_line_50 |  | 46 | 50 | 0.0027519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5634-6_0_4_line_51 |  | 47 | 48 | 0.018054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5634-6_0_4_line_52 |  | 48 | 51 | 0.034198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5634-6_0_4_line_53 |  | 48 | 52 | 0.054545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5634-6_0_4_line_54 |  | 49 | 65 | 0.0036041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5634-6_0_4_line_55 |  | 50 | 64 | 0.015079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5634-6_0_4_line_56 |  | 51 | 67 | 0.016353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5634-6_0_4_line_57 |  | 52 | 66 | 0.0017335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5634-6_0_4_line_58 |  | 53 | 54 | 0.0011332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5634-6_0_4_line_59 |  | 54 | 55 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5634-6_0_4_line_60 |  | 55 | 56 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5634-6_0_4_line_61 |  | 55 | 57 | 0.0097088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5634-6_0_4_line_62 |  | 57 | 58 | 0.0036808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5634-6_0_4_line_63 |  | 58 | 62 | 0.015691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5634-6_0_4_line_64 |  | 59 | 60 | 0.0034421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5634-6_0_4_line_65 |  | 59 | 61 | 0.011399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5634-6_0_4_line_66 |  | 60 | 62 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5634-6_0_4_line_67 |  | 62 | 63 | 0.003904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5634-6_0_4_line_68 |  | 63 | 64 | 0.0011237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5634-6_0_4_line_69 |  | 65 | 69 | 0.020994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5634-6_0_4_line_70 |  | 67 | 68 | 0.008072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5634-6_0_4_line_71 |  | 67 | 69 | 0.012326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5634-6_0_4_line_72 |  | 68 | 71 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5634-6_0_4_line_73 |  | 69 | 70 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5634-6_0_4_line_74 |  | 72 | 73 | 0.030067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5634-6_0_4_line_75 |  | 74 | 75 | 0.020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5634-6_0_4_line_76 |  | 74 | 76 | 0.031797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5634-6_0_4_line_77 |  | 75 | 77 | 0.014827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5634-6_0_4_line_78 |  | 77 | 78 | 0.0096982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5634-6_0_4_line_79 |  | 78 | 79 | 0.020869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5634-6_0_4_line_80 |  | 79 | 80 | 0.034264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5634-6_0_4_line_81 |  | 80 | 81 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5634-6_0_4_line_82 |  | 81 | 82 | 0.017844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5634-6_0_4_line_83 |  | 82 | 83 | 0.0061064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5634-6_0_4_line_84 |  | 83 | 84 | 0.017349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5634-6_0_4_line_85 |  | 84 | 85 | 0.0028222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5634-6_0_4_line_86 |  | 86 | 87 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5634-6_0_4_line_87 |  | 87 | 88 | 0.0085465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5634-6_0_4_line_88 |  | 88 | 89 | 0.00054346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5634-6_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 90 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2526245.8357 | 1156142.4124 | 2526252.8648 | 1156139.5912 | 2526256.818 | 1156141.576
1 | 2526230.4395 | 1156129.672 | 2526242.4761 | 1156136.1501 | 2526245.8357 | 1156142.4124
2 | 2526230.4395 | 1156129.672 | 2526242.7867 | 1156117.0911
3 | 2526230.4395 | 1156129.672 | 2526199.4811 | 1156161.2255
4 | 2526276.4712 | 1156083.9034 | 2526258.3658 | 1156102.2582
5 | 2526258.3658 | 1156102.2582 | 2526242.7867 | 1156117.0911
6 | 2526345.8861 | 1155760.1804 | 2526391.0156 | 1155728.1094 | 2526469.2566 | 1155821.8602 | 2526450.9301 | 1155851.0898 | 2526447.8168 | 1155856.1641 | 2526426.884 | 1155895.5093 | 2526405.7666 | 1155935.4237 | 2526389.1622 | 1155963.0427 | 2526373.0723 | 1155985.0744 | 2526356.2851 | 1156002.7679 | 2526315.3899 | 1156044.704 | 2526276.4712 | 1156083.9034
7 | 2526222.4874 | 1156098.5631 | 2526232.7608 | 1156110.7216 | 2526242.7867 | 1156117.0911
8 | 2526199.4811 | 1156161.2255 | 2526192.8001 | 1156168.0336 | 2526186.4827 | 1156174.4704 | 2526121.1806 | 1156240.966 | 2526116.4515 | 1156248.0726 | 2526110.0277 | 1156255.2
9 | 2526345.8861 | 1155760.1804 | 2526321.7358 | 1155783.5674
10 | 2526222.4874 | 1156098.5631 | 2526233.254 | 1156084.0561
11 | 2526110.0277 | 1156255.2 | 2526112.6704 | 1156259.2921 | 2526128.9202 | 1156283.2272
12 | 2525591.077 | 1155870.2846 | 2525626.0942 | 1155811.0843 | 2525645.0682 | 1155785.5239 | 2525657.3666 | 1155777.1003 | 2525706.5011 | 1155838.4498 | 2525778.4445 | 1155897.8724 | 2525813.9922 | 1155933.0423 | 2525895.7382 | 1156016.3032 | 2526014.5916 | 1156137.2073 | 2526046.0285 | 1156163.2685 | 2526069.4669 | 1156185.0703 | 2526105.1062 | 1156247.2894 | 2526105.8347 | 1156248.5256 | 2526107.4721 | 1156251.3293 | 2526110.0277 | 1156255.2
13 | 2526019.5967 | 1156362.351 | 2526025.8304 | 1156362.2298 | 2526029.9823 | 1156350.6165 | 2526036.5175 | 1156336.9839 | 2526043.8861 | 1156323.7635 | 2526059.2771 | 1156304.3187 | 2526097.4759 | 1156264.8154 | 2526103.9278 | 1156260.6003 | 2526110.0277 | 1156255.2
14 | 2526236.9105 | 1156081.3168 | 2526233.254 | 1156084.0561
15 | 2525074.6071 | 1155645.3509 | 2525127.2642 | 1155702.5828 | 2525131.3325 | 1155707.1347 | 2525292.5682 | 1155806.9517 | 2525311.2901 | 1155823.5284 | 2525318.906 | 1155832.739 | 2525339.8597 | 1155837.5926 | 2525360.5435 | 1155844.1839 | 2525401.6071 | 1155863.1626 | 2525446.9689 | 1155873.1276 | 2525539.0606 | 1155877.8664 | 2525591.077 | 1155870.2846
16 | 2525591.077 | 1155870.2846 | 2525588.8473 | 1155890.9017 | 2525588.9923 | 1155902.6065 | 2525591.0904 | 1155909.9906
17 | 2525074.6071 | 1155645.3509 | 2525136.458 | 1155585.4128 | 2525158.9028 | 1155562.7204 | 2525167.7747 | 1155552.6487 | 2525170.9165 | 1155544.3938 | 2525174.2804 | 1155533.6458 | 2525172.9588 | 1155527.9257 | 2525169.8796 | 1155521.4937 | 2525150.2288 | 1155508.0418 | 2525130.0795 | 1155494.5963 | 2525117.5333 | 1155490.5169 | 2525102.6795 | 1155480.9966 | 2525094.5851 | 1155469.4915
18 | 2525591.0904 | 1155909.9906 | 2525591.5987 | 1155911.7794 | 2525594.7052 | 1155920.457 | 2525610.8488 | 1155932.7086 | 2525612.9353 | 1155933.7342
19 | 2525094.5851 | 1155469.4915 | 2525091.7391 | 1155465.4463 | 2525074.7531 | 1155451.6502 | 2525079.4972 | 1155445.6299
20 | 2525454.1484 | 1156683.9209 | 2525444.7926 | 1156687.6613 | 2525432.3317 | 1156697.6438 | 2525431.1802 | 1156702.4942 | 2525430.6173 | 1156719.5442
21 | 2524826.4402 | 1157029.6592 | 2524848.4587 | 1157016.3318 | 2524914.1596 | 1156970.64 | 2525026.8681 | 1156904.4507 | 2525030.9322 | 1156902.5767 | 2525051.519 | 1156893.0589 | 2525135.3233 | 1156859.2173 | 2525310.7746 | 1156797.8992 | 2525377.0624 | 1156747.1246 | 2525430.6173 | 1156719.5442
22 | 2525430.6173 | 1156719.5442 | 2525453.463 | 1156707.7874 | 2525500.4613 | 1156679.5663 | 2525519.4675 | 1156666.7679 | 2525531.469 | 1156658.6813 | 2525542.5289 | 1156654.4418 | 2525553.6116 | 1156652.659 | 2525594.4018 | 1156657.4899 | 2525644.0951 | 1156655.4515 | 2525666.8501 | 1156661.1065 | 2525700.0083 | 1156683.8205 | 2525710.0141 | 1156687.3543 | 2525717.379 | 1156669.5865 | 2525729.1076 | 1156649.3412 | 2525740.5617 | 1156635.414
23 | 2524826.4402 | 1157029.6592 | 2524839.9504 | 1156969.456 | 2524838.6134 | 1156962.5021
24 | 2525773.3226 | 1156595.5866 | 2525740.5617 | 1156635.414
25 | 2525740.5617 | 1156635.414 | 2525704.4846 | 1156598.0807
26 | 2525725.6244 | 1156499.7661 | 2525660.6564 | 1156549.1863
27 | 2525725.6244 | 1156499.7661 | 2525726.596 | 1156500.8102 | 2525737.1774 | 1156515.1258
28 | 2525737.1774 | 1156515.1258 | 2525758.5906 | 1156544.0958
29 | 2526019.5967 | 1156362.351 | 2526016.2384 | 1156363.0483 | 2526010.4495 | 1156365.6655 | 2526005.251 | 1156372.6223 | 2525995.5713 | 1156388.7284 | 2525987.4371 | 1156400.8021 | 2525980.9461 | 1156408.6754 | 2525967.1966 | 1156423.1196 | 2525953.3315 | 1156438.1323 | 2525938.7464 | 1156451.3528 | 2525927.7106 | 1156461.3278 | 2525925.6663 | 1156466.0891
30 | 2525923.2623 | 1156475.0965 | 2525923.5357 | 1156471.0515 | 2525925.6663 | 1156466.0891
31 | 2525939.3134 | 1156571.9697 | 2525944.7705 | 1156572.3249 | 2525956.1015 | 1156568.8833
32 | 2525956.1015 | 1156568.8833 | 2525954.752 | 1156553.3578 | 2525952.9796 | 1156542.7181 | 2525954.2615 | 1156535.5061
33 | 2525939.3134 | 1156571.9697 | 2525935.7546 | 1156569.7692
34 | 2525954.2615 | 1156535.5061 | 2525954.5144 | 1156534.0832 | 2525960.5605 | 1156526.67
35 | 2525624.5323 | 1155939.4351 | 2525612.9353 | 1155933.7342
36 | 2525818.933 | 1156648.5312 | 2525773.3226 | 1156595.5866
37 | 2525773.3226 | 1156595.5866 | 2525782.0325 | 1156585.3831
38 | 2525771.0611 | 1156555.3397 | 2525761.7414 | 1156548.3585 | 2525758.5906 | 1156544.0958
39 | 2525922.8612 | 1156481.0321 | 2525923.2623 | 1156475.0965
40 | 2525968.768 | 1156517.009 | 2525976.8034 | 1156513.8335
41 | 2525968.768 | 1156517.009 | 2525960.5962 | 1156526.6262 | 2525960.5605 | 1156526.67
42 | 2525968.768 | 1156517.009 | 2525947.9597 | 1156497.5877
43 | 2525935.7546 | 1156569.7692 | 2525933.355 | 1156568.2855 | 2525914.4969 | 1156551.8555
44 | 2525838.6975 | 1156537.3897 | 2525839.0923 | 1156538.1379
45 | 2525826.356 | 1156514.0062 | 2525838.6975 | 1156537.3897
46 | 2525844.5627 | 1156548.5027 | 2525839.0923 | 1156538.1379
47 | 2525844.5627 | 1156548.5027 | 2525858.3627 | 1156544.9932
48 | 2525844.5627 | 1156548.5027 | 2525842.1926 | 1156549.0989 | 2525840.9074 | 1156549.7575
49 | 2525869.4156 | 1156542.1823 | 2525858.3627 | 1156544.9932
50 | 2525838.4585 | 1156551.0126 | 2525840.9074 | 1156549.7575
51 | 2525868.748 | 1156489.204 | 2525859.0665 | 1156490.8355 | 2525851.2406 | 1156493.4008
52 | 2525868.748 | 1156489.204 | 2525879.4044 | 1156506.2933 | 2525889.1338 | 1156516.4416
53 | 2525868.748 | 1156489.204 | 2525869.731 | 1156484.3447 | 2525831.8549 | 1156452.3395
54 | 2525869.4156 | 1156542.1823 | 2525872.9086 | 1156541.294
55 | 2525838.4585 | 1156551.0126 | 2525825.0387 | 1156557.8901
56 | 2525900.4512 | 1156528.2462 | 2525889.1338 | 1156516.4416
57 | 2525830.5308 | 1156451.2207 | 2525831.8549 | 1156452.3395
58 | 2525771.0611 | 1156555.3397 | 2525771.968 | 1156556.019
59 | 2525794.578 | 1156572.9557 | 2525771.968 | 1156556.019
60 | 2525794.578 | 1156572.9557 | 2525787.671 | 1156578.7777 | 2525782.0325 | 1156585.3831
61 | 2525794.578 | 1156572.9557 | 2525800.1346 | 1156568.9515 | 2525802.7625 | 1156567.8237
62 | 2525806.1449 | 1156566.372 | 2525802.7625 | 1156567.8237
63 | 2525820.5644 | 1156560.1832 | 2525806.1449 | 1156566.372
64 | 2525809.7844 | 1156539.2119 | 2525811.3581 | 1156542.2733
65 | 2525804.5733 | 1156529.0741 | 2525809.7844 | 1156539.2119
66 | 2525820.5644 | 1156560.1832 | 2525811.3581 | 1156542.2733
67 | 2525820.5644 | 1156560.1832 | 2525824.0387 | 1156558.4027
68 | 2525824.0387 | 1156558.4027 | 2525825.0387 | 1156557.8901
69 | 2525893.5988 | 1156538.5032 | 2525882.1923 | 1156538.933 | 2525872.9086 | 1156541.294
70 | 2525900.4512 | 1156528.2462 | 2525903.966 | 1156520.9766
71 | 2525900.4512 | 1156528.2462 | 2525893.5988 | 1156538.5032
72 | 2525903.966 | 1156520.9766 | 2525913.5345 | 1156520.7585 | 2525921.3469 | 1156520.5509 | 2525927.6017 | 1156519.0396 | 2525929.8996 | 1156517.566
73 | 2525893.5988 | 1156538.5032 | 2525904.2522 | 1156542.9299 | 2525914.4969 | 1156551.8555
74 | 2525922.8612 | 1156481.0321 | 2525947.9597 | 1156497.5877
75 | 2525846.495 | 1156683.8889 | 2525834.011 | 1156667.8739
76 | 2525846.495 | 1156683.8889 | 2525842.8877 | 1156689.2476 | 2525839.0127 | 1156703.9815 | 2525840.0316 | 1156714.0322
77 | 2525834.011 | 1156667.8739 | 2525824.8954 | 1156656.1801
78 | 2525818.933 | 1156648.5312 | 2525824.8954 | 1156656.1801
79 | 2525818.933 | 1156648.5312 | 2525803.5195 | 1156662.601
80 | 2525803.5195 | 1156662.601 | 2525784.4128 | 1156680.042 | 2525778.3074 | 1156685.8018
81 | 2525769.3991 | 1156694.2057 | 2525778.3074 | 1156685.8018
82 | 2525769.3991 | 1156694.2057 | 2525763.6116 | 1156699.6656 | 2525757.4082 | 1156707.3654
83 | 2525753.5772 | 1156712.1206 | 2525757.4082 | 1156707.3654
84 | 2525753.5772 | 1156712.1206 | 2525742.6927 | 1156725.6309
85 | 2525740.9221 | 1156727.8286 | 2525742.6927 | 1156725.6309
86 | 2525624.5323 | 1155939.4351 | 2525625.6731 | 1155939.9959 | 2525638.288 | 1155942.4642
87 | 2525638.288 | 1155942.4642 | 2525646.6755 | 1155944.1053
88 | 2525647.2088 | 1155944.2096 | 2525646.6755 | 1155944.1053

## bus_geodata
| x | y | coords
0 | 2526256.818 | 1156141.576
1 | 2526245.8357 | 1156142.4124
2 | 2526230.4395 | 1156129.672
3 | 2526258.3658 | 1156102.2582
4 | 2526276.4712 | 1156083.9034
5 | 2526242.7867 | 1156117.0911
6 | 2526199.4811 | 1156161.2255
7 | 2526345.8861 | 1155760.1804
8 | 2526222.4874 | 1156098.5631
9 | 2526110.0277 | 1156255.2
10 | 2526321.7358 | 1155783.5674
11 | 2526236.9105 | 1156081.3168
12 | 2526233.254 | 1156084.0561
13 | 2525591.077 | 1155870.2846
14 | 2525074.6071 | 1155645.3509
15 | 2525591.0904 | 1155909.9906
16 | 2525094.5851 | 1155469.4915
17 | 2525430.6173 | 1156719.5442
18 | 2525454.1484 | 1156683.9209
19 | 2524826.4402 | 1157029.6592
20 | 2525740.5617 | 1156635.414
21 | 2524838.6134 | 1156962.5021
22 | 2525725.6244 | 1156499.7661
23 | 2525660.6564 | 1156549.1863
24 | 2525737.1774 | 1156515.1258
25 | 2526019.5967 | 1156362.351
26 | 2525925.6663 | 1156466.0891
27 | 2526128.9202 | 1156283.2272
28 | 2525956.1015 | 1156568.8833
29 | 2525939.3134 | 1156571.9697
30 | 2525954.2615 | 1156535.5061
31 | 2525612.9353 | 1155933.7342
32 | 2525079.4972 | 1155445.6299
33 | 2525773.3226 | 1156595.5866
34 | 2525704.4846 | 1156598.0807
35 | 2525758.5906 | 1156544.0958
36 | 2525923.2623 | 1156475.0965
37 | 2525976.8034 | 1156513.8335
38 | 2525968.768 | 1156517.009
39 | 2525935.7546 | 1156569.7692
40 | 2525960.5605 | 1156526.67
41 | 2525838.6975 | 1156537.3897
42 | 2525839.0923 | 1156538.1379
43 | 2525826.356 | 1156514.0062
44 | 2525844.5627 | 1156548.5027
45 | 2525858.3627 | 1156544.9932
46 | 2525840.9074 | 1156549.7575
47 | 2525851.2406 | 1156493.4008
48 | 2525868.748 | 1156489.204
49 | 2525869.4156 | 1156542.1823
50 | 2525838.4585 | 1156551.0126
51 | 2525889.1338 | 1156516.4416
52 | 2525831.8549 | 1156452.3395
53 | 2525771.0611 | 1156555.3397
54 | 2525771.968 | 1156556.019
55 | 2525794.578 | 1156572.9557
56 | 2525782.0325 | 1156585.3831
57 | 2525802.7625 | 1156567.8237
58 | 2525806.1449 | 1156566.372
59 | 2525809.7844 | 1156539.2119
60 | 2525811.3581 | 1156542.2732
61 | 2525804.5733 | 1156529.0741
62 | 2525820.5644 | 1156560.1832
63 | 2525824.0387 | 1156558.4027
64 | 2525825.0387 | 1156557.8901
65 | 2525872.9086 | 1156541.294
66 | 2525830.5308 | 1156451.2207
67 | 2525900.4512 | 1156528.2462
68 | 2525903.966 | 1156520.9766
69 | 2525893.5988 | 1156538.5032
70 | 2525914.4969 | 1156551.8555
71 | 2525929.8996 | 1156517.566
72 | 2525922.8612 | 1156481.0321
73 | 2525947.9597 | 1156497.5877
74 | 2525846.495 | 1156683.8889
75 | 2525834.011 | 1156667.8739
76 | 2525840.0316 | 1156714.0322
77 | 2525824.8954 | 1156656.1801
78 | 2525818.933 | 1156648.5312
79 | 2525803.5195 | 1156662.601
80 | 2525778.3074 | 1156685.8018
81 | 2525769.3991 | 1156694.2057
82 | 2525757.4082 | 1156707.3654
83 | 2525753.5772 | 1156712.1206
84 | 2525742.6927 | 1156725.6309
85 | 2525740.9221 | 1156727.8286
86 | 2525624.5323 | 1155939.4351
87 | 2525638.288 | 1155942.4642
88 | 2525646.6755 | 1155944.1053
89 | 2525647.2088 | 1155944.2096
90 | 2525725.6244 | 1156499.7661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1