## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5634-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5634-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5634-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5634-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5634-8_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5634-8_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5634-8_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5634-8_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5634-8_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5634-8_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5634-8_0_3_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_5634-8_0_3_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_5634-8_0_3_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_5634-8_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5634-8_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5634-8_0_3_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_5634-8_0_3_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_5634-8_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5634-8_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5634-8_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5634-8_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5634-8_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5634-8_0_3_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_5634-8_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_5634-8_0_3_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_5634-8_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_5634-8_0_3_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_5634-8_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_5634-8_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5634-8_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5634-8_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5634-8_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5634-8_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5634-8_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5634-8_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5634-8_0_3_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_5634-8_0_3_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_5634-8_0_3_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_5634-8_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5634-8_0_3_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_5634-8_0_3_node_94 | 0.4 | n |  | TRUE
41 | bus_LV_5634-8_0_3_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_5634-8_0_3_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_5634-8_0_3_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_5634-8_0_3_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_5634-8_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5634-8_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5634-8_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5634-8_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5634-8_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5634-8_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5634-8_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5634-8_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5634-8_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5634-8_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5634-8_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5634-8_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_5634-8_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5634-8_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_5634-8_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5634-8_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5634-8_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5634-8_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_5634-8_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_5634-8_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5634-8_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5634-8_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5634-8_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5634-8_0_3_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_5634-8_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5634-8_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5634-8_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_5634-8_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5634-8_0_3_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5634-8_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5634-8_0_3_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5634-8_0_3_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_5634-8_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5634-8_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5634-8_0_3_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_5634-8_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_5634-8_0_3_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_5634-8_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_5634-8_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_5634-8_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_5634-8_0_3_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_5634-8_0_3_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_5634-8_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_5634-8_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_5634-8_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_5634-8_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_5634-8_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_MV_312_2_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5634-8_0_3_load_0 | 0 | 0.0024093 | 0.00060383 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5634-8_0_3_load_3 | 3 | 0.001046 | 0.00026214 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5634-8_0_3_load_7 | 4 | 0.00058932 | 0.0001477 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5634-8_0_3_load_10 | 5 | 0.0020054 | 0.0005026 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5634-8_0_3_load_8 | 6 | 0.0014475 | 0.00036277 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5634-8_0_3_load_5 | 9 | 0.0080733 | 0.0020234 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5634-8_0_3_load_87 | 10 | 0.0022076 | 0.00055328 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5634-8_0_3_load_86 | 11 | 0.0020984 | 0.00052591 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5634-8_0_3_load_96 | 12 | 0.0013334 | 0.00033419 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5634-8_0_3_load_12 | 13 | 0.0022261 | 0.00055792 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5634-8_0_3_load_13 | 14 | 0.00089855 | 0.0002252 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5634-8_0_3_load_77 | 15 | 0.00108 | 0.00027066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5634-8_0_3_load_14 | 17 | 0.025486 | 0.0063875 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5634-8_0_3_load_15 | 18 | 0.043792 | 0.010975 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5634-8_0_3_load_17 | 20 | 0.092713 | 0.023236 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5634-8_0_3_load_93 | 22 | 0.0023474 | 0.00058831 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5634-8_0_3_load_30 | 23 | 0.013351 | 0.003346 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5634-8_0_3_load_28 | 24 | 0.0029059 | 0.0007283 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5634-8_0_3_load_88 | 26 | 0.021239 | 0.0053231 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5634-8_0_3_load_19 | 28 | 0.0039676 | 0.00099437 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5634-8_0_3_load_20 | 29 | 0.0041414 | 0.0010379 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5634-8_0_3_load_22 | 31 | 0.00098286 | 0.00024633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5634-8_0_3_load_23 | 34 | 0.0024621 | 0.00061706 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5634-8_0_3_load_84 | 35 | 0.0028034 | 0.0007026 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5634-8_0_3_load_83 | 36 | 0.0095954 | 0.0024048 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5634-8_0_3_load_82 | 37 | 0.0016894 | 0.0004234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5634-8_0_3_load_85 | 39 | 0.002332 | 0.00058446 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5634-8_0_3_load_94 | 40 | 0.0019679 | 0.00049321 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5634-8_0_3_load_92 | 42 | 0.0030251 | 0.00075815 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5634-8_0_3_load_91 | 43 | 0.012629 | 0.0031651 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5634-8_0_3_load_89 | 44 | 0.0096982 | 0.0024306 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5634-8_0_3_load_31 | 45 | 0.0022425 | 0.00056201 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5634-8_0_3_load_32 | 46 | 0.0026315 | 0.0006595 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5634-8_0_3_load_33 | 47 | 0.0028189 | 0.00070649 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5634-8_0_3_load_35 | 48 | 0.0025689 | 0.00064382 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5634-8_0_3_load_36 | 49 | 0.0032215 | 0.00080737 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5634-8_0_3_load_37 | 50 | 0.0044257 | 0.0011092 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5634-8_0_3_load_42 | 52 | 0.0021093 | 0.00052864 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5634-8_0_3_load_39 | 53 | 0.0027465 | 0.00068835 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5634-8_0_3_load_47 | 54 | 0.0016887 | 0.00042323 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5634-8_0_3_load_40 | 55 | 0.0018849 | 0.0004724 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5634-8_0_3_load_41 | 56 | 0.00067425 | 0.00016898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5634-8_0_3_load_45 | 57 | 0.0012985 | 0.00032543 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5634-8_0_3_load_43 | 58 | 0.0017819 | 0.0004466 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5634-8_0_3_load_44 | 59 | 0.00058201 | 0.00014587 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5634-8_0_3_load_46 | 60 | 0.0019147 | 0.00047988 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5634-8_0_3_load_48 | 61 | 0.0026102 | 0.00065417 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5634-8_0_3_load_49 | 62 | 0.0019263 | 0.00048278 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5634-8_0_3_load_50 | 63 | 0.00092443 | 0.00023168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5634-8_0_3_load_51 | 64 | 0.0035963 | 0.00090131 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5634-8_0_3_load_52 | 65 | 0.0049497 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5634-8_0_3_load_53 | 66 | 0.0020025 | 0.00050187 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5634-8_0_3_load_54 | 67 | 0.0024252 | 0.00060782 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5634-8_0_3_load_68 | 70 | 0.001286 | 0.00032231 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5634-8_0_3_load_55 | 71 | 0.0025144 | 0.00063016 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5634-8_0_3_load_56 | 72 | 0.0031566 | 0.00079113 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5634-8_0_3_load_57 | 73 | 0.0019555 | 0.0004901 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5634-8_0_3_load_59 | 75 | 0.0010384 | 0.00026026 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5634-8_0_3_load_60 | 76 | 0.00090418 | 0.00022661 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5634-8_0_3_load_64 | 77 | 0.0021274 | 0.00053319 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5634-8_0_3_load_65 | 78 | 0.0032882 | 0.00082409 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5634-8_0_3_load_62 | 79 | 0.002598 | 0.00065111 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5634-8_0_3_load_66 | 80 | 0.0010195 | 0.00025552 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5634-8_0_3_load_61 | 81 | 0.0033031 | 0.00082784 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5634-8_0_3_load_67 | 82 | 0.0021639 | 0.00054232 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5634-8_0_3_load_73 | 83 | 0.0024385 | 0.00061114 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5634-8_0_3_load_71 | 84 | 0.00075958 | 0.00019037 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5634-8_0_3_load_74 | 85 | 0.0011149 | 0.00027943 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5634-8_0_3_load_72 | 86 | 0.0040915 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5634-8_0_3_load_75 | 87 | 0.0059413 | 0.001489 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5634-8_0_3_load_80 | 88 | 0.0070176 | 0.0017588 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5634-8_0_3_load_79 | 89 | 0.0016277 | 0.00040795 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5634-8_0_3_load_81 | 90 | 0.0048665 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5634-8_0_3_load_90 | 91 | 0.050012 | 0.012534 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5634-8_0_3_line_0 |  | 0 | 1 | 0.022552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5634-8_0_3_line_1 |  | 1 | 2 | 0.007471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5634-8_0_3_line_2 |  | 1 | 3 | 0.040624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5634-8_0_3_line_3 |  | 2 | 4 | 0.032006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5634-8_0_3_line_4 |  | 3 | 5 | 0.026226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5634-8_0_3_line_5 |  | 4 | 6 | 0.013563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5634-8_0_3_line_6 |  | 5 | 7 | 0.077619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5634-8_0_3_line_7 |  | 6 | 12 | 0.1823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5634-8_0_3_line_8 |  | 7 | 13 | 0.062907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5634-8_0_3_line_9 |  | 7 | 14 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5634-8_0_3_line_10 |  | 8 | 9 | 0.017543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5634-8_0_3_line_11 |  | 8 | 10 | 0.18852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5634-8_0_3_line_12 |  | 10 | 11 | 0.029311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5634-8_0_3_line_13 |  | 11 | 32 | 0.019992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5634-8_0_3_line_14 |  | 13 | 15 | 0.051601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5634-8_0_3_line_15 |  | 15 | 16 | 0.012412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5634-8_0_3_line_16 |  | 16 | 41 | 0.009706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5634-8_0_3_line_17 |  | 16 | 87 | 0.033922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5634-8_0_3_line_18 |  | 17 | 18 | 0.022627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5634-8_0_3_line_19 |  | 17 | 19 | 0.045458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5634-8_0_3_line_20 |  | 18 | 20 | 0.022668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5634-8_0_3_line_21 |  | 19 | 21 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5634-8_0_3_line_22 |  | 20 | 22 | 0.039191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5634-8_0_3_line_23 |  | 21 | 23 | 0.01999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5634-8_0_3_line_24 |  | 21 | 24 | 0.01371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5634-8_0_3_line_25 |  | 22 | 25 | 0.017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5634-8_0_3_line_26 |  | 23 | 26 | 0.019818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5634-8_0_3_line_27 |  | 24 | 27 | 0.0057352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5634-8_0_3_line_28 |  | 25 | 46 | 0.040937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5634-8_0_3_line_29 |  | 26 | 44 | 0.0050939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5634-8_0_3_line_30 |  | 27 | 38 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5634-8_0_3_line_31 |  | 27 | 34 | 0.0038302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5634-8_0_3_line_32 |  | 28 | 29 | 0.0072543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5634-8_0_3_line_33 |  | 28 | 30 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5634-8_0_3_line_34 |  | 29 | 31 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5634-8_0_3_line_35 |  | 30 | 32 | 0.044271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5634-8_0_3_line_36 |  | 30 | 33 | 0.023792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5634-8_0_3_line_37 |  | 32 | 35 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5634-8_0_3_line_38 |  | 33 | 36 | 0.021925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5634-8_0_3_line_39 |  | 33 | 37 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5634-8_0_3_line_40 |  | 35 | 39 | 0.005508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5634-8_0_3_line_41 |  | 36 | 40 | 0.0050521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5634-8_0_3_line_42 |  | 37 | 41 | 0.031311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5634-8_0_3_line_43 |  | 38 | 42 | 0.01075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5634-8_0_3_line_44 |  | 38 | 43 | 0.0039464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5634-8_0_3_line_45 |  | 40 | 42 | 0.014285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5634-8_0_3_line_46 |  | 41 | 88 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5634-8_0_3_line_47 |  | 44 | 91 | 0.0053785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5634-8_0_3_line_48 |  | 45 | 46 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5634-8_0_3_line_49 |  | 45 | 47 | 0.023244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5634-8_0_3_line_50 |  | 47 | 48 | 0.0019763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5634-8_0_3_line_51 |  | 48 | 49 | 0.040403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5634-8_0_3_line_52 |  | 49 | 50 | 0.001967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5634-8_0_3_line_53 |  | 50 | 51 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5634-8_0_3_line_54 |  | 51 | 52 | 0.038786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5634-8_0_3_line_55 |  | 51 | 53 | 0.0084782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5634-8_0_3_line_56 |  | 52 | 54 | 0.033478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5634-8_0_3_line_57 |  | 53 | 55 | 0.019615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5634-8_0_3_line_58 |  | 54 | 57 | 0.0092359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5634-8_0_3_line_59 |  | 55 | 56 | 0.016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5634-8_0_3_line_60 |  | 57 | 58 | 0.025338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5634-8_0_3_line_61 |  | 58 | 59 | 0.0037336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5634-8_0_3_line_62 |  | 59 | 60 | 0.022189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5634-8_0_3_line_63 |  | 61 | 62 | 0.0094179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5634-8_0_3_line_64 |  | 61 | 63 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5634-8_0_3_line_65 |  | 62 | 64 | 0.049362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5634-8_0_3_line_66 |  | 63 | 65 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5634-8_0_3_line_67 |  | 64 | 66 | 0.02717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5634-8_0_3_line_68 |  | 65 | 67 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5634-8_0_3_line_69 |  | 66 | 68 | 0.019651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5634-8_0_3_line_70 |  | 68 | 69 | 0.010671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5634-8_0_3_line_71 |  | 68 | 70 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5634-8_0_3_line_72 |  | 69 | 83 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5634-8_0_3_line_73 |  | 69 | 84 | 0.025045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5634-8_0_3_line_74 |  | 70 | 82 | 0.011021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5634-8_0_3_line_75 |  | 71 | 72 | 0.030361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5634-8_0_3_line_76 |  | 71 | 73 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5634-8_0_3_line_77 |  | 72 | 74 | 0.026023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5634-8_0_3_line_78 |  | 74 | 75 | 0.0089983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5634-8_0_3_line_79 |  | 74 | 76 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5634-8_0_3_line_80 |  | 75 | 77 | 0.021656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5634-8_0_3_line_81 |  | 76 | 78 | 0.021699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5634-8_0_3_line_82 |  | 77 | 79 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5634-8_0_3_line_83 |  | 78 | 80 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5634-8_0_3_line_84 |  | 79 | 81 | 0.016874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5634-8_0_3_line_85 |  | 80 | 82 | 0.023121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5634-8_0_3_line_86 |  | 83 | 85 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5634-8_0_3_line_87 |  | 84 | 86 | 0.0077224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5634-8_0_3_line_88 |  | 85 | 87 | 0.0033905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5634-8_0_3_line_89 |  | 88 | 89 | 0.0089008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5634-8_0_3_line_90 |  | 89 | 90 | 0.017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5634-8_0_3_trafo_90 | 0.63 MVA 20/0.4 kV | 92 | 91 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2526312.3866 | 1156530.0821 | 2526310.3771 | 1156523.8143 | 2526300.9479 | 1156510.9247
1 | 2526312.3866 | 1156530.0821 | 2526319.5534 | 1156532.2621
2 | 2526312.3866 | 1156530.0821 | 2526302.8316 | 1156534.524 | 2526276.8752 | 1156549.7386
3 | 2526319.5534 | 1156532.2621 | 2526324.1899 | 1156529.4926 | 2526349.5254 | 1156521.3704
4 | 2526276.8752 | 1156549.7386 | 2526254.2493 | 1156563.0011
5 | 2526349.5254 | 1156521.3704 | 2526362.4412 | 1156517.2298
6 | 2526185.2588 | 1156598.4587 | 2526215.3563 | 1156584.4256 | 2526242.0613 | 1156570.1453 | 2526254.2493 | 1156563.0011
7 | 2526362.4412 | 1156517.2298 | 2526448.523 | 1156677.9202
8 | 2526185.2588 | 1156598.4587 | 2526170.9305 | 1156605.1274 | 2526155.0596 | 1156612.3265 | 2526142.5719 | 1156615.8709 | 2526135.6299 | 1156617.0013 | 2526126.0948 | 1156615.4439
9 | 2526185.2588 | 1156598.4587 | 2526194.3833 | 1156615.7421
10 | 2526169.6983 | 1156341.4266 | 2526183.9216 | 1156331.1572
11 | 2526035.5581 | 1156473.8873 | 2526169.6983 | 1156341.4266
12 | 2526035.5581 | 1156473.8873 | 2526039.6466 | 1156482.728 | 2526045.089 | 1156495.5794 | 2526046.262 | 1156501.0696
13 | 2526044.0848 | 1156520.5281 | 2526046.8438 | 1156512.2783 | 2526047.0341 | 1156504.6828 | 2526046.262 | 1156501.0696
14 | 2526075.2034 | 1156606.9336 | 2526081.6998 | 1156608.1927 | 2526126.0948 | 1156615.4439
15 | 2526064.9862 | 1156600.5051 | 2526071.6677 | 1156606.2484 | 2526075.2034 | 1156606.9336
16 | 2526059.5495 | 1156592.4563 | 2526064.9862 | 1156600.5051
17 | 2526064.9862 | 1156600.5051 | 2526055.9994 | 1156618.0589 | 2526054.4921 | 1156629.5507 | 2526054.9238 | 1156632.1259
18 | 2525903.3456 | 1156629.6708 | 2525910.7214 | 1156619.1044 | 2525915.8944 | 1156610.8505
19 | 2525939.3134 | 1156571.9697 | 2525936.5086 | 1156578.3635 | 2525928.0725 | 1156591.4193 | 2525915.8944 | 1156610.8505
20 | 2525903.3456 | 1156629.6708 | 2525898.5961 | 1156636.4749 | 2525887.6314 | 1156645.7636
21 | 2525939.3134 | 1156571.9697 | 2525944.7705 | 1156572.3249 | 2525956.1015 | 1156568.8833
22 | 2525887.6314 | 1156645.7636 | 2525870.0967 | 1156660.6178 | 2525857.8648 | 1156671.255
23 | 2525956.1015 | 1156568.8833 | 2525957.666 | 1156583.817 | 2525960.7503 | 1156587.7203
24 | 2525956.1015 | 1156568.8833 | 2525969.1177 | 1156564.5763
25 | 2525846.495 | 1156683.8889 | 2525850.9685 | 1156677.2522 | 2525857.8648 | 1156671.255
26 | 2525973.5558 | 1156602.8348 | 2525965.7917 | 1156594.1005 | 2525960.7503 | 1156587.7203
27 | 2525974.5625 | 1156562.7747 | 2525969.1177 | 1156564.5763
28 | 2525846.495 | 1156683.8889 | 2525842.8877 | 1156689.2476 | 2525839.0127 | 1156703.9815 | 2525840.3488 | 1156717.1614 | 2525842.3191 | 1156722.8228
29 | 2525973.5558 | 1156602.8348 | 2525976.9401 | 1156606.6419
30 | 2525974.5625 | 1156562.7747 | 2525983.3018 | 1156578.0423
31 | 2525974.5625 | 1156562.7747 | 2525978.1984 | 1156561.57
32 | 2526006.5204 | 1156529.2099 | 2526008.4895 | 1156536.1919
33 | 2526012.3186 | 1156549.769 | 2526008.4895 | 1156536.1919
34 | 2526006.5204 | 1156529.2099 | 2526003.7699 | 1156519.4571 | 2525999.1548 | 1156512.132
35 | 2526012.3186 | 1156549.769 | 2526020.7213 | 1156545.8078 | 2526036.5941 | 1156533.1608 | 2526044.0848 | 1156520.5281
36 | 2526012.3186 | 1156549.769 | 2526020.7213 | 1156545.8078 | 2526030.0382 | 1156556.9216
37 | 2526044.0848 | 1156520.5281 | 2526052.1036 | 1156531.6723
38 | 2526030.0382 | 1156556.9216 | 2526026.649 | 1156559.4647 | 2526014.9846 | 1156568.2133 | 2526011.9881 | 1156569.0356
39 | 2526030.0382 | 1156556.9216 | 2526032.41 | 1156559.5828 | 2526038.7556 | 1156566.6865 | 2526039.8874 | 1156568.0892
40 | 2526055.3207 | 1156536.1431 | 2526052.1036 | 1156531.6723
41 | 2526011.9881 | 1156569.0356 | 2526007.1161 | 1156570.3726
42 | 2526059.5495 | 1156592.4563 | 2526039.8874 | 1156568.0892
43 | 2525983.3018 | 1156578.0423 | 2525993.4322 | 1156574.4461
44 | 2525983.3018 | 1156578.0423 | 2525985.2635 | 1156581.4666
45 | 2526007.1161 | 1156570.3726 | 2525997.3821 | 1156573.0439 | 2525993.4322 | 1156574.4461
46 | 2526059.5495 | 1156592.4563 | 2526071.097 | 1156581.0633
47 | 2525980.5134 | 1156610.6618 | 2525976.9401 | 1156606.6419
48 | 2525846.3201 | 1156734.3196 | 2525842.3191 | 1156722.8228
49 | 2525846.3201 | 1156734.3196 | 2525846.3201 | 1156734.3196 | 2525856.4497 | 1156755.2404
50 | 2525857.3109 | 1156757.0191 | 2525856.4497 | 1156755.2404
51 | 2525857.3109 | 1156757.0191 | 2525874.9184 | 1156793.3838
52 | 2525874.9184 | 1156793.3838 | 2525875.7756 | 1156795.1543
53 | 2525883.7557 | 1156814.1475 | 2525877.0506 | 1156797.7876 | 2525875.7756 | 1156795.1543
54 | 2525883.7557 | 1156814.1475 | 2525905.1541 | 1156802.5215 | 2525914.2324 | 1156804.8776 | 2525916.3211 | 1156809.48
55 | 2525883.7557 | 1156814.1475 | 2525886.9709 | 1156821.9924
56 | 2525916.3211 | 1156809.48 | 2525920.1526 | 1156817.9231 | 2525925.9515 | 1156821.1312 | 2525940.6667 | 1156813.5677 | 2525941.5979 | 1156814.0176
57 | 2525886.9709 | 1156821.9924 | 2525894.4098 | 1156840.1427
58 | 2525948.868 | 1156819.2186 | 2525947.286 | 1156816.7658 | 2525941.5979 | 1156814.0176
59 | 2525894.4098 | 1156840.1427 | 2525897.1342 | 1156846.7899 | 2525899.8477 | 1156855.2981
60 | 2525962.6014 | 1156840.5121 | 2525948.868 | 1156819.2186
61 | 2525962.6014 | 1156840.5121 | 2525964.625 | 1156843.6497
62 | 2525976.6514 | 1156862.2964 | 2525964.625 | 1156843.6497
63 | 2526012.1265 | 1156743.8496 | 2526011.2469 | 1156734.4729
64 | 2526012.1265 | 1156743.8496 | 2526013.1931 | 1156755.2191 | 2526013.9471 | 1156760.1249
65 | 2526011.2469 | 1156734.4729 | 2526010.3503 | 1156724.9147 | 2526010.1583 | 1156709.3304 | 2526012.9454 | 1156701.5028 | 2526019.0548 | 1156696.9139 | 2526026.7486 | 1156694.0004
66 | 2526015.8228 | 1156772.3282 | 2526013.9471 | 1156760.1249
67 | 2526051.9515 | 1156683.8525 | 2526031.3445 | 1156692.2599 | 2526026.7486 | 1156694.0004
68 | 2526015.8228 | 1156772.3282 | 2526017.2199 | 1156781.4177 | 2526018.64 | 1156794.8771
69 | 2526070.1465 | 1156676.429 | 2526051.9515 | 1156683.8525
70 | 2526070.1465 | 1156676.429 | 2526066.4953 | 1156666.4016
71 | 2526070.1465 | 1156676.429 | 2526072.3816 | 1156682.316 | 2526078.1583 | 1156692.1946
72 | 2526066.4953 | 1156666.4016 | 2526059.9468 | 1156649.4887
73 | 2526066.4953 | 1156666.4016 | 2526089.5037 | 1156656.5079
74 | 2526078.1583 | 1156692.1946 | 2526083.7214 | 1156701.708
75 | 2526076.6919 | 1156806.9329 | 2526094.9342 | 1156795.5805 | 2526102.5525 | 1156791.0282
76 | 2526060.3062 | 1156817.1298 | 2526076.6919 | 1156806.9329
77 | 2526124.891 | 1156777.6798 | 2526102.5525 | 1156791.0282
78 | 2526124.891 | 1156777.6798 | 2526126.6436 | 1156786.5058
79 | 2526124.891 | 1156777.6798 | 2526116.6523 | 1156758.8373
80 | 2526128.5814 | 1156808.0551 | 2526127.2209 | 1156789.4134 | 2526126.6436 | 1156786.5058
81 | 2526116.6523 | 1156758.8373 | 2526115.2404 | 1156755.6082 | 2526106.0658 | 1156739.9188
82 | 2526129.3227 | 1156824.2177 | 2526129.1948 | 1156816.46 | 2526128.5814 | 1156808.0551
83 | 2526095.3925 | 1156721.6666 | 2526106.0658 | 1156739.9188
84 | 2526129.6011 | 1156841.0899 | 2526129.3227 | 1156824.2177
85 | 2526095.3925 | 1156721.6666 | 2526083.7214 | 1156701.708
86 | 2526059.9468 | 1156649.4887 | 2526056.2219 | 1156639.8686 | 2526055.4844 | 1156635.4698
87 | 2526096.598 | 1156653.4573 | 2526089.5037 | 1156656.5079
88 | 2526055.4844 | 1156635.4698 | 2526054.9238 | 1156632.1259
89 | 2526079.9926 | 1156580.7599 | 2526071.097 | 1156581.0633 | 2526071.097 | 1156581.0633
90 | 2526079.9926 | 1156580.7599 | 2526088.9432 | 1156580.4546 | 2526093.9183 | 1156586.8587

## bus_geodata
| x | y | coords
0 | 2526300.9479 | 1156510.9247
1 | 2526312.3866 | 1156530.0821
2 | 2526319.5534 | 1156532.2621
3 | 2526276.8752 | 1156549.7386
4 | 2526349.5254 | 1156521.3704
5 | 2526254.2493 | 1156563.0011
6 | 2526362.4412 | 1156517.2298
7 | 2526185.2588 | 1156598.4587
8 | 2526169.6983 | 1156341.4266
9 | 2526183.9216 | 1156331.1572
10 | 2526035.5581 | 1156473.8873
11 | 2526046.262 | 1156501.0696
12 | 2526448.523 | 1156677.9202
13 | 2526126.0948 | 1156615.4439
14 | 2526194.3834 | 1156615.7421
15 | 2526075.2034 | 1156606.9336
16 | 2526064.9862 | 1156600.5051
17 | 2525915.8944 | 1156610.8505
18 | 2525903.3456 | 1156629.6708
19 | 2525939.3134 | 1156571.9697
20 | 2525887.6314 | 1156645.7636
21 | 2525956.1015 | 1156568.8833
22 | 2525857.8648 | 1156671.255
23 | 2525960.7503 | 1156587.7203
24 | 2525969.1177 | 1156564.5763
25 | 2525846.495 | 1156683.8889
26 | 2525973.5558 | 1156602.8348
27 | 2525974.5625 | 1156562.7747
28 | 2526008.4895 | 1156536.1919
29 | 2526006.5204 | 1156529.2099
30 | 2526012.3186 | 1156549.769
31 | 2525999.1548 | 1156512.132
32 | 2526044.0848 | 1156520.5281
33 | 2526030.0382 | 1156556.9216
34 | 2525978.1984 | 1156561.57
35 | 2526052.1036 | 1156531.6723
36 | 2526011.9881 | 1156569.0356
37 | 2526039.8874 | 1156568.0892
38 | 2525983.3018 | 1156578.0423
39 | 2526055.3207 | 1156536.1431
40 | 2526007.1161 | 1156570.3726
41 | 2526059.5495 | 1156592.4563
42 | 2525993.4322 | 1156574.4461
43 | 2525985.2635 | 1156581.4666
44 | 2525976.9401 | 1156606.6419
45 | 2525846.3201 | 1156734.3196
46 | 2525842.3191 | 1156722.8228
47 | 2525856.4497 | 1156755.2404
48 | 2525857.3109 | 1156757.0191
49 | 2525874.9184 | 1156793.3838
50 | 2525875.7756 | 1156795.1543
51 | 2525883.7557 | 1156814.1475
52 | 2525916.3211 | 1156809.48
53 | 2525886.9709 | 1156821.9924
54 | 2525941.5979 | 1156814.0176
55 | 2525894.4098 | 1156840.1427
56 | 2525899.8477 | 1156855.2981
57 | 2525948.868 | 1156819.2186
58 | 2525962.6014 | 1156840.5121
59 | 2525964.625 | 1156843.6497
60 | 2525976.6514 | 1156862.2964
61 | 2526012.1265 | 1156743.8496
62 | 2526011.2469 | 1156734.4729
63 | 2526013.9471 | 1156760.1249
64 | 2526026.7486 | 1156694.0004
65 | 2526015.8228 | 1156772.3282
66 | 2526051.9515 | 1156683.8525
67 | 2526018.64 | 1156794.8771
68 | 2526070.1465 | 1156676.4291
69 | 2526066.4953 | 1156666.4016
70 | 2526078.1583 | 1156692.1946
71 | 2526076.6919 | 1156806.9329
72 | 2526102.5525 | 1156791.0282
73 | 2526060.3062 | 1156817.1298
74 | 2526124.891 | 1156777.6798
75 | 2526126.6436 | 1156786.5058
76 | 2526116.6523 | 1156758.8373
77 | 2526128.5814 | 1156808.0551
78 | 2526106.0658 | 1156739.9188
79 | 2526129.3227 | 1156824.2177
80 | 2526095.3925 | 1156721.6666
81 | 2526129.6011 | 1156841.0899
82 | 2526083.7214 | 1156701.708
83 | 2526059.9468 | 1156649.4887
84 | 2526089.5037 | 1156656.5079
85 | 2526055.4844 | 1156635.4698
86 | 2526096.598 | 1156653.4573
87 | 2526054.9238 | 1156632.1259
88 | 2526071.097 | 1156581.0633
89 | 2526079.9926 | 1156580.7599
90 | 2526093.9183 | 1156586.8587
91 | 2525980.5134 | 1156610.6618
92 | 2525956.1015 | 1156568.8833

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1