## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5636-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5636-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5636-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5636-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5636-5_0_3_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_5636-5_0_3_node_82 | 0.4 | n |  | TRUE
6 | bus_LV_5636-5_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5636-5_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5636-5_0_3_node_146 | 0.4 | n |  | TRUE
9 | bus_LV_5636-5_0_3_node_147 | 0.4 | n |  | TRUE
10 | bus_LV_5636-5_0_3_node_120 | 0.4 | n |  | TRUE
11 | bus_LV_5636-5_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5636-5_0_3_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_5636-5_0_3_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_5636-5_0_3_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_5636-5_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_5636-5_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5636-5_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_5636-5_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5636-5_0_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_5636-5_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_5636-5_0_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_5636-5_0_3_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_5636-5_0_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_5636-5_0_3_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_5636-5_0_3_node_101 | 0.4 | n |  | TRUE
26 | bus_LV_5636-5_0_3_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_5636-5_0_3_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_5636-5_0_3_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_5636-5_0_3_node_107 | 0.4 | n |  | TRUE
30 | bus_LV_5636-5_0_3_node_108 | 0.4 | n |  | TRUE
31 | bus_LV_5636-5_0_3_node_109 | 0.4 | n |  | TRUE
32 | bus_LV_5636-5_0_3_node_111 | 0.4 | n |  | TRUE
33 | bus_LV_5636-5_0_3_node_112 | 0.4 | n |  | TRUE
34 | bus_LV_5636-5_0_3_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_5636-5_0_3_node_113 | 0.4 | n |  | TRUE
36 | bus_LV_5636-5_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5636-5_0_3_node_10 | 0.4 | n |  | TRUE
38 | bus_LV_5636-5_0_3_node_11 | 0.4 | n |  | TRUE
39 | bus_LV_5636-5_0_3_node_12 | 0.4 | n |  | TRUE
40 | bus_LV_5636-5_0_3_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_5636-5_0_3_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_5636-5_0_3_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_5636-5_0_3_node_114 | 0.4 | n |  | TRUE
44 | bus_LV_5636-5_0_3_node_116 | 0.4 | n |  | TRUE
45 | bus_LV_5636-5_0_3_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_5636-5_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5636-5_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_5636-5_0_3_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_5636-5_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_5636-5_0_3_node_13 | 0.4 | n |  | TRUE
51 | bus_LV_5636-5_0_3_node_14 | 0.4 | n |  | TRUE
52 | bus_LV_5636-5_0_3_node_15 | 0.4 | n |  | TRUE
53 | bus_LV_5636-5_0_3_node_16 | 0.4 | n |  | TRUE
54 | bus_LV_5636-5_0_3_node_17 | 0.4 | n |  | TRUE
55 | bus_LV_5636-5_0_3_node_18 | 0.4 | n |  | TRUE
56 | bus_LV_5636-5_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5636-5_0_3_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_5636-5_0_3_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_5636-5_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5636-5_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5636-5_0_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_5636-5_0_3_node_19 | 0.4 | n |  | TRUE
63 | bus_LV_5636-5_0_3_node_20 | 0.4 | n |  | TRUE
64 | bus_LV_5636-5_0_3_node_21 | 0.4 | n |  | TRUE
65 | bus_LV_5636-5_0_3_node_22 | 0.4 | n |  | TRUE
66 | bus_LV_5636-5_0_3_node_24 | 0.4 | n |  | TRUE
67 | bus_LV_5636-5_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_5636-5_0_3_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_5636-5_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_5636-5_0_3_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_5636-5_0_3_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_5636-5_0_3_node_33 | 0.4 | n |  | TRUE
73 | bus_LV_5636-5_0_3_node_34 | 0.4 | n |  | TRUE
74 | bus_LV_5636-5_0_3_node_35 | 0.4 | n |  | TRUE
75 | bus_LV_5636-5_0_3_node_135 | 0.4 | n |  | TRUE
76 | bus_LV_5636-5_0_3_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5636-5_0_3_node_39 | 0.4 | n |  | TRUE
78 | bus_LV_5636-5_0_3_node_40 | 0.4 | n |  | TRUE
79 | bus_LV_5636-5_0_3_node_41 | 0.4 | n |  | TRUE
80 | bus_LV_5636-5_0_3_node_42 | 0.4 | n |  | TRUE
81 | bus_LV_5636-5_0_3_node_43 | 0.4 | n |  | TRUE
82 | bus_LV_5636-5_0_3_node_45 | 0.4 | n |  | TRUE
83 | bus_LV_5636-5_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_5636-5_0_3_node_119 | 0.4 | n |  | TRUE
85 | bus_LV_5636-5_0_3_node_118 | 0.4 | n |  | TRUE
86 | bus_LV_5636-5_0_3_node_93 | 0.4 | n |  | TRUE
87 | bus_LV_5636-5_0_3_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_5636-5_0_3_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_5636-5_0_3_node_104 | 0.4 | n |  | TRUE
90 | bus_LV_5636-5_0_3_node_106 | 0.4 | n |  | TRUE
91 | bus_MV_336_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5636-5_0_3_load_0 | 0 | 0.0077082 | 0.0019318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5636-5_0_3_load_3 | 3 | 0.0062956 | 0.0015778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5636-5_0_3_load_81 | 4 | 0.00024028 | 6.0221e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5636-5_0_3_load_82 | 5 | 0.00051207 | 0.00012834 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5636-5_0_3_load_9 | 6 | 0.0057063 | 0.0014301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5636-5_0_3_load_8 | 7 | 0.0057027 | 0.0014292 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5636-5_0_3_load_146 | 8 | 0.0079224 | 0.0019855 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5636-5_0_3_load_147 | 9 | 0.0079324 | 0.001988 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5636-5_0_3_load_120 | 10 | 0.006608 | 0.0016561 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5636-5_0_3_load_6 | 11 | 0.0050924 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5636-5_0_3_load_50 | 12 | 0.0023078 | 0.00057838 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5636-5_0_3_load_4 | 13 | 0.0027573 | 0.00069104 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5636-5_0_3_load_5 | 15 | 0.0041976 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5636-5_0_3_load_7 | 16 | 0.0041984 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5636-5_0_3_load_31 | 17 | 0.0040931 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5636-5_0_3_load_37 | 19 | 0.0022578 | 0.00056586 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5636-5_0_3_load_38 | 20 | 0.0024021 | 0.00060203 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5636-5_0_3_load_49 | 21 | 0.0050899 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5636-5_0_3_load_101 | 25 | 0.0057443 | 0.0014397 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5636-5_0_3_load_99 | 26 | 0.0022263 | 0.00055796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5636-5_0_3_load_102 | 28 | 0.0014038 | 0.00035183 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5636-5_0_3_load_107 | 29 | 0.0018819 | 0.00047164 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5636-5_0_3_load_108 | 30 | 0.00081634 | 0.00020459 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5636-5_0_3_load_111 | 32 | 0.0010013 | 0.00025096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5636-5_0_3_load_112 | 33 | 0.0022104 | 0.00055397 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5636-5_0_3_load_115 | 34 | 0.00071456 | 0.00017909 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5636-5_0_3_load_12 | 39 | 0.0034814 | 0.00087251 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5636-5_0_3_load_97 | 41 | 0.00032092 | 8.0431e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5636-5_0_3_load_114 | 43 | 0.00055156 | 0.00013823 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5636-5_0_3_load_69 | 45 | 0.0017675 | 0.00044299 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5636-5_0_3_load_47 | 46 | 0.0034793 | 0.000872 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5636-5_0_3_load_94 | 48 | 0.0038795 | 0.0009723 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5636-5_0_3_load_55 | 49 | 0.0017681 | 0.00044312 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5636-5_0_3_load_13 | 50 | 0.0027785 | 0.00069635 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5636-5_0_3_load_14 | 51 | 0.0032518 | 0.00081498 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5636-5_0_3_load_16 | 53 | 0.00090415 | 0.0002266 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5636-5_0_3_load_18 | 55 | 0.007552 | 0.0018927 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5636-5_0_3_load_51 | 56 | 0.0014646 | 0.00036706 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5636-5_0_3_load_74 | 57 | 0.0038711 | 0.00097018 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5636-5_0_3_load_71 | 58 | 0.0015129 | 0.00037918 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5636-5_0_3_load_48 | 59 | 0.0036545 | 0.0009159 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5636-5_0_3_load_52 | 60 | 0.0027349 | 0.00068543 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5636-5_0_3_load_70 | 61 | 0.0015133 | 0.00037926 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5636-5_0_3_load_19 | 62 | 0.00099718 | 0.00024992 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5636-5_0_3_load_20 | 63 | 0.0032518 | 0.00081497 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5636-5_0_3_load_22 | 65 | 0.0032519 | 0.00081499 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5636-5_0_3_load_46 | 67 | 0.0013398 | 0.00033579 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5636-5_0_3_load_103 | 68 | 0.00385 | 0.00096491 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5636-5_0_3_load_59 | 69 | 0.00385 | 0.00096491 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5636-5_0_3_load_105 | 70 | 0.0038501 | 0.00096492 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5636-5_0_3_load_44 | 71 | 0.0076374 | 0.0019141 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5636-5_0_3_load_33 | 72 | 0.0017195 | 0.00043095 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5636-5_0_3_load_34 | 73 | 0.0028885 | 0.00072392 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5636-5_0_3_load_35 | 74 | 0.0024251 | 0.00060779 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5636-5_0_3_load_135 | 75 | 0.0014962 | 0.00037499 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5636-5_0_3_load_53 | 76 | 0.0013405 | 0.00033595 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5636-5_0_3_load_39 | 77 | 0.0065064 | 0.0016307 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5636-5_0_3_load_42 | 80 | 0.0033016 | 0.00082747 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5636-5_0_3_load_43 | 81 | 0.0083088 | 0.0020824 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5636-5_0_3_load_45 | 82 | 0.007759 | 0.0019446 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5636-5_0_3_load_83 | 83 | 0.00087623 | 0.0002196 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5636-5_0_3_load_119 | 84 | 0.00032923 | 8.2513e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5636-5_0_3_load_118 | 85 | 0.00096728 | 0.00024242 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5636-5_0_3_load_93 | 86 | 0.0038751 | 0.00097119 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5636-5_0_3_load_72 | 87 | 0.002113 | 0.00052958 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5636-5_0_3_load_73 | 88 | 0.0030271 | 0.00075866 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5636-5_0_3_load_104 | 89 | 0.0038519 | 0.00096537 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5636-5_0_3_load_106 | 90 | 0.003878 | 0.00097191 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5636-5_0_3_line_0 |  | 0 | 1 | 0.032855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5636-5_0_3_line_1 |  | 1 | 2 | 0.034318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5636-5_0_3_line_2 |  | 1 | 3 | 0.049019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5636-5_0_3_line_3 |  | 2 | 8 | 0.009247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5636-5_0_3_line_4 |  | 2 | 9 | 0.008069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5636-5_0_3_line_5 |  | 3 | 10 | 0.03467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5636-5_0_3_line_6 |  | 4 | 5 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5636-5_0_3_line_7 |  | 5 | 83 | 0.0080642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5636-5_0_3_line_8 |  | 6 | 7 | 0.034142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5636-5_0_3_line_9 |  | 7 | 37 | 0.019674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5636-5_0_3_line_10 |  | 9 | 11 | 0.041429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5636-5_0_3_line_11 |  | 10 | 14 | 0.02159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5636-5_0_3_line_12 |  | 11 | 12 | 0.02941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5636-5_0_3_line_13 |  | 11 | 13 | 0.0021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5636-5_0_3_line_14 |  | 12 | 21 | 0.0047354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5636-5_0_3_line_15 |  | 13 | 15 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5636-5_0_3_line_16 |  | 14 | 24 | 0.051073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5636-5_0_3_line_17 |  | 15 | 16 | 0.0257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5636-5_0_3_line_18 |  | 16 | 17 | 0.027116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5636-5_0_3_line_19 |  | 17 | 36 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5636-5_0_3_line_20 |  | 18 | 19 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5636-5_0_3_line_21 |  | 18 | 20 | 0.019751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5636-5_0_3_line_22 |  | 19 | 21 | 0.035678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5636-5_0_3_line_23 |  | 20 | 22 | 0.037426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5636-5_0_3_line_24 |  | 22 | 23 | 0.037907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5636-5_0_3_line_25 |  | 23 | 25 | 0.039422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5636-5_0_3_line_26 |  | 23 | 26 | 0.020464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5636-5_0_3_line_27 |  | 24 | 35 | 0.039285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5636-5_0_3_line_28 |  | 26 | 27 | 0.019042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5636-5_0_3_line_29 |  | 27 | 28 | 0.039598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5636-5_0_3_line_30 |  | 29 | 30 | 0.011026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5636-5_0_3_line_31 |  | 29 | 31 | 0.018057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5636-5_0_3_line_32 |  | 31 | 32 | 0.0022582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5636-5_0_3_line_33 |  | 31 | 33 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5636-5_0_3_line_34 |  | 31 | 34 | 0.049206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5636-5_0_3_line_35 |  | 33 | 35 | 0.030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5636-5_0_3_line_36 |  | 34 | 43 | 0.044868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5636-5_0_3_line_37 |  | 36 | 46 | 0.0035093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5636-5_0_3_line_38 |  | 36 | 59 | 0.027774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5636-5_0_3_line_39 |  | 37 | 38 | 0.00997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5636-5_0_3_line_40 |  | 37 | 39 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5636-5_0_3_line_41 |  | 38 | 45 | 0.037647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5636-5_0_3_line_42 |  | 38 | 46 | 0.024303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5636-5_0_3_line_43 |  | 39 | 47 | 0.022831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5636-5_0_3_line_44 |  | 40 | 41 | 0.0017844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5636-5_0_3_line_45 |  | 40 | 42 | 0.041773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5636-5_0_3_line_46 |  | 42 | 85 | 0.026468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5636-5_0_3_line_47 |  | 42 | 44 | 0.051609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5636-5_0_3_line_48 |  | 43 | 44 | 0.024517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5636-5_0_3_line_49 |  | 45 | 48 | 0.00022173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5636-5_0_3_line_50 |  | 47 | 49 | 0.039017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5636-5_0_3_line_51 |  | 48 | 86 | 0.0022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5636-5_0_3_line_52 |  | 49 | 80 | 0.023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5636-5_0_3_line_53 |  | 50 | 51 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5636-5_0_3_line_54 |  | 50 | 52 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5636-5_0_3_line_55 |  | 51 | 53 | 0.0052661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5636-5_0_3_line_56 |  | 52 | 54 | 0.037978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5636-5_0_3_line_57 |  | 52 | 55 | 0.012541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5636-5_0_3_line_58 |  | 53 | 56 | 0.012326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5636-5_0_3_line_59 |  | 54 | 57 | 0.023427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5636-5_0_3_line_60 |  | 54 | 58 | 0.0065675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5636-5_0_3_line_61 |  | 55 | 59 | 0.0042323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5636-5_0_3_line_62 |  | 56 | 60 | 0.029614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5636-5_0_3_line_63 |  | 58 | 61 | 0.002055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5636-5_0_3_line_64 |  | 60 | 76 | 0.0011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5636-5_0_3_line_65 |  | 61 | 87 | 0.0022137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5636-5_0_3_line_66 |  | 62 | 63 | 0.0033543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5636-5_0_3_line_67 |  | 62 | 64 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5636-5_0_3_line_68 |  | 63 | 65 | 0.030964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5636-5_0_3_line_69 |  | 64 | 66 | 0.035581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5636-5_0_3_line_70 |  | 65 | 67 | 0.0033854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5636-5_0_3_line_71 |  | 66 | 68 | 0.018544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5636-5_0_3_line_72 |  | 66 | 69 | 0.02068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5636-5_0_3_line_73 |  | 68 | 70 | 0.033941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5636-5_0_3_line_74 |  | 69 | 71 | 0.032613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5636-5_0_3_line_75 |  | 70 | 89 | 0.0078655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5636-5_0_3_line_76 |  | 71 | 79 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5636-5_0_3_line_77 |  | 72 | 73 | 0.027353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5636-5_0_3_line_78 |  | 73 | 74 | 0.04911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5636-5_0_3_line_79 |  | 74 | 75 | 0.099088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5636-5_0_3_line_80 |  | 74 | 76 | 0.050843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5636-5_0_3_line_81 |  | 77 | 78 | 0.02336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5636-5_0_3_line_82 |  | 77 | 79 | 0.022895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5636-5_0_3_line_83 |  | 78 | 80 | 0.036897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5636-5_0_3_line_84 |  | 78 | 81 | 0.020485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5636-5_0_3_line_85 |  | 79 | 82 | 0.036403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5636-5_0_3_line_86 |  | 83 | 84 | 0.061519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5636-5_0_3_line_87 |  | 84 | 85 | 0.013502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5636-5_0_3_line_88 |  | 87 | 88 | 0.0061821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5636-5_0_3_line_89 |  | 89 | 90 | 0.0046837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5636-5_0_3_trafo_7 | 0.63 MVA 20/0.4 kV | 91 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2521233.6214 | 1148152.6878 | 2521229.0987 | 1148151.5796 | 2521202.4302 | 1148142.4162
1 | 2521233.6214 | 1148152.6878 | 2521266.2139 | 1148163.712
2 | 2521233.6214 | 1148152.6878 | 2521246.7872 | 1148117.6621 | 2521250.7471 | 1148106.7586
3 | 2521266.2139 | 1148163.712 | 2521269.5493 | 1148155.0857
4 | 2521266.2139 | 1148163.712 | 2521263.5179 | 1148171.3183
5 | 2521250.7471 | 1148106.7586 | 2521262.5825 | 1148074.1708
6 | 2521064.3669 | 1148125.9215 | 2521067.9635 | 1148115.9106
7 | 2521067.9635 | 1148115.9106 | 2521070.6901 | 1148108.3213
8 | 2521238.456 | 1148246.7634 | 2521250.7144 | 1148214.8982
9 | 2521231.3921 | 1148265.1258 | 2521238.456 | 1148246.7634
10 | 2521298.7773 | 1148193.0696 | 2521263.5179 | 1148171.3183
11 | 2521269.9526 | 1148053.878 | 2521262.5825 | 1148074.1708
12 | 2521298.7773 | 1148193.0696 | 2521309.1106 | 1148165.5347
13 | 2521298.7773 | 1148193.0696 | 2521298.0275 | 1148195.069
14 | 2521310.773 | 1148161.1007 | 2521309.1106 | 1148165.5347
15 | 2521298.0275 | 1148195.069 | 2521291.3795 | 1148212.7948
16 | 2521218.9283 | 1148049.3987 | 2521269.9526 | 1148053.878
17 | 2521291.3795 | 1148212.7948 | 2521282.3547 | 1148236.8582
18 | 2521272.8328 | 1148262.247 | 2521282.3547 | 1148236.8582
19 | 2521267.1714 | 1148277.3424 | 2521272.8328 | 1148262.247
20 | 2521333.3132 | 1148111.9605 | 2521321.8637 | 1148113.8335 | 2521321.1013 | 1148127.2301
21 | 2521333.3132 | 1148111.9605 | 2521329.0073 | 1148092.6841
22 | 2521310.773 | 1148161.1007 | 2521320.6772 | 1148134.6831 | 2521321.1013 | 1148127.2301
23 | 2521320.8481 | 1148056.1582 | 2521329.0073 | 1148092.6841
24 | 2521320.8481 | 1148056.1582 | 2521316.9277 | 1148031.2285 | 2521315.4499 | 1148018.6517
25 | 2521276.0866 | 1148014.9644 | 2521315.4499 | 1148018.6517
26 | 2521315.4499 | 1148018.6517 | 2521316.1647 | 1147999.9094 | 2521316.3896 | 1147998.2161
27 | 2521218.9283 | 1148049.3987 | 2521200.6896 | 1148047.7699 | 2521179.8708 | 1148044.4183
28 | 2521319.6993 | 1147979.4848 | 2521317.7308 | 1147988.1155 | 2521316.3896 | 1147998.2161
29 | 2521319.6993 | 1147979.4848 | 2521288.5047 | 1147972.6444 | 2521283.2817 | 1147967.0381
30 | 2521211.6349 | 1148000.3324 | 2521222.6413 | 1148000.989
31 | 2521193.6103 | 1147999.257 | 2521211.6349 | 1148000.3324
32 | 2521193.6103 | 1147999.257 | 2521194.3278 | 1147997.1158
33 | 2521193.6103 | 1147999.257 | 2521188.4081 | 1148015.6519
34 | 2521193.6103 | 1147999.257 | 2521145.5301 | 1147988.7936
35 | 2521179.8708 | 1148044.4183 | 2521180.8863 | 1148040.4472 | 2521182.923 | 1148032.9385 | 2521188.4081 | 1148015.6519
36 | 2521102.2388 | 1147977.0021 | 2521145.5301 | 1147988.7936
37 | 2521267.1714 | 1148277.3424 | 2521263.8502 | 1148276.2089
38 | 2521267.1714 | 1148277.3424 | 2521293.4571 | 1148286.3107
39 | 2521231.3921 | 1148265.1258 | 2521240.85 | 1148268.3594
40 | 2521231.3921 | 1148265.1258 | 2521219.0487 | 1148260.9141
41 | 2521240.85 | 1148268.3594 | 2521228.068 | 1148303.7704
42 | 2521240.85 | 1148268.3594 | 2521263.8502 | 1148276.2089
43 | 2521197.4411 | 1148253.5414 | 2521219.0487 | 1148260.9141
44 | 2521100.2864 | 1148024.9166 | 2521102.0169 | 1148025.3521
45 | 2521059.7869 | 1148014.2527 | 2521085.7713 | 1148021.4383 | 2521100.2864 | 1148024.9166
46 | 2521059.7869 | 1148014.2527 | 2521050.8272 | 1148039.1578
47 | 2521059.7869 | 1148014.2527 | 2521056.2738 | 1148012.8313 | 2521058.9656 | 1148006.6814 | 2521078.5832 | 1147970.5589
48 | 2521078.5832 | 1147970.5589 | 2521102.2388 | 1147977.0021
49 | 2521227.9927 | 1148303.979 | 2521228.068 | 1148303.7704
50 | 2521197.4411 | 1148253.5414 | 2521184.0593 | 1148290.1918
51 | 2521227.2331 | 1148306.0835 | 2521227.9927 | 1148303.979
52 | 2521175.8473 | 1148312.6834 | 2521184.0593 | 1148290.1918
53 | 2521334.4517 | 1148303.5867 | 2521325.0633 | 1148299.3972
54 | 2521309.1146 | 1148292.2801 | 2521325.0633 | 1148299.3972
55 | 2521334.4517 | 1148303.5867 | 2521339.2607 | 1148305.7327
56 | 2521321.8714 | 1148256.504 | 2521309.1146 | 1148292.2801
57 | 2521309.1146 | 1148292.2801 | 2521303.2281 | 1148289.6445 | 2521297.4626 | 1148287.6774
58 | 2521350.2269 | 1148311.2859 | 2521347.0904 | 1148309.2267 | 2521339.2607 | 1148305.7327
59 | 2521299.735 | 1148248.6556 | 2521321.8714 | 1148256.504
60 | 2521321.8714 | 1148256.504 | 2521324.0785 | 1148250.3185
61 | 2521297.4626 | 1148287.6774 | 2521293.4571 | 1148286.3107
62 | 2521374.9826 | 1148327.5386 | 2521350.2269 | 1148311.2859
63 | 2521324.7691 | 1148248.383 | 2521324.0785 | 1148250.3185
64 | 2521374.9826 | 1148327.5386 | 2521375.9796 | 1148328.1931
65 | 2521324.7691 | 1148248.383 | 2521325.513 | 1148246.2981
66 | 2521316.9422 | 1148389.6424 | 2521315.7958 | 1148392.7948
67 | 2521310.8681 | 1148406.3448 | 2521315.7958 | 1148392.7948
68 | 2521327.5247 | 1148360.5431 | 2521316.9422 | 1148389.6424
69 | 2521277.7488 | 1148393.1036 | 2521304.5608 | 1148403.8258 | 2521310.8681 | 1148406.3448
70 | 2521328.6817 | 1148357.3616 | 2521327.5247 | 1148360.5431
71 | 2521277.7488 | 1148393.1036 | 2521284.3274 | 1148375.7663
72 | 2521277.7488 | 1148393.1036 | 2521258.5447 | 1148385.4319
73 | 2521284.3274 | 1148375.7663 | 2521291.5866 | 1148356.6351 | 2521278.9727 | 1148351.8834
74 | 2521228.2586 | 1148373.3332 | 2521258.5447 | 1148385.4319
75 | 2521271.6121 | 1148349.1107 | 2521278.9727 | 1148351.8834
76 | 2521206.1522 | 1148364.502 | 2521228.2586 | 1148373.3332
77 | 2521403.4737 | 1148277.3722 | 2521387.6503 | 1148255.0602
78 | 2521403.4737 | 1148277.3722 | 2521413.1056 | 1148290.9538 | 2521423.0511 | 1148311.5358 | 2521426.2506 | 1148320.5878
79 | 2521426.2506 | 1148320.5878 | 2521513.1723 | 1148273.0155
80 | 2521375.9796 | 1148328.1931 | 2521426.2506 | 1148320.5878
81 | 2521163.1971 | 1148347.3436 | 2521184.8903 | 1148356.009
82 | 2521206.1522 | 1148364.502 | 2521184.8903 | 1148356.009
83 | 2521163.1971 | 1148347.3436 | 2521175.8076 | 1148312.792 | 2521175.8473 | 1148312.6834
84 | 2521163.1971 | 1148347.3436 | 2521144.3046 | 1148339.4251
85 | 2521218.5058 | 1148330.254 | 2521206.1522 | 1148364.502
86 | 2521046.2565 | 1148051.8629 | 2521070.6901 | 1148108.3213
87 | 2521046.2565 | 1148051.8629 | 2521050.8272 | 1148039.1578
88 | 2521327.5906 | 1148240.4756 | 2521325.513 | 1148246.2981
89 | 2521267.2291 | 1148347.4596 | 2521271.6121 | 1148349.1107

## bus_geodata
| x | y | coords
0 | 2521202.4302 | 1148142.4162
1 | 2521233.6214 | 1148152.6878
2 | 2521266.2139 | 1148163.712
3 | 2521250.7471 | 1148106.7586
4 | 2521064.3669 | 1148125.9215
5 | 2521067.9635 | 1148115.9106
6 | 2521250.7144 | 1148214.8982
7 | 2521238.456 | 1148246.7634
8 | 2521269.5493 | 1148155.0857
9 | 2521263.5179 | 1148171.3183
10 | 2521262.5825 | 1148074.1708
11 | 2521298.7773 | 1148193.0696
12 | 2521309.1106 | 1148165.5347
13 | 2521298.0275 | 1148195.069
14 | 2521269.9526 | 1148053.878
15 | 2521291.3795 | 1148212.7948
16 | 2521282.3547 | 1148236.8582
17 | 2521272.8328 | 1148262.247
18 | 2521333.3132 | 1148111.9605
19 | 2521321.1013 | 1148127.2301
20 | 2521329.0073 | 1148092.6841
21 | 2521310.773 | 1148161.1007
22 | 2521320.8481 | 1148056.1582
23 | 2521315.4499 | 1148018.6517
24 | 2521218.9283 | 1148049.3987
25 | 2521276.0866 | 1148014.9644
26 | 2521316.3896 | 1147998.2161
27 | 2521319.6992 | 1147979.4848
28 | 2521283.2817 | 1147967.0381
29 | 2521211.6349 | 1148000.3324
30 | 2521222.6413 | 1148000.989
31 | 2521193.6103 | 1147999.257
32 | 2521194.3278 | 1147997.1158
33 | 2521188.4081 | 1148015.6519
34 | 2521145.5301 | 1147988.7936
35 | 2521179.8708 | 1148044.4183
36 | 2521267.1714 | 1148277.3424
37 | 2521231.3921 | 1148265.1258
38 | 2521240.85 | 1148268.3594
39 | 2521219.0487 | 1148260.9141
40 | 2521100.2864 | 1148024.9166
41 | 2521102.0169 | 1148025.3521
42 | 2521059.7869 | 1148014.2527
43 | 2521102.2388 | 1147977.0021
44 | 2521078.5832 | 1147970.5589
45 | 2521228.068 | 1148303.7704
46 | 2521263.8502 | 1148276.2089
47 | 2521197.4411 | 1148253.5414
48 | 2521227.9927 | 1148303.979
49 | 2521184.0593 | 1148290.1918
50 | 2521325.0633 | 1148299.3972
51 | 2521334.4517 | 1148303.5867
52 | 2521309.1146 | 1148292.2801
53 | 2521339.2607 | 1148305.7327
54 | 2521321.8714 | 1148256.504
55 | 2521297.4626 | 1148287.6774
56 | 2521350.2269 | 1148311.2859
57 | 2521299.735 | 1148248.6556
58 | 2521324.0785 | 1148250.3185
59 | 2521293.4571 | 1148286.3107
60 | 2521374.9826 | 1148327.5386
61 | 2521324.7691 | 1148248.383
62 | 2521315.7958 | 1148392.7948
63 | 2521316.9422 | 1148389.6424
64 | 2521310.8681 | 1148406.3448
65 | 2521327.5247 | 1148360.5431
66 | 2521277.7488 | 1148393.1036
67 | 2521328.6817 | 1148357.3616
68 | 2521284.3274 | 1148375.7663
69 | 2521258.5447 | 1148385.4319
70 | 2521278.9727 | 1148351.8834
71 | 2521228.2586 | 1148373.3332
72 | 2521387.6503 | 1148255.0602
73 | 2521403.4737 | 1148277.3722
74 | 2521426.2506 | 1148320.5878
75 | 2521513.1723 | 1148273.0155
76 | 2521375.9796 | 1148328.1931
77 | 2521184.8903 | 1148356.009
78 | 2521163.1971 | 1148347.3436
79 | 2521206.1522 | 1148364.502
80 | 2521175.8472 | 1148312.6834
81 | 2521144.3046 | 1148339.4251
82 | 2521218.5058 | 1148330.254
83 | 2521070.6901 | 1148108.3213
84 | 2521046.2565 | 1148051.8629
85 | 2521050.8272 | 1148039.1578
86 | 2521227.2331 | 1148306.0835
87 | 2521325.513 | 1148246.2981
88 | 2521327.5906 | 1148240.4756
89 | 2521271.6121 | 1148349.1107
90 | 2521267.2291 | 1148347.4596
91 | 2521267.1714 | 1148277.3424

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1