## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5636-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5636-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5636-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5636-7_0_4_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_5636-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5636-7_0_4_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_5636-7_0_4_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_5636-7_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_5636-7_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_5636-7_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_5636-7_0_4_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_5636-7_0_4_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_5636-7_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_5636-7_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5636-7_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5636-7_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5636-7_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5636-7_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5636-7_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5636-7_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5636-7_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5636-7_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5636-7_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5636-7_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5636-7_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5636-7_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5636-7_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5636-7_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5636-7_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5636-7_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5636-7_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5636-7_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_5636-7_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_5636-7_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5636-7_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5636-7_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5636-7_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5636-7_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5636-7_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_5636-7_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_5636-7_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5636-7_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_5636-7_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5636-7_0_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_5636-7_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5636-7_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5636-7_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5636-7_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5636-7_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5636-7_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5636-7_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5636-7_0_4_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_5636-7_0_4_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_5636-7_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5636-7_0_4_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_5636-7_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_5636-7_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_5636-7_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5636-7_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5636-7_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5636-7_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5636-7_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_5636-7_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5636-7_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5636-7_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5636-7_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5636-7_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_5636-7_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5636-7_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5636-7_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5636-7_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_MV_336_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5636-7_0_4_load_0 | 0 | 0.0019011 | 0.00047645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5636-7_0_4_load_1 | 1 | 0.0025415 | 0.00063696 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5636-7_0_4_load_52 | 6 | 0.0030373 | 0.00076121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5636-7_0_4_load_30 | 8 | 0.0054025 | 0.001354 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5636-7_0_4_load_27 | 9 | 0.0039845 | 0.0009986 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5636-7_0_4_load_66 | 10 | 0.0021792 | 0.00054617 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5636-7_0_4_load_56 | 11 | 0.006217 | 0.0015581 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5636-7_0_4_load_53 | 12 | 0.0050905 | 0.0012758 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5636-7_0_4_load_5 | 13 | 0.0068897 | 0.0017267 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5636-7_0_4_load_8 | 15 | 0.0022621 | 0.00056692 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5636-7_0_4_load_9 | 17 | 0.0063235 | 0.0015848 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5636-7_0_4_load_10 | 18 | 0.002409 | 0.00060376 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5636-7_0_4_load_19 | 24 | 0.0048332 | 0.0012113 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5636-7_0_4_load_15 | 25 | 0.008152 | 0.0020431 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5636-7_0_4_load_23 | 27 | 0.013741 | 0.0034437 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5636-7_0_4_load_17 | 29 | 0.0031512 | 0.00078977 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5636-7_0_4_load_21 | 30 | 0.0074485 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5636-7_0_4_load_50 | 31 | 0.0071036 | 0.0017803 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5636-7_0_4_load_48 | 32 | 0.0022255 | 0.00055776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5636-7_0_4_load_22 | 33 | 0.020538 | 0.0051472 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5636-7_0_4_load_24 | 34 | 0.033856 | 0.0084851 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5636-7_0_4_load_26 | 37 | 0.00080268 | 0.00020117 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5636-7_0_4_load_44 | 38 | 0.030263 | 0.0075846 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5636-7_0_4_load_67 | 39 | 0.0013645 | 0.00034198 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5636-7_0_4_load_43 | 41 | 0.009361 | 0.0023461 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5636-7_0_4_load_42 | 42 | 0.0094713 | 0.0023737 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5636-7_0_4_load_65 | 43 | 0.0010141 | 0.00025416 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5636-7_0_4_load_32 | 44 | 0.024395 | 0.0061141 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5636-7_0_4_load_35 | 47 | 0.0049199 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5636-7_0_4_load_37 | 49 | 0.055852 | 0.013998 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5636-7_0_4_load_38 | 50 | 0.017253 | 0.0043239 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5636-7_0_4_load_72 | 51 | 0.047236 | 0.011838 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5636-7_0_4_load_70 | 52 | 0.015792 | 0.003958 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5636-7_0_4_load_71 | 54 | 0.015085 | 0.0037807 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5636-7_0_4_load_41 | 55 | 0.0050283 | 0.0012602 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5636-7_0_4_load_45 | 57 | 0.011812 | 0.0029604 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5636-7_0_4_load_46 | 58 | 0.0022058 | 0.00055282 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5636-7_0_4_load_47 | 59 | 0.0032573 | 0.00081635 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5636-7_0_4_load_51 | 60 | 0.00094346 | 0.00023645 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5636-7_0_4_load_57 | 62 | 0.007367 | 0.0018463 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5636-7_0_4_load_58 | 63 | 0.0049066 | 0.0012297 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5636-7_0_4_load_64 | 66 | 0.0011365 | 0.00028484 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5636-7_0_4_load_62 | 67 | 0.001144 | 0.0002867 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5636-7_0_4_load_61 | 68 | 0.00063497 | 0.00015914 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5636-7_0_4_load_63 | 69 | 0.015317 | 0.0038389 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5636-7_0_4_load_69 | 70 | 0.023327 | 0.0058464 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5636-7_0_4_line_0 |  | 0 | 1 | 0.033447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5636-7_0_4_line_1 |  | 1 | 2 | 0.13087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5636-7_0_4_line_2 |  | 2 | 3 | 0.15813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5636-7_0_4_line_3 |  | 3 | 10 | 0.020801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5636-7_0_4_line_4 |  | 4 | 5 | 0.087888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5636-7_0_4_line_5 |  | 4 | 6 | 0.0084842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5636-7_0_4_line_6 |  | 5 | 11 | 0.083874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5636-7_0_4_line_7 |  | 6 | 12 | 0.030109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5636-7_0_4_line_8 |  | 7 | 8 | 0.021104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5636-7_0_4_line_9 |  | 7 | 9 | 0.025867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5636-7_0_4_line_10 |  | 8 | 39 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5636-7_0_4_line_11 |  | 9 | 37 | 0.0039666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5636-7_0_4_line_12 |  | 10 | 43 | 0.03355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5636-7_0_4_line_13 |  | 11 | 47 | 0.028675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5636-7_0_4_line_14 |  | 12 | 61 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5636-7_0_4_line_15 |  | 13 | 14 | 0.14915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5636-7_0_4_line_16 |  | 14 | 15 | 0.15824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5636-7_0_4_line_17 |  | 15 | 19 | 0.14726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5636-7_0_4_line_18 |  | 16 | 17 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5636-7_0_4_line_19 |  | 16 | 18 | 0.035948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5636-7_0_4_line_20 |  | 18 | 20 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5636-7_0_4_line_21 |  | 19 | 21 | 0.03433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5636-7_0_4_line_22 |  | 19 | 22 | 0.067109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5636-7_0_4_line_23 |  | 20 | 23 | 0.15695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5636-7_0_4_line_24 |  | 20 | 24 | 0.041031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5636-7_0_4_line_25 |  | 21 | 25 | 0.0050306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5636-7_0_4_line_26 |  | 22 | 26 | 0.25406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5636-7_0_4_line_27 |  | 22 | 24 | 0.046817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5636-7_0_4_line_28 |  | 23 | 27 | 0.03346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5636-7_0_4_line_29 |  | 23 | 28 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5636-7_0_4_line_30 |  | 26 | 29 | 0.069669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5636-7_0_4_line_31 |  | 27 | 30 | 0.055353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5636-7_0_4_line_32 |  | 28 | 31 | 0.0025751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5636-7_0_4_line_33 |  | 28 | 32 | 0.029691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5636-7_0_4_line_34 |  | 30 | 33 | 0.035872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5636-7_0_4_line_35 |  | 31 | 60 | 0.017031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5636-7_0_4_line_36 |  | 32 | 58 | 0.052849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5636-7_0_4_line_37 |  | 33 | 34 | 0.015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5636-7_0_4_line_38 |  | 34 | 35 | 0.013623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5636-7_0_4_line_39 |  | 35 | 36 | 0.035746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5636-7_0_4_line_40 |  | 35 | 37 | 0.032216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5636-7_0_4_line_41 |  | 36 | 38 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5636-7_0_4_line_42 |  | 38 | 40 | 0.017444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5636-7_0_4_line_43 |  | 40 | 52 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5636-7_0_4_line_44 |  | 40 | 48 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5636-7_0_4_line_45 |  | 41 | 42 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5636-7_0_4_line_46 |  | 42 | 53 | 0.006681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5636-7_0_4_line_47 |  | 43 | 65 | 0.011365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5636-7_0_4_line_48 |  | 44 | 45 | 0.042379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5636-7_0_4_line_49 |  | 44 | 46 | 0.062368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5636-7_0_4_line_50 |  | 45 | 47 | 0.038857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5636-7_0_4_line_51 |  | 46 | 48 | 0.030634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5636-7_0_4_line_52 |  | 46 | 49 | 0.026747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5636-7_0_4_line_53 |  | 48 | 50 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5636-7_0_4_line_54 |  | 49 | 51 | 0.0097637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5636-7_0_4_line_55 |  | 50 | 53 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5636-7_0_4_line_56 |  | 51 | 54 | 0.028671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5636-7_0_4_line_57 |  | 52 | 56 | 0.02169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5636-7_0_4_line_58 |  | 53 | 55 | 0.025461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5636-7_0_4_line_59 |  | 56 | 70 | 0.022458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5636-7_0_4_line_60 |  | 57 | 58 | 0.04627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5636-7_0_4_line_61 |  | 57 | 59 | 0.00043492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5636-7_0_4_line_62 |  | 61 | 62 | 0.027038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5636-7_0_4_line_63 |  | 61 | 63 | 0.045054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5636-7_0_4_line_64 |  | 62 | 64 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5636-7_0_4_line_65 |  | 64 | 65 | 0.061362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5636-7_0_4_line_66 |  | 65 | 66 | 0.026124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5636-7_0_4_line_67 |  | 66 | 67 | 0.0061351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5636-7_0_4_line_68 |  | 67 | 68 | 0.010457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5636-7_0_4_line_69 |  | 68 | 69 | 0.009045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5636-7_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 71 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2521438.8059 | 1148844.7621 | 2521463.5943 | 1148845.0453 | 2521472.0835 | 1148846.7389
1 | 2521599.1399 | 1148864.5556 | 2521555.5795 | 1148868.3366 | 2521524.7982 | 1148865.7253 | 2521486.6072 | 1148849.6365 | 2521472.0835 | 1148846.7389
2 | 2521599.1399 | 1148864.5556 | 2521625.2908 | 1148860.7016 | 2521650.5814 | 1148855.6472 | 2521681.0742 | 1148836.695 | 2521685.614 | 1148833.8565 | 2521691.7487 | 1148769.4954
3 | 2521691.7487 | 1148769.4954 | 2521672.3496 | 1148761.9881
4 | 2521466.8256 | 1148621.4418 | 2521445.9048 | 1148664.7952 | 2521455.3638 | 1148668.7629 | 2521482.5521 | 1148680.1924
5 | 2521482.5521 | 1148680.1924 | 2521490.3723 | 1148683.483
6 | 2521466.8256 | 1148621.4418 | 2521482.4378 | 1148589.0862 | 2521525.6764 | 1148609.8099
7 | 2521490.3723 | 1148683.483 | 2521509.4084 | 1148691.493 | 2521518.1245 | 1148695.1606
8 | 2521731.8037 | 1148724.6597 | 2521725.3726 | 1148721.4415 | 2521712.9705 | 1148715.1371
9 | 2521731.8037 | 1148724.6597 | 2521729.8289 | 1148700.9607 | 2521730.2519 | 1148698.9179
10 | 2521712.9705 | 1148715.1371 | 2521696.6109 | 1148706.821
11 | 2521730.2519 | 1148698.9179 | 2521731.0562 | 1148695.0336
12 | 2521641.6035 | 1148748.5695 | 2521664.902 | 1148758.8832 | 2521668.903 | 1148760.6543 | 2521672.3496 | 1148761.9881
13 | 2521525.6764 | 1148609.8099 | 2521536.6097 | 1148615.05 | 2521543.4532 | 1148599.9801
14 | 2521535.1372 | 1148702.3192 | 2521518.1245 | 1148695.1606
15 | 2522362.0845 | 1148478.0543 | 2522318.5471 | 1148542.7197 | 2522301.2954 | 1148550.18 | 2522281.4005 | 1148547.4131 | 2522249.4006 | 1148542.9664
16 | 2522362.0845 | 1148478.0543 | 2522205.2013 | 1148457.3459
17 | 2522059.2268 | 1148437.9462 | 2522068.8292 | 1148439.3449 | 2522205.2013 | 1148457.3459
18 | 2522012.3019 | 1148510.0287 | 2522014.17 | 1148495.3739
19 | 2522012.3019 | 1148510.0287 | 2521997.6614 | 1148507.995 | 2521976.696 | 1148505.0835
20 | 2521962.2254 | 1148503.0739 | 2521976.696 | 1148505.0835
21 | 2522059.2268 | 1148437.9462 | 2522059.1405 | 1148423.5836 | 2522059.3816 | 1148415.5203 | 2522059.5807 | 1148403.622
22 | 2522059.2268 | 1148437.9462 | 2521996.7956 | 1148428.8055 | 2521996.2558 | 1148432.7814
23 | 2521894.9323 | 1148631.6204 | 2521903.0957 | 1148628.0902 | 2521917.3262 | 1148621.624 | 2521920.1714 | 1148618.9634 | 2521928.08 | 1148612.357 | 2521936.3955 | 1148598.6524 | 2521940.8755 | 1148579.3499 | 2521947.3847 | 1148551.305 | 2521958.6865 | 1148502.5861 | 2521962.2254 | 1148503.0739
24 | 2521962.2254 | 1148503.0739 | 2521963.3138 | 1148498.7684 | 2521972.5414 | 1148463.361
25 | 2522059.5807 | 1148403.622 | 2522059.6667 | 1148398.5922
26 | 2521996.2558 | 1148432.7814 | 2521996.7956 | 1148428.8055 | 2521998.4649 | 1148418.3667 | 2522000.9669 | 1148400.4797 | 2522000.6506 | 1148386.1533 | 2522001.1064 | 1148381.0334 | 2522002.5768 | 1148373.6101 | 2522007.941 | 1148359.6882 | 2522018.9966 | 1148333.3743 | 2522030.5045 | 1148309.3559 | 2522057.3866 | 1148253.8649 | 2522082.4474 | 1148201.7996 | 2522077.8801 | 1148200.1911
27 | 2521996.2558 | 1148432.7814 | 2521987.1989 | 1148431.398 | 2521983.3294 | 1148432.0708 | 2521981.3508 | 1148433.4639 | 2521979.881 | 1148435.6064 | 2521977.8496 | 1148442.9925 | 2521972.5414 | 1148463.361
28 | 2521894.9323 | 1148631.6204 | 2521862.8707 | 1148641.1914
29 | 2521894.9323 | 1148631.6204 | 2521892.1463 | 1148621.1061 | 2521892.6843 | 1148612.861
30 | 2522077.8801 | 1148200.1911 | 2522071.8953 | 1148198.2564 | 2522010.6327 | 1148182.0138
31 | 2521862.8707 | 1148641.1914 | 2521826.5208 | 1148652.0426 | 2521813.6922 | 1148655.867 | 2521809.8537 | 1148657.1001
32 | 2521892.6843 | 1148612.861 | 2521895.2497 | 1148613.0852
33 | 2521892.6843 | 1148612.861 | 2521863.106 | 1148610.2752
34 | 2521809.8537 | 1148657.1001 | 2521798.0761 | 1148660.8839 | 2521786.3828 | 1148662.837 | 2521774.7443 | 1148663.2661
35 | 2521895.2497 | 1148613.0852 | 2521912.2161 | 1148614.5677
36 | 2521810.4581 | 1148605.6725 | 2521863.106 | 1148610.2752
37 | 2521759.3974 | 1148663.9834 | 2521761.2295 | 1148663.7645 | 2521774.7443 | 1148663.2661
38 | 2521746.4477 | 1148667.381 | 2521750.6868 | 1148665.0245 | 2521759.3974 | 1148663.9834
39 | 2521713.4765 | 1148653.5241 | 2521719.6264 | 1148656.9683 | 2521731.6726 | 1148662.0701 | 2521746.4477 | 1148667.381
40 | 2521746.4477 | 1148667.381 | 2521740.0845 | 1148674.1009 | 2521736.6594 | 1148679.9932 | 2521732.1626 | 1148689.6906 | 2521731.0562 | 1148695.0336
41 | 2521713.4765 | 1148653.5241 | 2521703.4167 | 1148647.8802
42 | 2521688.2033 | 1148639.3448 | 2521703.4167 | 1148647.8802
43 | 2521688.2033 | 1148639.3448 | 2521686.0759 | 1148644.6422 | 2521684.9955 | 1148650.5627
44 | 2521688.2033 | 1148639.3448 | 2521677.4902 | 1148621.6297
45 | 2521718.0685 | 1148630.0442 | 2521709.3619 | 1148624.4914
46 | 2521703.729 | 1148620.8989 | 2521709.3619 | 1148624.4914
47 | 2521631.2108 | 1148743.9689 | 2521641.6035 | 1148748.5695
48 | 2521559.5199 | 1148564.6003 | 2521571.6111 | 1148567.8223 | 2521576.0307 | 1148568.7097 | 2521584.1077 | 1148570.3387 | 2521600.8495 | 1148573.9104
49 | 2521658.1335 | 1148598.2905 | 2521656.8608 | 1148597.2732 | 2521627.9336 | 1148584.4091 | 2521603.1135 | 1148574.3934 | 2521600.8495 | 1148573.9104
50 | 2521559.5199 | 1148564.6003 | 2521543.4532 | 1148599.9801
51 | 2521677.4902 | 1148621.6297 | 2521675.5046 | 1148618.3536 | 2521666.4524 | 1148604.9305 | 2521658.1335 | 1148598.2905
52 | 2521658.1335 | 1148598.2905 | 2521646.1176 | 1148622.1865
53 | 2521677.4902 | 1148621.6297 | 2521688.4968 | 1148611.1693
54 | 2521646.1176 | 1148622.1865 | 2521646.0519 | 1148622.3171 | 2521642.7475 | 1148620.9705 | 2521640.2548 | 1148626.4823
55 | 2521703.729 | 1148620.8989 | 2521688.4968 | 1148611.1693
56 | 2521644.1407 | 1148646.6259 | 2521633.32 | 1148641.8163 | 2521640.2548 | 1148626.4823
57 | 2521681.1014 | 1148671.9003 | 2521684.9955 | 1148650.5627
58 | 2521703.729 | 1148620.8989 | 2521713.7299 | 1148597.4776
59 | 2521681.1014 | 1148671.9003 | 2521703.5087 | 1148674.1767
60 | 2521764.3637 | 1148601.6428 | 2521810.4581 | 1148605.6725
61 | 2521764.3637 | 1148601.6428 | 2521763.9304 | 1148601.6049
62 | 2521535.1372 | 1148702.3192 | 2521560.0592 | 1148712.8046
63 | 2521553.6074 | 1148661.2104 | 2521535.1372 | 1148702.3192
64 | 2521574.9657 | 1148719.0763 | 2521560.0592 | 1148712.8046
65 | 2521631.2108 | 1148743.9689 | 2521605.3824 | 1148732.5432 | 2521574.9657 | 1148719.0763
66 | 2521631.2108 | 1148743.9689 | 2521642.5392 | 1148720.4287
67 | 2521645.1997 | 1148714.9004 | 2521642.5392 | 1148720.4287
68 | 2521649.7341 | 1148705.478 | 2521645.1997 | 1148714.9004
69 | 2521653.6564 | 1148697.3277 | 2521649.7341 | 1148705.478

## bus_geodata
| x | y | coords
0 | 2521438.8059 | 1148844.7621
1 | 2521472.0835 | 1148846.7389
2 | 2521599.1399 | 1148864.5556
3 | 2521691.7487 | 1148769.4954
4 | 2521482.5521 | 1148680.1924
5 | 2521466.8256 | 1148621.4418
6 | 2521490.3722 | 1148683.483
7 | 2521731.8037 | 1148724.6597
8 | 2521712.9705 | 1148715.1371
9 | 2521730.2519 | 1148698.9179
10 | 2521672.3496 | 1148761.9881
11 | 2521525.6764 | 1148609.8099
12 | 2521518.1245 | 1148695.1606
13 | 2522249.4006 | 1148542.9664
14 | 2522362.0845 | 1148478.0543
15 | 2522205.2013 | 1148457.3459
16 | 2522012.3019 | 1148510.0287
17 | 2522014.17 | 1148495.3739
18 | 2521976.696 | 1148505.0835
19 | 2522059.2268 | 1148437.9462
20 | 2521962.2254 | 1148503.0739
21 | 2522059.5807 | 1148403.622
22 | 2521996.2558 | 1148432.7814
23 | 2521894.9323 | 1148631.6204
24 | 2521972.5414 | 1148463.361
25 | 2522059.6667 | 1148398.5922
26 | 2522077.8801 | 1148200.1911
27 | 2521862.8707 | 1148641.1914
28 | 2521892.6843 | 1148612.861
29 | 2522010.6327 | 1148182.0138
30 | 2521809.8537 | 1148657.1001
31 | 2521895.2497 | 1148613.0852
32 | 2521863.106 | 1148610.2752
33 | 2521774.7443 | 1148663.2661
34 | 2521759.3974 | 1148663.9834
35 | 2521746.4477 | 1148667.381
36 | 2521713.4765 | 1148653.5241
37 | 2521731.0562 | 1148695.0336
38 | 2521703.4167 | 1148647.8802
39 | 2521696.6109 | 1148706.821
40 | 2521688.2033 | 1148639.3448
41 | 2521718.0685 | 1148630.0442
42 | 2521709.3619 | 1148624.4914
43 | 2521641.6035 | 1148748.5695
44 | 2521600.8495 | 1148573.9104
45 | 2521559.5199 | 1148564.6003
46 | 2521658.1335 | 1148598.2905
47 | 2521543.4532 | 1148599.9801
48 | 2521677.4902 | 1148621.6297
49 | 2521646.1176 | 1148622.1865
50 | 2521688.4968 | 1148611.1693
51 | 2521640.2548 | 1148626.4823
52 | 2521684.9955 | 1148650.5627
53 | 2521703.729 | 1148620.8989
54 | 2521644.1407 | 1148646.6259
55 | 2521713.7299 | 1148597.4776
56 | 2521681.1014 | 1148671.9003
57 | 2521764.3637 | 1148601.6428
58 | 2521810.4581 | 1148605.6725
59 | 2521763.9304 | 1148601.6049
60 | 2521912.2161 | 1148614.5677
61 | 2521535.1372 | 1148702.3192
62 | 2521560.0592 | 1148712.8046
63 | 2521553.6074 | 1148661.2104
64 | 2521574.9657 | 1148719.0763
65 | 2521631.2108 | 1148743.9689
66 | 2521642.5392 | 1148720.4287
67 | 2521645.1997 | 1148714.9004
68 | 2521649.7341 | 1148705.478
69 | 2521653.6564 | 1148697.3277
70 | 2521703.5087 | 1148674.1767
71 | 2521703.729 | 1148620.8989

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1