## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5637-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5637-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5637-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5637-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5637-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5637-2_0_4_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_5637-2_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5637-2_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_5637-2_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_5637-2_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5637-2_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5637-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5637-2_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5637-2_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5637-2_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5637-2_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5637-2_0_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_5637-2_0_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_5637-2_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_5637-2_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_5637-2_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5637-2_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5637-2_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5637-2_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5637-2_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5637-2_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5637-2_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5637-2_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5637-2_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5637-2_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5637-2_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5637-2_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5637-2_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5637-2_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5637-2_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5637-2_0_4_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_5637-2_0_4_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_5637-2_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5637-2_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5637-2_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5637-2_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5637-2_0_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_5637-2_0_4_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_5637-2_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_5637-2_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_5637-2_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_5637-2_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_5637-2_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5637-2_0_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_5637-2_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_5637-2_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_5637-2_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_5637-2_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_5637-2_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_5637-2_0_4_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5637-2_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_5637-2_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_5637-2_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_5637-2_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5637-2_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_5637-2_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_5637-2_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_5637-2_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_5637-2_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_5637-2_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_5637-2_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_5637-2_0_4_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_5637-2_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_5637-2_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5637-2_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_5637-2_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5637-2_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5637-2_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_5637-2_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_5637-2_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5637-2_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_5637-2_0_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_5637-2_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_5637-2_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5637-2_0_4_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_5637-2_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_5637-2_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5637-2_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5637-2_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_5637-2_0_4_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_5637-2_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_5637-2_0_4_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_5637-2_0_4_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_5637-2_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_5637-2_0_4_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_5637-2_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_5637-2_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_336_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5637-2_0_4_load_0 | 0 | 0.0060404 | 0.0015139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5637-2_0_4_load_1 | 1 | 0.0049476 | 0.00124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5637-2_0_4_load_4 | 4 | 0.013657 | 0.0034228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5637-2_0_4_load_5 | 6 | 0.0051376 | 0.0012876 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5637-2_0_4_load_47 | 7 | 0.0086569 | 0.0021696 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5637-2_0_4_load_46 | 8 | 0.0059655 | 0.0014951 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5637-2_0_4_load_6 | 9 | 0.0057253 | 0.0014349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5637-2_0_4_load_7 | 10 | 0.0058842 | 0.0014747 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5637-2_0_4_load_8 | 11 | 0.0025314 | 0.00063442 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5637-2_0_4_load_10 | 13 | 0.016911 | 0.0042382 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5637-2_0_4_load_11 | 14 | 0.012676 | 0.003177 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5637-2_0_4_load_12 | 15 | 0.0027044 | 0.0006778 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5637-2_0_4_load_70 | 17 | 0.012983 | 0.0032539 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5637-2_0_4_load_72 | 18 | 0.0026901 | 0.0006742 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5637-2_0_4_load_69 | 19 | 0.0026914 | 0.00067454 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5637-2_0_4_load_13 | 20 | 0.001843 | 0.00046191 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5637-2_0_4_load_14 | 21 | 0.0058947 | 0.0014774 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5637-2_0_4_load_16 | 23 | 0.021106 | 0.0052897 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5637-2_0_4_load_17 | 24 | 0.027285 | 0.0068384 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5637-2_0_4_load_18 | 25 | 0.026623 | 0.0066724 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5637-2_0_4_load_25 | 27 | 0.011716 | 0.0029363 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5637-2_0_4_load_29 | 28 | 0.019512 | 0.0048902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5637-2_0_4_load_24 | 30 | 0.0051499 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5637-2_0_4_load_20 | 31 | 0.006037 | 0.001513 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5637-2_0_4_load_21 | 32 | 0.0045884 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5637-2_0_4_load_22 | 33 | 0.0035517 | 0.00089014 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5637-2_0_4_load_68 | 35 | 0.0032455 | 0.00081339 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5637-2_0_4_load_67 | 36 | 0.0095385 | 0.0023906 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5637-2_0_4_load_28 | 38 | 0.017131 | 0.0042935 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5637-2_0_4_load_30 | 40 | 0.014403 | 0.0036099 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5637-2_0_4_load_75 | 41 | 0.015599 | 0.0039094 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5637-2_0_4_load_51 | 42 | 0.0097156 | 0.002435 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5637-2_0_4_load_44 | 43 | 0.0080311 | 0.0020128 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5637-2_0_4_load_56 | 45 | 0.0056249 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5637-2_0_4_load_54 | 46 | 0.0046775 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5637-2_0_4_load_62 | 47 | 0.011698 | 0.0029319 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5637-2_0_4_load_65 | 49 | 0.011104 | 0.0027828 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5637-2_0_4_load_64 | 50 | 0.013973 | 0.003502 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5637-2_0_4_load_60 | 51 | 0.0047416 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5637-2_0_4_load_63 | 52 | 0.0011222 | 0.00028124 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5637-2_0_4_load_32 | 54 | 0.00094817 | 0.00023763 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5637-2_0_4_load_34 | 56 | 0.019046 | 0.0047735 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5637-2_0_4_load_35 | 59 | 0.0012799 | 0.00032077 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5637-2_0_4_load_36 | 60 | 0.0016297 | 0.00040844 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5637-2_0_4_load_38 | 62 | 0.0010432 | 0.00026145 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5637-2_0_4_load_39 | 63 | 0.0039604 | 0.00099257 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5637-2_0_4_load_40 | 64 | 0.011351 | 0.0028448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5637-2_0_4_load_43 | 65 | 0.0025717 | 0.00064452 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5637-2_0_4_load_76 | 66 | 0.0045877 | 0.0011498 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5637-2_0_4_load_48 | 68 | 0.038357 | 0.0096132 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5637-2_0_4_load_50 | 69 | 0.010055 | 0.00252 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5637-2_0_4_load_52 | 70 | 0.0079234 | 0.0019858 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5637-2_0_4_load_53 | 71 | 0.0087154 | 0.0021843 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5637-2_0_4_load_57 | 72 | 0.0057569 | 0.0014428 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5637-2_0_4_load_58 | 73 | 0.003907 | 0.00097919 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5637-2_0_4_load_59 | 74 | 0.00098318 | 0.00024641 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5637-2_0_4_load_77 | 75 | 0.0055552 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5637-2_0_4_load_80 | 76 | 0.0017972 | 0.00045042 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5637-2_0_4_load_84 | 79 | 0.0031947 | 0.00080066 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5637-2_0_4_load_83 | 80 | 0.0022248 | 0.00055759 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5637-2_0_4_load_82 | 81 | 0.0018354 | 0.00045998 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5637-2_0_4_load_81 | 82 | 0.0018196 | 0.00045602 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5637-2_0_4_load_85 | 83 | 0.0019626 | 0.00049186 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5637-2_0_4_load_86 | 84 | 0.00077136 | 0.00019332 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5637-2_0_4_load_87 | 85 | 0.0022117 | 0.00055431 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5637-2_0_4_load_88 | 86 | 0.00084684 | 0.00021224 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5637-2_0_4_load_89 | 87 | 0.001927 | 0.00048296 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5637-2_0_4_load_90 | 88 | 0.00077247 | 0.0001936 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5637-2_0_4_load_91 | 89 | 0.0025828 | 0.0006473 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5637-2_0_4_load_92 | 90 | 0.0024691 | 0.00061881 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5637-2_0_4_load_93 | 91 | 0.0028436 | 0.00071267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5637-2_0_4_line_0 |  | 0 | 1 | 0.023983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5637-2_0_4_line_1 |  | 0 | 2 | 0.010097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5637-2_0_4_line_2 |  | 1 | 3 | 0.031659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5637-2_0_4_line_3 |  | 2 | 4 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5637-2_0_4_line_4 |  | 3 | 5 | 0.058043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5637-2_0_4_line_5 |  | 4 | 6 | 0.034865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5637-2_0_4_line_6 |  | 5 | 7 | 0.033949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5637-2_0_4_line_7 |  | 5 | 8 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5637-2_0_4_line_8 |  | 6 | 9 | 0.0010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5637-2_0_4_line_9 |  | 7 | 68 | 0.018404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5637-2_0_4_line_10 |  | 10 | 11 | 0.0031763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5637-2_0_4_line_11 |  | 10 | 12 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5637-2_0_4_line_12 |  | 12 | 13 | 0.031393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5637-2_0_4_line_13 |  | 12 | 14 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5637-2_0_4_line_14 |  | 12 | 15 | 0.021594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5637-2_0_4_line_15 |  | 14 | 16 | 0.027041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5637-2_0_4_line_16 |  | 15 | 17 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5637-2_0_4_line_17 |  | 16 | 18 | 0.021292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5637-2_0_4_line_18 |  | 17 | 19 | 0.012715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5637-2_0_4_line_19 |  | 18 | 67 | 0.039319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5637-2_0_4_line_20 |  | 19 | 34 | 0.0082242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5637-2_0_4_line_21 |  | 20 | 21 | 0.01461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5637-2_0_4_line_22 |  | 20 | 22 | 0.0074739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5637-2_0_4_line_23 |  | 21 | 23 | 0.00041034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5637-2_0_4_line_24 |  | 22 | 24 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5637-2_0_4_line_25 |  | 22 | 25 | 0.030176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5637-2_0_4_line_26 |  | 23 | 26 | 0.032556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5637-2_0_4_line_27 |  | 24 | 27 | 0.0054806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5637-2_0_4_line_28 |  | 26 | 28 | 0.0088812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5637-2_0_4_line_29 |  | 27 | 29 | 0.041924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5637-2_0_4_line_30 |  | 28 | 30 | 0.0013047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5637-2_0_4_line_31 |  | 29 | 37 | 0.045921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5637-2_0_4_line_32 |  | 29 | 38 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5637-2_0_4_line_33 |  | 30 | 33 | 0.023169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5637-2_0_4_line_34 |  | 31 | 32 | 0.0064379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5637-2_0_4_line_35 |  | 31 | 33 | 0.0071654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5637-2_0_4_line_36 |  | 32 | 34 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5637-2_0_4_line_37 |  | 34 | 35 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5637-2_0_4_line_38 |  | 35 | 36 | 0.019583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5637-2_0_4_line_39 |  | 36 | 75 | 0.47915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5637-2_0_4_line_40 |  | 37 | 39 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5637-2_0_4_line_41 |  | 37 | 40 | 0.054683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5637-2_0_4_line_42 |  | 38 | 41 | 0.0012408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5637-2_0_4_line_43 |  | 39 | 42 | 0.032297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5637-2_0_4_line_44 |  | 41 | 43 | 0.031259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5637-2_0_4_line_45 |  | 42 | 53 | 0.024221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5637-2_0_4_line_46 |  | 44 | 45 | 0.025956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5637-2_0_4_line_47 |  | 44 | 46 | 0.026677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5637-2_0_4_line_48 |  | 45 | 47 | 0.0068831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5637-2_0_4_line_49 |  | 46 | 71 | 0.027201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5637-2_0_4_line_50 |  | 47 | 52 | 0.030258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5637-2_0_4_line_51 |  | 48 | 49 | 0.0030072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5637-2_0_4_line_52 |  | 48 | 50 | 0.040727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5637-2_0_4_line_53 |  | 48 | 51 | 0.024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5637-2_0_4_line_54 |  | 50 | 52 | 0.00046468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5637-2_0_4_line_55 |  | 51 | 74 | 0.0022464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5637-2_0_4_line_56 |  | 53 | 69 | 0.023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5637-2_0_4_line_57 |  | 53 | 68 | 0.024137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5637-2_0_4_line_58 |  | 54 | 55 | 0.049243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5637-2_0_4_line_59 |  | 55 | 56 | 0.019664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5637-2_0_4_line_60 |  | 56 | 57 | 0.029912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5637-2_0_4_line_61 |  | 57 | 58 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5637-2_0_4_line_62 |  | 58 | 65 | 0.013574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5637-2_0_4_line_63 |  | 58 | 62 | 0.02351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5637-2_0_4_line_64 |  | 59 | 60 | 0.036176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5637-2_0_4_line_65 |  | 59 | 61 | 0.044307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5637-2_0_4_line_66 |  | 60 | 62 | 0.025372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5637-2_0_4_line_67 |  | 61 | 63 | 0.008374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5637-2_0_4_line_68 |  | 61 | 64 | 0.003301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5637-2_0_4_line_69 |  | 65 | 66 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5637-2_0_4_line_70 |  | 66 | 67 | 0.00639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5637-2_0_4_line_71 |  | 69 | 70 | 0.056436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5637-2_0_4_line_72 |  | 70 | 71 | 0.0090388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5637-2_0_4_line_73 |  | 71 | 72 | 0.047539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5637-2_0_4_line_74 |  | 72 | 73 | 0.0002196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5637-2_0_4_line_75 |  | 75 | 76 | 0.074231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5637-2_0_4_line_76 |  | 76 | 81 | 0.027503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5637-2_0_4_line_77 |  | 76 | 77 | 0.040261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5637-2_0_4_line_78 |  | 77 | 78 | 0.020763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5637-2_0_4_line_79 |  | 78 | 79 | 0.0083061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5637-2_0_4_line_80 |  | 78 | 80 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5637-2_0_4_line_81 |  | 79 | 83 | 0.001613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5637-2_0_4_line_82 |  | 81 | 82 | 0.028236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5637-2_0_4_line_83 |  | 83 | 84 | 0.041425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5637-2_0_4_line_84 |  | 84 | 85 | 0.0098252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5637-2_0_4_line_85 |  | 85 | 86 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5637-2_0_4_line_86 |  | 86 | 87 | 0.019897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5637-2_0_4_line_87 |  | 87 | 88 | 0.02252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5637-2_0_4_line_88 |  | 88 | 89 | 0.0014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5637-2_0_4_line_89 |  | 89 | 90 | 0.026982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5637-2_0_4_line_90 |  | 90 | 91 | 0.049413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5637-2_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 92 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2520878.9118 | 1150618.0537 | 2520890.079 | 1150596.8293
1 | 2520874.2102 | 1150626.9895 | 2520878.9118 | 1150618.0537
2 | 2520907.4924 | 1150571.7646 | 2520902.1241 | 1150573.9364 | 2520890.079 | 1150596.8293
3 | 2520874.2102 | 1150626.9895 | 2520851.0529 | 1150613.4354
4 | 2520955.0969 | 1150544.879 | 2520933.0343 | 1150567.7265 | 2520924.4989 | 1150569.5842 | 2520915.6343 | 1150568.589 | 2520907.4924 | 1150571.7646
5 | 2520820.963 | 1150595.8237 | 2520851.0529 | 1150613.4354
6 | 2520955.0969 | 1150544.879 | 2520950.9591 | 1150541.965 | 2520925.8354 | 1150527.7053
7 | 2520955.0969 | 1150544.879 | 2520963.4181 | 1150550.7401
8 | 2520820.963 | 1150595.8237 | 2520820.0882 | 1150595.3117
9 | 2520925.8354 | 1150527.7053 | 2520909.8294 | 1150518.6206
10 | 2520600.7898 | 1150535.3405 | 2520599.2596 | 1150538.1239
11 | 2520611.0406 | 1150516.6933 | 2520600.7898 | 1150535.3405
12 | 2520611.0406 | 1150516.6933 | 2520582.4568 | 1150503.7128
13 | 2520611.0406 | 1150516.6933 | 2520633.8215 | 1150526.0422
14 | 2520611.0406 | 1150516.6933 | 2520614.1217 | 1150501.1882 | 2520614.8269 | 1150495.4453
15 | 2520658.7241 | 1150536.5757 | 2520647.2343 | 1150531.5465 | 2520633.8215 | 1150526.0422
16 | 2520614.9373 | 1150479.5603 | 2520615.1268 | 1150493.0035 | 2520614.8269 | 1150495.4453
17 | 2520658.7241 | 1150536.5757 | 2520665.8893 | 1150540.2611 | 2520678.1145 | 1150545.3296
18 | 2520614.7581 | 1150466.8468 | 2520614.9373 | 1150479.5603
19 | 2520714.4355 | 1150560.3882 | 2520678.1145 | 1150545.3296
20 | 2520614.6421 | 1150458.6235 | 2520614.7581 | 1150466.8468
21 | 2520721.9605 | 1150461.4547 | 2520708.4135 | 1150455.9835
22 | 2520728.8905 | 1150464.2536 | 2520721.9605 | 1150461.4547
23 | 2520708.4135 | 1150455.9835 | 2520708.033 | 1150455.8299
24 | 2520728.8905 | 1150464.2536 | 2520737.3574 | 1150467.6773 | 2520750.2155 | 1150472.5309
25 | 2520718.1999 | 1150492.4773 | 2520728.8905 | 1150464.2536
26 | 2520677.2418 | 1150445.2679 | 2520706.0986 | 1150455.0486 | 2520708.033 | 1150455.8299
27 | 2520750.2155 | 1150472.5309 | 2520755.343 | 1150474.4664
28 | 2520677.2418 | 1150445.2679 | 2520675.2616 | 1150444.727 | 2520668.4345 | 1150444.5836
29 | 2520793.6889 | 1150491.3379 | 2520789.9577 | 1150489.5749 | 2520768.6051 | 1150479.4725 | 2520755.343 | 1150474.4664
30 | 2520668.4345 | 1150444.5836 | 2520667.1301 | 1150444.5563
31 | 2520793.6889 | 1150491.3379 | 2520802.1887 | 1150483.855 | 2520815.0644 | 1150478.7048 | 2520817.7745 | 1150477.5462 | 2520829.3863 | 1150472.6016 | 2520834.4093 | 1150471.0235
32 | 2520793.6889 | 1150491.3379 | 2520788.4376 | 1150500.6457 | 2520786.4955 | 1150508.19
33 | 2520644.0969 | 1150446.807 | 2520663.8809 | 1150444.488 | 2520667.1301 | 1150444.5563
34 | 2520630.5862 | 1150448.3907 | 2520636.9803 | 1150447.6412
35 | 2520644.0969 | 1150446.807 | 2520636.9803 | 1150447.6412
36 | 2520614.6421 | 1150458.6235 | 2520620.1737 | 1150451.3685 | 2520626.0451 | 1150448.923 | 2520630.5862 | 1150448.3907
37 | 2520614.6421 | 1150458.6235 | 2520601.152 | 1150454.7707
38 | 2520582.3221 | 1150449.3928 | 2520601.152 | 1150454.7707
39 | 2520582.3221 | 1150449.3928 | 2520518.2506 | 1149974.5479
40 | 2520834.4093 | 1150471.0235 | 2520844.5342 | 1150471.5128
41 | 2520834.4093 | 1150471.0235 | 2520842.4879 | 1150436.7864 | 2520827.2248 | 1150426.2257 | 2520826.3662 | 1150425.8295
42 | 2520786.1862 | 1150509.3916 | 2520786.4955 | 1150508.19
43 | 2520844.5342 | 1150471.5128 | 2520853.9807 | 1150478.7927 | 2520870.1087 | 1150491.2366
44 | 2520786.1862 | 1150509.3916 | 2520785.1438 | 1150513.4408 | 2520785.0246 | 1150528.8624 | 2520780.245 | 1150539.4929
45 | 2520889.2853 | 1150506.0329 | 2520870.1087 | 1150491.2366
46 | 2520892.1313 | 1150409.5956 | 2520903.9393 | 1150386.4805
47 | 2520892.1313 | 1150409.5956 | 2520915.2683 | 1150422.874
48 | 2520907.0705 | 1150380.3508 | 2520903.9393 | 1150386.4805
49 | 2520915.2683 | 1150422.874 | 2520922.4315 | 1150426.985 | 2520931.9845 | 1150433.0185 | 2520937.3361 | 1150438.4757
50 | 2520907.0705 | 1150380.3508 | 2520910.3934 | 1150373.8461 | 2520917.761 | 1150362.565 | 2520924.4887 | 1150355.8869
51 | 2520959.7149 | 1150336.1207 | 2520962.6099 | 1150335.3066
52 | 2520959.7149 | 1150336.1207 | 2520946.9488 | 1150339.7127 | 2520935.7623 | 1150345.4963 | 2520927.9311 | 1150352.4699 | 2520924.8185 | 1150355.5596
53 | 2520959.7149 | 1150336.1207 | 2520974.1457 | 1150356.4716
54 | 2520924.8185 | 1150355.5596 | 2520924.4887 | 1150355.8869
55 | 2520975.4451 | 1150358.304 | 2520974.1457 | 1150356.4716
56 | 2520889.2853 | 1150506.0329 | 2520901.4785 | 1150493.3542 | 2520906.7791 | 1150489.8512
57 | 2520889.2853 | 1150506.0329 | 2520893.8147 | 1150509.5309 | 2520909.8294 | 1150518.6206
58 | 2520805.3218 | 1150603.9828 | 2520780.9048 | 1150646.7458
59 | 2520805.3218 | 1150603.9828 | 2520787.992 | 1150594.6906
60 | 2520761.6307 | 1150580.5557 | 2520787.992 | 1150594.6906
61 | 2520761.6307 | 1150580.5557 | 2520751.7145 | 1150574.9165
62 | 2520751.7145 | 1150574.9165 | 2520739.4097 | 1150569.1975 | 2520739.4045 | 1150569.1954
63 | 2520751.7145 | 1150574.9165 | 2520742.5294 | 1150588.6342 | 2520738.9922 | 1150594.6762
64 | 2520707.8958 | 1150647.7913 | 2520726.1731 | 1150616.5721
65 | 2520669.0386 | 1150626.5025 | 2520707.8958 | 1150647.7913
66 | 2520738.9922 | 1150594.6762 | 2520726.1731 | 1150616.5721
67 | 2520669.0386 | 1150626.5025 | 2520673.5647 | 1150619.457
68 | 2520669.0386 | 1150626.5025 | 2520667.2559 | 1150629.2831
69 | 2520720.6279 | 1150561.9652 | 2520723.7328 | 1150562.7559 | 2520739.4045 | 1150569.1954
70 | 2520714.4355 | 1150560.3882 | 2520720.6279 | 1150561.9652
71 | 2520906.7791 | 1150489.8512 | 2520942.1957 | 1150445.9113
72 | 2520942.1957 | 1150445.9113 | 2520940.3262 | 1150441.5248 | 2520937.3361 | 1150438.4757
73 | 2520937.3361 | 1150438.4757 | 2520979.1876 | 1150415.9271
74 | 2520979.1876 | 1150415.9271 | 2520979.3381 | 1150415.7672
75 | 2520449.3488 | 1149946.9298 | 2520518.2506 | 1149974.5479
76 | 2520439.8932 | 1149972.5963 | 2520444.8709 | 1149963.1255 | 2520449.3488 | 1149946.9298
77 | 2520464.2212 | 1149909.9057 | 2520455.6565 | 1149924.116 | 2520449.3488 | 1149946.9298
78 | 2520464.2212 | 1149909.9057 | 2520474.9421 | 1149892.1093
79 | 2520474.9421 | 1149892.1093 | 2520479.2317 | 1149884.9965
80 | 2520474.9421 | 1149892.1093 | 2520451.125 | 1149895.2149
81 | 2520479.2317 | 1149884.9965 | 2520480.0647 | 1149883.6153
82 | 2520422.4036 | 1149994.3329 | 2520434.7679 | 1149982.3479 | 2520439.8932 | 1149972.5963
83 | 2520480.0647 | 1149883.6153 | 2520489.2772 | 1149868.3395 | 2520496.6699 | 1149856.0681 | 2520501.9477 | 1149848.4592
84 | 2520501.9477 | 1149848.4592 | 2520507.5475 | 1149840.386
85 | 2520507.5475 | 1149840.386 | 2520518.5358 | 1149824.5441
86 | 2520518.5358 | 1149824.5441 | 2520529.8762 | 1149808.1948
87 | 2520529.8762 | 1149808.1948 | 2520540.1055 | 1149793.4472 | 2520537.9438 | 1149789.6402 | 2520537.783 | 1149789.5311
88 | 2520537.783 | 1149789.5311 | 2520536.5885 | 1149788.7201
89 | 2520513.5023 | 1149775.5105 | 2520513.5023 | 1149775.5105 | 2520517.0522 | 1149779.1991 | 2520526.1228 | 1149784.0709 | 2520528.9602 | 1149784.9673 | 2520532.9001 | 1149786.216 | 2520536.5885 | 1149788.7201
90 | 2520513.5023 | 1149775.5105 | 2520514.4519 | 1149771.2622 | 2520516.1938 | 1149766.5365 | 2520529.4175 | 1149730.6856 | 2520530.0438 | 1149728.9857

## bus_geodata
| x | y | coords
0 | 2520878.9118 | 1150618.0537
1 | 2520890.079 | 1150596.8293
2 | 2520874.2102 | 1150626.9895
3 | 2520907.4924 | 1150571.7646
4 | 2520851.0529 | 1150613.4354
5 | 2520955.0969 | 1150544.879
6 | 2520820.963 | 1150595.8237
7 | 2520925.8354 | 1150527.7053
8 | 2520963.4181 | 1150550.7401
9 | 2520820.0882 | 1150595.3117
10 | 2520600.7898 | 1150535.3405
11 | 2520599.2596 | 1150538.1239
12 | 2520611.0406 | 1150516.6933
13 | 2520582.4568 | 1150503.7128
14 | 2520633.8215 | 1150526.0422
15 | 2520614.8269 | 1150495.4453
16 | 2520658.7241 | 1150536.5757
17 | 2520614.9373 | 1150479.5603
18 | 2520678.1145 | 1150545.3296
19 | 2520614.7581 | 1150466.8468
20 | 2520721.9605 | 1150461.4547
21 | 2520708.4135 | 1150455.9835
22 | 2520728.8905 | 1150464.2536
23 | 2520708.033 | 1150455.8299
24 | 2520750.2155 | 1150472.5309
25 | 2520718.1999 | 1150492.4773
26 | 2520677.2418 | 1150445.2679
27 | 2520755.343 | 1150474.4664
28 | 2520668.4345 | 1150444.5837
29 | 2520793.6889 | 1150491.3379
30 | 2520667.1301 | 1150444.5563
31 | 2520636.9803 | 1150447.6412
32 | 2520630.5862 | 1150448.3907
33 | 2520644.0969 | 1150446.807
34 | 2520614.6421 | 1150458.6235
35 | 2520601.152 | 1150454.7707
36 | 2520582.3221 | 1150449.3928
37 | 2520834.4093 | 1150471.0235
38 | 2520786.4955 | 1150508.19
39 | 2520844.5342 | 1150471.5128
40 | 2520826.3662 | 1150425.8295
41 | 2520786.1862 | 1150509.3916
42 | 2520870.1087 | 1150491.2366
43 | 2520780.245 | 1150539.4929
44 | 2520892.1313 | 1150409.5956
45 | 2520903.9393 | 1150386.4805
46 | 2520915.2683 | 1150422.874
47 | 2520907.0705 | 1150380.3508
48 | 2520959.7149 | 1150336.1207
49 | 2520962.6099 | 1150335.3066
50 | 2520924.8185 | 1150355.5596
51 | 2520974.1457 | 1150356.4716
52 | 2520924.4887 | 1150355.8869
53 | 2520889.2853 | 1150506.0329
54 | 2520780.9048 | 1150646.7458
55 | 2520805.3218 | 1150603.9828
56 | 2520787.992 | 1150594.6906
57 | 2520761.6307 | 1150580.5557
58 | 2520751.7145 | 1150574.9165
59 | 2520707.8958 | 1150647.7913
60 | 2520726.1731 | 1150616.5721
61 | 2520669.0386 | 1150626.5024
62 | 2520738.9922 | 1150594.6762
63 | 2520673.5647 | 1150619.457
64 | 2520667.2559 | 1150629.2831
65 | 2520739.4045 | 1150569.1954
66 | 2520720.6279 | 1150561.9652
67 | 2520714.4355 | 1150560.3882
68 | 2520909.8294 | 1150518.6206
69 | 2520906.7791 | 1150489.8512
70 | 2520942.1957 | 1150445.9113
71 | 2520937.3361 | 1150438.4757
72 | 2520979.1876 | 1150415.9271
73 | 2520979.3381 | 1150415.7672
74 | 2520975.4451 | 1150358.304
75 | 2520518.2506 | 1149974.5479
76 | 2520449.3488 | 1149946.9298
77 | 2520464.2212 | 1149909.9057
78 | 2520474.9421 | 1149892.1093
79 | 2520479.2317 | 1149884.9965
80 | 2520451.125 | 1149895.2149
81 | 2520439.8932 | 1149972.5963
82 | 2520422.4036 | 1149994.3329
83 | 2520480.0647 | 1149883.6153
84 | 2520501.9477 | 1149848.4592
85 | 2520507.5475 | 1149840.386
86 | 2520518.5358 | 1149824.5441
87 | 2520529.8762 | 1149808.1948
88 | 2520537.783 | 1149789.5311
89 | 2520536.5885 | 1149788.7201
90 | 2520513.5023 | 1149775.5105
91 | 2520530.0438 | 1149728.9858
92 | 2520728.8905 | 1150464.2536

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1