## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5639-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5639-2_0_3_node_94 | 0.4 | n |  | TRUE
2 | bus_LV_5639-2_0_3_node_98 | 0.4 | n |  | TRUE
3 | bus_LV_5639-2_0_3_node_93 | 0.4 | n |  | TRUE
4 | bus_LV_5639-2_0_3_node_96 | 0.4 | n |  | TRUE
5 | bus_LV_5639-2_0_3_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_5639-2_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5639-2_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5639-2_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5639-2_0_3_node_95 | 0.4 | n |  | TRUE
10 | bus_LV_5639-2_0_3_node_169 | 0.4 | n |  | TRUE
11 | bus_LV_5639-2_0_3_node_170 | 0.4 | n |  | TRUE
12 | bus_LV_5639-2_0_3_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_5639-2_0_3_node_3 | 0.4 | n |  | TRUE
14 | bus_LV_5639-2_0_3_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_5639-2_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_5639-2_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_5639-2_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5639-2_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5639-2_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5639-2_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5639-2_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_5639-2_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_5639-2_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5639-2_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_5639-2_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5639-2_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5639-2_0_3_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_5639-2_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_5639-2_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_5639-2_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_5639-2_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_5639-2_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5639-2_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_5639-2_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5639-2_0_3_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_5639-2_0_3_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_5639-2_0_3_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_5639-2_0_3_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_5639-2_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5639-2_0_3_node_168 | 0.4 | n |  | TRUE
41 | bus_LV_5639-2_0_3_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_5639-2_0_3_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_5639-2_0_3_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_5639-2_0_3_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_5639-2_0_3_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_5639-2_0_3_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_5639-2_0_3_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_5639-2_0_3_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_5639-2_0_3_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_5639-2_0_3_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_5639-2_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_5639-2_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5639-2_0_3_node_171 | 0.4 | n |  | TRUE
54 | bus_LV_5639-2_0_3_node_172 | 0.4 | n |  | TRUE
55 | bus_LV_5639-2_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5639-2_0_3_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5639-2_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5639-2_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_5639-2_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5639-2_0_3_node_173 | 0.4 | n |  | TRUE
61 | bus_LV_5639-2_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_5639-2_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5639-2_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5639-2_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_5639-2_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5639-2_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5639-2_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5639-2_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5639-2_0_3_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_5639-2_0_3_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_5639-2_0_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_5639-2_0_3_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_5639-2_0_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_5639-2_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5639-2_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_5639-2_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_5639-2_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_5639-2_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_5639-2_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5639-2_0_3_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5639-2_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_5639-2_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5639-2_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5639-2_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5639-2_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_5639-2_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_5639-2_0_3_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_5639-2_0_3_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_5639-2_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_MV_450_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5639-2_0_3_load_0 | 0 | 0.0014164 | 0.00035498 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5639-2_0_3_load_98 | 2 | 0.0024603 | 0.00061662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5639-2_0_3_load_96 | 4 | 0.0020915 | 0.00052419 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5639-2_0_3_load_9 | 8 | 0.0025149 | 0.00063029 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5639-2_0_3_load_169 | 10 | 0.005537 | 0.0013877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5639-2_0_3_load_170 | 11 | 0.0034598 | 0.00086712 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5639-2_0_3_load_3 | 13 | 0.0026263 | 0.0006582 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5639-2_0_3_load_6 | 16 | 0.0048716 | 0.001221 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5639-2_0_3_load_23 | 19 | 0.0031674 | 0.00079383 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5639-2_0_3_load_12 | 20 | 0.0025624 | 0.00064219 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5639-2_0_3_load_36 | 21 | 0.0014146 | 0.00035452 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5639-2_0_3_load_37 | 22 | 0.0031673 | 0.0007938 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5639-2_0_3_load_34 | 23 | 0.0031547 | 0.00079064 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5639-2_0_3_load_24 | 24 | 0.0031528 | 0.00079016 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5639-2_0_3_load_80 | 27 | 0.0020598 | 0.00051623 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5639-2_0_3_load_38 | 29 | 0.0014095 | 0.00035325 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5639-2_0_3_load_35 | 30 | 0.003168 | 0.00079398 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5639-2_0_3_load_39 | 31 | 0.0029657 | 0.00074328 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5639-2_0_3_load_33 | 33 | 0.0063191 | 0.0015837 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5639-2_0_3_load_29 | 34 | 0.0031515 | 0.00078985 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5639-2_0_3_load_15 | 35 | 0.0022502 | 0.00056395 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5639-2_0_3_load_16 | 36 | 0.0019586 | 0.00049087 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5639-2_0_3_load_101 | 37 | 0.0019365 | 0.00048534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5639-2_0_3_load_77 | 38 | 0.001842 | 0.00046164 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5639-2_0_3_load_168 | 40 | 0.0023521 | 0.00058949 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5639-2_0_3_load_100 | 41 | 0.00090297 | 0.0002263 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5639-2_0_3_load_17 | 42 | 0.0023753 | 0.00059532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5639-2_0_3_load_18 | 43 | 0.0043961 | 0.0011018 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5639-2_0_3_load_20 | 45 | 0.0044689 | 0.00112 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5639-2_0_3_load_21 | 46 | 0.0011493 | 0.00028805 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5639-2_0_3_load_22 | 47 | 0.0019598 | 0.00049117 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5639-2_0_3_load_26 | 48 | 0.0038048 | 0.00095356 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5639-2_0_3_load_25 | 49 | 0.0030262 | 0.00075845 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5639-2_0_3_load_78 | 50 | 0.0021449 | 0.00053756 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5639-2_0_3_load_171 | 53 | 0.0054444 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5639-2_0_3_load_172 | 54 | 0.0034132 | 0.00085543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5639-2_0_3_load_55 | 55 | 0.0044543 | 0.0011164 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5639-2_0_3_load_57 | 57 | 0.0049936 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5639-2_0_3_load_173 | 60 | 0.0023546 | 0.00059011 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5639-2_0_3_load_68 | 62 | 0.0046841 | 0.0011739 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5639-2_0_3_load_66 | 63 | 0.0037643 | 0.00094343 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5639-2_0_3_load_63 | 65 | 0.0030713 | 0.00076973 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5639-2_0_3_load_59 | 66 | 0.0026068 | 0.00065333 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5639-2_0_3_load_61 | 68 | 0.0026944 | 0.00067529 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5639-2_0_3_load_89 | 70 | 0.0061022 | 0.0015294 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5639-2_0_3_load_90 | 71 | 0.0040027 | 0.0010032 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5639-2_0_3_load_85 | 72 | 0.0053425 | 0.001339 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5639-2_0_3_load_84 | 73 | 0.0028718 | 0.00071973 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5639-2_0_3_load_69 | 74 | 0.0025573 | 0.00064093 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5639-2_0_3_load_70 | 75 | 0.0038695 | 0.00096979 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5639-2_0_3_load_71 | 76 | 0.0024275 | 0.00060839 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5639-2_0_3_load_72 | 77 | 0.00080706 | 0.00020227 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5639-2_0_3_load_83 | 79 | 0.0023891 | 0.00059876 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5639-2_0_3_load_81 | 80 | 0.0025461 | 0.00063811 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5639-2_0_3_load_73 | 81 | 0.0019353 | 0.00048504 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5639-2_0_3_load_76 | 84 | 0.0023665 | 0.0005931 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5639-2_0_3_load_79 | 85 | 0.0030749 | 0.00077063 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5639-2_0_3_load_86 | 86 | 0.0041099 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5639-2_0_3_load_87 | 87 | 0.0029562 | 0.0007409 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5639-2_0_3_load_97 | 88 | 0.0021564 | 0.00054046 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5639-2_0_3_load_92 | 89 | 0.0019724 | 0.00049433 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5639-2_0_3_line_0 |  | 0 | 1 | 0.13556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5639-2_0_3_line_1 |  | 1 | 2 | 0.027991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5639-2_0_3_line_2 |  | 1 | 3 | 0.040768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5639-2_0_3_line_3 |  | 2 | 4 | 0.032158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5639-2_0_3_line_4 |  | 3 | 9 | 0.041927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5639-2_0_3_line_5 |  | 3 | 89 | 0.027122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5639-2_0_3_line_6 |  | 4 | 5 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5639-2_0_3_line_7 |  | 5 | 88 | 0.057023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5639-2_0_3_line_8 |  | 5 | 87 | 0.0513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5639-2_0_3_line_9 |  | 6 | 7 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5639-2_0_3_line_10 |  | 6 | 8 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5639-2_0_3_line_11 |  | 7 | 31 | 0.03474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5639-2_0_3_line_12 |  | 7 | 32 | 0.043453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5639-2_0_3_line_13 |  | 7 | 29 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5639-2_0_3_line_14 |  | 9 | 10 | 0.028758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5639-2_0_3_line_15 |  | 11 | 12 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5639-2_0_3_line_16 |  | 12 | 67 | 0.044737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5639-2_0_3_line_17 |  | 13 | 14 | 0.019499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5639-2_0_3_line_18 |  | 13 | 15 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5639-2_0_3_line_19 |  | 14 | 16 | 0.029193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5639-2_0_3_line_20 |  | 14 | 17 | 0.025833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5639-2_0_3_line_21 |  | 15 | 18 | 0.006196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5639-2_0_3_line_22 |  | 16 | 19 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5639-2_0_3_line_23 |  | 17 | 20 | 0.016158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5639-2_0_3_line_24 |  | 18 | 21 | 0.018448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5639-2_0_3_line_25 |  | 18 | 22 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5639-2_0_3_line_26 |  | 18 | 23 | 0.01619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5639-2_0_3_line_27 |  | 19 | 24 | 0.0058893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5639-2_0_3_line_28 |  | 20 | 28 | 0.0076985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5639-2_0_3_line_29 |  | 21 | 29 | 0.01184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5639-2_0_3_line_30 |  | 23 | 30 | 0.0091398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5639-2_0_3_line_31 |  | 25 | 26 | 0.042246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5639-2_0_3_line_32 |  | 25 | 27 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5639-2_0_3_line_33 |  | 26 | 38 | 0.034532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5639-2_0_3_line_34 |  | 26 | 39 | 0.067761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5639-2_0_3_line_35 |  | 28 | 35 | 0.029628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5639-2_0_3_line_36 |  | 28 | 36 | 0.013186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5639-2_0_3_line_37 |  | 32 | 33 | 0.022825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5639-2_0_3_line_38 |  | 32 | 34 | 0.018962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5639-2_0_3_line_39 |  | 34 | 51 | 0.073396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5639-2_0_3_line_40 |  | 35 | 37 | 0.035139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5639-2_0_3_line_41 |  | 37 | 40 | 0.068814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5639-2_0_3_line_42 |  | 37 | 41 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5639-2_0_3_line_43 |  | 38 | 50 | 0.028009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5639-2_0_3_line_44 |  | 39 | 49 | 0.033963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5639-2_0_3_line_45 |  | 41 | 88 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5639-2_0_3_line_46 |  | 42 | 43 | 0.0064089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5639-2_0_3_line_47 |  | 42 | 44 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5639-2_0_3_line_48 |  | 43 | 45 | 0.014432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5639-2_0_3_line_49 |  | 44 | 46 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5639-2_0_3_line_50 |  | 44 | 47 | 0.039093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5639-2_0_3_line_51 |  | 47 | 48 | 0.034402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5639-2_0_3_line_52 |  | 48 | 49 | 0.043787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5639-2_0_3_line_53 |  | 50 | 83 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5639-2_0_3_line_54 |  | 51 | 52 | 0.01485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5639-2_0_3_line_55 |  | 52 | 53 | 0.021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5639-2_0_3_line_56 |  | 52 | 54 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5639-2_0_3_line_57 |  | 55 | 56 | 0.031886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5639-2_0_3_line_58 |  | 56 | 57 | 0.0271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5639-2_0_3_line_59 |  | 56 | 58 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5639-2_0_3_line_60 |  | 57 | 59 | 0.0034822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5639-2_0_3_line_61 |  | 58 | 60 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5639-2_0_3_line_62 |  | 58 | 61 | 0.007861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5639-2_0_3_line_63 |  | 59 | 62 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5639-2_0_3_line_64 |  | 59 | 63 | 0.020365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5639-2_0_3_line_65 |  | 61 | 64 | 0.046737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5639-2_0_3_line_66 |  | 61 | 65 | 0.015203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5639-2_0_3_line_67 |  | 62 | 74 | 0.0029865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5639-2_0_3_line_68 |  | 64 | 72 | 0.01538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5639-2_0_3_line_69 |  | 64 | 70 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5639-2_0_3_line_70 |  | 66 | 67 | 0.075232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5639-2_0_3_line_71 |  | 67 | 68 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5639-2_0_3_line_72 |  | 68 | 69 | 0.0087149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5639-2_0_3_line_73 |  | 69 | 70 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5639-2_0_3_line_74 |  | 69 | 71 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5639-2_0_3_line_75 |  | 72 | 73 | 0.010934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_5639-2_0_3_line_76 |  | 73 | 86 | 0.033174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_5639-2_0_3_line_77 |  | 74 | 75 | 0.019021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5639-2_0_3_line_78 |  | 75 | 76 | 0.0063793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5639-2_0_3_line_79 |  | 76 | 77 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5639-2_0_3_line_80 |  | 77 | 78 | 0.0063518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5639-2_0_3_line_81 |  | 78 | 79 | 0.019981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5639-2_0_3_line_82 |  | 78 | 80 | 0.0040311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5639-2_0_3_line_83 |  | 80 | 84 | 0.026843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5639-2_0_3_line_84 |  | 81 | 82 | 0.015128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5639-2_0_3_line_85 |  | 82 | 83 | 0.061288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5639-2_0_3_line_86 |  | 82 | 84 | 0.0088435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5639-2_0_3_line_87 |  | 83 | 85 | 0.022836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5639-2_0_3_line_88 |  | 86 | 87 | 0.044434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5639-2_0_3_trafo_97 | 0.63 MVA 20/0.4 kV | 90 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2524871.2177 | 1150912.9276 | 2524980.7873 | 1150833.1103
1 | 2524871.2177 | 1150912.9276 | 2524849.5424 | 1150930.6378
2 | 2524871.2177 | 1150912.9276 | 2524843.5605 | 1150882.9116
3 | 2524823.9958 | 1150950.17 | 2524849.5424 | 1150930.6378
4 | 2524843.5605 | 1150882.9116 | 2524815.1095 | 1150852.0497
5 | 2524843.5605 | 1150882.9116 | 2524822.3281 | 1150899.7868
6 | 2524811.8362 | 1150959.8294 | 2524823.9958 | 1150950.17
7 | 2524811.8362 | 1150959.8294 | 2524834.825 | 1150984.2337 | 2524848.9954 | 1151002.9758
8 | 2524811.8362 | 1150959.8294 | 2524776.6573 | 1150922.4909
9 | 2525027.1976 | 1151129.8375 | 2525033.0451 | 1151117.3909 | 2525032.3535 | 1151114.2533
10 | 2525032.3535 | 1151114.2533 | 2525021.279 | 1151115.6588 | 2525019.3381 | 1151115.7939
11 | 2525027.1976 | 1151129.8375 | 2525032.6573 | 1151133.6939 | 2525038.4925 | 1151138.724 | 2525041.6521 | 1151144.6435 | 2525040.9101 | 1151151.0119 | 2525037.9068 | 1151157.6198
12 | 2525027.1976 | 1151129.8375 | 2525008.713 | 1151169.1791
13 | 2525027.1976 | 1151129.8375 | 2525016.9442 | 1151123.8397 | 2525014.4103 | 1151123.3701
14 | 2524793.915 | 1150864.3438 | 2524796.6538 | 1150867.8894 | 2524815.1095 | 1150852.0497
15 | 2524706.5877 | 1150781.0002 | 2524699.4545 | 1150772.2845
16 | 2524699.4545 | 1150772.2845 | 2524662.8934 | 1150798.2126
17 | 2524949.6507 | 1151103.801 | 2524965.1479 | 1151106.7982 | 2524968.7602 | 1151107.6662
18 | 2524985.9513 | 1151111.7971 | 2524968.7602 | 1151107.6662
19 | 2524949.6507 | 1151103.801 | 2524936.1492 | 1151129.6841 | 2524936.1492 | 1151129.6841
20 | 2524949.6507 | 1151103.801 | 2524944.7184 | 1151102.8509 | 2524941.9099 | 1151102.3078 | 2524923.9608 | 1151102.1317
21 | 2524985.9513 | 1151111.7971 | 2524984.6297 | 1151117.8504
22 | 2524936.1492 | 1151129.6841 | 2524948.113 | 1151139.0712
23 | 2524923.9608 | 1151102.1317 | 2524914.218 | 1151089.242
24 | 2524984.6297 | 1151117.8504 | 2525002.7688 | 1151121.2124
25 | 2524981.1216 | 1151133.8365 | 2524984.6297 | 1151117.8504
26 | 2524984.6297 | 1151117.8504 | 2524968.6652 | 1151115.1575
27 | 2524952.7463 | 1151142.7066 | 2524948.113 | 1151139.0712
28 | 2524909.5759 | 1151083.1005 | 2524914.218 | 1151089.242
29 | 2525014.4103 | 1151123.3701 | 2525002.7688 | 1151121.2124
30 | 2524959.6527 | 1151113.6373 | 2524968.6652 | 1151115.1575
31 | 2524853.2036 | 1151120.0699 | 2524811.2758 | 1151126.1529
32 | 2524853.2036 | 1151120.0699 | 2524845.5414 | 1151104.1868
33 | 2524811.2758 | 1151126.1529 | 2524794.8272 | 1151095.7902
34 | 2524760.2549 | 1151169.2708 | 2524771.7742 | 1151153.7402 | 2524779.7432 | 1151145.8583 | 2524791.99 | 1151136.3108 | 2524811.2758 | 1151126.1529
35 | 2524909.5759 | 1151083.1005 | 2524891.7071 | 1151059.4669
36 | 2524897.3808 | 1151088.2001 | 2524909.5759 | 1151083.1005
37 | 2524986.1081 | 1151165.5812 | 2525008.713 | 1151169.1791
38 | 2525008.713 | 1151169.1791 | 2525000.65 | 1151186.3417
39 | 2524969.4416 | 1151252.7717 | 2525000.65 | 1151186.3417
40 | 2524870.5148 | 1151031.4377 | 2524891.7071 | 1151059.4669
41 | 2524870.5148 | 1151031.4377 | 2524925.072 | 1150989.4985
42 | 2524858.7669 | 1151015.8997 | 2524870.5148 | 1151031.4377
43 | 2524794.8272 | 1151095.7902 | 2524789.6203 | 1151086.1787 | 2524782.959 | 1151070.4533
44 | 2524760.2549 | 1151169.2708 | 2524783.4529 | 1151194.0762
45 | 2524848.9954 | 1151002.9758 | 2524858.7669 | 1151015.8997
46 | 2524889.9728 | 1151245.1292 | 2524886.3902 | 1151250.4432
47 | 2524877.8356 | 1151263.1321 | 2524886.3902 | 1151250.4432
48 | 2524898.0404 | 1151233.1628 | 2524889.9728 | 1151245.1292
49 | 2524877.8356 | 1151263.1321 | 2524892.4872 | 1151272.8213
50 | 2524877.8356 | 1151263.1321 | 2524845.5997 | 1151241.0162
51 | 2524845.5997 | 1151241.0162 | 2524817.2322 | 1151221.5542
52 | 2524783.4529 | 1151194.0762 | 2524794.6821 | 1151206.0834 | 2524817.2322 | 1151221.5542
53 | 2524776.3397 | 1151054.8271 | 2524782.959 | 1151070.4533
54 | 2524964.1109 | 1151266.635 | 2524969.4416 | 1151252.7717
55 | 2524964.1109 | 1151266.635 | 2524956.3047 | 1151286.9439
56 | 2524953.7106 | 1151260.5279 | 2524964.1109 | 1151266.635
57 | 2524649.5478 | 1150891.0101 | 2524623.9197 | 1150909.9819
58 | 2524649.5478 | 1150891.0101 | 2524669.3231 | 1150909.5393
59 | 2524662.4925 | 1150880.7755 | 2524649.5478 | 1150891.0101
60 | 2524671.8642 | 1150911.9202 | 2524669.3231 | 1150909.5393
61 | 2524644.8289 | 1150874.6488 | 2524656.715 | 1150874.2664 | 2524662.4925 | 1150880.7755
62 | 2524668.6723 | 1150875.8953 | 2524662.4925 | 1150880.7755
63 | 2524671.8642 | 1150911.9202 | 2524689.9615 | 1150928.8761
64 | 2524671.8642 | 1150911.9202 | 2524659.1601 | 1150927.8374
65 | 2524668.6723 | 1150875.8953 | 2524705.3935 | 1150846.8524
66 | 2524668.6723 | 1150875.8953 | 2524658.4113 | 1150864.6773
67 | 2524689.9615 | 1150928.8761 | 2524692.1409 | 1150930.918
68 | 2524705.3935 | 1150846.8524 | 2524715.9404 | 1150858.0468
69 | 2524705.3935 | 1150846.8524 | 2524692.1373 | 1150831.6823
70 | 2524662.8934 | 1150798.2126 | 2524614.1276 | 1150832.7653 | 2524602.3879 | 1150842.8331
71 | 2524662.8934 | 1150798.2126 | 2524674.4728 | 1150811.4663
72 | 2524680.2066 | 1150818.0292 | 2524674.4728 | 1150811.4663
73 | 2524680.2066 | 1150818.0292 | 2524692.1373 | 1150831.6823
74 | 2524663.1742 | 1150831.0388 | 2524680.2066 | 1150818.0292
75 | 2524723.4382 | 1150866.0049 | 2524715.9404 | 1150858.0468
76 | 2524723.4382 | 1150866.0049 | 2524746.1869 | 1150890.15
77 | 2524706.0214 | 1150943.9231 | 2524692.1409 | 1150930.918
78 | 2524706.0214 | 1150943.9231 | 2524710.6766 | 1150948.2847
79 | 2524725.047 | 1150961.7488 | 2524710.6766 | 1150948.2847
80 | 2524729.5567 | 1150966.2177 | 2524727.5651 | 1150964.1081 | 2524725.047 | 1150961.7488
81 | 2524714.0789 | 1150978.9074 | 2524729.5567 | 1150966.2177
82 | 2524729.5567 | 1150966.2177 | 2524732.3236 | 1150969.1492
83 | 2524747.701 | 1150990.841 | 2524741.3894 | 1150978.7545 | 2524732.3236 | 1150969.1492
84 | 2524751.7945 | 1150998.68 | 2524737.7994 | 1151004.4251
85 | 2524751.7945 | 1150998.68 | 2524755.7977 | 1151006.3454 | 2524776.3397 | 1151054.8271
86 | 2524751.7945 | 1150998.68 | 2524747.701 | 1150990.841
87 | 2524753.452 | 1151055.6694 | 2524776.3397 | 1151054.8271
88 | 2524746.1869 | 1150890.15 | 2524776.6573 | 1150922.4909

## bus_geodata
| x | y | coords
0 | 2524980.7873 | 1150833.1103
1 | 2524871.2177 | 1150912.9276
2 | 2524849.5424 | 1150930.6378
3 | 2524843.5605 | 1150882.9116
4 | 2524823.9958 | 1150950.17
5 | 2524811.8362 | 1150959.8294
6 | 2525032.3535 | 1151114.2533
7 | 2525027.1976 | 1151129.8375
8 | 2525019.3381 | 1151115.7939
9 | 2524815.1095 | 1150852.0497
10 | 2524793.915 | 1150864.3438
11 | 2524706.5877 | 1150781.0002
12 | 2524699.4545 | 1150772.2845
13 | 2524968.7602 | 1151107.6662
14 | 2524949.6507 | 1151103.801
15 | 2524985.9513 | 1151111.7971
16 | 2524936.1492 | 1151129.6841
17 | 2524923.9608 | 1151102.1317
18 | 2524984.6297 | 1151117.8504
19 | 2524948.113 | 1151139.0712
20 | 2524914.218 | 1151089.242
21 | 2525002.7688 | 1151121.2124
22 | 2524981.1216 | 1151133.8365
23 | 2524968.6652 | 1151115.1575
24 | 2524952.7463 | 1151142.7066
25 | 2524853.2036 | 1151120.0699
26 | 2524811.2758 | 1151126.1529
27 | 2524845.5414 | 1151104.1868
28 | 2524909.5759 | 1151083.1005
29 | 2525014.4103 | 1151123.3701
30 | 2524959.6527 | 1151113.6373
31 | 2525037.9068 | 1151157.6198
32 | 2525008.713 | 1151169.1791
33 | 2524986.1081 | 1151165.5812
34 | 2525000.65 | 1151186.3417
35 | 2524891.7071 | 1151059.4669
36 | 2524897.3808 | 1151088.2001
37 | 2524870.5148 | 1151031.4377
38 | 2524794.8272 | 1151095.7902
39 | 2524760.2549 | 1151169.2708
40 | 2524925.072 | 1150989.4985
41 | 2524858.7669 | 1151015.8997
42 | 2524886.3902 | 1151250.4432
43 | 2524889.9728 | 1151245.1292
44 | 2524877.8356 | 1151263.1321
45 | 2524898.0404 | 1151233.1628
46 | 2524892.4872 | 1151272.8213
47 | 2524845.5997 | 1151241.0162
48 | 2524817.2322 | 1151221.5542
49 | 2524783.4529 | 1151194.0762
50 | 2524782.959 | 1151070.4533
51 | 2524969.4416 | 1151252.7717
52 | 2524964.1109 | 1151266.635
53 | 2524956.3047 | 1151286.9439
54 | 2524953.7106 | 1151260.5279
55 | 2524623.9197 | 1150909.9819
56 | 2524649.5478 | 1150891.0101
57 | 2524669.3231 | 1150909.5393
58 | 2524662.4925 | 1150880.7755
59 | 2524671.8642 | 1150911.9202
60 | 2524644.8289 | 1150874.6488
61 | 2524668.6723 | 1150875.8953
62 | 2524689.9615 | 1150928.8761
63 | 2524659.1601 | 1150927.8374
64 | 2524705.3935 | 1150846.8524
65 | 2524658.4113 | 1150864.6773
66 | 2524602.3879 | 1150842.8331
67 | 2524662.8934 | 1150798.2126
68 | 2524674.4728 | 1150811.4663
69 | 2524680.2066 | 1150818.0292
70 | 2524692.1373 | 1150831.6823
71 | 2524663.1742 | 1150831.0388
72 | 2524715.9404 | 1150858.0468
73 | 2524723.4382 | 1150866.0049
74 | 2524692.1409 | 1150930.918
75 | 2524706.0214 | 1150943.9231
76 | 2524710.6766 | 1150948.2847
77 | 2524725.047 | 1150961.7488
78 | 2524729.5567 | 1150966.2177
79 | 2524714.0789 | 1150978.9074
80 | 2524732.3236 | 1150969.1492
81 | 2524737.7994 | 1151004.4251
82 | 2524751.7945 | 1150998.68
83 | 2524776.3397 | 1151054.8271
84 | 2524747.701 | 1150990.841
85 | 2524753.452 | 1151055.6694
86 | 2524746.1869 | 1150890.15
87 | 2524776.6573 | 1150922.4909
88 | 2524848.9954 | 1151002.9758
89 | 2524822.3281 | 1150899.7868
90 | 2524811.8362 | 1150959.8294

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1