## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5639-2_1_4_node_40 | 0.4 | n |  | TRUE
1 | bus_LV_5639-2_1_4_node_44 | 0.4 | n |  | TRUE
2 | bus_LV_5639-2_1_4_node_160 | 0.4 | n |  | TRUE
3 | bus_LV_5639-2_1_4_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_5639-2_1_4_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_5639-2_1_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_5639-2_1_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_5639-2_1_4_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_5639-2_1_4_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_5639-2_1_4_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_5639-2_1_4_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_5639-2_1_4_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_5639-2_1_4_node_174 | 0.4 | n |  | TRUE
13 | bus_LV_5639-2_1_4_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_5639-2_1_4_node_102 | 0.4 | n |  | TRUE
15 | bus_LV_5639-2_1_4_node_103 | 0.4 | n |  | TRUE
16 | bus_LV_5639-2_1_4_node_105 | 0.4 | n |  | TRUE
17 | bus_LV_5639-2_1_4_node_106 | 0.4 | n |  | TRUE
18 | bus_LV_5639-2_1_4_node_107 | 0.4 | n |  | TRUE
19 | bus_LV_5639-2_1_4_node_108 | 0.4 | n |  | TRUE
20 | bus_LV_5639-2_1_4_node_109 | 0.4 | n |  | TRUE
21 | bus_LV_5639-2_1_4_node_110 | 0.4 | n |  | TRUE
22 | bus_LV_5639-2_1_4_node_149 | 0.4 | n |  | TRUE
23 | bus_LV_5639-2_1_4_node_111 | 0.4 | n |  | TRUE
24 | bus_LV_5639-2_1_4_node_164 | 0.4 | n |  | TRUE
25 | bus_LV_5639-2_1_4_node_166 | 0.4 | n |  | TRUE
26 | bus_LV_5639-2_1_4_node_112 | 0.4 | n |  | TRUE
27 | bus_LV_5639-2_1_4_node_113 | 0.4 | n |  | TRUE
28 | bus_LV_5639-2_1_4_node_114 | 0.4 | n |  | TRUE
29 | bus_LV_5639-2_1_4_node_115 | 0.4 | n |  | TRUE
30 | bus_LV_5639-2_1_4_node_116 | 0.4 | n |  | TRUE
31 | bus_LV_5639-2_1_4_node_117 | 0.4 | n |  | TRUE
32 | bus_LV_5639-2_1_4_node_118 | 0.4 | n |  | TRUE
33 | bus_LV_5639-2_1_4_node_129 | 0.4 | n |  | TRUE
34 | bus_LV_5639-2_1_4_node_119 | 0.4 | n |  | TRUE
35 | bus_LV_5639-2_1_4_node_120 | 0.4 | n |  | TRUE
36 | bus_LV_5639-2_1_4_node_121 | 0.4 | n |  | TRUE
37 | bus_LV_5639-2_1_4_node_124 | 0.4 | n |  | TRUE
38 | bus_LV_5639-2_1_4_node_123 | 0.4 | n |  | TRUE
39 | bus_LV_5639-2_1_4_node_122 | 0.4 | n |  | TRUE
40 | bus_LV_5639-2_1_4_node_126 | 0.4 | n |  | TRUE
41 | bus_LV_5639-2_1_4_node_125 | 0.4 | n |  | TRUE
42 | bus_LV_5639-2_1_4_node_127 | 0.4 | n |  | TRUE
43 | bus_LV_5639-2_1_4_node_128 | 0.4 | n |  | TRUE
44 | bus_LV_5639-2_1_4_node_134 | 0.4 | n |  | TRUE
45 | bus_LV_5639-2_1_4_node_132 | 0.4 | n |  | TRUE
46 | bus_LV_5639-2_1_4_node_130 | 0.4 | n |  | TRUE
47 | bus_LV_5639-2_1_4_node_131 | 0.4 | n |  | TRUE
48 | bus_LV_5639-2_1_4_node_147 | 0.4 | n |  | TRUE
49 | bus_LV_5639-2_1_4_node_133 | 0.4 | n |  | TRUE
50 | bus_LV_5639-2_1_4_node_135 | 0.4 | n |  | TRUE
51 | bus_LV_5639-2_1_4_node_136 | 0.4 | n |  | TRUE
52 | bus_LV_5639-2_1_4_node_175 | 0.4 | n |  | TRUE
53 | bus_LV_5639-2_1_4_node_141 | 0.4 | n |  | TRUE
54 | bus_LV_5639-2_1_4_node_137 | 0.4 | n |  | TRUE
55 | bus_LV_5639-2_1_4_node_138 | 0.4 | n |  | TRUE
56 | bus_LV_5639-2_1_4_node_139 | 0.4 | n |  | TRUE
57 | bus_LV_5639-2_1_4_node_140 | 0.4 | n |  | TRUE
58 | bus_LV_5639-2_1_4_node_142 | 0.4 | n |  | TRUE
59 | bus_LV_5639-2_1_4_node_158 | 0.4 | n |  | TRUE
60 | bus_LV_5639-2_1_4_node_156 | 0.4 | n |  | TRUE
61 | bus_LV_5639-2_1_4_node_157 | 0.4 | n |  | TRUE
62 | bus_LV_5639-2_1_4_node_143 | 0.4 | n |  | TRUE
63 | bus_LV_5639-2_1_4_node_144 | 0.4 | n |  | TRUE
64 | bus_LV_5639-2_1_4_node_145 | 0.4 | n |  | TRUE
65 | bus_LV_5639-2_1_4_node_146 | 0.4 | n |  | TRUE
66 | bus_LV_5639-2_1_4_node_148 | 0.4 | n |  | TRUE
67 | bus_LV_5639-2_1_4_node_150 | 0.4 | n |  | TRUE
68 | bus_LV_5639-2_1_4_node_151 | 0.4 | n |  | TRUE
69 | bus_LV_5639-2_1_4_node_152 | 0.4 | n |  | TRUE
70 | bus_LV_5639-2_1_4_node_153 | 0.4 | n |  | TRUE
71 | bus_LV_5639-2_1_4_node_154 | 0.4 | n |  | TRUE
72 | bus_LV_5639-2_1_4_node_155 | 0.4 | n |  | TRUE
73 | bus_LV_5639-2_1_4_node_159 | 0.4 | n |  | TRUE
74 | bus_LV_5639-2_1_4_node_161 | 0.4 | n |  | TRUE
75 | bus_LV_5639-2_1_4_node_162 | 0.4 | n |  | TRUE
76 | bus_LV_5639-2_1_4_node_163 | 0.4 | n |  | TRUE
77 | bus_LV_5639-2_1_4_node_165 | 0.4 | n |  | TRUE
78 | bus_LV_5639-2_1_4_node_167 | 0.4 | n |  | TRUE
79 | bus_MV_450_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5639-2_1_4_load_40 | 0 | 0.0023263 | 0.00058303 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5639-2_1_4_load_160 | 2 | 0.002345 | 0.00058772 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5639-2_1_4_load_42 | 3 | 0.010745 | 0.0026929 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5639-2_1_4_load_43 | 4 | 0.01292 | 0.0032382 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5639-2_1_4_load_46 | 5 | 0.0013863 | 0.00034745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5639-2_1_4_load_45 | 6 | 0.011697 | 0.0029315 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5639-2_1_4_load_49 | 9 | 0.0043633 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5639-2_1_4_load_50 | 10 | 0.0065988 | 0.0016538 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5639-2_1_4_load_52 | 11 | 0.002572 | 0.0006446 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5639-2_1_4_load_174 | 12 | 0.0028045 | 0.00070289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5639-2_1_4_load_53 | 13 | 0.00074922 | 0.00018777 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5639-2_1_4_load_102 | 14 | 0.0053185 | 0.001333 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5639-2_1_4_load_105 | 16 | 0.014602 | 0.0036596 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5639-2_1_4_load_106 | 17 | 0.0038213 | 0.0009577 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5639-2_1_4_load_107 | 18 | 0.0049604 | 0.0012432 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5639-2_1_4_load_108 | 19 | 0.0043528 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5639-2_1_4_load_110 | 21 | 0.0061966 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5639-2_1_4_load_166 | 25 | 0.00222 | 0.00055639 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5639-2_1_4_load_112 | 26 | 0.0017011 | 0.00042633 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5639-2_1_4_load_113 | 27 | 0.004211 | 0.0010554 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5639-2_1_4_load_115 | 29 | 0.0045667 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5639-2_1_4_load_117 | 31 | 0.0044838 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5639-2_1_4_load_118 | 32 | 0.0041236 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5639-2_1_4_load_119 | 34 | 0.0036922 | 0.00092536 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5639-2_1_4_load_120 | 35 | 0.0035647 | 0.00089339 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5639-2_1_4_load_123 | 38 | 0.0039685 | 0.0009946 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5639-2_1_4_load_122 | 39 | 0.0030736 | 0.00077032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5639-2_1_4_load_126 | 40 | 0.0032345 | 0.00081064 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5639-2_1_4_load_125 | 41 | 0.0044053 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5639-2_1_4_load_134 | 44 | 0.0031095 | 0.00077932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5639-2_1_4_load_132 | 45 | 0.0028236 | 0.00070767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5639-2_1_4_load_130 | 46 | 0.003305 | 0.00082832 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5639-2_1_4_load_131 | 47 | 0.0048424 | 0.0012136 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5639-2_1_4_load_147 | 48 | 0.0027522 | 0.00068976 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5639-2_1_4_load_136 | 51 | 0.0032232 | 0.00080781 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5639-2_1_4_load_175 | 52 | 0.0029303 | 0.0007344 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5639-2_1_4_load_137 | 54 | 0.0018666 | 0.00046782 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5639-2_1_4_load_142 | 58 | 0.0015317 | 0.00038389 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5639-2_1_4_load_158 | 59 | 0.0017518 | 0.00043905 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5639-2_1_4_load_157 | 61 | 0.0017404 | 0.00043618 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5639-2_1_4_load_143 | 62 | 0.0022961 | 0.00057547 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5639-2_1_4_load_145 | 64 | 0.0017957 | 0.00045004 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5639-2_1_4_load_146 | 65 | 0.0031336 | 0.00078534 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5639-2_1_4_load_148 | 66 | 0.0016861 | 0.00042257 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5639-2_1_4_load_150 | 67 | 0.0060533 | 0.0015171 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5639-2_1_4_load_151 | 68 | 0.0047885 | 0.0012001 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5639-2_1_4_load_152 | 69 | 0.003509 | 0.00087944 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5639-2_1_4_load_154 | 71 | 0.0013057 | 0.00032725 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5639-2_1_4_load_155 | 72 | 0.0019659 | 0.0004927 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5639-2_1_4_load_159 | 73 | 0.001025 | 0.0002569 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5639-2_1_4_load_162 | 75 | 0.0033866 | 0.00084875 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5639-2_1_4_load_165 | 77 | 0.0034969 | 0.00087639 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5639-2_1_4_load_167 | 78 | 0.0030235 | 0.00075777 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5639-2_1_4_line_0 |  | 0 | 1 | 0.2861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5639-2_1_4_line_1 |  | 0 | 2 | 0.28913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5639-2_1_4_line_2 |  | 1 | 3 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5639-2_1_4_line_3 |  | 2 | 74 | 0.064277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5639-2_1_4_line_4 |  | 3 | 4 | 0.011217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5639-2_1_4_line_5 |  | 4 | 5 | 0.55172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5639-2_1_4_line_6 |  | 5 | 7 | 0.0054087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5639-2_1_4_line_7 |  | 5 | 6 | 0.029014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5639-2_1_4_line_8 |  | 7 | 8 | 0.18828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5639-2_1_4_line_9 |  | 8 | 9 | 0.060763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5639-2_1_4_line_10 |  | 9 | 10 | 0.020535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5639-2_1_4_line_11 |  | 10 | 11 | 0.0071978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5639-2_1_4_line_12 |  | 10 | 12 | 0.081466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5639-2_1_4_line_13 |  | 11 | 13 | 0.008336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5639-2_1_4_line_14 |  | 14 | 15 | 0.025445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5639-2_1_4_line_15 |  | 15 | 16 | 0.024634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5639-2_1_4_line_16 |  | 16 | 17 | 0.029286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5639-2_1_4_line_17 |  | 17 | 18 | 0.038817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5639-2_1_4_line_18 |  | 18 | 19 | 0.027962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5639-2_1_4_line_19 |  | 19 | 20 | 0.029576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5639-2_1_4_line_20 |  | 20 | 21 | 0.030214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5639-2_1_4_line_21 |  | 21 | 22 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5639-2_1_4_line_22 |  | 22 | 67 | 0.025125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5639-2_1_4_line_23 |  | 22 | 66 | 0.0067676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5639-2_1_4_line_24 |  | 23 | 24 | 0.007367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5639-2_1_4_line_25 |  | 23 | 25 | 0.017084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5639-2_1_4_line_26 |  | 24 | 78 | 0.022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5639-2_1_4_line_27 |  | 24 | 76 | 0.036148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5639-2_1_4_line_28 |  | 26 | 27 | 0.018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5639-2_1_4_line_29 |  | 26 | 28 | 0.029618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5639-2_1_4_line_30 |  | 28 | 29 | 0.0053501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5639-2_1_4_line_31 |  | 29 | 30 | 0.0047801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5639-2_1_4_line_32 |  | 30 | 31 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5639-2_1_4_line_33 |  | 30 | 32 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5639-2_1_4_line_34 |  | 32 | 33 | 0.024687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5639-2_1_4_line_35 |  | 33 | 46 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5639-2_1_4_line_36 |  | 33 | 47 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5639-2_1_4_line_37 |  | 34 | 35 | 0.0082102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5639-2_1_4_line_38 |  | 35 | 36 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5639-2_1_4_line_39 |  | 36 | 37 | 0.037398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5639-2_1_4_line_40 |  | 36 | 38 | 0.018721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5639-2_1_4_line_41 |  | 37 | 40 | 0.007191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5639-2_1_4_line_42 |  | 37 | 41 | 0.029301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5639-2_1_4_line_43 |  | 38 | 39 | 0.0027412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5639-2_1_4_line_44 |  | 40 | 42 | 0.02558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5639-2_1_4_line_45 |  | 42 | 43 | 0.007855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5639-2_1_4_line_46 |  | 43 | 44 | 0.023041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5639-2_1_4_line_47 |  | 43 | 45 | 0.018839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5639-2_1_4_line_48 |  | 44 | 46 | 0.030782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5639-2_1_4_line_49 |  | 45 | 49 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5639-2_1_4_line_50 |  | 47 | 48 | 0.027766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5639-2_1_4_line_51 |  | 48 | 66 | 0.020987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5639-2_1_4_line_52 |  | 49 | 50 | 0.007366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5639-2_1_4_line_53 |  | 49 | 51 | 0.021371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5639-2_1_4_line_54 |  | 50 | 52 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5639-2_1_4_line_55 |  | 50 | 53 | 0.032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5639-2_1_4_line_56 |  | 53 | 62 | 0.022457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5639-2_1_4_line_57 |  | 53 | 56 | 0.02462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5639-2_1_4_line_58 |  | 54 | 55 | 0.030669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5639-2_1_4_line_59 |  | 54 | 56 | 0.023432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5639-2_1_4_line_60 |  | 55 | 57 | 0.08215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5639-2_1_4_line_61 |  | 56 | 58 | 0.018724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5639-2_1_4_line_62 |  | 57 | 59 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5639-2_1_4_line_63 |  | 57 | 60 | 0.048595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_5639-2_1_4_line_64 |  | 57 | 61 | 0.021738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5639-2_1_4_line_65 |  | 60 | 74 | 0.021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5639-2_1_4_line_66 |  | 60 | 75 | 0.029066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5639-2_1_4_line_67 |  | 60 | 70 | 0.032412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5639-2_1_4_line_68 |  | 62 | 63 | 0.0093443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5639-2_1_4_line_69 |  | 63 | 64 | 0.031781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5639-2_1_4_line_70 |  | 63 | 65 | 0.045086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5639-2_1_4_line_71 |  | 68 | 69 | 0.0037252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5639-2_1_4_line_72 |  | 68 | 70 | 0.036939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5639-2_1_4_line_73 |  | 69 | 71 | 0.0026731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5639-2_1_4_line_74 |  | 70 | 72 | 0.012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5639-2_1_4_line_75 |  | 72 | 73 | 0.0065032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5639-2_1_4_line_76 |  | 75 | 76 | 0.0019651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5639-2_1_4_line_77 |  | 76 | 77 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5639-2_1_4_trafo_161 | 0.63 MVA 20/0.4 kV | 79 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2525647.1272 | 1150312.9257 | 2525595.9153 | 1150594.4041
1 | 2525362.4717 | 1150423.8226 | 2525595.9153 | 1150594.4041
2 | 2525647.1272 | 1150312.9257 | 2525633.8685 | 1150304.956
3 | 2525310.5392 | 1150385.9476 | 2525362.4717 | 1150423.8226
4 | 2525633.8685 | 1150304.956 | 2525624.2544 | 1150299.177
5 | 2525624.2544 | 1150299.177 | 2525586.927 | 1149748.7254
6 | 2525592.3015 | 1149748.1181 | 2525586.927 | 1149748.7254
7 | 2525563.0416 | 1149734.3089 | 2525582.3573 | 1149749.2417 | 2525586.927 | 1149748.7254
8 | 2525776.1049 | 1149707.3136 | 2525592.3015 | 1149748.1181
9 | 2525776.1049 | 1149707.3136 | 2525793.0966 | 1149693.0403 | 2525819.3221 | 1149679.7872 | 2525826.4963 | 1149674.0466
10 | 2525826.4963 | 1149674.0466 | 2525833.7296 | 1149668.2587 | 2525839.158 | 1149658.3814
11 | 2525839.158 | 1149658.3814 | 2525842.6248 | 1149652.0735
12 | 2525839.158 | 1149658.3814 | 2525898.4458 | 1149714.2538
13 | 2525842.6248 | 1149652.0735 | 2525846.6397 | 1149644.768
14 | 2525300.9193 | 1150611.4278 | 2525293.6779 | 1150624.8475 | 2525290.4835 | 1150634.5303
15 | 2525300.9193 | 1150611.4278 | 2525276.8799 | 1150606.0483
16 | 2525253.6704 | 1150602.921 | 2525259.1066 | 1150596.2052 | 2525271.1735 | 1150604.7713 | 2525276.8799 | 1150606.0483
17 | 2525226.2312 | 1150575.4642 | 2525253.6704 | 1150602.921
18 | 2525226.2312 | 1150575.4642 | 2525245.3959 | 1150555.1029
19 | 2525265.6669 | 1150533.5661 | 2525245.3959 | 1150555.1029
20 | 2525265.6669 | 1150533.5661 | 2525262.3371 | 1150533.7187 | 2525241.7545 | 1150526.8594 | 2525237.8616 | 1150523.4335
21 | 2525226.844 | 1150513.7373 | 2525237.8616 | 1150523.4335
22 | 2525210.4687 | 1150532.8295 | 2525226.844 | 1150513.7373
23 | 2525226.844 | 1150513.7373 | 2525221.7646 | 1150509.2652
24 | 2525303.6866 | 1150469.6133 | 2525303.4787 | 1150476.9756
25 | 2525320.6118 | 1150476.8295 | 2525303.4787 | 1150476.9756
26 | 2525287.4638 | 1150484.9456 | 2525303.6866 | 1150469.6133
27 | 2525300.5374 | 1150433.6432 | 2525303.8025 | 1150465.3428 | 2525303.6866 | 1150469.6133
28 | 2525166.0315 | 1150534.4052 | 2525149.5601 | 1150526.1919
29 | 2525145.6458 | 1150508.8333 | 2525135.9047 | 1150519.3827 | 2525149.5601 | 1150526.1919
30 | 2525145.6458 | 1150508.8333 | 2525146.6467 | 1150503.5776
31 | 2525147.5409 | 1150498.8819 | 2525146.6467 | 1150503.5776
32 | 2525147.5409 | 1150498.8819 | 2525133.9714 | 1150512.5845
33 | 2525147.5409 | 1150498.8819 | 2525159.5327 | 1150486.7737
34 | 2525176.9047 | 1150469.2331 | 2525159.5327 | 1150486.7737
35 | 2525176.9047 | 1150469.2331 | 2525163.7871 | 1150457.4109
36 | 2525176.9047 | 1150469.2331 | 2525185.3518 | 1150476.8488
37 | 2525092.8365 | 1150488.2691 | 2525086.8734 | 1150482.6257
38 | 2525070.7241 | 1150467.3426 | 2525086.8734 | 1150482.6257
39 | 2525096.1144 | 1150439.8219 | 2525070.7241 | 1150467.3426
40 | 2525070.7241 | 1150467.3426 | 2525056.1779 | 1150455.5577
41 | 2525096.1144 | 1150439.8219 | 2525100.9895 | 1150434.5357
42 | 2525096.1144 | 1150439.8219 | 2525118.1942 | 1150459.0836
43 | 2525054.048 | 1150453.8322 | 2525056.1779 | 1150455.5577
44 | 2525118.331 | 1150415.7317 | 2525100.9895 | 1150434.5357
45 | 2525123.8059 | 1150421.3779 | 2525118.331 | 1150415.7317
46 | 2525123.8059 | 1150421.3779 | 2525140.9215 | 1150436.8033
47 | 2525123.8059 | 1150421.3779 | 2525136.3081 | 1150407.2846
48 | 2525140.9215 | 1150436.8033 | 2525163.7871 | 1150457.4109
49 | 2525148.1687 | 1150393.9147 | 2525136.3081 | 1150407.2846
50 | 2525185.3518 | 1150476.8488 | 2525202.2775 | 1150492.1083 | 2525206.013 | 1150495.3971
51 | 2525206.013 | 1150495.3971 | 2525221.7646 | 1150509.2652
52 | 2525148.1687 | 1150393.9147 | 2525153.0594 | 1150388.3952
53 | 2525148.1687 | 1150393.9147 | 2525132.3588 | 1150379.536
54 | 2525161.1489 | 1150395.0094 | 2525153.0594 | 1150388.3952
55 | 2525174.6362 | 1150364.0685 | 2525153.0594 | 1150388.3952
56 | 2525174.6362 | 1150364.0685 | 2525191.8119 | 1150378.5356
57 | 2525190.997 | 1150345.6324 | 2525174.6362 | 1150364.0685
58 | 2525230.7489 | 1150309.8069 | 2525220.4185 | 1150314.9937 | 2525209.5382 | 1150324.7234 | 2525206.5435 | 1150328.1005
59 | 2525190.997 | 1150345.6324 | 2525206.5435 | 1150328.1005
60 | 2525277.5416 | 1150368.5253 | 2525281.1196 | 1150363.6225 | 2525274.0344 | 1150347.6237 | 2525258.7488 | 1150329.0587 | 2525242.7213 | 1150314.4273 | 2525230.7489 | 1150309.8069
61 | 2525174.1493 | 1150344.6859 | 2525182.3338 | 1150341.0376 | 2525190.997 | 1150345.6324
62 | 2525258.149 | 1150379.6169 | 2525270.9139 | 1150377.6017 | 2525277.5416 | 1150368.5253
63 | 2525277.5416 | 1150368.5253 | 2525281.1196 | 1150363.6225 | 2525288.5644 | 1150383.8526 | 2525292.7922 | 1150395.4066 | 2525297.3518 | 1150402.7764
64 | 2525277.5416 | 1150368.5253 | 2525263.7811 | 1150370.1194 | 2525257.0082 | 1150366.0801
65 | 2525297.3518 | 1150402.7764 | 2525310.5392 | 1150385.9476
66 | 2525297.3518 | 1150402.7764 | 2525300.3357 | 1150431.6885
67 | 2525273.0506 | 1150422.8896 | 2525289.9675 | 1150404.7137 | 2525297.3518 | 1150402.7764
68 | 2525198.9588 | 1150384.5554 | 2525191.8119 | 1150378.5356
69 | 2525198.9588 | 1150384.5554 | 2525223.2676 | 1150405.0281
70 | 2525217.8101 | 1150417.5953 | 2525222.5385 | 1150411.9889 | 2525199.8446 | 1150392.1932 | 2525198.9588 | 1150384.5554
71 | 2525247.8799 | 1150449.9249 | 2525245.3415 | 1150452.6514
72 | 2525273.0506 | 1150422.8896 | 2525247.8799 | 1150449.9249
73 | 2525243.52 | 1150454.6078 | 2525245.3415 | 1150452.6514
74 | 2525273.0506 | 1150422.8896 | 2525263.537 | 1150414.271
75 | 2525258.7174 | 1150409.9048 | 2525263.537 | 1150414.271
76 | 2525300.5374 | 1150433.6432 | 2525300.3357 | 1150431.6885
77 | 2525322.3874 | 1150433.1272 | 2525300.5374 | 1150433.6432

## bus_geodata
| x | y | coords
0 | 2525595.9153 | 1150594.4041
1 | 2525647.1272 | 1150312.9257
2 | 2525362.4717 | 1150423.8226
3 | 2525633.8685 | 1150304.956
4 | 2525624.2544 | 1150299.177
5 | 2525586.927 | 1149748.7254
6 | 2525563.0416 | 1149734.3089
7 | 2525592.3015 | 1149748.1181
8 | 2525776.1049 | 1149707.3136
9 | 2525826.4963 | 1149674.0466
10 | 2525839.158 | 1149658.3814
11 | 2525842.6248 | 1149652.0735
12 | 2525898.4458 | 1149714.2538
13 | 2525846.6397 | 1149644.768
14 | 2525290.4835 | 1150634.5303
15 | 2525300.9193 | 1150611.4278
16 | 2525276.8799 | 1150606.0483
17 | 2525253.6704 | 1150602.921
18 | 2525226.2312 | 1150575.4642
19 | 2525245.3959 | 1150555.1029
20 | 2525265.6669 | 1150533.5661
21 | 2525237.8616 | 1150523.4335
22 | 2525226.844 | 1150513.7373
23 | 2525303.4787 | 1150476.9756
24 | 2525303.6866 | 1150469.6133
25 | 2525320.6118 | 1150476.8295
26 | 2525149.5601 | 1150526.1919
27 | 2525166.0315 | 1150534.4052
28 | 2525145.6458 | 1150508.8333
29 | 2525146.6467 | 1150503.5776
30 | 2525147.5409 | 1150498.8819
31 | 2525133.9714 | 1150512.5845
32 | 2525159.5327 | 1150486.7737
33 | 2525176.9047 | 1150469.2331
34 | 2525092.8365 | 1150488.2691
35 | 2525086.8734 | 1150482.6257
36 | 2525070.7241 | 1150467.3426
37 | 2525096.1144 | 1150439.8219
38 | 2525056.1779 | 1150455.5577
39 | 2525054.048 | 1150453.8322
40 | 2525100.9895 | 1150434.5357
41 | 2525118.1942 | 1150459.0836
42 | 2525118.331 | 1150415.7317
43 | 2525123.8059 | 1150421.3779
44 | 2525140.9215 | 1150436.8033
45 | 2525136.3081 | 1150407.2846
46 | 2525163.7871 | 1150457.4109
47 | 2525185.3518 | 1150476.8488
48 | 2525206.013 | 1150495.3971
49 | 2525148.1687 | 1150393.9147
50 | 2525153.0594 | 1150388.3952
51 | 2525132.3588 | 1150379.536
52 | 2525161.1489 | 1150395.0094
53 | 2525174.6362 | 1150364.0685
54 | 2525206.5435 | 1150328.1005
55 | 2525230.7489 | 1150309.8069
56 | 2525190.997 | 1150345.6324
57 | 2525277.5416 | 1150368.5253
58 | 2525174.1493 | 1150344.6859
59 | 2525258.149 | 1150379.6169
60 | 2525297.3518 | 1150402.7764
61 | 2525257.0082 | 1150366.0801
62 | 2525191.8119 | 1150378.5356
63 | 2525198.9588 | 1150384.5554
64 | 2525223.2676 | 1150405.0281
65 | 2525217.8101 | 1150417.5953
66 | 2525221.7646 | 1150509.2652
67 | 2525210.4687 | 1150532.8295
68 | 2525247.8799 | 1150449.9249
69 | 2525245.3415 | 1150452.6514
70 | 2525273.0506 | 1150422.8896
71 | 2525243.52 | 1150454.6078
72 | 2525263.537 | 1150414.271
73 | 2525258.7174 | 1150409.9048
74 | 2525310.5392 | 1150385.9476
75 | 2525300.3357 | 1150431.6885
76 | 2525300.5374 | 1150433.6432
77 | 2525322.3874 | 1150433.1272
78 | 2525287.4638 | 1150484.9456
79 | 2525297.3518 | 1150402.7764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1