## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5656-4_1_3_node_180 | 0.4 | n |  | TRUE
1 | bus_LV_5656-4_1_3_node_179 | 0.4 | n |  | TRUE
2 | bus_LV_5656-4_1_3_node_181 | 0.4 | n |  | TRUE
3 | bus_LV_5656-4_1_3_node_158 | 0.4 | n |  | TRUE
4 | bus_LV_5656-4_1_3_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_5656-4_1_3_node_162 | 0.4 | n |  | TRUE
6 | bus_LV_5656-4_1_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5656-4_1_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5656-4_1_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5656-4_1_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5656-4_1_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5656-4_1_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_5656-4_1_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5656-4_1_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5656-4_1_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5656-4_1_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_5656-4_1_3_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_5656-4_1_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5656-4_1_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5656-4_1_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_5656-4_1_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_5656-4_1_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_5656-4_1_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5656-4_1_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5656-4_1_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_5656-4_1_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_5656-4_1_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5656-4_1_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_5656-4_1_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_5656-4_1_3_node_187 | 0.4 | n |  | TRUE
30 | bus_LV_5656-4_1_3_node_188 | 0.4 | n |  | TRUE
31 | bus_LV_5656-4_1_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_5656-4_1_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_5656-4_1_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5656-4_1_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_5656-4_1_3_node_159 | 0.4 | n |  | TRUE
36 | bus_LV_5656-4_1_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_5656-4_1_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5656-4_1_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5656-4_1_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5656-4_1_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_5656-4_1_3_node_164 | 0.4 | n |  | TRUE
42 | bus_LV_5656-4_1_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_5656-4_1_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_5656-4_1_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5656-4_1_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_5656-4_1_3_node_157 | 0.4 | n |  | TRUE
47 | bus_LV_5656-4_1_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5656-4_1_3_node_178 | 0.4 | n |  | TRUE
49 | bus_LV_5656-4_1_3_node_161 | 0.4 | n |  | TRUE
50 | bus_LV_5656-4_1_3_node_160 | 0.4 | n |  | TRUE
51 | bus_LV_5656-4_1_3_node_163 | 0.4 | n |  | TRUE
52 | bus_LV_5656-4_1_3_node_169 | 0.4 | n |  | TRUE
53 | bus_LV_5656-4_1_3_node_168 | 0.4 | n |  | TRUE
54 | bus_LV_5656-4_1_3_node_171 | 0.4 | n |  | TRUE
55 | bus_LV_5656-4_1_3_node_170 | 0.4 | n |  | TRUE
56 | bus_LV_5656-4_1_3_node_172 | 0.4 | n |  | TRUE
57 | bus_LV_5656-4_1_3_node_173 | 0.4 | n |  | TRUE
58 | bus_LV_5656-4_1_3_node_176 | 0.4 | n |  | TRUE
59 | bus_LV_5656-4_1_3_node_167 | 0.4 | n |  | TRUE
60 | bus_LV_5656-4_1_3_node_174 | 0.4 | n |  | TRUE
61 | bus_LV_5656-4_1_3_node_175 | 0.4 | n |  | TRUE
62 | bus_LV_5656-4_1_3_node_165 | 0.4 | n |  | TRUE
63 | bus_LV_5656-4_1_3_node_155 | 0.4 | n |  | TRUE
64 | bus_LV_5656-4_1_3_node_156 | 0.4 | n |  | TRUE
65 | bus_LV_5656-4_1_3_node_182 | 0.4 | n |  | TRUE
66 | bus_LV_5656-4_1_3_node_183 | 0.4 | n |  | TRUE
67 | bus_LV_5656-4_1_3_node_166 | 0.4 | n |  | TRUE
68 | bus_LV_5656-4_1_3_node_185 | 0.4 | n |  | TRUE
69 | bus_LV_5656-4_1_3_node_186 | 0.4 | n |  | TRUE
70 | bus_LV_5656-4_1_3_node_184 | 0.4 | n |  | TRUE
71 | bus_MV_312_2_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5656-4_1_3_load_180 | 0 | 0.0022386 | 0.00056105 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5656-4_1_3_load_158 | 3 | 0.0031938 | 0.00080044 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5656-4_1_3_load_10 | 6 | 0.0041847 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5656-4_1_3_load_11 | 7 | 0.0029129 | 0.00073005 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5656-4_1_3_load_12 | 8 | 0.0021861 | 0.00054789 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5656-4_1_3_load_13 | 9 | 0.0044597 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5656-4_1_3_load_14 | 11 | 0.0024907 | 0.00062422 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5656-4_1_3_load_15 | 12 | 0.0030908 | 0.00077463 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5656-4_1_3_load_18 | 14 | 0.0026771 | 0.00067093 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5656-4_1_3_load_19 | 17 | 0.0018689 | 0.00046838 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5656-4_1_3_load_20 | 18 | 0.0012995 | 0.00032568 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5656-4_1_3_load_21 | 19 | 0.0020783 | 0.00052088 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5656-4_1_3_load_30 | 22 | 0.0022756 | 0.00057032 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5656-4_1_3_load_23 | 23 | 0.0031546 | 0.00079061 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5656-4_1_3_load_26 | 25 | 0.0040497 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5656-4_1_3_load_28 | 27 | 0.0023038 | 0.00057738 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5656-4_1_3_load_34 | 28 | 0.0029171 | 0.00073109 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5656-4_1_3_load_187 | 29 | 0.0017955 | 0.00045001 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5656-4_1_3_load_188 | 30 | 0.0028199 | 0.00070674 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5656-4_1_3_load_31 | 31 | 0.0012527 | 0.00031396 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5656-4_1_3_load_32 | 33 | 0.0016018 | 0.00040146 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5656-4_1_3_load_33 | 34 | 0.0027773 | 0.00069606 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5656-4_1_3_load_159 | 35 | 0.00244 | 0.00061152 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5656-4_1_3_load_35 | 36 | 0.0028187 | 0.00070643 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5656-4_1_3_load_36 | 37 | 0.0019539 | 0.00048969 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5656-4_1_3_load_37 | 38 | 0.0052369 | 0.0013125 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5656-4_1_3_load_38 | 39 | 0.0027891 | 0.00069901 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5656-4_1_3_load_164 | 41 | 0.0036324 | 0.00091037 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5656-4_1_3_load_46 | 42 | 0.0033635 | 0.00084296 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5656-4_1_3_load_44 | 43 | 0.0038541 | 0.00096593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5656-4_1_3_load_41 | 44 | 0.0025867 | 0.00064829 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5656-4_1_3_load_47 | 45 | 0.0029024 | 0.0007274 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5656-4_1_3_load_157 | 46 | 0.0051602 | 0.0012933 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5656-4_1_3_load_45 | 47 | 0.006297 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5656-4_1_3_load_178 | 48 | 0.0052025 | 0.0013039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5656-4_1_3_load_161 | 49 | 0.00262 | 0.00065664 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5656-4_1_3_load_160 | 50 | 0.0021455 | 0.0005377 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5656-4_1_3_load_163 | 51 | 0.0040899 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5656-4_1_3_load_169 | 52 | 0.0055023 | 0.001379 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5656-4_1_3_load_168 | 53 | 0.0035871 | 0.00089902 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5656-4_1_3_load_171 | 54 | 0.0072683 | 0.0018216 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5656-4_1_3_load_170 | 55 | 0.0023505 | 0.0005891 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5656-4_1_3_load_172 | 56 | 0.0019124 | 0.00047929 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5656-4_1_3_load_173 | 57 | 0.0035578 | 0.00089167 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5656-4_1_3_load_176 | 58 | 0.0026772 | 0.00067097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5656-4_1_3_load_167 | 59 | 0.0021237 | 0.00053224 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5656-4_1_3_load_174 | 60 | 0.0021711 | 0.00054413 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5656-4_1_3_load_175 | 61 | 0.0044103 | 0.0011053 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5656-4_1_3_load_165 | 62 | 0.0019476 | 0.00048811 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5656-4_1_3_load_155 | 63 | 0.0033749 | 0.00084583 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5656-4_1_3_load_156 | 64 | 0.0056522 | 0.0014166 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5656-4_1_3_load_182 | 65 | 0.0018616 | 0.00046656 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5656-4_1_3_load_166 | 67 | 0.0026792 | 0.00067148 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5656-4_1_3_load_185 | 68 | 0.0034265 | 0.00085875 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5656-4_1_3_load_186 | 69 | 0.0036501 | 0.00091481 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5656-4_1_3_load_184 | 70 | 0.0020676 | 0.00051818 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5656-4_1_3_line_0 |  | 0 | 1 | 0.035248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5656-4_1_3_line_1 |  | 0 | 2 | 0.022477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5656-4_1_3_line_2 |  | 1 | 47 | 0.035293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5656-4_1_3_line_3 |  | 2 | 65 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5656-4_1_3_line_4 |  | 2 | 66 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5656-4_1_3_line_5 |  | 3 | 4 | 0.091423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5656-4_1_3_line_6 |  | 3 | 5 | 0.013401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5656-4_1_3_line_7 |  | 4 | 46 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5656-4_1_3_line_8 |  | 4 | 16 | 0.0897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5656-4_1_3_line_9 |  | 5 | 51 | 0.030956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5656-4_1_3_line_10 |  | 6 | 7 | 0.038182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5656-4_1_3_line_11 |  | 6 | 8 | 0.001109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5656-4_1_3_line_12 |  | 7 | 9 | 0.0050611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5656-4_1_3_line_13 |  | 9 | 10 | 0.018667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5656-4_1_3_line_14 |  | 10 | 15 | 0.044678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5656-4_1_3_line_15 |  | 10 | 12 | 0.052815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5656-4_1_3_line_16 |  | 11 | 12 | 0.047157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5656-4_1_3_line_17 |  | 11 | 13 | 0.059115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5656-4_1_3_line_18 |  | 13 | 14 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5656-4_1_3_line_19 |  | 14 | 16 | 0.04708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5656-4_1_3_line_20 |  | 15 | 25 | 0.028311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5656-4_1_3_line_21 |  | 15 | 23 | 0.0075599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5656-4_1_3_line_22 |  | 16 | 44 | 0.01392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5656-4_1_3_line_23 |  | 17 | 18 | 0.0073709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5656-4_1_3_line_24 |  | 17 | 19 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5656-4_1_3_line_25 |  | 18 | 20 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5656-4_1_3_line_26 |  | 20 | 21 | 0.002189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5656-4_1_3_line_27 |  | 20 | 22 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5656-4_1_3_line_28 |  | 21 | 31 | 0.031684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5656-4_1_3_line_29 |  | 21 | 27 | 0.047767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5656-4_1_3_line_30 |  | 22 | 32 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5656-4_1_3_line_31 |  | 23 | 24 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5656-4_1_3_line_32 |  | 24 | 26 | 0.021579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5656-4_1_3_line_33 |  | 24 | 27 | 0.034452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5656-4_1_3_line_34 |  | 25 | 28 | 0.0098497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5656-4_1_3_line_35 |  | 26 | 29 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5656-4_1_3_line_36 |  | 26 | 30 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5656-4_1_3_line_37 |  | 31 | 33 | 0.028515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5656-4_1_3_line_38 |  | 32 | 43 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5656-4_1_3_line_39 |  | 32 | 47 | 0.028219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5656-4_1_3_line_40 |  | 33 | 34 | 0.027878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5656-4_1_3_line_41 |  | 34 | 35 | 0.012757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5656-4_1_3_line_42 |  | 35 | 50 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5656-4_1_3_line_43 |  | 36 | 37 | 0.0023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5656-4_1_3_line_44 |  | 36 | 38 | 0.035716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5656-4_1_3_line_45 |  | 37 | 39 | 0.026143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5656-4_1_3_line_46 |  | 38 | 40 | 0.03006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5656-4_1_3_line_47 |  | 39 | 41 | 0.010322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5656-4_1_3_line_48 |  | 40 | 42 | 0.033311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5656-4_1_3_line_49 |  | 40 | 43 | 0.023597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5656-4_1_3_line_50 |  | 41 | 62 | 0.022852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5656-4_1_3_line_51 |  | 42 | 48 | 0.0026227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5656-4_1_3_line_52 |  | 44 | 45 | 0.031211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5656-4_1_3_line_53 |  | 46 | 63 | 0.011552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5656-4_1_3_line_54 |  | 49 | 50 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5656-4_1_3_line_55 |  | 51 | 58 | 0.040259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5656-4_1_3_line_56 |  | 52 | 53 | 0.012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5656-4_1_3_line_57 |  | 52 | 54 | 0.039187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5656-4_1_3_line_58 |  | 53 | 55 | 0.019622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5656-4_1_3_line_59 |  | 54 | 57 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5656-4_1_3_line_60 |  | 55 | 56 | 0.030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5656-4_1_3_line_61 |  | 56 | 60 | 0.037304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5656-4_1_3_line_62 |  | 57 | 59 | 0.0016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5656-4_1_3_line_63 |  | 59 | 67 | 0.031524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5656-4_1_3_line_64 |  | 60 | 61 | 0.031895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5656-4_1_3_line_65 |  | 62 | 67 | 0.0094094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5656-4_1_3_line_66 |  | 63 | 64 | 0.013489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5656-4_1_3_line_67 |  | 65 | 70 | 0.037015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5656-4_1_3_line_68 |  | 66 | 68 | 0.02095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5656-4_1_3_line_69 |  | 66 | 69 | 0.025679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5656-4_1_3_trafo_32 | 0.63 MVA 20/0.4 kV | 71 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2523688.5598 | 1156676.3664 | 2523686.2319 | 1156655.5174 | 2523682.6495 | 1156641.705
1 | 2523677.0064 | 1156619.9475 | 2523682.6495 | 1156641.705
2 | 2523688.5598 | 1156676.3664 | 2523690.5053 | 1156694.8856 | 2523692.4379 | 1156711.4455
3 | 2523677.0064 | 1156619.9475 | 2523673.9157 | 1156605.005
4 | 2523700.1731 | 1156611.9488 | 2523679.0935 | 1156618.8204 | 2523677.0064 | 1156619.9475
5 | 2523560.6627 | 1156878.8631 | 2523586.7188 | 1156895.5302 | 2523601.4948 | 1156908.0495 | 2523613.6891 | 1156921.391 | 2523624.3816 | 1156939.054 | 2523625.4123 | 1156941.2256
6 | 2523631.1583 | 1156953.3316 | 2523625.4123 | 1156941.2256
7 | 2523560.6627 | 1156878.8631 | 2523572.2207 | 1156872.3124 | 2523580.3489 | 1156864.4156
8 | 2523560.6627 | 1156878.8631 | 2523480.5332 | 1156838.104
9 | 2523631.1583 | 1156953.3316 | 2523636.7275 | 1156969.748 | 2523639.6089 | 1156983.0605
10 | 2523591.5537 | 1156710.0387 | 2523560.7288 | 1156732.5714
11 | 2523592.449 | 1156709.3842 | 2523591.5537 | 1156710.0387
12 | 2523556.643 | 1156735.5582 | 2523560.7288 | 1156732.5714
13 | 2523540.6398 | 1156745.1636 | 2523556.0908 | 1156735.9618 | 2523556.643 | 1156735.5582
14 | 2523568.258 | 1156780.2768 | 2523543.9284 | 1156750.4693 | 2523540.6398 | 1156745.1636
15 | 2523540.6398 | 1156745.1636 | 2523530.7327 | 1156730.8037 | 2523526.8351 | 1156727.0512 | 2523518.7849 | 1156727.8318 | 2523500.814 | 1156740.2966
16 | 2523500.814 | 1156740.2966 | 2523485.2303 | 1156751.1056 | 2523462.1531 | 1156767.2984
17 | 2523417.6856 | 1156806.1419 | 2523453.6176 | 1156773.2875 | 2523462.1531 | 1156767.2984
18 | 2523417.6856 | 1156806.1419 | 2523438.5686 | 1156816.7623
19 | 2523480.5332 | 1156838.104 | 2523438.5686 | 1156816.7623
20 | 2523568.258 | 1156780.2768 | 2523544.4796 | 1156795.6427
21 | 2523568.258 | 1156780.2768 | 2523572.8535 | 1156786.2797
22 | 2523480.5332 | 1156838.104 | 2523488.6176 | 1156826.7724
23 | 2523656.1983 | 1156740.3091 | 2523659.7857 | 1156746.7482
24 | 2523650.4198 | 1156729.937 | 2523656.1983 | 1156740.3091
25 | 2523665.9982 | 1156757.8995 | 2523659.7857 | 1156746.7482
26 | 2523664.1419 | 1156759.0682 | 2523665.9982 | 1156757.8995
27 | 2523665.9982 | 1156757.8995 | 2523676.2552 | 1156751.4434
28 | 2523664.1419 | 1156759.0682 | 2523663.7156 | 1156790.7495
29 | 2523664.1419 | 1156759.0682 | 2523622.9445 | 1156783.2448
30 | 2523695.1831 | 1156739.5295 | 2523676.2552 | 1156751.4434
31 | 2523593.1485 | 1156800.5386 | 2523587.8848 | 1156801.5283 | 2523581.7105 | 1156797.8491 | 2523572.8535 | 1156786.2797
32 | 2523593.1485 | 1156800.5386 | 2523606.0759 | 1156817.8397
33 | 2523593.1485 | 1156800.5386 | 2523601.1512 | 1156796.0342 | 2523622.9445 | 1156783.2448
34 | 2523536.2069 | 1156800.9886 | 2523544.4796 | 1156795.6427
35 | 2523606.0759 | 1156817.8397 | 2523616.4457 | 1156824.5784
36 | 2523606.0759 | 1156817.8397 | 2523618.1338 | 1156811.9941
37 | 2523663.332 | 1156819.2623 | 2523663.7156 | 1156790.7495
38 | 2523695.1831 | 1156739.5295 | 2523711.355 | 1156729.937
39 | 2523695.1831 | 1156739.5295 | 2523693.2764 | 1156718.6306 | 2523692.4379 | 1156711.4455
40 | 2523663.332 | 1156819.2623 | 2523662.957 | 1156847.1376
41 | 2523662.7853 | 1156859.8937 | 2523662.957 | 1156847.1376
42 | 2523662.7853 | 1156859.8937 | 2523662.5148 | 1156880.0017
43 | 2523744.6247 | 1156776.8857 | 2523744.6897 | 1156774.495
44 | 2523745.6606 | 1156738.792 | 2523744.6897 | 1156774.495
45 | 2523743.914 | 1156803.0191 | 2523744.6247 | 1156776.8857
46 | 2523731.6506 | 1156717.8986 | 2523740.7918 | 1156719.0833 | 2523744.655 | 1156725.5713 | 2523745.7744 | 1156734.6067 | 2523745.6606 | 1156738.792
47 | 2523743.914 | 1156803.0191 | 2523743.6335 | 1156813.3373
48 | 2523731.6506 | 1156717.8986 | 2523760.3662 | 1156701.0154
49 | 2523731.6506 | 1156717.8986 | 2523711.355 | 1156729.937
50 | 2523743.0123 | 1156836.1804 | 2523743.6335 | 1156813.3373
51 | 2523760.3662 | 1156701.0154 | 2523762.6271 | 1156699.6861
52 | 2523517.1678 | 1156839.3273 | 2523504.8675 | 1156834.5589 | 2523488.6176 | 1156826.7724
53 | 2523576.8471 | 1156853.4341 | 2523577.5974 | 1156854.9007 | 2523580.3489 | 1156864.4156 | 2523580.3489 | 1156864.4156
54 | 2523662.2563 | 1156899.2116 | 2523662.5148 | 1156880.0017
55 | 2523639.6089 | 1156983.0605 | 2523641.4692 | 1156991.6558 | 2523645.9665 | 1157022.7972
56 | 2523705.0069 | 1156929.6801 | 2523712.3487 | 1156925.0731 | 2523716.5502 | 1156924.5698
57 | 2523716.5502 | 1156924.5698 | 2523734.3553 | 1156922.4367 | 2523739.2391 | 1156919.3174 | 2523740.9804 | 1156910.9016 | 2523741.167 | 1156904.039
58 | 2523705.0069 | 1156929.6801 | 2523705.0069 | 1156929.6801 | 2523703.499 | 1156940.7722 | 2523703.7553 | 1156949.1958
59 | 2523741.8538 | 1156878.7812 | 2523741.167 | 1156904.039
60 | 2523703.7553 | 1156949.1958 | 2523704.6835 | 1156979.7087
61 | 2523704.6835 | 1156979.7087 | 2523705.8178 | 1157016.9953
62 | 2523741.8538 | 1156878.7812 | 2523741.8996 | 1156877.0991
63 | 2523741.8996 | 1156877.0991 | 2523742.7565 | 1156845.5863
64 | 2523706.7876 | 1157048.876 | 2523705.8178 | 1157016.9953
65 | 2523743.0123 | 1156836.1804 | 2523742.7565 | 1156845.5863
66 | 2523576.8471 | 1156853.4341 | 2523570.7039 | 1156841.425
67 | 2523673.9157 | 1156605.005 | 2523666.4182 | 1156568.7577
68 | 2523700.1731 | 1156611.9488 | 2523709.9413 | 1156630.4824
69 | 2523700.1731 | 1156611.9488 | 2523696.2621 | 1156586.5698

## bus_geodata
| x | y | coords
0 | 2523682.6495 | 1156641.705
1 | 2523688.5598 | 1156676.3664
2 | 2523677.0064 | 1156619.9475
3 | 2523625.4123 | 1156941.2256
4 | 2523560.6627 | 1156878.8631
5 | 2523631.1583 | 1156953.3316
6 | 2523591.5537 | 1156710.0387
7 | 2523560.7288 | 1156732.5714
8 | 2523592.449 | 1156709.3842
9 | 2523556.643 | 1156735.5582
10 | 2523540.6398 | 1156745.1636
11 | 2523462.1531 | 1156767.2984
12 | 2523500.814 | 1156740.2966
13 | 2523417.6856 | 1156806.1419
14 | 2523438.5686 | 1156816.7623
15 | 2523568.258 | 1156780.2768
16 | 2523480.5332 | 1156838.104
17 | 2523656.1983 | 1156740.3091
18 | 2523659.7857 | 1156746.7482
19 | 2523650.4198 | 1156729.937
20 | 2523665.9982 | 1156757.8995
21 | 2523664.1419 | 1156759.0682
22 | 2523676.2552 | 1156751.4434
23 | 2523572.8535 | 1156786.2797
24 | 2523593.1485 | 1156800.5386
25 | 2523544.4796 | 1156795.6427
26 | 2523606.0759 | 1156817.8397
27 | 2523622.9445 | 1156783.2448
28 | 2523536.2069 | 1156800.9886
29 | 2523616.4457 | 1156824.5784
30 | 2523618.1338 | 1156811.9941
31 | 2523663.7156 | 1156790.7495
32 | 2523695.1831 | 1156739.5295
33 | 2523663.332 | 1156819.2623
34 | 2523662.957 | 1156847.1376
35 | 2523662.7853 | 1156859.8937
36 | 2523744.6897 | 1156774.495
37 | 2523744.6247 | 1156776.8857
38 | 2523745.6606 | 1156738.792
39 | 2523743.914 | 1156803.0191
40 | 2523731.6506 | 1156717.8986
41 | 2523743.6335 | 1156813.3373
42 | 2523760.3662 | 1156701.0154
43 | 2523711.355 | 1156729.937
44 | 2523488.6176 | 1156826.7724
45 | 2523517.1678 | 1156839.3273
46 | 2523580.3489 | 1156864.4156
47 | 2523692.4379 | 1156711.4455
48 | 2523762.6271 | 1156699.6861
49 | 2523662.2563 | 1156899.2116
50 | 2523662.5148 | 1156880.0017
51 | 2523639.6089 | 1156983.0605
52 | 2523716.5502 | 1156924.5698
53 | 2523705.0069 | 1156929.6801
54 | 2523741.167 | 1156904.039
55 | 2523703.7553 | 1156949.1958
56 | 2523704.6835 | 1156979.7087
57 | 2523741.8538 | 1156878.7812
58 | 2523645.9665 | 1157022.7972
59 | 2523741.8996 | 1156877.0991
60 | 2523705.8178 | 1157016.9954
61 | 2523706.7876 | 1157048.876
62 | 2523743.0123 | 1156836.1804
63 | 2523576.8471 | 1156853.4341
64 | 2523570.7039 | 1156841.425
65 | 2523673.9157 | 1156605.005
66 | 2523700.1731 | 1156611.9488
67 | 2523742.7565 | 1156845.5863
68 | 2523709.9413 | 1156630.4824
69 | 2523696.2621 | 1156586.5698
70 | 2523666.4182 | 1156568.7577
71 | 2523664.1419 | 1156759.0682

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1