## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5693-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5693-1_0_2_node_51 | 0.4 | n |  | TRUE
2 | bus_LV_5693-1_0_2_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_5693-1_0_2_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_5693-1_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_5693-1_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5693-1_0_2_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_5693-1_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5693-1_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5693-1_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5693-1_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5693-1_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5693-1_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5693-1_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5693-1_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5693-1_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5693-1_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5693-1_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5693-1_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5693-1_0_2_node_163 | 0.4 | n |  | TRUE
20 | bus_LV_5693-1_0_2_node_164 | 0.4 | n |  | TRUE
21 | bus_LV_5693-1_0_2_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_5693-1_0_2_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5693-1_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5693-1_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5693-1_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5693-1_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5693-1_0_2_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_5693-1_0_2_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_5693-1_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5693-1_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5693-1_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5693-1_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5693-1_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5693-1_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5693-1_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5693-1_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_5693-1_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5693-1_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5693-1_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5693-1_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5693-1_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5693-1_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5693-1_0_2_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_5693-1_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5693-1_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5693-1_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5693-1_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5693-1_0_2_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5693-1_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5693-1_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5693-1_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5693-1_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5693-1_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5693-1_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5693-1_0_2_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_5693-1_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5693-1_0_2_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_5693-1_0_2_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5693-1_0_2_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_5693-1_0_2_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5693-1_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5693-1_0_2_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5693-1_0_2_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_5693-1_0_2_node_198 | 0.4 | n |  | TRUE
65 | bus_LV_5693-1_0_2_node_165 | 0.4 | n |  | TRUE
66 | bus_LV_5693-1_0_2_node_166 | 0.4 | n |  | TRUE
67 | bus_LV_5693-1_0_2_node_167 | 0.4 | n |  | TRUE
68 | bus_LV_5693-1_0_2_node_168 | 0.4 | n |  | TRUE
69 | bus_LV_5693-1_0_2_node_172 | 0.4 | n |  | TRUE
70 | bus_LV_5693-1_0_2_node_170 | 0.4 | n |  | TRUE
71 | bus_LV_5693-1_0_2_node_169 | 0.4 | n |  | TRUE
72 | bus_LV_5693-1_0_2_node_171 | 0.4 | n |  | TRUE
73 | bus_LV_5693-1_0_2_node_173 | 0.4 | n |  | TRUE
74 | bus_LV_5693-1_0_2_node_178 | 0.4 | n |  | TRUE
75 | bus_LV_5693-1_0_2_node_174 | 0.4 | n |  | TRUE
76 | bus_LV_5693-1_0_2_node_175 | 0.4 | n |  | TRUE
77 | bus_LV_5693-1_0_2_node_176 | 0.4 | n |  | TRUE
78 | bus_LV_5693-1_0_2_node_177 | 0.4 | n |  | TRUE
79 | bus_LV_5693-1_0_2_node_179 | 0.4 | n |  | TRUE
80 | bus_LV_5693-1_0_2_node_180 | 0.4 | n |  | TRUE
81 | bus_LV_5693-1_0_2_node_181 | 0.4 | n |  | TRUE
82 | bus_LV_5693-1_0_2_node_182 | 0.4 | n |  | TRUE
83 | bus_LV_5693-1_0_2_node_183 | 0.4 | n |  | TRUE
84 | bus_LV_5693-1_0_2_node_184 | 0.4 | n |  | TRUE
85 | bus_LV_5693-1_0_2_node_185 | 0.4 | n |  | TRUE
86 | bus_LV_5693-1_0_2_node_186 | 0.4 | n |  | TRUE
87 | bus_LV_5693-1_0_2_node_187 | 0.4 | n |  | TRUE
88 | bus_LV_5693-1_0_2_node_188 | 0.4 | n |  | TRUE
89 | bus_LV_5693-1_0_2_node_189 | 0.4 | n |  | TRUE
90 | bus_LV_5693-1_0_2_node_190 | 0.4 | n |  | TRUE
91 | bus_LV_5693-1_0_2_node_191 | 0.4 | n |  | TRUE
92 | bus_LV_5693-1_0_2_node_192 | 0.4 | n |  | TRUE
93 | bus_LV_5693-1_0_2_node_193 | 0.4 | n |  | TRUE
94 | bus_LV_5693-1_0_2_node_194 | 0.4 | n |  | TRUE
95 | bus_LV_5693-1_0_2_node_195 | 0.4 | n |  | TRUE
96 | bus_LV_5693-1_0_2_node_196 | 0.4 | n |  | TRUE
97 | bus_LV_5693-1_0_2_node_197 | 0.4 | n |  | TRUE
98 | bus_MV_367_2_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5693-1_0_2_load_0 | 0 | 0.0006889 | 0.00017265 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5693-1_0_2_load_51 | 1 | 0.0006656 | 0.00016682 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5693-1_0_2_load_20 | 2 | 0.0014839 | 0.00037189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5693-1_0_2_load_2 | 4 | 0.0012441 | 0.0003118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5693-1_0_2_load_3 | 5 | 0.0018548 | 0.00046486 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5693-1_0_2_load_4 | 7 | 0.0023102 | 0.00057899 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5693-1_0_2_load_7 | 9 | 0.00042097 | 0.0001055 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5693-1_0_2_load_8 | 10 | 0.0005917 | 0.0001483 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5693-1_0_2_load_10 | 13 | 0.00098372 | 0.00024654 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5693-1_0_2_load_11 | 14 | 0.00086413 | 0.00021657 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5693-1_0_2_load_12 | 15 | 0.00058608 | 0.00014689 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5693-1_0_2_load_13 | 16 | 0.0028511 | 0.00071455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5693-1_0_2_load_14 | 17 | 0.00083499 | 0.00020927 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5693-1_0_2_load_163 | 19 | 0.00052863 | 0.00013249 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5693-1_0_2_load_164 | 20 | 0.0005679 | 0.00014233 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5693-1_0_2_load_61 | 21 | 0.0006337 | 0.00015882 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5693-1_0_2_load_60 | 22 | 0.00093833 | 0.00023517 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5693-1_0_2_load_16 | 23 | 0.0023384 | 0.00058605 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5693-1_0_2_load_17 | 24 | 0.001047 | 0.00026241 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5693-1_0_2_load_19 | 25 | 0.00084698 | 0.00021227 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5693-1_0_2_load_56 | 27 | 0.00624 | 0.0015639 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5693-1_0_2_load_53 | 28 | 0.00055239 | 0.00013844 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5693-1_0_2_load_21 | 29 | 0.0024205 | 0.00060664 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5693-1_0_2_load_22 | 30 | 0.0017278 | 0.00043302 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5693-1_0_2_load_24 | 31 | 0.0014872 | 0.00037272 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5693-1_0_2_load_25 | 32 | 0.0018581 | 0.00046567 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5693-1_0_2_load_27 | 34 | 0.0010756 | 0.00026956 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5693-1_0_2_load_34 | 35 | 0.0020236 | 0.00050715 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5693-1_0_2_load_28 | 36 | 0.0065733 | 0.0016474 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5693-1_0_2_load_29 | 37 | 0.0042902 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5693-1_0_2_load_31 | 39 | 0.002744 | 0.00068772 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5693-1_0_2_load_33 | 41 | 0.00089705 | 0.00022482 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5693-1_0_2_load_35 | 42 | 0.00095732 | 0.00023993 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5693-1_0_2_load_49 | 43 | 0.003643 | 0.00091301 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5693-1_0_2_load_36 | 44 | 0.00053197 | 0.00013333 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5693-1_0_2_load_37 | 45 | 0.0031187 | 0.00078161 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5693-1_0_2_load_38 | 46 | 0.0014655 | 0.0003673 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5693-1_0_2_load_39 | 47 | 0.0017431 | 0.00043687 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5693-1_0_2_load_40 | 48 | 0.00096643 | 0.00024221 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5693-1_0_2_load_41 | 49 | 0.0011763 | 0.00029481 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5693-1_0_2_load_43 | 50 | 0.0017344 | 0.00043469 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5693-1_0_2_load_44 | 51 | 0.00091415 | 0.00022911 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5693-1_0_2_load_46 | 52 | 0.0041417 | 0.001038 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5693-1_0_2_load_45 | 53 | 0.00035925 | 9.0036e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5693-1_0_2_load_47 | 54 | 0.0024505 | 0.00061414 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5693-1_0_2_load_50 | 56 | 0.0011205 | 0.00028083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5693-1_0_2_load_62 | 57 | 0.0025058 | 0.00062802 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5693-1_0_2_load_52 | 58 | 0.00030565 | 7.6604e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5693-1_0_2_load_54 | 59 | 0.0046118 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5693-1_0_2_load_55 | 60 | 0.0018788 | 0.00047087 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5693-1_0_2_load_57 | 61 | 0.00061254 | 0.00015352 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5693-1_0_2_load_58 | 62 | 0.0036887 | 0.00092447 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5693-1_0_2_load_59 | 63 | 0.0010024 | 0.00025122 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5693-1_0_2_load_198 | 64 | 0.00026689 | 6.6889e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5693-1_0_2_load_165 | 65 | 0.00092671 | 0.00023226 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5693-1_0_2_load_166 | 66 | 0.00066053 | 0.00016554 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5693-1_0_2_load_167 | 67 | 0.00012717 | 3.1871e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5693-1_0_2_load_172 | 69 | 0.00036048 | 9.0345e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5693-1_0_2_load_169 | 71 | 0.00075704 | 0.00018973 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5693-1_0_2_load_171 | 72 | 0.0025998 | 0.00065157 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5693-1_0_2_load_173 | 73 | 0.00067122 | 0.00016822 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5693-1_0_2_load_178 | 74 | 0.00060846 | 0.00015249 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5693-1_0_2_load_175 | 76 | 0.00055045 | 0.00013795 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5693-1_0_2_load_176 | 77 | 0.0017707 | 0.00044379 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5693-1_0_2_load_177 | 78 | 0.000249 | 6.2404e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5693-1_0_2_load_179 | 79 | 0.00083611 | 0.00020955 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5693-1_0_2_load_180 | 80 | 0.00091122 | 0.00022837 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5693-1_0_2_load_181 | 81 | 0.0017464 | 0.0004377 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5693-1_0_2_load_182 | 82 | 0.0010238 | 0.00025659 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5693-1_0_2_load_183 | 83 | 0.001057 | 0.00026491 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5693-1_0_2_load_184 | 84 | 0.0014084 | 0.00035297 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5693-1_0_2_load_185 | 85 | 0.00031236 | 7.8286e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5693-1_0_2_load_188 | 88 | 0.00084268 | 0.0002112 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5693-1_0_2_load_189 | 89 | 0.00089236 | 0.00022365 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5693-1_0_2_load_190 | 90 | 0.00072297 | 0.00018119 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5693-1_0_2_load_191 | 91 | 0.00038197 | 9.5731e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5693-1_0_2_load_193 | 93 | 0.00013887 | 3.4804e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5693-1_0_2_load_195 | 95 | 0.0012809 | 0.00032102 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5693-1_0_2_load_196 | 96 | 0.00041209 | 0.00010328 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5693-1_0_2_load_197 | 97 | 0.00017093 | 4.2838e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5693-1_0_2_line_0 |  | 0 | 1 | 0.25224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5693-1_0_2_line_1 |  | 0 | 2 | 0.31435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5693-1_0_2_line_2 |  | 1 | 53 | 0.010179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5693-1_0_2_line_3 |  | 2 | 29 | 0.0021869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5693-1_0_2_line_4 |  | 2 | 30 | 0.15464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5693-1_0_2_line_5 |  | 3 | 4 | 0.036038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5693-1_0_2_line_6 |  | 3 | 5 | 0.032957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5693-1_0_2_line_7 |  | 5 | 6 | 0.0045932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5693-1_0_2_line_8 |  | 6 | 51 | 0.024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5693-1_0_2_line_9 |  | 6 | 48 | 0.047991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5693-1_0_2_line_10 |  | 7 | 8 | 0.028441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5693-1_0_2_line_11 |  | 8 | 9 | 0.021797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5693-1_0_2_line_12 |  | 8 | 10 | 0.0012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5693-1_0_2_line_13 |  | 9 | 14 | 0.0039102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5693-1_0_2_line_14 |  | 10 | 15 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5693-1_0_2_line_15 |  | 11 | 12 | 0.029841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5693-1_0_2_line_16 |  | 11 | 13 | 0.018594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5693-1_0_2_line_17 |  | 12 | 16 | 0.046721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5693-1_0_2_line_18 |  | 12 | 17 | 0.010853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5693-1_0_2_line_19 |  | 13 | 18 | 0.022631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5693-1_0_2_line_20 |  | 14 | 19 | 0.019754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5693-1_0_2_line_21 |  | 15 | 20 | 0.031302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5693-1_0_2_line_22 |  | 16 | 21 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5693-1_0_2_line_23 |  | 17 | 22 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5693-1_0_2_line_24 |  | 18 | 23 | 0.008787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5693-1_0_2_line_25 |  | 18 | 24 | 0.0088815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5693-1_0_2_line_26 |  | 19 | 25 | 0.012575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5693-1_0_2_line_27 |  | 20 | 65 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5693-1_0_2_line_28 |  | 21 | 64 | 0.0069651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5693-1_0_2_line_29 |  | 22 | 63 | 0.0061223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5693-1_0_2_line_30 |  | 24 | 25 | 0.021949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5693-1_0_2_line_31 |  | 26 | 27 | 0.0018833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5693-1_0_2_line_32 |  | 26 | 28 | 0.006123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5693-1_0_2_line_33 |  | 27 | 57 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5693-1_0_2_line_34 |  | 28 | 58 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5693-1_0_2_line_35 |  | 31 | 32 | 0.055057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5693-1_0_2_line_36 |  | 32 | 33 | 0.0013666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5693-1_0_2_line_37 |  | 33 | 34 | 0.024672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5693-1_0_2_line_38 |  | 34 | 35 | 0.018412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5693-1_0_2_line_39 |  | 35 | 40 | 0.051324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5693-1_0_2_line_40 |  | 36 | 37 | 0.04784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5693-1_0_2_line_41 |  | 36 | 38 | 0.030226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5693-1_0_2_line_42 |  | 37 | 39 | 0.0050705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5693-1_0_2_line_43 |  | 38 | 40 | 0.022941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5693-1_0_2_line_44 |  | 39 | 41 | 0.028017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5693-1_0_2_line_45 |  | 40 | 42 | 0.030027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5693-1_0_2_line_46 |  | 41 | 43 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5693-1_0_2_line_47 |  | 43 | 55 | 0.0050414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5693-1_0_2_line_48 |  | 44 | 45 | 0.013916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5693-1_0_2_line_49 |  | 44 | 46 | 0.033233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5693-1_0_2_line_50 |  | 45 | 47 | 0.021376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5693-1_0_2_line_51 |  | 46 | 48 | 0.011462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5693-1_0_2_line_52 |  | 47 | 49 | 0.015022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5693-1_0_2_line_53 |  | 49 | 50 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5693-1_0_2_line_54 |  | 50 | 52 | 0.034837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5693-1_0_2_line_55 |  | 51 | 53 | 0.017485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5693-1_0_2_line_56 |  | 52 | 54 | 0.018492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5693-1_0_2_line_57 |  | 54 | 55 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5693-1_0_2_line_58 |  | 55 | 56 | 0.018156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5693-1_0_2_line_59 |  | 56 | 57 | 0.0026797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5693-1_0_2_line_60 |  | 58 | 59 | 0.0046434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5693-1_0_2_line_61 |  | 59 | 60 | 0.0092223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5693-1_0_2_line_62 |  | 60 | 61 | 0.0084552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5693-1_0_2_line_63 |  | 61 | 62 | 0.0017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5693-1_0_2_line_64 |  | 62 | 63 | 0.016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5693-1_0_2_line_65 |  | 64 | 97 | 0.079967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5693-1_0_2_line_66 |  | 65 | 66 | 0.025728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5693-1_0_2_line_67 |  | 66 | 67 | 0.0011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5693-1_0_2_line_68 |  | 67 | 68 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5693-1_0_2_line_69 |  | 68 | 69 | 0.010132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5693-1_0_2_line_70 |  | 68 | 70 | 0.015365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5693-1_0_2_line_71 |  | 69 | 73 | 0.0085072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5693-1_0_2_line_72 |  | 70 | 71 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5693-1_0_2_line_73 |  | 71 | 72 | 0.04768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5693-1_0_2_line_74 |  | 73 | 74 | 0.051681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5693-1_0_2_line_75 |  | 74 | 77 | 0.037227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5693-1_0_2_line_76 |  | 75 | 76 | 0.010777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5693-1_0_2_line_77 |  | 75 | 77 | 0.010238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5693-1_0_2_line_78 |  | 76 | 78 | 0.010484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5693-1_0_2_line_79 |  | 78 | 79 | 0.021791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5693-1_0_2_line_80 |  | 79 | 80 | 0.0066161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5693-1_0_2_line_81 |  | 80 | 81 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5693-1_0_2_line_82 |  | 81 | 82 | 0.011597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5693-1_0_2_line_83 |  | 82 | 83 | 0.0039351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5693-1_0_2_line_84 |  | 83 | 84 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5693-1_0_2_line_85 |  | 84 | 85 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5693-1_0_2_line_86 |  | 85 | 86 | 0.022232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5693-1_0_2_line_87 |  | 86 | 87 | 0.017711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5693-1_0_2_line_88 |  | 86 | 88 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5693-1_0_2_line_89 |  | 87 | 89 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5693-1_0_2_line_90 |  | 90 | 91 | 0.074814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5693-1_0_2_line_91 |  | 90 | 92 | 0.003228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5693-1_0_2_line_92 |  | 91 | 93 | 0.030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5693-1_0_2_line_93 |  | 92 | 94 | 0.010149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5693-1_0_2_line_94 |  | 93 | 95 | 0.0042507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5693-1_0_2_line_95 |  | 94 | 96 | 0.047685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5693-1_0_2_line_96 |  | 95 | 97 | 0.0081491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5693-1_0_2_trafo_50 | 0.63 MVA 20/0.4 kV | 98 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2549963.5783 | 1171857.3459 | 2549737.1006 | 1171746.2884
1 | 2549737.1006 | 1171746.2884 | 2549453.0563 | 1171611.6133
2 | 2549970.2967 | 1171849.8525 | 2549967.4989 | 1171851.8948 | 2549963.5783 | 1171857.3459
3 | 2549453.0563 | 1171611.6133 | 2549451.8756 | 1171613.4541
4 | 2549453.0563 | 1171611.6133 | 2549536.828 | 1171481.6256
5 | 2549983.8714 | 1171818.4402 | 2550004.7745 | 1171809.9834 | 2550017.3606 | 1171804.8867
6 | 2549983.8714 | 1171818.4402 | 2549996.7769 | 1171833.2848 | 2550006.6449 | 1171842.1824
7 | 2550010.0562 | 1171845.2582 | 2550006.6449 | 1171842.1824
8 | 2550010.0562 | 1171845.2582 | 2549991.6589 | 1171843.2663 | 2549985.6675 | 1171843.3163
9 | 2550010.0562 | 1171845.2582 | 2550045.6952 | 1171877.3979
10 | 2550273.1584 | 1172118.5931 | 2550265.6073 | 1172116.5213 | 2550250.7225 | 1172107.2621 | 2550248.065 | 1172108.8218
11 | 2550273.1584 | 1172118.5931 | 2550265.3235 | 1172098.253
12 | 2550273.1584 | 1172118.5931 | 2550273.7714 | 1172119.6936
13 | 2550265.3235 | 1172098.253 | 2550264.7236 | 1172096.6958 | 2550263.8914 | 1172094.6146
14 | 2550280.663 | 1172132.0662 | 2550273.7714 | 1172119.6936
15 | 2550203.3166 | 1172075.161 | 2550184.8489 | 1172098.6382
16 | 2550203.3166 | 1172075.161 | 2550214.6824 | 1172060.445
17 | 2550184.8489 | 1172098.6382 | 2550159.427 | 1172132.0009 | 2550156.6884 | 1172135.9138
18 | 2550184.8489 | 1172098.6382 | 2550184.7411 | 1172087.7859
19 | 2550228.5157 | 1172042.5341 | 2550214.6824 | 1172060.445
20 | 2550263.8914 | 1172094.6146 | 2550261.0681 | 1172087.5546 | 2550253.9485 | 1172077.7081
21 | 2550280.663 | 1172132.0662 | 2550295.8949 | 1172159.4126
22 | 2550149.2447 | 1172146.5495 | 2550156.6884 | 1172135.9138
23 | 2550184.5267 | 1172066.216 | 2550184.7411 | 1172087.7859
24 | 2550228.5157 | 1172042.5341 | 2550223.8303 | 1172035.1005
25 | 2550228.5157 | 1172042.5341 | 2550233.7196 | 1172049.7313
26 | 2550253.9485 | 1172077.7081 | 2550246.5805 | 1172067.5181
27 | 2550301.2312 | 1172168.9929 | 2550295.8949 | 1172159.4126
28 | 2550149.2447 | 1172146.5495 | 2550145.2509 | 1172152.2558
29 | 2550184.5267 | 1172066.216 | 2550184.4659 | 1172060.094
30 | 2550233.7196 | 1172049.7313 | 2550246.5805 | 1172067.5181
31 | 2550206.3632 | 1172007.3882 | 2550205.3589 | 1172005.7951
32 | 2550206.3632 | 1172007.3882 | 2550204.0931 | 1172013.0749
33 | 2550199.9177 | 1171996.8706 | 2550202.6194 | 1172001.4495 | 2550205.3589 | 1172005.7951
34 | 2550199.2076 | 1172025.3129 | 2550199.2076 | 1172025.3129 | 2550204.0931 | 1172013.0749
35 | 2550257.7618 | 1171750.4026 | 2550256.9827 | 1171729.263 | 2550257.8001 | 1171712.5584 | 2550262.8575 | 1171696.1409
36 | 2550257.8122 | 1171751.7682 | 2550257.7618 | 1171750.4026
37 | 2550257.8122 | 1171751.7682 | 2550259.5424 | 1171776.3794
38 | 2550259.6572 | 1171794.7822 | 2550259.7985 | 1171780.0224 | 2550259.5424 | 1171776.3794
39 | 2550255.6719 | 1171845.8698 | 2550259.4586 | 1171815.5332 | 2550259.6572 | 1171794.7822
40 | 2550208.8544 | 1171933.3028 | 2550235.9634 | 1171893.8853
41 | 2550252.5027 | 1171868.586 | 2550236.589 | 1171892.9757 | 2550235.9634 | 1171893.8853
42 | 2550205.9812 | 1171937.4806 | 2550208.8544 | 1171933.3028
43 | 2550255.6719 | 1171845.8698 | 2550252.5027 | 1171868.586
44 | 2550191.7423 | 1171961.5529 | 2550199.1789 | 1171947.3713 | 2550205.9812 | 1171937.4806
45 | 2550255.6719 | 1171845.8698 | 2550242.6858 | 1171818.7965
46 | 2550189.7037 | 1171973.8981 | 2550190.4372 | 1171964.0418 | 2550191.7423 | 1171961.5529
47 | 2550189.3296 | 1171978.9257 | 2550189.7037 | 1171973.8981
48 | 2550079.9834 | 1171906.0013 | 2550091.0996 | 1171914.3724
49 | 2550079.9834 | 1171906.0013 | 2550064.3983 | 1171894.2647 | 2550054.2071 | 1171885.0741
50 | 2550091.0996 | 1171914.3724 | 2550108.1755 | 1171927.2317
51 | 2550045.6952 | 1171877.3979 | 2550054.2071 | 1171885.0741
52 | 2550120.7148 | 1171935.4912 | 2550110.4203 | 1171928.9221 | 2550108.1755 | 1171927.2317
53 | 2550133.034 | 1171943.3522 | 2550120.7148 | 1171935.4912
54 | 2550162.4011 | 1171962.0919 | 2550133.034 | 1171943.3522
55 | 2549985.6675 | 1171843.3163 | 2549979.1766 | 1171843.3705 | 2549970.2967 | 1171849.8525
56 | 2550162.4011 | 1171962.0919 | 2550174.8759 | 1171970.0522 | 2550178.0234 | 1171971.9845
57 | 2550189.3296 | 1171978.9257 | 2550178.0234 | 1171971.9845
58 | 2550189.3296 | 1171978.9257 | 2550198.5559 | 1171994.5626
59 | 2550199.9177 | 1171996.8706 | 2550198.5559 | 1171994.5626
60 | 2550199.2076 | 1172025.3129 | 2550196.1033 | 1172028.7661
61 | 2550189.9379 | 1172035.6245 | 2550196.1033 | 1172028.7661
62 | 2550184.2852 | 1172041.9125 | 2550189.9379 | 1172035.6245
63 | 2550184.2852 | 1172041.9125 | 2550184.2852 | 1172041.9125 | 2550184.3023 | 1172043.6333
64 | 2550184.4659 | 1172060.094 | 2550184.3023 | 1172043.6333
65 | 2550099.405 | 1172217.7762 | 2550115.8663 | 1172194.2524 | 2550135.9873 | 1172165.4917 | 2550145.2509 | 1172152.2558
66 | 2550301.2312 | 1172168.9929 | 2550313.7507 | 1172191.4696
67 | 2550313.7507 | 1172191.4696 | 2550314.3258 | 1172192.502
68 | 2550323.2695 | 1172208.5589 | 2550314.3258 | 1172192.502
69 | 2550323.2695 | 1172208.5589 | 2550327.9343 | 1172217.5529
70 | 2550323.2695 | 1172208.5589 | 2550334.1442 | 1172219.4413
71 | 2550331.8512 | 1172225.1048 | 2550327.9343 | 1172217.5529
72 | 2550334.1442 | 1172219.4413 | 2550341.083 | 1172220.551 | 2550350.6436 | 1172214.7241
73 | 2550350.1756 | 1172178.8533 | 2550364.9376 | 1172202.866 | 2550364.0503 | 1172206.5532 | 2550350.6436 | 1172214.7241
74 | 2550331.8512 | 1172225.1048 | 2550337.1493 | 1172276.5136
75 | 2550337.1493 | 1172276.5136 | 2550354.8423 | 1172291.5306 | 2550366.2147 | 1172299.7296
76 | 2550376.3605 | 1172298.356 | 2550384.3344 | 1172305.6053
77 | 2550376.3605 | 1172298.356 | 2550366.2147 | 1172299.7296
78 | 2550384.3344 | 1172305.6053 | 2550392.0917 | 1172312.6578
79 | 2550408.2152 | 1172327.3163 | 2550392.0917 | 1172312.6578
80 | 2550408.2152 | 1172327.3163 | 2550413.1106 | 1172331.7669
81 | 2550413.1106 | 1172331.7669 | 2550431.9183 | 1172348.8656
82 | 2550431.9183 | 1172348.8656 | 2550440.4995 | 1172356.6671
83 | 2550443.4112 | 1172359.3142 | 2550440.4995 | 1172356.6671
84 | 2550451.0439 | 1172366.5237 | 2550449.5639 | 1172364.908 | 2550443.4112 | 1172359.3142
85 | 2550451.0439 | 1172366.5237 | 2550462.2787 | 1172378.7895
86 | 2550477.2949 | 1172395.1838 | 2550462.2787 | 1172378.7895
87 | 2550485.2044 | 1172411.038 | 2550477.2949 | 1172395.1838
88 | 2550477.2949 | 1172395.1838 | 2550489.063 | 1172397.8922
89 | 2550485.2044 | 1172411.038 | 2550467.8471 | 1172420.5573
90 | 2550044.5052 | 1172320.1604 | 2550045.8623 | 1172305.6066 | 2550054.1737 | 1172285.1486 | 2550066.8266 | 1172264.3319 | 2550074.7129 | 1172253.0622
91 | 2550044.2055 | 1172323.3744 | 2550044.5052 | 1172320.1604
92 | 2550074.7129 | 1172253.0622 | 2550092.2957 | 1172227.9356
93 | 2550044.2055 | 1172323.3744 | 2550036.3817 | 1172329.8654
94 | 2550094.7328 | 1172224.4529 | 2550092.2957 | 1172227.9356
95 | 2550036.3817 | 1172329.8654 | 2550005.8032 | 1172293.2119
96 | 2550094.7328 | 1172224.4529 | 2550099.405 | 1172217.7762

## bus_geodata
| x | y | coords
0 | 2549737.1006 | 1171746.2884
1 | 2549963.5783 | 1171857.3459
2 | 2549453.0563 | 1171611.6133
3 | 2549983.8714 | 1171818.4402
4 | 2550017.3606 | 1171804.8867
5 | 2550006.6449 | 1171842.1824
6 | 2550010.0562 | 1171845.2582
7 | 2550248.065 | 1172108.8218
8 | 2550273.1584 | 1172118.5931
9 | 2550265.3234 | 1172098.253
10 | 2550273.7714 | 1172119.6936
11 | 2550203.3166 | 1172075.161
12 | 2550184.8489 | 1172098.6382
13 | 2550214.6824 | 1172060.445
14 | 2550263.8914 | 1172094.6146
15 | 2550280.663 | 1172132.0662
16 | 2550156.6884 | 1172135.9138
17 | 2550184.7411 | 1172087.7859
18 | 2550228.5157 | 1172042.5341
19 | 2550253.9485 | 1172077.7081
20 | 2550295.8949 | 1172159.4126
21 | 2550149.2447 | 1172146.5495
22 | 2550184.5267 | 1172066.216
23 | 2550223.8303 | 1172035.1005
24 | 2550233.7196 | 1172049.7313
25 | 2550246.5805 | 1172067.5181
26 | 2550206.3632 | 1172007.3882
27 | 2550205.3589 | 1172005.7951
28 | 2550204.0931 | 1172013.0749
29 | 2549451.8756 | 1171613.4541
30 | 2549536.828 | 1171481.6256
31 | 2550262.8575 | 1171696.1409
32 | 2550257.7618 | 1171750.4026
33 | 2550257.8122 | 1171751.7682
34 | 2550259.5424 | 1171776.3794
35 | 2550259.6572 | 1171794.7822
36 | 2550235.9634 | 1171893.8853
37 | 2550208.8544 | 1171933.3028
38 | 2550252.5027 | 1171868.586
39 | 2550205.9812 | 1171937.4806
40 | 2550255.6719 | 1171845.8698
41 | 2550191.7423 | 1171961.5529
42 | 2550242.6858 | 1171818.7965
43 | 2550189.7037 | 1171973.8981
44 | 2550079.9834 | 1171906.0013
45 | 2550091.0996 | 1171914.3724
46 | 2550054.2071 | 1171885.0741
47 | 2550108.1755 | 1171927.2317
48 | 2550045.6952 | 1171877.3979
49 | 2550120.7148 | 1171935.4912
50 | 2550133.034 | 1171943.3522
51 | 2549985.6675 | 1171843.3163
52 | 2550162.4011 | 1171962.0919
53 | 2549970.2967 | 1171849.8525
54 | 2550178.0234 | 1171971.9845
55 | 2550189.3296 | 1171978.9257
56 | 2550198.5559 | 1171994.5626
57 | 2550199.9177 | 1171996.8706
58 | 2550199.2076 | 1172025.3129
59 | 2550196.1033 | 1172028.7661
60 | 2550189.9379 | 1172035.6245
61 | 2550184.2852 | 1172041.9125
62 | 2550184.3023 | 1172043.6333
63 | 2550184.4659 | 1172060.094
64 | 2550145.2509 | 1172152.2558
65 | 2550301.2312 | 1172168.9929
66 | 2550313.7507 | 1172191.4696
67 | 2550314.3258 | 1172192.502
68 | 2550323.2695 | 1172208.5589
69 | 2550327.9343 | 1172217.5529
70 | 2550334.1442 | 1172219.4413
71 | 2550350.6436 | 1172214.7241
72 | 2550350.1756 | 1172178.8533
73 | 2550331.8512 | 1172225.1048
74 | 2550337.1493 | 1172276.5136
75 | 2550376.3605 | 1172298.356
76 | 2550384.3344 | 1172305.6053
77 | 2550366.2147 | 1172299.7296
78 | 2550392.0917 | 1172312.6578
79 | 2550408.2152 | 1172327.3163
80 | 2550413.1106 | 1172331.7669
81 | 2550431.9183 | 1172348.8656
82 | 2550440.4995 | 1172356.6671
83 | 2550443.4112 | 1172359.3142
84 | 2550451.0439 | 1172366.5237
85 | 2550462.2787 | 1172378.7895
86 | 2550477.2949 | 1172395.1838
87 | 2550485.2044 | 1172411.038
88 | 2550489.063 | 1172397.8922
89 | 2550467.8471 | 1172420.5573
90 | 2550044.5052 | 1172320.1604
91 | 2550074.7129 | 1172253.0622
92 | 2550044.2055 | 1172323.3744
93 | 2550092.2957 | 1172227.9356
94 | 2550036.3817 | 1172329.8654
95 | 2550094.7328 | 1172224.4529
96 | 2550005.8032 | 1172293.2119
97 | 2550099.405 | 1172217.7762
98 | 2550206.3632 | 1172007.3882

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1