## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5704-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5704-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5704-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5704-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5704-4_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5704-4_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5704-4_0_5_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_5704-4_0_5_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_5704-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5704-4_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_5704-4_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_5704-4_0_5_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_5704-4_0_5_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5704-4_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5704-4_0_5_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_5704-4_0_5_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_5704-4_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5704-4_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5704-4_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5704-4_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5704-4_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5704-4_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5704-4_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5704-4_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5704-4_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5704-4_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5704-4_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5704-4_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_5704-4_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5704-4_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_5704-4_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5704-4_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5704-4_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5704-4_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5704-4_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_5704-4_0_5_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_5704-4_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5704-4_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5704-4_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_5704-4_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5704-4_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5704-4_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5704-4_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5704-4_0_5_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_5704-4_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5704-4_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5704-4_0_5_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_5704-4_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5704-4_0_5_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_5704-4_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5704-4_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5704-4_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5704-4_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5704-4_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5704-4_0_5_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_5704-4_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_5704-4_0_5_node_57 | 0.4 | n |  | TRUE
57 | bus_MV_452_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5704-4_0_5_load_0 | 0 | 0.0081031 | 0.0020308 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5704-4_0_5_load_1 | 1 | 0.015927 | 0.0039918 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5704-4_0_5_load_5 | 4 | 0.0074781 | 0.0018742 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5704-4_0_5_load_6 | 5 | 0.0041786 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5704-4_0_5_load_43 | 6 | 0.0090632 | 0.0022714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5704-4_0_5_load_12 | 10 | 0.0077912 | 0.0019527 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5704-4_0_5_load_49 | 11 | 0.0015274 | 0.0003828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5704-4_0_5_load_10 | 13 | 0.0047059 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5704-4_0_5_load_48 | 14 | 0.0039918 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5704-4_0_5_load_47 | 15 | 0.016196 | 0.0040592 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5704-4_0_5_load_9 | 16 | 0.023918 | 0.0059945 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5704-4_0_5_load_13 | 18 | 0.0063743 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5704-4_0_5_load_14 | 19 | 0.0084659 | 0.0021217 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5704-4_0_5_load_15 | 20 | 0.013239 | 0.0033181 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5704-4_0_5_load_18 | 23 | 0.0083214 | 0.0020856 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5704-4_0_5_load_19 | 24 | 0.0028816 | 0.0007222 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5704-4_0_5_load_20 | 25 | 0.012927 | 0.0032399 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5704-4_0_5_load_21 | 26 | 0.0066553 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5704-4_0_5_load_22 | 27 | 0.0029943 | 0.00075044 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5704-4_0_5_load_29 | 28 | 0.0031118 | 0.00077989 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5704-4_0_5_load_30 | 29 | 0.0066028 | 0.0016548 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5704-4_0_5_load_23 | 30 | 0.017812 | 0.0044641 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5704-4_0_5_load_24 | 31 | 0.020821 | 0.0052183 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5704-4_0_5_load_27 | 33 | 0.024782 | 0.0062109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5704-4_0_5_load_34 | 36 | 0.010164 | 0.0025473 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5704-4_0_5_load_31 | 37 | 0.0089335 | 0.002239 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5704-4_0_5_load_35 | 39 | 0.0043254 | 0.001084 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5704-4_0_5_load_32 | 40 | 0.012827 | 0.0032147 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5704-4_0_5_load_33 | 41 | 0.006052 | 0.0015168 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5704-4_0_5_load_55 | 43 | 0.0099332 | 0.0024895 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5704-4_0_5_load_42 | 44 | 0.066617 | 0.016696 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5704-4_0_5_load_39 | 45 | 0.015746 | 0.0039463 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5704-4_0_5_load_54 | 46 | 0.023921 | 0.0059951 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5704-4_0_5_load_40 | 47 | 0.010996 | 0.0027559 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5704-4_0_5_load_51 | 48 | 0.011637 | 0.0029165 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5704-4_0_5_load_52 | 49 | 0.011358 | 0.0028466 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5704-4_0_5_load_50 | 52 | 0.0105 | 0.0026315 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5704-4_0_5_load_53 | 53 | 0.003258 | 0.00081654 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5704-4_0_5_load_57 | 56 | 0.018681 | 0.0046819 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5704-4_0_5_line_0 |  | 0 | 1 | 0.045584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5704-4_0_5_line_1 |  | 0 | 2 | 0.019094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5704-4_0_5_line_2 |  | 2 | 3 | 0.003952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5704-4_0_5_line_3 |  | 3 | 4 | 0.017939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5704-4_0_5_line_4 |  | 4 | 5 | 0.0061944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5704-4_0_5_line_5 |  | 5 | 8 | 0.013206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5704-4_0_5_line_6 |  | 6 | 7 | 0.056732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5704-4_0_5_line_7 |  | 7 | 50 | 0.007754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5704-4_0_5_line_8 |  | 7 | 51 | 0.027327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5704-4_0_5_line_9 |  | 8 | 9 | 0.013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5704-4_0_5_line_10 |  | 8 | 10 | 0.0086451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5704-4_0_5_line_11 |  | 9 | 11 | 0.0093873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5704-4_0_5_line_12 |  | 9 | 12 | 0.027522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5704-4_0_5_line_13 |  | 10 | 13 | 0.0008692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5704-4_0_5_line_14 |  | 11 | 15 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5704-4_0_5_line_15 |  | 12 | 33 | 0.024839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5704-4_0_5_line_16 |  | 12 | 30 | 0.0069721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5704-4_0_5_line_17 |  | 13 | 16 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5704-4_0_5_line_18 |  | 14 | 15 | 0.0052554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5704-4_0_5_line_19 |  | 16 | 17 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5704-4_0_5_line_20 |  | 17 | 18 | 0.0028698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5704-4_0_5_line_21 |  | 18 | 19 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5704-4_0_5_line_22 |  | 19 | 20 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5704-4_0_5_line_23 |  | 20 | 21 | 0.024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5704-4_0_5_line_24 |  | 21 | 22 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5704-4_0_5_line_25 |  | 22 | 23 | 0.0059884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5704-4_0_5_line_26 |  | 23 | 24 | 0.0095131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5704-4_0_5_line_27 |  | 24 | 25 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5704-4_0_5_line_28 |  | 25 | 26 | 0.0097502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5704-4_0_5_line_29 |  | 26 | 27 | 0.013627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5704-4_0_5_line_30 |  | 27 | 28 | 0.0086765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5704-4_0_5_line_31 |  | 28 | 29 | 0.025098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5704-4_0_5_line_32 |  | 29 | 37 | 0.010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5704-4_0_5_line_33 |  | 30 | 31 | 0.031433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5704-4_0_5_line_34 |  | 31 | 32 | 0.0081717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5704-4_0_5_line_35 |  | 34 | 35 | 0.003502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5704-4_0_5_line_36 |  | 34 | 36 | 0.020718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5704-4_0_5_line_37 |  | 35 | 42 | 0.026625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5704-4_0_5_line_38 |  | 35 | 43 | 0.026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5704-4_0_5_line_39 |  | 36 | 40 | 0.03028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_5704-4_0_5_line_40 |  | 37 | 38 | 0.031134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5704-4_0_5_line_41 |  | 38 | 39 | 0.021441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5704-4_0_5_line_42 |  | 39 | 41 | 0.0026811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5704-4_0_5_line_43 |  | 40 | 41 | 0.035123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5704-4_0_5_line_44 |  | 42 | 44 | 0.0080265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5704-4_0_5_line_45 |  | 42 | 45 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5704-4_0_5_line_46 |  | 43 | 46 | 0.044125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5704-4_0_5_line_47 |  | 44 | 48 | 0.039469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5704-4_0_5_line_48 |  | 45 | 47 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5704-4_0_5_line_49 |  | 46 | 54 | 0.052504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5704-4_0_5_line_50 |  | 48 | 49 | 0.017615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5704-4_0_5_line_51 |  | 49 | 51 | 0.0084255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5704-4_0_5_line_52 |  | 50 | 52 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5704-4_0_5_line_53 |  | 51 | 53 | 0.044054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5704-4_0_5_line_54 |  | 54 | 55 | 0.064546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5704-4_0_5_line_55 |  | 55 | 56 | 0.031477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5704-4_0_5_trafo_26 | 0.63 MVA 20/0.4 kV | 57 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2508346.7752 | 1143981.7196 | 2508347.4508 | 1143990.1472 | 2508345.5813 | 1144010.7213 | 2508344.8358 | 1144014.257 | 2508342.1874 | 1144017.4993 | 2508333.6149 | 1144018.8025
1 | 2508345.2496 | 1143962.6864 | 2508346.7752 | 1143981.7196
2 | 2508349.1911 | 1143963.1044 | 2508345.2496 | 1143962.6864
3 | 2508349.1911 | 1143963.1044 | 2508366.1658 | 1143964.9028 | 2508367.0305 | 1143964.9911
4 | 2508367.0305 | 1143964.9911 | 2508373.1929 | 1143965.6205
5 | 2508386.3467 | 1143966.7858 | 2508375.7341 | 1143965.88 | 2508373.1929 | 1143965.6205
6 | 2508276.8179 | 1144069.8258 | 2508279.2638 | 1144067.9319 | 2508274.8676 | 1144036.1575 | 2508284.635 | 1144034.5634 | 2508282.7603 | 1144023.0498
7 | 2508270.5743 | 1144065.6073 | 2508273.6788 | 1144066.5828 | 2508276.8179 | 1144069.8258
8 | 2508281.9588 | 1144096.5081 | 2508280.2681 | 1144092.9872 | 2508276.8179 | 1144069.8258
9 | 2508386.3467 | 1143966.7858 | 2508385.5645 | 1143974.9804 | 2508385.181 | 1143980.5896
10 | 2508386.3467 | 1143966.7858 | 2508394.9609 | 1143966.0555
11 | 2508385.181 | 1143980.5896 | 2508375.8116 | 1143981.1687
12 | 2508385.181 | 1143980.5896 | 2508385.7307 | 1143986.407 | 2508388.5096 | 1144007.8999
13 | 2508395.8269 | 1143965.9821 | 2508394.9609 | 1143966.0555
14 | 2508365.6763 | 1143981.7951 | 2508375.8116 | 1143981.1687
15 | 2508369.6125 | 1144017.1373 | 2508371.4502 | 1144009.616 | 2508388.5096 | 1144007.8999
16 | 2508388.5096 | 1144007.8999 | 2508389.4029 | 1144014.8145
17 | 2508395.8269 | 1143965.9821 | 2508398.0141 | 1143965.7967 | 2508410.5507 | 1143964.8499 | 2508414.5413 | 1143964.956 | 2508417.8354 | 1143965.3173
18 | 2508365.6763 | 1143981.7951 | 2508360.4309 | 1143982.1193
19 | 2508428.3373 | 1143966.4693 | 2508417.8354 | 1143965.3173
20 | 2508428.3373 | 1143966.4693 | 2508431.1814 | 1143966.8524
21 | 2508431.1814 | 1143966.8524 | 2508443.9197 | 1143968.568
22 | 2508443.9197 | 1143968.568 | 2508456.3604 | 1143970.2436
23 | 2508480.6932 | 1143972.5328 | 2508475.0005 | 1143972.6972 | 2508468.9094 | 1143971.9337 | 2508456.3604 | 1143970.2436
24 | 2508480.6932 | 1143972.5328 | 2508481.8898 | 1143978.4404 | 2508483.2916 | 1143984.2004 | 2508484.6239 | 1143988.416
25 | 2508484.6239 | 1143988.416 | 2508481.5496 | 1143993.555
26 | 2508481.5496 | 1143993.555 | 2508480.7713 | 1143994.8562 | 2508478.9305 | 1144002.6384
27 | 2508478.9305 | 1144002.6384 | 2508478.6626 | 1144003.7714 | 2508476.5149 | 1144014.6772 | 2508476.5986 | 1144016.5661
28 | 2508477.03 | 1144026.3067 | 2508476.5986 | 1144016.5661
29 | 2508477.03 | 1144026.3067 | 2508477.1586 | 1144029.2095 | 2508478.9303 | 1144039.7834
30 | 2508480.3641 | 1144048.3406 | 2508478.9303 | 1144039.7834
31 | 2508480.3641 | 1144048.3406 | 2508481.6385 | 1144055.9464 | 2508484.6468 | 1144073.07
32 | 2508486.4746 | 1144083.1821 | 2508486.2241 | 1144082.048 | 2508484.6468 | 1144073.07
33 | 2508389.7436 | 1144046.1179 | 2508390.6917 | 1144037.151 | 2508390.644 | 1144024.4218 | 2508389.4029 | 1144014.8145
34 | 2508388.8844 | 1144054.2443 | 2508389.7436 | 1144046.1179
35 | 2508384.3091 | 1144100.0525 | 2508381.411 | 1144102.0312
36 | 2508384.3091 | 1144100.0525 | 2508389.8836 | 1144103.2363 | 2508404.1139 | 1144104.6343
37 | 2508381.411 | 1144102.0312 | 2508354.86 | 1144099.2
38 | 2508381.411 | 1144102.0312 | 2508383.6047 | 1144110.325 | 2508380.8887 | 1144127.8901
39 | 2508434.2491 | 1144107.5875 | 2508415.7538 | 1144105.7778 | 2508404.1139 | 1144104.6343
40 | 2508493.1902 | 1144113.5833 | 2508486.4746 | 1144083.1821
41 | 2508493.1902 | 1144113.5833 | 2508471.8604 | 1144111.4049
42 | 2508471.8604 | 1144111.4049 | 2508469.1931 | 1144111.1325
43 | 2508434.2491 | 1144107.5875 | 2508439.8458 | 1144108.1352 | 2508469.1931 | 1144111.1325
44 | 2508354.86 | 1144099.2 | 2508346.8786 | 1144098.3504
45 | 2508354.86 | 1144099.2 | 2508350.7953 | 1144078.8118
46 | 2508371.8734 | 1144165.6701 | 2508371.8734 | 1144165.6701 | 2508373.5408 | 1144153.5263 | 2508370.2006 | 1144150.6976 | 2508370.9306 | 1144144.6273 | 2508379.0987 | 1144139.4666 | 2508380.8887 | 1144127.8901
47 | 2508307.6313 | 1144094.1725 | 2508346.8786 | 1144098.3504
48 | 2508350.7953 | 1144078.8118 | 2508349.1101 | 1144070.3591 | 2508347.9135 | 1144066.4749 | 2508344.7717 | 1144065.0663 | 2508335.847 | 1144066.479
49 | 2508392.2265 | 1144199.6143 | 2508394.9685 | 1144179.8051 | 2508376.0703 | 1144177.3244 | 2508373.7911 | 1144176.5363 | 2508371.8734 | 1144165.6701
50 | 2508307.6313 | 1144094.1725 | 2508304.6065 | 1144093.8505 | 2508295.5158 | 1144093.4442 | 2508290.177 | 1144094.6508
51 | 2508281.9588 | 1144096.5081 | 2508290.177 | 1144094.6508
52 | 2508270.5743 | 1144065.6073 | 2508267.1033 | 1144067.817 | 2508264.9226 | 1144073.4981 | 2508258.7559 | 1144076.332
53 | 2508281.9588 | 1144096.5081 | 2508275.0839 | 1144099.7814 | 2508258.5658 | 1144109.7612 | 2508244.1777 | 1144119.0767
54 | 2508337.7292 | 1144204.7242 | 2508356.9456 | 1144205.8992 | 2508390.6968 | 1144210.7109 | 2508392.2265 | 1144199.6143
55 | 2508337.7292 | 1144204.7242 | 2508337.4153 | 1144197.7359 | 2508332.1237 | 1144195.4595 | 2508329.0358 | 1144181.9428 | 2508333.8365 | 1144181.212

## bus_geodata
| x | y | coords
0 | 2508346.7752 | 1143981.7196
1 | 2508333.6149 | 1144018.8025
2 | 2508345.2496 | 1143962.6864
3 | 2508349.1911 | 1143963.1044
4 | 2508367.0305 | 1143964.9911
5 | 2508373.1929 | 1143965.6205
6 | 2508282.7603 | 1144023.0498
7 | 2508276.8179 | 1144069.8258
8 | 2508386.3467 | 1143966.7858
9 | 2508385.181 | 1143980.5896
10 | 2508394.9609 | 1143966.0555
11 | 2508375.8116 | 1143981.1687
12 | 2508388.5096 | 1144007.8999
13 | 2508395.8269 | 1143965.9821
14 | 2508360.4309 | 1143982.1193
15 | 2508365.6763 | 1143981.7951
16 | 2508417.8354 | 1143965.3173
17 | 2508428.3373 | 1143966.4693
18 | 2508431.1814 | 1143966.8524
19 | 2508443.9197 | 1143968.568
20 | 2508456.3604 | 1143970.2436
21 | 2508480.6932 | 1143972.5328
22 | 2508484.6239 | 1143988.416
23 | 2508481.5496 | 1143993.555
24 | 2508478.9305 | 1144002.6384
25 | 2508476.5986 | 1144016.5661
26 | 2508477.03 | 1144026.3067
27 | 2508478.9303 | 1144039.7834
28 | 2508480.3641 | 1144048.3406
29 | 2508484.6468 | 1144073.07
30 | 2508389.4029 | 1144014.8145
31 | 2508389.7436 | 1144046.1179
32 | 2508388.8844 | 1144054.2443
33 | 2508369.6125 | 1144017.1373
34 | 2508384.3091 | 1144100.0526
35 | 2508381.411 | 1144102.0312
36 | 2508404.1139 | 1144104.6343
37 | 2508486.4746 | 1144083.1821
38 | 2508493.1902 | 1144113.5833
39 | 2508471.8604 | 1144111.4049
40 | 2508434.2491 | 1144107.5875
41 | 2508469.1931 | 1144111.1325
42 | 2508354.86 | 1144099.2
43 | 2508380.8887 | 1144127.8901
44 | 2508346.8786 | 1144098.3504
45 | 2508350.7953 | 1144078.8118
46 | 2508371.8734 | 1144165.6701
47 | 2508335.847 | 1144066.479
48 | 2508307.6313 | 1144094.1725
49 | 2508290.177 | 1144094.6508
50 | 2508270.5743 | 1144065.6073
51 | 2508281.9588 | 1144096.5081
52 | 2508258.7559 | 1144076.332
53 | 2508244.1777 | 1144119.0767
54 | 2508392.2265 | 1144199.6142
55 | 2508337.7292 | 1144204.7242
56 | 2508333.8365 | 1144181.212
57 | 2508364.0793 | 1144056.5563

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1