## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5704-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5704-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5704-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5704-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5704-5_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5704-5_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5704-5_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_5704-5_0_3_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_5704-5_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5704-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5704-5_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5704-5_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_5704-5_0_3_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_5704-5_0_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5704-5_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5704-5_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5704-5_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5704-5_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5704-5_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_5704-5_0_3_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_5704-5_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5704-5_0_3_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_5704-5_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_5704-5_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5704-5_0_3_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_5704-5_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5704-5_0_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_5704-5_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5704-5_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5704-5_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5704-5_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5704-5_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5704-5_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5704-5_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5704-5_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5704-5_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_5704-5_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_5704-5_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_5704-5_0_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_5704-5_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5704-5_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5704-5_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5704-5_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5704-5_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5704-5_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5704-5_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5704-5_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5704-5_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5704-5_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5704-5_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5704-5_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5704-5_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5704-5_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5704-5_0_3_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_5704-5_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5704-5_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_5704-5_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5704-5_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5704-5_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5704-5_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5704-5_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_5704-5_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5704-5_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_5704-5_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_5704-5_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_5704-5_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5704-5_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5704-5_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5704-5_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5704-5_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5704-5_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_5704-5_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5704-5_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5704-5_0_3_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_5704-5_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5704-5_0_3_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_5704-5_0_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_5704-5_0_3_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_5704-5_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_5704-5_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5704-5_0_3_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_5704-5_0_3_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_5704-5_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_5704-5_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_5704-5_0_3_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_5704-5_0_3_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_5704-5_0_3_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_5704-5_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_5704-5_0_3_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_5704-5_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_5704-5_0_3_node_93 | 0.4 | n |  | TRUE
91 | bus_MV_452_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5704-5_0_3_load_0 | 0 | 0.0016714 | 0.00041889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5704-5_0_3_load_2 | 2 | 0.0083902 | 0.0021028 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5704-5_0_3_load_4 | 5 | 0.0055303 | 0.001386 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5704-5_0_3_load_25 | 6 | 0.0023375 | 0.00058583 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5704-5_0_3_load_75 | 7 | 0.0054102 | 0.0013559 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5704-5_0_3_load_7 | 9 | 0.00077757 | 0.00019488 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5704-5_0_3_load_8 | 10 | 0.0037397 | 0.00093725 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5704-5_0_3_load_74 | 12 | 0.002456 | 0.00061554 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5704-5_0_3_load_26 | 13 | 0.0029169 | 0.00073104 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5704-5_0_3_load_9 | 14 | 0.011453 | 0.0028703 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5704-5_0_3_load_13 | 17 | 0.0022948 | 0.00057514 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5704-5_0_3_load_77 | 19 | 0.0080482 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5704-5_0_3_load_78 | 21 | 0.0031504 | 0.00078957 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5704-5_0_3_load_49 | 24 | 0.012593 | 0.0031562 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5704-5_0_3_load_47 | 25 | 0.00996 | 0.0024962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5704-5_0_3_load_52 | 26 | 0.002097 | 0.00052556 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5704-5_0_3_load_16 | 27 | 0.015552 | 0.0038977 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5704-5_0_3_load_19 | 30 | 0.01063 | 0.002664 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5704-5_0_3_load_20 | 31 | 0.0026554 | 0.0006655 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5704-5_0_3_load_21 | 32 | 0.0066523 | 0.0016672 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5704-5_0_3_load_22 | 33 | 0.0045237 | 0.0011338 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5704-5_0_3_load_23 | 34 | 0.0058635 | 0.0014695 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5704-5_0_3_load_54 | 35 | 0.0087105 | 0.0021831 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5704-5_0_3_load_56 | 36 | 0.0053785 | 0.001348 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5704-5_0_3_load_53 | 37 | 0.012987 | 0.0032549 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5704-5_0_3_load_55 | 38 | 0.01227 | 0.0030752 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5704-5_0_3_load_28 | 39 | 0.0015909 | 0.00039873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5704-5_0_3_load_38 | 42 | 0.0049818 | 0.0012485 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5704-5_0_3_load_41 | 43 | 0.0043651 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5704-5_0_3_load_36 | 44 | 0.0036433 | 0.00091309 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5704-5_0_3_load_32 | 46 | 0.0017929 | 0.00044934 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5704-5_0_3_load_33 | 47 | 0.00046907 | 0.00011756 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5704-5_0_3_load_37 | 49 | 0.0022966 | 0.00057559 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5704-5_0_3_load_39 | 50 | 0.0032302 | 0.00080958 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5704-5_0_3_load_40 | 51 | 0.002564 | 0.00064261 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5704-5_0_3_load_44 | 52 | 0.00067551 | 0.0001693 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5704-5_0_3_load_94 | 53 | 0.002861 | 0.00071703 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5704-5_0_3_load_46 | 54 | 0.0058596 | 0.0014686 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5704-5_0_3_load_50 | 56 | 0.01151 | 0.0028846 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5704-5_0_3_load_51 | 57 | 0.0052899 | 0.0013258 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5704-5_0_3_load_57 | 58 | 0.0023903 | 0.00059906 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5704-5_0_3_load_58 | 59 | 0.0016879 | 0.00042303 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5704-5_0_3_load_59 | 60 | 0.00067743 | 0.00016978 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5704-5_0_3_load_60 | 61 | 0.0018833 | 0.000472 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5704-5_0_3_load_61 | 62 | 0.0031704 | 0.00079458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5704-5_0_3_load_62 | 63 | 0.001617 | 0.00040526 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5704-5_0_3_load_63 | 64 | 0.001037 | 0.00025991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5704-5_0_3_load_64 | 65 | 0.0030196 | 0.00075679 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5704-5_0_3_load_65 | 66 | 0.0030749 | 0.00077064 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5704-5_0_3_load_66 | 67 | 0.0012033 | 0.00030157 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5704-5_0_3_load_67 | 68 | 0.004007 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5704-5_0_3_load_69 | 69 | 0.0042643 | 0.0010687 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5704-5_0_3_load_70 | 70 | 0.012262 | 0.0030731 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5704-5_0_3_load_76 | 73 | 0.0018591 | 0.00046594 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5704-5_0_3_load_73 | 74 | 0.0096089 | 0.0024082 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5704-5_0_3_load_79 | 75 | 0.0062194 | 0.0015587 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5704-5_0_3_load_80 | 76 | 0.0004396 | 0.00011018 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5704-5_0_3_load_81 | 77 | 0.00029839 | 7.4784e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5704-5_0_3_load_82 | 78 | 0.00091384 | 0.00022903 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5704-5_0_3_load_84 | 81 | 0.00045887 | 0.000115 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5704-5_0_3_load_85 | 82 | 0.00067224 | 0.00016848 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5704-5_0_3_load_87 | 83 | 0.0013878 | 0.0003478 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5704-5_0_3_load_95 | 86 | 0.0015237 | 0.00038188 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5704-5_0_3_load_90 | 87 | 0.00018993 | 4.76e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5704-5_0_3_load_91 | 88 | 0.00013803 | 3.4593e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5704-5_0_3_load_92 | 89 | 0.00041113 | 0.00010304 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5704-5_0_3_load_93 | 90 | 0.00041006 | 0.00010277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5704-5_0_3_line_0 |  | 0 | 1 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5704-5_0_3_line_1 |  | 0 | 2 | 0.0020077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5704-5_0_3_line_2 |  | 1 | 3 | 0.008972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5704-5_0_3_line_3 |  | 3 | 4 | 0.024251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5704-5_0_3_line_4 |  | 3 | 5 | 0.028893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5704-5_0_3_line_5 |  | 4 | 6 | 0.0052222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5704-5_0_3_line_6 |  | 4 | 7 | 0.04014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5704-5_0_3_line_7 |  | 5 | 8 | 0.0079707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5704-5_0_3_line_8 |  | 7 | 12 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5704-5_0_3_line_9 |  | 8 | 9 | 0.019014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5704-5_0_3_line_10 |  | 8 | 10 | 0.024252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5704-5_0_3_line_11 |  | 9 | 11 | 0.041747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5704-5_0_3_line_12 |  | 11 | 13 | 0.043587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5704-5_0_3_line_13 |  | 12 | 74 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5704-5_0_3_line_14 |  | 13 | 30 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5704-5_0_3_line_15 |  | 14 | 15 | 0.073553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5704-5_0_3_line_16 |  | 15 | 16 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5704-5_0_3_line_17 |  | 15 | 17 | 0.04913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5704-5_0_3_line_18 |  | 16 | 18 | 0.00284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5704-5_0_3_line_19 |  | 16 | 19 | 0.021294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5704-5_0_3_line_20 |  | 17 | 20 | 0.0088795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5704-5_0_3_line_21 |  | 18 | 21 | 0.062043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5704-5_0_3_line_22 |  | 18 | 22 | 0.029631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5704-5_0_3_line_23 |  | 20 | 23 | 0.021567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5704-5_0_3_line_24 |  | 22 | 52 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5704-5_0_3_line_25 |  | 22 | 51 | 0.032045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5704-5_0_3_line_26 |  | 23 | 24 | 0.021633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5704-5_0_3_line_27 |  | 23 | 25 | 0.065378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5704-5_0_3_line_28 |  | 24 | 26 | 0.0077057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5704-5_0_3_line_29 |  | 26 | 37 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5704-5_0_3_line_30 |  | 27 | 28 | 0.02067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5704-5_0_3_line_31 |  | 27 | 29 | 0.025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5704-5_0_3_line_32 |  | 28 | 30 | 0.031777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5704-5_0_3_line_33 |  | 28 | 31 | 0.033314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5704-5_0_3_line_34 |  | 28 | 32 | 0.033254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5704-5_0_3_line_35 |  | 29 | 33 | 0.014622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5704-5_0_3_line_36 |  | 29 | 34 | 0.019044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5704-5_0_3_line_37 |  | 32 | 35 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5704-5_0_3_line_38 |  | 34 | 36 | 0.031816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5704-5_0_3_line_39 |  | 35 | 37 | 0.0020231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5704-5_0_3_line_40 |  | 36 | 38 | 0.028836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5704-5_0_3_line_41 |  | 38 | 56 | 0.0045907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5704-5_0_3_line_42 |  | 39 | 40 | 0.040818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5704-5_0_3_line_43 |  | 40 | 41 | 0.040529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5704-5_0_3_line_44 |  | 41 | 42 | 0.023028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5704-5_0_3_line_45 |  | 41 | 43 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5704-5_0_3_line_46 |  | 42 | 44 | 0.032449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5704-5_0_3_line_47 |  | 43 | 45 | 0.037779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5704-5_0_3_line_48 |  | 44 | 48 | 0.047306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5704-5_0_3_line_49 |  | 45 | 53 | 0.062544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5704-5_0_3_line_50 |  | 46 | 47 | 0.07706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5704-5_0_3_line_51 |  | 46 | 48 | 0.0039699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5704-5_0_3_line_52 |  | 48 | 49 | 0.063027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5704-5_0_3_line_53 |  | 49 | 50 | 0.08066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5704-5_0_3_line_54 |  | 50 | 51 | 0.017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5704-5_0_3_line_55 |  | 52 | 54 | 0.029989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5704-5_0_3_line_56 |  | 55 | 56 | 0.023256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5704-5_0_3_line_57 |  | 55 | 57 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5704-5_0_3_line_58 |  | 57 | 58 | 0.0041673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5704-5_0_3_line_59 |  | 58 | 59 | 0.0031716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5704-5_0_3_line_60 |  | 59 | 60 | 0.0093109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5704-5_0_3_line_61 |  | 60 | 61 | 0.0085859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5704-5_0_3_line_62 |  | 61 | 62 | 0.014798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5704-5_0_3_line_63 |  | 62 | 63 | 0.0074846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5704-5_0_3_line_64 |  | 63 | 64 | 0.011287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5704-5_0_3_line_65 |  | 64 | 65 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5704-5_0_3_line_66 |  | 65 | 66 | 0.0007153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5704-5_0_3_line_67 |  | 66 | 67 | 0.071846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5704-5_0_3_line_68 |  | 67 | 68 | 0.075225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5704-5_0_3_line_69 |  | 69 | 70 | 0.0018306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5704-5_0_3_line_70 |  | 70 | 71 | 0.032251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5704-5_0_3_line_71 |  | 71 | 72 | 0.014867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5704-5_0_3_line_72 |  | 72 | 73 | 0.067869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5704-5_0_3_line_73 |  | 72 | 74 | 0.0056982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5704-5_0_3_line_74 |  | 73 | 75 | 0.059674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5704-5_0_3_line_75 |  | 75 | 76 | 0.092418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5704-5_0_3_line_76 |  | 76 | 77 | 0.057021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5704-5_0_3_line_77 |  | 77 | 78 | 0.018727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5704-5_0_3_line_78 |  | 78 | 79 | 0.066085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5704-5_0_3_line_79 |  | 79 | 80 | 0.14202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5704-5_0_3_line_80 |  | 80 | 83 | 0.042258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5704-5_0_3_line_81 |  | 80 | 84 | 0.031748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5704-5_0_3_line_82 |  | 80 | 81 | 0.10681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5704-5_0_3_line_83 |  | 81 | 82 | 0.0046204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5704-5_0_3_line_84 |  | 83 | 85 | 0.024932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5704-5_0_3_line_85 |  | 84 | 86 | 0.007428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5704-5_0_3_line_86 |  | 85 | 87 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5704-5_0_3_line_87 |  | 85 | 88 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5704-5_0_3_line_88 |  | 88 | 89 | 0.0085514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5704-5_0_3_line_89 |  | 89 | 90 | 0.01033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5704-5_0_3_trafo_56 | 0.63 MVA 20/0.4 kV | 91 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2508773.9526 | 1143941.0319 | 2508782.493 | 1143922.2716
1 | 2508783.3249 | 1143920.4443 | 2508782.493 | 1143922.2716
2 | 2508777.2839 | 1143949.3642 | 2508773.9526 | 1143941.0319
3 | 2508793.6263 | 1143967.272 | 2508790.2531 | 1143962.7648 | 2508777.2839 | 1143949.3642
4 | 2508777.2839 | 1143949.3642 | 2508748.8345 | 1143944.3231
5 | 2508793.6263 | 1143967.272 | 2508790.1077 | 1143971.1308
6 | 2508793.6263 | 1143967.272 | 2508815.0551 | 1143966.3025 | 2508833.7404 | 1143966.6823
7 | 2508740.9861 | 1143942.9324 | 2508748.8345 | 1143944.3231
8 | 2508853.1851 | 1143967.7892 | 2508844.5162 | 1143966.9014 | 2508833.7404 | 1143966.6823
9 | 2508740.9861 | 1143942.9324 | 2508728.9022 | 1143940.792 | 2508722.2972 | 1143939.4375
10 | 2508740.9861 | 1143942.9324 | 2508756.9862 | 1143957.521 | 2508755.5664 | 1143959.6981
11 | 2508681.4018 | 1143931.0506 | 2508722.2972 | 1143939.4375
12 | 2508681.4018 | 1143931.0506 | 2508686.3445 | 1143948.3193 | 2508689.9619 | 1143965.3747 | 2508691.3797 | 1143973.4412
13 | 2508873.5917 | 1143970.2751 | 2508867.9713 | 1143969.3035 | 2508853.1851 | 1143967.7892
14 | 2508693.1549 | 1143987.092 | 2508693.049 | 1143982.9385 | 2508691.3797 | 1143973.4412
15 | 2508625.2444 | 1144172.2805 | 2508627.1516 | 1144163.7465 | 2508628.3958 | 1144155.5893 | 2508627.3214 | 1144145.5663 | 2508624.0802 | 1144138.111 | 2508618.7202 | 1144130.8212 | 2508609.9273 | 1144122.6831 | 2508598.6532 | 1144113.1151 | 2508596.6575 | 1144111.5579
16 | 2508625.2444 | 1144172.2805 | 2508617.9246 | 1144188.7793
17 | 2508625.2444 | 1144172.2805 | 2508632.3898 | 1144168.5921 | 2508639.7355 | 1144150.2475 | 2508649.3006 | 1144131.1844
18 | 2508616.7728 | 1144191.3761 | 2508617.9246 | 1144188.7793
19 | 2508617.9246 | 1144188.7793 | 2508637.9569 | 1144196.0012
20 | 2508653.2828 | 1144123.248 | 2508649.3006 | 1144131.1844
21 | 2508616.7728 | 1144191.3761 | 2508630.8719 | 1144198.2107 | 2508673.6566 | 1144216.101
22 | 2508616.7728 | 1144191.3761 | 2508613.2641 | 1144198.7004 | 2508609.6462 | 1144205.4149 | 2508604.9722 | 1144211.4116 | 2508599.95 | 1144215.2234
23 | 2508653.2828 | 1144123.248 | 2508661.7279 | 1144103.3969
24 | 2508599.95 | 1144215.2234 | 2508592.9814 | 1144217.8975 | 2508585.7199 | 1144218.9972 | 2508580.9666 | 1144219.1
25 | 2508599.95 | 1144215.2234 | 2508601.9637 | 1144222.3194 | 2508604.963 | 1144232.5689 | 2508609.0292 | 1144240.2007 | 2508613.4936 | 1144243.1338
26 | 2508661.7279 | 1144103.3969 | 2508670.198 | 1144083.4905
27 | 2508661.7279 | 1144103.3969 | 2508724.897 | 1144120.2467
28 | 2508670.198 | 1144083.4905 | 2508673.215 | 1144076.4001
29 | 2508676.668 | 1144066.935 | 2508675.7833 | 1144070.3639 | 2508673.215 | 1144076.4001
30 | 2508688.9508 | 1144018.2997 | 2508702.8158 | 1144021.8361 | 2508708.8178 | 1144023.942
31 | 2508732.8769 | 1144032.6203 | 2508719.5213 | 1144027.6975 | 2508708.8178 | 1144023.942
32 | 2508688.9508 | 1144018.2997 | 2508691.2075 | 1144010.5052 | 2508693.4852 | 1144000.0422 | 2508693.1549 | 1143987.092
33 | 2508688.9508 | 1144018.2997 | 2508672.1591 | 1144016.3864 | 2508655.7481 | 1144016.6869
34 | 2508688.9508 | 1144018.2997 | 2508687.1575 | 1144025.7313 | 2508685.2054 | 1144033.8436 | 2508680.8922 | 1144050.5618
35 | 2508732.8769 | 1144032.6203 | 2508741.4104 | 1144026.1871 | 2508743.8421 | 1144023.0931
36 | 2508732.8769 | 1144032.6203 | 2508733.268 | 1144043.2096 | 2508737.9498 | 1144050.2415
37 | 2508677.1734 | 1144064.9761 | 2508680.8922 | 1144050.5618
38 | 2508757.7448 | 1144075.033 | 2508754.4095 | 1144071.9844 | 2508743.2563 | 1144058.2117 | 2508737.9498 | 1144050.2415
39 | 2508676.668 | 1144066.935 | 2508677.1734 | 1144064.9761
40 | 2508780.1073 | 1144093.1419 | 2508769.2097 | 1144085.5128 | 2508757.7448 | 1144075.033
41 | 2508783.868 | 1144095.7747 | 2508780.1073 | 1144093.1419
42 | 2508587.4378 | 1144399.4241 | 2508586.8035 | 1144411.8078 | 2508584.7008 | 1144440.148
43 | 2508589.3987 | 1144359.0145 | 2508589.7911 | 1144361.0653 | 2508587.4378 | 1144399.4241
44 | 2508589.3987 | 1144359.0145 | 2508596.2031 | 1144358.6999 | 2508612.2876 | 1144360.7629
45 | 2508589.3987 | 1144359.0145 | 2508577.2272 | 1144357.5073
46 | 2508644.4729 | 1144364.8909 | 2508612.2876 | 1144360.7629
47 | 2508539.7349 | 1144352.8647 | 2508577.2272 | 1144357.5073
48 | 2508688.821 | 1144377.5731 | 2508683.0908 | 1144372.2012 | 2508675.695 | 1144369.5006 | 2508668.1318 | 1144367.9254 | 2508644.4729 | 1144364.8909
49 | 2508539.7349 | 1144352.8647 | 2508561.9334 | 1144294.3925
50 | 2508689.9153 | 1144381.3892 | 2508690.9064 | 1144384.8458 | 2508696.3505 | 1144407.8327 | 2508702.0906 | 1144426.0232 | 2508708.8881 | 1144445.0205 | 2508712.735 | 1144454.8866
51 | 2508688.821 | 1144377.5731 | 2508689.9153 | 1144381.3892
52 | 2508688.821 | 1144377.5731 | 2508675.2962 | 1144329.5381 | 2508670.3891 | 1144317.3654
53 | 2508670.3891 | 1144317.3654 | 2508656.3774 | 1144282.6079 | 2508650.3081 | 1144269.0807 | 2508646.1492 | 1144263.4404 | 2508627.9191 | 1144252.3281
54 | 2508613.4936 | 1144243.1338 | 2508621.9467 | 1144248.6876 | 2508627.9191 | 1144252.3281
55 | 2508550.9816 | 1144219.5177 | 2508559.2513 | 1144219.5215 | 2508573.6346 | 1144219.2586 | 2508580.9666 | 1144219.1
56 | 2508804.3183 | 1144106.8495 | 2508783.868 | 1144095.7747
57 | 2508804.3183 | 1144106.8495 | 2508806.4415 | 1144107.9958 | 2508816.4189 | 1144112.8485
58 | 2508816.4189 | 1144112.8485 | 2508820.1664 | 1144114.6712
59 | 2508823.0186 | 1144116.0584 | 2508820.1664 | 1144114.6712
60 | 2508823.0186 | 1144116.0584 | 2508831.3916 | 1144120.1308
61 | 2508839.2568 | 1144123.551 | 2508835.5927 | 1144122.1741 | 2508831.3916 | 1144120.1308
62 | 2508839.2568 | 1144123.551 | 2508853.1094 | 1144128.7563
63 | 2508860.1157 | 1144131.389 | 2508853.1094 | 1144128.7563
64 | 2508860.1157 | 1144131.389 | 2508865.1429 | 1144133.278 | 2508870.2979 | 1144136.1826
65 | 2508870.2979 | 1144136.1826 | 2508881.2082 | 1144142.3298
66 | 2508881.8314 | 1144142.6809 | 2508881.2082 | 1144142.3298
67 | 2508881.8314 | 1144142.6809 | 2508892.9483 | 1144148.9446 | 2508901.2736 | 1144153.6326 | 2508922.1299 | 1144165.6688 | 2508939.517 | 1144174.9671 | 2508944.9935 | 1144176.665
68 | 2508944.9935 | 1144176.665 | 2508950.8293 | 1144101.6664
69 | 2508888.9165 | 1144006.5489 | 2508887.2306 | 1144005.8354
70 | 2508891.5005 | 1143979.6537 | 2508881.2676 | 1144003.3116 | 2508887.2306 | 1144005.8354
71 | 2508879.2066 | 1143971.2458 | 2508883.051 | 1143973.8781 | 2508891.5005 | 1143979.6537
72 | 2508879.2066 | 1143971.2458 | 2508884.9592 | 1143966.9117 | 2508893.2784 | 1143959.5036 | 2508900.4131 | 1143951.5243 | 2508926.2436 | 1143922.5408
73 | 2508879.2066 | 1143971.2458 | 2508873.5917 | 1143970.2751
74 | 2508979.524 | 1143899.412 | 2508968.9611 | 1143902.0916 | 2508962.9903 | 1143903.6939 | 2508939.4896 | 1143909.9751 | 2508928.0737 | 1143920.4873 | 2508926.2436 | 1143922.5408
75 | 2508979.524 | 1143899.412 | 2508986.1577 | 1143897.7291 | 2508998.1396 | 1143896.1805 | 2509008.0419 | 1143896.8757 | 2509019.084 | 1143899.7551 | 2509021.9097 | 1143901.1021 | 2509026.3224 | 1143903.2034 | 2509048.5604 | 1143915.0858 | 2509057.4814 | 1143918.9979 | 2509065.8926 | 1143922.6817
76 | 2509120.3291 | 1143936.256 | 2509106.3809 | 1143936.9484 | 2509093.5862 | 1143934.0397 | 2509071.4932 | 1143925.1345 | 2509065.8926 | 1143922.6817
77 | 2509120.3291 | 1143936.256 | 2509127.3015 | 1143935.9099 | 2509139.0301 | 1143935.2721
78 | 2509204.9249 | 1143930.5694 | 2509191.6913 | 1143932.1921 | 2509169.7541 | 1143933.6015 | 2509139.0301 | 1143935.2721
79 | 2509204.9249 | 1143930.5694 | 2509242.0562 | 1143793.4943
80 | 2509242.0562 | 1143793.4943 | 2509249.9864 | 1143779.0995 | 2509239.6871 | 1143772.9844 | 2509246.7134 | 1143761.0547
81 | 2509242.0562 | 1143793.4943 | 2509254.6107 | 1143805.4345 | 2509261.5062 | 1143792.7675
82 | 2509242.0562 | 1143793.4943 | 2509231.7306 | 1143785.1227 | 2509197.0723 | 1143756.4612 | 2509188.1102 | 1143749.8256 | 2509185.9902 | 1143745.8441 | 2509187.6556 | 1143740.0711 | 2509190.0664 | 1143736.3325 | 2509194.8982 | 1143735.1256 | 2509201.3288 | 1143738.0082 | 2509210.0503 | 1143743.6683
83 | 2509210.0503 | 1143743.6683 | 2509213.9261 | 1143746.1835
84 | 2509265.7647 | 1143759.6502 | 2509251.3481 | 1143753.1857 | 2509246.7134 | 1143761.0547
85 | 2509261.5062 | 1143792.7675 | 2509264.7257 | 1143786.0706
86 | 2509265.7647 | 1143759.6502 | 2509280.8236 | 1143766.4052
87 | 2509265.7647 | 1143759.6502 | 2509267.1767 | 1143756.9495 | 2509262.2801 | 1143749.8158
88 | 2509257.4408 | 1143742.7656 | 2509262.2801 | 1143749.8158
89 | 2509257.4408 | 1143742.7656 | 2509251.5946 | 1143734.2485

## bus_geodata
| x | y | coords
0 | 2508782.493 | 1143922.2716
1 | 2508773.9526 | 1143941.0319
2 | 2508783.3249 | 1143920.4443
3 | 2508777.2839 | 1143949.3642
4 | 2508793.6263 | 1143967.272
5 | 2508748.8345 | 1143944.3231
6 | 2508790.1077 | 1143971.1308
7 | 2508833.7404 | 1143966.6823
8 | 2508740.9861 | 1143942.9324
9 | 2508722.2972 | 1143939.4375
10 | 2508755.5664 | 1143959.6981
11 | 2508681.4018 | 1143931.0506
12 | 2508853.1851 | 1143967.7892
13 | 2508691.3797 | 1143973.4412
14 | 2508596.6575 | 1144111.5579
15 | 2508625.2444 | 1144172.2805
16 | 2508617.9246 | 1144188.7793
17 | 2508649.3006 | 1144131.1844
18 | 2508616.7728 | 1144191.3761
19 | 2508637.9569 | 1144196.0012
20 | 2508653.2828 | 1144123.248
21 | 2508673.6566 | 1144216.101
22 | 2508599.95 | 1144215.2234
23 | 2508661.7279 | 1144103.3969
24 | 2508670.198 | 1144083.4905
25 | 2508724.897 | 1144120.2467
26 | 2508673.215 | 1144076.4001
27 | 2508708.8178 | 1144023.942
28 | 2508688.9508 | 1144018.2997
29 | 2508732.8769 | 1144032.6203
30 | 2508693.1549 | 1143987.092
31 | 2508655.7481 | 1144016.6869
32 | 2508680.8922 | 1144050.5618
33 | 2508743.8421 | 1144023.0931
34 | 2508737.9498 | 1144050.2415
35 | 2508677.1734 | 1144064.9761
36 | 2508757.7448 | 1144075.033
37 | 2508676.668 | 1144066.935
38 | 2508780.1073 | 1144093.1419
39 | 2508584.7008 | 1144440.148
40 | 2508587.4378 | 1144399.4241
41 | 2508589.3987 | 1144359.0145
42 | 2508612.2876 | 1144360.7629
43 | 2508577.2272 | 1144357.5073
44 | 2508644.4729 | 1144364.8909
45 | 2508539.7349 | 1144352.8647
46 | 2508689.9153 | 1144381.3892
47 | 2508712.735 | 1144454.8866
48 | 2508688.821 | 1144377.5731
49 | 2508670.3891 | 1144317.3654
50 | 2508627.9191 | 1144252.3281
51 | 2508613.4936 | 1144243.1338
52 | 2508580.9666 | 1144219.1
53 | 2508561.9334 | 1144294.3925
54 | 2508550.9816 | 1144219.5177
55 | 2508804.3183 | 1144106.8495
56 | 2508783.868 | 1144095.7747
57 | 2508816.4189 | 1144112.8485
58 | 2508820.1664 | 1144114.6712
59 | 2508823.0186 | 1144116.0584
60 | 2508831.3916 | 1144120.1308
61 | 2508839.2568 | 1144123.551
62 | 2508853.1094 | 1144128.7563
63 | 2508860.1157 | 1144131.389
64 | 2508870.2979 | 1144136.1826
65 | 2508881.2082 | 1144142.3298
66 | 2508881.8314 | 1144142.6809
67 | 2508944.9935 | 1144176.665
68 | 2508950.8293 | 1144101.6664
69 | 2508888.9165 | 1144006.5489
70 | 2508887.2306 | 1144005.8354
71 | 2508891.5005 | 1143979.6537
72 | 2508879.2066 | 1143971.2458
73 | 2508926.2436 | 1143922.5408
74 | 2508873.5917 | 1143970.2751
75 | 2508979.524 | 1143899.412
76 | 2509065.8926 | 1143922.6817
77 | 2509120.3291 | 1143936.256
78 | 2509139.0301 | 1143935.2721
79 | 2509204.9249 | 1143930.5694
80 | 2509242.0562 | 1143793.4943
81 | 2509210.0503 | 1143743.6683
82 | 2509213.9261 | 1143746.1835
83 | 2509246.7134 | 1143761.0547
84 | 2509261.5062 | 1143792.7675
85 | 2509265.7647 | 1143759.6502
86 | 2509264.7257 | 1143786.0706
87 | 2509280.8236 | 1143766.4052
88 | 2509262.2801 | 1143749.8158
89 | 2509257.4408 | 1143742.7656
90 | 2509251.5946 | 1143734.2485
91 | 2508732.8769 | 1144032.6203

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1