## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5714-1_1_2_node_35 | 0.4 | n |  | TRUE
1 | bus_LV_5714-1_1_2_node_36 | 0.4 | n |  | TRUE
2 | bus_LV_5714-1_1_2_node_37 | 0.4 | n |  | TRUE
3 | bus_LV_5714-1_1_2_node_38 | 0.4 | n |  | TRUE
4 | bus_LV_5714-1_1_2_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_5714-1_1_2_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_5714-1_1_2_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_5714-1_1_2_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_5714-1_1_2_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_5714-1_1_2_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_5714-1_1_2_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_5714-1_1_2_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_5714-1_1_2_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_5714-1_1_2_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_5714-1_1_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_5714-1_1_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_5714-1_1_2_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_5714-1_1_2_node_104 | 0.4 | n |  | TRUE
18 | bus_LV_5714-1_1_2_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_5714-1_1_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_5714-1_1_2_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_5714-1_1_2_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_5714-1_1_2_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_5714-1_1_2_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_5714-1_1_2_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_5714-1_1_2_node_170 | 0.4 | n |  | TRUE
26 | bus_LV_5714-1_1_2_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_5714-1_1_2_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_5714-1_1_2_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_5714-1_1_2_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_5714-1_1_2_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_5714-1_1_2_node_91 | 0.4 | n |  | TRUE
32 | bus_LV_5714-1_1_2_node_113 | 0.4 | n |  | TRUE
33 | bus_LV_5714-1_1_2_node_105 | 0.4 | n |  | TRUE
34 | bus_LV_5714-1_1_2_node_106 | 0.4 | n |  | TRUE
35 | bus_LV_5714-1_1_2_node_107 | 0.4 | n |  | TRUE
36 | bus_LV_5714-1_1_2_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_5714-1_1_2_node_109 | 0.4 | n |  | TRUE
38 | bus_LV_5714-1_1_2_node_136 | 0.4 | n |  | TRUE
39 | bus_LV_5714-1_1_2_node_142 | 0.4 | n |  | TRUE
40 | bus_LV_5714-1_1_2_node_162 | 0.4 | n |  | TRUE
41 | bus_LV_5714-1_1_2_node_116 | 0.4 | n |  | TRUE
42 | bus_LV_5714-1_1_2_node_117 | 0.4 | n |  | TRUE
43 | bus_LV_5714-1_1_2_node_118 | 0.4 | n |  | TRUE
44 | bus_LV_5714-1_1_2_node_122 | 0.4 | n |  | TRUE
45 | bus_LV_5714-1_1_2_node_119 | 0.4 | n |  | TRUE
46 | bus_LV_5714-1_1_2_node_120 | 0.4 | n |  | TRUE
47 | bus_LV_5714-1_1_2_node_121 | 0.4 | n |  | TRUE
48 | bus_LV_5714-1_1_2_node_123 | 0.4 | n |  | TRUE
49 | bus_LV_5714-1_1_2_node_124 | 0.4 | n |  | TRUE
50 | bus_LV_5714-1_1_2_node_125 | 0.4 | n |  | TRUE
51 | bus_LV_5714-1_1_2_node_126 | 0.4 | n |  | TRUE
52 | bus_LV_5714-1_1_2_node_127 | 0.4 | n |  | TRUE
53 | bus_LV_5714-1_1_2_node_128 | 0.4 | n |  | TRUE
54 | bus_LV_5714-1_1_2_node_129 | 0.4 | n |  | TRUE
55 | bus_LV_5714-1_1_2_node_130 | 0.4 | n |  | TRUE
56 | bus_LV_5714-1_1_2_node_131 | 0.4 | n |  | TRUE
57 | bus_LV_5714-1_1_2_node_132 | 0.4 | n |  | TRUE
58 | bus_LV_5714-1_1_2_node_133 | 0.4 | n |  | TRUE
59 | bus_LV_5714-1_1_2_node_134 | 0.4 | n |  | TRUE
60 | bus_LV_5714-1_1_2_node_135 | 0.4 | n |  | TRUE
61 | bus_LV_5714-1_1_2_node_137 | 0.4 | n |  | TRUE
62 | bus_LV_5714-1_1_2_node_138 | 0.4 | n |  | TRUE
63 | bus_LV_5714-1_1_2_node_139 | 0.4 | n |  | TRUE
64 | bus_LV_5714-1_1_2_node_140 | 0.4 | n |  | TRUE
65 | bus_LV_5714-1_1_2_node_141 | 0.4 | n |  | TRUE
66 | bus_LV_5714-1_1_2_node_145 | 0.4 | n |  | TRUE
67 | bus_LV_5714-1_1_2_node_144 | 0.4 | n |  | TRUE
68 | bus_LV_5714-1_1_2_node_143 | 0.4 | n |  | TRUE
69 | bus_LV_5714-1_1_2_node_156 | 0.4 | n |  | TRUE
70 | bus_LV_5714-1_1_2_node_146 | 0.4 | n |  | TRUE
71 | bus_LV_5714-1_1_2_node_147 | 0.4 | n |  | TRUE
72 | bus_LV_5714-1_1_2_node_148 | 0.4 | n |  | TRUE
73 | bus_LV_5714-1_1_2_node_149 | 0.4 | n |  | TRUE
74 | bus_LV_5714-1_1_2_node_150 | 0.4 | n |  | TRUE
75 | bus_LV_5714-1_1_2_node_151 | 0.4 | n |  | TRUE
76 | bus_LV_5714-1_1_2_node_152 | 0.4 | n |  | TRUE
77 | bus_LV_5714-1_1_2_node_153 | 0.4 | n |  | TRUE
78 | bus_LV_5714-1_1_2_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_5714-1_1_2_node_155 | 0.4 | n |  | TRUE
80 | bus_LV_5714-1_1_2_node_157 | 0.4 | n |  | TRUE
81 | bus_LV_5714-1_1_2_node_167 | 0.4 | n |  | TRUE
82 | bus_LV_5714-1_1_2_node_168 | 0.4 | n |  | TRUE
83 | bus_LV_5714-1_1_2_node_169 | 0.4 | n |  | TRUE
84 | bus_LV_5714-1_1_2_node_171 | 0.4 | n |  | TRUE
85 | bus_MV_317_1_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5714-1_1_2_load_35 | 0 | 0.005661 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5714-1_1_2_load_36 | 1 | 0.0066474 | 0.001666 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5714-1_1_2_load_37 | 2 | 0.010949 | 0.002744 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5714-1_1_2_load_38 | 3 | 0.0032062 | 0.00080355 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5714-1_1_2_load_39 | 4 | 0.00039215 | 9.8282e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5714-1_1_2_load_41 | 6 | 0.00042838 | 0.00010736 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5714-1_1_2_load_86 | 7 | 0.0013871 | 0.00034765 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5714-1_1_2_load_47 | 8 | 0.0013769 | 0.00034508 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5714-1_1_2_load_53 | 9 | 0.0029019 | 0.0007273 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5714-1_1_2_load_42 | 10 | 0.0016715 | 0.00041893 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5714-1_1_2_load_43 | 11 | 0.00081149 | 0.00020338 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5714-1_1_2_load_44 | 12 | 0.0025865 | 0.00064825 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5714-1_1_2_load_45 | 13 | 0.00076754 | 0.00019236 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5714-1_1_2_load_48 | 15 | 0.0014131 | 0.00035415 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5714-1_1_2_load_51 | 16 | 0.0012929 | 0.00032404 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5714-1_1_2_load_104 | 17 | 0.001801 | 0.00045139 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5714-1_1_2_load_52 | 18 | 0.0044671 | 0.0011196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5714-1_1_2_load_55 | 20 | 0.0022404 | 0.00056149 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5714-1_1_2_load_56 | 21 | 0.0021043 | 0.00052738 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5714-1_1_2_load_69 | 23 | 0.0012027 | 0.00030143 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5714-1_1_2_load_170 | 25 | 0.0026554 | 0.0006655 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5714-1_1_2_load_71 | 26 | 0.0020468 | 0.00051298 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5714-1_1_2_load_89 | 28 | 0.0013752 | 0.00034466 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5714-1_1_2_load_87 | 29 | 0.0079009 | 0.0019802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5714-1_1_2_load_88 | 30 | 0.0014984 | 0.00037554 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5714-1_1_2_load_91 | 31 | 0.0013145 | 0.00032944 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5714-1_1_2_load_105 | 33 | 0.0025905 | 0.00064925 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5714-1_1_2_load_106 | 34 | 0.0036182 | 0.00090679 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5714-1_1_2_load_107 | 35 | 0.0027851 | 0.00069801 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5714-1_1_2_load_108 | 36 | 0.0021908 | 0.00054907 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5714-1_1_2_load_109 | 37 | 0.0022692 | 0.00056871 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5714-1_1_2_load_136 | 38 | 0.00082503 | 0.00020677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5714-1_1_2_load_142 | 39 | 0.0015826 | 0.00039663 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5714-1_1_2_load_162 | 40 | 0.0013205 | 0.00033094 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5714-1_1_2_load_117 | 42 | 0.0010752 | 0.00026946 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5714-1_1_2_load_118 | 43 | 0.0013281 | 0.00033286 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5714-1_1_2_load_122 | 44 | 0.001665 | 0.00041729 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5714-1_1_2_load_119 | 45 | 0.0029109 | 0.00072954 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5714-1_1_2_load_120 | 46 | 0.0013955 | 0.00034973 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5714-1_1_2_load_121 | 47 | 0.0014605 | 0.00036604 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5714-1_1_2_load_123 | 48 | 0.0030045 | 0.00075299 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5714-1_1_2_load_124 | 49 | 0.0016167 | 0.00040519 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5714-1_1_2_load_125 | 50 | 0.0013054 | 0.00032716 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5714-1_1_2_load_126 | 51 | 0.0018127 | 0.0004543 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5714-1_1_2_load_127 | 52 | 0.0017379 | 0.00043557 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5714-1_1_2_load_128 | 53 | 0.0018358 | 0.00046009 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5714-1_1_2_load_129 | 54 | 0.0021099 | 0.00052878 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5714-1_1_2_load_130 | 55 | 0.0018171 | 0.0004554 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5714-1_1_2_load_131 | 56 | 0.0017981 | 0.00045064 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5714-1_1_2_load_132 | 57 | 0.0041204 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5714-1_1_2_load_133 | 58 | 0.0021576 | 0.00054075 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5714-1_1_2_load_134 | 59 | 0.0044967 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5714-1_1_2_load_135 | 60 | 0.001533 | 0.00038421 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5714-1_1_2_load_137 | 61 | 0.0034801 | 0.0008722 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5714-1_1_2_load_138 | 62 | 0.0032862 | 0.00082359 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5714-1_1_2_load_140 | 64 | 0.0033883 | 0.00084918 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5714-1_1_2_load_141 | 65 | 0.0027301 | 0.00068423 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5714-1_1_2_load_145 | 66 | 0.0017554 | 0.00043996 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5714-1_1_2_load_144 | 67 | 0.0015826 | 0.00039665 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5714-1_1_2_load_143 | 68 | 0.00087565 | 0.00021946 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5714-1_1_2_load_156 | 69 | 0.0031251 | 0.00078321 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5714-1_1_2_load_146 | 70 | 0.0011879 | 0.00029771 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5714-1_1_2_load_147 | 71 | 0.00074797 | 0.00018746 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5714-1_1_2_load_148 | 72 | 0.0016459 | 0.00041251 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5714-1_1_2_load_149 | 73 | 0.00090358 | 0.00022646 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5714-1_1_2_load_150 | 74 | 0.0016056 | 0.0004024 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5714-1_1_2_load_151 | 75 | 0.002417 | 0.00060576 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5714-1_1_2_load_152 | 76 | 0.00072593 | 0.00018194 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5714-1_1_2_load_155 | 79 | 0.00073208 | 0.00018348 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5714-1_1_2_load_157 | 80 | 0.0013259 | 0.0003323 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5714-1_1_2_load_167 | 81 | 0.0038417 | 0.00096282 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5714-1_1_2_load_168 | 82 | 0.0012753 | 0.00031963 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5714-1_1_2_load_169 | 83 | 0.0073108 | 0.0018323 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5714-1_1_2_load_171 | 84 | 0.0026615 | 0.00066703 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5714-1_1_2_line_0 |  | 0 | 1 | 0.0026404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5714-1_1_2_line_1 |  | 0 | 2 | 0.027095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5714-1_1_2_line_2 |  | 1 | 3 | 0.02772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5714-1_1_2_line_3 |  | 2 | 4 | 0.020849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5714-1_1_2_line_4 |  | 3 | 5 | 0.027112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5714-1_1_2_line_5 |  | 4 | 6 | 0.0091483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5714-1_1_2_line_6 |  | 5 | 7 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5714-1_1_2_line_7 |  | 5 | 8 | 0.010108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5714-1_1_2_line_8 |  | 6 | 9 | 0.02919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5714-1_1_2_line_9 |  | 7 | 28 | 0.020904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5714-1_1_2_line_10 |  | 8 | 13 | 0.079351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5714-1_1_2_line_11 |  | 9 | 18 | 0.043997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5714-1_1_2_line_12 |  | 10 | 11 | 0.044748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5714-1_1_2_line_13 |  | 10 | 12 | 0.038719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5714-1_1_2_line_14 |  | 11 | 13 | 0.0028169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5714-1_1_2_line_15 |  | 12 | 14 | 0.030948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5714-1_1_2_line_16 |  | 14 | 15 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5714-1_1_2_line_17 |  | 15 | 16 | 0.0044898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5714-1_1_2_line_18 |  | 16 | 17 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5714-1_1_2_line_19 |  | 17 | 33 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5714-1_1_2_line_20 |  | 18 | 19 | 0.054261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5714-1_1_2_line_21 |  | 19 | 20 | 0.05538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5714-1_1_2_line_22 |  | 19 | 21 | 0.037605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5714-1_1_2_line_23 |  | 20 | 22 | 0.028014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5714-1_1_2_line_24 |  | 22 | 23 | 0.083994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5714-1_1_2_line_25 |  | 22 | 24 | 0.27012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5714-1_1_2_line_26 |  | 24 | 25 | 0.029684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5714-1_1_2_line_27 |  | 25 | 83 | 0.0076722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5714-1_1_2_line_28 |  | 26 | 27 | 0.023569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5714-1_1_2_line_29 |  | 27 | 31 | 0.042288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5714-1_1_2_line_30 |  | 27 | 30 | 0.022484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5714-1_1_2_line_31 |  | 28 | 29 | 0.0034479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5714-1_1_2_line_32 |  | 29 | 30 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5714-1_1_2_line_33 |  | 31 | 32 | 0.05637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5714-1_1_2_line_34 |  | 32 | 41 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5714-1_1_2_line_35 |  | 33 | 34 | 0.049823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5714-1_1_2_line_36 |  | 33 | 35 | 0.032451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5714-1_1_2_line_37 |  | 34 | 36 | 0.018709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5714-1_1_2_line_38 |  | 35 | 37 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5714-1_1_2_line_39 |  | 36 | 38 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5714-1_1_2_line_40 |  | 37 | 39 | 0.02937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5714-1_1_2_line_41 |  | 37 | 40 | 0.22263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5714-1_1_2_line_42 |  | 38 | 52 | 0.011358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5714-1_1_2_line_43 |  | 39 | 68 | 0.0047051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5714-1_1_2_line_44 |  | 41 | 42 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5714-1_1_2_line_45 |  | 41 | 43 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5714-1_1_2_line_46 |  | 42 | 44 | 0.035925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5714-1_1_2_line_47 |  | 43 | 45 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5714-1_1_2_line_48 |  | 45 | 46 | 0.012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5714-1_1_2_line_49 |  | 46 | 47 | 0.0020957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5714-1_1_2_line_50 |  | 48 | 49 | 0.022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5714-1_1_2_line_51 |  | 48 | 50 | 0.019769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5714-1_1_2_line_52 |  | 49 | 51 | 0.000656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5714-1_1_2_line_53 |  | 50 | 52 | 0.017592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5714-1_1_2_line_54 |  | 51 | 53 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5714-1_1_2_line_55 |  | 54 | 55 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5714-1_1_2_line_56 |  | 54 | 56 | 0.009628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5714-1_1_2_line_57 |  | 55 | 57 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5714-1_1_2_line_58 |  | 56 | 58 | 0.0203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5714-1_1_2_line_59 |  | 57 | 59 | 0.014811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5714-1_1_2_line_60 |  | 58 | 60 | 0.0044262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5714-1_1_2_line_61 |  | 60 | 61 | 0.028188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5714-1_1_2_line_62 |  | 61 | 62 | 0.022184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5714-1_1_2_line_63 |  | 62 | 63 | 0.017564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5714-1_1_2_line_64 |  | 63 | 64 | 0.015798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5714-1_1_2_line_65 |  | 63 | 65 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5714-1_1_2_line_66 |  | 64 | 66 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5714-1_1_2_line_67 |  | 65 | 67 | 0.0042307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5714-1_1_2_line_68 |  | 66 | 69 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5714-1_1_2_line_69 |  | 67 | 68 | 0.0062771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5714-1_1_2_line_70 |  | 69 | 75 | 0.023598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5714-1_1_2_line_71 |  | 70 | 71 | 0.0015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5714-1_1_2_line_72 |  | 70 | 72 | 0.015904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5714-1_1_2_line_73 |  | 71 | 73 | 0.028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5714-1_1_2_line_74 |  | 73 | 74 | 0.033838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5714-1_1_2_line_75 |  | 74 | 75 | 0.015145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5714-1_1_2_line_76 |  | 74 | 76 | 0.033608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5714-1_1_2_line_77 |  | 76 | 77 | 0.012992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5714-1_1_2_line_78 |  | 77 | 78 | 0.039172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5714-1_1_2_line_79 |  | 78 | 79 | 0.010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5714-1_1_2_line_80 |  | 79 | 80 | 0.026184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5714-1_1_2_line_81 |  | 81 | 82 | 0.014349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5714-1_1_2_line_82 |  | 82 | 83 | 0.0080675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5714-1_1_2_line_83 |  | 83 | 84 | 0.024524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5714-1_1_2_trafo_47 | 0.63 MVA 20/0.4 kV | 85 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2502329.9536 | 1136162.8116 | 2502331.4269 | 1136160.6205
1 | 2502346.5456 | 1136138.1356 | 2502331.4269 | 1136160.6205
2 | 2502329.9536 | 1136162.8116 | 2502314.4863 | 1136185.8151
3 | 2502357.8788 | 1136120.6369 | 2502347.7392 | 1136136.3604 | 2502346.5456 | 1136138.1356
4 | 2502298.6028 | 1136207.7668 | 2502306.8354 | 1136197.1936 | 2502314.4863 | 1136185.8151
5 | 2502357.8788 | 1136120.6369 | 2502362.8367 | 1136112.9486
6 | 2502298.6028 | 1136207.7668 | 2502289.4835 | 1136200.6486
7 | 2502298.6028 | 1136207.7668 | 2502306.5404 | 1136214.0245
8 | 2502378.6563 | 1136088.4169 | 2502362.8367 | 1136112.9486
9 | 2502273.0054 | 1136187.786 | 2502289.4835 | 1136200.6486
10 | 2502306.5404 | 1136214.0245 | 2502368.8553 | 1136263.1508
11 | 2502378.6563 | 1136088.4169 | 2502402.5003 | 1136051.4416
12 | 2502406.2089 | 1136292.5986 | 2502371.0674 | 1136264.8947
13 | 2502406.2089 | 1136292.5986 | 2502436.6152 | 1136316.5696
14 | 2502368.8553 | 1136263.1508 | 2502371.0674 | 1136264.8947
15 | 2502460.919 | 1136335.7296 | 2502436.6152 | 1136316.5696
16 | 2502460.919 | 1136335.7296 | 2502453.1512 | 1136342.6929 | 2502449.2756 | 1136344.0005
17 | 2502449.2756 | 1136344.0005 | 2502445.0214 | 1136345.4359
18 | 2502416.8039 | 1136354.9565 | 2502445.0214 | 1136345.4359
19 | 2502401.5786 | 1136360.0935 | 2502416.8039 | 1136354.9565
20 | 2502431.9071 | 1136005.8402 | 2502402.5003 | 1136051.4416
21 | 2502431.9071 | 1136005.8402 | 2502384.8363 | 1135976.6643
22 | 2502431.9071 | 1136005.8402 | 2502440.0248 | 1136010.9565 | 2502463.7206 | 1136025.8913
23 | 2502360.5583 | 1135962.7793 | 2502367.6139 | 1135965.9893 | 2502384.8363 | 1135976.6643
24 | 2502360.5583 | 1135962.7793 | 2502352.8429 | 1135977.2798 | 2502344.0866 | 1135992.6088 | 2502327.0997 | 1136020.5566 | 2502317.8907 | 1136035.0946
25 | 2502510.109 | 1135813.1348 | 2502514.5837 | 1135817.1317 | 2502484.4119 | 1135922.1729 | 2502435.4165 | 1135929.7477 | 2502422.0769 | 1135930.5862 | 2502413.5285 | 1135930.2465 | 2502401.6778 | 1135927.9702 | 2502377.5775 | 1135920.1776 | 2502373.4352 | 1135932.908 | 2502372.1127 | 1135936.3093 | 2502368.5728 | 1135945.3611 | 2502364.6868 | 1135954.4296 | 2502360.5583 | 1135962.7793
26 | 2502510.109 | 1135813.1348 | 2502519.1188 | 1135784.8511
27 | 2502519.1188 | 1135784.8511 | 2502521.4475 | 1135777.5408
28 | 2502237.6353 | 1136161.2705 | 2502248.2006 | 1136144.5779 | 2502250.2396 | 1136141.3548
29 | 2502237.6353 | 1136161.2705 | 2502233.1087 | 1136168.3038 | 2502220.85 | 1136187.8256 | 2502215.0686 | 1136197.0339
30 | 2502237.6353 | 1136161.2705 | 2502247.7427 | 1136168.0664 | 2502255.8656 | 1136174.407
31 | 2502270.2874 | 1136185.6645 | 2502273.0054 | 1136187.786
32 | 2502270.2874 | 1136185.6645 | 2502255.8656 | 1136174.407
33 | 2502185.095 | 1136244.7738 | 2502215.0686 | 1136197.0339
34 | 2502185.095 | 1136244.7738 | 2502196.5258 | 1136255.8286
35 | 2502401.5786 | 1136360.0935 | 2502398.9374 | 1136355.2443 | 2502363.9603 | 1136328.0568
36 | 2502401.5786 | 1136360.0935 | 2502370.9585 | 1136370.8382
37 | 2502349.1885 | 1136316.5748 | 2502363.9603 | 1136328.0568
38 | 2502370.9585 | 1136370.8382 | 2502358.5205 | 1136375.2027
39 | 2502349.1885 | 1136316.5748 | 2502336.6888 | 1136306.8588
40 | 2502358.5205 | 1136375.2027 | 2502330.8072 | 1136384.9274
41 | 2502358.5205 | 1136375.2027 | 2502423.6319 | 1136588.0993
42 | 2502327.7214 | 1136299.8885 | 2502336.6888 | 1136306.8588
43 | 2502326.3675 | 1136386.4853 | 2502330.8072 | 1136384.9274
44 | 2502196.5258 | 1136255.8286 | 2502206.475 | 1136265.446
45 | 2502196.5258 | 1136255.8286 | 2502212.1975 | 1136243.667 | 2502212.1975 | 1136243.667
46 | 2502206.475 | 1136265.446 | 2502224.477 | 1136282.8476 | 2502231.7505 | 1136274.746
47 | 2502212.1975 | 1136243.667 | 2502225.4147 | 1136251.9356 | 2502230.7187 | 1136252.0275 | 2502230.7187 | 1136252.0275
48 | 2502241.3485 | 1136258.9841 | 2502230.7187 | 1136252.0275
49 | 2502243.102 | 1136260.1317 | 2502241.3485 | 1136258.9841
50 | 2502298.2236 | 1136276.9601 | 2502279.5937 | 1136290.0968
51 | 2502298.2236 | 1136276.9601 | 2502298.2236 | 1136276.9601 | 2502313.832 | 1136289.0924
52 | 2502279.0576 | 1136290.4748 | 2502279.5937 | 1136290.0968
53 | 2502313.832 | 1136289.0924 | 2502327.7214 | 1136299.8885
54 | 2502267.9326 | 1136298.3195 | 2502279.0576 | 1136290.4748
55 | 2502217.7461 | 1136338.18 | 2502201.2706 | 1136327.632
56 | 2502217.7461 | 1136338.18 | 2502225.8547 | 1136343.3713
57 | 2502192.1632 | 1136321.8012 | 2502201.2706 | 1136327.632
58 | 2502242.9511 | 1136354.3168 | 2502225.8547 | 1136343.3713
59 | 2502179.6893 | 1136313.8152 | 2502192.1632 | 1136321.8012
60 | 2502242.9511 | 1136354.3168 | 2502246.6789 | 1136356.7033
61 | 2502270.4186 | 1136371.902 | 2502246.6789 | 1136356.7033
62 | 2502270.4186 | 1136371.902 | 2502289.1016 | 1136383.8633
63 | 2502301.5942 | 1136395.1783 | 2502300.008 | 1136390.8458 | 2502289.1016 | 1136383.8633
64 | 2502301.5942 | 1136395.1783 | 2502286.6487 | 1136400.2991
65 | 2502301.5942 | 1136395.1783 | 2502316.4524 | 1136389.9645
66 | 2502272.0736 | 1136405.2931 | 2502286.6487 | 1136400.2991
67 | 2502316.4524 | 1136389.9645 | 2502320.4444 | 1136388.5637
68 | 2502245.703 | 1136414.3286 | 2502272.0736 | 1136405.2931
69 | 2502326.3675 | 1136386.4853 | 2502320.4444 | 1136388.5637
70 | 2502245.703 | 1136414.3286 | 2502223.3792 | 1136421.9774
71 | 2502157.4496 | 1136390.2061 | 2502158.7794 | 1136391.0744
72 | 2502144.133 | 1136381.5115 | 2502157.4496 | 1136390.2061
73 | 2502158.7794 | 1136391.0744 | 2502182.7139 | 1136406.7017
74 | 2502209.0518 | 1136426.8865 | 2502207.2372 | 1136422.7133 | 2502182.7139 | 1136406.7017
75 | 2502209.0518 | 1136426.8865 | 2502223.3792 | 1136421.9774
76 | 2502209.0518 | 1136426.8865 | 2502177.3179 | 1136437.9536
77 | 2502165.0506 | 1136442.2318 | 2502177.3179 | 1136437.9536
78 | 2502165.0506 | 1136442.2318 | 2502127.927 | 1136455.0531
79 | 2502127.927 | 1136455.0531 | 2502118.5191 | 1136449.7452
80 | 2502118.5191 | 1136449.7452 | 2502108.3701 | 1136444.0192 | 2502101.6118 | 1136441.0827 | 2502096.3028 | 1136438.7785 | 2502095.0066 | 1136438.3212
81 | 2502504.9377 | 1135762.3771 | 2502515.5059 | 1135772.0836
82 | 2502521.4475 | 1135777.5408 | 2502521.4475 | 1135777.5408 | 2502515.5059 | 1135772.0836
83 | 2502503.3857 | 1135760.9516 | 2502521.4475 | 1135777.5408

## bus_geodata
| x | y | coords
0 | 2502331.4269 | 1136160.6205
1 | 2502329.9536 | 1136162.8116
2 | 2502346.5456 | 1136138.1356
3 | 2502314.4863 | 1136185.8151
4 | 2502357.8788 | 1136120.6369
5 | 2502298.6028 | 1136207.7668
6 | 2502362.8367 | 1136112.9486
7 | 2502289.4835 | 1136200.6486
8 | 2502306.5404 | 1136214.0245
9 | 2502378.6563 | 1136088.4169
10 | 2502406.2089 | 1136292.5986
11 | 2502371.0674 | 1136264.8947
12 | 2502436.6152 | 1136316.5696
13 | 2502368.8553 | 1136263.1508
14 | 2502460.919 | 1136335.7296
15 | 2502449.2756 | 1136344.0005
16 | 2502445.0214 | 1136345.4359
17 | 2502416.8039 | 1136354.9565
18 | 2502402.5003 | 1136051.4416
19 | 2502431.9071 | 1136005.8402
20 | 2502384.8363 | 1135976.6643
21 | 2502463.7206 | 1136025.8913
22 | 2502360.5583 | 1135962.7793
23 | 2502317.8907 | 1136035.0946
24 | 2502510.109 | 1135813.1348
25 | 2502519.1188 | 1135784.8511
26 | 2502250.2396 | 1136141.3548
27 | 2502237.6353 | 1136161.2705
28 | 2502273.0054 | 1136187.786
29 | 2502270.2874 | 1136185.6645
30 | 2502255.8656 | 1136174.407
31 | 2502215.0686 | 1136197.0339
32 | 2502185.095 | 1136244.7738
33 | 2502401.5786 | 1136360.0935
34 | 2502363.9603 | 1136328.0568
35 | 2502370.9585 | 1136370.8382
36 | 2502349.1885 | 1136316.5748
37 | 2502358.5205 | 1136375.2027
38 | 2502336.6888 | 1136306.8588
39 | 2502330.8072 | 1136384.9274
40 | 2502423.6319 | 1136588.0993
41 | 2502196.5258 | 1136255.8286
42 | 2502206.475 | 1136265.446
43 | 2502212.1975 | 1136243.667
44 | 2502231.7505 | 1136274.746
45 | 2502230.7187 | 1136252.0275
46 | 2502241.3485 | 1136258.9841
47 | 2502243.102 | 1136260.1317
48 | 2502298.2236 | 1136276.9601
49 | 2502279.5937 | 1136290.0968
50 | 2502313.832 | 1136289.0924
51 | 2502279.0576 | 1136290.4748
52 | 2502327.7214 | 1136299.8885
53 | 2502267.9326 | 1136298.3195
54 | 2502217.7461 | 1136338.18
55 | 2502201.2706 | 1136327.632
56 | 2502225.8547 | 1136343.3713
57 | 2502192.1632 | 1136321.8012
58 | 2502242.9511 | 1136354.3168
59 | 2502179.6893 | 1136313.8152
60 | 2502246.6789 | 1136356.7033
61 | 2502270.4186 | 1136371.902
62 | 2502289.1016 | 1136383.8633
63 | 2502301.5942 | 1136395.1783
64 | 2502286.6487 | 1136400.2991
65 | 2502316.4524 | 1136389.9645
66 | 2502272.0736 | 1136405.2931
67 | 2502320.4444 | 1136388.5637
68 | 2502326.3675 | 1136386.4853
69 | 2502245.703 | 1136414.3286
70 | 2502157.4496 | 1136390.2061
71 | 2502158.7794 | 1136391.0744
72 | 2502144.133 | 1136381.5115
73 | 2502182.7139 | 1136406.7017
74 | 2502209.0518 | 1136426.8865
75 | 2502223.3792 | 1136421.9774
76 | 2502177.3179 | 1136437.9536
77 | 2502165.0506 | 1136442.2318
78 | 2502127.927 | 1136455.0531
79 | 2502118.5191 | 1136449.7452
80 | 2502095.0066 | 1136438.3212
81 | 2502504.9377 | 1135762.3771
82 | 2502515.5059 | 1135772.0836
83 | 2502521.4475 | 1135777.5408
84 | 2502503.3857 | 1135760.9516
85 | 2502298.6028 | 1136207.7668

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1