## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5715-1_2_2_node_131 | 0.4 | n |  | TRUE
1 | bus_LV_5715-1_2_2_node_116 | 0.4 | n |  | TRUE
2 | bus_LV_5715-1_2_2_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_5715-1_2_2_node_135 | 0.4 | n |  | TRUE
4 | bus_LV_5715-1_2_2_node_133 | 0.4 | n |  | TRUE
5 | bus_LV_5715-1_2_2_node_134 | 0.4 | n |  | TRUE
6 | bus_LV_5715-1_2_2_node_136 | 0.4 | n |  | TRUE
7 | bus_LV_5715-1_2_2_node_144 | 0.4 | n |  | TRUE
8 | bus_LV_5715-1_2_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_5715-1_2_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_5715-1_2_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_5715-1_2_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_5715-1_2_2_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_5715-1_2_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_5715-1_2_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5715-1_2_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_5715-1_2_2_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_5715-1_2_2_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_5715-1_2_2_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_5715-1_2_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_5715-1_2_2_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_5715-1_2_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5715-1_2_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_5715-1_2_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5715-1_2_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_5715-1_2_2_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_5715-1_2_2_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_5715-1_2_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_5715-1_2_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5715-1_2_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5715-1_2_2_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_5715-1_2_2_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5715-1_2_2_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5715-1_2_2_node_199 | 0.4 | n |  | TRUE
34 | bus_LV_5715-1_2_2_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_5715-1_2_2_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_5715-1_2_2_node_189 | 0.4 | n |  | TRUE
37 | bus_LV_5715-1_2_2_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_5715-1_2_2_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_5715-1_2_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_5715-1_2_2_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_5715-1_2_2_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_5715-1_2_2_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_5715-1_2_2_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_5715-1_2_2_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_5715-1_2_2_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_5715-1_2_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_5715-1_2_2_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_5715-1_2_2_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_5715-1_2_2_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_5715-1_2_2_node_145 | 0.4 | n |  | TRUE
51 | bus_LV_5715-1_2_2_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_5715-1_2_2_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_5715-1_2_2_node_143 | 0.4 | n |  | TRUE
54 | bus_LV_5715-1_2_2_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_5715-1_2_2_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_5715-1_2_2_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_5715-1_2_2_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_5715-1_2_2_node_200 | 0.4 | n |  | TRUE
59 | bus_LV_5715-1_2_2_node_113 | 0.4 | n |  | TRUE
60 | bus_LV_5715-1_2_2_node_114 | 0.4 | n |  | TRUE
61 | bus_LV_5715-1_2_2_node_115 | 0.4 | n |  | TRUE
62 | bus_MV_314_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5715-1_2_2_load_131 | 0 | 0.0015882 | 0.00039805 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5715-1_2_2_load_116 | 1 | 0.0016674 | 0.00041789 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5715-1_2_2_load_132 | 2 | 0.0018307 | 0.00045882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5715-1_2_2_load_135 | 3 | 0.00066727 | 0.00016723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5715-1_2_2_load_133 | 4 | 0.0014101 | 0.00035339 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5715-1_2_2_load_134 | 5 | 0.0021842 | 0.00054742 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5715-1_2_2_load_136 | 6 | 0.0015241 | 0.00038199 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5715-1_2_2_load_144 | 7 | 0.0018111 | 0.0004539 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5715-1_2_2_load_14 | 8 | 0.0036355 | 0.00091114 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5715-1_2_2_load_17 | 11 | 0.0019654 | 0.00049258 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5715-1_2_2_load_18 | 12 | 0.0075634 | 0.0018956 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5715-1_2_2_load_19 | 13 | 0.019283 | 0.0048327 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5715-1_2_2_load_20 | 14 | 0.0020453 | 0.0005126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5715-1_2_2_load_25 | 15 | 0.0017608 | 0.0004413 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5715-1_2_2_load_89 | 16 | 0.0055966 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5715-1_2_2_load_71 | 17 | 0.0021085 | 0.00052843 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5715-1_2_2_load_21 | 19 | 0.0020223 | 0.00050684 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5715-1_2_2_load_23 | 21 | 0.0052055 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5715-1_2_2_load_29 | 22 | 0.02356 | 0.0059048 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5715-1_2_2_load_39 | 25 | 0.0025828 | 0.00064731 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5715-1_2_2_load_87 | 26 | 0.0031347 | 0.00078562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5715-1_2_2_load_26 | 27 | 0.0052141 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5715-1_2_2_load_27 | 28 | 0.0071774 | 0.0017988 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5715-1_2_2_load_28 | 29 | 0.0040771 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5715-1_2_2_load_82 | 30 | 0.004786 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5715-1_2_2_load_199 | 33 | 0.011851 | 0.0029702 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5715-1_2_2_load_90 | 35 | 0.006113 | 0.0015321 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5715-1_2_2_load_189 | 36 | 0.0096349 | 0.0024147 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5715-1_2_2_load_68 | 37 | 0.023054 | 0.0057779 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5715-1_2_2_load_69 | 38 | 0.0042929 | 0.0010759 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5715-1_2_2_load_70 | 39 | 0.0026731 | 0.00066995 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5715-1_2_2_load_73 | 43 | 0.014208 | 0.003561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5715-1_2_2_load_80 | 49 | 0.0015328 | 0.00038415 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5715-1_2_2_load_145 | 50 | 0.0013984 | 0.00035047 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5715-1_2_2_load_86 | 51 | 0.011204 | 0.0028079 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5715-1_2_2_load_81 | 52 | 0.019905 | 0.0049886 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5715-1_2_2_load_143 | 53 | 0.0012526 | 0.00031393 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5715-1_2_2_load_84 | 54 | 0.011274 | 0.0028255 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5715-1_2_2_load_85 | 55 | 0.011384 | 0.0028531 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5715-1_2_2_load_88 | 56 | 0.00096986 | 0.00024307 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5715-1_2_2_load_92 | 57 | 0.0064331 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5715-1_2_2_load_200 | 58 | 0.021373 | 0.0053566 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5715-1_2_2_load_113 | 59 | 0.0013142 | 0.00032938 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5715-1_2_2_load_114 | 60 | 0.00205 | 0.00051379 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5715-1_2_2_load_115 | 61 | 0.0011979 | 0.00030023 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5715-1_2_2_line_0 |  | 0 | 1 | 0.020308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5715-1_2_2_line_1 |  | 0 | 2 | 0.0024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5715-1_2_2_line_2 |  | 1 | 60 | 0.0061803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5715-1_2_2_line_3 |  | 2 | 3 | 0.00067505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5715-1_2_2_line_4 |  | 3 | 4 | 0.019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5715-1_2_2_line_5 |  | 4 | 5 | 0.0079596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5715-1_2_2_line_6 |  | 5 | 6 | 0.010685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5715-1_2_2_line_7 |  | 6 | 7 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5715-1_2_2_line_8 |  | 7 | 50 | 5.1061e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5715-1_2_2_line_9 |  | 8 | 9 | 0.031917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5715-1_2_2_line_10 |  | 8 | 10 | 0.019732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5715-1_2_2_line_11 |  | 9 | 11 | 0.026575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5715-1_2_2_line_12 |  | 9 | 12 | 0.020422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5715-1_2_2_line_13 |  | 10 | 13 | 0.029791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5715-1_2_2_line_14 |  | 10 | 14 | 0.0037304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5715-1_2_2_line_15 |  | 11 | 15 | 0.017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5715-1_2_2_line_16 |  | 12 | 16 | 0.029425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5715-1_2_2_line_17 |  | 13 | 17 | 0.027626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5715-1_2_2_line_18 |  | 14 | 18 | 0.05325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5715-1_2_2_line_19 |  | 15 | 26 | 0.12268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5715-1_2_2_line_20 |  | 17 | 38 | 0.019909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5715-1_2_2_line_21 |  | 18 | 36 | 0.022576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5715-1_2_2_line_22 |  | 18 | 44 | 0.066162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5715-1_2_2_line_23 |  | 19 | 20 | 0.0042054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5715-1_2_2_line_24 |  | 20 | 21 | 0.040551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5715-1_2_2_line_25 |  | 21 | 22 | 0.023804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5715-1_2_2_line_26 |  | 22 | 31 | 0.033001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5715-1_2_2_line_27 |  | 23 | 24 | 0.011324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5715-1_2_2_line_28 |  | 23 | 25 | 0.0074592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5715-1_2_2_line_29 |  | 24 | 35 | 0.033127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5715-1_2_2_line_30 |  | 25 | 34 | 0.048543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5715-1_2_2_line_31 |  | 26 | 56 | 0.0043632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5715-1_2_2_line_32 |  | 27 | 28 | 0.0079401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5715-1_2_2_line_33 |  | 28 | 29 | 0.0082986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5715-1_2_2_line_34 |  | 29 | 30 | 0.01654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5715-1_2_2_line_35 |  | 30 | 52 | 0.082018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5715-1_2_2_line_36 |  | 31 | 32 | 0.033773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5715-1_2_2_line_37 |  | 32 | 33 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5715-1_2_2_line_38 |  | 32 | 34 | 0.008366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5715-1_2_2_line_39 |  | 35 | 42 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5715-1_2_2_line_40 |  | 37 | 38 | 0.0057804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5715-1_2_2_line_41 |  | 37 | 39 | 0.020588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5715-1_2_2_line_42 |  | 39 | 40 | 0.012331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5715-1_2_2_line_43 |  | 40 | 41 | 0.008033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5715-1_2_2_line_44 |  | 40 | 42 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5715-1_2_2_line_45 |  | 41 | 58 | 0.027725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5715-1_2_2_line_46 |  | 42 | 57 | 0.048331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5715-1_2_2_line_47 |  | 43 | 44 | 0.13141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5715-1_2_2_line_48 |  | 43 | 45 | 0.044667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5715-1_2_2_line_49 |  | 44 | 46 | 0.047078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5715-1_2_2_line_50 |  | 44 | 47 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5715-1_2_2_line_51 |  | 45 | 48 | 0.019469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5715-1_2_2_line_52 |  | 45 | 49 | 0.024103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5715-1_2_2_line_53 |  | 46 | 50 | 0.027708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5715-1_2_2_line_54 |  | 47 | 51 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5715-1_2_2_line_55 |  | 48 | 52 | 0.036031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5715-1_2_2_line_56 |  | 49 | 53 | 0.022288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5715-1_2_2_line_57 |  | 51 | 55 | 0.030007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5715-1_2_2_line_58 |  | 54 | 55 | 0.039186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5715-1_2_2_line_59 |  | 59 | 60 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5715-1_2_2_line_60 |  | 59 | 61 | 0.0086195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5715-1_2_2_trafo_200 | 0.63 MVA 20/0.4 kV | 62 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2507248.945 | 1140668.7631 | 2507245.5758 | 1140665.5057 | 2507233.8298 | 1140655.2071
1 | 2507233.8298 | 1140655.2071 | 2507231.9865 | 1140653.5908
2 | 2507248.945 | 1140668.7631 | 2507253.3882 | 1140673.059
3 | 2507231.9865 | 1140653.5908 | 2507231.4789 | 1140653.1458
4 | 2507216.8057 | 1140640.2199 | 2507229.8994 | 1140651.7609 | 2507231.4789 | 1140653.1458
5 | 2507216.8057 | 1140640.2199 | 2507210.8346 | 1140634.9567
6 | 2507210.8346 | 1140634.9567 | 2507202.8189 | 1140627.8915
7 | 2507188.396 | 1140615.2838 | 2507197.1718 | 1140622.914 | 2507202.8189 | 1140627.8915
8 | 2507188.396 | 1140615.2838 | 2507188.3922 | 1140615.2805
9 | 2507286.173 | 1140418.2762 | 2507283.5205 | 1140422.8198 | 2507282.1637 | 1140426.5985 | 2507281.2681 | 1140430.3701 | 2507280.5354 | 1140435.2287 | 2507280.0033 | 1140440.1288 | 2507279.5867 | 1140446.0387 | 2507279.4422 | 1140449.033
10 | 2507277.9513 | 1140468.6887 | 2507278.6754 | 1140463.7746 | 2507279.1381 | 1140457.8639 | 2507279.301 | 1140451.9578 | 2507279.4422 | 1140449.033
11 | 2507286.173 | 1140418.2762 | 2507282.7021 | 1140415.6169 | 2507280.8618 | 1140413.9664 | 2507279.6527 | 1140411.8615 | 2507275.7587 | 1140395.0024
12 | 2507286.173 | 1140418.2762 | 2507288.6606 | 1140415.5141 | 2507291.3405 | 1140413.2492 | 2507295.9975 | 1140410.5315 | 2507301.1235 | 1140408.3069 | 2507303.1491 | 1140407.4071
13 | 2507277.9513 | 1140468.6887 | 2507281.8389 | 1140469.4516 | 2507287.2324 | 1140471.114 | 2507305.7483 | 1140479.1523
14 | 2507277.9513 | 1140468.6887 | 2507276.8348 | 1140472.2481
15 | 2507272.1844 | 1140377.4549 | 2507273.7367 | 1140386.2482 | 2507275.7587 | 1140395.0024
16 | 2507303.1491 | 1140407.4071 | 2507318.0269 | 1140400.798 | 2507329.9281 | 1140395.2167
17 | 2507305.7483 | 1140479.1523 | 2507316.4664 | 1140483.8054 | 2507330.8589 | 1140490.6588
18 | 2507243.2105 | 1140512.9055 | 2507257.7056 | 1140498.8517 | 2507261.9386 | 1140494.5729 | 2507265.9384 | 1140490.1309 | 2507269.5727 | 1140485.4277 | 2507272.827 | 1140480.5191 | 2507276.038 | 1140474.7885 | 2507276.8348 | 1140472.2481
19 | 2507272.1844 | 1140377.4549 | 2507182.1168 | 1140294.1558
20 | 2507330.8589 | 1140490.6588 | 2507348.8343 | 1140499.2183
21 | 2507263.8257 | 1140522.2383 | 2507243.2105 | 1140512.9055
22 | 2507197.9348 | 1140561.1316 | 2507199.4992 | 1140559.3509 | 2507206.5 | 1140551.5384 | 2507222.3298 | 1140534.2731 | 2507232.6309 | 1140523.5414 | 2507243.2105 | 1140512.9055
23 | 2507491.6356 | 1140565.3633 | 2507489.5771 | 1140569.0305
24 | 2507491.6356 | 1140565.3633 | 2507504.5347 | 1140575.5493 | 2507513.2746 | 1140582.8084 | 2507513.1406 | 1140584.1001 | 2507505.3799 | 1140592.5258
25 | 2507505.3799 | 1140592.5258 | 2507491.6284 | 1140607.4555 | 2507489.3623 | 1140610.1308
26 | 2507468.0323 | 1140635.3123 | 2507489.3623 | 1140610.1308
27 | 2507437.4824 | 1140539.9239 | 2507441.0664 | 1140540.9472 | 2507448.4114 | 1140543.0023
28 | 2507448.4114 | 1140543.0023 | 2507448.5183 | 1140550.4608
29 | 2507437.4824 | 1140539.9239 | 2507426.4814 | 1140535.6681 | 2507416.7216 | 1140531.6044 | 2507406.9839 | 1140527.0285
30 | 2507461.9294 | 1140596.9718 | 2507459.8977 | 1140592.3669 | 2507457.3994 | 1140586.4239 | 2507453.0234 | 1140570.8928 | 2507449.4327 | 1140555.4164 | 2507448.5183 | 1140550.4608
31 | 2507177.7589 | 1140293.9417 | 2507182.1168 | 1140294.1558
32 | 2507420.9656 | 1140595.0549 | 2507427.8979 | 1140598.9264
33 | 2507420.9656 | 1140595.0549 | 2507413.7204 | 1140591.0086 | 2507413.7204 | 1140591.0086
34 | 2507413.7204 | 1140591.0086 | 2507403.5412 | 1140604.0448
35 | 2507403.5412 | 1140604.0448 | 2507396.2086 | 1140613.4356 | 2507355.5753 | 1140670.5626
36 | 2507468.0323 | 1140635.3123 | 2507456.6851 | 1140603.5007
37 | 2507447.2663 | 1140607.6145 | 2507453.0435 | 1140607.7369 | 2507456.6851 | 1140603.5007
38 | 2507461.9294 | 1140596.9718 | 2507456.6851 | 1140603.5007
39 | 2507399.9975 | 1140523.7455 | 2507406.9839 | 1140527.0285
40 | 2507354.0533 | 1140501.7034 | 2507348.8343 | 1140499.2183
41 | 2507354.0533 | 1140501.7034 | 2507364.777 | 1140506.8099 | 2507372.6285 | 1140510.5828
42 | 2507383.743 | 1140515.9239 | 2507372.6285 | 1140510.5828
43 | 2507380.2708 | 1140523.1705 | 2507383.743 | 1140515.9239
44 | 2507399.9975 | 1140523.7455 | 2507383.743 | 1140515.9239
45 | 2507380.2708 | 1140523.1705 | 2507368.2818 | 1140548.181
46 | 2507399.9975 | 1140523.7455 | 2507397.753 | 1140532.8188 | 2507397.8904 | 1140541.7554 | 2507401.8877 | 1140547.1528 | 2507411.4032 | 1140555.3338 | 2507420.6638 | 1140560.9393
47 | 2507197.9348 | 1140561.1316 | 2507205.6149 | 1140568.4622 | 2507209.1363 | 1140571.9101 | 2507267.7281 | 1140630.3547 | 2507284.7132 | 1140647.6816 | 2507290.8779 | 1140654.0221
48 | 2507321.8797 | 1140686.1776 | 2507301.5832 | 1140665.0326 | 2507290.8779 | 1140654.0221
49 | 2507167.4822 | 1140597.1001 | 2507187.5684 | 1140573.1096 | 2507197.9348 | 1140561.1316
50 | 2507193.5704 | 1140553.8833 | 2507195.7872 | 1140556.006 | 2507199.4992 | 1140559.3509 | 2507197.9348 | 1140561.1316
51 | 2507335.4905 | 1140700.1323 | 2507321.8797 | 1140686.1776
52 | 2507321.8797 | 1140686.1776 | 2507306.8946 | 1140705.0566
53 | 2507167.4822 | 1140597.1001 | 2507188.3922 | 1140615.2805
54 | 2507193.5704 | 1140553.8833 | 2507195.4474 | 1140549.9298 | 2507198.9865 | 1140545.039 | 2507207.6589 | 1140534.1863
55 | 2507335.4905 | 1140700.1323 | 2507340.1854 | 1140695.8909 | 2507347.5969 | 1140681.7796 | 2507355.5753 | 1140670.5626
56 | 2507291.6361 | 1140721.2417 | 2507302.0018 | 1140711.2207 | 2507306.8946 | 1140705.0566
57 | 2507207.6589 | 1140534.1863 | 2507212.1371 | 1140528.5822 | 2507225.0507 | 1140509.7519
58 | 2507244.5679 | 1140475.9609 | 2507242.4568 | 1140481.4426 | 2507237.3546 | 1140491.7051 | 2507233.324 | 1140498.1376 | 2507225.9538 | 1140508.4351 | 2507225.0507 | 1140509.7519
59 | 2507261.0714 | 1140680.4874 | 2507253.3882 | 1140673.059
60 | 2507257.5319 | 1140688.3466 | 2507261.0714 | 1140680.4874

## bus_geodata
| x | y | coords
0 | 2507233.8298 | 1140655.2071
1 | 2507248.945 | 1140668.7631
2 | 2507231.9865 | 1140653.5908
3 | 2507231.4789 | 1140653.1458
4 | 2507216.8057 | 1140640.2199
5 | 2507210.8346 | 1140634.9567
6 | 2507202.8189 | 1140627.8915
7 | 2507188.396 | 1140615.2838
8 | 2507279.4422 | 1140449.033
9 | 2507286.173 | 1140418.2762
10 | 2507277.9513 | 1140468.6887
11 | 2507275.7587 | 1140395.0024
12 | 2507303.1491 | 1140407.4071
13 | 2507305.7483 | 1140479.1523
14 | 2507276.8348 | 1140472.2481
15 | 2507272.1844 | 1140377.4549
16 | 2507329.9281 | 1140395.2167
17 | 2507330.8589 | 1140490.6588
18 | 2507243.2105 | 1140512.9055
19 | 2507489.5771 | 1140569.0305
20 | 2507491.6356 | 1140565.3633
21 | 2507505.3799 | 1140592.5258
22 | 2507489.3623 | 1140610.1308
23 | 2507448.4114 | 1140543.0023
24 | 2507437.4824 | 1140539.9239
25 | 2507448.5183 | 1140550.4608
26 | 2507182.1168 | 1140294.1558
27 | 2507427.8979 | 1140598.9264
28 | 2507420.9656 | 1140595.0549
29 | 2507413.7204 | 1140591.0086
30 | 2507403.5412 | 1140604.0448
31 | 2507468.0323 | 1140635.3123
32 | 2507456.6851 | 1140603.5007
33 | 2507447.2663 | 1140607.6145
34 | 2507461.9294 | 1140596.9718
35 | 2507406.9839 | 1140527.0285
36 | 2507263.8257 | 1140522.2383
37 | 2507354.0533 | 1140501.7034
38 | 2507348.8343 | 1140499.2183
39 | 2507372.6285 | 1140510.5828
40 | 2507383.743 | 1140515.9239
41 | 2507380.2708 | 1140523.1705
42 | 2507399.9975 | 1140523.7455
43 | 2507290.8779 | 1140654.0221
44 | 2507197.9348 | 1140561.1316
45 | 2507321.8797 | 1140686.1776
46 | 2507167.4822 | 1140597.1001
47 | 2507193.5704 | 1140553.8833
48 | 2507335.4905 | 1140700.1323
49 | 2507306.8946 | 1140705.0566
50 | 2507188.3922 | 1140615.2805
51 | 2507207.6589 | 1140534.1863
52 | 2507355.5753 | 1140670.5626
53 | 2507291.6361 | 1140721.2417
54 | 2507244.5679 | 1140475.9609
55 | 2507225.0507 | 1140509.7519
56 | 2507177.7589 | 1140293.9417
57 | 2507420.6638 | 1140560.9393
58 | 2507368.2818 | 1140548.181
59 | 2507261.0714 | 1140680.4874
60 | 2507253.3882 | 1140673.059
61 | 2507257.5319 | 1140688.3466
62 | 2507380.2708 | 1140523.1705

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1