## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5746-1_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_5746-1_1_2_node_97 | 0.4 | n |  | TRUE
2 | bus_LV_5746-1_1_2_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_5746-1_1_2_node_109 | 0.4 | n |  | TRUE
4 | bus_LV_5746-1_1_2_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_5746-1_1_2_node_149 | 0.4 | n |  | TRUE
6 | bus_LV_5746-1_1_2_node_115 | 0.4 | n |  | TRUE
7 | bus_LV_5746-1_1_2_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_5746-1_1_2_node_120 | 0.4 | n |  | TRUE
9 | bus_LV_5746-1_1_2_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_5746-1_1_2_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_5746-1_1_2_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_5746-1_1_2_node_133 | 0.4 | n |  | TRUE
13 | bus_LV_5746-1_1_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5746-1_1_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5746-1_1_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_5746-1_1_2_node_127 | 0.4 | n |  | TRUE
17 | bus_LV_5746-1_1_2_node_135 | 0.4 | n |  | TRUE
18 | bus_LV_5746-1_1_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5746-1_1_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5746-1_1_2_node_167 | 0.4 | n |  | TRUE
21 | bus_LV_5746-1_1_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5746-1_1_2_node_219 | 0.4 | n |  | TRUE
23 | bus_LV_5746-1_1_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5746-1_1_2_node_189 | 0.4 | n |  | TRUE
25 | bus_LV_5746-1_1_2_node_220 | 0.4 | n |  | TRUE
26 | bus_LV_5746-1_1_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5746-1_1_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5746-1_1_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5746-1_1_2_node_190 | 0.4 | n |  | TRUE
30 | bus_LV_5746-1_1_2_node_150 | 0.4 | n |  | TRUE
31 | bus_LV_5746-1_1_2_node_151 | 0.4 | n |  | TRUE
32 | bus_LV_5746-1_1_2_node_168 | 0.4 | n |  | TRUE
33 | bus_LV_5746-1_1_2_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_5746-1_1_2_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_5746-1_1_2_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_5746-1_1_2_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_5746-1_1_2_node_126 | 0.4 | n |  | TRUE
38 | bus_LV_5746-1_1_2_node_222 | 0.4 | n |  | TRUE
39 | bus_LV_5746-1_1_2_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_5746-1_1_2_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_5746-1_1_2_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_5746-1_1_2_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_5746-1_1_2_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_5746-1_1_2_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_5746-1_1_2_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_5746-1_1_2_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_5746-1_1_2_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_5746-1_1_2_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_5746-1_1_2_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_5746-1_1_2_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_5746-1_1_2_node_125 | 0.4 | n |  | TRUE
52 | bus_LV_5746-1_1_2_node_119 | 0.4 | n |  | TRUE
53 | bus_LV_5746-1_1_2_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_5746-1_1_2_node_118 | 0.4 | n |  | TRUE
55 | bus_MV_449_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5746-1_1_2_load_128 | 0 | 0.00037453 | 9.3867e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5746-1_1_2_load_149 | 5 | 0.0021301 | 0.00053385 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5746-1_1_2_load_131 | 7 | 0.0014862 | 0.00037247 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5746-1_1_2_load_136 | 10 | 0.0022853 | 0.00057275 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5746-1_1_2_load_134 | 11 | 0.0027324 | 0.00068481 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5746-1_1_2_load_133 | 12 | 0.0022929 | 0.00057467 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5746-1_1_2_load_127 | 16 | 0.0043411 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5746-1_1_2_load_135 | 17 | 0.0016754 | 0.0004199 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5746-1_1_2_load_167 | 20 | 0.0048995 | 0.0012279 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5746-1_1_2_load_219 | 22 | 0.0039696 | 0.00099488 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5746-1_1_2_load_189 | 24 | 0.0052795 | 0.0013232 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5746-1_1_2_load_220 | 25 | 0.0025551 | 0.00064036 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5746-1_1_2_load_20 | 26 | 0.0013644 | 0.00034195 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5746-1_1_2_load_21 | 27 | 0.003571 | 0.00089498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5746-1_1_2_load_22 | 28 | 0.0025062 | 0.00062812 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5746-1_1_2_load_190 | 29 | 0.00039989 | 0.00010022 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5746-1_1_2_load_150 | 30 | 0.0024359 | 0.00061051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5746-1_1_2_load_151 | 31 | 0.0013619 | 0.00034132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5746-1_1_2_load_168 | 32 | 0.0021164 | 0.00053041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5746-1_1_2_load_93 | 33 | 0.00091843 | 0.00023018 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5746-1_1_2_load_94 | 34 | 0.0024759 | 0.00062052 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5746-1_1_2_load_96 | 36 | 0.00077788 | 0.00019495 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5746-1_1_2_load_126 | 37 | 0.0076147 | 0.0019084 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5746-1_1_2_load_222 | 38 | 0.0013327 | 0.00033402 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5746-1_1_2_load_101 | 39 | 0.0031167 | 0.00078111 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5746-1_1_2_load_102 | 40 | 0.0011421 | 0.00028624 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5746-1_1_2_load_105 | 43 | 0.0028903 | 0.00072437 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5746-1_1_2_load_106 | 44 | 0.0060249 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5746-1_1_2_load_108 | 45 | 0.00052526 | 0.00013164 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5746-1_1_2_load_111 | 46 | 0.0009551 | 0.00023937 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5746-1_1_2_load_112 | 47 | 0.00058474 | 0.00014655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5746-1_1_2_load_114 | 49 | 0.00080898 | 0.00020275 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5746-1_1_2_load_116 | 50 | 0.00056541 | 0.0001417 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5746-1_1_2_load_125 | 51 | 0.0021836 | 0.00054727 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5746-1_1_2_load_119 | 52 | 0.00142 | 0.00035588 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5746-1_1_2_load_117 | 53 | 0.002333 | 0.00058469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5746-1_1_2_load_118 | 54 | 0.00043921 | 0.00011008 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5746-1_1_2_line_0 |  | 0 | 1 | 0.040261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5746-1_1_2_line_1 |  | 0 | 2 | 0.0024403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5746-1_1_2_line_2 |  | 1 | 4 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5746-1_1_2_line_3 |  | 1 | 35 | 0.02904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5746-1_1_2_line_4 |  | 2 | 3 | 0.023682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5746-1_1_2_line_5 |  | 3 | 38 | 0.047716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5746-1_1_2_line_6 |  | 3 | 42 | 0.003503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5746-1_1_2_line_7 |  | 4 | 5 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5746-1_1_2_line_8 |  | 4 | 6 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5746-1_1_2_line_9 |  | 6 | 30 | 0.026544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5746-1_1_2_line_10 |  | 6 | 48 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5746-1_1_2_line_11 |  | 7 | 8 | 0.026652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5746-1_1_2_line_12 |  | 8 | 9 | 0.014007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5746-1_1_2_line_13 |  | 8 | 54 | 0.0073207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5746-1_1_2_line_14 |  | 9 | 10 | 0.035362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5746-1_1_2_line_15 |  | 9 | 11 | 0.025911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5746-1_1_2_line_16 |  | 11 | 17 | 0.010503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5746-1_1_2_line_17 |  | 12 | 13 | 0.023552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5746-1_1_2_line_18 |  | 13 | 14 | 0.76849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5746-1_1_2_line_19 |  | 13 | 15 | 0.67696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5746-1_1_2_line_20 |  | 14 | 16 | 0.091715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5746-1_1_2_line_21 |  | 15 | 25 | 0.008736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5746-1_1_2_line_22 |  | 15 | 21 | 0.14776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5746-1_1_2_line_23 |  | 16 | 37 | 0.03998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5746-1_1_2_line_24 |  | 17 | 18 | 0.098291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5746-1_1_2_line_25 |  | 18 | 19 | 0.065291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5746-1_1_2_line_26 |  | 19 | 20 | 0.051391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5746-1_1_2_line_27 |  | 20 | 32 | 0.01815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5746-1_1_2_line_28 |  | 21 | 22 | 0.070431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5746-1_1_2_line_29 |  | 21 | 23 | 0.042935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5746-1_1_2_line_30 |  | 23 | 24 | 0.0096757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5746-1_1_2_line_31 |  | 24 | 29 | 0.031574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5746-1_1_2_line_32 |  | 26 | 27 | 0.002082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5746-1_1_2_line_33 |  | 27 | 28 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5746-1_1_2_line_34 |  | 28 | 29 | 0.84579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5746-1_1_2_line_35 |  | 30 | 31 | 0.033849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5746-1_1_2_line_36 |  | 33 | 34 | 0.0015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5746-1_1_2_line_37 |  | 33 | 35 | 0.020655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5746-1_1_2_line_38 |  | 35 | 36 | 0.028119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5746-1_1_2_line_39 |  | 36 | 37 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5746-1_1_2_line_40 |  | 39 | 40 | 0.0011627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5746-1_1_2_line_41 |  | 39 | 41 | 0.025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5746-1_1_2_line_42 |  | 40 | 42 | 0.040892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5746-1_1_2_line_43 |  | 41 | 43 | 0.069212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5746-1_1_2_line_44 |  | 41 | 44 | 0.048473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5746-1_1_2_line_45 |  | 42 | 45 | 0.0073148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5746-1_1_2_line_46 |  | 46 | 47 | 0.0083423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5746-1_1_2_line_47 |  | 46 | 48 | 0.012804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5746-1_1_2_line_48 |  | 47 | 49 | 0.0094562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5746-1_1_2_line_49 |  | 48 | 50 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5746-1_1_2_line_50 |  | 49 | 51 | 0.035488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5746-1_1_2_line_51 |  | 50 | 52 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5746-1_1_2_line_52 |  | 52 | 53 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5746-1_1_2_line_53 |  | 53 | 54 | 0.0082761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5746-1_1_2_trafo_222 | 0.63 MVA 20/0.4 kV | 55 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64
0 | 2533333.4404 | 1170130.57 | 2533335.3297 | 1170120.8769 | 2533332.5961 | 1170095.9488 | 2533331.558 | 1170090.7435
1 | 2533331.0807 | 1170088.3503 | 2533331.558 | 1170090.7435
2 | 2533333.4404 | 1170130.57 | 2533337.6219 | 1170135.026 | 2533347.4905 | 1170143.0986
3 | 2533333.4404 | 1170130.57 | 2533321.8655 | 1170134.1896 | 2533305.142 | 1170137.1996
4 | 2533327.2328 | 1170065.0467 | 2533327.2879 | 1170069.3151 | 2533331.0807 | 1170088.3503
5 | 2533327.2328 | 1170065.0467 | 2533280.7205 | 1170076.2704
6 | 2533327.1862 | 1170061.5452 | 2533327.2328 | 1170065.0467
7 | 2533347.4905 | 1170143.0986 | 2533361.6237 | 1170134.3372
8 | 2533347.4905 | 1170143.0986 | 2533356.3996 | 1170150.9039 | 2533361.0629 | 1170153.2757
9 | 2533361.0629 | 1170153.2757 | 2533382.2843 | 1170137.3303
10 | 2533367.8853 | 1170163.3388 | 2533365.6342 | 1170159.7618 | 2533363.3012 | 1170157.0751 | 2533361.0629 | 1170153.2757
11 | 2533431.2052 | 1170182.8908 | 2533430.5946 | 1170203.6871 | 2533436.3845 | 1170202.7889
12 | 2533444.7612 | 1170179.216 | 2533431.2052 | 1170182.8908
13 | 2533431.2052 | 1170182.8908 | 2533424.0842 | 1170184.589
14 | 2533444.7612 | 1170179.216 | 2533442.2912 | 1170162.812 | 2533451.385 | 1170146.3882
15 | 2533444.7612 | 1170179.216 | 2533449.324 | 1170178.0536 | 2533454.1843 | 1170176.8212 | 2533462.1694 | 1170175.8431 | 2533470.3121 | 1170175.9751
16 | 2533470.3121 | 1170175.9751 | 2533478.5384 | 1170177.429 | 2533480.5684 | 1170178.1337
17 | 2533102.928 | 1170206.7361 | 2533110.0403 | 1170210.5144 | 2533112.4186 | 1170213.823 | 2533114.219 | 1170217.4606 | 2533115.3603 | 1170224.7364
18 | 2533102.928 | 1170206.7361 | 2533103.611 | 1170223.36 | 2533107.3514 | 1170246.5535 | 2533116.879 | 1170274.1072 | 2533118.4681 | 1170280.0595 | 2533123.2511 | 1170297.9606 | 2533126.7217 | 1170320.3011 | 2533129.2127 | 1170353.5921 | 2533131.2286 | 1170397.1052 | 2533133.6218 | 1170416.1559 | 2533138.1551 | 1170435.0048 | 2533145.8391 | 1170454.3967 | 2533156.2871 | 1170472.5904 | 2533165.2686 | 1170486.2201 | 2533166.9138 | 1170490.3486 | 2533167.5385 | 1170494.2216 | 2533167.6422 | 1170498.0337 | 2533166.9349 | 1170501.8437 | 2533165.3373 | 1170506.0972 | 2533169.7374 | 1170508.216 | 2533171.7548 | 1170510.0501 | 2533173.0357 | 1170513.0709 | 2533173.9372 | 1170518.4416 | 2533175.3893 | 1170549.8542 | 2533176.6405 | 1170555.021 | 2533179.0608 | 1170559.3631 | 2533183.7745 | 1170562.1677 | 2533188.6001 | 1170564.0261 | 2533226.0094 | 1170575.9715 | 2533230.4929 | 1170576.6553 | 2533237.383 | 1170577.7125 | 2533246.8524 | 1170576.1061 | 2533252.9208 | 1170572.77 | 2533256.4274 | 1170566.8054 | 2533251.1196 | 1170559.4381 | 2533247.5601 | 1170552.4072 | 2533245.2154 | 1170545.2292 | 2533243.248 | 1170537.5802 | 2533242.842 | 1170532.0483 | 2533242.9019 | 1170526.4333 | 2533244.3295 | 1170520.6586 | 2533246.363 | 1170515.0106 | 2533248.5059 | 1170510.2507 | 2533251.3923 | 1170505.616 | 2533258.9348 | 1170497.2384 | 2533264.901 | 1170487.4665 | 2533265.5615 | 1170480.8221 | 2533267.3097 | 1170474.9771 | 2533267.906 | 1170468.7447 | 2533267.3694 | 1170460.4127 | 2533264.8114 | 1170451.2582 | 2533261.8943 | 1170443.5197 | 2533252.4356 | 1170424.8256 | 2533245.4162 | 1170402.5579 | 2533242.9257 | 1170391.913 | 2533241.4878 | 1170385.7811 | 2533240.9779 | 1170374.3581 | 2533240.4192 | 1170361.9796 | 2533241.2155 | 1170348.9857 | 2533242.8736 | 1170315.8152 | 2533246.0221 | 1170281.8166 | 2533246.7003 | 1170277.451 | 2533247.3716 | 1170273.1411 | 2533247.6362 | 1170271.4817 | 2533248.3301 | 1170267.1493
19 | 2532980.7814 | 1170201.5084 | 2532980.7764 | 1170211.3251 | 2532979.284 | 1170220.1801 | 2532999.5064 | 1170261.8664 | 2533008.3134 | 1170282.4129 | 2533012.9869 | 1170298.7032 | 2533016.5579 | 1170320.4088 | 2533018.8516 | 1170342.8403 | 2533021.0499 | 1170355.3672 | 2533023.1859 | 1170361.6469 | 2533025.3772 | 1170366.703 | 2533028.5809 | 1170371.9813 | 2533032.7501 | 1170378.0715 | 2533034.5548 | 1170380.7195 | 2533045.4702 | 1170394.8277 | 2533048.1607 | 1170397.9994 | 2533051.7892 | 1170402.2724 | 2533057.1047 | 1170408.2387 | 2533061.2507 | 1170412.2613 | 2533066.1786 | 1170416.4086 | 2533077.1704 | 1170422.3003 | 2533092.0122 | 1170429.0051 | 2533099.7248 | 1170432.4432 | 2533112.5275 | 1170439.4821 | 2533120.5739 | 1170446.096 | 2533128.3705 | 1170453.6355 | 2533131.577 | 1170457.8021 | 2533135.4824 | 1170462.8947 | 2533142.5759 | 1170473.944 | 2533151.1006 | 1170488.4571 | 2533154.3165 | 1170494.1578 | 2533156.3653 | 1170496.7475 | 2533158.6345 | 1170497.834 | 2533162.1118 | 1170498.1621 | 2533167.6422 | 1170498.0337 | 2533167.5385 | 1170494.2216 | 2533166.9138 | 1170490.3486 | 2533165.2686 | 1170486.2201 | 2533156.2871 | 1170472.5904 | 2533145.8391 | 1170454.3967 | 2533138.1551 | 1170435.0048 | 2533133.6218 | 1170416.1559 | 2533131.2286 | 1170397.1052 | 2533129.2127 | 1170353.5921 | 2533126.7217 | 1170320.3011 | 2533123.2511 | 1170297.9606 | 2533118.4681 | 1170280.0595 | 2533116.879 | 1170274.1072 | 2533107.3514 | 1170246.5535 | 2533103.611 | 1170223.36 | 2533102.928 | 1170206.7361
20 | 2533248.3301 | 1170267.1493 | 2533246.291 | 1170262.0025 | 2533244.6538 | 1170255.1502 | 2533243.6713 | 1170232.2038 | 2533241.8122 | 1170195.8263 | 2533242.3014 | 1170178.6111 | 2533242.477 | 1170176.0982
21 | 2532987.0619 | 1170196.591 | 2532982.7206 | 1170197.7068 | 2532980.7814 | 1170201.5084
22 | 2532926.7868 | 1170102.6122 | 2532940.4628 | 1170141.1142 | 2532959.4898 | 1170181.9132 | 2532978.4616 | 1170218.4884 | 2532979.284 | 1170220.1801 | 2532980.7764 | 1170211.3251 | 2532980.7814 | 1170201.5084
23 | 2533242.477 | 1170176.0982 | 2533242.8821 | 1170170.3 | 2533243.9805 | 1170165.8742 | 2533245.4769 | 1170161.455 | 2533246.9874 | 1170158.3031 | 2533248.5132 | 1170155.8292 | 2533251.4278 | 1170152.3392 | 2533254.1025 | 1170149.9748 | 2533257.9845 | 1170147.4635 | 2533263.1718 | 1170144.8695
24 | 2533540.8384 | 1170249.9455 | 2533537.6111 | 1170238.3637 | 2533534.6778 | 1170231.2144 | 2533530.7845 | 1170223.053 | 2533526.969 | 1170217.0808 | 2533522.2122 | 1170209.7183 | 2533517.2269 | 1170202.4473 | 2533512.931 | 1170197.3143 | 2533508.1443 | 1170192.7759 | 2533501.2411 | 1170187.1271 | 2533494.5953 | 1170183.2986 | 2533487.7251 | 1170180.6178 | 2533480.5684 | 1170178.1337
25 | 2533540.8384 | 1170249.9455 | 2533542.2493 | 1170250.2189 | 2533543.0891 | 1170250.7321 | 2533544.0702 | 1170251.5772 | 2533545.9401 | 1170254.6027 | 2533547.6102 | 1170257.5525 | 2533552.3495 | 1170268.1726 | 2533554.7926 | 1170273.215 | 2533556.8026 | 1170276.4501 | 2533559.2428 | 1170279.8472 | 2533561.1729 | 1170282.0937 | 2533563.6438 | 1170284.1119 | 2533566.8778 | 1170285.9549 | 2533570.5196 | 1170287.3042 | 2533578.4427 | 1170288.3503 | 2533581.6814 | 1170288.5368 | 2533583.6421 | 1170289.4044 | 2533585.5096 | 1170290.8401
26 | 2533585.5096 | 1170290.8401 | 2533627.2696 | 1170260.8882
27 | 2533627.2696 | 1170260.8882 | 2533642.0185 | 1170250.3098
28 | 2532926.7868 | 1170102.6122 | 2532952.7557 | 1170095.6956 | 2532965.7323 | 1170137.3517
29 | 2532912.4153 | 1170062.1502 | 2532926.7868 | 1170102.6122
30 | 2532912.4153 | 1170062.1502 | 2532920.7544 | 1170057.243 | 2532920.7544 | 1170057.243
31 | 2532909.4771 | 1170027.8029 | 2532910.1647 | 1170030.6243 | 2532914.6227 | 1170043.3372 | 2532920.7544 | 1170057.243
32 | 2532212.9389 | 1169537.2768 | 2532212.7244 | 1169539.3477
33 | 2532211.628 | 1169549.933 | 2532212.7244 | 1169539.3477
34 | 2532909.4771 | 1170027.8029 | 2532211.628 | 1169549.933
35 | 2533382.2843 | 1170137.3303 | 2533389.1317 | 1170132.1852 | 2533408.7487 | 1170116.2329
36 | 2533310.2001 | 1170157.2256 | 2533310.5883 | 1170158.7629
37 | 2533305.142 | 1170137.1996 | 2533310.2001 | 1170157.2256
38 | 2533305.142 | 1170137.1996 | 2533277.3634 | 1170141.5625
39 | 2533277.3634 | 1170141.5625 | 2533269.8684 | 1170142.7396 | 2533263.7827 | 1170144.564 | 2533263.1718 | 1170144.8695
40 | 2533366.8043 | 1170051.3186 | 2533365.8552 | 1170051.9902
41 | 2533387.648 | 1170036.5702 | 2533366.8043 | 1170051.3186
42 | 2533327.1862 | 1170061.5452 | 2533356.6801 | 1170058.4822 | 2533365.8552 | 1170051.9902
43 | 2533437.9603 | 1169991.9753 | 2533434.3773 | 1170003.5104 | 2533387.648 | 1170036.5702
44 | 2533385.6738 | 1169996.6475 | 2533373.1346 | 1170010.6058 | 2533380.7054 | 1170023.9625 | 2533387.648 | 1170036.5702
45 | 2533327.1862 | 1170061.5452 | 2533327.0971 | 1170054.231
46 | 2533358.4452 | 1170171.9888 | 2533352.2945 | 1170177.6246
47 | 2533367.8853 | 1170163.3388 | 2533358.4452 | 1170171.9888
48 | 2533345.3226 | 1170184.013 | 2533352.2945 | 1170177.6246
49 | 2533367.8853 | 1170163.3388 | 2533380.7711 | 1170170.7083
50 | 2533318.0991 | 1170206.7387 | 2533319.7428 | 1170205.4088 | 2533334.8837 | 1170193.5782 | 2533345.3226 | 1170184.013
51 | 2533395.0191 | 1170178.8568 | 2533380.7711 | 1170170.7083
52 | 2533415.8712 | 1170184.8843 | 2533412.2194 | 1170184.7583 | 2533405.1944 | 1170183.3022 | 2533398.3948 | 1170180.7874 | 2533395.0191 | 1170178.8568
53 | 2533415.8712 | 1170184.8843 | 2533421.9636 | 1170185.0947 | 2533424.0842 | 1170184.589

## bus_geodata
| x | y | coords
0 | 2533331.558 | 1170090.7435
1 | 2533333.4404 | 1170130.57
2 | 2533331.0807 | 1170088.3503
3 | 2533327.2328 | 1170065.0467
4 | 2533347.4905 | 1170143.0986
5 | 2533361.6237 | 1170134.3372
6 | 2533361.0629 | 1170153.2757
7 | 2533436.3845 | 1170202.7889
8 | 2533431.2052 | 1170182.8908
9 | 2533444.7612 | 1170179.216
10 | 2533451.385 | 1170146.3882
11 | 2533470.3121 | 1170175.9751
12 | 2533115.3603 | 1170224.7364
13 | 2533102.928 | 1170206.7361
14 | 2533248.3301 | 1170267.1493
15 | 2532980.7814 | 1170201.5084
16 | 2533242.477 | 1170176.0982
17 | 2533480.5684 | 1170178.1337
18 | 2533540.8384 | 1170249.9455
19 | 2533585.5096 | 1170290.8401
20 | 2533627.2696 | 1170260.8882
21 | 2532926.7868 | 1170102.6122
22 | 2532965.7323 | 1170137.3517
23 | 2532912.4153 | 1170062.1502
24 | 2532920.7544 | 1170057.243
25 | 2532987.0619 | 1170196.591
26 | 2532212.9389 | 1169537.2768
27 | 2532212.7244 | 1169539.3477
28 | 2532211.628 | 1169549.933
29 | 2532909.4771 | 1170027.8029
30 | 2533382.2843 | 1170137.3303
31 | 2533408.7487 | 1170116.2329
32 | 2533642.0185 | 1170250.3098
33 | 2533310.2001 | 1170157.2256
34 | 2533310.5883 | 1170158.7629
35 | 2533305.142 | 1170137.1996
36 | 2533277.3634 | 1170141.5625
37 | 2533263.1718 | 1170144.8695
38 | 2533280.7205 | 1170076.2704
39 | 2533366.8043 | 1170051.3186
40 | 2533365.8552 | 1170051.9902
41 | 2533387.648 | 1170036.5702
42 | 2533327.1862 | 1170061.5452
43 | 2533437.9603 | 1169991.9753
44 | 2533385.6738 | 1169996.6475
45 | 2533327.0971 | 1170054.231
46 | 2533358.4452 | 1170171.9888
47 | 2533352.2945 | 1170177.6246
48 | 2533367.8853 | 1170163.3388
49 | 2533345.3226 | 1170184.013
50 | 2533380.7711 | 1170170.7083
51 | 2533318.0991 | 1170206.7387
52 | 2533395.0191 | 1170178.8568
53 | 2533415.8712 | 1170184.8843
54 | 2533424.0842 | 1170184.589
55 | 2533327.2328 | 1170065.0467

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1