## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5749-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5749-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5749-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5749-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5749-2_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_5749-2_0_5_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_5749-2_0_5_node_100 | 0.4 | n |  | TRUE
7 | bus_LV_5749-2_0_5_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_5749-2_0_5_node_97 | 0.4 | n |  | TRUE
9 | bus_LV_5749-2_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5749-2_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5749-2_0_5_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_5749-2_0_5_node_212 | 0.4 | n |  | TRUE
13 | bus_LV_5749-2_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5749-2_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5749-2_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5749-2_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5749-2_0_5_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_5749-2_0_5_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_5749-2_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5749-2_0_5_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_5749-2_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5749-2_0_5_node_211 | 0.4 | n |  | TRUE
23 | bus_LV_5749-2_0_5_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_5749-2_0_5_node_215 | 0.4 | n |  | TRUE
25 | bus_LV_5749-2_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5749-2_0_5_node_214 | 0.4 | n |  | TRUE
27 | bus_LV_5749-2_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5749-2_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5749-2_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5749-2_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_5749-2_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5749-2_0_5_node_209 | 0.4 | n |  | TRUE
33 | bus_LV_5749-2_0_5_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5749-2_0_5_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_5749-2_0_5_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_5749-2_0_5_node_210 | 0.4 | n |  | TRUE
37 | bus_LV_5749-2_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_5749-2_0_5_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_5749-2_0_5_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_5749-2_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5749-2_0_5_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_5749-2_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_5749-2_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5749-2_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5749-2_0_5_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_5749-2_0_5_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_5749-2_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_5749-2_0_5_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_5749-2_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_5749-2_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_5749-2_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5749-2_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5749-2_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5749-2_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_5749-2_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5749-2_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5749-2_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5749-2_0_5_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_5749-2_0_5_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5749-2_0_5_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_5749-2_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5749-2_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5749-2_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_5749-2_0_5_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_5749-2_0_5_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5749-2_0_5_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5749-2_0_5_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5749-2_0_5_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_5749-2_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5749-2_0_5_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_5749-2_0_5_node_213 | 0.4 | n |  | TRUE
72 | bus_LV_5749-2_0_5_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_5749-2_0_5_node_196 | 0.4 | n |  | TRUE
74 | bus_LV_5749-2_0_5_node_206 | 0.4 | n |  | TRUE
75 | bus_LV_5749-2_0_5_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_5749-2_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5749-2_0_5_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_5749-2_0_5_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_5749-2_0_5_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_5749-2_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5749-2_0_5_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_5749-2_0_5_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_5749-2_0_5_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_5749-2_0_5_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_5749-2_0_5_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_5749-2_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_5749-2_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_5749-2_0_5_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_5749-2_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_5749-2_0_5_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_5749-2_0_5_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5749-2_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_5749-2_0_5_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_5749-2_0_5_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_5749-2_0_5_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_5749-2_0_5_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_5749-2_0_5_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_5749-2_0_5_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_5749-2_0_5_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_5749-2_0_5_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_5749-2_0_5_node_208 | 0.4 | n |  | TRUE
102 | bus_MV_449_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5749-2_0_5_load_0 | 0 | 0.00053138 | 0.00013318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5749-2_0_5_load_1 | 1 | 0.00017514 | 4.3895e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5749-2_0_5_load_3 | 3 | 0.0020162 | 0.0005053 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5749-2_0_5_load_89 | 5 | 0.00055892 | 0.00014008 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5749-2_0_5_load_100 | 6 | 0.0026191 | 0.00065641 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5749-2_0_5_load_4 | 9 | 0.00019356 | 4.8512e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5749-2_0_5_load_5 | 10 | 0.00037701 | 9.4488e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5749-2_0_5_load_50 | 11 | 0.0011075 | 0.00027755 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5749-2_0_5_load_212 | 12 | 0.0010975 | 0.00027506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5749-2_0_5_load_6 | 13 | 0.0014076 | 0.00035277 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5749-2_0_5_load_67 | 18 | 0.011114 | 0.0027855 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5749-2_0_5_load_90 | 20 | 0.010696 | 0.0026808 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5749-2_0_5_load_211 | 22 | 0.013915 | 0.0034875 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5749-2_0_5_load_215 | 24 | 0.013917 | 0.0034879 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5749-2_0_5_load_214 | 26 | 0.013647 | 0.0034203 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5749-2_0_5_load_36 | 30 | 0.021966 | 0.0055051 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5749-2_0_5_load_209 | 32 | 0.010383 | 0.0026023 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5749-2_0_5_load_56 | 34 | 0.012606 | 0.0031594 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5749-2_0_5_load_210 | 36 | 0.013646 | 0.0034199 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5749-2_0_5_load_93 | 39 | 0.010995 | 0.0027555 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5749-2_0_5_load_18 | 41 | 0.017357 | 0.0043502 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5749-2_0_5_load_29 | 44 | 0.0070072 | 0.0017562 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5749-2_0_5_load_22 | 45 | 0.013866 | 0.0034753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5749-2_0_5_load_26 | 49 | 0.0043888 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5749-2_0_5_load_32 | 51 | 0.013056 | 0.003272 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5749-2_0_5_load_40 | 53 | 0.0021859 | 0.00054783 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5749-2_0_5_load_39 | 56 | 0.012978 | 0.0032527 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5749-2_0_5_load_44 | 57 | 0.022784 | 0.0057102 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5749-2_0_5_load_65 | 58 | 0.016623 | 0.0041662 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5749-2_0_5_load_31 | 60 | 0.01372 | 0.0034386 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5749-2_0_5_load_53 | 61 | 0.01277 | 0.0032004 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5749-2_0_5_load_54 | 62 | 0.01503 | 0.0037668 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5749-2_0_5_load_35 | 63 | 0.011283 | 0.0028279 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5749-2_0_5_load_66 | 70 | 0.020241 | 0.005073 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5749-2_0_5_load_213 | 71 | 0.018476 | 0.0046305 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5749-2_0_5_load_196 | 73 | 0.01503 | 0.0037668 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5749-2_0_5_load_206 | 74 | 0.0012521 | 0.0003138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5749-2_0_5_load_59 | 78 | 0.0045762 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5749-2_0_5_load_60 | 79 | 0.0087224 | 0.002186 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5749-2_0_5_load_94 | 81 | 0.017431 | 0.0043687 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5749-2_0_5_load_61 | 83 | 0.013452 | 0.0033714 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5749-2_0_5_load_68 | 84 | 0.014583 | 0.0036548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5749-2_0_5_load_72 | 85 | 0.0015744 | 0.00039459 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5749-2_0_5_load_73 | 86 | 0.0011776 | 0.00029513 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5749-2_0_5_load_74 | 87 | 0.004522 | 0.0011333 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5749-2_0_5_load_76 | 88 | 0.0023309 | 0.00058418 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5749-2_0_5_load_81 | 92 | 0.00041727 | 0.00010458 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5749-2_0_5_load_87 | 94 | 0.00049407 | 0.00012383 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5749-2_0_5_load_84 | 95 | 0.0046968 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5749-2_0_5_load_80 | 96 | 0.0016147 | 0.00040468 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5749-2_0_5_load_82 | 97 | 0.0025429 | 0.00063731 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5749-2_0_5_load_85 | 98 | 0.0082421 | 0.0020657 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5749-2_0_5_load_96 | 99 | 0.0028227 | 0.00070743 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5749-2_0_5_load_208 | 101 | 0.001704 | 0.00042707 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5749-2_0_5_line_0 |  | 0 | 1 | 0.03406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5749-2_0_5_line_1 |  | 0 | 2 | 0.12757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5749-2_0_5_line_2 |  | 1 | 3 | 0.00068017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5749-2_0_5_line_3 |  | 2 | 4 | 0.060535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5749-2_0_5_line_4 |  | 3 | 9 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5749-2_0_5_line_5 |  | 4 | 5 | 0.035786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5749-2_0_5_line_6 |  | 5 | 19 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5749-2_0_5_line_7 |  | 6 | 7 | 0.4392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5749-2_0_5_line_8 |  | 6 | 8 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5749-2_0_5_line_9 |  | 7 | 98 | 0.099924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5749-2_0_5_line_10 |  | 8 | 100 | 0.018343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5749-2_0_5_line_11 |  | 8 | 99 | 0.044609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5749-2_0_5_line_12 |  | 9 | 10 | 0.0098875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5749-2_0_5_line_13 |  | 10 | 11 | 0.009472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5749-2_0_5_line_14 |  | 11 | 12 | 0.34329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5749-2_0_5_line_15 |  | 13 | 14 | 0.011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5749-2_0_5_line_16 |  | 14 | 15 | 0.019317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5749-2_0_5_line_17 |  | 15 | 24 | 0.005246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5749-2_0_5_line_18 |  | 15 | 25 | 0.023591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5749-2_0_5_line_19 |  | 16 | 17 | 0.020136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5749-2_0_5_line_20 |  | 16 | 18 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5749-2_0_5_line_21 |  | 17 | 34 | 0.015743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5749-2_0_5_line_22 |  | 18 | 27 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5749-2_0_5_line_23 |  | 19 | 20 | 0.018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5749-2_0_5_line_24 |  | 20 | 35 | 0.02292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5749-2_0_5_line_25 |  | 21 | 22 | 0.00815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5749-2_0_5_line_26 |  | 21 | 23 | 0.020749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5749-2_0_5_line_27 |  | 23 | 36 | 0.009277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5749-2_0_5_line_28 |  | 23 | 35 | 0.033409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5749-2_0_5_line_29 |  | 25 | 26 | 0.005376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5749-2_0_5_line_30 |  | 25 | 27 | 0.023929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5749-2_0_5_line_31 |  | 27 | 31 | 0.030832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5749-2_0_5_line_32 |  | 28 | 29 | 0.006116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5749-2_0_5_line_33 |  | 28 | 30 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5749-2_0_5_line_34 |  | 29 | 40 | 0.023644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5749-2_0_5_line_35 |  | 30 | 33 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5749-2_0_5_line_36 |  | 31 | 32 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5749-2_0_5_line_37 |  | 31 | 33 | 0.049929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5749-2_0_5_line_38 |  | 34 | 77 | 0.032871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5749-2_0_5_line_39 |  | 35 | 78 | 0.0087674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5749-2_0_5_line_40 |  | 37 | 38 | 0.015716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5749-2_0_5_line_41 |  | 37 | 39 | 0.020113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5749-2_0_5_line_42 |  | 38 | 57 | 0.029897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5749-2_0_5_line_43 |  | 38 | 50 | 0.034568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5749-2_0_5_line_44 |  | 39 | 67 | 0.020193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5749-2_0_5_line_45 |  | 40 | 42 | 0.060539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5749-2_0_5_line_46 |  | 40 | 41 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5749-2_0_5_line_47 |  | 42 | 43 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5749-2_0_5_line_48 |  | 43 | 44 | 0.021344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5749-2_0_5_line_49 |  | 45 | 46 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5749-2_0_5_line_50 |  | 45 | 47 | 0.027514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5749-2_0_5_line_51 |  | 46 | 48 | 0.003558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5749-2_0_5_line_52 |  | 46 | 49 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5749-2_0_5_line_53 |  | 47 | 50 | 0.000909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5749-2_0_5_line_54 |  | 48 | 51 | 0.026681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5749-2_0_5_line_55 |  | 49 | 52 | 0.023923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5749-2_0_5_line_56 |  | 50 | 53 | 0.01275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5749-2_0_5_line_57 |  | 51 | 54 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5749-2_0_5_line_58 |  | 52 | 55 | 0.039253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5749-2_0_5_line_59 |  | 53 | 56 | 0.0015719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5749-2_0_5_line_60 |  | 54 | 63 | 0.0089122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5749-2_0_5_line_61 |  | 55 | 74 | 0.037838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5749-2_0_5_line_62 |  | 55 | 75 | 0.035508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5749-2_0_5_line_63 |  | 56 | 68 | 0.041144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5749-2_0_5_line_64 |  | 58 | 59 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5749-2_0_5_line_65 |  | 59 | 70 | 0.033204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5749-2_0_5_line_66 |  | 59 | 68 | 0.00408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5749-2_0_5_line_67 |  | 60 | 61 | 0.00077133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5749-2_0_5_line_68 |  | 61 | 62 | 0.033101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5749-2_0_5_line_69 |  | 62 | 65 | 0.0038235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5749-2_0_5_line_70 |  | 63 | 64 | 0.0236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5749-2_0_5_line_71 |  | 64 | 66 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5749-2_0_5_line_72 |  | 64 | 65 | 0.022758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5749-2_0_5_line_73 |  | 66 | 73 | 0.0093772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5749-2_0_5_line_74 |  | 67 | 69 | 0.028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5749-2_0_5_line_75 |  | 69 | 71 | 0.046617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5749-2_0_5_line_76 |  | 69 | 72 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_5749-2_0_5_line_77 |  | 72 | 82 | 0.019778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_5749-2_0_5_line_78 |  | 72 | 83 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5749-2_0_5_line_79 |  | 75 | 76 | 0.023228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_5749-2_0_5_line_80 |  | 76 | 86 | 0.0099728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_5749-2_0_5_line_81 |  | 77 | 78 | 0.018473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5749-2_0_5_line_82 |  | 77 | 79 | 0.023315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_5749-2_0_5_line_83 |  | 79 | 80 | 0.055627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_5749-2_0_5_line_84 |  | 80 | 81 | 0.02478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5749-2_0_5_line_85 |  | 80 | 82 | 0.046729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_5749-2_0_5_line_86 |  | 82 | 84 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5749-2_0_5_line_87 |  | 85 | 86 | 0.002865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_5749-2_0_5_line_88 |  | 85 | 87 | 0.029424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_5749-2_0_5_line_89 |  | 87 | 88 | 0.037092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_5749-2_0_5_line_90 |  | 88 | 89 | 0.059818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_5749-2_0_5_line_91 |  | 89 | 90 | 0.015691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5749-2_0_5_line_92 |  | 89 | 91 | 0.077206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_5749-2_0_5_line_93 |  | 90 | 92 | 0.071435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5749-2_0_5_line_94 |  | 90 | 93 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5749-2_0_5_line_95 |  | 91 | 94 | 0.032855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5749-2_0_5_line_96 |  | 91 | 95 | 0.042506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_5749-2_0_5_line_97 |  | 92 | 96 | 0.031319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5749-2_0_5_line_98 |  | 93 | 97 | 0.024117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5749-2_0_5_line_99 |  | 95 | 98 | 0.059547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_5749-2_0_5_line_100 |  | 100 | 101 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5749-2_0_5_trafo_209 | 0.63 MVA 20/0.4 kV | 102 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2533543.4924 | 1174290.1153 | 2533539.3458 | 1174301.2443 | 2533531.2647 | 1174321.9034
1 | 2533606.6021 | 1174181.8756 | 2533602.8646 | 1174187.5425 | 2533598.0594 | 1174192.076 | 2533588.4789 | 1174199.7088 | 2533582.7222 | 1174206.0095 | 2533577.0108 | 1174212.9434 | 2533572.8114 | 1174219.7049 | 2533568.3937 | 1174226.769 | 2533564.0383 | 1174235.311 | 2533560.1842 | 1174245.6262 | 2533554.7234 | 1174259.9727 | 2533543.4924 | 1174290.1153
2 | 2533531.017 | 1174322.5368 | 2533531.2647 | 1174321.9034
3 | 2533637.2517 | 1174129.6732 | 2533606.6021 | 1174181.8756
4 | 2533526.6144 | 1174336.8194 | 2533529.8286 | 1174325.5748 | 2533531.017 | 1174322.5368
5 | 2533637.2517 | 1174129.6732 | 2533634.453 | 1174129.6709 | 2533623.1099 | 1174129.3741 | 2533620.1388 | 1174128.2953 | 2533617.8849 | 1174126.397 | 2533615.7295 | 1174123.7194 | 2533614.5522 | 1174120.2972 | 2533612.3029 | 1174112.1245
6 | 2533608.6802 | 1174098.9613 | 2533612.3029 | 1174112.1245
7 | 2533938.4008 | 1174686.704 | 2533969.1377 | 1174248.5845
8 | 2533938.4008 | 1174686.704 | 2533940.2615 | 1174696.6558
9 | 2533969.1377 | 1174248.5845 | 2533968.7435 | 1174207.2877 | 2533968.3997 | 1174189.9818 | 2533967.7654 | 1174172.679 | 2533967.1681 | 1174163.5915 | 2533966.3883 | 1174154.5839 | 2533965.821 | 1174148.7586
10 | 2533958.5686 | 1174694.8529 | 2533940.2615 | 1174696.6558
11 | 2533940.2615 | 1174696.6558 | 2533940.0498 | 1174706.5749 | 2533940.7716 | 1174719.3297 | 2533942.4867 | 1174725.7922 | 2533948.7977 | 1174739.6493
12 | 2533526.6144 | 1174336.8194 | 2533523.8969 | 1174346.3262
13 | 2533521.2936 | 1174355.4334 | 2533523.8969 | 1174346.3262
14 | 2533521.2936 | 1174355.4334 | 2533213.1756 | 1174506.7989
15 | 2533686.0685 | 1174098.037 | 2533674.7148 | 1174097.8886
16 | 2533686.1452 | 1174078.7253 | 2533686.0685 | 1174098.037
17 | 2533691.4047 | 1174078.6003 | 2533686.1452 | 1174078.7253
18 | 2533686.0293 | 1174055.1355 | 2533686.1938 | 1174067.2294 | 2533686.1452 | 1174078.7253
19 | 2533638.4282 | 1174031.6048 | 2533655.803 | 1174031.7458 | 2533658.5631 | 1174031.7152
20 | 2533658.5631 | 1174031.7152 | 2533674.55 | 1174031.4203
21 | 2533638.4282 | 1174031.6048 | 2533622.6853 | 1174031.5284
22 | 2533685.7108 | 1174031.2144 | 2533674.55 | 1174031.4203
23 | 2533608.6802 | 1174098.9613 | 2533603.6623 | 1174080.7266
24 | 2533597.5812 | 1174058.6282 | 2533603.6623 | 1174080.7266
25 | 2533631.0796 | 1174078.5016 | 2533639.2538 | 1174078.4999
26 | 2533630.9414 | 1174057.758 | 2533631.0796 | 1174078.5016
27 | 2533639.26 | 1174055.598 | 2533632.8444 | 1174055.5913 | 2533630.9414 | 1174057.758
28 | 2533630.9414 | 1174057.758 | 2533601.8967 | 1174057.5019 | 2533597.5812 | 1174058.6282
29 | 2533686.0293 | 1174055.1355 | 2533691.4089 | 1174055.4984
30 | 2533685.7108 | 1174031.2144 | 2533686.0293 | 1174055.1355
31 | 2533685.7108 | 1174031.2144 | 2533691.047 | 1174031.1108 | 2533696.9949 | 1174031.0005 | 2533700.2918 | 1174030.4192 | 2533704.9921 | 1174028.8219 | 2533708.5937 | 1174026.7475 | 2533713.9099 | 1174022.0749
32 | 2533747.9094 | 1174045.1008 | 2533747.9335 | 1174038.9859
33 | 2533747.9335 | 1174038.9859 | 2533748.0149 | 1174014.3675
34 | 2533747.9094 | 1174045.1008 | 2533748.0197 | 1174050.9251 | 2533749.2713 | 1174056.2253 | 2533751.0773 | 1174059.1181 | 2533753.9083 | 1174062.044 | 2533758.2314 | 1174064.3642
35 | 2533748.0566 | 1174001.7302 | 2533748.0149 | 1174014.3675
36 | 2533702.7762 | 1174008.9352 | 2533713.9099 | 1174022.0749
37 | 2533713.9099 | 1174022.0749 | 2533716.5995 | 1174018.432 | 2533718.3828 | 1174013.743 | 2533718.402 | 1174003.0478 | 2533731.1612 | 1174002.7621 | 2533748.0566 | 1174001.7302
38 | 2533589.8819 | 1174032.4988 | 2533598.6635 | 1174031.4119 | 2533622.6853 | 1174031.5284
39 | 2533597.5812 | 1174058.6282 | 2533595.1031 | 1174050.2182
40 | 2533730.1973 | 1173948.8312 | 2533728.3827 | 1173954.1543 | 2533723.8254 | 1173956.2392 | 2533718.7178 | 1173956.2735
41 | 2533718.7178 | 1173956.2735 | 2533698.6052 | 1173956.2798
42 | 2533730.1973 | 1173948.8312 | 2533733.8856 | 1173949.7576 | 2533759.97 | 1173949.0634
43 | 2533716.6852 | 1173917.0294 | 2533727.8935 | 1173944.4987 | 2533730.1973 | 1173948.8312
44 | 2533678.4119 | 1173956.2862 | 2533698.6052 | 1173956.2798
45 | 2533758.2314 | 1174064.3642 | 2533763.3398 | 1174065.7863 | 2533771.0721 | 1174066.6235 | 2533800.7686 | 1174067.7404 | 2533807.2076 | 1174067.1022 | 2533811.7101 | 1174066.2854 | 2533815.7103 | 1174064.3067 | 2533817.6445 | 1174062.8845
46 | 2533758.2314 | 1174064.3642 | 2533761.8961 | 1174060.3992 | 2533768.2489 | 1174055.4151 | 2533770.7375 | 1174052.2747 | 2533771.3709 | 1174049.3883
47 | 2533830.6816 | 1174049.0105 | 2533826.3599 | 1174056.4958 | 2533817.6445 | 1174062.8845
48 | 2533830.6816 | 1174049.0105 | 2533821.357 | 1174039.0189 | 2533818.2681 | 1174036.9741 | 2533814.5071 | 1174035.6927
49 | 2533763.1022 | 1173909.5118 | 2533754.1812 | 1173909.7661 | 2533742.5813 | 1173909.7234
50 | 2533716.3394 | 1173916.1883 | 2533732.3181 | 1173909.6856 | 2533742.5813 | 1173909.7234
51 | 2533763.111 | 1173913.0693 | 2533763.1022 | 1173909.5118
52 | 2533763.1022 | 1173909.5118 | 2533763.2982 | 1173887.1258
53 | 2533716.3394 | 1173916.1883 | 2533716.6852 | 1173917.0294
54 | 2533763.111 | 1173913.0693 | 2533776.178 | 1173912.947 | 2533783.1448 | 1173917.8394 | 2533788.2455 | 1173917.8386
55 | 2533763.5076 | 1173863.2034 | 2533763.2982 | 1173887.1258
56 | 2533716.6852 | 1173917.0294 | 2533706.9889 | 1173925.308
57 | 2533806.2685 | 1173923.3537 | 2533800.503 | 1173917.8365 | 2533788.2455 | 1173917.8386
58 | 2533763.5076 | 1173863.2034 | 2533802.8748 | 1173863.3017
59 | 2533706.7144 | 1173923.7602 | 2533706.9889 | 1173925.308 | 2533706.9889 | 1173925.308
60 | 2533806.2685 | 1173923.3537 | 2533807.7703 | 1173921.5472 | 2533810.6394 | 1173920.3037 | 2533814.0365 | 1173919.7881
61 | 2533814.416 | 1173837.2039 | 2533802.1863 | 1173837.6838 | 2533802.8748 | 1173863.3017
62 | 2533838.4323 | 1173863.9538 | 2533834.334 | 1173863.2987 | 2533814.9319 | 1173863.124 | 2533802.8748 | 1173863.3017
63 | 2533677.7253 | 1173909.4896 | 2533682.2305 | 1173908.9061 | 2533700.5029 | 1173908.5926 | 2533701.9739 | 1173908.8431 | 2533703.38 | 1173909.4501 | 2533704.5385 | 1173910.4934 | 2533705.455 | 1173911.7729 | 2533705.946 | 1173913.3016 | 2533706.4314 | 1173915.0084 | 2533706.4369 | 1173917.5764 | 2533706.312 | 1173921.4911 | 2533706.7144 | 1173923.7602
64 | 2533673.6337 | 1173909.4349 | 2533672.9265 | 1173887.6467
65 | 2533640.3353 | 1173909.0589 | 2533673.6337 | 1173909.4349
66 | 2533673.6337 | 1173909.4349 | 2533677.7253 | 1173909.4896
67 | 2533836.0165 | 1173985.5949 | 2533836.0245 | 1173984.8236
68 | 2533836.0245 | 1173984.8236 | 2533836.3684 | 1173951.7245
69 | 2533836.4081 | 1173947.9013 | 2533836.3684 | 1173951.7245
70 | 2533832.1398 | 1173934.6187 | 2533820.8852 | 1173924.3706 | 2533817.0388 | 1173920.9111 | 2533814.0365 | 1173919.7881
71 | 2533832.1398 | 1173934.6187 | 2533834.791 | 1173930.2648 | 2533836.3984 | 1173924.8773
72 | 2533832.1398 | 1173934.6187 | 2533829.9691 | 1173937.4776 | 2533826.8382 | 1173941.3255 | 2533829.3988 | 1173940.5412 | 2533832.4233 | 1173940.8969 | 2533833.9784 | 1173941.8469 | 2533835.1024 | 1173943.2242 | 2533835.8002 | 1173944.784 | 2533836.4081 | 1173947.9013
73 | 2533836.3984 | 1173924.8773 | 2533836.3848 | 1173915.5001
74 | 2533649.4842 | 1173956.2843 | 2533674.4432 | 1173956.2857 | 2533678.4119 | 1173956.2862
75 | 2533649.4842 | 1173956.2843 | 2533649.4803 | 1173962.8324 | 2533652.171 | 1173963.4363 | 2533658.8935 | 1173964.9071 | 2533662.0714 | 1173966.0059 | 2533663.7844 | 1173968.0881 | 2533664.5151 | 1173972.6159 | 2533664.7587 | 1173978.7278 | 2533663.5366 | 1173982.9993 | 2533661.7047 | 1173986.0546 | 2533659.9974 | 1173988.6305 | 2533657.8266 | 1173990.0887
76 | 2533635.3377 | 1173956.2854 | 2533649.4842 | 1173956.2843
77 | 2533615.502 | 1173956.2829 | 2533635.3377 | 1173956.2854
78 | 2533635.3377 | 1173956.2854 | 2533635.3521 | 1173939.238
79 | 2533838.4323 | 1173863.9538 | 2533843.5883 | 1173859.2942 | 2533847.2168 | 1173857.5643 | 2533854.8936 | 1173854.0442 | 2533858.3631 | 1173852.4606
80 | 2533858.3631 | 1173852.4606 | 2533863.1141 | 1173861.229
81 | 2533589.8819 | 1174032.4988 | 2533595.1031 | 1174050.2182
82 | 2533589.8819 | 1174032.4988 | 2533583.6073 | 1174010.0441
83 | 2533568.6371 | 1173956.4691 | 2533574.0997 | 1173976.0196 | 2533583.6073 | 1174010.0441
84 | 2533568.6371 | 1173956.4691 | 2533561.8364 | 1173932.6408
85 | 2533615.502 | 1173956.2829 | 2533568.6371 | 1173956.4691
86 | 2533615.502 | 1173956.2829 | 2533615.7626 | 1173939.7821
87 | 2533864.479 | 1173863.748 | 2533863.1141 | 1173861.229
88 | 2533878.4967 | 1173889.6186 | 2533864.479 | 1173863.748
89 | 2533878.4967 | 1173889.6186 | 2533887.6743 | 1173906.5565 | 2533892.4517 | 1173915.3865 | 2533896.1851 | 1173922.2215
90 | 2533924.5366 | 1173974.8884 | 2533921.4788 | 1173968.7298 | 2533917.9565 | 1173962.0649 | 2533910.0352 | 1173947.5774 | 2533896.1851 | 1173922.2215
91 | 2533934.9208 | 1173963.1006 | 2533924.5366 | 1173974.8884
92 | 2533947.3095 | 1174048.4566 | 2533943.8772 | 1174033.9974 | 2533941.0783 | 1174021.499 | 2533936.334 | 1174004.5528 | 2533932.6455 | 1173993.9097 | 2533928.977 | 1173985.0674 | 2533924.5366 | 1173974.8884
93 | 2533934.9208 | 1173963.1006 | 2533938.4099 | 1173959.1376 | 2533946.7091 | 1173949.663 | 2533955.2407 | 1173941.1419 | 2533969.3968 | 1173928.8345 | 2533988.0502 | 1173915.8222
94 | 2533934.9208 | 1173963.1006 | 2533943.5155 | 1173974.868
95 | 2533947.3095 | 1174048.4566 | 2533956.4483 | 1174046.4769 | 2533979.352 | 1174041.1985
96 | 2533947.3095 | 1174048.4566 | 2533955.934 | 1174089.9738 | 2533955.9543 | 1174090.0747
97 | 2534014.52 | 1173899.0878 | 2533990.318 | 1173914.2402 | 2533988.0502 | 1173915.8222
98 | 2533943.5155 | 1173974.868 | 2533965.1331 | 1173964.1775
99 | 2533955.9543 | 1174090.0747 | 2533961.0303 | 1174115.2653 | 2533963.5592 | 1174129.6344 | 2533965.0776 | 1174141.1241 | 2533965.821 | 1174148.7586
100 | 2533958.5686 | 1174694.8529 | 2533955.2813 | 1174701.8265 | 2533957.9248 | 1174711.3471

## bus_geodata
| x | y | coords
0 | 2533543.4924 | 1174290.1153
1 | 2533531.2647 | 1174321.9034
2 | 2533606.6021 | 1174181.8756
3 | 2533531.017 | 1174322.5368
4 | 2533637.2517 | 1174129.6732
5 | 2533612.3029 | 1174112.1245
6 | 2533938.4008 | 1174686.704
7 | 2533969.1377 | 1174248.5845
8 | 2533940.2615 | 1174696.6558
9 | 2533526.6144 | 1174336.8194
10 | 2533523.8969 | 1174346.3262
11 | 2533521.2936 | 1174355.4334
12 | 2533213.1756 | 1174506.7989
13 | 2533674.7148 | 1174097.8886
14 | 2533686.0685 | 1174098.037
15 | 2533686.1452 | 1174078.7253
16 | 2533658.5631 | 1174031.7152
17 | 2533638.4282 | 1174031.6048
18 | 2533674.55 | 1174031.4203
19 | 2533608.6802 | 1174098.9613
20 | 2533603.6623 | 1174080.7266
21 | 2533631.0796 | 1174078.5016
22 | 2533639.2538 | 1174078.4999
23 | 2533630.9414 | 1174057.758
24 | 2533691.4047 | 1174078.6003
25 | 2533686.0293 | 1174055.1355
26 | 2533691.4089 | 1174055.4984
27 | 2533685.7108 | 1174031.2144
28 | 2533747.9335 | 1174038.9859
29 | 2533747.9094 | 1174045.1008
30 | 2533748.0149 | 1174014.3675
31 | 2533713.9099 | 1174022.0749
32 | 2533702.7762 | 1174008.9352
33 | 2533748.0566 | 1174001.7302
34 | 2533622.6853 | 1174031.5284
35 | 2533597.5812 | 1174058.6282
36 | 2533639.26 | 1174055.598
37 | 2533718.7178 | 1173956.2735
38 | 2533730.1973 | 1173948.8312
39 | 2533698.6052 | 1173956.2798
40 | 2533758.2314 | 1174064.3642
41 | 2533771.3709 | 1174049.3883
42 | 2533817.6445 | 1174062.8845
43 | 2533830.6816 | 1174049.0105
44 | 2533814.5071 | 1174035.6927
45 | 2533742.5813 | 1173909.7234
46 | 2533763.1022 | 1173909.5118
47 | 2533716.3394 | 1173916.1883
48 | 2533763.111 | 1173913.0693
49 | 2533763.2982 | 1173887.1258
50 | 2533716.6852 | 1173917.0294
51 | 2533788.2455 | 1173917.8386
52 | 2533763.5076 | 1173863.2034
53 | 2533706.9889 | 1173925.308
54 | 2533806.2685 | 1173923.3537
55 | 2533802.8748 | 1173863.3017
56 | 2533706.7144 | 1173923.7602
57 | 2533759.97 | 1173949.0634
58 | 2533672.9265 | 1173887.6467
59 | 2533673.6337 | 1173909.4349
60 | 2533836.0165 | 1173985.5949
61 | 2533836.0245 | 1173984.8236
62 | 2533836.3684 | 1173951.7245
63 | 2533814.0365 | 1173919.7881
64 | 2533832.1398 | 1173934.6187
65 | 2533836.4081 | 1173947.9013
66 | 2533836.3984 | 1173924.8773
67 | 2533678.4119 | 1173956.2862
68 | 2533677.7253 | 1173909.4896
69 | 2533649.4842 | 1173956.2842
70 | 2533640.3353 | 1173909.0589
71 | 2533657.8266 | 1173990.0887
72 | 2533635.3377 | 1173956.2854
73 | 2533836.3848 | 1173915.5001
74 | 2533814.416 | 1173837.2039
75 | 2533838.4323 | 1173863.9538
76 | 2533858.3631 | 1173852.4606
77 | 2533589.8819 | 1174032.4988
78 | 2533595.1031 | 1174050.2182
79 | 2533583.6073 | 1174010.0441
80 | 2533568.6371 | 1173956.4691
81 | 2533561.8364 | 1173932.6408
82 | 2533615.502 | 1173956.2829
83 | 2533635.3521 | 1173939.238
84 | 2533615.7626 | 1173939.7821
85 | 2533864.479 | 1173863.748
86 | 2533863.1141 | 1173861.229
87 | 2533878.4967 | 1173889.6186
88 | 2533896.1851 | 1173922.2215
89 | 2533924.5366 | 1173974.8884
90 | 2533934.9208 | 1173963.1006
91 | 2533947.3095 | 1174048.4566
92 | 2533988.0502 | 1173915.8222
93 | 2533943.5155 | 1173974.868
94 | 2533979.352 | 1174041.1985
95 | 2533955.9543 | 1174090.0747
96 | 2534014.52 | 1173899.0878
97 | 2533965.1331 | 1173964.1775
98 | 2533965.821 | 1174148.7586
99 | 2533948.7977 | 1174739.6493
100 | 2533958.5686 | 1174694.8529
101 | 2533957.9248 | 1174711.3471
102 | 2533713.9099 | 1174022.0749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1