## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5749-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5749-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5749-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5749-4_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5749-4_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5749-4_0_4_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_5749-4_0_4_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_5749-4_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_5749-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5749-4_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5749-4_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5749-4_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5749-4_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5749-4_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5749-4_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_5749-4_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_5749-4_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_5749-4_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5749-4_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_5749-4_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_5749-4_0_4_node_110 | 0.4 | n |  | TRUE
21 | bus_LV_5749-4_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_5749-4_0_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5749-4_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_5749-4_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5749-4_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5749-4_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5749-4_0_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5749-4_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5749-4_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_5749-4_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_5749-4_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_5749-4_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5749-4_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5749-4_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5749-4_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5749-4_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_5749-4_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5749-4_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5749-4_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5749-4_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5749-4_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5749-4_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5749-4_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5749-4_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5749-4_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5749-4_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5749-4_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5749-4_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5749-4_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5749-4_0_4_node_100 | 0.4 | n |  | TRUE
51 | bus_LV_5749-4_0_4_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_5749-4_0_4_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_5749-4_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5749-4_0_4_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_5749-4_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5749-4_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_5749-4_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5749-4_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5749-4_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5749-4_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5749-4_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5749-4_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5749-4_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_5749-4_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5749-4_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5749-4_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5749-4_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5749-4_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5749-4_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5749-4_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5749-4_0_4_node_101 | 0.4 | n |  | TRUE
72 | bus_LV_5749-4_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5749-4_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5749-4_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5749-4_0_4_node_104 | 0.4 | n |  | TRUE
76 | bus_LV_5749-4_0_4_node_102 | 0.4 | n |  | TRUE
77 | bus_LV_5749-4_0_4_node_105 | 0.4 | n |  | TRUE
78 | bus_LV_5749-4_0_4_node_103 | 0.4 | n |  | TRUE
79 | bus_LV_5749-4_0_4_node_109 | 0.4 | n |  | TRUE
80 | bus_LV_5749-4_0_4_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_5749-4_0_4_node_106 | 0.4 | n |  | TRUE
82 | bus_MV_449_0_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5749-4_0_4_load_0 | 0 | 0.0080976 | 0.0020295 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5749-4_0_4_load_5 | 4 | 0.015582 | 0.0039053 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5749-4_0_4_load_21 | 5 | 0.0073728 | 0.0018478 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5749-4_0_4_load_74 | 6 | 0.0027121 | 0.00067971 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5749-4_0_4_load_6 | 8 | 0.0094801 | 0.0023759 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5749-4_0_4_load_57 | 14 | 0.0033443 | 0.00083816 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5749-4_0_4_load_48 | 15 | 0.021269 | 0.0053305 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5749-4_0_4_load_16 | 16 | 0.0041744 | 0.0010462 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5749-4_0_4_load_14 | 17 | 0.003886 | 0.00097393 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5749-4_0_4_load_58 | 18 | 0.0041734 | 0.0010459 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5749-4_0_4_load_110 | 20 | 0.007892 | 0.0019779 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5749-4_0_4_load_41 | 23 | 0.0038502 | 0.00096495 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5749-4_0_4_load_11 | 24 | 0.019032 | 0.0047699 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5749-4_0_4_load_12 | 25 | 0.017956 | 0.0045003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5749-4_0_4_load_13 | 26 | 0.015258 | 0.0038239 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5749-4_0_4_load_44 | 30 | 0.0046031 | 0.0011537 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5749-4_0_4_load_17 | 32 | 0.010084 | 0.0025273 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5749-4_0_4_load_20 | 34 | 0.0075948 | 0.0019034 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5749-4_0_4_load_22 | 35 | 0.0094027 | 0.0023565 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5749-4_0_4_load_32 | 38 | 0.014256 | 0.0035729 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5749-4_0_4_load_35 | 39 | 0.0080815 | 0.0020254 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5749-4_0_4_load_33 | 40 | 0.024402 | 0.0061157 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5749-4_0_4_load_25 | 41 | 0.019346 | 0.0048485 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5749-4_0_4_load_43 | 44 | 0.022615 | 0.005668 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5749-4_0_4_load_40 | 45 | 0.0067702 | 0.0016968 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5749-4_0_4_load_37 | 47 | 0.0079966 | 0.0020041 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5749-4_0_4_load_100 | 50 | 0.0075279 | 0.0018867 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5749-4_0_4_load_61 | 51 | 0.0017676 | 0.00044299 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5749-4_0_4_load_47 | 53 | 0.0014282 | 0.00035794 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5749-4_0_4_load_68 | 54 | 0.00097466 | 0.00024427 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5749-4_0_4_load_62 | 55 | 0.0014712 | 0.00036871 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5749-4_0_4_load_69 | 56 | 0.0013979 | 0.00035034 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5749-4_0_4_load_49 | 57 | 0.0016849 | 0.00042227 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5749-4_0_4_load_50 | 58 | 0.0023482 | 0.0005885 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5749-4_0_4_load_55 | 62 | 0.0020088 | 0.00050344 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5749-4_0_4_load_56 | 63 | 0.0011765 | 0.00029487 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5749-4_0_4_load_54 | 64 | 0.002127 | 0.00053307 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5749-4_0_4_load_63 | 65 | 0.0012629 | 0.00031651 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5749-4_0_4_load_59 | 66 | 0.0017906 | 0.00044876 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5749-4_0_4_load_64 | 67 | 0.0033096 | 0.00082946 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5749-4_0_4_load_65 | 68 | 0.00088882 | 0.00022276 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5749-4_0_4_load_66 | 69 | 0.0014027 | 0.00035156 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5749-4_0_4_load_67 | 70 | 0.00073969 | 0.00018538 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5749-4_0_4_load_70 | 72 | 0.0012321 | 0.00030879 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5749-4_0_4_load_71 | 73 | 0.0023 | 0.00057644 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5749-4_0_4_load_72 | 74 | 0.0020066 | 0.0005029 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5749-4_0_4_load_104 | 75 | 0.0024938 | 0.00062501 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5749-4_0_4_load_103 | 78 | 0.0010146 | 0.00025429 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5749-4_0_4_load_109 | 79 | 0.0092091 | 0.002308 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5749-4_0_4_load_106 | 81 | 0.01197 | 0.0029999 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5749-4_0_4_line_0 |  | 0 | 1 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5749-4_0_4_line_1 |  | 0 | 2 | 0.0080063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5749-4_0_4_line_2 |  | 1 | 3 | 0.05292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5749-4_0_4_line_3 |  | 2 | 4 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5749-4_0_4_line_4 |  | 3 | 5 | 0.028461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5749-4_0_4_line_5 |  | 3 | 6 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5749-4_0_4_line_6 |  | 5 | 7 | 0.040297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5749-4_0_4_line_7 |  | 7 | 34 | 0.01907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5749-4_0_4_line_8 |  | 7 | 32 | 0.035002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5749-4_0_4_line_9 |  | 8 | 9 | 0.059878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5749-4_0_4_line_10 |  | 8 | 10 | 0.045281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5749-4_0_4_line_11 |  | 9 | 11 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5749-4_0_4_line_12 |  | 10 | 12 | 0.06238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5749-4_0_4_line_13 |  | 11 | 13 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5749-4_0_4_line_14 |  | 11 | 14 | 0.023177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5749-4_0_4_line_15 |  | 12 | 15 | 0.05681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5749-4_0_4_line_16 |  | 13 | 16 | 0.013243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5749-4_0_4_line_17 |  | 13 | 17 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5749-4_0_4_line_18 |  | 14 | 18 | 0.040013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5749-4_0_4_line_19 |  | 16 | 30 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5749-4_0_4_line_20 |  | 18 | 66 | 0.00067233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5749-4_0_4_line_21 |  | 19 | 20 | 0.007479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5749-4_0_4_line_22 |  | 19 | 21 | 0.052589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5749-4_0_4_line_23 |  | 21 | 22 | 0.045458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5749-4_0_4_line_24 |  | 21 | 23 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5749-4_0_4_line_25 |  | 22 | 43 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5749-4_0_4_line_26 |  | 22 | 44 | 0.030201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5749-4_0_4_line_27 |  | 23 | 29 | 0.039499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5749-4_0_4_line_28 |  | 24 | 25 | 0.023722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5749-4_0_4_line_29 |  | 25 | 26 | 0.023005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5749-4_0_4_line_30 |  | 26 | 27 | 0.019377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5749-4_0_4_line_31 |  | 27 | 28 | 0.014999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5749-4_0_4_line_32 |  | 27 | 29 | 0.003771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5749-4_0_4_line_33 |  | 28 | 37 | 0.033176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5749-4_0_4_line_34 |  | 28 | 38 | 0.018071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5749-4_0_4_line_35 |  | 29 | 42 | 0.029791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5749-4_0_4_line_36 |  | 30 | 31 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5749-4_0_4_line_37 |  | 31 | 53 | 0.0254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5749-4_0_4_line_38 |  | 31 | 49 | 0.036642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5749-4_0_4_line_39 |  | 32 | 33 | 0.032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5749-4_0_4_line_40 |  | 33 | 35 | 0.01461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5749-4_0_4_line_41 |  | 34 | 36 | 0.020616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5749-4_0_4_line_42 |  | 35 | 37 | 0.0080225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5749-4_0_4_line_43 |  | 36 | 39 | 0.044449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5749-4_0_4_line_44 |  | 38 | 40 | 0.017349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5749-4_0_4_line_45 |  | 41 | 42 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5749-4_0_4_line_46 |  | 43 | 45 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5749-4_0_4_line_47 |  | 45 | 46 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5749-4_0_4_line_48 |  | 46 | 48 | 0.041077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5749-4_0_4_line_49 |  | 46 | 47 | 0.022658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5749-4_0_4_line_50 |  | 48 | 49 | 0.016762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5749-4_0_4_line_51 |  | 48 | 50 | 0.034312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5749-4_0_4_line_52 |  | 49 | 51 | 0.021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5749-4_0_4_line_53 |  | 50 | 52 | 0.0088262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5749-4_0_4_line_54 |  | 51 | 55 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5749-4_0_4_line_55 |  | 52 | 71 | 0.04097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5749-4_0_4_line_56 |  | 52 | 70 | 0.029367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5749-4_0_4_line_57 |  | 53 | 54 | 0.012151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5749-4_0_4_line_58 |  | 54 | 56 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5749-4_0_4_line_59 |  | 55 | 65 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5749-4_0_4_line_60 |  | 56 | 72 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5749-4_0_4_line_61 |  | 57 | 58 | 0.012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5749-4_0_4_line_62 |  | 57 | 59 | 0.03898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5749-4_0_4_line_63 |  | 58 | 60 | 0.0063427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5749-4_0_4_line_64 |  | 59 | 61 | 0.036616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5749-4_0_4_line_65 |  | 60 | 62 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5749-4_0_4_line_66 |  | 60 | 63 | 0.091883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5749-4_0_4_line_67 |  | 61 | 64 | 0.023165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5749-4_0_4_line_68 |  | 63 | 65 | 0.0069234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5749-4_0_4_line_69 |  | 67 | 68 | 0.015265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5749-4_0_4_line_70 |  | 67 | 69 | 0.01499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5749-4_0_4_line_71 |  | 68 | 70 | 0.02926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5749-4_0_4_line_72 |  | 71 | 75 | 0.049068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5749-4_0_4_line_73 |  | 72 | 73 | 0.028764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5749-4_0_4_line_74 |  | 73 | 74 | 0.032132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5749-4_0_4_line_75 |  | 75 | 78 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5749-4_0_4_line_76 |  | 76 | 77 | 0.098207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5749-4_0_4_line_77 |  | 76 | 78 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5749-4_0_4_line_78 |  | 77 | 79 | 0.060436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5749-4_0_4_line_79 |  | 77 | 80 | 0.029445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5749-4_0_4_line_80 |  | 80 | 81 | 0.031548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5749-4_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 82 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2533599.6488 | 1173880.9827 | 2533593.8183 | 1173870.3191 | 2533592.3135 | 1173864.9438
1 | 2533595.3005 | 1173857.7845 | 2533594.1951 | 1173858.7862 | 2533592.834 | 1173861.5473 | 2533592.3135 | 1173864.9438
2 | 2533546.5811 | 1173881.8049 | 2533599.6488 | 1173880.9827
3 | 2533595.3005 | 1173857.7845 | 2533598.8892 | 1173854.5429 | 2533604.5367 | 1173854.2245
4 | 2533546.5811 | 1173881.8049 | 2533539.3475 | 1173854.2789
5 | 2533546.5811 | 1173881.8049 | 2533551.3353 | 1173897.2091
6 | 2533529.104 | 1173815.3056 | 2533532.7527 | 1173829.1841 | 2533539.3475 | 1173854.2789
7 | 2533529.104 | 1173815.3056 | 2533524.5296 | 1173796.7928
8 | 2533529.104 | 1173815.3056 | 2533546.6956 | 1173814.2543 | 2533552.9524 | 1173811.639 | 2533563.549 | 1173811.4642
9 | 2533725.8947 | 1173586.3075 | 2533719.94 | 1173588.608 | 2533694.1777 | 1173599.766 | 2533687.1787 | 1173605.1243 | 2533683.6322 | 1173607.3648 | 2533678.6167 | 1173610.2219 | 2533673.7051 | 1173612.0996 | 2533672.4203 | 1173612.601
10 | 2533630.101 | 1173628.6806 | 2533636.5855 | 1173626.5854 | 2533672.4203 | 1173612.601
11 | 2533731.0216 | 1173600.4254 | 2533725.8947 | 1173586.3075
12 | 2533630.101 | 1173628.6806 | 2533614.1592 | 1173635.1164 | 2533606.0891 | 1173638.3521 | 2533618.1495 | 1173670.1587 | 2533619.0925 | 1173672.4495
13 | 2533736.0898 | 1173614.0771 | 2533731.0216 | 1173600.4254
14 | 2533731.0216 | 1173600.4254 | 2533734.9696 | 1173598.5363 | 2533743.8443 | 1173594.0578 | 2533751.8519 | 1173590.2663
15 | 2533619.0925 | 1173672.4495 | 2533655.5804 | 1173656.8922 | 2533672.724 | 1173656.9803
16 | 2533736.0898 | 1173614.0771 | 2533736.8698 | 1173616.1474 | 2533740.7916 | 1173626.4578
17 | 2533736.0898 | 1173614.0771 | 2533719.6757 | 1173620.4967
18 | 2533751.8519 | 1173590.2663 | 2533758.7015 | 1173587.0229 | 2533779.7186 | 1173576.8738 | 2533788.0638 | 1173573.2582
19 | 2533746.432 | 1173641.1965 | 2533746.2268 | 1173640.7467 | 2533740.7916 | 1173626.4578
20 | 2533788.0638 | 1173573.2582 | 2533788.6807 | 1173572.9909
21 | 2533658.2009 | 1173717.4084 | 2533665.6976 | 1173717.6478
22 | 2533650.126 | 1173747.815 | 2533645.5623 | 1173737.6042 | 2533640.5519 | 1173724.3522 | 2533638.1952 | 1173718.0081 | 2533641.9489 | 1173716.5435 | 2533646.9518 | 1173716.01 | 2533651.0647 | 1173715.8977 | 2533658.2009 | 1173717.4084
23 | 2533650.126 | 1173747.815 | 2533657.3284 | 1173747.0237 | 2533665.4 | 1173747.3901 | 2533669.8087 | 1173747.7526 | 2533674.9982 | 1173748.1843 | 2533679.2035 | 1173748.1377 | 2533682.5701 | 1173747.6113 | 2533686.2874 | 1173747.0031 | 2533694.8793 | 1173743.9396
24 | 2533650.126 | 1173747.815 | 2533638.7253 | 1173747.908 | 2533635.8203 | 1173749.3632
25 | 2533712.8973 | 1173735.1019 | 2533698.7852 | 1173742.3955 | 2533694.8793 | 1173743.9396
26 | 2533694.8793 | 1173743.9396 | 2533695.0562 | 1173713.7396
27 | 2533634.7713 | 1173788.5747 | 2533634.5062 | 1173752.2349 | 2533635.8203 | 1173749.3632
28 | 2533630.3481 | 1173854.5393 | 2533630.5793 | 1173830.8183
29 | 2533630.8034 | 1173807.8145 | 2533630.5793 | 1173830.8183
30 | 2533630.9922 | 1173788.4387 | 2533630.8034 | 1173807.8145
31 | 2533630.9922 | 1173788.4387 | 2533615.9495 | 1173788.3387
32 | 2533630.9922 | 1173788.4387 | 2533634.7713 | 1173788.5747
33 | 2533595.1913 | 1173789.3248 | 2533597.6721 | 1173786.8515 | 2533601.4168 | 1173785.9539 | 2533604.7703 | 1173786.3281 | 2533607.2749 | 1173787.3787 | 2533616.3754 | 1173795.7159 | 2533615.9495 | 1173788.3387
34 | 2533615.9495 | 1173788.3387 | 2533615.3332 | 1173783.7874 | 2533615.2774 | 1173770.3096
35 | 2533634.7713 | 1173788.5747 | 2533643.8268 | 1173788.7078 | 2533659.3821 | 1173788.8245 | 2533664.472 | 1173787.8676
36 | 2533754.2599 | 1173658.3567 | 2533746.432 | 1173641.1965
37 | 2533754.2599 | 1173658.3567 | 2533759.8644 | 1173655.5154 | 2533770.5064 | 1173650.4171 | 2533777.0411 | 1173647.1274
38 | 2533754.2599 | 1173658.3567 | 2533762.2165 | 1173674.5779 | 2533770.9855 | 1173690.968
39 | 2533596.142 | 1173810.9265 | 2533563.549 | 1173811.4642
40 | 2533596.142 | 1173810.9265 | 2533593.3329 | 1173800.3405 | 2533592.5973 | 1173796.7577
41 | 2533519.5841 | 1173776.7784 | 2533524.5296 | 1173796.7928
42 | 2533595.1913 | 1173789.3248 | 2533593.1058 | 1173792.9611 | 2533592.5973 | 1173796.7577
43 | 2533519.5841 | 1173776.7784 | 2533560.8429 | 1173760.2436
44 | 2533615.2056 | 1173752.9603 | 2533615.2774 | 1173770.3096
45 | 2533664.472 | 1173787.8676 | 2533680.6784 | 1173788.2256
46 | 2533712.8973 | 1173735.1019 | 2533718.6129 | 1173732.6373 | 2533727.4982 | 1173728.7956
47 | 2533741.2013 | 1173722.8709 | 2533727.4982 | 1173728.7956
48 | 2533741.2013 | 1173722.8709 | 2533778.6978 | 1173705.8578
49 | 2533741.2013 | 1173722.8709 | 2533737.78 | 1173712.2249 | 2533726.3043 | 1173712.3003
50 | 2533778.6978 | 1173705.8578 | 2533770.9855 | 1173690.968
51 | 2533778.6978 | 1173705.8578 | 2533795.1613 | 1173735.9622
52 | 2533770.9855 | 1173690.968 | 2533789.9467 | 1173681.8696
53 | 2533799.3962 | 1173743.706 | 2533795.1613 | 1173735.9622
54 | 2533789.9467 | 1173681.8696 | 2533804.0059 | 1173675.1234
55 | 2533799.3962 | 1173743.706 | 2533800.8715 | 1173746.4135 | 2533803.7514 | 1173751.6735 | 2533818.9043 | 1173779.733
56 | 2533799.3962 | 1173743.706 | 2533825.0727 | 1173729.4534
57 | 2533777.0411 | 1173647.1274 | 2533787.8947 | 1173641.6635
58 | 2533787.8947 | 1173641.6635 | 2533797.5795 | 1173636.788 | 2533811.1417 | 1173629.9703
59 | 2533819.8498 | 1173667.5209 | 2533804.0059 | 1173675.1234
60 | 2533811.1417 | 1173629.9703 | 2533820.3491 | 1173625.3417
61 | 2533925.7934 | 1173617.3183 | 2533914.8437 | 1173622.4387
62 | 2533961.0054 | 1173600.5975 | 2533959.3622 | 1173601.3716 | 2533926.4529 | 1173617.0099 | 2533925.7934 | 1173617.3183
63 | 2533909.115 | 1173625.1612 | 2533914.6683 | 1173622.5207 | 2533914.8437 | 1173622.4387
64 | 2533994.2132 | 1173584.9672 | 2533961.0054 | 1173600.5975
65 | 2533909.115 | 1173625.1612 | 2533905.9751 | 1173619.2036 | 2533901.0236 | 1173609.193
66 | 2533909.115 | 1173625.1612 | 2533900.5949 | 1173629.2131 | 2533890.2482 | 1173634.0522 | 2533835.8939 | 1173659.8222 | 2533826.0917 | 1173664.5257
67 | 2533994.2132 | 1173584.9672 | 2534004.8428 | 1173605.5491
68 | 2533826.0917 | 1173664.5257 | 2533819.8498 | 1173667.5209
69 | 2533854.4212 | 1173740.2246 | 2533847.2548 | 1173726.7462
70 | 2533854.4212 | 1173740.2246 | 2533861.4582 | 1173753.4599
71 | 2533847.2548 | 1173726.7462 | 2533843.3114 | 1173719.3294 | 2533825.0727 | 1173729.4534
72 | 2533818.9043 | 1173779.733 | 2533825.0869 | 1173791.149 | 2533842.135 | 1173822.9529
73 | 2533846.0608 | 1173612.4458 | 2533828.1741 | 1173621.408 | 2533820.3491 | 1173625.3417
74 | 2533874.6841 | 1173597.8479 | 2533864.8383 | 1173603.0373 | 2533846.0608 | 1173612.4458
75 | 2533848.8566 | 1173835.2732 | 2533845.0516 | 1173828.394 | 2533842.135 | 1173822.9529
76 | 2533763.5076 | 1173863.2034 | 2533802.8748 | 1173863.3017 | 2533814.9319 | 1173863.124 | 2533834.334 | 1173863.2987 | 2533838.4323 | 1173863.9538 | 2533843.5883 | 1173859.2942 | 2533847.2168 | 1173857.5643 | 2533854.8936 | 1173854.0442 | 2533858.3631 | 1173852.4606
77 | 2533858.3631 | 1173852.4606 | 2533848.8566 | 1173835.2732
78 | 2533763.5076 | 1173863.2034 | 2533763.2905 | 1173802.7828
79 | 2533763.5076 | 1173863.2034 | 2533733.9783 | 1173863.4634
80 | 2533733.9783 | 1173863.4634 | 2533733.6292 | 1173831.9169

## bus_geodata
| x | y | coords
0 | 2533592.3135 | 1173864.9438
1 | 2533599.6488 | 1173880.9827
2 | 2533595.3005 | 1173857.7845
3 | 2533546.5811 | 1173881.8049
4 | 2533604.5367 | 1173854.2245
5 | 2533539.3475 | 1173854.2789
6 | 2533551.3353 | 1173897.2091
7 | 2533529.104 | 1173815.3056
8 | 2533672.4203 | 1173612.601
9 | 2533725.8947 | 1173586.3075
10 | 2533630.101 | 1173628.6806
11 | 2533731.0216 | 1173600.4254
12 | 2533619.0925 | 1173672.4495
13 | 2533736.0898 | 1173614.0771
14 | 2533751.8518 | 1173590.2663
15 | 2533672.724 | 1173656.9803
16 | 2533740.7916 | 1173626.4578
17 | 2533719.6757 | 1173620.4967
18 | 2533788.0638 | 1173573.2582
19 | 2533658.2009 | 1173717.4084
20 | 2533665.6976 | 1173717.6478
21 | 2533650.126 | 1173747.815
22 | 2533694.8793 | 1173743.9396
23 | 2533635.8203 | 1173749.3632
24 | 2533630.3481 | 1173854.5393
25 | 2533630.5793 | 1173830.8183
26 | 2533630.8034 | 1173807.8145
27 | 2533630.9922 | 1173788.4387
28 | 2533615.9495 | 1173788.3387
29 | 2533634.7713 | 1173788.5747
30 | 2533746.432 | 1173641.1965
31 | 2533754.2599 | 1173658.3567
32 | 2533563.549 | 1173811.4642
33 | 2533596.142 | 1173810.9265
34 | 2533524.5296 | 1173796.7928
35 | 2533592.5973 | 1173796.7577
36 | 2533519.5841 | 1173776.7784
37 | 2533595.1913 | 1173789.3248
38 | 2533615.2774 | 1173770.3096
39 | 2533560.8429 | 1173760.2436
40 | 2533615.2056 | 1173752.9603
41 | 2533680.6784 | 1173788.2256
42 | 2533664.472 | 1173787.8676
43 | 2533712.8973 | 1173735.1019
44 | 2533695.0562 | 1173713.7396
45 | 2533727.4982 | 1173728.7956
46 | 2533741.2013 | 1173722.8709
47 | 2533726.3043 | 1173712.3003
48 | 2533778.6978 | 1173705.8578
49 | 2533770.9855 | 1173690.968
50 | 2533795.1613 | 1173735.9622
51 | 2533789.9467 | 1173681.8696
52 | 2533799.3962 | 1173743.706
53 | 2533777.0411 | 1173647.1274
54 | 2533787.8947 | 1173641.6635
55 | 2533804.0059 | 1173675.1234
56 | 2533811.1417 | 1173629.9703
57 | 2533925.7934 | 1173617.3183
58 | 2533914.8437 | 1173622.4387
59 | 2533961.0054 | 1173600.5975
60 | 2533909.115 | 1173625.1612
61 | 2533994.2132 | 1173584.9672
62 | 2533901.0236 | 1173609.193
63 | 2533826.0917 | 1173664.5257
64 | 2534004.8428 | 1173605.5491
65 | 2533819.8498 | 1173667.5209
66 | 2533788.6807 | 1173572.9909
67 | 2533854.4212 | 1173740.2246
68 | 2533847.2548 | 1173726.7462
69 | 2533861.4582 | 1173753.4599
70 | 2533825.0727 | 1173729.4534
71 | 2533818.9043 | 1173779.733
72 | 2533820.3491 | 1173625.3417
73 | 2533846.0608 | 1173612.4458
74 | 2533874.6841 | 1173597.8479
75 | 2533842.135 | 1173822.9529
76 | 2533858.3631 | 1173852.4606
77 | 2533763.5076 | 1173863.2034
78 | 2533848.8566 | 1173835.2732
79 | 2533763.2905 | 1173802.7828
80 | 2533733.9783 | 1173863.4634
81 | 2533733.6292 | 1173831.9169
82 | 2533698.7852 | 1173742.3955

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1