## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5749-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5749-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5749-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5749-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5749-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5749-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5749-5_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5749-5_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5749-5_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5749-5_0_3_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_5749-5_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_5749-5_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5749-5_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_5749-5_0_3_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_5749-5_0_3_node_94 | 0.4 | n |  | TRUE
15 | bus_LV_5749-5_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5749-5_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_5749-5_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5749-5_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5749-5_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5749-5_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5749-5_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5749-5_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5749-5_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5749-5_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5749-5_0_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_5749-5_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5749-5_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_5749-5_0_3_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_5749-5_0_3_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_5749-5_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5749-5_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5749-5_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5749-5_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5749-5_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5749-5_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5749-5_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_5749-5_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5749-5_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5749-5_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_5749-5_0_3_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_5749-5_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_5749-5_0_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_5749-5_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_5749-5_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_5749-5_0_3_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_5749-5_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_5749-5_0_3_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_5749-5_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_5749-5_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_5749-5_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5749-5_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_5749-5_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5749-5_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5749-5_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5749-5_0_3_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_5749-5_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5749-5_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5749-5_0_3_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_5749-5_0_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_5749-5_0_3_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_5749-5_0_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_5749-5_0_3_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_5749-5_0_3_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_5749-5_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5749-5_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_5749-5_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5749-5_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5749-5_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5749-5_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5749-5_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5749-5_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_5749-5_0_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5749-5_0_3_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_5749-5_0_3_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_5749-5_0_3_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_5749-5_0_3_node_89 | 0.4 | n |  | TRUE
77 | bus_LV_5749-5_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5749-5_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_5749-5_0_3_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_5749-5_0_3_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_5749-5_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_5749-5_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_5749-5_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5749-5_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_5749-5_0_3_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_5749-5_0_3_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5749-5_0_3_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_5749-5_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_5749-5_0_3_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_5749-5_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_5749-5_0_3_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_5749-5_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_5749-5_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_MV_449_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5749-5_0_3_load_0 | 0 | 0.0036783 | 0.00092186 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5749-5_0_3_load_3 | 3 | 0.0087191 | 0.0021852 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5749-5_0_3_load_12 | 7 | 0.0048012 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5749-5_0_3_load_22 | 8 | 0.0092096 | 0.0023081 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5749-5_0_3_load_86 | 9 | 0.0021929 | 0.0005496 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5749-5_0_3_load_25 | 10 | 0.0032995 | 0.00082693 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5749-5_0_3_load_24 | 11 | 0.0094658 | 0.0023724 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5749-5_0_3_load_94 | 14 | 0.022703 | 0.0056899 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5749-5_0_3_load_10 | 15 | 0.0018218 | 0.00045658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5749-5_0_3_load_26 | 16 | 0.0021589 | 0.00054106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5749-5_0_3_load_7 | 17 | 0.001527 | 0.00038269 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5749-5_0_3_load_8 | 18 | 0.0014397 | 0.00036083 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5749-5_0_3_load_9 | 19 | 0.0039442 | 0.00098852 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5749-5_0_3_load_11 | 20 | 0.0034043 | 0.0008532 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5749-5_0_3_load_13 | 21 | 0.0026552 | 0.00066544 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5749-5_0_3_load_41 | 25 | 0.0074639 | 0.0018706 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5749-5_0_3_load_28 | 27 | 0.0046284 | 0.00116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5749-5_0_3_load_92 | 29 | 0.0023124 | 0.00057954 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5749-5_0_3_load_17 | 30 | 0.0046305 | 0.0011605 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5749-5_0_3_load_21 | 34 | 0.0057937 | 0.001452 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5749-5_0_3_load_32 | 35 | 0.01801 | 0.0045137 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5749-5_0_3_load_31 | 37 | 0.0041803 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5749-5_0_3_load_61 | 39 | 0.020446 | 0.0051242 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5749-5_0_3_load_59 | 40 | 0.017294 | 0.0043343 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5749-5_0_3_load_73 | 44 | 0.0019119 | 0.00047918 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5749-5_0_3_load_54 | 46 | 0.040973 | 0.010269 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5749-5_0_3_load_91 | 47 | 0.010088 | 0.0025283 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5749-5_0_3_load_34 | 49 | 0.0011066 | 0.00027733 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5749-5_0_3_load_62 | 51 | 0.0054916 | 0.0013763 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5749-5_0_3_load_37 | 52 | 0.00097401 | 0.00024411 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5749-5_0_3_load_45 | 53 | 0.00088151 | 0.00022093 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5749-5_0_3_load_101 | 55 | 0.018949 | 0.0047491 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5749-5_0_3_load_78 | 58 | 0.0090864 | 0.0022773 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5749-5_0_3_load_64 | 59 | 0.002093 | 0.00052457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5749-5_0_3_load_79 | 60 | 0.0021979 | 0.00055085 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5749-5_0_3_load_63 | 61 | 0.0059133 | 0.001482 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5749-5_0_3_load_100 | 62 | 0.0016931 | 0.00042434 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5749-5_0_3_load_98 | 63 | 0.0016053 | 0.00040232 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5749-5_0_3_load_48 | 64 | 0.0019123 | 0.00047928 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5749-5_0_3_load_49 | 65 | 0.0013834 | 0.00034672 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5749-5_0_3_load_51 | 67 | 0.00084058 | 0.00021067 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5749-5_0_3_load_52 | 68 | 0.00092225 | 0.00023114 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5749-5_0_3_load_76 | 70 | 0.0011308 | 0.0002834 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5749-5_0_3_load_72 | 71 | 0.00056362 | 0.00014126 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5749-5_0_3_load_74 | 72 | 0.0016858 | 0.0004225 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5749-5_0_3_load_83 | 73 | 0.0014851 | 0.0003722 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5749-5_0_3_load_82 | 74 | 0.00056213 | 0.00014088 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5749-5_0_3_load_89 | 76 | 0.019593 | 0.0049104 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5749-5_0_3_load_65 | 77 | 0.0062507 | 0.0015666 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5749-5_0_3_load_66 | 78 | 0.017325 | 0.0043421 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5749-5_0_3_load_90 | 80 | 0.017032 | 0.0042686 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5749-5_0_3_load_87 | 81 | 0.0062158 | 0.0015578 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5749-5_0_3_load_67 | 82 | 0.0014364 | 0.00035999 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5749-5_0_3_load_68 | 83 | 0.0011032 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5749-5_0_3_load_69 | 84 | 0.0023708 | 0.00059418 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5749-5_0_3_load_71 | 85 | 0.0012548 | 0.00031449 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5749-5_0_3_load_75 | 88 | 0.00057075 | 0.00014304 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5749-5_0_3_load_77 | 89 | 0.00040348 | 0.00010112 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5749-5_0_3_load_97 | 91 | 0.017226 | 0.0043173 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5749-5_0_3_load_88 | 92 | 0.0073419 | 0.00184 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5749-5_0_3_load_93 | 93 | 0.011841 | 0.0029676 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5749-5_0_3_line_0 |  | 0 | 1 | 0.0059335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5749-5_0_3_line_1 |  | 0 | 2 | 0.00013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5749-5_0_3_line_2 |  | 1 | 3 | 0.0169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5749-5_0_3_line_3 |  | 1 | 4 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5749-5_0_3_line_4 |  | 2 | 5 | 0.034012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5749-5_0_3_line_5 |  | 2 | 6 | 0.025822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5749-5_0_3_line_6 |  | 3 | 7 | 0.030135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5749-5_0_3_line_7 |  | 4 | 8 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5749-5_0_3_line_8 |  | 5 | 9 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5749-5_0_3_line_9 |  | 6 | 10 | 0.020973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5749-5_0_3_line_10 |  | 6 | 11 | 0.013057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5749-5_0_3_line_11 |  | 9 | 15 | 0.0051886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5749-5_0_3_line_12 |  | 10 | 16 | 0.049728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5749-5_0_3_line_13 |  | 12 | 13 | 0.01716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5749-5_0_3_line_14 |  | 12 | 14 | 0.051037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5749-5_0_3_line_15 |  | 13 | 39 | 0.02724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5749-5_0_3_line_16 |  | 13 | 40 | 0.0062072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5749-5_0_3_line_17 |  | 15 | 18 | 0.0048388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5749-5_0_3_line_18 |  | 16 | 38 | 0.034458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5749-5_0_3_line_19 |  | 17 | 18 | 0.0051215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5749-5_0_3_line_20 |  | 17 | 19 | 0.017517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5749-5_0_3_line_21 |  | 19 | 20 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5749-5_0_3_line_22 |  | 21 | 22 | 0.05522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5749-5_0_3_line_23 |  | 22 | 23 | 0.006628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5749-5_0_3_line_24 |  | 22 | 24 | 0.030025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5749-5_0_3_line_25 |  | 23 | 25 | 0.032106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5749-5_0_3_line_26 |  | 24 | 26 | 0.066722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5749-5_0_3_line_27 |  | 24 | 27 | 0.02907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5749-5_0_3_line_28 |  | 26 | 28 | 0.057183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5749-5_0_3_line_29 |  | 26 | 29 | 0.027691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5749-5_0_3_line_30 |  | 28 | 46 | 0.0345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5749-5_0_3_line_31 |  | 28 | 41 | 0.01878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5749-5_0_3_line_32 |  | 29 | 47 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5749-5_0_3_line_33 |  | 30 | 31 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5749-5_0_3_line_34 |  | 30 | 32 | 0.0064452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5749-5_0_3_line_35 |  | 31 | 33 | 0.014216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5749-5_0_3_line_36 |  | 32 | 34 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5749-5_0_3_line_37 |  | 33 | 35 | 0.071357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5749-5_0_3_line_38 |  | 34 | 36 | 0.013243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5749-5_0_3_line_39 |  | 35 | 37 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5749-5_0_3_line_40 |  | 36 | 38 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5749-5_0_3_line_41 |  | 37 | 48 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5749-5_0_3_line_42 |  | 39 | 50 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5749-5_0_3_line_43 |  | 40 | 75 | 0.045077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5749-5_0_3_line_44 |  | 41 | 42 | 0.017278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5749-5_0_3_line_45 |  | 41 | 43 | 0.055243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5749-5_0_3_line_46 |  | 42 | 63 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5749-5_0_3_line_47 |  | 42 | 56 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5749-5_0_3_line_48 |  | 43 | 44 | 0.021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5749-5_0_3_line_49 |  | 43 | 45 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5749-5_0_3_line_50 |  | 45 | 76 | 0.042628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5749-5_0_3_line_51 |  | 46 | 75 | 0.014653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5749-5_0_3_line_52 |  | 47 | 93 | 0.0075168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5749-5_0_3_line_53 |  | 48 | 49 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5749-5_0_3_line_54 |  | 48 | 50 | 0.008771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5749-5_0_3_line_55 |  | 50 | 51 | 0.0026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5749-5_0_3_line_56 |  | 52 | 53 | 0.028008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5749-5_0_3_line_57 |  | 53 | 54 | 0.0070042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5749-5_0_3_line_58 |  | 54 | 56 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5749-5_0_3_line_59 |  | 54 | 55 | 0.060008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5749-5_0_3_line_60 |  | 56 | 62 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5749-5_0_3_line_61 |  | 57 | 58 | 0.028804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5749-5_0_3_line_62 |  | 57 | 59 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5749-5_0_3_line_63 |  | 58 | 60 | 0.025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5749-5_0_3_line_64 |  | 59 | 61 | 0.0075551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5749-5_0_3_line_65 |  | 60 | 90 | 0.022993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5749-5_0_3_line_66 |  | 61 | 77 | 0.035677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5749-5_0_3_line_67 |  | 64 | 65 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5749-5_0_3_line_68 |  | 64 | 66 | 0.044125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5749-5_0_3_line_69 |  | 65 | 67 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5749-5_0_3_line_70 |  | 66 | 68 | 0.019733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5749-5_0_3_line_71 |  | 66 | 69 | 0.052691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5749-5_0_3_line_72 |  | 67 | 73 | 0.025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5749-5_0_3_line_73 |  | 69 | 71 | 0.075259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5749-5_0_3_line_74 |  | 70 | 71 | 0.086679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5749-5_0_3_line_75 |  | 70 | 72 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5749-5_0_3_line_76 |  | 72 | 88 | 0.009735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5749-5_0_3_line_77 |  | 73 | 74 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5749-5_0_3_line_78 |  | 74 | 87 | 0.0040171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5749-5_0_3_line_79 |  | 76 | 92 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_5749-5_0_3_line_80 |  | 77 | 78 | 0.0051041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_5749-5_0_3_line_81 |  | 78 | 79 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_5749-5_0_3_line_82 |  | 79 | 80 | 0.042846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5749-5_0_3_line_83 |  | 79 | 81 | 0.027006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_5749-5_0_3_line_84 |  | 80 | 91 | 0.047416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5749-5_0_3_line_85 |  | 81 | 92 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_5749-5_0_3_line_86 |  | 82 | 83 | 0.0077152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5749-5_0_3_line_87 |  | 82 | 84 | 0.022126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5749-5_0_3_line_88 |  | 84 | 85 | 0.0032143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5749-5_0_3_line_89 |  | 85 | 86 | 0.047244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5749-5_0_3_line_90 |  | 86 | 87 | 0.007134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5749-5_0_3_line_91 |  | 88 | 89 | 0.022058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5749-5_0_3_line_92 |  | 89 | 90 | 0.030557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5749-5_0_3_trafo_59 | 0.63 MVA 20/0.4 kV | 94 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2533604.0146 | 1173632.6497 | 2533606.0431 | 1173638.2257
1 | 2533606.0891 | 1173638.3521 | 2533606.0431 | 1173638.2257
2 | 2533604.0146 | 1173632.6497 | 2533619.4629 | 1173625.7972
3 | 2533600.0013 | 1173622.4328 | 2533604.0146 | 1173632.6497
4 | 2533606.0891 | 1173638.3521 | 2533618.1495 | 1173670.1587
5 | 2533630.101 | 1173628.6806 | 2533614.1592 | 1173635.1164 | 2533606.0891 | 1173638.3521
6 | 2533647.0096 | 1173613.5781 | 2533619.4629 | 1173625.7972
7 | 2533600.0013 | 1173622.4328 | 2533583.6439 | 1173630.6264
8 | 2533618.1495 | 1173670.1587 | 2533608.7416 | 1173674.5686
9 | 2533630.101 | 1173628.6806 | 2533636.5855 | 1173626.5854 | 2533649.7751 | 1173621.4382
10 | 2533630.101 | 1173628.6806 | 2533634.8349 | 1173640.8497
11 | 2533608.7416 | 1173674.5686 | 2533604.0436 | 1173676.7708
12 | 2533649.7751 | 1173621.4382 | 2533673.7051 | 1173612.0996 | 2533678.6167 | 1173610.2219 | 2533683.6322 | 1173607.3648 | 2533687.1787 | 1173605.1243 | 2533694.1777 | 1173599.766
13 | 2533569.6872 | 1173538.2658 | 2533566.9579 | 1173544.544 | 2533563.049 | 1173554.0927
14 | 2533563.049 | 1173554.0927 | 2533560.8432 | 1173559.2979 | 2533558.5019 | 1173565.394 | 2533555.0156 | 1173577.873 | 2533550.668 | 1173595.4312 | 2533548.8248 | 1173603.0186
15 | 2533569.6872 | 1173538.2658 | 2533576.471 | 1173527.9848 | 2533584.9777 | 1173521.3534 | 2533588.0857 | 1173518.623
16 | 2533569.6872 | 1173538.2658 | 2533566.7063 | 1173536.3422 | 2533564.0646 | 1173536.038 | 2533564.0643 | 1173536.0382
17 | 2533604.0436 | 1173676.7708 | 2533599.6623 | 1173678.8245
18 | 2533725.8947 | 1173586.3075 | 2533719.94 | 1173588.608 | 2533694.1777 | 1173599.766 | 2533694.1777 | 1173599.766
19 | 2533595.025 | 1173680.9982 | 2533599.6623 | 1173678.8245
20 | 2533581.3607 | 1173682.0473 | 2533583.5578 | 1173686.3734 | 2533595.025 | 1173680.9982
21 | 2533581.3607 | 1173682.0473 | 2533576.5067 | 1173672.4901
22 | 2533531.9156 | 1173697.9637 | 2533535.4058 | 1173693.4224 | 2533537.7542 | 1173690.0389 | 2533542.2361 | 1173682.5294 | 2533548.6056 | 1173672.1418 | 2533570.0012 | 1173660.3225
23 | 2533531.9156 | 1173697.9637 | 2533538.2099 | 1173700.0951
24 | 2533531.9156 | 1173697.9637 | 2533526.181 | 1173703.5416 | 2533523.7397 | 1173705.4364 | 2533520.3694 | 1173706.3076 | 2533515.4408 | 1173706.6514 | 2533510.6325 | 1173706.8048 | 2533504.9465 | 1173707.8018
25 | 2533538.2099 | 1173700.0951 | 2533553.7519 | 1173693.4856 | 2533559.3989 | 1173707.6161
26 | 2533504.9465 | 1173707.8018 | 2533497.7912 | 1173670.827 | 2533492.2667 | 1173642.3056
27 | 2533504.9465 | 1173707.8018 | 2533510.9812 | 1173736.2387
28 | 2533492.2667 | 1173642.3056 | 2533481.7466 | 1173590.8822 | 2533485.6405 | 1173588.2597
29 | 2533492.2667 | 1173642.3056 | 2533515.2897 | 1173626.9192
30 | 2533485.6405 | 1173588.2597 | 2533514.2556 | 1173568.988
31 | 2533473.2289 | 1173585.4959 | 2533479.8101 | 1173583.8442 | 2533481.7466 | 1173590.8822 | 2533485.6405 | 1173588.2597
32 | 2533508.0954 | 1173616.416 | 2533515.2897 | 1173626.9192 | 2533515.2897 | 1173626.9192
33 | 2533699.9319 | 1173518.5788 | 2533703.9528 | 1173528.1063 | 2533707.504 | 1173537.3389 | 2533708.5602 | 1173540.1689
34 | 2533710.814 | 1173546.2073 | 2533708.5602 | 1173540.1689
35 | 2533699.9319 | 1173518.5788 | 2533687.0134 | 1173524.5918
36 | 2533710.814 | 1173546.2073 | 2533715.806 | 1173559.2267
37 | 2533687.0134 | 1173524.5918 | 2533657.9739 | 1173541.6117 | 2533641.3192 | 1173549.9898 | 2533632.5343 | 1173533.5889 | 2533632.2296 | 1173533.2589
38 | 2533720.547 | 1173571.5917 | 2533715.806 | 1173559.2267
39 | 2533618.2404 | 1173521.0735 | 2533622.89 | 1173523.1454 | 2533632.2296 | 1173533.2589
40 | 2533725.8947 | 1173586.3075 | 2533720.547 | 1173571.5917
41 | 2533611.1903 | 1173510.101 | 2533614.452 | 1173516.6686 | 2533618.2404 | 1173521.0735 | 2533618.2404 | 1173521.0735
42 | 2533605.1093 | 1173503.7648 | 2533595.3158 | 1173512.2892 | 2533593.3086 | 1173514.0347 | 2533588.0857 | 1173518.623
43 | 2533526.409 | 1173560.8029 | 2533544.6263 | 1173548.5383 | 2533558.739 | 1173539.1988 | 2533564.0643 | 1173536.0382
44 | 2533473.2289 | 1173585.4959 | 2533477.0896 | 1173598.4715 | 2533473.468 | 1173599.4456
45 | 2533473.2289 | 1173585.4959 | 2533479.8101 | 1173583.8442 | 2533467.4974 | 1173536.9766
46 | 2533473.468 | 1173599.4456 | 2533468.8434 | 1173581.2117
47 | 2533462.8698 | 1173602.276 | 2533473.468 | 1173599.4456
48 | 2533467.4974 | 1173536.9766 | 2533461.7291 | 1173519.5642 | 2533460.8872 | 1173516.7981
49 | 2533467.4974 | 1173536.9766 | 2533472.5134 | 1173533.4745 | 2533485.3826 | 1173524.4154
50 | 2533485.3826 | 1173524.4154 | 2533512.0913 | 1173506.898 | 2533520.9494 | 1173500.9186
51 | 2533526.409 | 1173560.8029 | 2533514.2556 | 1173568.988
52 | 2533503.8476 | 1173610.2145 | 2533508.0954 | 1173616.416
53 | 2533611.1903 | 1173510.101 | 2533617.8987 | 1173506.1133 | 2533620.9567 | 1173503.7748
54 | 2533605.1093 | 1173503.7648 | 2533611.1903 | 1173510.101
55 | 2533605.1093 | 1173503.7648 | 2533607.0557 | 1173501.9894
56 | 2533445.9546 | 1173599.7313 | 2533424.2249 | 1173582.0596
57 | 2533448.103 | 1173606.3979 | 2533445.9546 | 1173599.7313
58 | 2533462.8698 | 1173602.276 | 2533451.9437 | 1173605.1879 | 2533448.103 | 1173606.3979
59 | 2533448.103 | 1173606.3979 | 2533436.5986 | 1173665.2923
60 | 2533462.8698 | 1173602.276 | 2533457.893 | 1173583.933
61 | 2533618.2858 | 1173411.3333 | 2533612.6069 | 1173403.3362 | 2533607.6025 | 1173396.1765 | 2533601.3859 | 1173388.0139
62 | 2533618.2858 | 1173411.3333 | 2533604.919 | 1173419.6264
63 | 2533601.3859 | 1173388.0139 | 2533598.2745 | 1173383.9285 | 2533589.7285 | 1173370.4934 | 2533587.5992 | 1173366.2382
64 | 2533598.3534 | 1173423.3598 | 2533603.0878 | 1173420.7626 | 2533604.919 | 1173419.6264
65 | 2533577.6742 | 1173345.5018 | 2533582.2911 | 1173355.6452 | 2533585.9276 | 1173362.8979 | 2533587.5992 | 1173366.2382
66 | 2533598.3534 | 1173423.3598 | 2533587.5129 | 1173429.3067 | 2533575.5729 | 1173435.298 | 2533566.6504 | 1173439.7104
67 | 2533371.6328 | 1173227.4422 | 2533366.664 | 1173211.4579
68 | 2533384.7312 | 1173269.5786 | 2533371.6328 | 1173227.4422
69 | 2533366.664 | 1173211.4579 | 2533361.633 | 1173195.2736
70 | 2533384.7312 | 1173269.5786 | 2533390.7277 | 1173267.5886 | 2533402.7907 | 1173263.6967 | 2533403.4654 | 1173263.3938
71 | 2533399.663 | 1173320.1078 | 2533396.1585 | 1173308.24 | 2533384.7312 | 1173269.5786
72 | 2533369.4108 | 1173175.8021 | 2533363.0561 | 1173179.3909 | 2533360.6429 | 1173181.0742 | 2533359.3538 | 1173182.7562 | 2533358.9558 | 1173184.784 | 2533359.1043 | 1173187.1392 | 2533361.633 | 1173195.2736
73 | 2533399.663 | 1173320.1078 | 2533422.2314 | 1173391.903
74 | 2533506.5217 | 1173371.6946 | 2533422.2314 | 1173391.903
75 | 2533506.5217 | 1173371.6946 | 2533515.2488 | 1173368.3625 | 2533519.1269 | 1173366.8522
76 | 2533519.1269 | 1173366.8522 | 2533524.6223 | 1173364.712 | 2533528.1953 | 1173363.312
77 | 2533388.1511 | 1173165.0966 | 2533381.1897 | 1173169.1501 | 2533369.4108 | 1173175.8021
78 | 2533391.6226 | 1173163.0752 | 2533388.1511 | 1173165.0966
79 | 2533536.3782 | 1173489.5545 | 2533530.1418 | 1173495.4357 | 2533520.9494 | 1173500.9186
80 | 2533566.6504 | 1173439.7104 | 2533562.0752 | 1173441.9729
81 | 2533549.6259 | 1173450.5165 | 2533550.9732 | 1173448.5782 | 2533552.6843 | 1173447.025 | 2533556.1176 | 1173444.9191 | 2533562.0752 | 1173441.9729
82 | 2533549.6259 | 1173450.5165 | 2533546.5667 | 1173450.4948 | 2533542.9535 | 1173452.2359 | 2533539.5324 | 1173451.9959 | 2533537.5817 | 1173449.8719 | 2533532.0869 | 1173440.5609 | 2533530.5416 | 1173438.4435 | 2533529.0493 | 1173437.6597 | 2533526.71 | 1173437.7301 | 2533520.6392 | 1173439.9098 | 2533515.5629 | 1173442.1615
83 | 2533549.6259 | 1173450.5165 | 2533545.9021 | 1173474.6825 | 2533545.4911 | 1173477.204
84 | 2533478.4407 | 1173467.1389 | 2533495.4288 | 1173460.1676 | 2533497.31 | 1173458.7793 | 2533498.2291 | 1173456.8458 | 2533499.3458 | 1173452.0418 | 2533500.2162 | 1173449.842 | 2533502.0025 | 1173448.1768 | 2533515.5629 | 1173442.1615
85 | 2533545.4911 | 1173477.204 | 2533545.136 | 1173479.3825 | 2533543.2044 | 1173483.1172 | 2533536.3782 | 1173489.5545
86 | 2533436.9185 | 1173220.2844 | 2533437.3896 | 1173220.4323 | 2533440.0599 | 1173219.8579 | 2533444.2304 | 1173218.1943
87 | 2533436.9185 | 1173220.2844 | 2533435.0642 | 1173219.7022 | 2533433.0125 | 1173218.1352 | 2533432.0853 | 1173215.9109 | 2533425.5396 | 1173202.2023
88 | 2533424.1546 | 1173199.3017 | 2533425.5396 | 1173202.2023
89 | 2533398.1049 | 1173160.057 | 2533402.1661 | 1173166.2709 | 2533407.4469 | 1173173.4941 | 2533417.8854 | 1173187.1858 | 2533420.215 | 1173191.051 | 2533424.1546 | 1173199.3017
90 | 2533398.1049 | 1173160.057 | 2533391.6226 | 1173163.0752
91 | 2533528.1953 | 1173363.312 | 2533535.5718 | 1173360.4215 | 2533539.6993 | 1173358.8415 | 2533547.1638 | 1173356.1349 | 2533548.8251 | 1173355.5089
92 | 2533577.6742 | 1173345.5018 | 2533567.8023 | 1173348.3573 | 2533548.8251 | 1173355.5089

## bus_geodata
| x | y | coords
0 | 2533606.0431 | 1173638.2257
1 | 2533604.0146 | 1173632.6497
2 | 2533606.0891 | 1173638.3521
3 | 2533619.4629 | 1173625.7972
4 | 2533600.0013 | 1173622.4328
5 | 2533618.1495 | 1173670.1587
6 | 2533630.101 | 1173628.6806
7 | 2533647.0096 | 1173613.5781
8 | 2533583.6439 | 1173630.6264
9 | 2533608.7416 | 1173674.5686
10 | 2533649.7751 | 1173621.4382
11 | 2533634.8349 | 1173640.8497
12 | 2533563.049 | 1173554.0927
13 | 2533569.6872 | 1173538.2658
14 | 2533548.8248 | 1173603.0186
15 | 2533604.0436 | 1173676.7708
16 | 2533694.1777 | 1173599.766
17 | 2533595.025 | 1173680.9982
18 | 2533599.6623 | 1173678.8245
19 | 2533581.3607 | 1173682.0473
20 | 2533576.5067 | 1173672.4901
21 | 2533570.0012 | 1173660.3225
22 | 2533531.9156 | 1173697.9637
23 | 2533538.2099 | 1173700.0951
24 | 2533504.9465 | 1173707.8018
25 | 2533559.3989 | 1173707.6161
26 | 2533492.2667 | 1173642.3056
27 | 2533510.9812 | 1173736.2387
28 | 2533485.6405 | 1173588.2597
29 | 2533515.2898 | 1173626.9192
30 | 2533708.5602 | 1173540.1689
31 | 2533699.9319 | 1173518.5788
32 | 2533710.814 | 1173546.2073
33 | 2533687.0134 | 1173524.5918
34 | 2533715.806 | 1173559.2267
35 | 2533632.2296 | 1173533.2589
36 | 2533720.547 | 1173571.5917
37 | 2533618.2404 | 1173521.0735
38 | 2533725.8947 | 1173586.3075
39 | 2533588.0857 | 1173518.623
40 | 2533564.0643 | 1173536.0382
41 | 2533473.2289 | 1173585.4959
42 | 2533473.468 | 1173599.4456
43 | 2533467.4974 | 1173536.9766
44 | 2533460.8872 | 1173516.7981
45 | 2533485.3826 | 1173524.4154
46 | 2533514.2556 | 1173568.988
47 | 2533508.0954 | 1173616.416
48 | 2533611.1903 | 1173510.101
49 | 2533620.9567 | 1173503.7748
50 | 2533605.1093 | 1173503.7648
51 | 2533607.0557 | 1173501.9894
52 | 2533424.2249 | 1173582.0596
53 | 2533445.9546 | 1173599.7313
54 | 2533448.103 | 1173606.3979
55 | 2533436.5986 | 1173665.2923
56 | 2533462.8698 | 1173602.276
57 | 2533618.2858 | 1173411.3333
58 | 2533601.3859 | 1173388.0139
59 | 2533604.919 | 1173419.6264
60 | 2533587.5992 | 1173366.2382
61 | 2533598.3534 | 1173423.3598
62 | 2533457.893 | 1173583.933
63 | 2533468.8434 | 1173581.2117
64 | 2533371.6328 | 1173227.4422
65 | 2533366.664 | 1173211.4579
66 | 2533384.7312 | 1173269.5786
67 | 2533361.633 | 1173195.2736
68 | 2533403.4654 | 1173263.3938
69 | 2533399.663 | 1173320.1078
70 | 2533506.5217 | 1173371.6946
71 | 2533422.2314 | 1173391.903
72 | 2533519.1269 | 1173366.8522
73 | 2533369.4108 | 1173175.8021
74 | 2533388.1511 | 1173165.0966
75 | 2533526.409 | 1173560.8029
76 | 2533520.9494 | 1173500.9186
77 | 2533566.6504 | 1173439.7104
78 | 2533562.0752 | 1173441.9729
79 | 2533549.6259 | 1173450.5165
80 | 2533515.5629 | 1173442.1615
81 | 2533545.4911 | 1173477.204
82 | 2533436.9185 | 1173220.2844
83 | 2533444.2304 | 1173218.1943
84 | 2533425.5396 | 1173202.2023
85 | 2533424.1546 | 1173199.3017
86 | 2533398.1049 | 1173160.057
87 | 2533391.6226 | 1173163.0752
88 | 2533528.1953 | 1173363.312
89 | 2533548.8251 | 1173355.5089
90 | 2533577.6742 | 1173345.5018
91 | 2533478.4407 | 1173467.1389
92 | 2533536.3782 | 1173489.5545
93 | 2533503.8476 | 1173610.2145
94 | 2533569.6872 | 1173538.2658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1