## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5757-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5757-11_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5757-11_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5757-11_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5757-11_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5757-11_0_3_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_5757-11_0_3_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_5757-11_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5757-11_0_3_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_5757-11_0_3_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_5757-11_0_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_5757-11_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_5757-11_0_3_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_5757-11_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_5757-11_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_5757-11_0_3_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_5757-11_0_3_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_5757-11_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_5757-11_0_3_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_5757-11_0_3_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_5757-11_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_5757-11_0_3_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_5757-11_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5757-11_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5757-11_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5757-11_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_5757-11_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_5757-11_0_3_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_5757-11_0_3_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_5757-11_0_3_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_5757-11_0_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_5757-11_0_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_5757-11_0_3_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_5757-11_0_3_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_5757-11_0_3_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_5757-11_0_3_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_5757-11_0_3_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_5757-11_0_3_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5757-11_0_3_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5757-11_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5757-11_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5757-11_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5757-11_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5757-11_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5757-11_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5757-11_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5757-11_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5757-11_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5757-11_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5757-11_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5757-11_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5757-11_0_3_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_5757-11_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5757-11_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5757-11_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5757-11_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5757-11_0_3_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_5757-11_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5757-11_0_3_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_5757-11_0_3_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_5757-11_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_5757-11_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_5757-11_0_3_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_5757-11_0_3_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_5757-11_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_5757-11_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5757-11_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5757-11_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5757-11_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5757-11_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5757-11_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_MV_319_1_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5757-11_0_3_load_0 | 0 | 0.055632 | 0.013943 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5757-11_0_3_load_6 | 4 | 0.0096842 | 0.0024271 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5757-11_0_3_load_38 | 6 | 0.0029159 | 0.0007308 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5757-11_0_3_load_57 | 8 | 0.025605 | 0.0064172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5757-11_0_3_load_56 | 9 | 0.012168 | 0.0030495 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5757-11_0_3_load_52 | 10 | 0.0025808 | 0.00064682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5757-11_0_3_load_53 | 13 | 0.0033571 | 0.00084137 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5757-11_0_3_load_55 | 17 | 0.0095866 | 0.0024026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5757-11_0_3_load_66 | 18 | 0.0026897 | 0.00067409 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5757-11_0_3_load_64 | 19 | 0.0052932 | 0.0013266 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5757-11_0_3_load_59 | 21 | 0.023859 | 0.0059796 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5757-11_0_3_load_19 | 24 | 0.0065605 | 0.0016442 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5757-11_0_3_load_74 | 25 | 0.0033582 | 0.00084165 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5757-11_0_3_load_36 | 26 | 0.0012637 | 0.00031671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5757-11_0_3_load_8 | 27 | 0.002297 | 0.00057567 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5757-11_0_3_load_54 | 30 | 0.0023816 | 0.00059689 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5757-11_0_3_load_11 | 32 | 0.0063116 | 0.0015818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5757-11_0_3_load_12 | 33 | 0.0036626 | 0.00091794 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5757-11_0_3_load_13 | 34 | 0.0033582 | 0.00084165 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5757-11_0_3_load_15 | 35 | 0.0025289 | 0.00063381 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5757-11_0_3_load_16 | 36 | 0.0022752 | 0.00057022 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5757-11_0_3_load_17 | 37 | 0.012238 | 0.003067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5757-11_0_3_load_18 | 38 | 0.0020283 | 0.00050834 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5757-11_0_3_load_33 | 39 | 0.004343 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5757-11_0_3_load_21 | 41 | 0.0029071 | 0.00072858 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5757-11_0_3_load_22 | 42 | 0.0060118 | 0.0015067 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5757-11_0_3_load_24 | 44 | 0.0046928 | 0.0011761 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5757-11_0_3_load_26 | 46 | 0.0023888 | 0.0005987 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5757-11_0_3_load_27 | 47 | 0.0029653 | 0.00074316 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5757-11_0_3_load_29 | 49 | 0.002607 | 0.00065338 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5757-11_0_3_load_39 | 50 | 0.0028602 | 0.00071683 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5757-11_0_3_load_70 | 51 | 0.0014282 | 0.00035793 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5757-11_0_3_load_32 | 52 | 0.006315 | 0.0015827 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5757-11_0_3_load_40 | 54 | 0.0017635 | 0.00044197 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5757-11_0_3_load_71 | 56 | 0.0021582 | 0.00054089 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5757-11_0_3_load_75 | 58 | 0.024381 | 0.0061104 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5757-11_0_3_load_34 | 59 | 0.0031307 | 0.00078464 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5757-11_0_3_load_68 | 60 | 0.0038574 | 0.00096675 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5757-11_0_3_load_69 | 61 | 0.0047768 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5757-11_0_3_load_35 | 62 | 0.0017339 | 0.00043455 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5757-11_0_3_load_37 | 63 | 0.003231 | 0.00080976 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5757-11_0_3_load_67 | 64 | 0.0052561 | 0.0013173 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5757-11_0_3_load_65 | 65 | 0.0071116 | 0.0017823 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5757-11_0_3_load_58 | 66 | 0.02386 | 0.0059799 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5757-11_0_3_load_60 | 67 | 0.0031124 | 0.00078004 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5757-11_0_3_load_61 | 68 | 0.018197 | 0.0045606 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5757-11_0_3_load_62 | 69 | 0.0026299 | 0.00065912 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5757-11_0_3_load_63 | 70 | 0.0065297 | 0.0016365 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5757-11_0_3_line_0 |  | 0 | 1 | 0.038515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5757-11_0_3_line_1 |  | 1 | 2 | 0.041521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5757-11_0_3_line_2 |  | 1 | 3 | 0.072864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5757-11_0_3_line_3 |  | 2 | 4 | 0.027596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5757-11_0_3_line_4 |  | 3 | 5 | 0.0097366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5757-11_0_3_line_5 |  | 3 | 6 | 0.036826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5757-11_0_3_line_6 |  | 5 | 10 | 0.035007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5757-11_0_3_line_7 |  | 5 | 11 | 0.026097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5757-11_0_3_line_8 |  | 6 | 26 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5757-11_0_3_line_9 |  | 7 | 8 | 0.030192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5757-11_0_3_line_10 |  | 7 | 9 | 0.029987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5757-11_0_3_line_11 |  | 9 | 17 | 0.031672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5757-11_0_3_line_12 |  | 11 | 12 | 0.034645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5757-11_0_3_line_13 |  | 11 | 34 | 0.041671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5757-11_0_3_line_14 |  | 12 | 13 | 0.0046356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5757-11_0_3_line_15 |  | 13 | 25 | 0.0041519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5757-11_0_3_line_16 |  | 14 | 15 | 0.072723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5757-11_0_3_line_17 |  | 14 | 16 | 0.075868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5757-11_0_3_line_18 |  | 14 | 17 | 0.0017935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5757-11_0_3_line_19 |  | 15 | 25 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5757-11_0_3_line_20 |  | 15 | 20 | 0.042441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5757-11_0_3_line_21 |  | 15 | 22 | 0.05092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5757-11_0_3_line_22 |  | 16 | 18 | 0.034202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5757-11_0_3_line_23 |  | 16 | 19 | 0.020352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5757-11_0_3_line_24 |  | 18 | 64 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5757-11_0_3_line_25 |  | 19 | 65 | 0.02206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5757-11_0_3_line_26 |  | 20 | 21 | 0.019646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5757-11_0_3_line_27 |  | 21 | 66 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5757-11_0_3_line_28 |  | 22 | 23 | 0.015821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5757-11_0_3_line_29 |  | 22 | 24 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5757-11_0_3_line_30 |  | 23 | 39 | 0.045936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5757-11_0_3_line_31 |  | 23 | 40 | 0.005599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5757-11_0_3_line_32 |  | 24 | 37 | 0.0079342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5757-11_0_3_line_33 |  | 26 | 62 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5757-11_0_3_line_34 |  | 27 | 28 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5757-11_0_3_line_35 |  | 28 | 29 | 0.20175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5757-11_0_3_line_36 |  | 29 | 30 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5757-11_0_3_line_37 |  | 30 | 31 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5757-11_0_3_line_38 |  | 31 | 53 | 0.027333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5757-11_0_3_line_39 |  | 32 | 33 | 0.014511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5757-11_0_3_line_40 |  | 32 | 34 | 0.0018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5757-11_0_3_line_41 |  | 35 | 36 | 0.018397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5757-11_0_3_line_42 |  | 35 | 37 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5757-11_0_3_line_43 |  | 36 | 38 | 0.01737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5757-11_0_3_line_44 |  | 39 | 60 | 0.050638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5757-11_0_3_line_45 |  | 40 | 52 | 0.040002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5757-11_0_3_line_46 |  | 40 | 46 | 0.0097995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5757-11_0_3_line_47 |  | 41 | 42 | 0.020355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5757-11_0_3_line_48 |  | 41 | 43 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5757-11_0_3_line_49 |  | 42 | 44 | 0.034575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5757-11_0_3_line_50 |  | 43 | 45 | 0.036051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5757-11_0_3_line_51 |  | 43 | 46 | 0.04054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5757-11_0_3_line_52 |  | 44 | 47 | 0.00060211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5757-11_0_3_line_53 |  | 45 | 48 | 0.020982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5757-11_0_3_line_54 |  | 45 | 49 | 0.026776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5757-11_0_3_line_55 |  | 48 | 50 | 0.038238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5757-11_0_3_line_56 |  | 49 | 51 | 0.010266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5757-11_0_3_line_57 |  | 50 | 54 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5757-11_0_3_line_58 |  | 51 | 55 | 0.0041082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5757-11_0_3_line_59 |  | 52 | 59 | 0.020165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5757-11_0_3_line_60 |  | 53 | 54 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5757-11_0_3_line_61 |  | 55 | 56 | 0.0053158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5757-11_0_3_line_62 |  | 55 | 57 | 0.14209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5757-11_0_3_line_63 |  | 57 | 58 | 0.053949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5757-11_0_3_line_64 |  | 59 | 61 | 0.0015577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5757-11_0_3_line_65 |  | 62 | 63 | 0.036909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5757-11_0_3_line_66 |  | 64 | 70 | 0.004064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5757-11_0_3_line_67 |  | 67 | 68 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5757-11_0_3_line_68 |  | 68 | 69 | 0.020205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5757-11_0_3_line_69 |  | 69 | 70 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5757-11_0_3_trafo_46 | 0.63 MVA 20/0.4 kV | 71 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2530682.0251 | 1176045.2737 | 2530679.6985 | 1176062.1992 | 2530674.3437 | 1176082.9501
1 | 2530704.9746 | 1176070.5115 | 2530699.0043 | 1176046.7225 | 2530682.0251 | 1176045.2737
2 | 2530680.5495 | 1175972.6381 | 2530683.31 | 1175997.7983 | 2530683.8789 | 1176009.2983 | 2530683.3132 | 1176030.4281 | 2530682.0251 | 1176045.2737
3 | 2530704.9746 | 1176070.5115 | 2530731.7053 | 1176063.6543
4 | 2530680.5495 | 1175972.6381 | 2530679.9769 | 1175970.0544 | 2530678.8638 | 1175963.0521
5 | 2530680.5495 | 1175972.6381 | 2530697.0868 | 1175969.5672 | 2530715.0383 | 1175978.3979 | 2530715.0383 | 1175978.3979
6 | 2530678.8638 | 1175963.0521 | 2530699.4049 | 1175942.0024 | 2530696.4964 | 1175937.2226
7 | 2530673.4161 | 1175937.5339 | 2530678.8638 | 1175963.0521
8 | 2530723.4156 | 1175969.8606 | 2530715.0383 | 1175978.3979
9 | 2530570.9497 | 1175953.8412 | 2530597.9265 | 1175967.3996
10 | 2530570.9497 | 1175953.8412 | 2530585.0789 | 1175927.3919
11 | 2530600.0024 | 1175899.4557 | 2530585.0789 | 1175927.3919
12 | 2530673.4161 | 1175937.5339 | 2530670.2199 | 1175922.9403 | 2530664.9014 | 1175903.9688
13 | 2530673.4161 | 1175937.5339 | 2530705.0944 | 1175910.4602
14 | 2530664.9014 | 1175903.9688 | 2530663.3467 | 1175899.7622 | 2530663.2856 | 1175899.6243
15 | 2530661.6025 | 1175895.8288 | 2530663.2856 | 1175899.6243
16 | 2530600.8475 | 1175897.8738 | 2530611.9062 | 1175877.2005 | 2530612.4372 | 1175876.1827 | 2530620.8124 | 1175877.2418 | 2530625.1535 | 1175878.4811 | 2530630.2246 | 1175885.3263 | 2530632.7804 | 1175886.8643 | 2530633.6182 | 1175885.9429 | 2530636.3329 | 1175880.0859 | 2530638.6148 | 1175881.7382 | 2530641.2415 | 1175882.7973 | 2530644.6627 | 1175883.1579 | 2530648.0413 | 1175882.4851 | 2530651.0571 | 1175880.8381
17 | 2530582.5479 | 1175855.7729 | 2530584.1594 | 1175866.1935 | 2530616.3485 | 1175868.6997 | 2530612.4372 | 1175876.1827 | 2530611.9062 | 1175877.2005 | 2530600.8475 | 1175897.8738
18 | 2530600.8475 | 1175897.8738 | 2530600.0024 | 1175899.4557
19 | 2530651.0571 | 1175880.8381 | 2530658.2996 | 1175888.3808 | 2530661.6025 | 1175895.8288
20 | 2530638.5725 | 1175911.0777 | 2530643.6375 | 1175901.5581 | 2530643.3342 | 1175899.7939 | 2530640.1634 | 1175895.9729 | 2530638.6471 | 1175894.4229 | 2530637.9804 | 1175892.9631 | 2530637.8634 | 1175891.4414 | 2530638.4219 | 1175890.1564 | 2530641.2415 | 1175882.7973 | 2530644.6627 | 1175883.1579 | 2530648.0413 | 1175882.4851 | 2530651.0571 | 1175880.8381
21 | 2530651.0571 | 1175880.8381 | 2530653.6171 | 1175878.1291 | 2530655.1604 | 1175874.7538 | 2530655.5303 | 1175871.0474 | 2530654.6781 | 1175867.4329 | 2530652.6999 | 1175864.2763 | 2530649.8061 | 1175861.9306 | 2530653.9393 | 1175853.1444 | 2530664.2365 | 1175837.3162
22 | 2530582.5479 | 1175855.7729 | 2530607.5445 | 1175851.7587 | 2530608.5973 | 1175842.9362
23 | 2530582.5479 | 1175855.7729 | 2530579.4424 | 1175835.6593
24 | 2530609.8825 | 1175832.1654 | 2530608.5973 | 1175842.9362
25 | 2530576.0763 | 1175813.8572 | 2530579.4424 | 1175835.6593
26 | 2530638.5725 | 1175911.0777 | 2530637.5057 | 1175913.3469 | 2530629.2817 | 1175928.3835
27 | 2530621.3141 | 1175942.9514 | 2530621.3141 | 1175942.9514 | 2530629.2817 | 1175928.3835
28 | 2530664.2365 | 1175837.3162 | 2530674.1998 | 1175825.0049
29 | 2530664.2365 | 1175837.3162 | 2530685.3617 | 1175844.8382
30 | 2530674.1998 | 1175825.0049 | 2530657.8372 | 1175791.0415 | 2530656.4104 | 1175787.9785 | 2530656.3541 | 1175783.1209
31 | 2530677.8351 | 1175820.7382 | 2530674.1998 | 1175825.0049
32 | 2530685.3617 | 1175844.8382 | 2530692.8363 | 1175847.4997
33 | 2530723.4156 | 1175969.8606 | 2530735.554 | 1175957.4903
34 | 2530770.0222 | 1175985.5552 | 2530760.3891 | 1175992.9409
35 | 2530818.769 | 1175816.8288 | 2530819.2653 | 1175820.7475 | 2530820.6845 | 1175829.7807 | 2530822.0428 | 1175872.5673 | 2530821.5568 | 1175884.0906 | 2530823.48 | 1175903.6685 | 2530824.8841 | 1175923.2968 | 2530826.4934 | 1175952.7506 | 2530799.9705 | 1175965.5532 | 2530770.0222 | 1175985.5552
36 | 2530818.769 | 1175816.8288 | 2530817.3857 | 1175814.2099 | 2530813.6004 | 1175808.8061 | 2530811.1742 | 1175806.0164
37 | 2530800.8403 | 1175794.134 | 2530811.1742 | 1175806.0164
38 | 2530781.5354 | 1175774.7349 | 2530800.8403 | 1175794.134
39 | 2530706.502 | 1175909.2571 | 2530706.502 | 1175909.2571 | 2530716.9399 | 1175919.3383
40 | 2530705.0944 | 1175910.4602 | 2530706.502 | 1175909.2571
41 | 2530708.7182 | 1175853.1547 | 2530726.0494 | 1175859.3258
42 | 2530692.8363 | 1175847.4997 | 2530708.7182 | 1175853.1547
43 | 2530742.413 | 1175865.1523 | 2530726.0494 | 1175859.3258
44 | 2530677.5052 | 1175737.461 | 2530658.83 | 1175773.798 | 2530656.8903 | 1175777.9339 | 2530656.3541 | 1175783.1209
45 | 2530677.8351 | 1175820.7382 | 2530665.2061 | 1175794.3137 | 2530671.9452 | 1175785.984
46 | 2530677.8351 | 1175820.7382 | 2530684.2173 | 1175813.302
47 | 2530746.2182 | 1175803.2925 | 2530728.1982 | 1175793.8264
48 | 2530711.6122 | 1175783.426 | 2530719.4231 | 1175789.2168 | 2530728.1982 | 1175793.8264
49 | 2530746.2182 | 1175803.2925 | 2530755.7026 | 1175808.2748 | 2530759.234 | 1175831.8736
50 | 2530711.6122 | 1175783.426 | 2530717.9893 | 1175773.6578 | 2530724.2514 | 1175759.2327 | 2530726.2024 | 1175750.783
51 | 2530711.6122 | 1175783.426 | 2530689.217 | 1175807.4767 | 2530684.2173 | 1175813.302
52 | 2530759.234 | 1175831.8736 | 2530759.3231 | 1175832.469
53 | 2530746.206 | 1175757.1999 | 2530736.1246 | 1175753.392 | 2530726.2024 | 1175750.783
54 | 2530726.2024 | 1175750.783 | 2530726.3047 | 1175741.7878 | 2530726.2013 | 1175727.5698 | 2530725.8977 | 1175724.0214
55 | 2530746.206 | 1175757.1999 | 2530740.0284 | 1175770.3455 | 2530761.1905 | 1175781.0456
56 | 2530725.0223 | 1175713.7927 | 2530725.8977 | 1175724.0214
57 | 2530761.1905 | 1175781.0456 | 2530774.2927 | 1175787.6704
58 | 2530724.672 | 1175709.6995 | 2530725.0223 | 1175713.7927
59 | 2530671.9452 | 1175785.984 | 2530684.6281 | 1175770.3075
60 | 2530781.5354 | 1175774.7349 | 2530774.2927 | 1175787.6704
61 | 2530724.672 | 1175709.6995 | 2530724.2182 | 1175704.403
62 | 2530724.672 | 1175709.6995 | 2530734.6708 | 1175711.6516 | 2530770.2481 | 1175728.1164 | 2530784.3214 | 1175712.2225 | 2530789.6564 | 1175706.1907 | 2530795.469 | 1175697.1628 | 2530800.6143 | 1175691.9115 | 2530805.2296 | 1175691.7359 | 2530810.6912 | 1175694.0074 | 2530813.3287 | 1175691.3754 | 2530821.1483 | 1175696.5881 | 2530824.5061 | 1175695.4264 | 2530827.3196 | 1175692.8036 | 2530830.9218 | 1175686.9809 | 2530833.4402 | 1175679.9922
63 | 2530833.4402 | 1175679.9922 | 2530834.8824 | 1175682.4103 | 2530837.8761 | 1175688.7682 | 2530839.0674 | 1175695.9364 | 2530839.0649 | 1175701.0171 | 2530838.2444 | 1175704.1061 | 2530835.6163 | 1175710.8625 | 2530831.4811 | 1175722.1612 | 2530828.003 | 1175730.7729
64 | 2530685.6078 | 1175769.0965 | 2530684.6281 | 1175770.3075
65 | 2530761.4046 | 1175931.1459 | 2530735.554 | 1175957.4903
66 | 2530613.508 | 1175831.1155 | 2530609.9344 | 1175831.7307 | 2530609.8825 | 1175832.1654
67 | 2530619.6595 | 1175803.0223 | 2530628.4069 | 1175801.6884 | 2530628.8112 | 1175808.0974
68 | 2530630.0832 | 1175828.262 | 2530630.0832 | 1175828.262 | 2530628.8112 | 1175808.0974
69 | 2530613.508 | 1175831.1155 | 2530630.0832 | 1175828.262

## bus_geodata
| x | y | coords
0 | 2530674.3437 | 1176082.9501
1 | 2530682.0251 | 1176045.2737
2 | 2530704.9746 | 1176070.5115
3 | 2530680.5495 | 1175972.6381
4 | 2530731.7053 | 1176063.6543
5 | 2530678.8638 | 1175963.0521
6 | 2530715.0383 | 1175978.3979
7 | 2530570.9497 | 1175953.8412
8 | 2530597.9265 | 1175967.3996
9 | 2530585.0789 | 1175927.3919
10 | 2530696.4964 | 1175937.2226
11 | 2530673.4161 | 1175937.5339
12 | 2530664.9014 | 1175903.9688
13 | 2530663.2856 | 1175899.6243
14 | 2530600.8475 | 1175897.8738
15 | 2530651.0571 | 1175880.8381
16 | 2530582.5479 | 1175855.7729
17 | 2530600.0024 | 1175899.4557
18 | 2530608.5973 | 1175842.9362
19 | 2530579.4424 | 1175835.6593
20 | 2530638.5725 | 1175911.0777
21 | 2530629.2817 | 1175928.3835
22 | 2530664.2365 | 1175837.3162
23 | 2530674.1998 | 1175825.0049
24 | 2530685.3617 | 1175844.8382
25 | 2530661.6025 | 1175895.8288
26 | 2530723.4156 | 1175969.8606
27 | 2530760.3891 | 1175992.9409
28 | 2530770.0222 | 1175985.5552
29 | 2530818.769 | 1175816.8288
30 | 2530811.1742 | 1175806.0164
31 | 2530800.8403 | 1175794.134
32 | 2530706.502 | 1175909.2571
33 | 2530716.9399 | 1175919.3383
34 | 2530705.0944 | 1175910.4602
35 | 2530708.7182 | 1175853.1547
36 | 2530726.0494 | 1175859.3258
37 | 2530692.8363 | 1175847.4997
38 | 2530742.413 | 1175865.1523
39 | 2530656.3541 | 1175783.1209
40 | 2530677.8351 | 1175820.7382
41 | 2530728.1982 | 1175793.8264
42 | 2530746.2182 | 1175803.2925
43 | 2530711.6122 | 1175783.426
44 | 2530759.234 | 1175831.8736
45 | 2530726.2024 | 1175750.783
46 | 2530684.2173 | 1175813.302
47 | 2530759.3231 | 1175832.469
48 | 2530746.206 | 1175757.1999
49 | 2530725.8977 | 1175724.0214
50 | 2530761.1905 | 1175781.0456
51 | 2530725.0223 | 1175713.7927
52 | 2530671.9452 | 1175785.984
53 | 2530781.5354 | 1175774.7349
54 | 2530774.2927 | 1175787.6704
55 | 2530724.672 | 1175709.6995
56 | 2530724.2182 | 1175704.403
57 | 2530833.4402 | 1175679.9922
58 | 2530828.003 | 1175730.7729
59 | 2530684.6281 | 1175770.3075
60 | 2530677.5052 | 1175737.461
61 | 2530685.6078 | 1175769.0965
62 | 2530735.554 | 1175957.4903
63 | 2530761.4046 | 1175931.1459
64 | 2530609.8825 | 1175832.1654
65 | 2530576.0763 | 1175813.8572
66 | 2530621.3141 | 1175942.9514
67 | 2530619.6596 | 1175803.0223
68 | 2530628.8112 | 1175808.0974
69 | 2530630.0832 | 1175828.262
70 | 2530613.508 | 1175831.1155
71 | 2530651.7724 | 1175926.089

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1