## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5757-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5757-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5757-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5757-1_0_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_5757-1_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5757-1_0_3_node_123 | 0.4 | n |  | TRUE
6 | bus_LV_5757-1_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5757-1_0_3_node_156 | 0.4 | n |  | TRUE
8 | bus_LV_5757-1_0_3_node_124 | 0.4 | n |  | TRUE
9 | bus_LV_5757-1_0_3_node_157 | 0.4 | n |  | TRUE
10 | bus_LV_5757-1_0_3_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_5757-1_0_3_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_5757-1_0_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_5757-1_0_3_node_125 | 0.4 | n |  | TRUE
14 | bus_LV_5757-1_0_3_node_127 | 0.4 | n |  | TRUE
15 | bus_LV_5757-1_0_3_node_104 | 0.4 | n |  | TRUE
16 | bus_LV_5757-1_0_3_node_126 | 0.4 | n |  | TRUE
17 | bus_LV_5757-1_0_3_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_5757-1_0_3_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_5757-1_0_3_node_121 | 0.4 | n |  | TRUE
20 | bus_LV_5757-1_0_3_node_95 | 0.4 | n |  | TRUE
21 | bus_LV_5757-1_0_3_node_97 | 0.4 | n |  | TRUE
22 | bus_LV_5757-1_0_3_node_98 | 0.4 | n |  | TRUE
23 | bus_LV_5757-1_0_3_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_5757-1_0_3_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_5757-1_0_3_node_112 | 0.4 | n |  | TRUE
26 | bus_LV_5757-1_0_3_node_141 | 0.4 | n |  | TRUE
27 | bus_LV_5757-1_0_3_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_5757-1_0_3_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_5757-1_0_3_node_134 | 0.4 | n |  | TRUE
30 | bus_LV_5757-1_0_3_node_108 | 0.4 | n |  | TRUE
31 | bus_LV_5757-1_0_3_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_5757-1_0_3_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_5757-1_0_3_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_5757-1_0_3_node_122 | 0.4 | n |  | TRUE
35 | bus_LV_5757-1_0_3_node_120 | 0.4 | n |  | TRUE
36 | bus_LV_5757-1_0_3_node_105 | 0.4 | n |  | TRUE
37 | bus_LV_5757-1_0_3_node_106 | 0.4 | n |  | TRUE
38 | bus_LV_5757-1_0_3_node_107 | 0.4 | n |  | TRUE
39 | bus_LV_5757-1_0_3_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_5757-1_0_3_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_5757-1_0_3_node_113 | 0.4 | n |  | TRUE
42 | bus_LV_5757-1_0_3_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_5757-1_0_3_node_140 | 0.4 | n |  | TRUE
44 | bus_LV_5757-1_0_3_node_137 | 0.4 | n |  | TRUE
45 | bus_LV_5757-1_0_3_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_5757-1_0_3_node_132 | 0.4 | n |  | TRUE
47 | bus_LV_5757-1_0_3_node_143 | 0.4 | n |  | TRUE
48 | bus_LV_5757-1_0_3_node_138 | 0.4 | n |  | TRUE
49 | bus_LV_5757-1_0_3_node_165 | 0.4 | n |  | TRUE
50 | bus_LV_5757-1_0_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_5757-1_0_3_node_145 | 0.4 | n |  | TRUE
52 | bus_LV_5757-1_0_3_node_149 | 0.4 | n |  | TRUE
53 | bus_LV_5757-1_0_3_node_147 | 0.4 | n |  | TRUE
54 | bus_LV_5757-1_0_3_node_133 | 0.4 | n |  | TRUE
55 | bus_LV_5757-1_0_3_node_131 | 0.4 | n |  | TRUE
56 | bus_LV_5757-1_0_3_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_5757-1_0_3_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_5757-1_0_3_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_5757-1_0_3_node_128 | 0.4 | n |  | TRUE
60 | bus_LV_5757-1_0_3_node_129 | 0.4 | n |  | TRUE
61 | bus_LV_5757-1_0_3_node_130 | 0.4 | n |  | TRUE
62 | bus_LV_5757-1_0_3_node_135 | 0.4 | n |  | TRUE
63 | bus_LV_5757-1_0_3_node_136 | 0.4 | n |  | TRUE
64 | bus_LV_5757-1_0_3_node_144 | 0.4 | n |  | TRUE
65 | bus_LV_5757-1_0_3_node_139 | 0.4 | n |  | TRUE
66 | bus_LV_5757-1_0_3_node_166 | 0.4 | n |  | TRUE
67 | bus_LV_5757-1_0_3_node_148 | 0.4 | n |  | TRUE
68 | bus_LV_5757-1_0_3_node_150 | 0.4 | n |  | TRUE
69 | bus_LV_5757-1_0_3_node_151 | 0.4 | n |  | TRUE
70 | bus_LV_5757-1_0_3_node_167 | 0.4 | n |  | TRUE
71 | bus_LV_5757-1_0_3_node_152 | 0.4 | n |  | TRUE
72 | bus_LV_5757-1_0_3_node_153 | 0.4 | n |  | TRUE
73 | bus_LV_5757-1_0_3_node_154 | 0.4 | n |  | TRUE
74 | bus_LV_5757-1_0_3_node_155 | 0.4 | n |  | TRUE
75 | bus_LV_5757-1_0_3_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_5757-1_0_3_node_159 | 0.4 | n |  | TRUE
77 | bus_LV_5757-1_0_3_node_161 | 0.4 | n |  | TRUE
78 | bus_LV_5757-1_0_3_node_164 | 0.4 | n |  | TRUE
79 | bus_LV_5757-1_0_3_node_160 | 0.4 | n |  | TRUE
80 | bus_LV_5757-1_0_3_node_168 | 0.4 | n |  | TRUE
81 | bus_MV_319_1_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5757-1_0_3_load_0 | 0 | 0.0056408 | 0.0014137 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5757-1_0_3_load_9 | 3 | 0.0029427 | 0.00073751 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5757-1_0_3_load_6 | 4 | 0.0035868 | 0.00089895 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5757-1_0_3_load_156 | 7 | 0.0014445 | 0.00036204 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5757-1_0_3_load_124 | 8 | 0.0021081 | 0.00052834 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5757-1_0_3_load_157 | 9 | 0.0015283 | 0.00038302 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5757-1_0_3_load_125 | 13 | 0.0036271 | 0.00090903 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5757-1_0_3_load_127 | 14 | 0.0041592 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5757-1_0_3_load_126 | 16 | 0.006259 | 0.0015687 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5757-1_0_3_load_82 | 18 | 0.0059391 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5757-1_0_3_load_121 | 19 | 0.0016212 | 0.0004063 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5757-1_0_3_load_95 | 20 | 0.024358 | 0.0061046 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5757-1_0_3_load_146 | 24 | 0.0024663 | 0.00061812 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5757-1_0_3_load_141 | 26 | 0.0031184 | 0.00078153 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5757-1_0_3_load_134 | 29 | 0.0060301 | 0.0015113 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5757-1_0_3_load_142 | 31 | 0.0045316 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5757-1_0_3_load_102 | 32 | 0.0096289 | 0.0024132 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5757-1_0_3_load_103 | 33 | 0.0026207 | 0.00065681 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5757-1_0_3_load_120 | 35 | 0.0012162 | 0.00030481 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5757-1_0_3_load_105 | 36 | 0.0042359 | 0.0010616 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5757-1_0_3_load_106 | 37 | 0.011859 | 0.0029721 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5757-1_0_3_load_109 | 39 | 0.0066101 | 0.0016567 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5757-1_0_3_load_113 | 41 | 0.003066 | 0.00076842 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5757-1_0_3_load_137 | 44 | 0.0034484 | 0.00086425 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5757-1_0_3_load_143 | 47 | 0.0029533 | 0.00074016 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5757-1_0_3_load_138 | 48 | 0.0026037 | 0.00065255 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5757-1_0_3_load_165 | 49 | 0.0030353 | 0.00076073 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5757-1_0_3_load_147 | 53 | 0.0014057 | 0.0003523 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5757-1_0_3_load_133 | 54 | 0.0024804 | 0.00062166 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5757-1_0_3_load_131 | 55 | 0.0020904 | 0.0005239 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5757-1_0_3_load_114 | 56 | 0.0043556 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5757-1_0_3_load_118 | 57 | 0.0015771 | 0.00039527 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5757-1_0_3_load_119 | 58 | 0.0014811 | 0.00037121 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5757-1_0_3_load_129 | 60 | 0.0063414 | 0.0015893 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5757-1_0_3_load_130 | 61 | 0.0036247 | 0.00090844 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5757-1_0_3_load_135 | 62 | 0.0035677 | 0.00089414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5757-1_0_3_load_136 | 63 | 0.0054541 | 0.0013669 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5757-1_0_3_load_144 | 64 | 0.0096064 | 0.0024076 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5757-1_0_3_load_139 | 65 | 0.0037279 | 0.0009343 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5757-1_0_3_load_166 | 66 | 0.033049 | 0.0082829 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5757-1_0_3_load_150 | 68 | 0.0015437 | 0.00038689 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5757-1_0_3_load_151 | 69 | 0.0018318 | 0.0004591 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5757-1_0_3_load_167 | 70 | 0.023066 | 0.005781 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5757-1_0_3_load_153 | 72 | 0.001609 | 0.00040326 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5757-1_0_3_load_154 | 73 | 0.0028044 | 0.00070284 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5757-1_0_3_load_155 | 74 | 0.00076482 | 0.00019168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5757-1_0_3_load_159 | 76 | 0.0026857 | 0.0006731 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5757-1_0_3_load_164 | 78 | 0.0070853 | 0.0017757 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5757-1_0_3_load_160 | 79 | 0.001618 | 0.0004055 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5757-1_0_3_load_168 | 80 | 0.011349 | 0.0028443 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5757-1_0_3_line_0 |  | 0 | 1 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5757-1_0_3_line_1 |  | 1 | 2 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5757-1_0_3_line_2 |  | 2 | 3 | 0.0028764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5757-1_0_3_line_3 |  | 2 | 4 | 0.0098781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5757-1_0_3_line_4 |  | 3 | 5 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5757-1_0_3_line_5 |  | 5 | 8 | 0.0095237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5757-1_0_3_line_6 |  | 5 | 6 | 0.00381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5757-1_0_3_line_7 |  | 6 | 7 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5757-1_0_3_line_8 |  | 7 | 9 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5757-1_0_3_line_9 |  | 8 | 43 | 0.039194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5757-1_0_3_line_10 |  | 9 | 75 | 0.0087267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5757-1_0_3_line_11 |  | 10 | 11 | 0.005307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5757-1_0_3_line_12 |  | 10 | 12 | 0.032396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5757-1_0_3_line_13 |  | 11 | 13 | 0.030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5757-1_0_3_line_14 |  | 12 | 14 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5757-1_0_3_line_15 |  | 13 | 15 | 0.068052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5757-1_0_3_line_16 |  | 14 | 16 | 0.0033253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5757-1_0_3_line_17 |  | 15 | 34 | 0.03501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5757-1_0_3_line_18 |  | 15 | 33 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5757-1_0_3_line_19 |  | 16 | 59 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5757-1_0_3_line_20 |  | 17 | 18 | 0.026596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5757-1_0_3_line_21 |  | 17 | 19 | 0.059075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5757-1_0_3_line_22 |  | 19 | 55 | 0.03028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5757-1_0_3_line_23 |  | 19 | 58 | 0.039082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5757-1_0_3_line_24 |  | 20 | 21 | 0.027499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5757-1_0_3_line_25 |  | 21 | 22 | 0.03133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5757-1_0_3_line_26 |  | 22 | 23 | 0.034594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5757-1_0_3_line_27 |  | 22 | 24 | 0.02771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5757-1_0_3_line_28 |  | 23 | 25 | 0.024868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5757-1_0_3_line_29 |  | 23 | 26 | 0.0082784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5757-1_0_3_line_30 |  | 24 | 28 | 0.0052892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5757-1_0_3_line_31 |  | 25 | 30 | 0.042625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5757-1_0_3_line_32 |  | 26 | 31 | 0.0041006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5757-1_0_3_line_33 |  | 27 | 28 | 0.034799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5757-1_0_3_line_34 |  | 27 | 29 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5757-1_0_3_line_35 |  | 30 | 41 | 0.0095414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5757-1_0_3_line_36 |  | 30 | 37 | 0.025575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5757-1_0_3_line_37 |  | 32 | 33 | 0.028576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5757-1_0_3_line_38 |  | 34 | 35 | 0.031549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5757-1_0_3_line_39 |  | 35 | 57 | 0.043808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5757-1_0_3_line_40 |  | 36 | 37 | 0.0017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5757-1_0_3_line_41 |  | 36 | 38 | 0.032333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5757-1_0_3_line_42 |  | 38 | 39 | 0.055425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5757-1_0_3_line_43 |  | 38 | 40 | 0.052315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5757-1_0_3_line_44 |  | 39 | 42 | 0.054477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5757-1_0_3_line_45 |  | 40 | 43 | 0.027978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5757-1_0_3_line_46 |  | 40 | 44 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5757-1_0_3_line_47 |  | 41 | 46 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5757-1_0_3_line_48 |  | 42 | 45 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5757-1_0_3_line_49 |  | 43 | 47 | 0.033386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5757-1_0_3_line_50 |  | 44 | 48 | 0.014731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5757-1_0_3_line_51 |  | 45 | 49 | 0.01157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5757-1_0_3_line_52 |  | 45 | 50 | 0.003133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5757-1_0_3_line_53 |  | 46 | 54 | 0.02812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5757-1_0_3_line_54 |  | 46 | 55 | 0.022881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5757-1_0_3_line_55 |  | 48 | 65 | 0.023258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5757-1_0_3_line_56 |  | 50 | 56 | 0.052476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5757-1_0_3_line_57 |  | 51 | 52 | 0.046613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5757-1_0_3_line_58 |  | 51 | 53 | 0.012361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5757-1_0_3_line_59 |  | 52 | 66 | 0.062628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5757-1_0_3_line_60 |  | 53 | 67 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5757-1_0_3_line_61 |  | 54 | 64 | 0.059815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5757-1_0_3_line_62 |  | 57 | 58 | 0.022111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5757-1_0_3_line_63 |  | 59 | 60 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5757-1_0_3_line_64 |  | 59 | 61 | 0.0062832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5757-1_0_3_line_65 |  | 61 | 62 | 0.029538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5757-1_0_3_line_66 |  | 62 | 63 | 0.0098678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5757-1_0_3_line_67 |  | 66 | 70 | 0.0488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5757-1_0_3_line_68 |  | 67 | 68 | 0.0054632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5757-1_0_3_line_69 |  | 68 | 69 | 0.024602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5757-1_0_3_line_70 |  | 69 | 71 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5757-1_0_3_line_71 |  | 70 | 80 | 0.1034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5757-1_0_3_line_72 |  | 71 | 72 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5757-1_0_3_line_73 |  | 71 | 73 | 0.032929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5757-1_0_3_line_74 |  | 72 | 74 | 0.011862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5757-1_0_3_line_75 |  | 73 | 75 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5757-1_0_3_line_76 |  | 75 | 76 | 0.021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5757-1_0_3_line_77 |  | 76 | 77 | 0.014834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5757-1_0_3_line_78 |  | 77 | 78 | 0.0031168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5757-1_0_3_line_79 |  | 77 | 79 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5757-1_0_3_trafo_106 | 0.63 MVA 20/0.4 kV | 81 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2530704.8566 | 1175407.8116 | 2530704.6733 | 1175395.2732 | 2530704.1121 | 1175389.537
1 | 2530701.5015 | 1175419.1236 | 2530704.8566 | 1175407.8116
2 | 2530701.5015 | 1175419.1236 | 2530703.0048 | 1175421.5298 | 2530703.0143 | 1175421.5678
3 | 2530701.5015 | 1175419.1236 | 2530699.2242 | 1175417.2266 | 2530696.4442 | 1175416.147 | 2530693.469 | 1175416.0258 | 2530692.5519 | 1175416.2898
4 | 2530700.6558 | 1175431.9296 | 2530702.4576 | 1175429.7408 | 2530703.5051 | 1175427.1049 | 2530703.6941 | 1175424.2789 | 2530703.0143 | 1175421.5678
5 | 2530700.6558 | 1175431.9296 | 2530702.7358 | 1175441.2233
6 | 2530700.6558 | 1175431.9296 | 2530699.1014 | 1175433.0371 | 2530697.352 | 1175433.8022
7 | 2530697.352 | 1175433.8022 | 2530697.1074 | 1175443.8577
8 | 2530697.1074 | 1175443.8577 | 2530697.0412 | 1175446.5797 | 2530696.4709 | 1175454.0464
9 | 2530706.4744 | 1175480.2121 | 2530704.2085 | 1175454.1901 | 2530703.413 | 1175444.2491 | 2530702.7358 | 1175441.2233
10 | 2530695.8064 | 1175462.7477 | 2530696.4709 | 1175454.0464
11 | 2530997.4159 | 1175661.2793 | 2530993.1175 | 1175664.4083
12 | 2530984.3306 | 1175631.6353 | 2530997.4159 | 1175661.2793
13 | 2530993.1175 | 1175664.4083 | 2530987.4297 | 1175669.0321 | 2530981.1607 | 1175674.3073 | 2530969.6188 | 1175684.3794
14 | 2530984.3306 | 1175631.6353 | 2530967.8963 | 1175637.7177
15 | 2530922.38 | 1175733.1741 | 2530926.0056 | 1175730.7086 | 2530931.1612 | 1175725.6797 | 2530953.1643 | 1175700.6672 | 2530969.6188 | 1175684.3794
16 | 2530964.6534 | 1175638.4205 | 2530967.3401 | 1175637.9236 | 2530967.8963 | 1175637.7177
17 | 2530922.38 | 1175733.1741 | 2530916.746 | 1175734.5065 | 2530911.1719 | 1175735.06 | 2530905.7834 | 1175734.4774 | 2530900.2353 | 1175733.3185 | 2530893.7344 | 1175729.747 | 2530889.8266 | 1175726.3123
18 | 2530922.38 | 1175733.1741 | 2530918.7016 | 1175726.4349 | 2530912.504 | 1175718.6686 | 2530911.0569 | 1175714.031
19 | 2530948.7497 | 1175641.362 | 2530964.6534 | 1175638.4205
20 | 2530885.6365 | 1175571.2832 | 2530877.6525 | 1175545.9142
21 | 2530836.1119 | 1175603.4877 | 2530885.6365 | 1175571.2832
22 | 2530836.1119 | 1175603.4877 | 2530832.7086 | 1175599.4658 | 2530826.0255 | 1175590.7268 | 2530816.0749 | 1175580.8654
23 | 2530836.1119 | 1175603.4877 | 2530840.0871 | 1175608.1855 | 2530846.1625 | 1175618.588 | 2530856.9299 | 1175636.4791
24 | 2530782.6399 | 1175654.7201 | 2530769.7326 | 1175660.4059 | 2530764.8978 | 1175648.2103 | 2530764.795 | 1175647.9546
25 | 2530782.6399 | 1175654.7201 | 2530785.4632 | 1175653.6091 | 2530787.3556 | 1175653.9652 | 2530789.7038 | 1175654.7385 | 2530793.0869 | 1175657.7456 | 2530795.195 | 1175660.2338 | 2530800.1479 | 1175657.5195 | 2530804.6222 | 1175656.3782 | 2530810.4523 | 1175656.8
26 | 2530804.2638 | 1175624.0528 | 2530804.6645 | 1175628.9509 | 2530809.0461 | 1175639.6398 | 2530812.3127 | 1175648.4404 | 2530812.584 | 1175650.7497 | 2530810.4523 | 1175656.8
27 | 2530810.4523 | 1175656.8 | 2530813.7741 | 1175658.4737 | 2530816.974 | 1175660.8381 | 2530821.094 | 1175666.0935 | 2530826.9561 | 1175671.9292 | 2530830.2014 | 1175675.8139
28 | 2530792.2481 | 1175603.0462 | 2530800.9952 | 1175622.3562 | 2530804.2638 | 1175624.0528
29 | 2530804.2638 | 1175624.0528 | 2530811.3001 | 1175619.6912
30 | 2530833.4402 | 1175679.9922 | 2530831.6382 | 1175677.5339 | 2530830.2014 | 1175675.8139
31 | 2530792.2481 | 1175603.0462 | 2530791.346 | 1175601.0555 | 2530785.1067 | 1175583.7622 | 2530780.8198 | 1175574.6621 | 2530772.5544 | 1175565.9415
32 | 2530811.3001 | 1175619.6912 | 2530811.3001 | 1175619.6912 | 2530811.9608 | 1175616.6708 | 2530811.4053 | 1175615.8288
33 | 2530833.4402 | 1175679.9922 | 2530830.9218 | 1175686.9809 | 2530827.3196 | 1175692.8036 | 2530824.5061 | 1175695.4264 | 2530821.1483 | 1175696.5881 | 2530813.3287 | 1175691.3754 | 2530810.6912 | 1175694.0074
34 | 2530810.6912 | 1175694.0074 | 2530812.1276 | 1175694.6023 | 2530811.7219 | 1175700.5103 | 2530810.9078 | 1175702.1651 | 2530809.5718 | 1175706.3226
35 | 2530772.5544 | 1175565.9415 | 2530782.0231 | 1175564.7664
36 | 2530772.5544 | 1175565.9415 | 2530756.5122 | 1175566.3049 | 2530747.0642 | 1175565.069
37 | 2530909.5227 | 1175686.0873 | 2530910.2774 | 1175692.0012 | 2530908.2491 | 1175705.0321 | 2530911.0569 | 1175714.031
38 | 2530889.8266 | 1175726.3123 | 2530888.0408 | 1175723.9205 | 2530886.7586 | 1175720.1331 | 2530886.2978 | 1175716.6364 | 2530886.6761 | 1175702.3906 | 2530884.6878 | 1175695.9007
39 | 2530868.6025 | 1175655.257 | 2530870.3083 | 1175657.9763 | 2530875.4694 | 1175669.9791 | 2530881.1709 | 1175684.4216 | 2530884.6878 | 1175695.9007
40 | 2530745.3274 | 1175564.7319 | 2530747.0642 | 1175565.069
41 | 2530713.3784 | 1175560.2002 | 2530726.032 | 1175560.9876 | 2530745.3274 | 1175564.7319
42 | 2530713.3784 | 1175560.2002 | 2530713.8856 | 1175569.0104 | 2530717.4549 | 1175615.4742
43 | 2530708.9069 | 1175508.0776 | 2530713.3063 | 1175558.589 | 2530713.3784 | 1175560.2002
44 | 2530722.2296 | 1175669.7382 | 2530719.583 | 1175643.1758 | 2530717.4549 | 1175615.4742
45 | 2530706.4744 | 1175480.2121 | 2530708.9069 | 1175508.0776
46 | 2530708.9069 | 1175508.0776 | 2530729.2655 | 1175508.7347
47 | 2530797.3154 | 1175567.8898 | 2530793.4345 | 1175566.1337 | 2530782.5318 | 1175564.7033 | 2530782.0231 | 1175564.7664
48 | 2530722.8334 | 1175688.2196 | 2530722.2296 | 1175669.7382
49 | 2530739.8342 | 1175477.3468 | 2530713.348 | 1175479.6211 | 2530706.4744 | 1175480.2121
50 | 2530729.2655 | 1175508.7347 | 2530739.8419 | 1175509.076 | 2530743.5363 | 1175510.9656
51 | 2530722.8334 | 1175688.2196 | 2530714.9562 | 1175688.5998 | 2530713.3944 | 1175685.2638
52 | 2530722.8334 | 1175688.2196 | 2530723.0988 | 1175691.3405
53 | 2530797.3154 | 1175567.8898 | 2530801.3338 | 1175540.0586
54 | 2530797.3154 | 1175567.8898 | 2530804.9099 | 1175572.1379 | 2530815.2916 | 1175580.0892 | 2530816.0749 | 1175580.8654
55 | 2530764.2434 | 1175521.5566 | 2530743.5363 | 1175510.9656
56 | 2530723.0988 | 1175691.3405 | 2530743.0508 | 1175685.3508 | 2530746.9127 | 1175693.3996 | 2530764.357 | 1175707.9519
57 | 2530681.653 | 1175632.8643 | 2530679.0331 | 1175592.7828 | 2530684.9745 | 1175590.2682
58 | 2530684.9745 | 1175590.2682 | 2530685.2703 | 1175577.911
59 | 2530681.653 | 1175632.8643 | 2530681.9131 | 1175636.8414 | 2530676.9405 | 1175673.5088 | 2530675.623 | 1175676.5813 | 2530673.4409 | 1175678.2742 | 2530670.1207 | 1175676.078 | 2530667.8485 | 1175664.7504
60 | 2530687.0675 | 1175554.4679 | 2530685.5361 | 1175566.8038 | 2530685.2703 | 1175577.911
61 | 2530800.8965 | 1175481.2419 | 2530806.4174 | 1175514.721 | 2530803.2469 | 1175526.8089 | 2530801.3338 | 1175540.0586
62 | 2530868.6025 | 1175655.257 | 2530859.4518 | 1175640.6695 | 2530856.9299 | 1175636.4791
63 | 2530943.0945 | 1175627.6082 | 2530948.7497 | 1175641.362
64 | 2530948.7497 | 1175641.362 | 2530942.6499 | 1175642.869
65 | 2530942.6499 | 1175642.869 | 2530923.2128 | 1175647.6712 | 2530913.8776 | 1175649.5207
66 | 2530908.9813 | 1175643.2884 | 2530911.177 | 1175650.0558 | 2530913.8776 | 1175649.5207
67 | 2530658.2512 | 1175616.9038 | 2530667.8485 | 1175664.7504
68 | 2530687.0675 | 1175554.4679 | 2530687.7117 | 1175549.0429
69 | 2530690.613 | 1175524.6128 | 2530687.7117 | 1175549.0429
70 | 2530692.5356 | 1175508.4228 | 2530690.613 | 1175524.6128
71 | 2530658.2512 | 1175616.9038 | 2530560.5191 | 1175583.1277
72 | 2530692.5356 | 1175508.4228 | 2530678.3957 | 1175509.2278
73 | 2530692.5356 | 1175508.4228 | 2530692.8145 | 1175506.096 | 2530694.9205 | 1175475.5828
74 | 2530666.5526 | 1175509.9021 | 2530678.3957 | 1175509.2278
75 | 2530695.8064 | 1175462.7477 | 2530694.9205 | 1175475.5828
76 | 2530695.8064 | 1175462.7477 | 2530676.876 | 1175462.6111 | 2530674.7991 | 1175462.9487
77 | 2530660.1574 | 1175465.3284 | 2530674.7991 | 1175462.9487
78 | 2530660.1574 | 1175465.3284 | 2530659.605 | 1175462.261
79 | 2530660.1574 | 1175465.3284 | 2530663.057 | 1175481.3596 | 2530659.7343 | 1175484.2441

## bus_geodata
| x | y | coords
0 | 2530704.1121 | 1175389.537
1 | 2530704.8566 | 1175407.8116
2 | 2530701.5015 | 1175419.1236
3 | 2530703.0143 | 1175421.5678
4 | 2530692.5519 | 1175416.2898
5 | 2530700.6558 | 1175431.9296
6 | 2530697.352 | 1175433.8022
7 | 2530697.1074 | 1175443.8577
8 | 2530702.7358 | 1175441.2233
9 | 2530696.4709 | 1175454.0464
10 | 2530997.4159 | 1175661.2793
11 | 2530993.1175 | 1175664.4083
12 | 2530984.3306 | 1175631.6353
13 | 2530969.6188 | 1175684.3794
14 | 2530967.8963 | 1175637.7177
15 | 2530922.38 | 1175733.1741
16 | 2530964.6534 | 1175638.4205
17 | 2530885.6365 | 1175571.2832
18 | 2530877.6525 | 1175545.9142
19 | 2530836.1119 | 1175603.4877
20 | 2530764.795 | 1175647.9546
21 | 2530782.6399 | 1175654.7201
22 | 2530810.4523 | 1175656.8
23 | 2530804.2638 | 1175624.0528
24 | 2530830.2014 | 1175675.8139
25 | 2530792.2481 | 1175603.0462
26 | 2530811.3001 | 1175619.6912
27 | 2530810.6912 | 1175694.0074
28 | 2530833.4402 | 1175679.9922
29 | 2530809.5718 | 1175706.3226
30 | 2530772.5544 | 1175565.9415
31 | 2530811.4053 | 1175615.8288
32 | 2530909.5227 | 1175686.0873
33 | 2530911.0569 | 1175714.031
34 | 2530889.8266 | 1175726.3123
35 | 2530884.6878 | 1175695.9007
36 | 2530745.3274 | 1175564.7319
37 | 2530747.0642 | 1175565.069
38 | 2530713.3784 | 1175560.2002
39 | 2530717.4549 | 1175615.4742
40 | 2530708.9069 | 1175508.0776
41 | 2530782.0231 | 1175564.7664
42 | 2530722.2296 | 1175669.7382
43 | 2530706.4744 | 1175480.2121
44 | 2530729.2655 | 1175508.7347
45 | 2530722.8334 | 1175688.2196
46 | 2530797.3154 | 1175567.8898
47 | 2530739.8342 | 1175477.3468
48 | 2530743.5363 | 1175510.9656
49 | 2530713.3944 | 1175685.2638
50 | 2530723.0988 | 1175691.3405
51 | 2530684.9745 | 1175590.2682
52 | 2530681.653 | 1175632.8643
53 | 2530685.2703 | 1175577.911
54 | 2530801.3338 | 1175540.0586
55 | 2530816.0749 | 1175580.8654
56 | 2530764.357 | 1175707.9519
57 | 2530868.6025 | 1175655.257
58 | 2530856.9299 | 1175636.4791
59 | 2530948.7497 | 1175641.362
60 | 2530943.0945 | 1175627.6082
61 | 2530942.6499 | 1175642.869
62 | 2530913.8776 | 1175649.5207
63 | 2530908.9813 | 1175643.2884
64 | 2530800.8965 | 1175481.2419
65 | 2530764.2434 | 1175521.5566
66 | 2530667.8485 | 1175664.7504
67 | 2530687.0675 | 1175554.4679
68 | 2530687.7117 | 1175549.0429
69 | 2530690.613 | 1175524.6128
70 | 2530658.2512 | 1175616.9038
71 | 2530692.5356 | 1175508.4228
72 | 2530678.3957 | 1175509.2278
73 | 2530694.9205 | 1175475.5828
74 | 2530666.5526 | 1175509.9021
75 | 2530695.8064 | 1175462.7477
76 | 2530674.7991 | 1175462.9487
77 | 2530660.1574 | 1175465.3284
78 | 2530659.605 | 1175462.261
79 | 2530659.7343 | 1175484.2441
80 | 2530560.5191 | 1175583.1277
81 | 2530772.5544 | 1175565.9415

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1