## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5792-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5792-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5792-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5792-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5792-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5792-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5792-1_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5792-1_0_4_node_111 | 0.4 | n |  | TRUE
8 | bus_LV_5792-1_0_4_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_5792-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5792-1_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5792-1_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5792-1_0_4_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_5792-1_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5792-1_0_4_node_190 | 0.4 | n |  | TRUE
15 | bus_LV_5792-1_0_4_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_5792-1_0_4_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_5792-1_0_4_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_5792-1_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_5792-1_0_4_node_117 | 0.4 | n |  | TRUE
20 | bus_LV_5792-1_0_4_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_5792-1_0_4_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_5792-1_0_4_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_5792-1_0_4_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_5792-1_0_4_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_5792-1_0_4_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_5792-1_0_4_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_5792-1_0_4_node_192 | 0.4 | n |  | TRUE
28 | bus_LV_5792-1_0_4_node_136 | 0.4 | n |  | TRUE
29 | bus_LV_5792-1_0_4_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_5792-1_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_5792-1_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_5792-1_0_4_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_5792-1_0_4_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_5792-1_0_4_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_5792-1_0_4_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_5792-1_0_4_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_5792-1_0_4_node_126 | 0.4 | n |  | TRUE
38 | bus_LV_5792-1_0_4_node_112 | 0.4 | n |  | TRUE
39 | bus_LV_5792-1_0_4_node_143 | 0.4 | n |  | TRUE
40 | bus_LV_5792-1_0_4_node_113 | 0.4 | n |  | TRUE
41 | bus_LV_5792-1_0_4_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_5792-1_0_4_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_5792-1_0_4_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_5792-1_0_4_node_175 | 0.4 | n |  | TRUE
45 | bus_LV_5792-1_0_4_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_5792-1_0_4_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_5792-1_0_4_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_5792-1_0_4_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_5792-1_0_4_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_5792-1_0_4_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_5792-1_0_4_node_109 | 0.4 | n |  | TRUE
52 | bus_LV_5792-1_0_4_node_110 | 0.4 | n |  | TRUE
53 | bus_LV_5792-1_0_4_node_121 | 0.4 | n |  | TRUE
54 | bus_LV_5792-1_0_4_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_5792-1_0_4_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_5792-1_0_4_node_122 | 0.4 | n |  | TRUE
57 | bus_LV_5792-1_0_4_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_5792-1_0_4_node_124 | 0.4 | n |  | TRUE
59 | bus_LV_5792-1_0_4_node_134 | 0.4 | n |  | TRUE
60 | bus_LV_5792-1_0_4_node_125 | 0.4 | n |  | TRUE
61 | bus_LV_5792-1_0_4_node_127 | 0.4 | n |  | TRUE
62 | bus_LV_5792-1_0_4_node_135 | 0.4 | n |  | TRUE
63 | bus_LV_5792-1_0_4_node_137 | 0.4 | n |  | TRUE
64 | bus_LV_5792-1_0_4_node_138 | 0.4 | n |  | TRUE
65 | bus_LV_5792-1_0_4_node_140 | 0.4 | n |  | TRUE
66 | bus_LV_5792-1_0_4_node_142 | 0.4 | n |  | TRUE
67 | bus_LV_5792-1_0_4_node_171 | 0.4 | n |  | TRUE
68 | bus_LV_5792-1_0_4_node_172 | 0.4 | n |  | TRUE
69 | bus_LV_5792-1_0_4_node_168 | 0.4 | n |  | TRUE
70 | bus_LV_5792-1_0_4_node_144 | 0.4 | n |  | TRUE
71 | bus_LV_5792-1_0_4_node_167 | 0.4 | n |  | TRUE
72 | bus_LV_5792-1_0_4_node_169 | 0.4 | n |  | TRUE
73 | bus_LV_5792-1_0_4_node_170 | 0.4 | n |  | TRUE
74 | bus_LV_5792-1_0_4_node_205 | 0.4 | n |  | TRUE
75 | bus_LV_5792-1_0_4_node_174 | 0.4 | n |  | TRUE
76 | bus_LV_5792-1_0_4_node_176 | 0.4 | n |  | TRUE
77 | bus_LV_5792-1_0_4_node_177 | 0.4 | n |  | TRUE
78 | bus_LV_5792-1_0_4_node_180 | 0.4 | n |  | TRUE
79 | bus_LV_5792-1_0_4_node_193 | 0.4 | n |  | TRUE
80 | bus_LV_5792-1_0_4_node_194 | 0.4 | n |  | TRUE
81 | bus_LV_5792-1_0_4_node_195 | 0.4 | n |  | TRUE
82 | bus_LV_5792-1_0_4_node_206 | 0.4 | n |  | TRUE
83 | bus_MV_366_1_node_227 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5792-1_0_4_load_0 | 0 | 0.0016762 | 0.00042009 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5792-1_0_4_load_1 | 1 | 0.0024103 | 0.00060408 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5792-1_0_4_load_4 | 4 | 0.0055452 | 0.0013897 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5792-1_0_4_load_5 | 5 | 0.000999 | 0.00025037 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5792-1_0_4_load_86 | 8 | 0.0032649 | 0.00081827 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5792-1_0_4_load_6 | 9 | 0.0048965 | 0.0012272 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5792-1_0_4_load_7 | 10 | 0.0013987 | 0.00035056 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5792-1_0_4_load_9 | 11 | 0.0078916 | 0.0019778 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5792-1_0_4_load_94 | 12 | 0.0020429 | 0.000512 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5792-1_0_4_load_10 | 13 | 0.0019725 | 0.00049435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5792-1_0_4_load_190 | 14 | 0.0078837 | 0.0019758 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5792-1_0_4_load_69 | 15 | 0.0040822 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5792-1_0_4_load_70 | 16 | 0.012859 | 0.0032227 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5792-1_0_4_load_71 | 17 | 0.0039856 | 0.00099889 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5792-1_0_4_load_72 | 18 | 0.0073077 | 0.0018315 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5792-1_0_4_load_117 | 19 | 0.0083262 | 0.0020867 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5792-1_0_4_load_73 | 20 | 0.0030826 | 0.00077256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5792-1_0_4_load_74 | 21 | 0.0012565 | 0.0003149 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5792-1_0_4_load_76 | 23 | 0.0040908 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5792-1_0_4_load_78 | 25 | 0.0045055 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5792-1_0_4_load_93 | 26 | 0.0062815 | 0.0015743 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5792-1_0_4_load_192 | 27 | 0.010065 | 0.0025226 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5792-1_0_4_load_136 | 28 | 0.00070289 | 0.00017616 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5792-1_0_4_load_79 | 29 | 0.0014459 | 0.00036236 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5792-1_0_4_load_82 | 32 | 0.0060148 | 0.0015074 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5792-1_0_4_load_83 | 33 | 0.0047842 | 0.001199 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5792-1_0_4_load_85 | 35 | 0.0011631 | 0.00029151 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5792-1_0_4_load_95 | 36 | 0.00068864 | 0.00017259 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5792-1_0_4_load_143 | 39 | 0.0020476 | 0.00051317 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5792-1_0_4_load_113 | 40 | 0.00209 | 0.0005238 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5792-1_0_4_load_88 | 42 | 0.0022909 | 0.00057416 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5792-1_0_4_load_89 | 43 | 0.0040137 | 0.0010059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5792-1_0_4_load_175 | 44 | 0.0025553 | 0.00064043 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5792-1_0_4_load_90 | 45 | 0.0032491 | 0.00081431 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5792-1_0_4_load_92 | 47 | 0.0016988 | 0.00042575 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5792-1_0_4_load_96 | 48 | 0.0013147 | 0.00032949 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5792-1_0_4_load_97 | 49 | 0.0025087 | 0.00062874 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5792-1_0_4_load_114 | 50 | 0.0011187 | 0.00028037 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5792-1_0_4_load_109 | 51 | 0.0020483 | 0.00051336 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5792-1_0_4_load_110 | 52 | 0.0031618 | 0.00079242 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5792-1_0_4_load_121 | 53 | 0.0047483 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5792-1_0_4_load_115 | 54 | 0.0029977 | 0.00075129 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5792-1_0_4_load_116 | 55 | 0.0035395 | 0.00088709 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5792-1_0_4_load_123 | 57 | 0.0012006 | 0.00030091 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5792-1_0_4_load_124 | 58 | 0.013182 | 0.0033038 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5792-1_0_4_load_134 | 59 | 0.0082372 | 0.0020644 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5792-1_0_4_load_125 | 60 | 0.0014748 | 0.00036961 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5792-1_0_4_load_127 | 61 | 0.0011925 | 0.00029887 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5792-1_0_4_load_135 | 62 | 0.00084079 | 0.00021072 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5792-1_0_4_load_137 | 63 | 0.0024389 | 0.00061124 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5792-1_0_4_load_138 | 64 | 0.0033065 | 0.00082868 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5792-1_0_4_load_140 | 65 | 0.003967 | 0.00099421 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5792-1_0_4_load_171 | 67 | 0.0065638 | 0.0016451 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5792-1_0_4_load_172 | 68 | 0.0069863 | 0.0017509 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5792-1_0_4_load_168 | 69 | 0.0016924 | 0.00042415 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5792-1_0_4_load_144 | 70 | 0.01138 | 0.0028521 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5792-1_0_4_load_167 | 71 | 0.001341 | 0.00033609 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5792-1_0_4_load_169 | 72 | 0.0027402 | 0.00068676 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5792-1_0_4_load_170 | 73 | 0.0045686 | 0.001145 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5792-1_0_4_load_205 | 74 | 0.0021998 | 0.00055133 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5792-1_0_4_load_174 | 75 | 0.0021414 | 0.00053668 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5792-1_0_4_load_176 | 76 | 0.0035822 | 0.00089777 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5792-1_0_4_load_177 | 77 | 0.0023266 | 0.00058311 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5792-1_0_4_load_180 | 78 | 0.0050918 | 0.0012761 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5792-1_0_4_load_193 | 79 | 0.012154 | 0.003046 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5792-1_0_4_load_194 | 80 | 0.0060976 | 0.0015282 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5792-1_0_4_load_195 | 81 | 0.0053212 | 0.0013336 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5792-1_0_4_load_206 | 82 | 0.0059286 | 0.0014859 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5792-1_0_4_line_0 |  | 0 | 1 | 0.0049556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5792-1_0_4_line_1 |  | 0 | 2 | 0.063617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5792-1_0_4_line_2 |  | 1 | 3 | 0.022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5792-1_0_4_line_3 |  | 2 | 4 | 0.016581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5792-1_0_4_line_4 |  | 2 | 5 | 0.034179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5792-1_0_4_line_5 |  | 3 | 6 | 0.015147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5792-1_0_4_line_6 |  | 3 | 7 | 0.037182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5792-1_0_4_line_7 |  | 5 | 8 | 0.017481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5792-1_0_4_line_8 |  | 6 | 9 | 0.058328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5792-1_0_4_line_9 |  | 7 | 51 | 0.0033905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5792-1_0_4_line_10 |  | 8 | 41 | 0.015135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5792-1_0_4_line_11 |  | 9 | 10 | 0.048599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5792-1_0_4_line_12 |  | 10 | 11 | 0.03363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5792-1_0_4_line_13 |  | 11 | 12 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5792-1_0_4_line_14 |  | 13 | 14 | 0.0080086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5792-1_0_4_line_15 |  | 14 | 67 | 0.025332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5792-1_0_4_line_16 |  | 15 | 16 | 0.0078599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5792-1_0_4_line_17 |  | 15 | 17 | 0.022586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5792-1_0_4_line_18 |  | 17 | 18 | 0.014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5792-1_0_4_line_19 |  | 18 | 19 | 0.02021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5792-1_0_4_line_20 |  | 19 | 23 | 0.002834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5792-1_0_4_line_21 |  | 20 | 21 | 0.0018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5792-1_0_4_line_22 |  | 20 | 22 | 0.019009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5792-1_0_4_line_23 |  | 21 | 23 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5792-1_0_4_line_24 |  | 22 | 24 | 0.019661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5792-1_0_4_line_25 |  | 22 | 25 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5792-1_0_4_line_26 |  | 24 | 26 | 0.034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5792-1_0_4_line_27 |  | 24 | 27 | 0.078733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5792-1_0_4_line_28 |  | 25 | 28 | 0.0099212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5792-1_0_4_line_29 |  | 26 | 46 | 0.012602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5792-1_0_4_line_30 |  | 27 | 79 | 0.014355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5792-1_0_4_line_31 |  | 28 | 58 | 0.051551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5792-1_0_4_line_32 |  | 29 | 30 | 0.0276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5792-1_0_4_line_33 |  | 29 | 31 | 0.045654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5792-1_0_4_line_34 |  | 30 | 32 | 0.012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5792-1_0_4_line_35 |  | 30 | 33 | 0.042418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5792-1_0_4_line_36 |  | 31 | 34 | 0.00333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5792-1_0_4_line_37 |  | 31 | 35 | 0.031637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5792-1_0_4_line_38 |  | 32 | 36 | 0.022906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5792-1_0_4_line_39 |  | 33 | 37 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5792-1_0_4_line_40 |  | 34 | 38 | 0.044584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5792-1_0_4_line_41 |  | 34 | 39 | 0.03466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5792-1_0_4_line_42 |  | 35 | 40 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5792-1_0_4_line_43 |  | 36 | 48 | 0.040147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5792-1_0_4_line_44 |  | 37 | 61 | 0.026892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5792-1_0_4_line_45 |  | 37 | 60 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5792-1_0_4_line_46 |  | 38 | 53 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5792-1_0_4_line_47 |  | 38 | 52 | 0.017257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5792-1_0_4_line_48 |  | 39 | 70 | 0.0049001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5792-1_0_4_line_49 |  | 41 | 42 | 0.018584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5792-1_0_4_line_50 |  | 41 | 43 | 0.012793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5792-1_0_4_line_51 |  | 43 | 44 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5792-1_0_4_line_52 |  | 44 | 75 | 0.015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5792-1_0_4_line_53 |  | 45 | 46 | 0.057872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5792-1_0_4_line_54 |  | 46 | 47 | 0.010173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5792-1_0_4_line_55 |  | 48 | 49 | 0.0053528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5792-1_0_4_line_56 |  | 49 | 50 | 0.027704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5792-1_0_4_line_57 |  | 50 | 54 | 0.0066754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5792-1_0_4_line_58 |  | 51 | 52 | 0.035468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5792-1_0_4_line_59 |  | 53 | 56 | 0.019447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5792-1_0_4_line_60 |  | 54 | 55 | 0.0092053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5792-1_0_4_line_61 |  | 56 | 57 | 0.023762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5792-1_0_4_line_62 |  | 56 | 58 | 0.063077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_5792-1_0_4_line_63 |  | 57 | 59 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5792-1_0_4_line_64 |  | 59 | 62 | 0.13493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5792-1_0_4_line_65 |  | 63 | 64 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5792-1_0_4_line_66 |  | 64 | 65 | 0.033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5792-1_0_4_line_67 |  | 65 | 66 | 0.015655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5792-1_0_4_line_68 |  | 66 | 67 | 0.032415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5792-1_0_4_line_69 |  | 66 | 68 | 0.059255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5792-1_0_4_line_70 |  | 66 | 69 | 0.026567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5792-1_0_4_line_71 |  | 68 | 74 | 0.01481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5792-1_0_4_line_72 |  | 69 | 71 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5792-1_0_4_line_73 |  | 71 | 72 | 0.0053569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5792-1_0_4_line_74 |  | 72 | 73 | 0.010283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5792-1_0_4_line_75 |  | 74 | 82 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5792-1_0_4_line_76 |  | 75 | 76 | 0.0088116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5792-1_0_4_line_77 |  | 76 | 77 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5792-1_0_4_line_78 |  | 77 | 78 | 0.036045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5792-1_0_4_line_79 |  | 79 | 80 | 0.030152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5792-1_0_4_line_80 |  | 80 | 81 | 0.022176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5792-1_0_4_line_81 |  | 81 | 82 | 0.014907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5792-1_0_4_trafo_122 | 0.63 MVA 20/0.4 kV | 83 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2546691.2635 | 1159221.8603 | 2546688.0822 | 1159225.66
1 | 2546741.0306 | 1159184.7041 | 2546727.6575 | 1159190.2034 | 2546720.9497 | 1159192.7087 | 2546715.8685 | 1159195.3997 | 2546711.9697 | 1159198.3025 | 2546708.3671 | 1159201.7585 | 2546694.7571 | 1159217.6878 | 2546691.2635 | 1159221.8603
2 | 2546675.549 | 1159243.6722 | 2546677.7608 | 1159238.9723 | 2546679.4056 | 1159236.0228 | 2546688.0822 | 1159225.66
3 | 2546741.0306 | 1159184.7041 | 2546750.9601 | 1159198.0009
4 | 2546741.0306 | 1159184.7041 | 2546770.2727 | 1159174.2392 | 2546773.1388 | 1159173.0052
5 | 2546675.549 | 1159243.6722 | 2546661.4262 | 1159238.0947
6 | 2546675.549 | 1159243.6722 | 2546678.8357 | 1159245.2105 | 2546682.0781 | 1159246.9382 | 2546685.2859 | 1159249.0886 | 2546688.2433 | 1159251.5192 | 2546691.4227 | 1159254.7816 | 2546694.6526 | 1159258.566 | 2546697.6193 | 1159262.9087 | 2546701.1422 | 1159269.4698
7 | 2546773.1388 | 1159173.0052 | 2546789.195 | 1159166.0923
8 | 2546661.4262 | 1159238.0947 | 2546662.4523 | 1159234.5281 | 2546663.1138 | 1159231.3428 | 2546663.4897 | 1159227.9265 | 2546663.4274 | 1159226.0927 | 2546663.1041 | 1159224.2168 | 2546662.133 | 1159221.8909 | 2546660.3684 | 1159219.9833 | 2546634.1722 | 1159190.9981
9 | 2546701.1422 | 1159269.4698 | 2546702.5704 | 1159272.5448
10 | 2546802.1343 | 1159158.3373 | 2546799.2267 | 1159160.6643 | 2546790.2564 | 1159165.6353 | 2546789.195 | 1159166.0923
11 | 2546634.1722 | 1159190.9981 | 2546628.8222 | 1159185.0784 | 2546621.5706 | 1159177.2943 | 2546601.4235 | 1159155.0917
12 | 2546601.4235 | 1159155.0917 | 2546593.741 | 1159146.6254 | 2546582.152 | 1159133.8106 | 2546578.949 | 1159130.0764
13 | 2546569.3933 | 1159118.9361 | 2546578.949 | 1159130.0764
14 | 2546569.804 | 1159207.2563 | 2546573.5066 | 1159207.1265 | 2546577.7771 | 1159207.6593
15 | 2546545.104 | 1159212.4952 | 2546552.999 | 1159210.2218 | 2546561.7716 | 1159208.0426 | 2546567.5526 | 1159207.3352 | 2546569.804 | 1159207.2563
16 | 2546661.1871 | 1159562.7665 | 2546663.2755 | 1159570.3439
17 | 2546661.1871 | 1159562.7665 | 2546655.1861 | 1159540.9923
18 | 2546655.1861 | 1159540.9923 | 2546654.4761 | 1159538.4162 | 2546651.4125 | 1159527.3074
19 | 2546651.4125 | 1159527.3074 | 2546649.2647 | 1159519.5191 | 2546647.1787 | 1159507.5691
20 | 2546646.6914 | 1159504.7773 | 2546647.1787 | 1159507.5691
21 | 2546642.2256 | 1159480.1811 | 2546642.6066 | 1159481.9513
22 | 2546638.2258 | 1159461.5975 | 2546642.2256 | 1159480.1811
23 | 2546642.6066 | 1159481.9513 | 2546642.823 | 1159482.9569 | 2546644.0797 | 1159489.816 | 2546646.6914 | 1159504.7773
24 | 2546638.2258 | 1159461.5975 | 2546632.4097 | 1159442.817
25 | 2546638.2258 | 1159461.5975 | 2546640.2692 | 1159455.2093 | 2546640.6136 | 1159448.2581 | 2546640.6136 | 1159448.2581
26 | 2546632.4097 | 1159442.817 | 2546622.8348 | 1159446.9598 | 2546618.5775 | 1159449.1878 | 2546613.0282 | 1159453.5061 | 2546607.7759 | 1159457.5994 | 2546603.8685 | 1159461.2361
27 | 2546632.4097 | 1159442.817 | 2546629.8144 | 1159435.4028 | 2546625.3659 | 1159423.0246 | 2546620.6373 | 1159411.038 | 2546616.5512 | 1159402.3475 | 2546610.7446 | 1159390.6707 | 2546600.7608 | 1159373.8617 | 2546599.4018 | 1159371.5933
28 | 2546640.6136 | 1159448.2581 | 2546638.8318 | 1159438.4982
29 | 2546596.4161 | 1159471.3411 | 2546599.839 | 1159465.7966 | 2546603.8685 | 1159461.2361
30 | 2546599.4018 | 1159371.5933 | 2546592.0243 | 1159359.2797
31 | 2546649.0764 | 1159391.5728 | 2546645.9197 | 1159394.171 | 2546641.9633 | 1159398.3306 | 2546639.1779 | 1159402.3019 | 2546637.6293 | 1159405.7286 | 2546636.5737 | 1159409.4177 | 2546636.2761 | 1159414.7343 | 2546636.3993 | 1159421.6925 | 2546637.5357 | 1159431.3987 | 2546638.8318 | 1159438.4982
32 | 2546793.1894 | 1159394.4198 | 2546779.0619 | 1159375.3016 | 2546777.5168 | 1159371.7993
33 | 2546761.5176 | 1159329.6106 | 2546763.1865 | 1159331.0966 | 2546766.7469 | 1159336.7124 | 2546768.3488 | 1159341.8899 | 2546772.6624 | 1159358.9718 | 2546774.9631 | 1159366.0107 | 2546777.5168 | 1159371.7993
34 | 2546793.1894 | 1159394.4198 | 2546805.4313 | 1159390.912
35 | 2546793.1894 | 1159394.4198 | 2546803.8308 | 1159409.3891 | 2546815.1263 | 1159430.6239
36 | 2546759.0222 | 1159327.3982 | 2546761.5176 | 1159329.6106
37 | 2546761.5176 | 1159329.6106 | 2546758.5283 | 1159310.6159 | 2546757.05 | 1159301.224 | 2546755.2079 | 1159298.9831
38 | 2546805.4313 | 1159390.912 | 2546813.0068 | 1159388.7412 | 2546820.7517 | 1159386.5159 | 2546827.2716 | 1159384.0599
39 | 2546821.7823 | 1159443.1369 | 2546815.1263 | 1159430.6239
40 | 2546715.4609 | 1159323.0156 | 2546723.695 | 1159323.2093 | 2546727.8472 | 1159322.9612 | 2546743.2544 | 1159322.1352 | 2546748.0033 | 1159322.6156 | 2546751.9286 | 1159323.5591 | 2546754.9306 | 1159324.9887 | 2546759.0222 | 1159327.3982
41 | 2546759.0222 | 1159327.3982 | 2546759.8941 | 1159341.8759 | 2546761.656 | 1159344.3505 | 2546763.0919 | 1159346.3611 | 2546765.5003 | 1159360.8095
42 | 2546755.2079 | 1159298.9831 | 2546746.4264 | 1159288.3002 | 2546743.8448 | 1159284.7384
43 | 2546823.1832 | 1159354.1067 | 2546833.4496 | 1159364.5473 | 2546835.0726 | 1159366.9231 | 2546836.5011 | 1159369.8342 | 2546837.0513 | 1159371.3746 | 2546837.1957 | 1159373.8302 | 2546836.8187 | 1159376.2682 | 2546835.8426 | 1159378.5669 | 2546833.5023 | 1159380.8778 | 2546830.3927 | 1159382.8841 | 2546827.2716 | 1159384.0599
44 | 2546821.7823 | 1159443.1369 | 2546828.6911 | 1159455.549 | 2546832.0531 | 1159458.6875 | 2546834.7084 | 1159459.9091 | 2546839.4256 | 1159462.0129
45 | 2546821.7823 | 1159443.1369 | 2546846.0983 | 1159430.4704
46 | 2546715.4609 | 1159323.0156 | 2546714.9667 | 1159326.055 | 2546714.3649 | 1159329.0619 | 2546713.4944 | 1159332.0268 | 2546712.5085 | 1159334.9482 | 2546710.9536 | 1159338.5194
47 | 2546715.4609 | 1159323.0156 | 2546715.71 | 1159317.3993 | 2546715.3991 | 1159311.7324 | 2546714.3111 | 1159305.8727
48 | 2546766.306 | 1159365.6428 | 2546765.5003 | 1159360.8095
49 | 2546802.1343 | 1159158.3373 | 2546808.8352 | 1159156.7771 | 2546819.9831 | 1159153.212
50 | 2546802.1343 | 1159158.3373 | 2546795.5307 | 1159147.3798
51 | 2546788.2863 | 1159135.3589 | 2546795.5307 | 1159147.3798
52 | 2546773.9859 | 1159141.8185 | 2546788.2863 | 1159135.3589 | 2546788.2863 | 1159135.3589
53 | 2546596.4161 | 1159471.3411 | 2546581.7729 | 1159476.1406 | 2546574.0579 | 1159486.8705 | 2546564.2315 | 1159514.417
54 | 2546596.4161 | 1159471.3411 | 2546594.8646 | 1159477.0135 | 2546594.5961 | 1159481.2959
55 | 2546823.1832 | 1159354.1067 | 2546819.4302 | 1159350.2899
56 | 2546800.8579 | 1159329.8145 | 2546805.2951 | 1159335.9148 | 2546819.4302 | 1159350.2899
57 | 2546800.8579 | 1159329.8145 | 2546799.6228 | 1159328.1165 | 2546797.9838 | 1159323.8445
58 | 2546702.5704 | 1159272.5448 | 2546708.0738 | 1159284.394 | 2546711.6515 | 1159294.5454 | 2546713.1345 | 1159300.1352 | 2546714.2801 | 1159305.7058 | 2546714.3111 | 1159305.8727
59 | 2546700.1897 | 1159354.6791 | 2546703.0628 | 1159351.0739 | 2546704.811 | 1159348.5571 | 2546706.4516 | 1159345.9967 | 2546709.0294 | 1159341.9494 | 2546710.9536 | 1159338.5194
60 | 2546794.6897 | 1159315.2488 | 2546796.9236 | 1159321.0811 | 2546797.9838 | 1159323.8445
61 | 2546700.1897 | 1159354.6791 | 2546703.577 | 1159361.5082 | 2546705.0676 | 1159365.3637 | 2546709.0287 | 1159376.697
62 | 2546700.1897 | 1159354.6791 | 2546696.7222 | 1159357.8004 | 2546692.9527 | 1159360.5798 | 2546681.4074 | 1159369.0091 | 2546650.7669 | 1159390.1814 | 2546649.0764 | 1159391.5728
63 | 2546713.4711 | 1159390.739 | 2546711.0134 | 1159382.3756 | 2546709.0287 | 1159376.697
64 | 2546713.4711 | 1159390.739 | 2546716.1746 | 1159399.9391 | 2546721.1895 | 1159417.4261 | 2546725.7896 | 1159434.8168 | 2546742.6413 | 1159501.7918 | 2546744.8715 | 1159512.9891 | 2546745.6377 | 1159521.637
65 | 2546494.424 | 1159163.5169 | 2546495.9933 | 1159169.0187 | 2546497.8488 | 1159175.0605
66 | 2546497.8488 | 1159175.0605 | 2546500.8247 | 1159184.7507 | 2546505.6167 | 1159198.6487 | 2546508.6645 | 1159206.9022
67 | 2546514.0003 | 1159221.6196 | 2546510.9973 | 1159213.2196 | 2546508.6645 | 1159206.9022
68 | 2546514.0003 | 1159221.6196 | 2546525.3907 | 1159218.1718 | 2546545.104 | 1159212.4952
69 | 2546514.0003 | 1159221.6196 | 2546518.4616 | 1159231.096 | 2546533.0314 | 1159260.1595 | 2546541.0186 | 1159274.3341
70 | 2546514.0003 | 1159221.6196 | 2546506.0995 | 1159223.5688 | 2546498.6699 | 1159225.0691 | 2546487.8789 | 1159226.1992
71 | 2546548.4713 | 1159287.1327 | 2546541.3961 | 1159275.004 | 2546541.0186 | 1159274.3341
72 | 2546473.4263 | 1159227.7127 | 2546487.8789 | 1159226.1992
73 | 2546473.4263 | 1159227.7127 | 2546468.0986 | 1159228.2707
74 | 2546457.8719 | 1159229.3417 | 2546468.0986 | 1159228.2707
75 | 2546548.4713 | 1159287.1327 | 2546549.9896 | 1159289.7353 | 2546557.2001 | 1159301.7677
76 | 2546765.9555 | 1159145.4459 | 2546773.9859 | 1159141.8185
77 | 2546765.9555 | 1159145.4459 | 2546758.488 | 1159148.8191 | 2546753.1208 | 1159151.2457 | 2546751.1052 | 1159152.153 | 2546743.5203 | 1159153.1515
78 | 2546717.9334 | 1159167.2442 | 2546717.5115 | 1159163.7461 | 2546717.5257 | 1159160.1662 | 2546718.1652 | 1159157.9483 | 2546719.5218 | 1159156.202 | 2546721.7805 | 1159155.048 | 2546724.7936 | 1159154.2653 | 2546739.6053 | 1159153.6669 | 2546743.5203 | 1159153.1515
79 | 2546592.0243 | 1159359.2797 | 2546592.0154 | 1159359.265 | 2546587.4113 | 1159351.802 | 2546576.451 | 1159333.462
80 | 2546564.8916 | 1159314.5366 | 2546575.701 | 1159332.2069 | 2546576.451 | 1159333.462
81 | 2546564.8916 | 1159314.5366 | 2546562.9445 | 1159311.3538 | 2546557.2001 | 1159301.7677

## bus_geodata
| x | y | coords
0 | 2546691.2635 | 1159221.8603
1 | 2546688.0822 | 1159225.66
2 | 2546741.0306 | 1159184.7041
3 | 2546675.549 | 1159243.6722
4 | 2546750.9601 | 1159198.0009
5 | 2546773.1388 | 1159173.0052
6 | 2546661.4262 | 1159238.0947
7 | 2546701.1422 | 1159269.4698
8 | 2546789.195 | 1159166.0923
9 | 2546634.1722 | 1159190.9981
10 | 2546601.4235 | 1159155.0917
11 | 2546578.949 | 1159130.0764
12 | 2546569.3933 | 1159118.9361
13 | 2546577.7771 | 1159207.6593
14 | 2546569.804 | 1159207.2563
15 | 2546661.1871 | 1159562.7665
16 | 2546663.2755 | 1159570.3439
17 | 2546655.1861 | 1159540.9923
18 | 2546651.4125 | 1159527.3074
19 | 2546647.1787 | 1159507.5691
20 | 2546642.2256 | 1159480.1811
21 | 2546642.6066 | 1159481.9513
22 | 2546638.2258 | 1159461.5975
23 | 2546646.6914 | 1159504.7773
24 | 2546632.4097 | 1159442.817
25 | 2546640.6136 | 1159448.2581
26 | 2546603.8685 | 1159461.2361
27 | 2546599.4018 | 1159371.5933
28 | 2546638.8318 | 1159438.4982
29 | 2546777.5168 | 1159371.7993
30 | 2546793.1894 | 1159394.4198
31 | 2546761.5176 | 1159329.6106
32 | 2546805.4313 | 1159390.912
33 | 2546815.1263 | 1159430.6239
34 | 2546759.0222 | 1159327.3982
35 | 2546755.2079 | 1159298.9831
36 | 2546827.2716 | 1159384.0599
37 | 2546821.7823 | 1159443.1369
38 | 2546715.4609 | 1159323.0156
39 | 2546765.5003 | 1159360.8095
40 | 2546743.8449 | 1159284.7384
41 | 2546802.1343 | 1159158.3373
42 | 2546819.9831 | 1159153.212
43 | 2546795.5307 | 1159147.3798
44 | 2546788.2863 | 1159135.3589
45 | 2546564.2315 | 1159514.417
46 | 2546596.4161 | 1159471.3411
47 | 2546594.5961 | 1159481.2959
48 | 2546823.1832 | 1159354.1067
49 | 2546819.4302 | 1159350.2899
50 | 2546800.8579 | 1159329.8145
51 | 2546702.5704 | 1159272.5448
52 | 2546714.3111 | 1159305.8727
53 | 2546710.9536 | 1159338.5194
54 | 2546797.9838 | 1159323.8445
55 | 2546794.6897 | 1159315.2488
56 | 2546700.1897 | 1159354.6791
57 | 2546709.0287 | 1159376.697
58 | 2546649.0764 | 1159391.5728
59 | 2546713.4711 | 1159390.739
60 | 2546846.0983 | 1159430.4704
61 | 2546839.4256 | 1159462.0129
62 | 2546745.6377 | 1159521.637
63 | 2546494.424 | 1159163.5169
64 | 2546497.8488 | 1159175.0605
65 | 2546508.6645 | 1159206.9022
66 | 2546514.0003 | 1159221.6196
67 | 2546545.104 | 1159212.4952
68 | 2546541.0186 | 1159274.3341
69 | 2546487.8789 | 1159226.1992
70 | 2546766.306 | 1159365.6428
71 | 2546473.4263 | 1159227.7127
72 | 2546468.0986 | 1159228.2707
73 | 2546457.8719 | 1159229.3417
74 | 2546548.4713 | 1159287.1327
75 | 2546773.9859 | 1159141.8185
76 | 2546765.9555 | 1159145.4459
77 | 2546743.5203 | 1159153.1515
78 | 2546717.9334 | 1159167.2442
79 | 2546592.0243 | 1159359.2797
80 | 2546576.451 | 1159333.462
81 | 2546564.8916 | 1159314.5366
82 | 2546557.2001 | 1159301.7677
83 | 2546715.4609 | 1159323.0156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1