## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5792-1_2_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_5792-1_2_2_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_5792-1_2_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_5792-1_2_2_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_5792-1_2_2_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_5792-1_2_2_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_5792-1_2_2_node_179 | 0.4 | n |  | TRUE
7 | bus_LV_5792-1_2_2_node_184 | 0.4 | n |  | TRUE
8 | bus_LV_5792-1_2_2_node_165 | 0.4 | n |  | TRUE
9 | bus_LV_5792-1_2_2_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_5792-1_2_2_node_141 | 0.4 | n |  | TRUE
11 | bus_LV_5792-1_2_2_node_173 | 0.4 | n |  | TRUE
12 | bus_LV_5792-1_2_2_node_145 | 0.4 | n |  | TRUE
13 | bus_LV_5792-1_2_2_node_108 | 0.4 | n |  | TRUE
14 | bus_LV_5792-1_2_2_node_120 | 0.4 | n |  | TRUE
15 | bus_LV_5792-1_2_2_node_147 | 0.4 | n |  | TRUE
16 | bus_LV_5792-1_2_2_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_5792-1_2_2_node_149 | 0.4 | n |  | TRUE
18 | bus_LV_5792-1_2_2_node_150 | 0.4 | n |  | TRUE
19 | bus_LV_5792-1_2_2_node_151 | 0.4 | n |  | TRUE
20 | bus_LV_5792-1_2_2_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_5792-1_2_2_node_158 | 0.4 | n |  | TRUE
22 | bus_LV_5792-1_2_2_node_152 | 0.4 | n |  | TRUE
23 | bus_LV_5792-1_2_2_node_159 | 0.4 | n |  | TRUE
24 | bus_LV_5792-1_2_2_node_153 | 0.4 | n |  | TRUE
25 | bus_LV_5792-1_2_2_node_154 | 0.4 | n |  | TRUE
26 | bus_LV_5792-1_2_2_node_155 | 0.4 | n |  | TRUE
27 | bus_LV_5792-1_2_2_node_156 | 0.4 | n |  | TRUE
28 | bus_LV_5792-1_2_2_node_157 | 0.4 | n |  | TRUE
29 | bus_LV_5792-1_2_2_node_188 | 0.4 | n |  | TRUE
30 | bus_LV_5792-1_2_2_node_196 | 0.4 | n |  | TRUE
31 | bus_LV_5792-1_2_2_node_107 | 0.4 | n |  | TRUE
32 | bus_LV_5792-1_2_2_node_160 | 0.4 | n |  | TRUE
33 | bus_LV_5792-1_2_2_node_161 | 0.4 | n |  | TRUE
34 | bus_LV_5792-1_2_2_node_162 | 0.4 | n |  | TRUE
35 | bus_LV_5792-1_2_2_node_163 | 0.4 | n |  | TRUE
36 | bus_LV_5792-1_2_2_node_164 | 0.4 | n |  | TRUE
37 | bus_LV_5792-1_2_2_node_178 | 0.4 | n |  | TRUE
38 | bus_LV_5792-1_2_2_node_199 | 0.4 | n |  | TRUE
39 | bus_LV_5792-1_2_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5792-1_2_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_5792-1_2_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5792-1_2_2_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_5792-1_2_2_node_166 | 0.4 | n |  | TRUE
44 | bus_LV_5792-1_2_2_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_5792-1_2_2_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_5792-1_2_2_node_186 | 0.4 | n |  | TRUE
47 | bus_LV_5792-1_2_2_node_181 | 0.4 | n |  | TRUE
48 | bus_LV_5792-1_2_2_node_182 | 0.4 | n |  | TRUE
49 | bus_LV_5792-1_2_2_node_183 | 0.4 | n |  | TRUE
50 | bus_LV_5792-1_2_2_node_189 | 0.4 | n |  | TRUE
51 | bus_LV_5792-1_2_2_node_185 | 0.4 | n |  | TRUE
52 | bus_LV_5792-1_2_2_node_187 | 0.4 | n |  | TRUE
53 | bus_LV_5792-1_2_2_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_5792-1_2_2_node_207 | 0.4 | n |  | TRUE
55 | bus_LV_5792-1_2_2_node_197 | 0.4 | n |  | TRUE
56 | bus_LV_5792-1_2_2_node_198 | 0.4 | n |  | TRUE
57 | bus_LV_5792-1_2_2_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_5792-1_2_2_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_5792-1_2_2_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_5792-1_2_2_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_5792-1_2_2_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_5792-1_2_2_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_5792-1_2_2_node_118 | 0.4 | n |  | TRUE
64 | bus_LV_5792-1_2_2_node_119 | 0.4 | n |  | TRUE
65 | bus_MV_366_1_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5792-1_2_2_load_128 | 0 | 0.0031548 | 0.00079067 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5792-1_2_2_load_129 | 1 | 0.0025443 | 0.00063766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5792-1_2_2_load_131 | 3 | 0.003305 | 0.00082831 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5792-1_2_2_load_132 | 4 | 0.0012695 | 0.00031816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5792-1_2_2_load_133 | 5 | 0.010215 | 0.00256 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5792-1_2_2_load_179 | 6 | 0.001815 | 0.00045487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5792-1_2_2_load_184 | 7 | 0.003192 | 0.0008 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5792-1_2_2_load_165 | 8 | 0.0099946 | 0.0025049 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5792-1_2_2_load_139 | 9 | 0.0021721 | 0.00054439 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5792-1_2_2_load_141 | 10 | 0.001952 | 0.00048923 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5792-1_2_2_load_173 | 11 | 0.0049935 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5792-1_2_2_load_145 | 12 | 0.003637 | 0.00091151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5792-1_2_2_load_147 | 15 | 0.00097357 | 0.000244 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5792-1_2_2_load_37 | 20 | 0.0047696 | 0.0011954 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5792-1_2_2_load_158 | 21 | 0.00074052 | 0.00018559 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5792-1_2_2_load_152 | 22 | 0.0051994 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5792-1_2_2_load_159 | 23 | 0.00089669 | 0.00022473 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5792-1_2_2_load_153 | 24 | 0.00059726 | 0.00014969 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5792-1_2_2_load_154 | 25 | 0.0030294 | 0.00075925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5792-1_2_2_load_155 | 26 | 0.0028841 | 0.00072282 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5792-1_2_2_load_156 | 27 | 0.0030225 | 0.0007575 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5792-1_2_2_load_157 | 28 | 0.00092116 | 0.00023086 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5792-1_2_2_load_188 | 29 | 0.0040545 | 0.0010162 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5792-1_2_2_load_196 | 30 | 0.0029616 | 0.00074224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5792-1_2_2_load_160 | 32 | 0.0015518 | 0.00038893 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5792-1_2_2_load_161 | 33 | 0.0023375 | 0.00058584 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5792-1_2_2_load_163 | 35 | 0.0014055 | 0.00035226 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5792-1_2_2_load_164 | 36 | 0.0071536 | 0.0017929 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5792-1_2_2_load_178 | 37 | 0.0014906 | 0.00037357 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5792-1_2_2_load_40 | 41 | 0.00059348 | 0.00014874 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5792-1_2_2_load_166 | 43 | 0.0015543 | 0.00038954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5792-1_2_2_load_186 | 46 | 0.0014632 | 0.00036672 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5792-1_2_2_load_181 | 47 | 0.0017019 | 0.00042654 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5792-1_2_2_load_182 | 48 | 0.0019236 | 0.00048209 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5792-1_2_2_load_189 | 50 | 0.00057218 | 0.0001434 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5792-1_2_2_load_185 | 51 | 0.0048509 | 0.0012158 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5792-1_2_2_load_187 | 52 | 0.0005908 | 0.00014807 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5792-1_2_2_load_207 | 54 | 0.0012037 | 0.00030167 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5792-1_2_2_load_197 | 55 | 0.0010414 | 0.00026099 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5792-1_2_2_load_198 | 56 | 0.0058275 | 0.0014605 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5792-1_2_2_load_98 | 57 | 0.00068997 | 0.00017292 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5792-1_2_2_load_100 | 59 | 0.0014632 | 0.0003667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5792-1_2_2_load_104 | 61 | 0.00056023 | 0.00014041 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5792-1_2_2_load_105 | 62 | 0.0031534 | 0.00079032 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5792-1_2_2_load_118 | 63 | 0.0024428 | 0.00061221 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5792-1_2_2_load_119 | 64 | 0.0015022 | 0.0003765 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5792-1_2_2_line_0 |  | 0 | 1 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5792-1_2_2_line_1 |  | 0 | 2 | 0.0050068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5792-1_2_2_line_2 |  | 1 | 3 | 0.031865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5792-1_2_2_line_3 |  | 2 | 4 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5792-1_2_2_line_4 |  | 2 | 5 | 0.037359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5792-1_2_2_line_5 |  | 3 | 6 | 0.0017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5792-1_2_2_line_6 |  | 4 | 7 | 0.037798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5792-1_2_2_line_7 |  | 5 | 8 | 0.029288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5792-1_2_2_line_8 |  | 6 | 46 | 0.031694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5792-1_2_2_line_9 |  | 7 | 51 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5792-1_2_2_line_10 |  | 8 | 34 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5792-1_2_2_line_11 |  | 9 | 10 | 0.015613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5792-1_2_2_line_12 |  | 10 | 11 | 0.0053136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5792-1_2_2_line_13 |  | 11 | 45 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5792-1_2_2_line_14 |  | 12 | 13 | 0.035206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5792-1_2_2_line_15 |  | 12 | 14 | 0.0079756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5792-1_2_2_line_16 |  | 13 | 44 | 0.033037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5792-1_2_2_line_17 |  | 13 | 60 | 0.016364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5792-1_2_2_line_18 |  | 14 | 64 | 0.027116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5792-1_2_2_line_19 |  | 15 | 16 | 0.11467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5792-1_2_2_line_20 |  | 15 | 17 | 0.030157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5792-1_2_2_line_21 |  | 16 | 18 | 0.086755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5792-1_2_2_line_22 |  | 17 | 19 | 0.00892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5792-1_2_2_line_23 |  | 18 | 20 | 0.22001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5792-1_2_2_line_24 |  | 19 | 21 | 0.021738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5792-1_2_2_line_25 |  | 20 | 39 | 0.062677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5792-1_2_2_line_26 |  | 20 | 40 | 0.12394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5792-1_2_2_line_27 |  | 21 | 31 | 0.018841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5792-1_2_2_line_28 |  | 22 | 23 | 0.007796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5792-1_2_2_line_29 |  | 23 | 31 | 0.0093476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5792-1_2_2_line_30 |  | 24 | 25 | 0.0048032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5792-1_2_2_line_31 |  | 24 | 26 | 0.020273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5792-1_2_2_line_32 |  | 25 | 27 | 0.025434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5792-1_2_2_line_33 |  | 26 | 28 | 0.016391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5792-1_2_2_line_34 |  | 27 | 29 | 0.025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5792-1_2_2_line_35 |  | 28 | 30 | 0.0084502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5792-1_2_2_line_36 |  | 29 | 49 | 0.041689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5792-1_2_2_line_37 |  | 30 | 55 | 0.0019438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5792-1_2_2_line_38 |  | 31 | 62 | 0.09157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5792-1_2_2_line_39 |  | 32 | 33 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5792-1_2_2_line_40 |  | 32 | 34 | 0.021957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5792-1_2_2_line_41 |  | 33 | 35 | 0.0052961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5792-1_2_2_line_42 |  | 34 | 36 | 0.024482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5792-1_2_2_line_43 |  | 35 | 37 | 0.018378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5792-1_2_2_line_44 |  | 36 | 38 | 0.044924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5792-1_2_2_line_45 |  | 38 | 56 | 0.031476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5792-1_2_2_line_46 |  | 39 | 41 | 0.049423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5792-1_2_2_line_47 |  | 40 | 42 | 0.17034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5792-1_2_2_line_48 |  | 42 | 54 | 0.014608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5792-1_2_2_line_49 |  | 43 | 44 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5792-1_2_2_line_50 |  | 44 | 45 | 0.060438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5792-1_2_2_line_51 |  | 45 | 47 | 0.02369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5792-1_2_2_line_52 |  | 46 | 52 | 0.055116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5792-1_2_2_line_53 |  | 47 | 48 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5792-1_2_2_line_54 |  | 48 | 49 | 0.0072655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5792-1_2_2_line_55 |  | 49 | 50 | 0.10052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5792-1_2_2_line_56 |  | 52 | 53 | 0.023506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5792-1_2_2_line_57 |  | 53 | 60 | 0.022423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5792-1_2_2_line_58 |  | 53 | 58 | 0.00772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5792-1_2_2_line_59 |  | 57 | 58 | 0.028041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5792-1_2_2_line_60 |  | 57 | 59 | 0.017554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5792-1_2_2_line_61 |  | 60 | 61 | 0.0085164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5792-1_2_2_line_62 |  | 61 | 62 | 0.009461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5792-1_2_2_line_63 |  | 63 | 64 | 0.013271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5792-1_2_2_trafo_129 | 0.63 MVA 20/0.4 kV | 65 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2546370.6353 | 1158933.9189 | 2546381.6775 | 1158944.7079 | 2546384.2687 | 1158946.9814
1 | 2546367.0542 | 1158930.4198 | 2546370.6353 | 1158933.9189
2 | 2546411.79 | 1158962.6478 | 2546404.9179 | 1158959.9752 | 2546395.7549 | 1158955.3879 | 2546389.191 | 1158950.8552 | 2546385.641 | 1158948.1855 | 2546384.2687 | 1158946.9814
3 | 2546367.0542 | 1158930.4198 | 2546361.2361 | 1158934.7185 | 2546356.9413 | 1158938.7701 | 2546354.3095 | 1158941.2555
4 | 2546367.0542 | 1158930.4198 | 2546340.2931 | 1158904.3524
5 | 2546411.79 | 1158962.6478 | 2546412.6024 | 1158962.9638 | 2546413.385 | 1158963.2353
6 | 2546333.9016 | 1158969.8464 | 2546333.4237 | 1158968.8185 | 2546332.7864 | 1158965.2779 | 2546333.4454 | 1158960.9586 | 2546354.3095 | 1158941.2555
7 | 2546318.4709 | 1158884.8289 | 2546322.6004 | 1158888.3057 | 2546336.6328 | 1158900.7869 | 2546340.2931 | 1158904.3524
8 | 2546443.31 | 1158973.6737 | 2546442.2141 | 1158973.2384 | 2546413.385 | 1158963.2353
9 | 2546340.781 | 1158978.9248 | 2546337.6434 | 1158976.0958 | 2546335.7606 | 1158973.8447 | 2546333.9016 | 1158969.8464
10 | 2546307.8633 | 1158875.8975 | 2546318.4709 | 1158884.8289
11 | 2546488.6285 | 1159141.518 | 2546491.4673 | 1159153.1506 | 2546492.4653 | 1159156.6496
12 | 2546488.6285 | 1159141.518 | 2546487.3687 | 1159136.3559
13 | 2546482.6033 | 1159116.7324 | 2546483.6465 | 1159121.1032 | 2546487.3687 | 1159136.3559
14 | 2546501.2222 | 1159041.8933 | 2546514.7287 | 1159049.6327 | 2546526.1175 | 1159061.4487 | 2546527.7614 | 1159064.2275
15 | 2546531.8222 | 1159071.0919 | 2546527.7614 | 1159064.2275
16 | 2546501.2222 | 1159041.8933 | 2546509.1504 | 1159055.0297 | 2546504.9078 | 1159059.7811 | 2546503.2292 | 1159070.9798
17 | 2546493.1157 | 1159027.6691 | 2546501.2222 | 1159041.8933
18 | 2546531.8222 | 1159071.0919 | 2546538.1995 | 1159079.6619 | 2546548.259 | 1159092.6565
19 | 2546393.5852 | 1158751.0986 | 2546398.9469 | 1158762.6235 | 2546406.1477 | 1158781.8028 | 2546429.4771 | 1158846.4846 | 2546433.5418 | 1158858.5246
20 | 2546441.7632 | 1158887.4857 | 2546441.0055 | 1158882.4676 | 2546438.3415 | 1158873.431 | 2546435.5164 | 1158864.3736 | 2546433.5418 | 1158858.5246
21 | 2546347.9292 | 1158692.9643 | 2546355.7804 | 1158685.4013 | 2546379.6989 | 1158724.1082 | 2546384.9027 | 1158734.256 | 2546390.7613 | 1158745.6209 | 2546393.5852 | 1158751.0986
22 | 2546441.7632 | 1158887.4857 | 2546433.2402 | 1158890.1965
23 | 2546347.9292 | 1158692.9643 | 2546155.9387 | 1158585.5144
24 | 2546433.2402 | 1158890.1965 | 2546435.5336 | 1158896.3682 | 2546440.7419 | 1158910.5992
25 | 2546184.4098 | 1158529.8741 | 2546177.9602 | 1158540.7265 | 2546162.2716 | 1158568.5042 | 2546155.9387 | 1158585.5144
26 | 2546132.6446 | 1158707.1325 | 2546135.965 | 1158694.4404 | 2546142.6588 | 1158663.853 | 2546151.2428 | 1158605.545 | 2546155.9387 | 1158585.5144
27 | 2546447.2173 | 1158928.2921 | 2546440.7419 | 1158910.5992
28 | 2546452.3602 | 1158920.4865 | 2546452.3602 | 1158920.4865 | 2546452.3331 | 1158917.4407 | 2546450.7698 | 1158912.9552
29 | 2546447.2173 | 1158928.2921 | 2546452.3602 | 1158920.4865
30 | 2546386.5474 | 1159078.5576 | 2546383.8886 | 1159074.5574
31 | 2546372.6662 | 1159057.6736 | 2546383.8886 | 1159074.5574
32 | 2546400.6265 | 1159099.7393 | 2546386.5474 | 1159078.5576
33 | 2546372.6662 | 1159057.6736 | 2546363.5929 | 1159044.0229
34 | 2546414.5911 | 1159120.7488 | 2546400.6265 | 1159099.7393
35 | 2546358.9152 | 1159036.9854 | 2546363.5929 | 1159044.0229
36 | 2546446.3044 | 1159142.97 | 2546439.0993 | 1159143.857 | 2546433.369 | 1159141.6625 | 2546426.6268 | 1159136.0196 | 2546419.6986 | 1159128.433 | 2546414.5911 | 1159120.7488
37 | 2546358.9152 | 1159036.9854 | 2546357.8392 | 1159035.3666
38 | 2546447.2173 | 1158928.2921 | 2546452.7615 | 1158942.2612 | 2546458.4561 | 1158955.9066 | 2546463.1534 | 1158966.8927 | 2546468.0796 | 1158977.7546 | 2546473.2709 | 1158989.1144 | 2546478.8138 | 1159000.3709 | 2546484.6397 | 1159011.8159
39 | 2546276.4912 | 1158890.7984 | 2546279.1368 | 1158893.5194 | 2546284.2081 | 1158896.5646 | 2546291.5223 | 1158890.5471
40 | 2546307.8633 | 1158875.8975 | 2546297.5553 | 1158885.5838 | 2546291.5223 | 1158890.5471
41 | 2546276.4912 | 1158890.7984 | 2546272.7993 | 1158887.0012
42 | 2546307.8633 | 1158875.8975 | 2546289.2223 | 1158860.0271
43 | 2546259.988 | 1158873.8247 | 2546272.7993 | 1158887.0012
44 | 2546260.3188 | 1158826.0185 | 2546262.9695 | 1158830.1081 | 2546266.7574 | 1158836.2219 | 2546272.4754 | 1158843.8526 | 2546277.0755 | 1158849.0698 | 2546282.0711 | 1158853.9388 | 2546289.2223 | 1158860.0271
45 | 2546260.3188 | 1158826.0185 | 2546279.385 | 1158815.9092 | 2546281.3049 | 1158813.7242 | 2546285.6472 | 1158808.2511
46 | 2546184.4098 | 1158529.8741 | 2546168.9271 | 1158520.7969 | 2546153.2414 | 1158512.1551 | 2546143.346 | 1158507.2079 | 2546141.0894 | 1158506.1238
47 | 2546033.4437 | 1158845.6081 | 2546132.6446 | 1158707.1325
48 | 2546033.4437 | 1158845.6081 | 2546042.0969 | 1158857.3922
49 | 2546503.2292 | 1159070.9798 | 2546504.2004 | 1159072.4386 | 2546512.5593 | 1159085.7098
50 | 2546482.6033 | 1159116.7324 | 2546477.0814 | 1159088.0441 | 2546503.2292 | 1159070.9798
51 | 2546482.6033 | 1159116.7324 | 2546479.9424 | 1159117.4676 | 2546478.4695 | 1159118.2034 | 2546463.1445 | 1159129.9078
52 | 2546443.31 | 1158973.6737 | 2546448.5376 | 1158975.75 | 2546453.7585 | 1158978.3937 | 2546458.2762 | 1158982.1443 | 2546461.2636 | 1158985.3305 | 2546463.8029 | 1158988.9987 | 2546465.6552 | 1158992.9843 | 2546466.5076 | 1158997.4569 | 2546467.268 | 1159009.6566 | 2546468.025 | 1159015.464 | 2546468.2888 | 1159017.3557
53 | 2546452.1129 | 1159138.6055 | 2546452.5481 | 1159138.2785 | 2546462.7401 | 1159130.2167 | 2546463.1445 | 1159129.9078
54 | 2546446.3044 | 1159142.97 | 2546452.1129 | 1159138.6055
55 | 2546356.0252 | 1159141.5863 | 2546359.0739 | 1159144.7718 | 2546365.3852 | 1159148.5175 | 2546387.0865 | 1159157.1838 | 2546395.7853 | 1159159.6074 | 2546403.3728 | 1159161.1961 | 2546410.6289 | 1159161.7316 | 2546416.3065 | 1159161.4586 | 2546420.7006 | 1159160.819 | 2546427.8014 | 1159157.6874 | 2546434.5074 | 1159153.2696 | 2546446.3044 | 1159142.97
56 | 2546474.4129 | 1159039.8089 | 2546470.9316 | 1159032.8029 | 2546469.5729 | 1159026.5673 | 2546468.2888 | 1159017.3557
57 | 2546474.4129 | 1159039.8089 | 2546476.9328 | 1159037.0072 | 2546478.8601 | 1159035.656 | 2546484.5814 | 1159032.5367 | 2546488.6755 | 1159030.0433 | 2546493.1157 | 1159027.6691
58 | 2546474.4129 | 1159039.8089 | 2546473.1086 | 1159042.2552 | 2546472.3175 | 1159044.6635 | 2546472.0937 | 1159047.0668
59 | 2546472.0937 | 1159047.0668 | 2546466.0862 | 1159048.1765 | 2546461.0361 | 1159050.0559 | 2546447.132 | 1159059.0204
60 | 2546432.379 | 1159068.5324 | 2546447.132 | 1159059.0204
61 | 2546493.1157 | 1159027.6691 | 2546489.0761 | 1159020.1717
62 | 2546484.6397 | 1159011.8159 | 2546485.7655 | 1159014.0274 | 2546489.0761 | 1159020.1717
63 | 2546556.3826 | 1159103.1502 | 2546548.259 | 1159092.6565

## bus_geodata
| x | y | coords
0 | 2546370.6353 | 1158933.9189
1 | 2546384.2687 | 1158946.9814
2 | 2546367.0542 | 1158930.4198
3 | 2546411.79 | 1158962.6478
4 | 2546354.3095 | 1158941.2555
5 | 2546340.2931 | 1158904.3524
6 | 2546413.385 | 1158963.2353
7 | 2546333.9016 | 1158969.8464
8 | 2546318.4709 | 1158884.8289
9 | 2546492.4653 | 1159156.6496
10 | 2546488.6285 | 1159141.518
11 | 2546487.3687 | 1159136.3559
12 | 2546527.7614 | 1159064.2275
13 | 2546501.2222 | 1159041.8933
14 | 2546531.8222 | 1159071.0919
15 | 2546433.5418 | 1158858.5246
16 | 2546393.5852 | 1158751.0986
17 | 2546441.7632 | 1158887.4857
18 | 2546347.9292 | 1158692.9643
19 | 2546433.2402 | 1158890.1965
20 | 2546155.9387 | 1158585.5144
21 | 2546440.7419 | 1158910.5992
22 | 2546450.7698 | 1158912.9552
23 | 2546452.3602 | 1158920.4865
24 | 2546383.8886 | 1159074.5574
25 | 2546386.5474 | 1159078.5576
26 | 2546372.6662 | 1159057.6736
27 | 2546400.6265 | 1159099.7393
28 | 2546363.5929 | 1159044.0229
29 | 2546414.5911 | 1159120.7487
30 | 2546358.9152 | 1159036.9854
31 | 2546447.2173 | 1158928.2921
32 | 2546291.5223 | 1158890.5471
33 | 2546276.4912 | 1158890.7984
34 | 2546307.8633 | 1158875.8975
35 | 2546272.7993 | 1158887.0012
36 | 2546289.2223 | 1158860.0271
37 | 2546259.988 | 1158873.8247
38 | 2546260.3188 | 1158826.0185
39 | 2546184.4098 | 1158529.8741
40 | 2546132.6446 | 1158707.1325
41 | 2546141.0894 | 1158506.1238
42 | 2546033.4437 | 1158845.6081
43 | 2546512.5593 | 1159085.7098
44 | 2546503.2292 | 1159070.9798
45 | 2546482.6033 | 1159116.7324
46 | 2546443.31 | 1158973.6737
47 | 2546463.1445 | 1159129.9078
48 | 2546452.1129 | 1159138.6055
49 | 2546446.3044 | 1159142.97
50 | 2546356.0252 | 1159141.5863
51 | 2546340.781 | 1158978.9248
52 | 2546468.2888 | 1159017.3557
53 | 2546474.4129 | 1159039.8089
54 | 2546042.0969 | 1158857.3922
55 | 2546357.8392 | 1159035.3666
56 | 2546285.6472 | 1158808.2511
57 | 2546447.132 | 1159059.0204
58 | 2546472.0937 | 1159047.0668
59 | 2546432.379 | 1159068.5324
60 | 2546493.1157 | 1159027.6691
61 | 2546489.0761 | 1159020.1717
62 | 2546484.6397 | 1159011.8159
63 | 2546556.3826 | 1159103.1502
64 | 2546548.259 | 1159092.6565
65 | 2546367.0542 | 1158930.4198

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1